#### Test Ref/Simulator Screens
When the meter readback mode is set for Test Reference or Simulator mode then the main screen will look like the following for those modes. See Error: Reference source not found Error: Reference source not found Error: Reference source not foundError: Reference source not found, Error: Reference source not foundError: Reference source not found.

Figure 1.1: Main Screen for 'Test Reference' Readback Mode
Ref Curr Setup XX*
+0.345A 02.43Am-uktIlh

Figure 1.2: Main Screen for 'Simulator' Readback Mode
Sim Curr Setup XX*
+0.345A 02.43Am-uktIlh

### VOLTS Meter and Controls
The VOLTS Meter displays the average output voltage when the unit is operating. The Volt Meter has an auto-range feature and will change between 0 to 9.99, 10.0 to 99.9 and 100 to 999 volt resolutions when at those levels (it will only change between 2 of those ranges depending on the unit’s voltage rating). When the display is at the Main screen the Effective Average Voltage is displayed on the meter. When at the Forward Screen the Average Forward Voltage is displayed. Optionally when at the Reverse Screen the Average Reverse Voltage is displayed.
Figure 1.3: Volts Controls

1
2
3

M/S
P/S

VOLTS
### VOLTS Arrow Keys
The VOLTS Arrow keys adjust the voltage output level. These keys are only active when the Forward or Reverse settings screen is showing on the display (use the SET (ENTER) key to access them).