## Sheet1
Calibration of the analog channels on 23/April/2018

Channel#	Signal name	Description	Signal kind	Sensor kind	Maximum AD	Sensor offset	“0” measure	Hardware calibration		Software calibration		Max real value	Resolution
					Offset	Gain	Offset	Gain
0	Iinv A	Inverter current phase A	Current	LEM LA50-P	10	0	0	0		-0,005472303987155	7,474	74,7809	0,036514111328125	18,695225	0,009128527832031
1	Iinv B	Inverter current phase B	Current	LEM LA50-P	10	0	0	0		#DIV/0!		#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
2	Iinv C	Inverter current phase C	Current	LEM LA50-P	10	0	0	0		#DIV/0!		#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
3	Iload A	Load current phase A	Current	LEM LA50-P	10	0	0	0		0,002536696023485	7,494	74,95901	0,036601079101563	18,7397525	0,009150269775391
4	Iload B	Load current phase B	Current	LEM LA50-P	10	0	0	0		#DIV/0!		#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
5	Iload C	Load current phase C	Current	LEM LA50-P	10	0	0	0		#DIV/0!		#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
6	Vpcc A	Grid voltage phase A to neutral	Voltage AC	HCPL	5	2,4	0	2,4	2,08	0,003064441693818	79,2564915486865	396,52533464064	0,193615886055
7	Vpcc B	Grid voltage phase B to neutral	Voltage AC	HCPL	5	2,4	0	2,4	2,08			0	0
8	Vpcc C	Grid voltage phase C to neutral	Voltage AC	HCPL	5	2,4	0	2,4	2,08			0	0
9	Vdc A1	DC link voltage phase A module 1	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95	-4,950634696756	56,72	564,4	0,13779296875
10	Vdc A2	DC link voltage phase A module 2	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95	-4,98512685914261	57,15	570,65	0,13931884765625
11	Vdc B1	DC link voltage phase B module 1	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95			0	0
12	Vdc B2	DC link voltage phase B module 2	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95			0	0
13	Vdc C1	DC link voltage phase C module 1	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95			0	0
14	Vdc C2	DC link voltage phase C module 2	Voltage DC	HCPL	5	2,4	-4,48	6,88	3,95			0	0
15	--

Ch 0	Current (A)	0	1,012	2,036	3,032	3,456	4,924	6,272
	Read (V)	0,00488281	0,141602	0,27832	0,410156	0,468424	0,664098	0,844727
Ch 1	Current (A)
	Read (V)
Ch 2	Current (A)
	Read (V)
Ch 3	Current (A)	0	1,012	2,036	3,032	3,456	4,924	6,272
	Read (V)	-0,00488281	0,131836	0,268555	0,400397	0,468424	0,654297	0,830226
Ch 4	Current (A)
	Read (V)
Ch 5	Current (A)
	Read (V)
Ch 6	Voltage (V)	0	50,18	100,37	150,06
	Read (V)	-0,00282633	0,629464	1,26383	1,89015
Ch 7	Voltage (V)
	Read (V)
Ch 8	Voltage (V)
	Read (V)
Ch 9	Voltage (V)	0	25,13	50,18	75,12	100,37	125,06	150,06
	Read (V)	-4,96064	-4,50021	-4,0619	-3,62298	-3,17887	-2,74755	-2,3088
Ch 10	Voltage (V)	0	25,13	50,18	75,12	100,37	125,06	150,06
	Read (V)	-4,98626	-4,54569	-4,1069	-3,67102	-3,22921	-2,79835	-2,35964
Ch 11	Voltage (V)
	Read (V)
Ch 12	Voltage (V)
	Read (V)
Ch 13	Voltage (V)
	Read (V)
Ch 14	Voltage (V)
	Read (V)
Ch 15	Voltage (V)
	Read (V)
Read (V)
Power (V)