## Sn 1
Resistance	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Value calibrated curve Mean	Value calibrated curve -3S	Value calibrated curve +3S	Er % calibrated curve -3S	Er % calibrated curve +3S		WCA Reference value BOL TSM High current	WCA Reference value BOL TSM Low current	WCA Reference value BOL ASM		SW Calibrated values, TSM HiCurrent, SN01 / ADC read values [#] / Compensated values [Ohm]					SW Calibrated errors, TSM HiCurrent, SN01 / Real values [Ohm] / Compensated Error %					SW Calibrated errors, PT1k / Real values [Ohm] / Compensated Error %
				±0.74%	±1.32%	±0.18%
High Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
810	994	987.7	1000.9	809.0	803.8	814.6	810.0	804.9	815.6	-0.63%	0.69%		5.0918367347	5.5767735666	0.0000%	0.63%
1000	1229	1222.3	1235.1	1000.2	994.8	1005.2	999.9	994.5	1004.9	-0.55%	0.49%		5.4151279559	4.9301911241	-0.0066%	0.55%
2500	3085	3078.5	3090.1	2510.7	2505.4	2514.9	2500.0	2494.8	2504.1	-0.21%	0.17%		5.2534823453	4.1219630709	0.0002%	0.21%
4000	4941	4933.6	4947.4	4021.2	4015.2	4026.5	4000.1	3994.1	4005.2	-0.15%	0.13%		5.9808875931	5.17265954	0.0019%	0.15%
5800	7168	7161.2	7175.7	5833.7	5828.2	5840.0	5800.0	5794.5	5806.2	-0.09%	0.11%		5.4959507613	6.2233560091	0.0000%	0.09%

Low Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
6000	387	380	394.9	5905.5	5798.7	6026.1	6000.0	5893.5	6120.2	-1.78%	2.00%		106.5289761533	120.2255588015	0.0000%	1.78%
10000	651	644.7	657.2	9934.1	9837.9	10028.7	10017.7	9921.8	10112.0	-0.78%	1.12%		95.8760785379	94.3542360215	0.1766%	0.78%
50000	3291	3284.7	3297.3	50219.7	50123.6	50315.9	50194.3	50098.4	50290.2	0.20%	0.58%		95.8760785379	95.8760785379	0.3886%	-0.20%
100000	6590	6583.8	6597.3	100561.6	100466.9	100673.0	100399.9	100305.5	100511.0	0.31%	0.51%		94.3542360215	111.0945037027	0.3999%	-0.31%
160000	10534	10529	10541	160745.9	160669.6	160852.7	160421.4	160345.3	160527.9	0.22%	0.33%		76.0921258238	106.5289761533	0.2634%	-0.22%
200000	13160	13155	13168	200817.9	200741.6	200940.0	200384.9	200308.9	200506.7	0.15%	0.25%		76.0921258238	121.747401318	0.1925%	-0.15%
230000	15106	15099	15112	230513.3	230406.5	230604.9	230000.0	229893.5	230091.3	-0.05%	0.04%		106.5289761533	91.3105509885	0.0000%	0.05%

HIGH CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	0.813852		m =	0.808228
994	810	7168	5800			q =	6.621315

LOW CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	15.259720		m =	15.218425					SW Calibrated values, TSM LowCurrent, SN01 / ADC read values [#] / Compensated values [Ohm]					SW Calibrated errors, TSM LowCurrent, SN01 / Real values [Ohm] / Compensated Error %
387	6000	15106	230000			q =	110.469461

ASM
Voltage	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Er % -3S	Er % +3S
[V]	[#]	[#]	[#]	[V]	[V]	[V]
0.00	0.3	-0.9	0.9	0.0002	-0.0005	0.0005	-0.01%	0.01%	#DIV/0!	0.01%	0.01%
0.049991	79.6	73.3	85.8	0.0486	0.0447	0.0524	-0.10%	0.05%	-2.81%	0.10%	0.05%
0.099990	161.6	155.2	167.9	0.0986	0.0947	0.1025	-0.11%	0.05%	-1.35%	0.11%	0.05%
0.800000				0.0000	0.0000	0.0000	-16.00%	-16.00%
1.2500	2047	2040.8	2053.1	1.2495	1.2457	1.2532	-0.09%	0.06%	-0.04%	0.09%	0.06%
2.5000	4093.5	4086.8	4100.2	2.4986	2.4945	2.5027	-0.11%	0.05%	-0.05%	0.11%	0.05%
3.7500	6144.2	6137.6	6150.8	3.7504	3.7463	3.7544	-0.07%	0.09%	0.01%	0.07%	0.09%
5.0000	8191.7	8185.6	8197.9	5.0001	4.9964	5.0039	-0.07%	0.08%	0.00%	0.07%	0.08%
7.5000	12288	12282	12295	7.5005	7.4968	7.5047	-0.06%	0.09%	0.01%	0.06%	0.09%
9.5000	15571	15565	15577	9.5044	9.5007	9.5080	0.01%	0.16%	0.05%	-0.01%	0.16%
9.9900	16378	16371	16384	9.9969	9.9927	10.0006	0.05%	0.21%	0.07%	-0.05%	0.21%

		SW Calibration coefficient, TSM HiCurrent, SN01 / N = ADC read values [#] / R = Real values [Ohm]
N	R
994	810
7168	5800

387	6000
15106	230000

				HW raw errors, ASM, SN01 / Real values [Volt] / Raw Error %

	SW Calibration coefficient, TSM LoCurrent, SN01 / N = ADC read values [#] / R= Real values [Ohm]

## Sn_2
Resistance	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Value calibrated curve Mean	Value calibrated curve -3S	Value calibrated curve +3S	Er % calibrated curve -3S	Er % calibrated curve +3S		WCA Reference value BOL TSM High current	WCA Reference value BOL TSM Low current	WCA Reference value BOL ASM		SW Calibrated errors, TSM HiCurrent, SN02 / Real values [Ohm] / Compensated Error %
													±0.74%	±1.32%	±0.18%
High Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
810	988	981.3	995.2	804.1	798.6	809.9	810.0	804.5	815.9	-0.68%	0.73%		5.4691640766	5.8773106494	0.0000%	0.68%
1000	1219	1212.6	1226.2	992.1	986.9	997.9	998.6	993.3	1004.4	-0.67%	0.44%		5.2242761328	5.8773106494	-0.1436%	0.67%
2500	3057	3050.7	3063.6	2487.9	2482.8	2493.3	2498.9	2493.8	2504.3	-0.25%	0.17%		5.1426468183	5.387534762	-0.0436%	0.25%
4000	4891	4885	4897.3	3980.5	3975.7	3985.7	3996.0	3991.1	4001.1	-0.22%	0.03%		4.8977588745	5.1426468183	-0.1002%	0.22%
5800	7101	7094.8	7107	5779.2	5774.1	5784.0	5800.0	5794.9	5804.9	-0.09%	0.08%		5.0610175037	4.8977588745	0.0000%	0.09%

Low Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
6000	390	385.7	398.1	5951.3	5885.7	6074.9	6000.0	5934.8	6122.7	-1.09%	2.05%		65.1603301312	122.7438776891	0.0000%	1.09%
10000	655	648.9	662.4	9995.1	9902.0	10108.0	10015.7	9923.3	10127.8	-0.77%	1.28%		92.4367473955	112.1363820863	0.1569%	0.77%
50000	3298	3292	3305	50326.6	50235.0	50433.4	50066.6	49975.6	50172.6	-0.05%	0.35%		90.9213908808	106.0749560276	0.1331%	0.05%
100000	6607	6600	6613.8	100821.0	100714.2	100924.7	100209.7	100103.6	100312.8	0.10%	0.31%		106.0749560276	103.0442429983	0.2097%	-0.10%
160000	10570	10563	10576	161295.2	161188.4	161386.8	160263.3	160157.2	160354.2	0.10%	0.22%		106.0749560276	90.9213908808	0.1646%	-0.10%
200000	13209	13203	13215	201565.6	201474.1	201657.2	200253.6	200162.6	200344.5	0.08%	0.17%		90.9213908808	90.9213908808	0.1268%	-0.08%
230000	15172	15164	15179	231520.5	231398.4	231627.3	230000.0	229878.8	230106.1	-0.05%	0.05%		121.2285211744	106.0749560276	0.0000%	0.05%

HIGH CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	0.813852		m =	0.816293
988	810	7101	5800			q =	3.502372

LOW CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	15.259720		m =	15.153565						SW Calibrated errors, TSM LowCurrent, SN02 / Real values [Ohm] / Compensated Error %
390	6000	15172	230000			q =	90.109593

ASM
Voltage	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Er % -3S	Er % +3S
[V]	[#]	[#]	[#]	[V]	[V]	[V]
0.00	1.792	-3.308	6.892	0.0011	-0.0020	0.0042	-0.04%	0.08%	#DIV/0!	0.04%	0.08%
0.049985	81.5	75	88	0.0497	0.0458	0.0537	-0.08%	0.07%	-0.48%	0.08%	0.07%
0.099984	163.3	156.2	170.5	0.0997	0.0953	0.1041	-0.09%	0.08%	-0.31%	0.09%	0.08%
0.800000				0.0000	0.0000	0.0000	-16.00%	-16.00%
1.2500	2046.4	2038.3	2054.5	1.2491	1.2442	1.2540	-0.12%	0.08%	-0.07%	0.12%	0.08%
2.4999	4092.6	4085.2	4099.9	2.4981	2.4936	2.5025	-0.13%	0.05%	-0.07%	0.13%	0.05%
3.7500	6139.5	6131.4	6147.5	3.7475	3.7425	3.7524	-0.15%	0.05%	-0.07%	0.15%	0.05%
5.0000	8188.8	8181.6	8196.1	4.9984	4.9940	5.0028	-0.12%	0.06%	-0.03%	0.12%	0.06%
7.5000	12286	12279	12292	7.4992	7.4950	7.5029	-0.10%	0.06%	-0.01%	0.10%	0.06%
9.5000	15568	15562	15574	9.5025	9.4989	9.5062	-0.02%	0.12%	0.03%	0.02%	0.12%
9.9900	16377	16371	16383	9.9963	9.9927	10.0000	0.05%	0.20%	0.06%	-0.05%	0.20%

## Sn_3
Resistance	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Value calibrated curve Mean	Value calibrated curve -3S	Value calibrated curve +3S	Er % calibrated curve -3S	Er % calibrated curve +3S		WCA Reference value BOL TSM High current	WCA Reference value BOL TSM Low current	WCA Reference value BOL ASM		SW Calibrated errors, TSM HiCurrent, SN03 / Real values [Ohm] / Compensated Error %
													±0.74%	±1.32%	±0.18%
High Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
810	996	994.4	1002.5	810.6	809.3	815.9	810.0	808.7	815.3	-0.16%	0.65%		1.3020221787	5.2894651011	0.0000%	0.16%
1000	1229	1222.3	1235.7	1000.2	994.8	1005.7	999.6	994.2	1005.1	-0.58%	0.51%		5.4522178735	5.4522178735	-0.0393%	0.58%
2500	3071	3063.8	3078.7	2499.3	2493.5	2505.6	2498.6	2492.7	2504.8	-0.29%	0.19%		5.8590998043	6.2659817352	-0.0576%	0.29%
4000	4915	4909.4	4920.7	4000.1	3995.5	4004.7	3999.1	3994.6	4003.8	-0.14%	0.09%		4.5570776256	4.6384540117	-0.0215%	0.14%
5800	7128	7122.4	7135.1	5801.1	5796.6	5806.9	5800.0	5795.4	5805.8	-0.08%	0.10%		4.5570776256	5.7777234181	0.0000%	0.08%

Low Current	Software read
[Ohm]	[#]	[#]	[#]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]	[Ohm]
6000	393	386.5	399.9	5997.1	5897.9	6102.4	6000.0	5900.5	6105.6	-1.66%	1.76%		99.460345652	105.5809823075	0.0000%	1.66%
10000	655	649.2	661.1	9995.1	9906.6	10088.2	10009.0	9920.3	10102.4	-0.80%	1.02%		88.7492315049	93.3397089965	0.0902%	0.80%
50000	3276	3268.8	3281.8	49990.8	49881.0	50079.4	50114.5	50004.3	50203.2	0.01%	0.41%		110.1714597992	88.7492315049	0.2290%	-0.01%
100000	6555	6549.1	6561.4	100027.5	99937.4	100125.1	100288.4	100198.1	100386.3	0.20%	0.39%		90.2793906688	97.9301864881	0.2884%	-0.20%
160000	10474	10466	10482	159830.3	159708.2	159952.4	160255.3	160132.9	160377.8	0.08%	0.24%		122.4127331102	122.4127331102	0.1596%	-0.08%
200000	13089	13082	13095	199734.5	199627.7	199826.0	200269.0	200161.9	200360.8	0.08%	0.18%		107.1111414714	91.8095498327	0.1345%	-0.08%
230000	15032	15025	15038	229384.1	229277.3	229475.7	230000.0	229892.9	230091.8	-0.05%	0.04%		107.1111414714	91.8095498326	0.0000%	0.05%

HIGH CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	0.813852		m =	0.813764
996	810	7128	5800			q =	-0.508806

LOW CURRENT
A		B		standard:	calibrated:	Y=mX+q
x1	y1	x2	y2	15.259720		m =	15.301592						SW Calibrated errors, TSM LowCurrent, SN03 / Real values [Ohm] / Compensated Error %
393	6000	15032	230000			q =	-13.525514

ASM
Voltage	value ADC Mean	-3S	+3S	Value standard curve Mean	Value standard curve -3S	Value standard curve +3S	Er % -3S	Er % +3S
[V]	[#]	[#]	[#]	[V]	[V]	[V]
0.00	2.177	-2.797	7.151	0.0013	-0.0017	0.0044	-0.03%	0.09%	#DIV/0!	0.03%	0.09%
0.049985	83.6	78	89.6	0.0510	0.0476	0.0547	-0.05%	0.09%	2.09%	0.05%	0.09%
0.099984	165.8	160.2	171.3	0.1012	0.0978	0.1046	-0.04%	0.09%	1.22%	0.04%	0.09%
0.800000				0.0000	0.0000	0.0000	-16.00%	-16.00%
1.2500	2048.9	2043.5	2054.3	1.2506	1.2473	1.2539	-0.05%	0.08%	0.05%	0.05%	0.08%
2.4999	4095.1	4089	4101.2	2.4996	2.4959	2.5033	-0.08%	0.07%	-0.01%	0.08%	0.07%
3.7500	6142.1	6135.7	6148.4	3.7491	3.7452	3.7529	-0.10%	0.06%	-0.02%	0.10%	0.06%
5.0000	8188.9	8182.6	8195.2	4.9984	4.9946	5.0023	-0.11%	0.05%	-0.03%	0.11%	0.05%
7.5000	12284	12277	12291	7.4980	7.4937	7.5023	-0.13%	0.05%	-0.03%	0.13%	0.05%
9.5000	15563	15557	15568	9.4995	9.4958	9.5025	-0.08%	0.05%	-0.01%	0.08%	0.05%
9.9900	16369	16364	16375	9.9914	9.9884	9.9951	-0.03%	0.10%	0.01%	0.03%	0.10%