NPC5000 digital controller series – control architecture
Force feedback
input processing
Force feedback
input
Digital position
command processing
Control
loop
Digital position
command
Snapshot step
offset
Servo loop
DAC output
In position
Analogue position
command processing
Analogue position
command input
Position
processing
Position
input
Position monitor
DAC output
Measured
position
Snapshot configuration
Stage configuration
stage.position.command
picometres
fpga.ai.read
24-bit unsigned
ADC input
fpga.posmon.read
24-bit unsigned
ADC input
fpga.ff.read
24-bit unsigned
ADC input
picometres
24-bit unsigned
DAC output
system units
24-bit unsigned
DAC output
digital output
stage.position.measured
picometres

---
Force feedback input processing
2nd order high-pass filter
stage.force-feedback.high-pass-filter.time-constant
stage.force-feedback.high-pass-filter.q
Force feedback
input
Convert to
signed
Force feedback
to control loop
fpga.ff.read
24-bit unsigned
ADC input
stage.force-feedback.gain
system units/bit
X

---
Digital position command processing
Digital position
command
Digital command
(scaled and filtered)
Snapshot step
offset
2nd order high-pass filter
stage.command.digital.high-pass-filter.time-constant
stage.command.digital.high-pass-filter.q
stage.position.command
picometres
picometres
picometres
stage.command.digital.scaling.gain
system units/picometre
stage.command.digital.scaling.offset
stage.command.digital.high-pass-filter.gain
+

---
Analogue position command processing
Analogue position
command input
Convert to
signed
Analogue command
(scaled and filtered)
2nd order high-pass filter
stage.command.analogue.high-pass-filter.time-constant
stage.command.analogue.high-pass-filter.q
stage.command.analogue.scaling.gain
system units/bit
stage.command.analogue.scaling.offset
stage.command.analogue.high-pass-filter.gain
fpga.ai.read
24-bit unsigned
ADC input

---
Position processing
Position
input
Convert to
signed
Invert
Measured
position
4th order linearisation
stage.position.linearise.4th-order.b0
stage.position.linearise.4th-order.b1
stage.position.linearise.4th-order.b2
stage.position.linearise.4th-order.b3
stage.position.linearise.4th-order.b4
Select
Position to
control loop
4th order low-pass filter
stage.position.low-pass-filter.time-constant
stage.position.low-pass-filter.q
Position monitor
DAC output
fpga.posmon.read
24-bit unsigned
ADC input
24-bit unsigned
DAC output
stage.mode
Invert if bit 2 set
stage.position.scaling.gain
system units/bit
stage.position.scaling.offset
stage.position.output.scaling.gain
bits/system unit
stage.position.output.scaling.offset
bits
stage.position.low-pass-filter.filter-location
If 0, unfiltered value goes to control loop and DAC output
(i.e. filter is disabled)
If 1, filtered value goes to control loop and DAC output
If 2, unfiltered value goes to control loop;
filtered value goes to DAC output
stage.command.digital.scaling.gain
system units/picometre
stage.command.digital.scaling.offset
–
÷
stage.position.measured
picometres

---
Control loop
Force feedback
compensation
Force feedback
compensation
Force feedback
to control loop
Select
4th order notch filter
stage.notch-filter.time-constant
stage.notch-filter.q
4th order notch filter
stage.notch-filter.time-constant
stage.notch-filter.q
Closed-loop
PID control
Position to
control loop
4th order notch filter
stage.notch-filter.time-constant
stage.notch-filter.q
Calculate combined setpoint
with soft start ramp
Analogue command
(scaled and filtered)
Digital command
(scaled and filtered)
Select
4th order notch filter
stage.notch-filter.time-constant
stage.notch-filter.q
Freeze
output
Open-loop
scaling
Convert to
unsigned
Servo loop
DAC output
Check for
In position
In position
24-bit unsigned
DAC output
stage.notch-filter.filter-location
If 0, notch filter is disabled
If 3, notch filter on control output
is enabled
stage.mode
If bit 7 set, force
feedback is enabled
stage.mode
If bit 1 set, closed-loop
is selected
If bit 1 cleared, open-loop
is selected
stage.notch-filter.filter-location
If 0, notch filter is disabled
If 1, notch filter on position is enabled.
stage.notch-filter.filter-location
If 0, notch filter is disabled
If 2, notch filter on PID loop output
is enabled
digital output
stage.mode
If bit 3 set, output
is frozen

---
Calculate combined setpoint with soft start ramp
Analogue command
(scaled and filtered)
Digital command
(scaled and filtered)
Setpoint with
soft start
Select
Soft start setpoint ramp
2^22
system units/second
Ramp up
from zero
–u
Start ramp from zero
when stage connected
0
When stage disconnected, zero setpoint is selected
When stage first connected, soft start setpoint
limited by ramp is selected
When ramp reaches setpoint, soft start completes
and input setpoint is selected
>=
|u|
Select
Combine commands
stage.mode
If bit 6 set, analogue
command is enabled
Select
stage.mode
If bit 9 set, digital
command is enabled

---
Open-loop scaling
Setpoint with
soft start
Open-loop
control output
stage.open-loop.gain
stage.open-loop.offset

---
Closed-loop PID control
Setpoint with
soft start
Position
PID loop
control output
stage.pid.proportional.set-point-weighting
–
stage.pid.proportional.gain
-2^23
+2^23
Proportional
Differential
1st order high-pass filter
stage.pid.differential.time-constant
stage.pid.differential.gain
-2^23
+2^23
-2^23
+2^23
–
-stage.pid.integral.error-magnitude.max
+stage.pid.integral.error-magnitude.max
Integral
-stage.pid.integral.error-magnitude.min
+stage.pid.integral.error-magnitude.min
÷
stage.pid.integral.time-constant
÷
stage.pid.integral.tracking-time
-2^23
+2^23
∫
–
–

---
Force feedback compensation
PID loop
control output
Force feedback
compensation
Force feedback
to control loop
–
-2^23
+2^23
∫
÷
stage.force-feedback.time-constant
–

---
Check for in position
1st order low-pass filter
Time constant: 60μs
Select
Setpoint with
soft start
|u|
<
In position
Position
–
stage.ready-limit
picometres
stage.command.digital.scaling.gain
system units/picometre
false
digital output
stage.mode
If bit 1 set, closed-loop is selected
and lock detect is calculated
If bit 1 cleared, open-loop is selected
and lock detect is always false

---
Snapshot configuration
Digital comand for snapshot
picometres
Captured snapshot data
snapshot.response.data <index>
picometres
Stage position
snapshot.trigger.step
picometres
stage.position.command
picometres
snapshot.trigger.to-target
120kHz sample steps
snapshot.trigger.from-target
120kHz sample steps
snapshot.response.count
120kHz sample steps
Time