## 2014-03
Tag	Datum	Strom [kWh]	Strom / Diff. / [kWh]	KWasser / [m³]	KW / Diff. / [m³]	WWasser / [m³]	WW / Diff. / [m³]	Heizung / [kWh]	Heizung / Diff. / [kWh]
1	2014-03-01	34438	7	12.623	0.032	20.862	0.004	2978.4	9.2
2	2014-03-02	34443	5	12.649	0.0260000000000016	21.007	0.145000000000003	2984.6	6.19999999999982
3	2014-03-03	34448	5	12.678	0.0289999999999999	21.083	0.075999999999997	2987.7	3.09999999999991
4	2014-03-04	34450	2	12.679	0.000999999999999446	21.087	0.00400000000000134	2988.6	0.900000000000091
5	2014-03-05	34452	2	12.679	0	21.091	0.00400000000000134	2989.5	0.900000000000091
6	2014-03-06	34457	5	12.694	0.0150000000000006	21.157	0.065999999999999	2991.3	1.80000000000018
7	2014-03-07	34462	5	12.752	0.0579999999999998	21.308	0.151	2992.6	1.29999999999973
8	2014-03-08	34469	7	12.85	0.097999999999999	21.465	0.157	2996.1	3.5
9	2014-03-09	34477	8	12.867	0.0170000000000012	21.577	0.111999999999998	2996.5	0.400000000000091
10	2014-03-10	34483	6	12.874	0.00699999999999967	21.651	0.0740000000000016	2997.6	1.09999999999991
11	2014-03-11	34486	3	12.878	0.00399999999999956	21.686	0.0350000000000001	2998.9	1.30000000000018
12	2014-03-12	34489	3	12.885	0.00699999999999967	21.71	0.0240000000000009	2999.9	1
13	2014-03-13	34494	5	12.898	0.0129999999999999	21.806	0.0960000000000001	3001.2	1.29999999999973
14	2014-03-14	34497	3	12.904	0.00600000000000023	21.839	0.0329999999999977	3002.6	1.40000000000009
15	2014-03-15	34500	3	12.946	0.0419999999999998	21.907	0.0680000000000014	3003.1	0.5
16	2014-03-16	34504	4	12.975	0.0289999999999999	21.981	0.0740000000000016	3003.4	0.300000000000182
17	2014-03-17	34506	2	12.975	0	21.99	0.00899999999999679	3004.1	0.699999999999818
18	2014-03-18	34515	9	12.992	0.0170000000000012	22.047	0.0570000000000022	3006.8	2.70000000000027
19	2014-03-19	34522	7	13.01	0.0179999999999989	22.129	0.0820000000000007	3007.2	0.399999999999636
20	2014-03-20	34530	8	13.03	0.0199999999999996	22.21	0.0809999999999995	3009.1	1.90000000000009
21	2014-03-21	34538	8	13.122	0.0920000000000005	22.371	0.160999999999998	3010.5	1.40000000000009
22	2014-03-22	34549	11	13.207	0.0850000000000009	22.572	0.201000000000001	3010.5	0
23	2014-03-23	34555	6	13.245	0.0379999999999985	22.699	0.127000000000002	3010.5	0
24	2014-03-24	34559	4	13.269	0.0240000000000009	22.806	0.106999999999999	3010.5	0
25	2014-03-25	34562	3	13.271	0.00200000000000067	22.831	0.0249999999999986	3010.5	0
26	2014-03-26	34565	3	13.272	0.000999999999999446	22.856	0.0250000000000021	3010.5	0
27	2014-03-27	34569	4	13.295	0.0229999999999997	22.921	0.0649999999999977	3012.1	1.59999999999991
28	2014-03-28	34571	13.312	13.312	0.0169999999999995	22.96	0.0390000000000015	3017.8	5.70000000000027
29	2014-03-29	34575	4	13.328	0.016	22.998	0.0380000000000003	3019.5	1.69999999999982
30	2014-03-30	34580	5	13.369	0.0410000000000004	23.098	0.0999999999999979	3020	0.5
31	2014-03-31	34582	2	13.369	0	23.105	0.00700000000000145	3020.1	0.0999999999999091

	existing diagram, created with calc 4.1.x.x

	The value on the x-axis starts with 05.03.(german date). Expected date is like in the column „B2“ 01.03. There exists an Offset of „4“ / - If this diagramm is opend with LO 4.1.x.x, the shown date and value is ok. / - If you double click on the diagramm and move the mouse on one measure point, the indicated „tip“ appearing at the cursor is shown the wrong corrsspondiung date / the corresponding measure point related to the value of the column is correct.

	Diagram, created with calc 4.2.3.1

	diagramm createt with calc 4.2.3.1
[kWh]
[m³]