# <Controller> (<Controller_No>)

	Model:
Controllers	RE150	RE200	RE350	RE600
0 – 5 / Stepped Switch	Image 1: RE150	Image 2: RE200/RE350/600

This report: The controller is set to zero (0) with power from wall. The Sequence: Unit is turned 'ON' and the controller switched from Position 0 through 5. The Sequence is repeated with each additional Unit until all units are 'ON' and sequence completed.

Input Voltage taken on Unit bus – Multimeter (CL2000)
Output Voltage on output from Controller to bus - <Power Meter 3> (<Power_No 3>)
High Volts are taken at first Unit - <Power Meter> (<Power_No>)
Amperage readings taken inline at input to Controller - <Power Meter 2> (<Power_No 2>)

Date: <Am Date> Tested by: Paul Mirowsky Location of test: Bentax NA, Ringoes, NJ

Unit	Position	Controller		High Volts / (X 1000)	Amps / Cumulative
		Input	Output
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
<Model>	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>
	<Vo-Ou Setting>	<Vo-In Volts> <Vo-In Type>	<Vo-Ou Reading> <Vo-Ou Type>	<Vo-Hi Reading> <Type>	<Am Reading><Am Type>