Functions, Menus and Settings
Version 1.60

Version 1.60.28
© Dipl.- Ing. (FH) Thomas Neumann 2000-2015

Thank you for choosing SATlive.

## License / Registration / Terms of use
- If you like SATlive after some testing, you can order the full version which does not contain any limitations.
- Please use the demo to check the program's compatibility with your hardware and operating system.
- If you're facing troubles with the demo, the full version will not fix them. In this case please feel free to contact me, so we can try to solve your problem prior to registration.
- Please understand, that no liability can be take for the proper function of the software with a specific hardware configuration. This case does not establish any claim to refund.
- According to today's level of engineering it is impossible to build a software which is properly working on all hardware / OS configurations.
- Please report all kind of problems to the forum or via e-mail (SATinfo@take-sat.de).
- The process of demo registration starts with the request of a demo key. The demo key has to be enabled after you received it via e-mail.
- To get and install a full version license, please follow the steps shown in the full key menu
- There are two kinds of registration:
- FULL: This license is linked to one computer and no physical device is used.
- DONGLE: An external hardware device, a so called dongle is used to enable the software. Therefore the license is not tied to a certain computer.
- The current price list can be found in the internet at http://www.take-sat.de/english/order.php, where you could place your order, too.
- After the purchase is completed, then in case of Full registration the buyer (license owner) gets the KEY-files via e-mail, which enable him to create a full-version basic-key. For the completion of the registration, he needs to send the full-version basic-key via e-mail to Registration@take-sat.de. In return he receives a key-file which will unlock SATlive on the PC on which the full-version basic-key was created.
- For the dongle version, the buyer (license owner) gets a small hardware device, which could be plugged into any usb port. SATlive will operate as long as the dongle is attached to the computer.
- All following updates and versions (until recalled) are licensed to the license owner. Just look on the sat-page (http://www.take-sat.de) and when you see a higher version-number just download the newest version.
### Demo version
          The following limitations apply to the demo version:
- When starting the program there is a DEMO display for 10 seconds.
- The program stops after 10 minutes of operation.
- The program runs only for 30 days after first start.
- You can register for a 30 days full featured demo using the demo basis key.
### Terms of license
#### Demo:
- You are allowed to handle the demo to other computer-users, so that they can also test the program. This is only allowed on the condition that all files are handled completely and in unchanged original state
- Remark for online-representatives, shareware-dealers and shareware-distributors: This demo can be put on CDs or be offered in online-services.
- The newest version is available for download on http://www.take-sat.de
#### Both, full version and demo:
- There is no liability on the declarations made in this help file and I reserve the right to change it without notice. There is no liability for the correctness of the declarations and descriptions in this file.
- Your report of problems or bugs helps to make the program and the help better.
- I don't take any guarantee for the suitability of this program and/or other programs for a special case of application or special hardware-configuration.
- I take no liability for any kinds of damages which result from the application of this program or the inability to use this software. This includes the loss of profit, the loss of data and all other material and immaterial damages and deduced damages. This applies also in the case that I've been informed of the possibility of that kind of damage.
- Any bug report can help to make SATlive better. So please report bugs using the error reporting window.
- It is not allowed to disassemble and/or to patch this program or parts of this program or any other file supplied with this demo or full version.
#### Full-version
- I grant you, the user and owner,. the license to copy the software on one computer and to use the program on that computer. It is allowed for other persons to use it on that computer too.
- Both licenses, full and demo are valid for one computer only. The user selects this computer by creating the basic-key on that machine. The keys will work only on the machine where their basic-key was created.
- The user declares his convenience with these terms of license without any limitations by installing and using this program.
#### LIMITATIONS on the FULLVERSION
This software is only dedicated to the user and license-owner. It is not allowed to handle the license to other people, to sell or rent the software, the key-files or the dongle either temporary or lasting. To do so, a written permission is necessary.
#### FINALIZATION of the LICENSE
The license is valid until finalization. The license is finalized, even without notice, by any offense against these terms of license. After finalization you must destroy the original license and all kinds of copies of this program. On demand you have to confirm the destroying of the program and of the copies by a written statement.
All product- and company's names are trademarks of the corresponding manufacturer.
### Request a Demo Key
The first step to get the 30 day unlimited demo is to request a demo key.
Open the Request Demo Key window located at Help menu → Registration → Demoversion.

Now mail the demo basic-key shown in the window to the e-mail address Demo@take-sat.de.
You can either create the e-mail by your own and add the demo basic-key using copy and paste, or simply click on the e-mail button to let SATlive create the mail.
If your PC is not connected to the internet, you can store the information into a text file using the Text File button. Use a portable device to carry the file to a PC with an internet connection.
In return you'll receive the demo key, which you need to activate.
Hints:
- The demo key you'll receive is valid only on the computer where the demo basic-key was created on.
- Please use the e-mail option to avoid typos, which would delay the delivery of the demo key.
- Please check the date and time settings of your computer before the creation of the demo basic-key.
- The demo-key handling is not automated, so please allow some time for response.
### Enable the Demo-key
After the request of the demo key you'll receive the demo key via e-mail. Open the Enable Demo window located at
Help → Registration → Demo version
Just copy and paste the demo-key from the e-mail into the editor field on the enable demo window. Then click on OK and restart SATlive.
Hints:
- The demo-key you'll receive is valid only on the computer where the demo basic-key was created.
- Please check your date and time settings before creation of the demo basic-key.
### Dongle
An external hardware key device for the USB port, a so called dongle, is available for SATlive. The dongle enables SATlive on the computer on which it is plugged in.
SATlive locks if you remove the dongle.
If the dongle is plugged in again, then SATlive unlocks and you can go on working.
If you close the window, SATlive terminates.
You can check for a valid dongle in
Setup → Internal Configuration.
Hints:
- The dongle must be plugged in before SATlive is started.
- The current display settings are stored on the dongle.
## Basics
All rights reserved by Dipl.- Ing. (FH) Thomas Neumann (1998-2015).

- The author does not take any liability for damage caused by the usage of this software.
- This program is able to create sounds, which can destroy technical equipment and cause damage to human hearing.
- We suggest that you start with very low level and then adjust them to the level needed.
- For proper usage of this program you need basic knowledge of working with a computer and of acoustic measurement.
### SATlive consists of three different modules:

- Impulse response: Here you can measure the system's impulse response using a maximum length sequence (MLS), or calculate it by comparing two signals.(Music Impulse Response (MIR)). An oscilloscope and a sweep based measurement can be found here as well.
- FFT: Shows phase and amplitude response of the impulse response measured in impulse response module. Furthermore you can compare and analyze traces
- MAT: Performs a dual channel FFT, shows the 'classic' RTA display or a FFT of one or both input channels.
### And some support functions:
- Setup Allows you to customize SATlive to meet your needs. See page 154 for details.
- Clock Shows the current time or counts down to a given time. More details can be found on page 188 of this document.
- The Project management, described on page 218, eases the handling of larger speaker configurations.
- Help access to the help file and the registration menu.
### How to invoke a module?
To invoke a module, simply click on the particular button in the upper menu bar.
If you want to create a FFT of a measured impulse response, just invoke the FFT from within the impulse-response module.
### What are the different areas in SATlive?
Because you can move the menus, the positions mentioned below refer to the default positions.
- Upper menu-bar located directly below the module - selection menu. Here you find the main measurement functions.
- Infodisplay located at the top of the trace display window. Shows information about the values at the cursor's position.
- Tracewindow the main window, showing the current trace(s). In most cases its pop-up menu contains tools and functions for analyzing the current trace.
- Lower menu-bar located below the trace window, it contains functions and settings for the layout of trace window. In MAT module it also contains functions for delay setting.
- VU-meter located right of the trace window. It shows the current input levels.
- Right menu-bar this menu is located below the VU-meter and features more functions.
- Generator located on the lower right edge. It supplies different kinds of audio-signals.
### Language files
– This information is not valid for the Spanish language version of SATlive –
All the text information used in SATlive is stored in an external file, the so called language file.
You can select the language file you want to use in the Setup → Features window by clicking on the change button in the lower area.
This opens the language file selection window.
To select the language file you want to use, click on Select Language File.
The top most line shows the name of the currently selected language file. If no valid file is selected, then this line shows ---.
The bottom line shows the folder in which the currently selected language file is located.

Hints:
- On the start of SATlive the software scans for language files in the current directory. If it finds more than one language file, it uses the youngest file of the selected language.
- If you're using an older language file, which may lack some strings needed, SATlive will display Text ID: followed by the missing index instead, and it will show the language-file selection window on each start.
- On the first start of a new version the language selection window is shown during start-up.
### About this document
- Button's names and menu entries are shown in bold letters: Button Save means that you need to click with the left mouse button on the button labeled 'Save'. Please be aware that in some modes, the buttons carry only the icon, not the label.
- When you need to select an item from a menu or a list, the different steps are separated by an arrow. Setup → Options means: Do a left click on the button Setup then select Options from the pop-up menu.
- Nearly all buttons and displays in SATlive contain a pop-up menu. On the buttons this is indicated by a small arrow at the button's right side. To open a pop-up menu, you can either perform a click with the right mouse button on the button or a click with the left mouse button on the arrow.
Hint:
SATlive features two kinds of menu layout which can be changed in the setup → display window.
### Terms
- Live Trace and Current Trace are used to label the result of the current measurement. Depending on the module, the measurement can be still active or finished.
- The Selected Trace is used to indicate the trace currently selected for processing. By default the Current Trace is also the Selected Trace.
- The Current Measurement is the measurement which created the Current Trace.
- Pop-up menu: A pop-up menu, also known as context menu, contains specific functions for related area. You can open it with a click with the right mouse button on the related area (button, display and so on).
  In a menu bar a pop-up menu is indicated by a small arrow at the button's right side. You can click on the arrow with the left mouse button to open the pop-up menu.
- In SATlive the term Peak is used for the point with the highest absolute value.
  - In the impulse – response module, the position of the Peak is very helpful for the time alignment and can be used as the reference for the window's position or the group delay.
  - In the MAT and FFT module the Peak is the point with the highest amplitude value.
  - Use the shortcut P to place the cursor at the current trace's Peak.
- The FFT Resolution indicates the distance between two points calculated by the FFT algorithm. The FFT Resolution is displayed in the selection of the FFT size. A better resolution means a larger FFT size.
### Memory trace
In the impulse–response module, in the FFT module and in the MAT module you can copy the live trace into a memory using the shortcut F5.
This copy, called the memory trace, gets exactly the same settings (Gain, smoothing) as applied to the live trace. The shortcut F6 toggles the memory trace's visibility.
Hints:
- The memory trace is lost when you exit the program or assign a new memory trace.
- In the impulse – response module the current impulse response is assigned to the second impulse response trace, which means that in this case F5 is similar to a click on the Assign button in the top menu bar.
- To read out the values of the memory trace you select it as the selected trace.
- You can use the function Load memory trace from file in the Tools menu to assign a stored trace to the memory trace.
### Move the cursor using keys
The following keys can be used to move cursor in SATlive:
- Cursor right, Cursor left move the cursor one step in desired direction.
- Cursor right/left and Shift move the cursor by ten steps.
- Cursor right/left and Ctrl move the cursor by one hundred steps.
- Home Set the cursor on display's right border.
- End Set the cursor on display's left border.
### Averaging
Averaging is available for all measurements in SATlive.
If you use averaging then the same measurement is performed more than one time and a mean value of all results is calculated and displayed. This reduces the influence of ambient noise to the measurement's result.
- In the impulse – response module the trace is shown after all measurements are done.
  - The amount of measurements to be averaged is selected in the measurement's setup.
  - In setup advanced sampling you can select the way SATlive handles differences in the single measurements.
- In the MAT module all measurements are performed consecutively and a so called FiFo averaging is used, except for the Average All setting.
In a FiFo (First In, First Out) averaging the results of the older measurements remain in memory. When the memory is filled up, then the oldest measurement is replaced by the current measurement's result.
After each measurement, the mean value of all data in memory is calculated.
There are two options for the calculation of the mean value in the MAT module.
- First one is the complex averaging, which is performed prior to the calculation of amplitude and phase values.
- Second one is the RMS averaging, which averaging calculates the amplitude value of each single measurement and averages the amplitude values. This excludes the phase from the display and makes the amplitude display more stable, especial for larger distances between the speaker and the mic.
- There is no FiFo averaging used MAT module if you select Average all Values.
The amount of averages and the averaging mode can be set in the layout area, which is located in the bottom menu area. For more details related to averaging, especial in the MAT – Module see page 277.
### Trace's description
In SATlive you can assign and edit a description to every trace.
If you select remarks in Setup → Features → Fileinfo then the trace's description is shown when the trace is used as calibration, overlay or mic - correction data.
You can edit the trace's description in the information window. You can toggle the trace's weighting using the button right of the editor field.
You can open the info window by:
- A left mouse button click on the symbol
- Using the shortcut I on your keyboard.
- If the option Show Fileinfo when saving is selected in Setup → Features, then the info window shows up every time you save a trace.
## Connections
In order to do correct measurements, you must wire SATlive correctly.
WARNING:
- Wrong connections can destroy the pc's soundcard or
  even other parts of the pc.
- NEVER connect an output or input to a speaker output or mains.
- Lower all external volume controls to minimum before starting SATlive.
The Output signal (soundcard's Line out) should be connected to an input of the console or of the device under test.
### Using an external signal source
- The Reference input (By default Left In) receives the signal from the external source.
- The measurement mic is feed into the Mic input (By default Right In).
- Make sure that you feed exactly the same signal into the computer and into your sound system.
### Using a measurement signal created by your computer
- Feed the output-signal from the computer's Audio-output into your soundsystem and in the Reference input (By default: Left Input).
- Feed the signal of your measurement mic into the MIC input (By default: Right Input).
- You can either use an external mic-preamp or an audio-interface with a build-in preamp.
- Your measurement mic will need phantom-power.
- If there is only one input on your computer, you can use the direct-reference feature, which is explained on page 279.
### Measurement of an electronic device using the PC as signal source
- Feed the signal from the PC's audio-output into the device under test and into the Reference input (By default: Left Input)
- Feed the output-signal of the device under test into the MIC input (By default: Right Input).
- Never connect any speaker output to an audio-interface.
### Setup and verification:
- Use the VU meter to adjust the levels. Select Pink Noise at the signal generator and start signal using the speaker symbol or the shortcut G. Adjust the level using the level adjustment in the signal-generator section or the shortcuts arrow up / arrow down, the windows mixers and your hardware.
- Go to the windows mixer, select the line input for recording, and adjust level so that VU meter's left (reference) bar shows approx. -10dB.
- Now set the gain of your mic-amp so that VU meter's right bar shows approx -10dB
To verify your settings, please perform the following checks:
- Stop the signal generator and talk into the mic.
  - If you can hear your voice in the speaker, or you're faced with a feedback at the level – set procedure, there is a link between input and output.
    You need to disable this 'feature', often called Direct (or zero latency) Monitoring. To do so, please refer to your manual of your audio device.
- Switch off the amp, and restart the signal-generator, using the (you remember?) the button or the shortcut G.
- Now remove direct link between the output and reference input.
- If the VU meter's left side still shows a signal, you need to change your soundcard's recording mixer (set recording level for line out and mixerout to zero).
  - If only the VU meter's left side shows signal, you've just flipped the inputs.
## Measurement
Important: To archive a correct result, the system must not change during the measurement. Therefore any dynamic processing like exciter, compressors and so on have to be bypassed.
Furthermore make sure that in the sound-card's mixer all 3D or the reverb effects or any other 'improvements' are disabled.
### How to start a measurement?
In SATlive there are three different ways to start a measurement:

- Starting a measurement with a mouse-click (Impulse response module). You have to select the kind of measurement first, then you may adjust some parameters of measurement and finally start it by clicking on the button showing the selected measurement. In the complex menu layout this button is located above the trace-display window, in the simple menu layout it is in the lower menu bar. When the measurement is finished, you got a raw impulse response trace.
- Running a macro (Impulse response module). In this case you do not only start a predefined measurement with predefined settings, but also activate a defined treatment of the measurement's result. You can access two macros direct using Room/Speaker and Direct/Equalizer . To reach the other macros just click on User Macros M. This will open a list containing all twelve macros available. You can get more information about each macro with a click with right mouse button on it and run it with a left mouse-click. You can edit macro settings at Setup → User Macros.
- Automatic start of measurement (MAT module). In this case the measurement starts when you enter the module.
  In the MAT module you can use the GO button or the spacebar to control the operation. A green dot indicates a running measurement and a red dot marks a stopped one. If you change the measurement mode, the old measurement is stopped, then the new measurement starts. At the MAT module you can use Reset or the shortcut R to reset averaging and the GO button on the right or the space-bar to start/stop measurement.
### How to prepare for the measurement?
- Connect your audio-interface and your hardware (See page 23).
- Check your wring and hardware settings by playing back pink noise (see page 196) and watching the VU meter during this test.
- For the impulse-response module you should create either a calibration file (see page 91) or the complex – calibration feature (see page 53)
- If you like to perform an absolute level measurement, you must adjust the level reference before the measurement (see page 190).
### How to deal with problems?
- Problems related to wiring will bring up an error message (level too high, level too low) in the impulse-response module.
- Check the wiring and the settings of the soundcard's mixer, as described in the connection topic on page 23.
- Try using different latency settings.
- Try another soundcard or use a different audio driver. (Setup → I/O Devices). See page 154 for details.
- If you cannot solve your problems, please send an e-mail with a close description of the problem to SATinfo@take-sat.de.
# Part one: Reference
## The Impulse – Response Module
The impulse–response module features different methods to measure the impulse-response. Furthermore it contains an oscilloscope simulation, which allows you to look on the input signals.
To invoke impulse response module click on Impulse response entry in top menu bar. The result of the measurements is an impulse response.
### More about the Impulse Response
The impulse response is the output of a system feed with a very narrow and very high single impulse.
This is an ideal impulse response. There is now delay and you just see the initial impulse.
This is a real world impulse response. Here you can see the initial delay and some discrete reflections.
The main purpose of the impulse response is the analysis of time related parameters, like delays and room acoustics.
You can transform an impulse response into a frequency response using a FFT calculation.
There are different ways to display an impulse response graph (see page 36 for details)
### Select Measurement and start it (complex menu layout).
You find this area in the top menu bar.
 Loop Measurement repeat the current measurement until you stop it, and display the result after each measurement's completion. You can combine this option with averaging.
Select the measurement you want to perform from the selection, or select it using the shortcut F3.
  - MLS White MLS measurement using pure MLS sequence.
  - MLS Pink MLS measurement using pink filtered MLS sequence.
  - MIR Measurement dual Channel Algorithm to measure impulse response.
  - Sweep Measurement dual Channel Algorithm using a special excitation signal.
  - Oscilloscope show an oscilloscope to look on both input signals.
- GO the currently selected measurement's symbol is shown right to the selection box. Click on the symbol to start a measurement. The function's shortcut is F4.
- Setup show the current measurement's setup. The function's shortcut is F9. The symbol changes with the measurement selected. There is no setup for the oscilloscope measurement here, because all settings for the oscilloscope are located in the right menu area.
### Working with an impulse response
In the impulse-response module a measurement delivers an impulse response as result.
The whole impulse response is displayed in the lower display window and it's selected part is displayed in the upper display window.
Use the Set Cursor on Peak function or the shortcut P to set the cursor to the highest point of the impulse response, the so called peak. This point is taken as the reference for time adjustments like delay line setup. Impulse response's value on the cursor's position is displayed above the upper trace window.
Use the Latch Cursor function or the shortcut D to copy the cursor's current position to a temporary memory. The distance between the latched and the current position is displayed above the upper display window.
Except for smooth FFT Full every FFT is performed with data displayed in the upper display window.
The procedure of selecting a fixed part of an impulse response (or even using the whole, also time limited, impulse response) is called Windowing.
There are different ways to perform windowing in the impulse–response module:
- Set the window's border to the mouse click's position. Either the right or the left border can be set. You can also click on the lower trace display.
- Set the Cursor to the desired border position, then use the Cut right of cursor or the Cut left of cursor function from the trace display's pop-up menu.
- Move the right or the left border using the cursor keys on the keyboard.
- Hold down the right mouse button and move the mouse to draw a selection rectangle.
- Use one of the fixed (, ) user windows, or select another user defined window from the User windowing list. See page 167 for details about user windows.
- Use the Full Trace Display function from the trace display's pop-up menu to show the full impulse response in upper display window. The shortcut is F.
Use the FFT or the smooth FFT to transform the selected part of the impulse response shown in the upper display window into the frequency domain. Both functions feature some options in their pop-up menus.
### Using the cursor in the Impulse-Response Measurement
#### Move the left window border
- The option Left window border can be found in the pop-up menu of the trace display in the impulse – response module.
- If this option is activated, then the left border of the upper trace window can be moved using the cursor keys.
- The actual value of the border is shown above the trace window.
- The upper window always shows the data used for FFT. The lower window shows the whole impulse response with the selected part marked in a different color. You can use the Left window border function on both windows.
Hint:
If the width of the upper window would get larger then the largest FFT size (64k Samples), then the right border is moved in order to keep the width of the window at 64k samples.
#### Move the right window border
- In the impulse-response module you find the option Right Window Border in the pop-up menu of the trace display. In complex menu-mode it is also located in the right menu area.
- If this option is activated, then the right border of the upper window can be moved using the cursor keys.
- The actual position of the right border is shown above the trace display.
- The upper window always shows the data used for the FFT. The lower window shows the whole impulse response with the selected part marked in a different color. You can use the Right window border function on both windows.
Hint:
If the width of the upper window would gets larger than the largest FFT size (64k Samples), then the left border is moved in order to keep the width of window at 64k samples.
#### Cut right of cursor
In the impulse-response module you find this function in the trace's pop-up menu.
The right border of the upper window is set to the cursor's current position. This action is enabled only if the option Set Cursor is selected.
#### Cut left of cursor
In the impulse-response module you find this function in the trace's pop-up menu.
The left border of the upper window is set to the cursor's current position. This action is enabled only if the option Set Cursor is selected.
#### Full Trace Display
The function Full Trace Display is located in the impulse - response module's trace window's pop-up menu. It sets the upper window to the maximum FFT size (or to the size of the impulse response, if it is shorter than maximum FFT size).
Hints:
- The program tries to keep the current left border of the upper window. If the right border would exceed the actual size, then the left border is readjusted.
- This option can also be accessed using the shortcuts F or CTRL – F.
#### Save the Current Window
In the impulse-response module this function saves the current border positions of the upper trace display as a user defined window. This function is located in the trace's pop-up menu.
- Click on Save Current Window.
- Select the target to save the current window to.
- Select the reference for the window's position. Edit the window's name.
- Use the User Window function to recall the window.
- You can edit the window's parameter at Setup → User Windows. See page 167 for details.
### Roundedge
RoundEdge applies a half window to the right half of the data used for the FFT and the smooth FFT calculation.
A window can be seen as a kind of 'Fade Out' applied to the end of the impulse response.
This avoids a sharp cut at the end of the impulse response which may produce interference in the frequency domain.
You can activate Roundedge for each user macros at Setup → User Macros.
You can activate Roundedge for non macro measurements in the pop-up menu of the trace display.
If the complex menu layout is selected then you can activate the Roundedge in the right menu bar, too.
If Roundedge is activated, then it is always applied prior to the calculation of the FFT.
You can select the Roundedge affects impulse response's display option if the currently selected Roundedge window should be used for the display of the impulse response in the upper window as well.
If Roundedge is activated then the name of the selected window is shown at the right in the lower display.
If the Roundedge is activated and the Roundedge affects impulse response's display setting is selected, then the name of the window used is shown in the measurement's description on the left in the lower display, too.
### Second impulse response trace
In the impulse-response module SATlive supports two impulse response traces, which can be displayed at the same time.
There are two ways to assign a trace to the second trace:
- Copy the current trace to the second trace using either the F5 key or click on the Assign button in the top menu bar.
- Load the second trace from a file using the Load second IR function from the menu Tools.
If a second trace is assigned then a trace display mode selection is shown above right above the trace display. See page 36 for details.
In that selection you can select the kind of display used for the second trace. For the second trace this selection also contains the Hide Trace option which sets the visibility of the second trace to false.
### How to save the impulse response?
Use the Save function to write the current impulse response to a file. If enabled in Setup → Features, the info window is shown prior to saving where you can edit the trace's description prior to saving.
If you want to save the impulse response for the use with other software or for the use as complex compensation data, then you have to select the type of file from the save button's pop-up menu.
See page 53 for details about complex compensation.
### Trace display modes in the impulse – response module
There are different ways to display the impulse – response.
You can select the kind of display you want to use using a selection box located above the trace display window.
The left selection affects the current impulse – response, the right selection the latched (second) impulse – response.
The option Hide Trace is available for the second impulse response trace only.
The x – axis shows the time, and the y – axis shows the amplitude value in different ways.
#### Impulse response
This display shows the impulse – response over time using a linear values and a linear scaling. This is the most basic display.
The lower display always shows the full size of the impulse – response in the linear display mode.
You can use the layout setting (see page 39)to change the display of the trace.
#### Impulse – Response (log)
This kind of display shows the amplitude – values on a logarithmic scale. The logarithmic scale, a scaling close to the human reception of levels, makes it easier to detect peaks in the low level part of the impulse – response, which would be nearly invisible on a linear scale. The highest amplitude value is taken as the zero dB reference.
You can vary the display using the Display all data setting (see page 39).
#### ETC – (Energy Time Curve)
This display shows the energy content of the impulse – response. This display creates an envelope of the impulse – response, making it easier to detect global effects. The amplitude is shown using a logarithmic scale, with the highest amplitude value as reference.
You can vary the display using the Display all data setting (see page 39).
#### Schroeder Plot
The Schroeder Plot shows the backward integration of the squared impulse – response. The backward integration creates a very smooth trace, which is used as the basis for a lot of room – acoustic calculation.
A common problem with the calculation of the Schroeder Plot is noise, which affects to the result.
There are different approaches how to deal with this problem. You can select different options in the sub – menu of the tools menu.
See page 38 for further details.
##### Noise correction of Schroeder – trace
This setting selects the way how to deal with the noise interfering the calculation of the Schroeder Plot. For all settings, the intersection between the impulse – response and the noise is calculated, and the calculation of the plot starts at that point. The settings are also used for the calculation of room – acoustic values (see page 45) and of the STI (see page 42). The upper two entries use all of the impulse – response.
- No correction applied: All values are used for the calculation.
- Remove noise: The last 10% of the full impulse – response will be taken to calculate the mean value of the noise. During the calculation, this value is subtracted from the impulse response.
The three lower entries locate the area in which the impulse – response is clearly above the noise level and perform the calculations using only this part of the impulse – response.
- Limit Range: Only the range is limited, no further optimization takes place.
- Limit Range and Remove Noise: uses the limited range and removes the mean value of the noise level prior to addition. The mean value of the noise level is calculated using the part of the impulse – response laying outside the range.
Limit Range, Remove noise and add correction: Noise will be removed, and a correction value, calculated based on the assumption of an exponential decay will be added. In most cases this setting will create the best results.

Hint: This setting affects the calculation of the room – parameters (see page 49) and the calculation of the STI value (see page 42).
#### Layout of the trace display (Display all data)
Depending on the current settings, the impulse – response trace might contain a lot of data. Therefore there are two ways to display the trace.
You can select the mode from the sub – menu Layout in the pop -up menu of the trace – display.
If the entry Display all data is checked, then all values will be drawn. For the full display of a large impulse – responses this might take some time due to the large amount of values.
To reduce the time needed for painting the width of the trace – display is limited to one pixel.
You can enable this option for the main trace using the entry Display all data (main trace). The entry Display all data (latched trace) in the sub – menu affects the display of the second (latched) trace.
The entry Show all data in the pop – up menu of a quick – trace (see page 257) allows the control of its display.
If this option is deactivated, then then only one point is drawn for each pixel of the x axis. The value drawn is the value with the highest amplitude value within the time interval assigned to this pixel. If a wide range is displayed, then this display is similar to an envelope of the trace.
The display might change when you change the range displayed or if you change the size of the display.
### The Delay-Matrix
The delay matrix shows up to seven time values and the difference in time between each of them. You can also add a fixed delay to the values, in order compensate for a change in the reference delay after the measurement of the delay values.
#### Values used
The delay matrix always contains the current position of the cursor, which is labeled C.
Depending on how it has been invoked, the delay matrix contains six more entries, which are labeled with the numbers 1 to 6.
##### Time markers
If you invoke the delay matrix from the marker menu, either in the IR module or in the impulse-response measurement in the MAT module, the six time markers are loaded into the delay matrix. See page 270 for how to use markers.
##### Delay presets
If you invoke the delay matrix from the menu Delay Preset in the MAT Module, than the values and labels of the six delay presets are loaded into the delay matrix.
In this case you can edit the label of a delay preset by clicking on its number using the right mouse button. See page 117 for details about the delay presets.
#### The Display
##### The upper Area
The upper area of the window contains a matrix that shows the difference in time and the distance calculated from the difference in time, related to the values assigned to the column and row.
You can select a cell by a mouse click.
##### The lower area
If a cell is selected, than the lower area shows more details about the entries assigned to the row and column.
If you select a cell in the left most column or in the topmost row, the lower area shows the information assigned to this entry. If you select an other cell, the information of both, column and row is shown in the lower area. The two upper lines contain:
- The label of the entry.
- The time value assigned to the entry
- The distance, calculated using the time value.
- The modified delay value, which is the sum of the time value and the offset value set by the time editor on the right.
The bottom line shows the difference, both in time and distance.
### Room Acoustic Analysis
#### Speech Transmission Index (STI)
The Speech Transmission Index (STI) is a value used to determine the intelligibility at the position of the measurement microphone. The value considers the loss of modulation during the transmission of the sound, but not its frequency response. SATlive uses the impulse response to calculate the STI value.
You can invoke the calculation of the STI from the Tools menu and, if the menu mode complex is selected then you can use the button STI in the upper menu bar, too.
The loss of modulation is calculated for different frequencies used for modulation, and for different octave bands of the audio signal.
There is a total of 98 values, which are averaged using different weighting factors to get one number as result.
On the top you see the result, below the singe modulation indexes are shown, depending on the frequency of modulation and the audio band.
The voice selection determines the weighting factors used for the calculation of the result. Male voice is the commonly used default setting.
In the status-bar at the bottom of the window you can read a short judgment of the calculated STI value.
Use the close button to return to the impulse-response module.
##### The menu bar of the STI window
The menu bar of the STI calculation offers some options for the post-process and the display of the calculated result.
On the left there is the menu STI which contains this options:
- Save trace as picture use this function to save the current display of the STI values. Select the format of the picture in the save dialog.
- Print use this function to print the current display, information about the impulse response used as base for the calculation and a remark, which SATlive prompts for.
- Setup Printer use this function to change the printer and its properties.
- Close closes the window and returns to the Impulse Response module.
The next menu is the menu Display
You can select how to display the results of the STI calculation.
- Show as Matrix shows all values as numbers in a table. If the option Results colored in the menu Setup is selected then the background color of each value is set according to the value.
- Show M-Values related to Frequency Range draws the values as a function of the different audio bands used for calculation. For each frequency of modulation a single trace is drawn. You can enable the display of individual traces in the option's sub menu.
- Show M-Values related to Modulation Frequency draws the values as a function of the different frequencies used for modulation. For each band of the audio signal a single trace is drawn. You can enable the display of individual traces in the option's sub menu.
- Smoothing in the function's sub-menu you can select how much smoothing is applied to the traces.
The rightmost menu is the menu Setup menu.
- Results colored assign a background color to each value according to its value. This setting affects only the Show as Matrix display.
- Show grid shows a grid separating the individual values in the Show as Matrix display.
- Low Color Reference sets the threshold for the red color. Any values below this value is shown in full red in the Show as Matrix display. A value of 1.0 is shown in full green. This setting affects the layout only if the Results colored option is activated.
#### Room Acoustic Calculation
SATlive offers a room acoustic tool which calculates room acoustic values using an impulse response. The quality of the results relates to the quality of the impulse response used, so you should take care to create a good impulse response (use long impulse responses). The room-acoustic tool is invoked in the menu Tools (see page 69).
The traces for the three reverberation times are shown at the top. Below the graphic there is a table containing the numerical values of the reverberation times and other room – acoustic parameters (see page 49 for details).
The tool uses the currently selected noise correction setting. See page 38 for details.
##### The menu Display
- RT60(10) show/hide the RT60(10) trance in the display.
- RT60(20) show/hide the RT60(20) trace in the display.
- RT60(30) show/hide the RT60(30) trace in the display.
- EDT show/hide the EDT trace in the display.
- Print prints the room acoustic parameter and the reverberation graph.
- Save Acoustic Data: Saves the results of the acoustic calculation in a SATlive specific format. You can use the Memory Trace menu to load and display a saved acoustic-data file.
- Save Trace as Picture save the graphic to a file. You can select the kind of picture you want to save it to in the selection on the bottom of the save dialog.
- Export (CSV, TXT) allows you export the results either as CSV (comma separated values), which is used for spreadsheets like exel, or as a plain text file.
  Choose the desired type of file in the save dialog window.
- Room size enter the room size used for the calculation of the Schroeder's frequency. The units can be changed in the Setup → Options window.
- Close closes the window and returns to the impulse-response module.
##### The menu Range
Use the menu Range in the top menu bar to change the vertical range.
- You can choose the desired vertical display area by selecting on of the topmost entries in this menu.
- If you click on Full Range, then SATlive adjusts the display in way that all of the values are shown.
- If you enable the Autorange option, then the vertical range is adjusted to keep all of the traces displayed in the display area. This acts similar as the Full Range function, but this option adjusts the display range every time the values to display change. This setting is memorized and will be restored when you re-enter the room-acoustic tool.
- Use the Decimal Places sub-menu to adjust the display of the room-acoustic values in the lower half of the window according to your needs. Just select the desired amount of decimal places from the sub-menu.
  - No Decimal Place: The values show as whole numbers:	8 s
  - One Decimal Place: One decimal place is shown:	7.9 s
  - Two Decimal Places: Two decimal places are shown:	7.92 s
  - Three Decimal Places: The highest amount available here:	7.921 s
##### The menu Memory Trace
You can load a saved result of the acoustic calculation into a second trace, which is called memory trace.
Uses this trace to compare the acoustic values of different impulse-response measurements.
- Show Memory Trace show or hide the currently loaded memory trace. This option is available only if a valid set of acoustic data is loaded. Hotkey F6.
- Load Acoustic Data opens a dialog where you can select the set of acoustic data which you want to use as the memory trace data.
- The values of the memory trace are drawn as thin lines, and written using a normal font. The values of the main impulse response are drawn using thinker lines and the values are shown in a bold font.
- If valid acoustic data has been loaded then the file name is shown in the lower left area of the acoustic-calculation window.
- The values calculated using the current impulse-response is drawn with a thick line. The values are written using a bold font.
- The values loaded from the acoustic – data file is drawn with a thinner line. The values are written using the default font.
##### Room-Acoustic Parameters
The numeric results of the room acoustic calculation are shown in a table below the graphic display of the revers – time values. The values are calculated for the whole frequency range and for octave-band filtered signals.
- RT60 or reverberation time is the most common value used in room acoustics.
  It shows the calculated time that a sound would need to decay to 60dB below it's initial level. This time is calculated based on a certain range of the decay trace, depending on the signal to noise ratio available.
  - RT60(30) is based on the slope between -5dB and -35dB.
  - RT60(20) is based on the slope between -5dB and -25dB.
  - RT60(10) is based on the slope between -5dB and -15dB.
  - Optimum values for the RT60 depend on the size of the room. The literature suggests approx 2 seconds for music and approx 1 second for speech.
  - The correlation of the result, is used to determine the quality of the calculation.
    A value shown in italic font indicates a low correlation. You can display the correlation of each value by placing the cursor on an entry and holding the left mouse button down.
- EDT means Early Decay Time, which is another reverberation time. This time is calculated using the range from 0dB to -10dB. Under normal circumstances the EDT is the reverberation time that you 'feel' in a room, while the RT60 is a more technical value used for calculations. For music the EDT value should be approx 2.2 seconds.
- C50 and D50 are values which relate the energy arriving in the first 50 milliseconds to the whole energy (D50) or to the energy arriving after the first 50 milliseconds (C50). This values are useful hints for intelligibility. Values greater then 0dB (C50) or 50% (D50) indicate a good intelligibility.
- The calculation of the C80 and D80 values is similar to the calculation of the C50 and D50 values, with the difference that they relate to the energy arriving in the first 80 milliseconds. This value is used for judging the musical sound of a room. A good music reproduction is archived if the C80 value is between -3dB and +1dB, which is the same as a D80 value of around 50%.
- The center time marks the center of gravity of the energy-time area. It is a measure for position of the main energy. It's value should be below 80 milliseconds for speech and between 100 and 150 milliseconds for music reproduction.
- The Schroeder's frequency depends on the room size, which can be set in the display menu (see page 46) of the room-acoustic window. You need to take care of discrete room – modes below of the Schroeder's frequency. The Schroeder's frequency is shown in the status-bar at the bottom of the room-acoustic window.
- The Bass – Ratio (BR) shows the relation of the sum of the RT60(20) values for the 125Hz and 250Hz band related to the sum of the values for 500Hz and 1kHz.
  This value is an indicator how boomy the room will sound. Values larger than one indicate intelligibility problems.
- You can use the Decimal Places sub-menu in the range menu (see page 47)to adjust the display of the values.
### Load impulse response from file
The Load Timefile function opens a file selection window, where you can select the desired type of file from the selection box at the upper left.
- SAT Files new SATlive file type (*.SLD).
- SATlive Impulse response older version of time data files.
- PCM Wave Data impulse response saved as mono pcm wave file.
- Raw MLS imports a pcm file, that containing recorded audio from a MLS sequence.
Hints:
- The function's pop-up menu contains a list of the most recent used files.
- You can use the Raw MLS option together with the MlsToPCM software (available on request) to perform a MLS measurements without your PC.
### Set the parameters of the current measurement
The parameters of the measurements in the impulse – response module are set in an additional setup window.
There are different ways to open this setup window:
- In the simple menu layout the setup is located in the pop-up menu of the start measurement button in the bottom menu bar. The setup is located in the sub menu Setup.
- In the complex menu layout you find a dedicated bottom for the setup right to the start measurement bottom in the top menu bar. The button's icon varies depending on the currently selected measurement. There is no setup button if the oscilloscope type measurement is selected.
- Use the button F9 to invoke the setup window of the current measurement.
- When you edit user macros, then the button Edit in the area Impulse Response invokes the setup.
Hint:
A closer description of the measurements can be found starting at page 54 in this document.
### Complex Compensation
SATlive contains tools for examining the impulse response.
Therefore a need for a calibration mechanism comparable to the calibration for the FFT arises for the impulse response only measurements.
This is the reason for complex compensation, which is a compensation mechanism for the impulse response using a flat reference file with the same settings (size and samplerate) to compensate the influence of the measurement equipment like the preamp and the audio interface and, if needed, also to remove the filtering applied to the measurement signal.
- To perform a complex compensation you must first create a complex compensation file. This is done by performing the same measurement with just a wire, i.e. with the output directly linked to the input.
- Then save the impulse response using the Save as Complex Compensation function.
- Now open the measurement's setup window, select the complex compensation file you saved in the last step, and activate the use of the complex compensation by checking the USE option. To check the complex compensation just repeat the measurement. It should result in a perfect impulse response.
Hints:
- You can use the complex compensation to compensate the influence of 'colored' measurement signals like the pink MLS signal.
- You can activate and assign complex compensation files in the macro setup.
- You can combine the complex compensation with the calibration of the FFT. But be careful not to overcompensate.
### Measurements in the Impulse – Response Module
#### MIR Measurement
The MIR Measurement is a measurement based on comparison of two channels, like the Dual Channel FFT. Opposite to the Dual Channel FFT, the MIR measurement's result is an impulse response. Therefore there is no need to adjust the delay prior to measurement. In measurement's setup you can edit following settings:
- MIR Size select the length of the audio signal used to calculate the impulse response from. A higher number delivers a better result, but needs more time to perform.
- Window mode select the window applied to both input signals (measurement and reference) prior to the calculation. When the expected time delay between both signals is small related to MIR size, you should use the Flattop window. Otherwise rectangular window must be used, in order not to affect the impulse response.
- Synchronize Generator links the start/stop of the signal generator with the start and end of the MIR measurement.
- Averages select the amount of measurements to be averaged before the calculation of the impulse response.
- Complex IR compensation select the file used for the complex compensation. Check use if you want to apply the selected compensation file. See page 53 for details about complex compensation.
Hints:
- In order to improve the quality of the result you should increase the MIR Size instead of increasing the amount of Averages. If your measurement is spoiled by unwanted external noise, you should increase the amount of averages.
- MIR measurement is located in the impulse – response module, but it's connections differ from those used for the MLS measurements.
- To get a high quality impulse response, the reference signal must contain all the frequencies of interest. Using pink noise will produce the best results. When you use music it should contain a wide frequency range.
- You can use the shortcut F3 to select the measurement, the shortcut F4 to start and the shortcut F9 for the setup of the selected measurement.
- If you want to measure only the frequency response, you should use the transfer function measurement in the MAT Module which contains possibilities to validate the result and a continuous display.
#### MLS white
The MLS is a quick algorithm for the calculation of the impulse response.
It uses a special audio stimulation signal, called maximum length sequence, which has the same spectrum ('sound') as white noise.
The impulse response is calculated very quickly. One disadvantage of the MLS is the need for a special stimulation signal.
In the measurement's setup you can edit these settings:
- MLS size select the length of the MLS stimulation signal used. The Impulse response calculated from this measurement will have the same length.
- Averages select the amount of measurements to be averaged prior to the calculation.
- Complex IR compensation select the file used for the complex compensation feature. Check use to apply the selected compensation. See page 53 for details.
Hints:
- To improve the quality of the result you should increase the MLS Size instead of the amount of Averages. If your measurement is spoiled by external noise, you should increase the amount of averages.
- For room measurements you use MLS pink (see page 56), which will improve the quality of the impulse response at lower frequencies.
- For the MLS measurement to work properly, one MLS stimulus is played prior to the measurement.
- On reverberant conditions the impulse response's size (set by MLS Size) should be at least similar to the reverberation decay time (RT60).
- The MLS measurement's results can be affected by distortion and time variances of the measured system.
- You can use the shortcut F3 to select the measurement, the shortcut F4 to start and the shortcut F9 for the setup of the selected measurement.
#### MLS Pink
The MLS is a quick algorithm for calculation of the impulse response. It uses a special audio stimulation signal, called maximum length sequence, which has the same spectrum ('sound') as white noise.
White noise contains the same energy for the same frequency range (i.e. the same energy in the range from 50 Hz to 100 Hz as in the range from 5050 Hz to 5100 Hz), so you'll notice a lot of high frequencies when listening to a white noise signal.
To adapt this signal to human hearing, a so called 'pink' filter is applied, which leads to the same energy content for each octave. (now the range from 50 Hz to 100 Hz contains as much energy as the range from 5.000 Hz to 10.000 Hz).
This signal is much more suitable for acoustic measurements, like speaker or speaker – room measurements.
In a MLS Pink measurement, you have to remove the filtering after the measurement to get the correct result. Otherwise the result contains the frequency response of pink filter added to the measured impulse-response. You can use either the Complex Compensation (see page 53) or the calibration (see page 91) to remove the effect of the pink – filter.
The measurement setup allows you to edit these settings:
- MLS size select the length of the MLS stimulation signal used. The impulse response calculated from this measurement will have the same length.
- Averages select the amount of the measurements to be averaged prior to the calculation.
- Complex IR compensation select the file used for the complex compensation. Check use to apply the selected compensation to the impulse response. See page 53 for details about complex compensation.
Hints:
- To improve the quality of the result you should increase the MLS Size instead of increasing the amount of averages. If your measurement is spoiled by external noise, you should increase the amount of averages used.
- For the MLS measurement to work properly, one sequence has to be played prior to the measurement. Therefore a non averaged MLS measurement needs twice the time of the impulse response to perform.
- On reverberant condition the impulse response's size (set by MLS Size) should be larger or at least similar to the (expected) reverberation decay time (RT60).
- The MLS measurement's results can be affected by distortion and time variances of the measured system.
- You can use the shortcut F3 to select the measurement, the shortcut F4 to start and shortcut F9 for the setup of the selected measurement.
#### Sweep measurement (impulse response)
The Sweep Measurement is a measurement based on the comparison of two channels, like the Dual Channel FFT, using a swept sine as the excitation signal.
The measurement's result is an impulse response.
Therefore there is no need to adjust the delay prior to the measurement.
In the measurement's setup you can edit the following settings:
- Size the length of the impulse response. A higher number delivers a better result, but needs more time to perform. The sweep-signal length is set to half the length of the impulse response, if Use short signal (Chirp) is not activated.
- Averages the amount of measurements to be averaged before calculation of the impulse response.
- From the starting frequency of sweep, i.e the lowest frequency played.
- To the ending frequency of sweep, i.e. the highest frequency played.
- Use short signal (Chirp) shortens the time used for the sweep signal, so that only a real short sound is audible. This setting does not affect the length of the impulse response calculated.
- High to Low use this setting to run the sweep from the high frequency down to the low frequency.
- Use STI – Filter for signal use this option to apply a digital filtering to the signal generator. This makes the energy contribution more similar to the contribution of energy in speech. You should use this filter only if you want to perform a STI calculation (see page 42) using the impulse – response measured.
- Complex IR compensation select the file used for the complex compensation and enable it. Refer to page 53 for details about the complex compensation.
Hints:
- To improve the quality of the result you should increase the Size instead of increasing the amount of the averages. If your measurement is spoiled by unwanted external noise, you should increase the amount of averages used.
- The Sweep measurement is located in impulse response module, but it's connections differ from those used for MLS measurements.
- You should use the STI – Filters only if you want to calculate the STI value, because the filter decreases the noise immunity of the measurement, especial at low and high frequencies. This is a wanted behavior for the measurement of the STI value, because intelligibility is affected by external noise also.
- You can use the shortcut F3 to select measurement, the shortcut F4 to start and the shortcut F9 to invoke the setup for the selected measurement.
- If you want to measure the frequency response, you should use the MAT Module, because of it's possibilities to validate the result. See page 103 for more details of the transfer-function measurement.
#### Oscilloscope
The oscilloscope measurement in the impulse – response module displays the signal on the inputs directly.
There are two similar setup areas, one for the MIC input and the other for the REF input.
Upper selection select the vertical amplitude. The value is one division related to digital full-scale. GND shows a flat line, OFF hides the trace.
Y-Offset (lower setting) move the trace up or down. A value of 100 equals the upper display border and -100 equals lower display border.
AC show only the ac part of the input signal.
The next settings refer to both input signals.
- Timebase select the time per division for the x axis. Smaller values increase the processor load.
- Trigger level the percentage of the current display's vertical range where trace display is triggered. A green label indicates a triggered display, a red level indicates that level is too low to trigger.
- Trigger source select the input used for the trigger.
- Neg select the direction of the slope to trigger on. If Neg is selected, the trace must fall below trigger level in order to trigger the display. Otherwise the trace must rise above the trigger level to trigger the display.
- Trigger delay this setting, which is located at the bottom of the window, allows you to move the horizontal position of both traces. A positive value moves the trace to the right and a negative value moves the trace to the left.
### Files and Traces (Impulse response complex menu layout)
This menu is located in upper menu-bar.
- Load time data loads a saved impulse response. The pop-up menu contains a list of the recently used files. Opening an impulse response will destroy the currently displayed impulse response.
- Load time data into the second trace: load a saved impulse response into the second impulse response's trace.
- Save Impulse response saves the current impulse response to a file. You can save impulse response in different types of file.
- Trace width toggles the width of the trace. Shortcut Ctrl – W.
### Save the Impulse Response
- You can save the impulse response to different file types, which you find in the pop-up menu of the SAVE button.
- Save as SATlive data this is the default setting. The trace is saved containing all settings. If the show fileinfo when saving option in the Setup → Features window is enabled, the current settings are shown prior to saving the file. In this case you can edit the file's description.
- Save as Wave data saves the trace as a *.wav (windows pcm, mono) file.
- Save for praxis saves the impulse response readable for praxis (www.libinst.com) software. This great software allows a lot of post-processing, like waterfall display.
- Save as complex compensation saves the current impulse response as complex compensation data. See page 53 for details about complex compensation.
- Save trace as picture saves the upper display as a picture. You can select the picture's format from the file type selection box in the save menu.
Hints
- You can select the quality of the pictures at setup → features (See page 181 for details).
- Please note that SATlive will read only SATlive or PCM type files.
### Macros in impulse response module
In SATlive a macro describes a measurement and it's post-processing performed in the impulse – response module.
SATlive features twelve different macros. The Macros one and two ares directly assigned to the buttons Speaker/Room and Direct / Equalizer
- To edit a macro, go to Setup → User Macros (see page 165)
- You can start the first two macros with a mouse-click on the assigned buttons.
- The other ten macros can be accessed via the macro-list. The macro-list contains the first two macros as well.
- If you didn't run a macro before then a left mouse click on the button M shows the macro list.
- If you'd run a macro before then a left mouse click on the button M repeats the last used macro.
- You can open the macro-list using the pop-up menu of the button M.
- To run a macro from the list, just click on it's name or description with left mouse button.
- After the execution of a macro from the macro list, the macro's is assigned to the User Macro Button M. You can rerun the macro then by just clicking on the button. The other macros can be accessed via the button's pop-up menu.
- To get more information on a special macro, just click on it's name or description with right mouse button.
### Perform a FFT using the current impulse response
- In the simple menu layout this function is located in the lower menu-bar.
- In the complex menu layout, this function is located in the top menu area.
- FFT start the calculation of a FFT of the current impulse response's section which is shown in upper window, using the selected resolution. After performing the FFT SATlive changes to the FFT module. You can start the FFT using the shortcut F7, too. The resolution of the FFT can be selected from the pop-up menu of this button.
- Smooth FFT start a Smooth FFT of the current impulse response's section displayed in upper trace window. You can also use the shortcut F8. The function Smooth Full, which you find in the button's pop-up menu, extends the right border of the upper display before performing the smooth FFT in order to get enough valid data for calculation.
### Trace Display options in the Impulse — Response Module
This options are located in the right menu-bar.
- Roundedge toggles the application of the roundedge window selected at the trace-display's pop-up menu prior to the FFT.
  The window is always applied as a half window, i. e. it is only applied to the right half of the upper window. This is necessary to avoid spoiling of the peak, which should be in the left half. See page 34 for details about the roundedge function.
- Lock the Window Avoids changing the selected region in the upper window when you run a macro. This could be helpful if you want to compare absolute phase values which always refer to the left window border.
### Windowing in impulse response module
This options are located in the right menu area.
- Apply a 10ms long window with its left border 400usec before the peak. You can use shortcut CTRL-1, too.
- Apply a 20ms long window, with its left border 400usec before the peak.
  You can also use shortcut CTRL-2.
- Show the user window list.
Hints
- You can edit user windows in Setup → User Windows. See page 167 for details.
- You can assign the current window to a user window list using the Save Current Window function from the Trace display's pop-up menu.
### Cursor modes
This options are located at right menu area (only in the complex menu-layout) and they are also present at trace display's pop-up menu.
This options select how SATlive reacts when you click on the impulse response's trace using the left mouse-button.
- Set Cursor (Default) Set the cursor on the mouse click's position. You can also use the shortcut C to select this option.
- Cut left of Click Set the left border of the upper window to the click's position.
- Cut right of Click Set the right border of the upper window to the click's position
- Set Cursor on Peak The cursor is moved to the point with the highest absolute value. This action is enabled only if the Set Cursor mode is selected. You can also use the shortcut Shift + P to perform this action.
Hint:
You can perform this options in both trace displays.
### Impulse response trace's pop-up menu
Click on the impulse response's display with the right mouse-button to open this pop-up menu.
- Show values of select the trace for cursor readout. Only traces currently displayed are enabled.
- Set Cursor set the cursor on the position of the mouse-click. You can also use the shortcut C to select this option.
- Cut left of Click set the left border of the upper window to the click's position.
- Cut right of Click set the right border of the upper window to the click's position.
- Set left window Border see page 26 for details.
- Set right window Border see page 26 for details.
- Full trace display see page 27 for details.
- Cut left of Cursor the left border of the upper window is set to the cursor's current position. This action is enabled only if the option Set Cursor is selected.
- Cut right of Cursor the right border of the upper window is set to the cursor's current position. This action is enabled only if the option Set Cursor is selected.
- Set Cursor on Peak the cursor is moved to the point with the highest absolute value. This action is enabled only if the Set Cursor mode is selected. You can also use the shortcut Shift-P to perform this action.
- Latch Cursor saves the cursor's current position as a reference. If a cursor is latched, the distance between the cursor's current position and the latched cursor's position is displayed. This action is enabled only if the Set Cursor mode is selected. The shortcut for this function is D.
- Show Difference show the distance between the cursor's current position and the latched cursor's position and the distance related to this delay. This option is visible only if a cursor position has been latched. You can set the temperature and the units used for the distance calculation at Setup → Features
- Marker place a marker on the current cursor position or show the delay-matrix. See the marker section at page 40 of this document for details.
- Save delay to preset saves the cursor's current position to one of the five delay latches used for dual-channel FFT in the MAT module.
- Save current window save the current border positions of the upper window to a user defined window preset.
- Info show information about the current trace. You can edit the trace's description in the information window.
- Roundedge open the sub-menu to set the parameters for the roundedge function. See page 34 for details about roundedge function.
- Layout use the entries of this menu to control the display of the impulse – response. See page 39 for further information.
- Tools shows the tools menu (see page 69) which contains more options.
### Impulse response Menu bar simple Layout
If the simple menu layout if selected then a smaller amount of buttons is displayed. You can access many functions using a pop-up menu or the tool menu.
- Room/Speaker starts the macro Speaker in Room.
- Direct/Equalizer start the macro Direct Electric.
- User Macros show the user macro list to choose a macro from. After the execution of a macro the executed macro is assigned this button. See page 63 for details.
- Start selected measurement you can select the type of the measurement to perform in the button's pop-up menu. The button's pop-up menu allows you to invoke the setup window for the different types of measurement. You can use the shortcut F3 to select the type of the measurement, the shortcut F4 to start the selected measurement and the shortcut F9 to invoke the setup window assigned to the selected measurement.
- Smooth FFT perform a Smooth FFT of the impulse response's selection shown in the upper window and then changes to the FFT module.
  The button's pop-up menu contains the function Smooth Full, a smooth FFT with an automatic movement of the right border, and a 32kByte long FFT. You can use the shortcut F7 for the FFT and the shortcut F8 for the Smooth FFT.
- Tools more functions and options for the impulse — response module. See page 69 for details.
Hints
- You can edit the user macros at Setup → User Macros.
- Using the option Start measurement on selection at Setup → Measurement you can select if the measurement starts when you select another kind of measurement, or if you need to start the measurement with a click on the button or the shortcut F8.
### Menu Tools in the Impulse — Response Module
You can invoke this menu either using by clicking on the Tools symbol in the main menu bar or via the trace display's pop-up menu.
- FFT start a FFT of the part of the impulse response which is shown in the upper window using the selected resolution. After performing the FFT SATlive changes to the FFT module. You can start the FFT using the shortcut F7, too. The resolution of the FFT can be selected in the pop-up menu of this option.
- Trace width toggle the width of the current trace. You can use the shortcut Ctrl + W, too.
- Save the impulse response save the current impulse response. You can save the impulse response to different types of file. See page 62 for details.
- Load impulse response load an impulse response. The pop-up menu contains a list of recently used files. This overwrites the impulse – response currently shown.
- Load second IR load an impulse response to be used as second trace.
- Repeating Measurement if is option is selected the measurement and the post-process are repeated until the measurement is stopped by the user.
- Intelligibility display the Speech Transmission Index (STI) calculated using the current impulse response. See page 42 for details.
- Room-acoustic open the room acoustic parameters window using the current impulse response. See page 45 for details.
- Noise correction of Schroeder – trace use this sub – menu to choose the noise correction used for the calculation of the Schroeder – trace and for the calculation of the room – acoustic values (see page 45 for details).
- Lock window fixes the size and position of the selected part of the impulse response. The selected part is used for the calculation of the FFT. Use this setting if you want to compare time related values (like the phase – trace) in the FFT display.
### Right menu bar impulse response (simple menu layout)
As you might guess this menu is located right of the trace display window.
- Cursor on Peak the cursor is moved to the point with the highest absolute value. This action is enabled only if the Set Cursor mode is selected. You can also use the shortcut P to perform this action.
- Latch Cursor Saves the cursor's current position as a reference. If a cursor is latched, the distance between the current cursor and the latched cursor is displayed. The latched cursor's position is displayed below the symbol. The shortcut for this function is D.
- Full window Set the upper window to the FFT size (or to the size of the impulse response, if this is shorter then the FFT size). The shortcut is F.
- Window 10ms Apply a 10ms wide window with its left border 400usec before the peak. You can use the shortcut Ctrl + 1 as well.
- Window 20ms Apply a 20ms wide window with its left border 400usec before the peak. You can also use shortcut Ctrl + 2.
- User Windows Show the user window list. For details see page 167.

Hints
- You can edit the user windows in Setup → User Windows. See page 167 for details.
- You can add the current window to the user window list using the Save Current Window option from the Trace display's pop-up menu.
## Common menus for FFT module and MAT module
### FQ Scale Style
The FQ Scale Style option is available in the FFT module and in the MAT module, were you can find it in the Menu Tools.
It selects the vertical (frequency) scaling for the display area:
- EQ 32: the scale shows the bands of a 32 band EQ.
- Logarithmic style: the scale shows default frequency scaling.

The Setup → Display window (see page 172) contains the option I.S.O Frequency Grid, which shows vertical lines at the center frequency of the EQ-bands.
Otherwise the vertical lines mark the borders between the single EQ-bands.
### Cursor Menu (FFT and MAT)
This menu is located right in the lower menu bar.

(Simple menu layout)

(Complex menu layout)

- Range open the range sub menu where you can select the displayed frequency range. See page 74 for details.
- Cursor on Peak move the cursor to the current peak of amplitude response. The shortcut is Shift-P.
- Lock on Peak perform the Cursor on Peak function every time a new trace is drawn. In order to reset this option click again on the button or perform an other cursor related operation (Cursor on Peak, mouse click on the trace to set the cursor, movement of the cursor using arrow keys on your keyboard). The function's shortcut is P.
Hint:
You can use the shortcut C to hide/show the cursor.
### Gain / Offset Setting
This setting is located at right window. It is available in the MAT module and in the FFT module. Changing this value moves the selected trace up or down in the display window. You can use this setting to center the selected trace or to shift it in order to compare it to another trace. You can use the mouse to move the selected trace up or down, if the option Allow Gain-Setup using Mouse option is activated in the pop-up menu of the value display or in the Tools menu.
Hints:
- Use the shortcut Z or a double-click on the gain display to set the gain to zero.
- Use Auto – Center or the shortcut M to adjust the gain to center the live trace in the display area.
- The gain settings affects the amplitude read out. Therefore SATlive shows the current gain setting behind the amplitudes value, if the gain is differs from zero.
- The colors of the display are swapped to indicate an offset value different from zero.
- Use the shortcuts Page Up and Page Down to change the offset.
- The label and the color of the selected trace are displayed.
- The value-display area contains a pop-up menu where you can select some predefined offset settings and where you can enable the movement of the selected trace by moving the mouse vertically with the left mouse-button hold down using the Allow Gain – Setup using Mouse entry.
- When working with the Live-Add Trace or the Perfect-Addition Trace (see page 247) you can use the entries in the pop-up menu of the cursor-info area in the right-menu bar to determine whether the offset should affect the calculated trace(s) or not.
### Display range selection
The Range selection is located in the lower menu bar.
Use it to select the visible frequency range for the display.
Beside the three ranges Low, Mid and High you can select a fourth setting, which is called User.
You can change the border of the user setting either (like the borders of the three other settings) at Setup → Post Process or by assigning the currently used borders using the Assign current range option.
The Full range function restores the full frequency range.
If a transfer measurement is performed in the MAT module then this menu contains the Linear Scaling (X-Axis) option, which activates a linear scaling of the frequency axis, opposite to the commonly used logarithmic scaling. The linear scaling might be helpful when you work with the phase trace.
Logarithmic (default) frequency scale	Linear frequency scale

You can also use the right mouse button to select the frequency range you want. Just move the cursor to one end of the desired range, click and hold down the right mouse button. Now you can select the frequency range by moving the mouse to the right or to the left. A dashed rectangle marks the current selection. The display changes to the new values as soon as you release the right mouse button.
### Show Range at Cursor
You'll find this setting in the pop-up menu of the trace display in the FFT and MAT module.
This option shows two lines with the selected distance related to the amplitude value at the current cursor position.
If the option Pink spectrum lines is activated in the current display settings, then the lines also use a slop of -3dB/octave.
The horizontal grid option shows a horizontal line at the cursor's intersection with the selected trace.
Hints:
- The cursor always shows the values of the currently selected trace.
- You can select the trace to analyze in the pop-up menu of the trace display using the Show Values of option.
### Pop-up menu assigned to the Trace Display
Open this menu by clicking on the trace – display window with the right mouse button or by pressing the key J on your keyboard. The content of this menu varies dependent on the current status and the measurement selected.
- Show values of select the trace whose values are shown. See page 244 for details.
- Group-delay related to select the reference time used for the calculation of the group-delay. This option is available only in the impulse response's FFT module.
- Invert live trace flip the live trace on the zero dB line. The shortcut is Shift + I.
- Full trace display show the whole valid frequency range. The shortcut is F.
- Information show information about the currently selected trace.
- Show Range at Cursor draws horizontal guide lines related to the value at the cursor's current position.
- Delay = Cursor applies the delay value at the cursor's current position to the current delay. This option is enabled only in the impulse-response measurement. You can also use the shortcut F3 to invoke this function.
- Marker assign, show or hide frequency markers. See page 270 for details.
- Tools invoke the Tools menu (see page 122).
- Layout opens the layout-sub menu. See page 252 for details.
- Open Delay Finder open the delay-finder window. Available in the MAT module only. See the delay-finder section on page 111 for details.
- Low-Frequency Delay-Finder executes the Low-Frequency Delay calculation. See page 118 for details.
- Addition of Signals open the menu for the addition of signals tool.
- Show Virtual EQ show or hide the virtual EQ. See page 225 for details.
- Target Amplitude shows/hides the Target Amplitude. See page 82 for details.
### Smoothing
This selection is located on left side in the lower menu bar.
Select the amount of smoothing applied to the live trace.
The value of a point for the display is calculated as the mean value of the selected range.
If, for example a range of one octave is selected, then the mean value is calculated from the frequency of the current point minus half an octave to the frequency of the current point plus half an octave.
Using the unit octave is closer to human hearing as a fixed frequency range or a fixed amount of points.
The option Similar to Ear varies the width of the smoothing depending on the frequency. The higher the frequency, the smaller the window (in octaves).
Hint:
Human hearing is very sensitive to peaks in frequency response so you should not apply too much smoothing.
### Show Values of
- This selection is located at trace display's pop-up menu.
- Select the trace to read values from. You can select any trace which is visible.
- Just choose the trace you want from the sub-menu.
- The selected trace is indicated in front of the values.
- You can use the shortcut T to toggle the cursor readout.
### Value Editor Field
This edit field is located right of the layout – parameter selection below the trace display in FFT and MAT module.
This field shows the current value of the selected layout parameter.
You can change this value by:
- The selection of a preset value from the field's pop-up menu.
- Clicking on the arrows on the right side of the field.
- A pop – up menu containing some preset values is available for all settings.
SATlive shows the name of the selected parameter left of the value edit field.
See the page 149 for a description of the parameters available.
### Frequency Range Tool
The frequency – range tool is available in the MAT module and in the FFT module.
The tool marks a frequency range and displays the properties of this range. See page 80 for more information about the values shown.
The menu (see page 81) allows the configuration of the display.
This functions support the frequency – range:
- Bandpass – filtered – pink noise (see page 201)
- Delay – suggestion tool (see page 250)
- Low – frequency delay – finder (see page 118)
- Target – amp line (see page 83)
The frequency – range tool operates in three stages.
1. In this stage, no frequency range is marked or available. If you proceed to stage 2, either by using the key D on your keyboard or by clicking the right mouse – button while holding the left one down, the current position of the cursor will be saved. The saved location is called latched cursor.
2. In stage 2, you're able to set the frequency – range by moving the mouse with the left button held down. Depending on the mode selected in the menu (see page 81), the latched cursor is either used as the center frequency or as one border of the range marked.
3. In stage 3, the range remains marked, but cursor movement will not affect it anymore. You can readjust the borders by placing the mouse over it, pressing and holding the left – mouse button down as long as you want to move the border.
There a different ways to proceed from stage 2 to stage 3.
- Use the key D on your keyboard, or click the right mouse – bottom while holding the left one down.
- Move the mouse outside the trace – display area.
- If you've activated the option Unlock Cursor on Button Release in the menu (see page 81) then the stage changes as soon as you release the left mouse button for the first time.
To return to state 1 from state 3 just press the key D again or click the right mouse – button while holding the left one down.
Use the key – combination Shift – D to return immediately to state 1 from any other state.
#### Information displayed for the frequency - range
The information shown above the trace display consists of the following entries. The information of the cursor range tool is shown on the left of the information area above the trace display.
- Latched Cursor the position of the latched cursor.
- Center frequency of the range. The position is shown as a dashed line in the trace display. Depending on the settings in the menu (see page 81) this value might be the same as the selected cursor.
- Selected Range the third line shows both borders of the currently selected range.
- The bottom line contains information related to the width of the selected range. Use the menu (see page 81) to select the value(s) you want to see.
  - BW the bandwidth of the range between both positions, related to the center-frequency[1].
    [1] This is not the correct definition of the Bandwidth, but it's the Bandwidth definition used in many digital equipment.
  - Q Quality, calculated by 1/BW.
  - Octaves bandwidth in octaves.
  If the option Show Values at Main Position is selected in the menu (see page 81), than the information related to the current cursor-position is shown here.
#### The menu of the frequency – range tool.
To invoke this menu just click on the arrow symbol in the upper left corner of the info area above the trace display.
- The three topmost entries allow you to select how SATlive will display the bandwidth information. See the information display section on page 80 for details about the different kinds of display. You can select more than one entry here.
- Use the next two entries to define how the latched cursor is used in the calculation of the frequency – range.
  - Latched Cursor is Center Frequency: the latched cursor marks the center – frequency of the range. The second border will be calculated according to the current position of the current cursor.
  - Latched Cursor is Border: the latched cursor marks one border of the frequency – range. The center – frequency is calculated according to the position of the current cursor.
- The Show values at main position option flips the display position for the information related to the current cursor position and some information related to the currently selected range so that the center frequency and the bandwidth value are displayed at the center of the info area.
- The Unlock Cursor on Release of Button: if this option has been activated then the state of the frequency – range (see page 79) changes from state 2 to state 3 as soon as you release the left mouse – button for the first time.
- On the bottom of the menu you'll find the previously used range settings. To recall one of that setting, just double-click on the entry.
### Target Amplitude
You can show a target amplitude line in the transfer-function measurement.
This line serves as a guide line for EQ and level adjustments. This line is also used as border for the shadow – fill. Furthermore the difference in amplitude between the value at the center-frequency and the target amplitude is displayed, thus easing the adjustment of gain during setting up the EQ.
#### Controlling the Target Amplitude
To set the target – amp line, just move the mouse onto the info area on top of the trace display, hold down the left mouse button and move the mouse downwards until you reach the desired position.
To move the target – amp line grab the handle on the left and move it while the left mouse button pressed up or down.

Use the entry Target Amplitude in the pop-up menu assigned to the display area or the shortcut U to hide/show the target–amp line, and the menu (see page 83) to control the target amp line.
#### The Menu Target Amplitude
The menu is located in the upper menu area.
- Target Amplitude 0 dB: Shows the target amplitude line and sets it on the 0 dB line.
- Use Average as Target Amplitude: Shows the target amplitude line and calculates the average amplitude value of the whole trace and uses the result for the position of the target amplitude line. The entry also shows the target amplitude line if it was hidden before.
- Use Average of Range for Target Amplitude: Shows the target amplitude line and calculates the average of the amplitude values inside the selected frequency range and uses the result for the position of the target amplitude line.
- Target Amplitude: Toggles the visibility of the target amplitude trace.
### Full Range
This function is located in the trace display's pop-up menu and in the range pop-up menu in the lower menu bar.
This function sets the upper and lower frequency of the display so that the whole range of valid frequency data is visible.
The lowest frequency is given by the lowest valid frequency of the current trace and the highest frequency is given by the Nyquist's frequency (= half the samplingrate). The function's shortcut is F or Ctrl + F.
#### Lowest valid frequency
Due to the windowing of the impulse response only a part of the impulse response is used for the calculation of the FFT. Therefore it is not possible to show frequencies below a certain frequency.
On the lowest frequency one whole cycle can be completed. This means that the period of the lowest valid frequency is equal to the length of the window applied prior to the calculation of the FFT.
For example let the length of the time window be 20 milliseconds. The lowest frequency is defined by f = 1/period, which yields 1/0.02s, resulting in 50 [1/s = Hz].
#### Nyquist Criteria
The Nyquist's criteria postulates that an analog signal which is used as an input into an analog-digital converter, must not contain signals with a frequency higher then half of the sampling frequency (samplerate). Otherwise the digital signal is spoiled with artificial signals.
This is the reason why a steep low pass filter is applied prior to any analog digital conversation.
Therefore the signal feed into the FFT does not contain any information about frequencies above half the samplerate. This is why SATlive does not display any frequencies above that value.
### Weighting Filters
You can apply a weighting filter to the mic-signal input In the MAT Module.
The selection of the weighting filter can be found in the lower menu bar.
The frequency response of the human ears is not linear and changes, especial at lower frequencies, related to the sound-pressure level. The frequency response will become more flat when the level is increased. At lower frequency the sensitivity of the human ear is reduced at the low and at the high frequency area.
To match this behavior of the human hearing there are some so called weighting filters. This filters include a low-pass filter, which is the same for all three filters described below, and a high-pass filter whose parameter vary.
- A Weighting dB(A): A weighing performs the strongest cut at lower frequencies. Intended to be used for lower levels, this has become the most commonly used weighting filter. This filter correlates with the 'frequency response' of hearing damage and therefore it is used in the German DIN 15905-5 to weight the energetic averaging of sound pressure levels.
- B Weighting dB(B) this weighting, whose low cut is in the middle between A and C weighting was intended to be used ad medium levels. Nowadays this weighting is not used often, so it is not present in SATlive.
- C Weighting dB(C) this weighting is intended for high levels and applies only a small amount of low cut filtering to the signal. It is mainly used to weight short signals (Peaks).
Hint:
You can set the weighting filter used for the level display independent from the filter used in the MAT Module. Select the filter to be used for the level display in the related setup window.
## The FFT Module
This module displays the FFT of the impulse response and allows you to post process the trace in different ways.
In the normal operation this module is invoked directly from the impulse - response module when you perform a FFT or a smooth FFT, but it can also be accessed directly using the FFT button in the top menu-bar.
### FFT
The FFT is an algorithm (= description of a calculation) used to transform a signal in the time domain, like an impulse response into a signal in the frequency domain.
The new signal contains the same information as the original signal, but in another kind of values. The values of the frequency domain are amplitude and phase related to the frequency. We call this kind of display Frequency response.
In the frequency response it is easy to the system's (in this case, system refers to the whole measured way of signal) peaks and dips.
### Display functions
In the complex menu-layout this functions are located at the upper menu bar.
- Toggle Display mode this button and it's pop-up menu toggle the display mode. For details see page 71.
- Show Amplitude toggle the display of the amplitude response. If the amplitude display is not active, then the phase display is activated in order to prevent an empty screen.
- Show Phase toggles the display of the phase response. If the phase display is not active, then the amplitude display is enabled in order to prevent an empty screen. In the button's pop-up menu you can select different display modes for the phase (-180° to 180° or 0° to 360°), different ranges of the group-delay display and furthermore the reference used for the group-delay.
  You can shift the phase-trace with the key-combination Ctrl + Prior or Ctrl + Next.
- Hide Amplitude and Phase hide both the amplitude and the phase trace of the live trace. The shortcut is ^ (left of the number 1 key).
### FFT File functions
Layout opens the trace-layout editor for the live trace. The layout-editor window allows you to customize the display of a trace. See page 252 for more details about the layout editor.
- Save saves the live trace. Set the file name and edit, if the info window shows up the trace's description.
  The function's pop-up menu contains more options, like the Save Trace as Picture (Save directly picture), Save as ASCII (Saves trace's data into a text file) and Save as calibration data.
- Load Open a stored trace. If you open a new trace, then the current trace will be lost. The function's pop-up menu contains a list of the most recently used files.
- Print Prints the trace window.
Hints:
- You can set the quality used for the Save Graph as Picture function in Setup → Features.
- You can add a fixed offset to the amplitude for the ASCII output. You can configure this option at Setup → Features
### Additional Functions
- Use Mic-correction activates the mic correction. If no valid mic correction is currently loaded, the function calls the Load Mic Correction function. See page 89 for details. This item contains a sub-menu, also described on page 89.
- Tracemanager open or close the tracemanager. This function can also be accessed using shortcut Ctrl + T. See page 207 for details.
- Stop/Again stops a macro measurement when it runs in a loop, or repeats the last macro. You can use the shortcut R to invoke this function.
- Assign snapshot to macro copy the current settings into a user macro.
- Info opens the information window for the current trace. The trace's description can be edited in information window as well. The shortcut for the information window is I (Uppercase 'i').
### Mic correction
In addition to the Calibration and the Complex Compensation, which are available in the Impulse-Response Module and the FFT Module only, SATlive features the possibility to correct the frequency response of the measurement microphone.
This feature is called Mic Correction and can be applied to the measurement (MIC) Signal both in the FFT and in the MAT module.
You can use any Smooth FFT trace, as long it has the same samplerate as the current trace, as the Mic correction data. You can create your own Mic correction file using the SATlive's mic-correction editor (available for download at: http://www.take-sat.de/download/miccaledit.zip).
Furthermore, you can use calibration provided in a text file[2]. If you select a text file in the open-mic-correction window, you find details about the calibration in the info area at the lower left.
[2] The import-filter has been tested using files from different manufacturers, but it might fail with files supplied by other manufacturers. If you'll face a problem with a text based mic-correction file, please contact us.
#### The sub-menu of the mic-correction entry
This sub-menu is assigned to the mic-correction function.
- The top item shows the name of the current mic-correction data. Click on this entry to toggle the use of the mic-correction. This item is available only when a valid mic-correction file is assigned.
- Load mic correction: Opens the file-load window, where you can select the mic-correction data you want to use.
- Show frequency response of the correction: Shows the inverted mic-correction data, which is the frequency-response of the measurement mic.
- The names of the most recently used mic-correction data are listed on the bottom of this menu. To select on of this entries, just click on it.
### Group-delay related to
You can find this menu in the trace display's pop-up menu and in the phase-display type pop-up menu.
The group-delay is a value calculated by the derivation of the phase over the frequency. It can be interpreted as a frequency dependent delay, related to the begin of the current time window. Because the begin of the time window is known by SATlive, it can provide group-delay values related to different reference times.
- Time Zero the group-delay 0 is at time zero of the impulse response.
- Window the group-delay 0 is at the beginning of the current time window (no correction performed).
- Peak The group-delay 0 is at the impulse response's peak.
- Calibration activates the use of the current calibration file. If no valid calibration file is assigned, it executes the Load CAL function. The function's shortcut is C. The pop-up menu contains the load calibration data and the save as calibration data functions.
### Calibration
In the FFT module you can create a calibration file, which is taken as the reference for the measured trace. By doing so, the non linearity of the measurement setup is compensated and all dB values are related to calibration file.
#### Create a calibration file
To create a calibration file, just connect the output direct to the input. Start a measurement, and save result (in FFT module) using Save as calibration data. In the complex menu layout this option is located in the pop-up menu of the Cal button, in the simple mode it can be found at Tools → Calibration as well. In both layouts this function is also present in the Save button's pop-up menu.
If measurement was executed using a macro (which is recommended), you'll see a window likes this after saving calibration file.
If you click Yes then calibration file is automatically assigned to the macro.
This assignment can also be performed in Setup → User Macros.
#### Using the calibration file
If you assigned a calibration file to a macro, then the calibration is automatic applied every time you run the macro.
To load a calibration file use the function Load Cal from the Cal button's pop-up menu. If a calibration file is loaded, toggle it on and off using the Cal button or the shortcut C.
Hints:
- If a calibration file is applied, then its name is displayed on left side of trace window.
- To calibrate the display of the impulse response in the impulse — response module use the Complex Compensation feature. See page 53 for details.
- A calibration file can only be used for measurements performed with the same settings (FFT size and type, sample – rate).
- To check the calibration file just repeat the measurement. If your systems works fine and calibration is correct, you shall see a flat line at zero dB.
#### Calibration menu
In the FFT module this menu opens up, if you perform a right mouse click on the CAL button which in the simple menu-mode is located in the upper menu-bar and in the complex menu-mode in the pop-up menu Tools.
- Load Calibration Data open a calibration file.
- Save as Calibration Data store the current trace as a calibration file.
- List of files the list of the most recently used files. To load a file from the list, just click on the file's name.
Hints:
- You need different calibration files for FFT and Smooth FFT.
- If you want to compensate the display of the impulse response then use the complex compensation feature in the IR Module.
- To compare different results, you can use any file as calibration file, as long as the settings used to create it are the same as for the current trace. To activate or deactivate a calibration file, just click with the left mouse-button on the button CAL or toggle the state using the key C on your keyboard.
- If a calibration file is activated, then the label "Cal:" and the name of the cal-file is displayed at the left side of the trace display. You can change the way the file name is displayed at Setup → Features → Fileinfo.
### FFT Menu bar (simple menu layout)
In the simple menu layout there are only a few buttons in the FFT module's menu bar.
You can access the other functions via the Tools menu.
- Save saves the live trace. Set the file name and edit, if the info window shows up, the trace's description. The button's pop-up menu contains also the functions Save Graph as Picture (Save the display directly as picture) and Save as ASCII (Saves the live trace's data into a text file). The function Save as Calibration Data, allowing you to save the live trace as a calibration file, is also in this menu.
- Show Phase toggle the display of the phase response trace. If the phase response is not shown, the amplitude display is enabled to prevent an empty screen. In the button's pop-up menu you can select different display-modes for the phase (-180° to 180° or 0° to 360°), different ranges of the group-delay display and furthermore the selection of the reference for the group-delay.
- Stop/Again stop the execution of a macro measurement when it runs in a loop or repeat the last macro. You can use the shortcut R to invoke this function, too.
- Tools contains a lot more functions and settings. For details see page 94.
### FFT menu Tools
There is a lot of functions and settings in the menu tools. In the simple menu layout the menu tools can be accessed directly using the Tools button in the menu bar.
In both menu layouts the menu Tools can also be accessed via the trace display's pop-up menu.
- Tracemanager open or close the tracemanager. This function can also be accessed using the shortcut Ctrl + T. See the tracemanger section at page 207 for details.
- FQ Scale Style set the style of the frequency scale. See page 71 for details.
- Hide current Trace hide both the amplitude and the phase display.
- Calibration activate the current calibration file. If no valid calibration file is loaded then the Load CAL function is executed. The function's shortcut is C. More functions can be found in the function's sub menu. See page 91 for details.
- Mic Correction activate the use of the mic correction. If no valid mic-correction data is loaded then the function Load Miccorrection is invoked. The shortcut for the mic correction is the key M. See page 89 for details about the mic-correction and about the sub-menu assigned to this entry. This entry is available only if the live trace was created using a smooth FFT.
- Phase compensation select the phase-compensation mode. Visible only if the live trace was created using smooth FFT. For details see page 231.
- Information show the information window for current trace. The trace's description can be edited in the information window as well.
- Load Trace opens a file. In the function's sub menu you find a list of the most recent used files, from which you can pick a file with a double click.
- Print prints the current trace display. The shortcut is Ctrl + P.
- Edit Target Trace opens the editor for the target-trace. See page 227 for details.
- Trace Layout invokes the editor for the configuration of the trace display. See page 252 for further information.
### Trace Layout FFT Module, simple menu layout
In the FFT module you find this settings below the trace display window in simple menu layout.
Select the layout parameter you want to change:
- Low DB move the trace display's lower border. The visible area ranges from Low DB to Low DB + Range Y.
- Range Y set the trace display's vertical range.
- Line Gap set the distance between two vertical grids.
Trace Layout invokes the editor for the layout of the live trace. See page 252 for details.

Hints:
- To select a parameter simply click on the parameter field left of the value editor field. This will show a pop-up menu, where you can choose the parameter to edit.
- After a parameter is selected the value editor field shows the parameter's current value. The current parameter's name is displayed left of the value editor field.
- The parameter's value can be changed using the value editor field.
- The value editor field contains a pop-up menu with some presets for the currently selected parameter.
- You can change appearance of the traces displayed using the trace-layout window. See Page 252 for details.
### Trace Layout FFT module, complex menu layout
In the FFT module you'll find this settings below the trace display window, when the complex menu layout is selected.
Select a parameter of the trace display's layout, either by clicking on a field or by selecting it from the current parameter display's pop-up menu.
- Low DB move the trace display's lower border. The visible area ranges from Low DB to Low DB + Range Y.
- Range Y set the trace display's vertical range.
- Lines Gap set distance between two vertical grids.

Hints:
- After the selection of a parameter, the value editor field shows the parameter's current value. The current parameter's name is displayed left of the value editor field.
- The parameter's value can be changed using the value editor field.
- Every parameter's field features a pop-up menu with some preset values.
- You can change appearance of the traces displayed using the trace-layout window. See Page 252 for details.
## The MAT module
MAT is the powerful Dual Channel FFT measurement part of the SATlive audio – measurement software.
### The measurements in the MAT module
#### RTA Measurement
An RTA (Real Time Analyzer) displays the input's energy content, averaged in frequency bands. A RTA shows a flat response on a flat system when feed the system with pink noise.
In SATlive you'll find the RTA measurement MAT module.
SATlive uses the resolution of a 30 band RTA, which has a frequency bandwidth of one third of an octave.
You can select the input(s) to display using the labels below the VU meter.
Use the cursor to read out values.
See the page 130 for the parameters for the RTA display. Furthermore the RTA supports the Auto-Freeze feature, which is described on page 98.
##### Peak display (RTA)
The center frequency of the selected RTA band is shown on the left of the display area on top of the trace display. If the Lock Cursor On Peak option (see page 98) is enabled, this value indicates the frequency band with the highest energy.
If you use the Auto Freeze functionality (see page 98) then symbol on the upper left indicates the current state of the peak – display.
##### Freeze Control
The freeze control menu is assigned to the area right to the display, and it's available for the RTA and FFT measurement.
###### Auto Freeze
If you enable Auto Freeze, then the display will freeze if the level of the peak rises over a threshold value.
The threshold value is indicated by a red line in the display and it can be moved using the handle visible in the area right to the display.
###### Display follows peak
Enable this entry if the locked peak – display (see page 97) should always indicate the frequency of the peak. Otherwise the peak – display will show the frequency of the current position of the cursor. This entry works only if the Freeze Peak Display option is enabled.
###### Freeze Peak Display
Use this option to avoid that the peak – display changes when the display is not frozen.
This will lock the peak display (see page 97) to the frequency of the last peak that triggers the auto freeze, until the next time a new peak exceeds the threshold value. That enables you to read the frequency of the last feedback, even when it's gone.
A locked display is indicated by closed – lock symbol shown right to the peak – display.
###### Auto Re-Start
Reactivates the display if the input level falls down below the restart threshold.
The restart threshold, which is indicated by a green line in the display, is related to the freeze threshold – setting.
The hysteresis value determines the gap between both values.
#### FFT measurement
The MAT module's FFT the display shows the spectral contents of the selected input signal(s). On a flat system it shows a horizontal line if the system is feed with white noise.
- Select the input(s) to display using the labels below the VU meter. See page 150.
- If pink noise is used as signal, then the result falls with a slope of -3dB per octave. To check the linearity you can use the Pink Spectrum Lines feature in the Setup → Display window.
- You can also use the Compensate FFT feature in Setup → Measurement to remove the influence of the pink filter. You can find more details on page 100.
- A selected delay is applied to the REF input. See page 119 for details about how to set the delay.
- Use the cursor to read out values.
- The measurement is performed as a Smooth FFT (see page 212)
- The FFT measurement is intended to show the energy content of signals.
- The values shown are absolute levels only if you performed and activated the level calibration.
- You can set the amount of averages in the trace-layout menu in the bottom area. See the page 277 for details.
- The amplitude threshold set for the transfer function is indicated using a different background color. See page 136 for information about the amplitude-threshold.
- The FFT measurement supports the Auto-Freeze feature, which is described on page 98.
##### Compensate FFT (MAT)
You can select a compensation for the FFT measurement in the MAT module at Setup → Measurement. See page 175 for more details about the setup.
The selection is used for the display in the FFT measurement and in the FFT + Spectrograph measurement, but has no effect to the calculation and the display of the transfer function.
You can select one of the three compensation patterns available:
- Flat on white noise this is the default display of a FFT measurement. You'll get a flat line, if you feed the FFT measurement with white noise.
- Flat on pink noise filter the result of the FFT measurement using a +3dB/octave filter. This compensates the influence of the filter used to create the pink noise. With this setting you'll get a flat line, if you feed the FFT measurement with pink noise. With this setting the FFT measurement acts like a RTA measurement with small frequency bands.
- Sawtooth with pink noise with this setting you can see the nine different bands used for the calculation of the result. This setting is mainly intended for compatibility to other software.
##### THD (Total Harmonic Distortion)
###### Basics
Beside the wanted amplification any active device changes the shape of the signal a little bit. When we send a sine wave signal through an electronic (or an electro – acoustic) device we can easily detect the changes by looking at the frequency response of the device's output.
There we can see peaks on integer multiples of the basic frequency. If we add the levels of this so called harmonics and relate this sum to the basic frequency's level, we get the THD.
In the early days of electronics THD was the main criteria for the quality of amplifiers and a low THD was the goal of mostly all developments in audio electronics.
When the industry managed to gain real low THD values, the people realized that, even with very low THD values, amplifier may not sound good. Today we know that THD is not always bad, and that a speakers has much more THD then it's driving electronics.
Another interesting fact is that tube amps have a real high THD compared to solid state amps, and that we sometimes use an exciter to create additional harmonics, which means we're rising the THD value.
###### THD measurement in SATlive
The THD measurement is performed in the MAT module as an option for the FFT measurement. You can start it in the menu Tools.
SATlive assumes that the frequency set for the Sin Var signal of the signal-generator is the basic frequency. See page 196 for more details about the signal-generator.
Therefore you have to set the frequency value to the sine wave signal's frequency even if you're using an external sine wave generator. The THD value is displayed on top of the trace display for both inputs separately. Normally THD measurements use a basic – frequency of 1 kHz.
###### Settings
You can set the order of the highest harmonic which is to examined in the Setup → post process window (See page 182).
You can also select the input(s) to be examined using the buttons below the VU-meter in the right menu-bar. See page 150 for more information about the input selection.
#### Transfer function measurement
You'll find the transfer function measurement in the MAT module.
The transfer function means how the system, which covers all influences between input and output of the measurement, transfers a signal from the input to the output.
This covers the influence in the frequency response, how good each frequency is transferred, and the signal's timing, for example delays.
In live PA situations the system to measure consists of an addition of different transfer functions. Any part in the signal chain has it's own transfer function, but the most problematic part is the speaker to listener transfer function.
The transfer function is calculated by comparing the measured output-signal of the system with the input signal feed into it.
During a measurement of a PA system, the signal is feed into the console and measured by a measurement microphone located in the room.
Both signals are transformed into their frequency responses, and then transfer function is calculated by a simple division of the frequency spectra.
##### Amplitude Threshold
In order to minimize the external interference to the measurement, there are some options to improve the quality of the result.
Because the division makes only sense on frequencies where the source signal contains enough energy, an amplitude threshold value, acts as a threshold for the execution of the calculation. See the page 136 for details about how to set the amplitude-threshold value.
If the amplitude value of the reference signal is below the threshold, there is no update of the display.
##### Coherence Threshold
To minimize the influence of external signals, you can use a coherence threshold. The coherence is a value that indicates how good the measured signal relates to the input signal.
If you select the dynamic coherence threshold, then the coherence threshold depends on the count of valid measurements taken for a certain frequency value, otherwise the fixed value is used.
If the coherence value of a certain frequency is above the threshold, then the value is shown as trace. This is done for every single frequency, so the value might be shown as part of the trace or as dot.
The Show Last – Good Trace functionality (see page 105) fills the gaps caused by low coherence with prior stored valid values.
Hints:
- The current values for both thresholds are shown in the right menu area.
- A click on the threshold display opens the setup menu for the selected threshold.
- You can set the colors used for the dots and the correlation in the Setup → Display window. See page 169 for details.
##### Last – Good Trace
The visibility of a point in the display of the transfer – function is determined by the amplitude – threshold and the coherence – threshold (See page 104 for details).
Therefore there might be some areas in the spectrum which contain valid data at some times, but there are also times where the coherence drops below the threshold of the coherence – limit setting.
The Last – Good Trace records the current output as long as it is valid, so that it contains the last valid value of each frequency. If the coherence drops below the threshold, the value of the Last – Good Trace is displayed in a transparent color, so that you can distinguish which values are created by the current measurement (solid line) and which values are recalled from the Last – Good Trace.
You can disable this feature using the entry Show Last – Good Values in the layout – menu. You'll find this menu either as the pop – up menu of the layout area on the bottom, or as a sub – menu in the pop – up menu assigned to the trace – display area.
#### FFT + Spectrograph
In the FFT + Spectrograph measurement in the MAT module the measurement (MIC) signal is displayed in two ways at the same time.
The upper window shows the FFT of the measurement (MIC) signal and the lower window shows the spectral distribution of the energy over time. In the lower window the level at each frequency is displayed using different colors. The scale used is shown right of the display.
The vertical axis is the frequency and the horizontal axis is the time.
The settings for the Y-Range and for the Top level are the same in both displays, the Averages setting and the Range setting is used only for the FFT display in the upper window.

Hints:
- You can select the display range in time of the spectrograph display in the menu Tools.
- The cursor movement is synchronized in both windows. In the upper window the cursor is a vertical line, in the lower window a horizontal line.
#### Impedance measurement
The impedance measurement in the MAT module could be used for speaker development or to check speakers.
The impedance is the frequency dependent resistance.
To measure the impedance you need an external reference resistor capable of enough power. You must set the value of the resistor used at Setup → Measurement.
Impedance measurement will need an other wiring than all other measurements.
Wrong usage or wiring could destroy your audio interface, your computer and/or your power amp.
Read and obey the following hints:
- For the sake of safety you must use the two resistors (10k/0.5W) marked red.
- Start measurement with no ground connection on the power side. Use this connection only if necessary.
- Use only power amps with the negative speaker output connected to ground.
- Never use power amps in bridge mode!
- Make sure you're using the right connections before you switch the poweramp on.
- There is no liability for any damage!
- The reference resistor's value should be about twice the value of the nominal impedance of the speaker. A 15 ohms resistor is a good choice for common 8Ω or 4Ω speakers.
#### Impulse response measurement (MAT)
The measurement of the impulse response in the MAT module is done using the Dual - FFT algorithm.
The upper window shows the whole range selected in the right menu bar or at the menu Tools , the lower window shows the range around the time zero with a time scale zoomed by zoom factor selected. The zoom factor is shown in the lower right area and can be changed in the Tools menu (see page 124).
The reference (REF) signal is delayed prior to the calculation of the impulse response. Therefore the time scale does not show absolute time values, but the offset from the current delay.
You can use the Show True – Zero Marker entry in the menu Marker (see page 271 for details) to indicate the real zero time value in the display.
The cursor – readout in the info area above the display shows the values related to the current delay. If you press the left key while the mouse is over the readout then the display shows the absolute value until you release the button.
##### Using the Impulse Response
- Use the button D = C or the shortcut F3 to assign the cursor's current position to the current delay, so making the current cursor's position the new time zero of the display.
- Use the key P to set the cursor to the peak of the impulse – response.
- Use the key – combination Shift + P or Ctrl + D to assign the position of the peak to the current delay. This will make the peak the new reference – time value.
- You can use the Quick Traces described starting on page 255 to store copies of the impulse response currently shown or to compare different impulse – response traces.
- Use the shortcut F5 to make a copy of the current impulse response trace. The shortcut F6 toggles the visibility of this memory trace.
- During this measurement you can apply markers (see the page 270) and use the delay matrix, which is explained in this document starting at page 40.
- To change the display and the measurement use either the menu Tools (see page 124) or the right – menu area described on page 133.
- To magnify one of the display areas, just double-click on the area you want to zoom.
- To switch back to the display of both traces, just double-click again on the display.
- You change the vertical split either move the separating area while holding the left mouse – button down or select a predefined value from the pop-up menu of the splitting area.
- You can apply a high-cut and a low-cut filter prior to the calculation of the impulse – response. This can be done either in the menu Tools (see page 124) or in the right – menu area, described on page 133.
### Setting the Delay for MAT measurements
The Dual – FFT measurement compares two signals, so it is important that the delay between both signals is properly compensated in order to compare the same portions of the signal. Please keep in mind that you must not change the delay when you're comparing phase traces. In this case set the delay at the measurement of the first transfer-function and do not alter it for the other measurements.
You can determine the value of the delay in different ways:
- Measure it using the Delay-finder. See page 111 for description of the delay-finder.
- Locate it in the impulse-response module and save it for MAT using the Save Cursor as MAT Delay function in the trace window's pop-up menu.
- For the manual tuning of the delay you can use the arrows left and right to the delay-display. Left arrows add or subtract one millisecond of delay, right arrows add or subtract one sample of delay.
- You can recall a delay preset using one of the buttons D1 to D6.
- Use Direct to set the current delay to zero.
- Perform an impulse – response measurement in MAT module, set the cursor on peak, and use the Cursor → Delay function at trace window's pop-up menu or in the delay menu in the lower menu area.
- In the MAT module the current delay is applied to the reference channel even in the RTA and the FFT measurement.
- If you changed the current delay, then you can save it to a delay preset using Save Delay in the lower menu area.
- Use the Low-frequency Delay-finder, described on page 118.
- In the measurement of the transfer-function, you can also use the Auto-Delay functionality described on page 119.
### Delay Finder (MAT)
Use the delay finder in MAT to measure the time delay between both input channels.
The delay finder, which is available in the MAT-module only calculates the impulse – response using both inputs, and suggests the point with the largest absolute amplitude value as the delay-value.
This will work for most situations, but there are some things you should know:
- In the impulse-response the largest amplitude is caused by high frequencies, so the delay-finder adjusts to the delay of the high-frequency device.
- Lower frequencies do not rise or fall as sharp as high frequencies, so the delay finder performs best when high frequency content is available.
- Therefore you should start a time adjustment between different frequency ranges with measuring the delay of the device reproducing the highest frequency range.
- The delay-finder might not work for sub-woofers. In this case you might try the low-frequency delay-finder for more accurate results (see page 118)
#### How to invoke the Delay Finder
There are different ways to invoke the delay finder
- Use the key F7 on your keyboard.
- Double – click on the display of the current delay value.
- Use the Open Delay Finder entry in the pop-up menu of the trace-display area.
- Use the Open Delay Finder entry in the pop-up menu of the delay display. See page 140 for details.
#### How to operate the Delay Finder
##### Display of the result
After the measurement is performed, the area around the largest absolute amplitude value is shown in the center of the window, allowing a visual check of the result.
The result is shown in the left area.
- The upper area shows delay value
- The middle area shows the distance calculated using the delay value. You can change both the temperature value and the units used for the calculation at Setup → Features. (see page 178)
- The lower area shows POS if the largest amplitude value is positive, and NEG if it is a negative one.
The main operation of the delay finder is done using the three buttons in the lower right area.
##### Basic operation
- Use the button Get It to start a measurement. If not saved to one of the delay presets, the previous measured delay will be lost as soon as you start a new measurement.
- Use the button Cancel or the entry Cancel in the menu Delay Finder to return to the MAT main window, leaving the delay unchanged.
- Use the button Apply to return to MAT main window and to apply the measured delay as the current MAT delay. You can also use the F3 key or the Apply entry in the menu Delay Finder.
##### Advanced functionality
There are some more possibilities in the delay finder:
- If you want an other position to be used as delay, you can move the cursor in the display using either the left or right key on your keyboard or using the mouse (click to set, hold left button down and move) or the both arrow buttons below the display to move the cursor. The delay will follow the position of the cursor in the display.
- Use the selection Displayed Range, which is located above the display area to set the size of the impulse-response you want to see in the window.
- Use either the button Cursor on Peak or double-click with the left mouse-button onto the display area to reset the cursor to the center of the display, which is the position of the largest absolute amplitude value.
- Use the buttons on the top – right area to assign the delay to one of the delay presets. See page 117 for details about delay presets. During assignment, you can also edit a short label for the delay preset. You can access the assignment via the menu bar also. Please note, that the delay is assigned to the preset only if you click on OK in the name-edit window. You do not need to edit the name, just click OK.
- The area at the lower left of the window contains functions to manage the delay for the direct – reference feature. See page 284 for details about direct – reference and page 127 for details about this area.
##### Hints
- You can use the option Delayfinder before Transfermode located in the Setup → Measurement section (see page 175), to open the delay finder every time you enter the transfer-mode measurement.
- Use the Low – Cut and the High – Cut entry in the menu – bar to remove unwanted frequencies prior to the calculation. See page 114 for details.
- The status-bar on the bottom of the window shows the current state.
- If you invoke the delay-finder when the input levels are very low, then SATlive shows a small window asking if you want to start the signal-generator before you enter the delay finder.
##### The menu bar of the Delay – Finder
The menu bar is located on top of the Delay – Finder window.
###### The entry Delay Finder
This entry contains the same functions as the three buttons on the lower right area.
- Get It starts a new calculation of the impulse – response.
- Cancel closes the delay – finder window without changing the current delay – time setting.
- Apply closes the delay – finder window and applies the delay – time setting.
###### The entry Low – Cut
This entry shows a list of the frequencies available for the low – cut. The low – cut is applied during the calculation of the impulse – response. You can use the low – cut to remove unwanted low frequency signals from the impulse – response.
###### The entry High – Cut
This entry shows a list of the frequencies available for the high – cut. The high – cut is applied during the calculation of the impulse – response. Use the high – cut to exclude noise and high – frequency interference from calculation of the impulse – response.
###### The entry Trace Copy
Use this entry to make and manage an instant copy of the calculated impulse – response. The copy remains available until you end the software.
- Copy Trace creates a copy of the currently shown impulse – response. Invoking this function also turns on the visibility of the copy trace You can use the key F5 on your keyboard to invoke this function.
- Show Trace Copy use this entry to show or to hide the copy trace. You can use the key F6 on your keyboard to invoke this function.
- Bring to front makes the copy – trace the top – most trace in the display.
  When this option is enabled, then the vertical scaling of the display is based on the peak value of the copy – trace, otherwise the vertical scaling is based on the peak value of the current measurement. Please note that the position in time, which always relates to the position of the peak value in the current measurement, is not affected by this setting.
- Lock Position this option determines the time – position of the copy – trace.
  - Lock Position enabled: The copy – trace is displayed using its time position, so the peak of the copy – trace is not necessarily at the center of the display, it might even be not visible at all. You can use this setting to compare the position in time of both traces. Because the display – range of the delay – finder is limited, we suggest that you use the impulse – response display (see page 107) to adjust delay settings.
  - Lock Position disabled: The copy – trace is moved in a way that the positions of the peaks of both traces are centered in the display. This allows you to compare the form of the impulse – responses in order to compare polarity or to detect failures in the performance of a speaker.
- Clear Trace Copy discards the content of the copy – trace. The content of the copy – trace will be lost. If you just want to hide the trace use the Show Trace – Copy entry instead.
###### The entry Delay – Memory
This entry manages the Delay – Presets (see page 117).
- Assign Delay Memory copies the delay – value into a delay -preset. Choose the preset from the sub – menu.
- Rename Delay Memory opens a small window, where you can change the label of the preset. Choose the preset from the sub – menu.
- Edit Name on Assignment with this option enabled the Rename Delay Memory function executes each time you assign the delay to a delay memory.
  Otherwise the name of the preset is not affected by the assignment.
  With both settings you can use the Rename Delay Memory function to change the name of the preset later.
###### The entry Direct – Reference
This entry contains two functions for the management of the delay used by the Direct – Reference feature. See page 289 for a close description of the Direct – Reference feature.
- Reset triggers the Set Direct-Reference Delay to Default function, which sets the delay of the Direct – Reference feature to a default value calculated using the current buffer settings.
- Assign triggers the Apply current delay to Direct-Reference function using the delay-value in the delay – finder, closes the delay – finder, returns to the main window and sets the current delay to zero.
  This entry is visible only if a valid delay has been measured by the delay-finder.
### Delay-presets
The delay presets ease the handling of multiple delay values.
- There are six delay-presets available.
- Each delay-preset contains the delay – time value and a label.
#### Assign a Time Value
You can assign a time-value to a delay preset in three different ways:
- Use the Save Delay to Preset entry in the pop-up menu assigned to the trace-display area in the IR – module.
- Use the delay-preset buttons on the upper right area or the Delay – Memory entry in the menu bar. See page 116 for details.
- Use the entries of the Delay Preset sub menu in the MAT module to assign the currently used delay value to a delay preset.
During the assignment, a small window pops up, where you can edit the label of the delay preset.
Please note that if you choose CANCEL the new value is not assigned to the delay preset.
If you disable the Edit Name on Assignment entry in the menu – bar of the delay finder, then this window does not show up during the assignment in the delay – finder.
#### Where to use
You can use the delay presets for different tasks:
- Recall a previous assigned delay value in the MAT module by the selection of a delay preset in the pop-up menu of the delay section (see page 140).
- Use the delay matrix to calculate the difference in time between different delay presets. See page 40 for more information about the delay matrix.
Hint:
You can use the markers, described on page 270 to mark certain times in the impulse-response. You can use the delay-matrix (see page 40) also with those time markers.
### The low-frequency delay-finder
The low-frequency delay-finder calculates the delay needed for the transfer-function measurement using the averaged phase values in a given range of frequency.
The target of this calculation is to get the phase response trace as flat as possible.
You should not use this value for alignment purpose, because it's an averaged value.
The calculation referrers to a phase trace, so it is only available during the measurement of the transfer-function. See page 103 for details about the measurement of the transfer-function.
#### Using the low-frequency delay-finder
- Select the range of interest using the cursor-range tool. See page 79 for details about how to use the cursor-range tool.
- Invoke the Low-Frequency Delay-Finder by clicking on the entry in the delay pop-up menu or in the pop-up of the trace-display labeled Low-Frequency Delay-Finder.
- Now a small window pops up, which shows the results.
#### The display window
This window pops up after you started the Low-Frequency Delay-Finder and shows the result of the calculation.
- Related to current delay: The difference between the values of the calculated and the current delay.
- Related to time zero: The absolute value calculated for the delay.
- Apply: Assign the calculated delay to the current measurement and close the window. It also shifts the display of the phase-trace to center the phase-trace vertically.
- Close: Close the window and discard the calculated delay.
### Auto-Delay Functionality
During the measurement of the transfer-function, SATlive calculates and monitors an impulse – impulse in the background. This enables the software to keep track with changing values of the delay, which for instance occur when you move the measurement mic to an other location.
If you're performing a measurement in order to check relation in time, you must disable the automatic change of the delay, because the automatic change of the delay value would spoil your measurement by voiding your reference in time.
Therefore you should use the automatic change only if you're interested in amplitude information only.
You can disable or configure the precision of the calculation used by this functionality in the Setup → Measurement section. See page 175 for more information about this setup section.
##### Settings
The settings are located in the pop-up menu of the delay-display in the lower menu bar.
- Adjust Delay: This function changes the current delay to the last delay measured.
  You can use the shortcut Ctrl + D to invoke this function without the need to pop-up this menu.
- Autoadjust Delay: If you activate this option, the current delay is changed any time the delay measured changes. This is helpful when you're measuring amplitude-response traces, but must be unselected when you want to measure information about relations in time, as needed for time-align or for creating a certain coverage pattern.
- Show Warning when Delay changes: If you activate this option, SATlive compares the currently used delay to the measured delay. If the values differ, then it swaps the colors in the display to indicate the difference.

Allow Jitter: The calculated delay might slightly vary due to the movement of the air, change of temperature or other reasons, even if the position of the mic does not change. The entries in the Allow Jitter sub-menu will add some tolerance to the Autoadjust Delay function, so that small changes will not change the delay and not reset the current measurement. Select the tolerance from the entries in the sub-menu.
You can disable the Auto – Delay feature in the Setup → Measurement window (see page 175). This window also features the possibility to select the desired length of the impulse response. In most cases the default value will work fine, but you have the choice to change the value in both directions, either to a shorter impulse – response with a higher refresh – rate and lower quality or to a longer impulse – response with increased quality but lower refresh rate. See page 175 for details about this setup window.
##### Visual indication in the delay-time display
If the Autoadjust Delay option is selected, a red square is shown at the left in the delay-time display.
When you've activated the Show Difference in Time option at the same time, the yellow triangle, which indicates that the display shows a difference in time, is drawn on top of the square. More details about using a reference in time for the delay-time display can be found on page 140 of this document.
A difference in time between the currently set delay and the delay measured is indicated by an inversion of the colors in the delay-time display, if the Show Warning when Delay changes option is selected.
Hint:
The calculation of the delay is not as precise as done for the delay-finder or for the impulse-response display.
### Menus in complex menu mode
#### Trace display (MAT)
- Phase opens a pop-up menu where you can select different display modes for the phase (-180° to 180° or 0° to 360°) and different ranges of the group-delay display. You can shift the phase display using the shortcuts Ctrl + Next and Ctrl + Prior in steps of 45°.
- Invert live trace mirrors the live trace on the zero dB line. The shortcut is Shift-I.
- Hide current trace hides both the amplitude and phase display. The shortcut is ^ (Top left of number 1).
Hint:
The options displayed depend on the measurement selected.
#### Mic-correction, Tools and Info (MAT)
- Mic Correction activate the mic correction for the live trace. If no valid mic correction is loaded, then the Load Mic-correction function, which can accessed via the button's pop-up menu also, is invoked. The shortcut is M. On page 89 you can find more information related to the mic-correction and the pop-up menu assigned to this button.
- Tools open a sub menu containing more settings and functions. See page 122 for more information about the menu Tools
- Info show information about the selected trace. You can also use this function to edit the trace's description.
- Trace Layout opens the Trace – Layout window for the live trace. You'll find more information about the Trace – Layout window starting on page 252.
#### Menu Tools
The options displayed depend on the measurement selected.
##### RTA Mode
Calibrate current RTA calibrates the RTA display. For calibration use a loop-back from the output to the REF input, select averages ultra and start pink noise.
After a few seconds with pink-noise running, this entry is enabled.
The calibration compensates the errors of the frequency – response caused by the audio converters and other equipment used for the measurement.
##### FFT
- Limit: FFT Level a point is only added to the averaging latch, if the ref signal's level exceeds this threshold value. Therefore the transfer function is calculated only on frequencies with enough power in the reference signal. The values shown are absolute levels only if a level adjustment has been performed. See page 136 for details.
- Windowing select the window applied prior to the calculation of the FFT.
- FQ Scale Style set the style of the frequency scale. See page 71 for details.
- THD+N start the total-harmonic distortion measurement. See page 101 for details.
##### FFT and Spectrograph
- The three settings at the top of the menu are the same as described in the FFT section on this page.
- Time Range Spectrograph select the desired time for the spectrograph display from the sub menu. The time selected is needed to fill the spectrograph.
- Run only once if this option is selected, the spectrograph (but not the FFT display) freezes after it is filled completely.
##### Transfer Function
- Limit: FFT Level a point is only added to the averaging latch, if the level of the reference signal exceeds this threshold value. Therefore the transfer function is calculated only on frequencies with enough power in the reference signal. See page 136 for a closer description of the amplitude threshold feature.
- Limit: Coherence a point is only displayed if its coherence exceeds this threshold value. The coherence indicates how good the mic signal is related to the ref signal. The coherence is, especial at high frequencies, affected by the delay setting.
- Noise Threshold shows the menu assigned to the Noise Threshold Tool. See page 137 for details of this tool.
- Display range for Coherence select the vertical range for the coherence display. The coherence is show at the top of the upper window. The labels for the coherence range are on the left side.
- FQ Scale Style set the style of the frequency scale. See page 71 for details.
##### Impulse Response
- Windowing select the window applied prior to the calculation.
- Display size set the size of the calculated impulse response. Higher size has higher precision but takes more time to calculate. This value also determines the range of time that the impulse response covers. You can access the sub-menu in the right-menu area (see page 133) also.
- Averages set the number of averages performed. The impulse response is calculated using a FiFo memory, except for the Average All Values option, which averages all measurements since the last reset. See page 277 for more information about averages.
- Amplitude modification set the gain of impulse response, given as a linear factor, not as a dB value. The area Y-Factor in the right menu-area (see page 133) shows the value currently selected. To access the sub menu just click on this area.
- IR Zoom Value select the zoom factor for the display of the lower trace. The area is always centered around the time value of zero. You can see the current zoom factor in the lower right corner of the display area. Click onto the value to open the sub menu.
- High – Cut use this entry to remove higher frequencies prior to the calculation of the impulse – response. You can access this sub – menu in the right menu area (see page 133) also.
- Low – Cut use this entry to remove lower frequencies prior to the calculation of the impulse – response. You can access this sub – menu in the right menu area (see page 133) also.
- Direct – Reference use this entry to configure the delay used by the direct – reference feature. The description of the Direct – Reference feature starts on page 285 of this document.
##### Common Menu Entries
- Hide current trace hides the display of the live trace. Please note, that the hidden live trace is still updated. To lock the live trace use the GO button in the right menu-area (see page 133).
- Save write the live trace to a file.
- Load F5-Trace from File reads a file and puts it into the F5 – memory. Use the key F6 to toggle the visibility of this trace. This function is deprecated and you should use the load trace option of the Quick-Traces (see page 255) instead.
- Direct-Reference opens the menu related to the direct-reference feature. See page 284 for details. This menu is available only if Direct Reference is selected as the current REF input. See page 126 for a description of the entries of this menu.
### The Direct-Reference menu
You can find this menu in the Tools menu (see page 122) and in the pop-up menu of the signal-generator (see page 197). Some functions are also located in other menus. Please see the description of each entry for details.
#### Autoset Direct-Reference
This entry performs both the Save as Direct-Reference Correction and the Apply current delay to direct-reference actions.
You can use this function for a quick setup of the direct-reference feature.
Please refer to the Adjust the direct-reference settings section on page 286 for more details.
#### Use Direct-Reference Correction
Applies the Direct-Reference Correction to the current transfer-function measurement.
This setting does not affect the internal delay used on the direct-reference input.
The Autoset Direct-Reference function and the Save as Direct-Reference Correction function enables this setting.
#### Save as Direct-Reference Correction
Creates the correction data and stores it to an internal latch. The correction data is automatically saved and restored. This function is available also in the Save sub-menu. See page 144 for more information about the Save sub-menu.
#### Apply current delay to Direct-Reference
Uses the currently set delay to calculate the delay needed for the direct-reference.
This function is enabled only if the current delay differs from zero.
This function is available also in the pop-up menu of the delay setting area (see page 140) and in the delay-finder (see page 110).
#### Set Direct-Reference Delay to Default
This function resets the delay to the value reported by the ASIO driver. It can be helpful if you set a wrong value and the delay-finder is not able to calculate the correct value. This function is available also in the delay-finder (see page 110).
#### Direct – Reference in the Delay-Finder
The menu-entries Apply current delay to Direct-Reference and Set Direct-Reference Delay to Default are also available in the window of the delay-finder.
See page 110 for details about the delay–finder.
The area which contains both entries is located on lower left of the window.
You can access both entries using the Direct – Reference entry (see page 116) in the menu – bar of the Delay – Finder (see page 114 for details).
Please note that due to the lack of space the icons are missing and the labels differ from the labels used in the Direct – Reference menu.
- Reset triggers the Set Direct-Reference Delay to Default function, which sets the delay value of the Direct – Reference feature to a default value, which is calculated based on the current ASIO buffer settings.
- Assign triggers the Apply current delay to Direct-Reference using the delay-value in the delay – finder, closes the delay – finder, returns to the main window and sets the current delay to zero.
  This entry is visible only if a valid delay has been measured by the delay-finder.
#### MAT Kind of Measurement and Tracemanager
- Select kind of measurement opens a pop-up menu from which you can select the measurement. Further Information about the measurements available is available in this document, starting on page 97.
- Tracemanager hide or show the tracemanager. The shortcut is Ctrl + T. See page 207 for details about the tracemanager.
#### Additional functions MAT
Reset Averages clear all data in memory and start again with new samples. The shortcut is R. This function is also available in the right menu area. See page 131 for a closer description of the right – menu area in the transfer – function measurement.
### The Right Menu-bar in the MAT – Module
The right menu-bar contains different functions and information, depending on the kind of measurement selected.
#### Right menu Impedance Measurement
- Amp – Limit set the threshold for the calculation. The impedance is calculated only for frequencies where the level of the reference signal exceeds this limit. See page 136 for details.
- Cursor details: This area shows information calculated based on the current position of the cursor. For more details see the Cursor details (MAT) section on page 151 of this document.
- RESET cleans the display and the averaging memory. You can use the key R on your keyboard to trigger this function.
- GO button start/stop the update of the live trace's display. The shortcut is the space-bar.

Hint:
Most of the settings are available in the tools menu as well.
#### Right Menu bar RTA Measurement
- Release use this setting to select how long it takes for the display to return after the end of the signal. A longer release time smooths the display and makes it easier to read.
- Display the display setting allows you to select how fast the RTA responses to loud signals ('Peaks'). The setting Peak reacts very quickly to any peak, making the display look jumpy on a dynamic signal.
  The average setting smooths the response and makes the display more stable.
- Resolution because of the limited amount of display points the resolution of an analogue RTA is limited, in most cases to steps of one or two dB, depending on the dB range covered by the analyzer.
  This setting allows you to simulate this behavior.
- Reset cleans the display and the averaging memory. You can use the key R on your keyboard to trigger this function.
- GO starts or stops the measurement. When the measurement stops, the display freezes on the last state. You can use the Trigger-Freeze feature (see page 98 for details) to automate this function. You can also use the space-bar on your keyboard for this function.
##### Which settings should I use?
For the feedback detection use peak response and a long release time in order to be able to catch the frequency of the peak. For this purpose we recommend that you use the settings Freeze Peak Display and Display follows Peak in the triggered – freeze section (see page 98), which allows you to read the frequency after stopping the feedback.
If you want to see the spectrum of an instrument use the average display setting and a medium release time. If you like to try to flatten a frequency response using the RTA and pink noise, use Average and Ultra. We recommend that you use the transfer-function for this purpose.
#### Right menu bar in transfer function measurement
- Offset move the selected trace up or down. See page 73 also.
- AMP Limit a point is only added to the averages latch, if the ref signal's level exceeds this value. Therefore the transfer function is calculated only on frequencies with enough power in the reference signal. See page 136 for details about the setup window of the amplitude-threshold value.
- COH Limit a point is displayed in the transfer function only if its coherence exceeds the coherence limit. The coherence indicates how good the mic signal is related to the ref signal. The coherence is, especial at high frequencies, affected by the delay setting. If the dynamic setting is selected, then the coherence limit is calculated depending on the amount of valid points in the averaging memory for each frequency.
- Noise Threshold opens the sub – menu assigned to the Noise Threshold setting.
  See the page 137 for details.
- RESET cleans the display and the averaging memory. You can use the key R on your keyboard to trigger this function.
- GO button start/stop the update of the live trace's display. The shortcut is the space-bar.
- Cursor details: See the Cursor details (MAT) section for details.

Hint:
You can find most of this settings in the Tools menu (described on page 123) as well.
#### Right menu bar in MAT-FFT and in Spectrograph
- Offset move the selected trace up or down. More details can be found on page 73.
- AMP Limit in the Transfer function a point is only added to the averages latch only if the ref signal's level exceeds this value. Therefore the transfer function is calculated only on frequencies with enough power in the reference signal. You can use the FFT to check if the signal is above the limit. A setup window shows up when you click on the value display. See page 136 for details about setting the amplitude-threshold value.
- The Cursor Details, described on page 72, show more information related to the current position of the cursor.
- RESET cleans the display and the averaging memory. You can use the key R on your keyboard to trigger this function.
- GO button start/stop the update of the live trace's display. The shortcut is the space-bar.

Hint:
Most of the settings can be found in the menu Tools (see page 122) as well.
#### Right menu bar impulse response (MAT)
This menu bar is available during the measurement of the impulse – response trace (see page 107 for details). To change a setting, click on the display area assigned to it. This opens a pop – up list, where you can pick the desired setting.
- Size size of the impulse response to be calculated. A higher size has higher precision, but takes more time.
- Averages number of measurements to averages for the result. See the page 277 for more details about averaging.
- Y-Factor gain of the impulse response, given as a linear factor, not as a dB value. You can use the key A on your keyboard to set this value according to the current measured impulse – response.
- High – Cut use this setting if you want to remove the higher frequencies of both input signals prior to the calculation of the impulse response.
- Low – Cut use this setting to remove low – frequency content prior to the calculation of the impulse – response.
- Reset cleans the display and the averaging memory. You can use the key R on your keyboard to trigger this function.
- GO button start/stop the update of the live trace's display. The shortcut is the space-bar.
Hint:
You'll find most of the settings in the menu Tools as well. You'll find the description of this menu at page 124.
#### Trace Layout
Select a parameter of the trace display's layout. Not all parameters are available for every measurement.
- Upper limit move the trace display's top border. The visible dB range ranges from the upper limit minus the Y-range to the upper limit. This setting is not enabled in the transfer function measurement.
- Vertical Shift available only during the measurement of the Transfer – Function, this setting moves the display up or down, without changing the vertical range currently set.
- Phase Offset available only during the measurement of the transfer – function, when the full – phase view is selected. It allows you to move the phase – trace display in steps of 45°.
- Range Y set the trace display's vertical range.
- Line Gap set the scale's vertical distribution.
- Averages invoke the averages menu (see page 278) containing different options for the averaging. See page 277 for more details.
- Display Range for Coherence: select the range for the coherence display from this sub-menu. This setting is available only in the transfer-function measurement.
- Configuration stores or loads layout-settings from this sub-menu. See page 273 for details of the configuration handling. Currently SATlive supports configuration only in the transfer-function measurement and in the impulse-response measurement.
- Trace Layout opens the Layout Editor for the live-trace. See page 252 for details.
- Show Last – Good Values enables the display of previously calculated values if the current values do not fit the quality – criteria. This entry is available only during the measurement of the transfer – function. See page 105 for details about the Last – Good Values feature.
Hints:
- When you select a parameter the value editor field shows the parameter's current value. The current parameter's name is displayed left to the value editor field.
- In the transfer-function measurement you can change to the full views by double-clicking on the related area in the display. A double-click on the full-view changes back to the split view.
- The parameter's value can be changed at the value editor field.
- Each parameter features a pop-up menu containing some preset values.
- The values for the parameters Upper limit, Range Y and Averages can be different for each kind of measurement.
- In the RTA and the FFT measurement you can select the input to display below the VU – meter. See page 150 for more information about selecting an input for the current measurement.
- The trace layout section is not enabled in the impulse – response measurement. In the impulse-response measurement the settings are available in the right menu bar (see page 133) and in the menu Tools (see page 124).
- In measurements which use a split screen, you can change the position of the split. There are two ways to do this:
- Use the pop-up menu of the split area to select on of the three predefined positions.
- Put the mouse onto the split area, click and hold down the left mouse-button and move the split area up or down by moving the mouse. If the desired split position is reached, just release the mouse-button.
### The Amplitude-Threshold setup window
The amplitude – threshold setup window shows up when you click on the value of the current amplitude – threshold in the right menu area. The setup of the amplitude – threshold value is supported in the FFT measurement, in the impedance-measurement and the measurement of the transfer – function.
On the right of the setup window there is a slider which allows a fine adjustment of the amplitude – threshold value in steps of 1 dB.
On the left there are some preset buttons for a quick and coarse setup of the amplitude – threshold value.
The button OFF disables the use of the amplitude – threshold feature in the calculation of the transfer – function and in the calculation of the impedance-trace.
To enable the amplitude – threshold feature again just click again on the OFF button, move the slider or select on of the preset values using the buttons on the left.
The currently selected amplitude – threshold value is shown in the right menu area.
### Set the Amplitude – Threshold value in the FFT measurement
Beside of using the amplitude – setup window as described above, you can set the amplitude – threshold value by moving the small handle on right to the trace – display area in the FFT measurement in the MAT module.
To do so, just move the mouse to the handle, hold down the left mouse button and move the mouse up or down.
If you move the handle below -100dB, then the amplitude – threshold value will change to OFF. To enable the amplitude – threshold feature again, just move the handle up until it is over the -100dB border.
### Noise Threshold
In a default Dual – FFT measurement, the Amplitude Threshold is used to calculate the frequency-response only at frequencies with enough power in the source signal, thus avoiding calculation at frequencies with bad S/N values. This approach works well, especial with source signals with varying spectral content (like music), but it does not take the spectral content of the noise present at the venue into account.
So the Noise Threshold has been added, which takes care of the noise level reaching the measurement microphone.
With Noise Threshold enabled, SATlive compares the current spectrum of the measurement signal to the stored threshold trace. A calculation of the frequency response is performed only if the level of the microphone signal is above the threshold-trace. The threshold-trace can be shifted by a fixed value.
#### Using Noise Threshold
The Noise Threshold features a button in the right menu bar.
A click with the left mouse-button onto the button opens the menu for the Noise Threshold feature.
- Deactivated: The top entry in the menu disables the Noise Threshold feature.
- Set Noise Threshold: Start the sampling of the threshold trace. The sampling runs until you stop it by selecting a shift value from the menu, by setting the Noise Threshold to Deactivated or by starting the signal generator.
  Starting the sampling clears the previous threshold trace.
  The threshold trace samples the highest value at each frequency that occurs during the sampling period.
  Starting the sampling process stops the noise generator to avoid capturing of the measurement signal. Vice versa starting the noise generator will stop the sampling process.
  The threshold trace is captured using the measurement mic.
- Offset values (-5dB … + 10dB) selection of one of this entries enables the Noise Threshold with the current threshold trace. The selected offset value adds to the value of the threshold trace. For example if the value in the threshold trace is -76 dB, then an offset value of +6dB sets the final threshold to -70dB. In this case the calculation is performed only if the level of the mic signal exceeds -70dB at this certain frequency.
  This selections are enabled only if a valid threshold trace is available.
- Hint: The Noise Threshold is a new approach, so please send me your comments, suggestion and reports on this feature to the mail SATinfo@take-sat.de
### Menu Delay in the MAT module
- Delay-finder invokes the delay-finder. See page 111 for more details about the delay-finder.
- Cursor to delay use the current position of the cursor as the new delay time. This option is available only in the impulse – response measurement. You can use the key F3 to trigger this function.
- D1 - D6 Delay presets use of the five saved delay-time presets as current delay.
- Direct (Zero Delay) reset the current delay to 0 ms.
- Custom delay setting (coarse) use the arrows at the left of the delay display to change delay in steps of one millisecond. Hold down the Shift key to change in steps of 10ms or the Ctrl key to change in steps of 50 ms
- Delay display shows the current delay. To start the delay finder just click on this area. This area contains a pop-up menu, which is described in the pop-up menu of the delay display section on the page 140.
  If the delay display shows the time difference between the reference-time and the current delay setting, a yellow triangle is shown left of the value. The value of the reference-time is shown in the hint.
  If the Autoadjust – Delay option is activated in the pop-up menu, a red square is drawn in the left area. See page 119 for details about the auto-delay functionality.
- Custom delay setting (fine) use the arrows on the right of the delay display to increment and decrement the current delay in steps of one sample (approx. 21 us).
  Hold down the Shift key to change the delay in steps of 250 us.
- Save Delay in Preset assign the current delay to one of the six delay-time presets, so you can easily recall it. You can use the presets in the delay-matrix also. See page 40 for more information about the delay-matrix tool.
Hints:
- Any change of the current delay voids all data and restarts the measurement.
- The delay is used on the REF input in all measurements.
### The pop-up menu of the delay display area
This pop-up menu is assigned to the delay-display area. It contains some settings, which are also contained in the delay menu, and two additional entries at the bottom of the menu.
- D1 – D6 Delay presets allow the direct the access to the six delay-time presets. See page 117 for details.
- Direct (Zero Delay) reset the current delay to 0 ms.
- Open Delay Finder invokes the delay finder. See page 111 for details.
- Apply current delay to direct-reference use the current delay-value for the direct-reference feature (see page 284). This function is available only if the current delay value differs from zero. You can find this function in the direct-reference menu (see page 126) and in the delay-finder (see page 111), too.
- Low-Frequency Delay-Finder invokes the Low-Frequency Delay-Finder, which is described on page 118.
- Set Reference, current value: assigns the currently set delay time to the reference -time memory, which is used to calculate the difference in time when the Show Difference in Time option is activated in this menu. The current value of the reference time is shown right to the label.
- Show Difference in Time when this option is activated, the delay-time display shows the difference in time between the current delay time value and the reference-time set using the Set Reference entry in this menu. This option is indicated by a yellow triangle left to the time value, and the hint of the delay-display shows the value of the reference-time memory. To show the hint, just move the mouse onto the delay-display area. Otherwise, the delay-time display shows the absolute value of the currently set delay.
- Use Reference Time as new Delay: this function applies the reference-delay setting as current delay. This function is enabled only when the reference-time setting differs from the current delay value.
- Adjust Delay, Autoadjust Delay, Show Warning when Delay changes, Allow Jitter: This entries refer to the auto-delay functionality and are described in the Auto-Delay section of this document, starting on page 119. You can access this entries only if the Auto – Delay feature is enabled in Setup → Measurement (see page 175)
- Previous used delay values: on the bottom up to five recently used delay-settings are shown. Just click on an entry to use the value as current delay.
- Clear last used delays: Clears the latches of the recently used delay values.
### Menus in the simple menu layout
#### The menu Delay in the MAT module
- Delay opens the delay pop-up menu, explained on page 140.
- D = C set the cursor's current position as the current delay. Available only in the impulse – response measurement. The shortcut is F3.
- Custom delay setting (coarse) use the two arrows at the left of the delay display to increment and to decrement the current delay in steps of one millisecond.
- Delay display shows the current delay. A click on this area starts the delay-finder. See page 111 for details about the delay-finder. This area contains a pop-up menu, which is described in the pop-up menu of the delay display section on page 140 of this document.
  If the delay display shows the time difference between the reference-time and the current delay setting, a yellow triangle is shown left of the value. The value of the reference-time is shown in the hint. To display the hint, just move the cursor onto the delay-display area.
- Custom delay setting (fine) use the two arrows at the right of the delay display to increment and to decrement the current delay in steps of one sample.
- Save Delay assign the current delay to one of the five delay-time presets. This function is visible only if the current delay has been changed.
Hints:
- Any change of the current delay voids all the data and restarts the measurement.
- The delay is applied to the reference (REF) input in all the measurements taken in MAT module. See page 119 for details about how to set the delay.
- You can use the shortcut F7 to invoke the delay-finder. See page 111 for details.
### Upper Menu (MAT simple menu layout)
- Save store the live trace into a file. The button contains a pop-up menu where you can select the type of file you want to save the trace to.
- Phase open a pop-up menu which contains the selection of different display modes for the phase (-180° to 180° or 0° to 360°) and different ranges of the group-delay display. Use the shortcuts Ctrl + Next and Ctrl + Prior to shift the phase display vertically in steps of 45°.
- Tools additional functions and settings. See page 122 for details.
- Mode opens a pop-up menu from which the measurement can be selected. The button shows the current measurement's symbol. See page 97 for details about the different measurements available in the MAT module.
#### The pop-up menu of the SAVE button (MAT Module)
This pop-up menu is assigned to the button SAVE in the MAT Module.
You can save the trace into different types of file. Depending on the measurement selected, some type of file will be not available.
- Save as SATlive Data save the live trace using the default SATlive file type. This type contains many additional information, so you should use it, if you want to load the file into SATlive.
- Save Trace as Picture save the current display as a picture. You can select the kind of picture you want to save to, in the file type selection in the save file name selection dialog. The quality of the picture (and it's file size) can be changed using the Quality of JPEG conversion setting at setup → features window (see page 181 for further details).
- Save F5-Trace to file save the trace which is assigned to the internal memory using the F5 key into a default SATlive file type file.
- Save as Wave Data save the trace of the impulse – response measurement into a default windows® audio file. This file can be accessed by many audio related software.
- Save as ASCII export the data of the transfer function into a text file. This enables you to import the data into other software.
- Save as Direct – Reference Correction save the current trace as reference trace for the Direct – Reference Tool. See page 284 for details.
#### The Menu Tools in the MAT Module (simple menu layout)
This menu features many functions and options. Please note that it's content varies with the measurement selected.
- Tracemanager open or close the tracemanager. This function can also be accessed using the shortcut Ctrl +T. See page 207 for details.
- FQ Scale Style set the style of the frequency scale. See page 71 for details.
- Limit: FFT Level in the transfer function measurement a point is only added to the averaging latch, if the level of its reference signal exceeds this value. Therefore the transfer function is calculated only for frequencies with enough power contained in the reference signal. See page 136 for details about how to set the amplitude-threshold value.
- Limit: Coherence a point is only displayed in the transfer function if it's coherence exceeds this threshold value. The coherence indicates how good the mic signal is related to the reference signal. The coherence is affected by proper delay setting. You can edit this value in the right menu-bar as well.
- Noise Threshold opens the sub-menu of the Noise Threshold tool, described on page 137.
- Display range for Coherence select the vertical range for the coherence display. The coherence is shown at the top of the upper window. The labels for the coherence range are on the right side. The sub-menu contains the Show Handle option, which allows you to change the coherence-threshold value using the mouse.
- Mic correction activates the mic correction for the live trace. If no valid mic correction is loaded, the Load Mic correction function is executed. This entry contains a sub-menu. See the page 89 for details.
- Trace Layout invoke the Layout editor for the live trace. See page 252 for details about how to use the Layout editor.
- Hide current trace hides both the amplitude and phase display. The shortcut is ^ (Left to the number 1 key on your keyboard).
- Show Instant Values as Dots show the non averaged result of the current FFT calculation as dots. In the transfer-function measurement the result of the last calculation is shown as a dot. SATlive supports different settings for FFT and transfer-function calculation. You can change the color of the dots in the Setup → Color section.
- Save this entry contains a pop-up menu where you can save different traces.
  - Save as SATlive data saves the live trace into a file.
  - Save Trace as Picture saves the display as a picture.
  - The Save F5-Trace to File, which is enabled only if a memory trace is assigned, saves the memory trace to a file.
  - Save as Wave Data saves the impulse response as default windows® wave format. You can import this format in various other audio related software.
- Load F5-Trace from File open a saved trace as the F5 memory trace.
- Apply Window add a window to the signal prior to the calculation of the transfer-function. A window excludes later reverb and longer delays from the measurement.
- Direct Reference opens the direct-reference menu. See page 126 for details. This entry is available during an impulse-response measurement.
- Edit Target Trace opens the editor for the Target Trace. See page 223 for details about the Target-Trace functionality.
- Allow Gain-Setup using Mouse allows you to move the currently selected trace by moving the mouse vertically while you hold the left mouse button down.
##### Additional for RTA measurements
Calibrate current EQ calibrates the RTA display of the currently selected RTA. Use a loop-back from output to the reference (REF) input, select Ultra for the release time and Average for the display. Select the REF input and start the pink noise. After a few seconds the entry will be enabled.
##### Additional settings for the FFT measurements
- Windowing select the window applied prior to the calculation of the FFT from the sub menu.
- THD+N Start a total harmonic distortion measurement. See page 101 for details.
##### Additional settings for the FFT + Spectrograph measurement
- Time Range Spectrograph select the desired time for the spectrograph display from the sub menu. The time selected is needed to fill the spectrograph.
- Run only once if this option is selected, the spectrograph display (but not the FFT - Display) freezes after it is filled completely.
##### Additional for the measurement of the Impulse Response
- Windowing select the window applied prior to the calculation.
- Display size set the size of the calculated impulse response. Higher size has higher precision but takes more time to calculate. This value also determines the range of time that the impulse response covers. You can access the sub-menu in the right-menu area (see page 133) also.
- Averages set the number of averages performed. The the Average All Values option averages all measurements since the last reset. See page 277 for details about averaging.
- Amplitude modification set the gain of impulse response, given as a linear factor, not as a dB value. The area Y-Factor in the right menu-area (see page 133) shows the value currently selected. To access the sub menu just click on this area.
- IR Zoom Value select the zoom factor for the display of the lower trace. The area is always centered around the time value of zero.
  You can see the current zoom factor in the lower right corner of the display area. Click onto the value to open the sub menu.
- High – Cut choose the desired high – cut frequency from the sub – menu. Use this option to remove interfering high frequencies from the calculation of the impulse – response.
- Low – Cut choose the desired low – cut frequency from the sub – menu. Use this option to remove interfering low frequencies from the calculation of the impulse – response.
### Trace layout MAT (simple menu layout)
To select the parameter to edit, click on the symbol left to the value edit field with the left mouse button and select the parameter from the pop-up menu showing up.
- Amplitude only this option is visible in the transfer function measurement only. It shows the amplitude window in full size.
- Phase only this option is visible in the transfer function measurement only.
  It shows the phase – display window in full size.
- Upper limit move the trace display's top border. The visible range ranges from upper limit minus Y-range to upper limit. This setting is not active in the transfer function measurement.
- Range Y set the trace display's vertical range.
- Line Gap set the scale's vertical distribution.
- Averages set the number of averages to perform. See page 277 for more information about averaging.
- Display Range for Coherence: select the range for the coherence display from this sub-menu. This setting is available only in the transfer-function measurement.
- Configuration stores or loads layout-settings from this sub-menu. See page 273 for details of the configuration handling.
- Trace Layout opens the Layout Editor for the live-trace. See page 252 for details.
- Show Last – Good Values enables the display of previously calculated values if the current values do not fit the quality – criteria. This entry is available only during the measurement of the transfer – function. See page 105 for details about the Last – Good Values feature
Hints:
- After the parameter is selected the value editor field shows the parameter's current value. The current parameter's name is displayed left of the value editor field.
- The parameter's value can be changed at the value editor field.
- Every parameter features a pop-up menu containing some preset values.
- The values for the parameters Low DB, Range Y and Averages can be different for each kind of measurement.
- You can select the input(s) to display below the VU meter when you perform a RTA or a FFT measurement.
- The layout parameter used in the impulse - response measurement can be set either in the tools menu or in the right menu area.
- In measurements which use a split screen, it is possible to change the position of the split. There are two ways to do this:
- Use the pop-up menu of the split area to select on of the three predefined positions.
- Put the mouse onto the split area, click and hold down the left mouse-button and move the split area up or down by moving the mouse. If the desired split position is reached, just release the mouse-button.
### Select the Input used for RTA and FFT measurement
You can select the input(s) for SATlive to display in the FFT or the RTA measurement.
To select you can either perform a mouse click on the labels below the VU meter or you can use the shortcuts F8 (REF) and F9 (MIC).
Hints:
- You can display the REF input, the MIC input or both inputs.
- The delay is applied to the REF input.
- A mic correction is applied to the MIC input.
- You can change the assign of the physical input to the functions reference (REF) and measurement (MIC) in Setup → I/O Devices.
### Cursor details (MAT)
The cursor details display is located in the right menu bar.
It shows details related to the current position of the cursor.
The following values are shown (top down):
- The frequency at the position of the cursor is shown at the top.
- The first line shows the Wave length assigned to the frequency. To show a list containing more wavelength related info place the mouse on this value and hold down the left – mouse button.
- The second line shows the Period of the frequency at the cursor's position.
- The next line contains the Phase angle of the live trace at the cursor's position (Displayed only if a transfer function measurement is performed). See page 152 for more details about the calculation of this value. The little square at the right indicates the color of the live – trace.
- The next line shows the Phase angle of the selected trace at the cursor's position (Displayed only if a transfer function measurement is performed and the live trace is not selected as the selected trace). See page 152 for more details about the calculation of this value. The little square at the right shows the display color assigned to the selected trace used for this calculation.
- The next line indicates the difference between the phase angles of the live trace and the selected trace. (Displayed only if a transfer function measurement is performed and the live trace is not selected as the selected trace). See page 152 for more details about the calculation of this value.
- Finally the delay between the selected trace and the live trace calculated using the difference of the phase angles and the frequency of the cursors current position is shown. Which is displayed only if a transfer function measurement is performed and the live trace is not selected as the selected trace. See page 152 for more details about the calculation of this value.
#### Calculation of the Phase Values
Due to the cyclic nature of the phase, it's range is limited to a range of 360°.
The phase trace might be shifted by some full cycles, so the phase value might not be the value shown, but in the range between + 360° or +720° and so on. The pure phase value does not contain an information which would enable us to calculate which cycle we're looking at.
The only way to get the 'real' phase is to look on the slope of the phase-trace. This slope contains the so called group-delay, which indicates the delay of a certain frequency.
SATlive uses this slope to estimate the 'true' value of the phase. Furthermore you can use the group-delay to check if a polarity-inversion is present at this frequency.
The cursor-information area (see page 151) in the right menu-area uses this information.
You can use the setting 'Time using unwrapped phase' in the Setup → Post Process window (see page 182) to select which value to show.
##### Display when the entry Time using unwrapped phase is checked
- Both phase values are shown as estimated 'true' values. In this case values above 180° and below -180° are possible. If SATlive detects a constant phase-shift, then INV is shown right to the phase value.
- If a constant phase shift is detected for one (and only one) of the two traces, then the value for the difference of the phase values is reduced by 180° to remove the effect of the constant phase shift, which is indicated by the string INV right to the value. The difference in time is also adjusted. In this case you need to apply the time-value and you need to invert the polarity of one of the two signals checked.
##### Display when the entry Time using unwrapped phase is not checked
- Both phase values are clipped to the range from -180° to +180°. If SATlive detects a constant phase-shift, then INV is shown right to the phase value.
- The value of the difference in phase and the value of the difference in time calculated from this difference phase will not be corrected.
### Bottom Menu Bar MAT
The bottom menu bar is located at the lower right area. It is available in the MAT Module. Not all options are available for all kind of measurements.
- Range open the sub menu Range. See page 74 for details.
- Cursor on Peak moves the cursor to the peak of the live trace. This action unlocks the Lock on Peak setting.
- Lock on Peak if this option is activated then the cursor is moved to the live trace's peak each time the live trace is drawn. To unlock the cursor you can either click on this button again or you can perform another cursor related action like:
  - Click on the trace's display to set the cursor.
  - Move the cursor using your keyboard.
  - Invoke the cursor on peak action.
- Weighting Filter opens a sub menu, where you can choose a weighting filter for the mic input. See the weighting filter section on page 85 of this document for further details.
## Setup
### Setup → I/O devices
The setup I/O devices contains different areas.
#### Audio-mode selection
Select the kind of audio driver you want to use from the selection in the upper area.
- Windows wave driver this are the generic drivers supplied by windows® OS for the access to the audio hardware. See page 156 for details.
- Directsound driver this are windows directsound® drivers for the audio I/0. Directsound® is part of DirectX®. See page 157 for details.
- ASIO driver: Use the ASIO interface to access audio device.
  If you select the ASIO driver you have to select the device you want to use before entering the setup. See page 158 for details. In the ASIO mode you can use the Direct-Reference Tool(see page 279).

Hints:
- To edit the audio I/O parameters click on the button Edit Settings.
- Use the SAVE button in top menu bar to store your selection.
- ASIO is a trademark and software of Steinberg Media Technologies GmbH.
- Because SATlive can only check drivers and not devices, an ASIO device might appear in the list even if it is currently not connected. The selection of a device that is not present will result in empty fields in the ASIO setup or in an error message.
- Use the shortcut Ctrl + Alt + D to show information about the current driver.
#### Audio debug section
- Number of Buffers to ignore the MLS measurement used in the impulse – response measurement needs some time to reach a stable state. Therefore at least one mls – sequence needs to be played prior to the measurement. In some cases one sequence might be not enough, in this case you can increase this value if needed.
- Settling time when SATlive starts pink noise or white noise a fade-in of 500ms is performed. This time must also be excluded from the measurement to get stable results. Some drivers need more time to establish a stable audio performance.
- Flip Driver Start flip the start sequence of the audio I/O drivers. This might help some drivers to shorten their settling time.
- Input routing assign the physical inputs to the reference (REF) and measurement (MIC) function. With an ASIO driver use the ASIOAssign settings, described on page 161, to assign a certain input to a function.
- Flip Meter's Assign flips the position of the VU – meter's bars, so that the left meter shows the measurement (MIC) level and the right meter shows the reference (REF) level. This is independent from the physical routing which is set using the input routing selection.
- Enable / Disable Driver select the driver types you want to use. See page 289 for details.
#### Wave I/O setup
The setup is divided into two sections, which contain the same settings, the upper one for the audio input and the lower one for the audio output.
At the bottom there is the samplerate selection. This is a global setting.
- Soundcard select the soundcard you want to use for this function. It is possible to use different soundcards for input and for output.
- 16Bit – 24Bit – 32 Bit resolution of one sample, indicates how exact the analog signal is converted into digital signal.
- Use extended format use the new type of microsofts®'s wave format description for the access to the input driver. You might need to activate this setting to be able to select higher resolution values.
- Latency (ms) specify the size of the data blocks used for transferring the audio data from and to the soundcard. Lower values mean faster response but the data are more likely to be affected by performance issues.
Hints:
- After every change of the settings SATlive rebuilds the list of supported samplerates. This may take same seconds.
- To get the best quality use the highest samplerate available.
- Different settings may produce different output levels. So please be very careful with the volume setting when changing any settings.
- In the extended format windows expands audio data to the selected resolution, even if the hardware does not support that resolution. A selection of a resolution not supported by the hardware creates more data and processor load then necessary.
- The Apply button saves the current settings of the wave I/O and closes the window, but does not select Wave I/O as the current audio driver. The input driver selection must be confirmed using the Save button in the top menu bar.
#### Directsound(R) I/O setup
This setup is divided into two sections, which contain the same settings, the upper one for the audio input and the lower one for the audio output.
At the bottom there is the samplerate selection. This is a global setting.
- Soundcard selection select the soundcard you want to use for this function. It is possible to use different soundcards for input and for output.
- 16Bit / 24Bit / 32 Bit resolution of one sample, describes how precise the analog signal is converted.
- Use extended format use new type of the wave-format description.
- Latency (ms) specify the size of the data blocks used for transferring audio data from and to the soundcard. A lower value means faster response but the data is more likely affected by performance issues. You should not change the default value of unless you're facing audio I/O related problems.
Hints:
- After every change of the settings SATlive rebuilds the list of supported samplerates. This may take same seconds.
- To get the best quality you should use the highest samplerate available.
- Different settings may produce different output levels. So please be very careful with volume setting when changing any settings.
- If the extended format is used, then windows expands the audio data to the selected resolution. Therefore selection of a resolution not supported by the hardware just creates more data and processor load as necessary.
- The Apply button saves the current settings of the directSound I/O and closes the window, but does not select the directsound driver as the current audio driver. The audio-driver selection must be confirmed using the Save button in top menu bar.
#### Asio I/O setup

ASIO is a trademark and software of Steinberg Media Technologies GmbH.
To open the ASIO setup window, in the Setup → I/O Devices section select ASIO in the driver-selection area and then click on the Edit ASIO Settings button.
The header shows the name of the currently selected ASIO device.
ASIO drivers are designed for high performance audio handling, so we suggest that you use the ASIO driver – type.

The common parameters for all ASIO Assign routing are located on the left side of the window.
- ASIO Assign Delay Mode select how ASIO Assign modifies the current delay when you select another ASIO Assign routing. See page 164 for a closer description of this setting.
- Audio Out Mode select how ASIO Assign routes the output channel(s).Audio Out Mode. The selection contains the following items:
  - Single Output the output signal is routed to only one output of the I/O interface. You can select the output channel for every routing in the ASIOAssign. You can access any output of the I/O interface using this setting.
  - Dual Channel Output the output signal is routed to a stereo pair of output channels, like AnalogOut1 and AnalogOut2. As suggested in the ASIO specification, you can only select output pairs, so not all outputs will be listed in the ASIOAssign's routing setup. The list contains the name of the first output of the stereo pair, in the example above this would be AnalogOut1.
  - Fixed Reference Channel this option combines the global selection of one output with the individual selection of another output. This enables you to use your I/O device as an output switcher to select different speakers using ASIOAssign without the need to think about how to route the reference signal. You can select the fixed reference output in the global ASIO I/O setting on the lower left.
- Reference Output select the output channel which SATlive uses if fixed reference channel is selected for the current Audio-Out Mode.
- Samplerate amount of samples per second taken from the audio input signal. For best results use the highest possible value. This setting might interact with samplerate setting in the device's ASIO setup.
- Clock Source if more than one clock source is available for your ASIO device, you might change it here. Change this setting only if you want to force the use of a special clock source.
- Driver open a driver specific setup menu, which is supplied by the manufacturer of the ASIO device. This might give you access to latency and buffer settings.
- On the right area of the ASIO setup window you can edit the ASIO Assign routing. The routing Default is selected after each start of SATlive.
Hints:
- To get the best quality use the highest samplerate available.
- ASIO does not support the use of different audio devices for the input and the output.
- Different settings may produce different levels. So please be very careful with volume setting when changing any settings.
- In order to show only ASIO devices which are currently available, SATlive tries to open the ASIO drivers before it puts it on the list. Therefore it might take a few seconds until the driver list is completed.
- The Apply button saves the current settings of the ASIO I/O and closes the setup window, but does not select the ASIO driver as the current audio driver. The input driver selection must be confirmed using the Save button in the top menu bar.
- And never forget: ASIO is a trademark and software of Steinberg Media Technologies GmbH.
#### ASIOAssign
- ASIOAssign enables you to define different input/output routing for the selected ASIO device. You can create, edit and delete the routing in the ASIOAssign window.
- To show this window, go to the ASIO section in the Setup → I/O Devices section.
- ASIOAssign is able to manage the current delay in the MAT module as well.
- You can recall a routing in several ways.
##### Add, delete and modify the routing.
- Edit modify an existing preset. Select the preset to edit from the list before you click on the edit button.
- New open a window to set the routing and name for this preset.
- Delete removes the selected preset.
- The routing Default is recalled every time SATlive starts, or when you leave the Setup → I/O Devices window, therefore you cannot delete it.
##### Edit a routing
- Name edit the name of the routing preset.
- Audio Input REF select the input used for the reference (REF) signal.
- Audio Input MIC select the input used for the measurement (MIC) signal.
- Audio Output select the output used for the signal generator. The contents of this selection varies according to the selected mode of the audio output.
- If you performed all settings, you can save it using the OK button. Use the button Cancel to discard your changes.
Hint:
In order to use the direct-reference feature, which is described on page 279, you need to select the entry DIRECT-REFERENCE in the Audio Input Ref section.
##### Select an ASIO-Assign Routing
You can select an ASIO – Assign routing, which enables you to use an ASIO device as an Input selector and an Output selector.
So you can quickly change the audio inputs and outputs that SATlive will use.
There are two ways to select an ASIO – Assign Routing:
- Use one of the buttons in the signal-generator window. This buttons recall the ASIO-Assign routing assigned to them using the Assign buttons for ASIOAssign function located in the pop-up menu of the signal-generator area. Moving the cursor over a button shows the name of the ASIOAssign assigned to this button.
- Use the ASIO Assign entry in the pop-up menu of the signal-generator (see page 197) area to open the ASIO Assign selection window.
  - In the upper half of the window contains details of the currently selected routing.
  - Use the selection box in the middle of the window to select the routing to activate.
  - The details of the selected routing are shown in the lower half. The delay time assigned to the selected routing is shown on the bottom of this information area.
  - Use the button OK to activate the selected routing and to close the window.
  - The button Cancel closes the window and discards the changes.

Hint
The ASIO Assign selection window is available only if more than one ASIO – Assign routing is defined for the current I/O device.
##### Manage the delay-time in ASIO – Assign
- ASIO-Assign can not only manage the routing of inputs and outputs, but it is also capable of managing the delay used in the MAT module.
- At the top left half of the ASIO Setup area you can select how ASIO – Assign will manage the delay when you select a different routing.
- The selection contains three items:
  - Ask Before Changing Delay when you change the routing, a message box shows up where you can select if you want to change the delay (YES) or not (NO). The header of the message box contains the name of the routing whose delay will be recalled.
  - Always Apply Delay the delay assigned to the selected routing is set as the current delay.
  - Do Not Apply Delay the current delay is not affected when you select another routing.
Hints:
- The current delay is assigned to the current routing when you close the program or when you change the ASIO-Assign routing.
- The delay assigned to a routing is shown in the selection of the routing to use.
- If you intend to manage only delays and no I/O routing, you should prefer using the delay presets in the lower menu area.
- ASIO – Assign works only if you use an ASIO driver for the I/O device. If another kind of driver is selected, then you can use the delay presets (see page 117) in order to manage up to five delay time settings.
### Setup → User Macros
In the impulse – response module SATlive features a powerful macro system, which enables you to perform a measurement with just one click. There are twelve macros available, which are fully editable.
In order to edit a macro, you first need to select the macro to edit from the list on the right. Now the selected macro shows up, and you can edit it's properties.
- Name of Macro edit the macro's name.
- Short Name (Button) this name is shown on the User Macro button in the impulse – response measurement. The last executed macro is assigned to the User Macro button.
- Impulse response select the measurement to create the impulse response. Click on Edit to edit the measurement properties. The current settings are shown below the selection box.
- Window set the parameter for the window applied prior to the calculation of the FFT. Because a Smooth Full FFT extends the window to fit the FFT size, those settings are disabled if a Smooth Full FFT is selected. If the current window settings are larger then the current size of the FFT or of the impulse response, then the background color will change to red.
- FFT set the size and the type for the FFT (or Smooth FFT) to be applied to the windowed impulse response.
- Phase compensation Select the kind of phase compensation applied to the phase trace. See page 231 for details about phase compensation.
- Calibration click on the button to assign a calibration file to the macro. Check the USE option to apply it to the frequency response.
- Mic Data click on the button to assign a mic correction file. Check the USE option to apply the correction to the frequency response. The Mic Data setting is enabled if a Smooth FFT or a Smooth Full FFT is selected.
- Repeating Measurement repeat the measurement until it is stopped by the user using the Stop/Again function in the FFT module. This setting is useful for setting up electronic gear, where the frequency response can be watched in 'realtime' using this setting.
- Keep Window the macro will not change the absolute position of the time window.
- Roundedge apply the window selected in window selection box to the impulse response prior to the calculation of the FFT or of the smooth FFT. The window is always applied as a half window, i. e. it is only applied to the right half of the upper trace display. This is necessary to avoid spoiling of main peak, which should be on the left. The window selection is enabled only if the roundedge setting is activated.
  See page 34 for details.
### Setup → User Windows
User defined windows, that means discrete ranges extracted from the measured impulse response for further treatment, are used in the impulse-response module.
You can edit this windows in Setup → User Windows.
In the impulse – response module you can apply a window to the current impulse response.
Each User Macro contains information about the window's parameter.
You can choose one of three modes for synchronizing the window with the impulse response:
- Absolute the window starts on a fixed time position (Parameter L), and has a given size (Length).
- Related to Peak the impulse response's peak is used as the time reference of the window to apply. This is a good choice for measurements with varying time delays. You can edit the window's left distance to the position of the peak (Pre) and the window's right distance from the position of the peak (Post). The total size of window is the sum of the values for Pre and Post. It is possible to use negative values for the Pre parameter in order to exclude the main impulse.
- Related to first signal the position where the impulse response first meets the set threshold level is taken as reference for the window. You can edit the position of the window related to the reference time (Dist) and the size of the window (Length).
Hints:
- You can perform manual windowing using the cursor and the trace display's pop-up menu.
- Because the peak contains the most energy and information, it is necessary for normal measurements that the peak is located inside the window.
- SATlive supplies two default windows. You can access this windows with 10ms and 20ms size, related to the peak, either using the shortcuts Ctrl + 1 and Ctrl + 2 or click on the button or the button.
### Setup → Display
This setup allows you to customize the look of SATlive according to your preferences.
The description of the setup's parameters is divided into some topics.
- A Preview: this area displays all changes immediately, but you still need to save your changes.
- B Preset Select: Select the preset you want to edit in the Choose Preset to Edit area on the upper left. Select the preset to use after you leave this setup in the Choose Preset to Use section on the right.
- C Color Assignment: use this area to set the colors used to draw certain items. See page 169 for details.
- D Font Size: in this area you can select the font size for different labels. See page 172 for details.
- E Options edit some options and the global transparency value here. See page 172 for details.
- F Cursor: customize the layout of the intersection between the cursor and the selected trace. Find more details about this section on page 174.
- G Reset: use the Reset Menu Bar button to rearrange the position of all menu bars. You can use this option to find lost menu bars. The Load Default Setting function resets the preset currently selected for editing, to the default values.
- H Menu – Layout: Customize the appearance of the menu areas. See page 173 for more information.
Hint:
The changes displayed in the preview window will get lost if you do not exit using the SAVE button in the top menu bar.
#### Assign Colors
The Color Assignment are can be found in Setup → Display.
- In order to change the color of an item, first select the item from the list.
- After the selection of the item it's current color is shown in a small color area right to the selection box. You can invoke the color dialog by either by clicking on this color area, or by clicking on the button Change.
- Now you can set the new color for the selected item. To apply the new color, close the color selection dialog with the OK button. The new color is immediately shown in the preview area at the top of the setup window.
- At the bottom of the color selection area there is the Full User Configurable Layout. The activation of this option enables you to edit the color of the items listed below. Otherwise the color of the items is set according to the current settings in the windows and the items are not listed in the item selection box.
  - Window Background color used for the areas outside of the trace display.
  - Windows Font color used for strings and labels on the area outside of the trace display.
  - Selection Background color used for the background of selections and of the edit fields.
  - Selection Font color used for the strings shown in the selections and in the edit fields.
##### Items with configurable colors
- Background color of the background of the trace display area.
- Zone below AMP-Threshold (MAT-FFT) in the MAT Module the current Amplitude threshold is marked by this color in the background. See page 136 for details.
- Amplitude the result of the current measurement. In the MAT- FFT this color is used to draw the trace related to the MIC input. This is used for the transparent overlay in the cursor-range tool (page 79) as well.
- Grid color used to draw the grid lines in the display background.
- Pink Noise Guide Lines used to draw the grid which falls with -3dB/octave. This grid is shown when the option Pink Spectrum Lines (located on the right in the Setup → Display section) is selected.
- Labels used for labeling the grid.
- Phase used for drawing the phase trace of the current measurement.
- Reference Signal used to draw the reference's input signal in the MAT-FFT.
- F5 Trace Amplitude used to draw the amplitude of the memory trace, which is assigned using the key F5. In the IR Module this color is used to draw the second impulse response's trace.
- F5 Trace Phase used to draw the phase of the memory trace, which is assigned using the key F5.
- Coherence used to draw the coherence values in the transfer function display in the MAT Module.
- Quick Trace 1..8 used to draw the Quick Traces 1 to 8. See page 255 for details.
- Sum Trace used to draw the Sum Trace
- Live – Add Trace used to draw the Live – Add Trace in the MAT transfer – function measurement.
- Perfect Addition Trace used to draw the Perfect – Addition Trace in the MAT transfer – function measurement.
- FFT Peak Trace used to draw the FFT Peak Trace.
- Virtual EQ Trace this color is used to draw the response of the virtual Equalizer.
- Dots for invalid Amplitude Values used to show the amplitude values of the result of the last single measurement in the transfer function measurement.
- Dots for invalid Phase Values used to show the phase values of the result of the last single measurement in the transfer function measurement.
- Cursor used to draw the cursor.
- Cursor Information used to show the information text next to the cursor's intersection with the selected trace.
- Background for Cursor Information color used to fill the background area of the cursor-information text. Used only if the Transparent Label setting is not enabled for the cursor.
- Horizontal Cursor Grid used for the horizontal line(s) used to mark the range selected by the Show Range at Cursor setting.
- Latched Cursor used to draw the latched cursor.
- Target Trace used to draw the Target Trace.
- Range of Tolerance used to draw the range of tolerance assigned to the current Target Trace. Currently the range of tolerance is supported only for the X-Curve.
The items below are available only if the option Full User Configurable Layout is checked. Otherwise the computer's default settings are used for these items:
- Window Background used to draw the background of the areas outside of the trace display.
- Window Font used for labels outside of the trace display.
- Selection Background used to draw the background of selection fields and edit fields.
- Selection Font used to draw the strings in selection fields and edit fields.
Hint: You can use the Trace-Layout window to configure the display of each trace. See page 253 for details about the Trace-Layout tool.
#### Font Size and Transparency
The Font Size area is located in the display setup window.
You can edit the size of some fonts here.
- Labels size of the labels used for the trace display.
- File Names size of the font used to show information inside the trace display.
- Cursor set the size of the font used to show information at the Cursor's intersection with the selected trace.
- Transparency set the transparency used to fill the area between the trace and the center when you enable the Fill to Center option in the Trace-Layout window. See page 252 for details.
#### Setup Display Options
This area, which is located in the display setup window, contains three areas where you can set different options related to the display.
##### Options
- Pink Spectrum Lines shows grid lines falling with 3dB per octave in the FFT measurement. This is the same slope as the slope of pink noise. This lines might be helpful when you use the FFT as an RTA with pink noise signals.
- No horizontal Grid this setting is available only if the option Pink Spectrum lines is selected. It hides the horizontal lines, so that only the pink grid lines are displayed.
- I. S. O. Frequency Grid draw the vertical lines at the center frequencies of the RTA bands. Otherwise the lines are drawn at the borders between the RTA bands.
##### Transparent Labels
select transparency of the label's background.
A transparent label does not cover the grid and the traces.
A solid label improves the readability.
- Labels activate the transparent background for the labels and file names in the trace display.
- Cursor activate the transparent background for the label at the cursor's intersection with the selected trace.
##### Antialias
This setting controls the quality of the traces. A higher value gives a smoother visual impression, but also creates a higher processor load. The left most setting disables the antialiasing, which helps to improve the performance on slower pcs.
##### Menu Layout
SATlive offers two different layouts for the menu bars, which you can select in the setup → display window.
- Simple (live) is designed for the fast work on the road. Buttons are large, but there are not many functions directly assigned to them. A lot of functions can be found in the menu Tools .
- Complex (lab) is designed for 'relaxed' working. A lot of functions can be accessed directly using smaller buttons.
By default you can move the menu bars in the menu areas or to other menu areas.
You can fix the position of the menu bars using the option Lock Menu Positions in the main Setup menu. See page 191 for details.
#### Layout of the cursor's intersection with the selected trace
In this section you can configure the layout of the cursor.
- Size of Circle set the diameter of the circle drawn at the intersection of the cursor with the selected trace. To hide the circle set this value to zero.
- No label on cursor no information is shown on the intersection of the cursor and the selected trace.
Hints:
- You can set the color of the cursor in the color area in the Display Setup.
- You can change the font size of the label shown at the cursor's intersection with the selected trace, which is also located in the Display Setup.
- Set the transparency of the background of the label at the cursor's intersection with the selected trace in the area options in the Display Setup.
### Setup → Measurement
- MAT Display Repeat Rate set the minimum time between two redraws of the display in MAT module. A lower value means faster refresh of the display and higher processor load.
- Calculation FFT and Spectro set the minimum time between two calculations in the FFT and the Spectrograph mode. A lower value leads to faster reaction to changes, but also to a higher cpu load.
- Peak Localization Using Inverse Pink Filter (MAT + FFT) use this option to remove the influence of the pink filter for the location of the peak – position. This adds a +3dB/Octave to the peak-detection routine. Use this option only if you're using the Flat with White Noise setting for the compensation.
- Delay Finder prior to Transfer Measurement the delay-finder starts every time you invoke the transfer function measurement. See page 111 for details about the delay-finder.
- Activate 'Amplitude only' when Selecting RMS Averaging this option defines how SATlive reacts when you select the averaging mode RMS Averaging in the MAT module's transfer function measurement. If this option is active, then the display switches to the full amplitude display when you select the RMS Averaging in the layout area.
- Restart Measurement on Selection this option defines whether or not the selection of a different measurement in the MAT module will restart a previous stopped measurement. If this option is activated then the selection of an other measurement restarts the measurement, independent from its former status.
- Reference resistor edit the value of the reference resistor used for the impedance measurement.
- Compensate FFT select a correction applied to the FFT display. Flat on white noise shows the unchanged result, Flat on pink noise adds a 3dB/octave high-pass filter, so that the live trace acts like a narrow band RTA. The third option Sawtooth on pink noise is for compatibility with another measurement software.
- Start Measurement on Selection (Live Mode) in the simple menu layout a measurement in the impulse – response module starts immediately after the measurement is selected. Otherwise you have to start the measurement after the selection.
- Measurement location's weighting set the weighting used for the traces for the averaging in the tracemanager. See the tracemanger section at the page 207 of this document for further details.
- Auto – Delay Mode set the calculation for the calculation of the auto – delay. See page 119. This selection contains the entries listed below:
  - Auto – Delay Off this setting disables the Auto – Delay Mode. This setting reduces the cpu load.
  - Auto – Delay Quick uses a short impulse – response with a high repeat – rate. This setting reacts quickly to delay changes, but due to the short impulse – response it might fail in critical situations, like rooms with a high reverberation time.
  - Auto – Delay Default this setting, as used in the versions below 1.60.20, features a good detection of the delay – time and a repeat – rate which is sufficient for normal use.
  - Auto – Delay Slow this setting features the longest impulse – response, which yields the best result but has a significant lower repeat rate than the other settings. Use it only in difficult environments.
### Setup → Features
You can set a lot of options in this area. To cover all the options, this setting is explained in four sections on the following pages.
- Warnings, Display, Units:	Page 178.
- Global Settings:	Page 179
- File – Info and Update:	Page 180
- Other options:	Page 181
#### Setup → Features, Section Warnings and Units
Use the warnings section to define SATlive's reaction when a problem occurs.
- Cal File Misfit inform me, if the calibration file cannot be applied to the current data (not the same samplerate or fft size).
- Overwrite Prompt prompts for confirmation if I try to overwrite an existing file.
- Calfile differences inform me if the parameters for the calibration data are not the same as for the current trace, but the main parameters fit, so the calibration could be used but might give wrong results.

The Display section contains only one option.
Static gap disables the automatic setting of the gap between two vertical grids.

In the Units section select the display units for distance and temperature.
- ISO ISO units will be used (Meter and degree centigrade).
- USA US units will be used (feet and degree Fahrenheit).
#### Setup → Features Global Settings
- Quick delay finder link the impulse – response module Set Cursor On Peak function with the Latch Cursor function at the first execution and with the Show difference function on all the following executions of the Set Cursor On Peak function.
- Automatic averages reset reset the amount of averages to perform in the impulse – response module to one after a measurement has been performed.
- Auto Linegap readjust the grid line's gap in the FFT and MAT module's display when other parameters change. This option is also located at the Line Gap setting's pop-up menu.
- Show System Menu bar show the window header, allowing you to move and re-size the main window of SATlive. Otherwise the main window of SATlive runs in full screen mode and might cover the task bar.
- Fit FFT scale to trace execute the Full Trace Display function every time new data is displayed in the FFT display.
- Display Graph during averaging updates the trace display of the impulse - response module after every measurement, when more than one average is performed. Otherwise the display is updated only after all averages have been performed. This option is only available if the Enable Time Sync-check option is enabled at Setup → Advanced Sampling.
- Always show 0dB line always display the zero dB line if it is in the displayed range.
- Show MLS Info display information about the peak's position in the current impulse response in the FFT display.
#### Setup → Features Section File – Info and Updates
In the upper area you can select the kind of information that SATlive displays about the active overlay, calibration or mic – correction data.
- Path and Filename the whole path including filename is shown. For example: C:\SATMessung\Musikvereinsaal\Front of stage left.sld.
- Filename only the filename is shown without its path. For example: Front of stage left.sld
- Remarks the file's description is shown. For example: Nine feet left of sidefill, on ear level.
- Show Name in Tracedisplay if a filename is assigned to the live trace, then it will be displayed in the trace display window.
- Show Fileinfo when saving open the file's description window prior to saving the trace. This allows you to edit trace's description before saving it to a file.

Use the selection When to search for updates? In the Search for Updates area at the lower area to select the interval for the automated update – check. See page (291) for details about the update function of SATlive.
When the interval is reached, then SATlive checks for the availability of a new version on start up. It repeats this check during each start – up until it succeeded in checking the version. It resets the interval when it was able to complete the update – check.

Hint:
You can edit the font size of the information's display in the Setup → Display window. See page 172 for details.
#### Setup → Features ASCII, Jpeg Quality, Temperature, Language
- Temperature set the temperature value used to convert the delay time into distance and for the wavelength calculation.
- ASCII Save settings add an offset if a trace is saved as an ASCII file. You can edit the amount of offset to add. Activate the offset by checking the Apply User Offset option.
- Quality of JEPG conversation set the quality of the conversation used for the Save trace as picture option. The maximum value is 100%. The higher the value, the better the quality of the picture will be. Increasing the quality also increases the size of the picture file.
- Language file select a language file for SATlive. See page 18 for details.
- Start of Program select the module which is invoked at the start of SATlive and every time you leave the setup section.
  - The setting Start with Logo does not invoke any module at start.
  - Start Using DualFFT (MAT) the MAT module is invoked and the last measurment selected.
  - Start in IR Mode invokes the IR Module on startup.
  - Measurement used on exit starts with the last used measurement.
- Enable other measurements if a module is selected at the Start of Program section, then you can disable the other modules by disabling this option.
### Setup → Post Process
The description of this setup window is divided in three parts.
#### The upper area

- THD+N max Order set the highest order of harmonics used for the calculation of THD+N in MAT module's FFT measurement. The THD-N can only use frequencies below the Nyquist's frequency. See page 101 for details about THD measurement.
- Time Using Unwrapped phase show the calculated unwrapped phase values in the cursor detail window in the right menu bar. Otherwise the phase value will range from -180° to +180°. See page 151 for details.

- If the Show Edit Name Window on Assignment entry is selected, then the Rename function is called each time you assign the live trace to a Quick Trace, otherwise a default name is assigned to the quick trace, which can be edited in the pop-up menu of the quick trace.
- Global Setting for Show Coherence of Quick Traces. If this option is selected then you can control the visibility of the coherence traces of the Quick Traces using the entry Show single Trace's coherence in the Settings and Tools sub-menu of the pop-up menu of the sum-trace (see page 263).
  Otherwise you can activate the visibility of the coherence for each particular Quick Trace in its pop-up menu.
- Append delay-info to label if this option is selected then the delay used to create the particular quick trace is shown after its name. See page 255 for details about quick traces.
- Select the Show Phase Wraps setting if you want SATlive to draw a connection when the phase wraps in the display.

- Set the display ranges for the different range menu options.
- The user display range can have different values for the use in the MAT module and for the use in the FFT module.
- You can assign the current display range to user display range using the Assign current Range function in the display-range menu in the FFT module or in the MAT module. See page 74 for details about the display-range menu.
### Setup → Advanced Sampling
This setup can be accessed via the extended setup window only.
Use the shortcut Ctrl + Alt + S to open the extended setup window.
#### Time Synchronization
The settings affects the impulse-response module only. If you want to average some impulse response measurements for a better result, then it is very important that the measurements are exactly aligned in time. Even a very small difference in the peak's position will destruct the result, creating comb-filter (see page 279 for details about comb filter) like results.
The Time Synchronization feature helps you to keep your measured impulse responses in perfectly synchronized.
SATlive remembers the peak's position of the previous measurement, and compares it to the current measurement peak's location.
If the positions match, then the averaging is performed.
Otherwise the procedure depends on the settings in the Advanced Sampling window.
- If the Ignore sample option is selected, then the current measurement is discarded.
- If the correct position option is selected, then the current measurement is shifted in time to align the peak's positions. This is done only if the offset between both peaks is smaller then the max readjust range value. If the offset is larger then the max readjust range then the current measurement is discarded.
- This function assumes that the first measurement is perfectly time aligned. To deal with that problem, you can enable the ReSync option.
  If ReSync is enabled, then SATlive discards the first measurement if the same offset occurs for given times, set by the Number of Offsets setting.
- On Sync Error do select how SATlive reacts, if the current measurement's peak position is not the same as prior measurement's peak position.
  - Ignore Sample discards the current measurement.
  - Correct Position shifts the current measurement in time, if the distance of the two peak positions is less or equal to value of the Max Readjust Range. Otherwise the current measurement is discarded.
- Time Range Optimization enable the checking of the peak's position during averaged measurements in the impulse - response module.
- Max Readjust Range set the maximum offset accepted for the Correct Position option of the On Sync Error Do setting.
- ReSync the Time Range Optimization checks for the synchronization of the peak in the measurements averaged. It compares the peak's position in the current trace to the peak's position in prior trace(s). Therefore it assumes that the first measurement has a correct timing. If the Resync option is enabled and the same offset is detected for the selected times, then the new peak's position is taken as new reference and all the prior measurements are discarded.
- Offset in time correct a time offset between the left and right input channel. Use this setting, if the peak of an impulse - response measurement is not at zero time when the output is linked to the input directly (cable measurement).
- No Overlapping Samples wait for all new data after completing a calculation. Otherwise a new calculation is started immediately.
### Setup → Internal Configuration

This setup can be accessed via the extended setup window only.
Use the shortcut Ctrl + Alt + S to open the extended setup window.
- Priority changes the priority of the different tasks in SATlive. Windows assigns processor calculation power and time depending on priority. Changing these settings influences performance of your computer system. Be careful when changing these settings. You must restart SATlive to activate the changed priority settings.
- Version Information about current versions on your PC.
  - Version detailed file version of SATlive.
  - Username SAT the name of the registered user of MLS module. Dongle indicates that a valid dongle was found.
  - Username MAT the name of the registered user of MAT module. Dongle indicates that a valid dongle was found.
- DirectX shows the current version of DirectX® installed on your computer.
- Win operating system's description.
- Folder on the bottom you can see the path to the folder where the current settings will be stored. To explore the folder, just click on the path.
Hints:
- You can use the shortcut Ctrl + Alt + F browse the folder containing the current settings without the need to open this setup window.
- You can use the shortcut Ctrl + Alt + U to show the user information window without the need to enter this setup window.
- You can use the shortcut Ctrl + Alt + V to show a version information window without the need to enter this setup window.
### Clock Settings
#### Clock Mode:
- System time only shows only the system's time (PC’s clock)
- Count Down start a countdown to the time set at Countdown Time. If the target time is reached, the mode is changed to count up from now with the target time as reference time.
- Count up from now set the time display to zero when you close the window, and starts counting up.
- No clock display hides the whole clock.
#### Countdown Time
- Time set the countdown target time (count down mode) or the count up reference time (count up mode).
- Now assign the current time to the target time display.
#### On count down 0:00 do
Play Sound if the target time is reached in the count down mode then a sound file is played. Use the function to select the sound file to play. Please note that larger files may take some time to load and therefore a slight delay might occur until the playback starts after the count down reaches 0:00.
Hint:
The background of the counter starts flashing during an interval of 120 seconds around the target time. The flash frequency is as higher as closer the current time is to the target time.
#### Color
- Use system colors for clock use the menu colors defined by windows. In this case the clock display uses the same colors as the other menu bars.
- Background allow the user to select the background color for the system clock display, which might be different from system's background setting. This setting is applied only if the Use system colors for clock option is not selected. The current selection of background and font color is applied to the Background and the Font Color button, independent of the Use system colors for clock setting.
- Font Color allow you to select the color of the font used by the system clock display, which is might be different from system's font color setting. This setting is applied only if the Use system colors for clock option is not selected. The current selection of the background and the font color is applied to the Background and Font Color buttons, independent of the Use system colors for clock setting.

Hint:
These settings affect the system clock area only. The count up/down area uses fixed colors, which are green for the count down mode and yellow for the count up mode.
#### Global
- Cancel close the setup window and discard all changes.
- OK close the setup window and apply changes.

Hints:
- The settings for the Countdown Time and for the on countdown 0:00 do option are used only if the Count down mode is selected in the Clock Mode setting.
- You cannot set the system time using SATlive. Please use the windows(R) functions to set the system time.
### Setup → Level Display
You can set the parameters of the level display, which is located at the top of the VU meter in this setup.
To open the setup window simply click on the level display area above the VU Meter.
- The top area contains the selection of the weighting filter to be used for the level display. You can select an A or C weighting – filter or disable weighting using the Flat setting. Furthermore you can set the mode of the level display to Crest Factor. In this case the level display shows the crest factor, which is the difference between the peak level and the rms level. The crest factor indicates the dynamic of the signal.
- The middle area contains the selection of the averaging time used for the display. A higher value results in a smoother display.
- The lower area contains the setting of the VU meter's fall time for the peak value.
- Use the button OK to close the window and to apply the changes.
- The button CANCEL closes the window and discards the changes.
Hints:
- You need to perform a level calibration to get correct values in the display.
- The settings for the weighting filter and for the averaging time are used for the level display only. You can apply a weighting filter on the mic input in the MAT module using the weighting setting in the bottom menu bar. See the weighting filter section on page 85 for more details on weighting filters.
### Lock Menu Positions
This option, located in the main setup menu fixes the position of the menu bars.
The icon on the left indicates the current state.
- An open lock indicates that you can move the menu bars to different locations in the menu area.
- The closed lock shows that all menus are fixed at their current location.
- To toggle between those two states, simply click on the menu entry.

### Error-report window
To open the error-report window use the Show all Errors function in the menu Help .
At the top to the error-report window you find some information about your system.
Below of this information you can find the error message(s), which contain a short description and the date and time the error occurred.
- Print send the error report to your printer.
- E-mail create an e-mail containing the error-report. Send this e-mail to SATinfo@take-sat.de.
- Delete removes all entries from the error list.
- OK close the error-report window.
Hints:
- If there is a new entry in the error log then SATlive shows a remainder on next start of SATlive.
- Any error report sent to us may improve the next version of SATlive. So please support us by mailing the error report to us.
- SATlive features a second error reporting tool, which looks a little like the windows error report tool, which delivers a more detailed error-report. The error information is sent to us and helps us to improve SATlive.
### The menu Registration
The menu registration is a sub-menu of the menu Help.
- Demo version opens a sub menu which contains the Request Demokey and the Enable Demo entry.
- Full version opens the Full Version sub menu.
Hints:
- The different options are enabled according to the current state of your registration.
- This menu is not enabled if SATlive detects a valid dongle.
#### The menu Full Version
This menu is a sub-menu of the menu Registration (see page 193).
It contains the steps needed to complete a registration of the full version
##### Register using internet
Takes you to the shareIt web-site and opens the order website for SATlive.
Hints:
- shareIt supports ordering via a fax and money transfer if you don't trust the internet.
- There are two types of license available. For details about pricing and versions available, please check the SATlive website. Http://www.take-sat.de/english/order.php
##### Install a keyfile
After purchasing a PC related license you'll get a key file. Save it to your computer and use the Install Keyfile function to activate it. Keep the key files in a safe place. It gives you 10 days of unlimited access to SATlive even if you totally rebuild your system.
Use the install a key-file function to install a *.DKF file.
##### Request Full Key
This option opens the request registration key window.
After installing the key files you get ten days to complete your registration.
This will personalize the software to your computer. To do so, you need to request a full key by sending the full-version basic-key displayed in this window via e-mail to Registration@take-sat.de. You can either copy and paste the full – version basic – key in an e-mail or just click on the e-mail button and let SATlive create the e-mail for you.
You can also use the Text File button to save the information into a text file, which could be easily transferred to another computer, if the current PC does not have the possibility to sent e-mails.
Hint:
If you choose the e-mail option, SATlive will invoke the e-mail client on your computer and create the e-mail there. You need to send the creates e-mail by yourself.
##### Install full key
In return to your full key request you'll get a small key file. To complete the registration, just save that file to your hard disk and select it using this function.
##### Type in full version key
Use this function if you're facing a problem during the activation of the full version key. If you need to perform the installation by hand, you need to perform the following steps:
- Change the extension of the key file from RXR to TXT.
- Open the file using a text-editor software.
- Copy the string into the clipboard.
- Open the Type in Full Version Key window.
- Paste it into the input area in this window.
- Click on OK.
##### Remove SATlive Key from this computer
Use this option if you want to move your PC related license to another computer. After running this function SATlive will not longer run on this computer and the previous install-key will not work anymore! This function creates a code, which is needed for the license for the new computer. The code is saved to a file called SATLiz.txt in the folder My Documents. Keep this code in a safe place.

Hints:
- The full version key is valid only on the computer where the full version basic key was created.
- Please use the e-mail option or at least copy & paste to avoid typos.
- Please allow some time for handling your key requests and orders, especial if you're using wire transfer from abroad.
- You do not need to perform any of these functions if you're using a dongle type license.
- See the files readme.pdf and key-remove.pdf, which you've received with your basic-key for a detailed description about the registration and de-installation process.
## Signal generator
the signal generator is located at the lower right of the SATlive window.
It features different types of signals and access to the windows mixers and level control.
Furthermore it contains eight buttons, which can be assigned to different ASIO-Assign routing, to allow quick recall of predefined routing when a ASIO I/O device driver is used. The buttons are visible only if an ASIO - device driver is selected in the Setup → I/O Devices window. See page 161 for details about the ASIO-Assign feature.
### Set the output level
This setting is located in the signal generator area.
It controls the of the output signal.
The values shown are attenuation values, i.e. the hottest output is reached at a setting of 0 and a value of -80 nearly mutes the output. The level settings pop-up menu contains some preset level values.

Hints:
- Any change in the device I/O setup can cause large differences in the output level. Therefore reduce the output level when you change any audio related setting.
- The output's value can be affected by the settings in the windows output mixer. You can access the windows output mixer using the Invoke windows output mixer function in the pop-up of the signal generator area.
  See page 197 for details about the pop-up menu.
- The attenuation is shown in dB values.
- On the first start the level is reduced to -60dB.
- The setting features a pop-up menu containing some predefined level values.
### The pop-up menu of the signal-generator area
- This pop-up menu is assigned to the signal-generator at the lower right of the main window.
- Current I/O Setting shows the current settings for the audio I/O in a small window. You can also use the key-combination Ctrl – Alt – D to invoke this window.
- Open Windows Mixer for Audio Input invokes the windows settings for audio input.
- Open Windows Mixer for Audio Output invokes the windows settings for the audio-output.
- ASIO Assign open the ASIO Assign selection window. For details refer to page 163. This function is available only if more than one ASIO - Assigns are defined for the currently used ASIO I/O device.
- ASIO driver open the setup panel assigned to the currently selected ASIO driver. See the manual of your ASIO device for details.
- Reset ASIO Driver allows you to restart the current ASIO driver if there are any troubles related to the driver. This does not affect the settings of the driver.
- Assign Buttons for ASIO Assign opens an editor window where you can assign an ASIO - Assignment to the buttons in the signal-generator area. Select the desired routing from the selection right of the button.
- List all Wave Forms enables the selection of all available wave forms for the output signal. See page 199 for a list of the wave – forms available.
- Use selected Range for Bandpass this function assigns the currently selected range to the bandpass-filtered pink-noise signal.
- Direct-Reference opens the direct-reference menu described on page 126.
- On the bottom you find up to five settings used for the bandpass-filtered pink noise signal. To recall a range from this menu click on the entry.
### Frequency
This setting is located in the signal generator area and shown only if the current output signal supports different frequencies. This is true for the wave forms Sin var, Rectangle, Triangle, Sawtooth + and Sawtooth -.
Set the frequency of the output signal. The arrows on the right increase/decrease the frequency in steps of 1 Hz, the left arrows in larger steps, depending on currently selected frequency.

Hint:
Some frequency presets are available in the pop-up menu of the setting.
### Output signal
This selection is located in the signal generator area.
Select the output signal from the list.
- White: MLS noise with a white spectrum.
- Pink: MLS noise with a pink spectrum.
- Bandpass PN: Pink noise with bandpass filter applied. See page 201 for details.
- Sin 1khz: Sine wave with a fixed frequency of 1 kHz.
- Sin var: Sine wave with a variable frequency. This wave form is listed only if the option list all output signals is enabled in the pop-up menu of the signal-generator area.
- Sweep: Swept sine with variable parameters.
- Rectangle: a rectangle shaped wave form with variable frequency. This wave form is listed only if the option list all output signals is enabled.
- Triangle: a triangle shaped wave form with variable frequency. This wave form is listed only if the option list all output signals is enabled in the pop-up menu of the signal-generator area.
- Sawtooth +: an increasing sawtooth shaped wave form with variable frequency. This wave form is listed only if the option list all output signals is enabled in the pop-up menu of the signal-generator area.
- Sawtooth -: a decreasing sawtooth shaped wave form with variable frequency. This wave form is listed only if the option list all output signals is enabled in the pop-up menu of the signal-generator area.
- Impulse – creates different kinds of impulses with an adjustable repeat-rate.
  Please refer to page 202 for details.
Hints:
- You could not change the type of output signal during a MLS measurement in the impulse-response module.
- Different wave forms contain a different amount of energy. Therefore reduce the volume setting before you select another wave form.
### Swept sine (Sweep) / Sweep (Inv)
The swept sine is an output signal whose frequency increases or decrease continuously covering a given frequency range.
Select the swept sine signal in the signal generator's window from the output signal selection. The information area below the signal-type selection shows the parameters currently in use. To change the parameter, open the setup window by clicking on the information area. The sweep (Inv) signal starts at the highest frequency and runs down to the lowest frequency.
#### The setup window
- Presets assigns the current settings to a preset or recall settings from a preset
- Start the frequency at the start of swept sine
- Stop the frequency at the end of swept sine
- Duration the time in milliseconds used for one complete sequence
- Apply saves the changes and close the window
- Cancel discards the changes and close the window

Hint:
These settings do not affect the signal used for the sweep measurements in the impulse-response module.
#### Sweep Presets
In the swept sine setup window you can assign the current settings of the sweep signal to one of the four presets, or you can recall one of the presets. To invoke a preset just select it from the pop-up menu available in the Preset menu of the sweep setup window. To save the current settings into a preset, select the preset to store to in the sub menu Save as preset menu in the pop-up menu of the Preset button at the top of the sweep setup window.
### Bandpass-filtered Pink-Noise
The bandpass-filtered pink-noise is a signal which contains energy only in a certain range. The energy in the output signal is concentrated on that range, which is helpful in situations with high noise levels.
The red trace shows the default pink-noise signal, the blue trace a bandpass-filtered pink-noise with a range from 76Hz to 1.6kHz, with the same level setting.
#### Setting the range for the filter
There are different ways to set the filter range for the bandpass-filter:
- Select the frequency range using the frequency – range tool (see page 79) and use the Use selected Range for Bandpass entry in the pop-up menu of the signal-generator (see page 197).
- Select the frequency range using the frequency – range tool (see page 79) and double-click on the frequency-range display below the output-signal selection.
- Choose one of the most recently used filter settings shown on the bottom of the pop-up menu of the signal-generator (see page 197).
### Signal Impulse
A new type of signals has been added to the signal-generator. It delivers single pulses of different kind with a user selectable repeat-rate. This kind of signals can help you to adjust delays by ear. The repeat rate covers a wide range from 1 millisecond to 60 seconds.
Like all other signals, this signal is listed in the signal-kind selection in the signal-generator area on the lower right.
Note the information below the signal-kind selection. The upper line shows the kind of impulse used, the second line informs you about the current repeat-rate.
To change the settings, simply click on this information area to open the configuration window.
#### The configuration window
This window contains two settings. The selection on the top contains the different kinds of impulse. Below you find the setting area for the repeat-rate.
There are different possibilities to change the repeat-rate
- Click on + to increase the rate by one millisecond.
- Click on – to decrease the rate by one millisecond.
- Hold down the Shift key and click on + to increase the rate by ten milliseconds.
- Hold down the Shift key and click on – to decrease the rate by ten milliseconds.
- Hold down the Ctrl key and click on + to increase the rate by 100 milliseconds.
- Hold down the Ctrl key and click on – to decrease the rate by 100 milliseconds.
- Click on the value with the left mouse-button or on the whole area with the right mouse-button to open a pop-up menu which contains some preset values.
#### Available Impulses
There are different kinds of impulses available for this signal. The green line shows the unaffected signal and the blue line shows the signal looped back.

- Single
  Just a needle with a size of one sample, heading upwards.
- Single (Sym)
  A needle heading upwards immediately followed by a needle heading downwards.
- Step
  A needle heading upwards, followed by a zero and a needle heading downwards.
- Sine
  The positive half of a 6 kHz sine wave.
- Sine (sym)
  One full cycle of a 6kHz sine wave.
- Sine (long)
  The positive cycle of a 1kHz sine wave.
  Please note that in the picture the x-scale differs from the pictures above.
- Sine (long, sym)
  A full cycle of a 1kHz sine wave.
  This impulse is the one that 'sounds' best, so you should prefer it for the standard tasks.
### VU Meter
The VU Meter is located in upper right area of the SATlive window.
It shows the levels of both inputs.
The bar – graph display shows the input levels related to digital full-scale.
The peak level is indicated by a single line, and the RMS value is shown as a solid bar.

Hints:
- You can use any signal, either external or from the internal signal generator to adjust the input level.
- The input level is adjusted in the windows recording mixer, which can be accessed using the Open Windows Mixer for Input function in the pop-up menu of the signal-generator area. See page 197 for more information about this pop-up menu.
- In the MAT module you can select the input for display by clicking on the labels below the bar – graph display. See page 150 for details.
- You can set the fall-back time of the peak display in the Setup Level Display window. See page 190 for details.
- Avoid clipping the input to assure good quality of the results.
### Start the output signal
This function is located in the signal generator area.
It is located right of the output level setting.
It's label shows the current state of the signal generator.

- The output is muted. Click on the label to start the output signal.
- The signal generator is running. Click on the label to mute the output signal.

Hints:
- You could not mute the output during a MLS measurement.
- You can also use the shortcut G to mute/un-mute the output.
- All measurements in the impulse – response module mute/ unmute the output. You can disable this behavior for the MIR measurement in the measurement's setup.
### Level Display
The level display is located at the top of the VU Meter.
It shows the average level (RMS) of the mic input. You can set the time used for averaging in the Level Display's setup window.
You can use a Weighting Filter for this display. The selection of the weighting filter is in the Level Display's setup window. The currently selected Weighting Filter is indicated by a letter in the label shown below the number.
Furthermore the display can show the crest factor of the signal applied to the mic input.
- dB(A) the Weighting Filter A is currently selected.
- dB(C) the Weighting Filter C is currently selected.
- dB(Crest) the result shows the crest factor, which is the difference between peak and rms level.
- dB no Weighting Filter is currently used.
You can open the Level Display setup window, described on page 190, by clicking on the Level Display.
## The Tracemanager
You can use the tracemanager to display and average saved frequency responses.
To invoke the Tracemanager either click on the button Tracemanager or use the shortcut Ctrl + T.
### Single traces
The upper part of the tracemanager window contains eight similar areas. Each area handles one saved trace.
This function are available in any of the eight areas:
- Load Trace open a saved frequency response. The pop-up of trace name display contains a list of the most recent used files, from which you can pick a file with a double click.
- Show Trace displays the loaded trace. This option is enabled only if a valid trace is loaded.
- Average Trace to master trace averages the loaded trace to the master trace using the selected weighting. This function is enabled only if a trace is loaded and the loaded trace has the same samplerate as the master trace.
- Offset, Smoothing, Color open a window containing additional settings.
- Info show information about the trace including the possibility to edit the description of the trace.
- Weighting the colored field right of file name display shows the currently selected weighting of the trace. Toggle the three different weightings with a mouse-click on this field. The trace width used for the display of the trace is changed according to the selected weighting and the trace width assigned to this setting. See page 209 for further details about using different weightings.
### Mastertrace
In the tracemanager the master trace is the result of the averaging of the selected frequency-responses.
The following functions are available for the master – trace:
- Save the master – trace trace to a file.
- Show the master – trace in the trace display window.
- Invert the master trace mirror the master – trace's display on the 0 dB line to ease the adjustment of equalizers.
- Color of the master trace.
### Lower area of the tracemanager
- If you're using a project (see page 218) and you've activated the option Use Project Management in Trace Manager then you'll see a selection area containing the different speakers defined in the setup of the project. If you select a valid speaker, then the eight traces of this speaker are assigned to the trace manager's traces.
- The function Hide all Traces sets the visibility of all traces related to the tracemanager, to false.
- The function Delete removes all traces from the tracemanger.
### Offset, Color and Smoothing
This window contains more settings for the traces displayed using the trace – manger.
- Offset move the current trace up or down.
- Relate to master trace center the current trace around the master – trace. This eases the comparison of traces measured with different signal levels.
- Color change the color used to display this trace.
- Smoothing select the smoothing of the current trace.
- Display Coherence this setting is enabled only if the trace contains coherence information. This is true only for traces saved in the Transfer Function measurement in the MAT module. This option determines if the coherence trace related to this trace is shown or not.
Hints:
- The changes are displayed in real-time if the trace is displayed in the tracemanager.
- If you exit this window using the Cancel button then all changes will be lost, and the display switches back to the old settings. To keep the changes, exit this window using the OK button.
### Weighting and averaging
The tracemanager enables you to average up to eight traces using different weightings.
There are three levels of weighting available. You can edit the parameter for the weighting at Setup → Measurement (see page 175)
If different traces are averaged in the tracemanager they are weighted according to their levels of weighting.
#### Example
Averaging of two traces using the following levels of weighting:
Primary location: 10
Secondary location: 4
Tertiary location: 1
Both traces with the same level (primary).
One trace primary, other secondary.
One trace primary, other tertiary.
#### Using Averaging
The proper selection of the mic's locations for measurement has a great influence on the measurement's result.
You can take the following as a rule of thumb:
- One primary location for every speaker, located on axis in speaker's direct sound range.
- Additionally one or more secondary locations in direct sound range, but off axis.
- Tertiary locations are used to check for coverage or interaction with other speakers.
- The creation of the master trace for setting the EQ should be based mainly on the primary location. Secondary locations are used to check if a peak or dip is a result of the mic's location, or a common problem in the whole coverage area.
- Tertiary location are mainly used for special tasks like delay alignment or level adjustment, but normally not as a base for the adjustment of the equalizer.
### Setup Weighting
These settings are located in the Setup → Measurement window. See page 175 for details.
Set the parameters for three levels of weighting for traces averaged in the tracemanager.
- The Names of the three levels are given by the software. Levels are labeled primary location, secondary location and tertiary location.
- Weighting set how much the trace influences the result. As higher the value, as higher the influence.
- Trace Width select the width used to display a trace with this weighting.
- Color set the color used for the weighting indicator in the tracemanager. See the tracemanager section starting at the page 207 for further details.
## Smooth FFT
The Smooth FFT is a special algorithm to calculate the frequency response from an impulse response whose result is closer to human hearing than the result of a default FFT.
### Basic considerations
The human ear (or to be more exact, the human brain) analyzes the received sound using special criteria.
The part of sound received first is treated as utilizable and used to locate the sound's source. (Haas Effect, Rule of first wavefront).
The sound which is received later is treated as interference and masked.
A normal RTA based measurement treats all the energy reaching the measurement mic in the same way, therefore you can call it 'time blind'.
For the simple FFT calculation a certain range of the impulse response is selected (windowing) and analyzed, thus masking unwanted parts of the impulse response.
But in human hearing the border between 'good' and 'bad' sound is frequency depended and ranges from a few milliseconds at high frequencies up to more than half a second at low frequencies so that applying just one window for all frequencies will match ear's recognition of sound only in a small range of frequency.
### Theory of the Smooth FFT
To be closer to the human hearing, the frequency range is divided into nine frequency bands. Each band features its own window size, FFT resolution and FFT. After performing those nine FFT – calculations, the results are combined to one single trace.
The windowing applied by the user sets the maximum window size used for the smooth FFT windows. This means that the shorter of both (user window and smooth FFT window) sizes is used for the windowing.

On a samplerate of 48 kSamples/sec the Smooth FFT uses the following parameters:

Start	End	Size of window	Resolution
16 Hz	93,75 Hz	684 ms	1,46 Hz
93,75 Hz	187,5 Hz	342 ms	2,93 Hz
187,5 Hz	375 Hz	171 ms	5,86 Hz
375 Hz	750 Hz	85,3 ms	11,7 Hz
750 Hz	1.5 kHz	42,7 ms	23,4 Hz
1.5 kHz	3 kHz	21,4 ms	46,9 Hz
3 kHz	6 kHz	10,7 ms	93,8 Hz
6 kHz	12 kHz	5,3 ms	188 Hz
12 kHz	24 kHz	2,7 ms	375 Hz

As you can see the Smooth FFT combines a high resolution at low frequencies with a sufficient resolution at high frequencies.
In the field the Smooth FFT shows a good correlation between what you hear and what you measure.
The Smooth FFT overlays the selected window with different windows during calculation. All windows are linked to the left border of the given window. Therefore a large setting left of the peak can exclude the peak from the internal window used at higher frequencies. This results in a spoiled frequency response trace at high frequencies.
## Valid range tool
In the FFT module you can invoke this tool in the pop-up menu of the trace display.
The valid range tool checks for the usable frequency range, shows border's frequencies and displays the border lines.
- Range set the maximum level difference related to the peak's level allowed for the usable frequency range.
- Range to check set the frequency range to check for the usable frequency range. If displayed Range is selected, then the valid range tool searches only the displayed part of the frequency display and the Range setting is related to highest level in the displayed range. If Full Range is selected then the whole frequency response is examined and the Range setting is related to the highest value found in the whole frequency response.
- Start Search
  - Start at Peak start searching for the borders at the frequency response's peak (or at the highest value in the displayed frequency range).
  - Start at Borders starts the search at the borders of the frequency response (or the borders of the visible range).
- Options → Continuous Operation the borders of usable frequency range are displayed in the right menu area above the signal generator' area , and updated on every change of the selected trace.
- Range Borders customizes the display of the borderlines used for the display of the usable frequency response range.
Hints:
- You can select the trace to analyze in the pop-up menu of the trace display in the Show Values of selection.
- Use the hide range markers function from the pop-up menu of the trace display to hide the markers on the borders.
## Absolute and relative Level
The unit dB is always used for a relation between two values.
If the level used as reference is an official defined reference SPL, then we talk about Absolute Level. To get an Absolute Level display, you have to adjust the internal reference SPL of SATlive.
We talk about Relative Level if the level is related to some not official defined reference value. As default SATlive uses only relative levels, with the following reference values:
- FFT uncalibrated, Smooth FFT uncalibrated: the reference level is the mean level of the whole frequency response trace.
- FFT calibrated, Smooth FFT calibrated: the reference level is the level of the calibration frequency trace. This means that the difference in level to the calibration trace is shown.
- MAT Transfer the reference level is reference (REF) input signal's level.
- VU Meter the reference level is the digital full-scale.
### Calibration of the absolute Level
To enable SATlive to display absolute level values you have to set it's internal reference level using either a calibrated SPL measurement unit or a calibrator device.
The calibration is performed in the Setup → Set dB Ref window.
- Please check if all internal levels are set properly before starting. Use the sin 1k signal for this purpose because it is used during the calibration process also.
- If you use an SPL meter, then you need to set the external SPL meter's parameter to A weighting and Slow RMS display.
- If you want to use a calibration device then select the Use Calibrator for Level Setup option.
- Use the option Use db Calibration for MAT (FFT and RTA only) to enable/disable the use of absolute levels in the trace display. If this option is not selected then the calibration values are used only for the Level Display.
- The Level at digital Full Scale shows the SPL at digital full scale. Click on Start dB Calibration to start the calibration process.
- SATlive will guide you through the calibration process. Use the button NEXT to go to the next step. The description of the current step is shown in the information area. The setup consist of the following steps:
  - Ask you if all preparations are done.
  - If an external SPL meter is used, then a 1kHz sine wave signal is played and you need read the meter's display after it gets stable. If the display does not get stable then check the settings of the meter again (A weighting and Slow RMS display).
  - If you're using an external SPL meter, then type in the meter's display in the edit field below the information area. If you're using a calibration device, type the RMS level of the calibration device in the edit field below the information area.
  - If you use an external SPL meter then replace the external dB meter with SATlive's measurement microphone. If you're using a calibrator device, then apply the calibration device to the measurement microphone and activate it. Please read the instruction manual of the calibration device for further information.
  - If you use an external SPL meter, then the 1kHz sine wave signal is played again and it's RMS level is measured, otherwise SATlive measures the signal level delivered by the calibration device.
  - The internal level calibration values are calculated.
  - Now check the Level at digital Full Scale if it fits to your needs. If the value does not fit, then change the settings of the input mixer and the level control of your I/O device accordingly and repeat the calibration.
- If you want to change an earlier setting, you can use the BACK button.
## Project
You can use a project to manage different measurements taken in the MAT module and in the FFT module.
- A project contains information about the venue and at least one speaker.
- Up to eight different measurements can be assigned to each speaker.
- The selection of a speaker loads the traces assigned into the quick-trace memories.
- You can load all traces assigned to one speaker into the Tracemanager. See the tracemanager section starting at the page 207 for further details.
- You can create or edit a project in the Setup → Project section.
- You must assign at least one speaker to a project during creation.
- You can use the Project Manager in the pop-up menu of the sum trace to add further speakers or to rename speakers or measurements. You can open project – manger using the key combination Ctrl + P as well. See page 221 for details about the project – manger.
### Project setup
#### Basics
The Project Management is intended to ease the handling of larger amount of measurements and supports this features:
- Assignment of groups of measurements to speakers.
- Recall of all the measurement assigned to a speaker by a simple selection of the speaker they are assigned to.
- All measurements are saved when they are assigned to a Quick Trace. SATlive creates a unique file name which is used to save the measurement. See page 255 for details about quick traces.
#### Preparation
Start with creating a new project. This is done in the Setup → Project section.
There is some information about the venue which you can edit. A text is needed in the project field, because this information is used to create the file-name of the current project. The other fields are optional. The info filed can be used to store additional information about the project. You can edit the information in the Project-Manger as well.
The information is shown in the file-selection window when you select a file to open.
- Use the button Change Project's Root Directory to select the directory where SATlive saves the trace files of the project.
- You can activate the project management separately for the use in FFT module and in the MAT module, where it is linked to the quick traces and/or in the trace manager. Furthermore, you can use the project management in the impulse-response module to organize the measured impulse response traces.
- See page 136 for details about quick traces.
- See page 207 for details about the tracemanager.
You have to save your settings before you can add a speaker.
- Use the Load function to select another project.
- Save as new project saves the current project to a new project. Only the settings are saved, the new project contains no measurements.
- Delete removes the project, all measurements assigned to it and the projects folder (if possible) from the disk.
- New resets the current values thus creating a new clean project.
#### Adding speakers to the project
To be able to edit the speaker section, the current project must be saved using either the save or the save as new project function.
You can add or remove speakers or measurements using either the speaker area's pop-up menu or the buttons below the speaker area. First select the item to edit or to delete with a mouse click, then select the option to perform either from the speaker area's pop-up menu or from the buttons below the speaker area.
Use the Import Speakers function to import the speakers (not the measurements) of another project into the current project. This will delete all speakers already assigned to the current project.
#### The Project manager
Use the project manager to add a speaker to the current project or to change the label of a speaker or of a measurement directly in the MAT module.
You can invoke the project manager only if a project is currently selected.
Use the function Project manager in the sub menu Settings and tools in the pop-up menu of the sum trace button or the button , which is available only in the complex menu display.
You can use the key combination Ctrl + P as well to invoke the project manager.
To add a speaker, to change a label or to delete a measurement just select the item and then select the action to perform from the pop-up menu.
The lower window shows the global info text of the project.

Hints:
- Any changes performed here are applied directly and there is no possibility to undo them.
- You can delete speakers in the project setup-section only.
- Use the button OK to close the window and to return to SATlive.
- You must close the window before you could continue to work with SATlive.
- The info text is shown in the file-selection window and in the project-setup window.
#### New speaker
- This window shows up when you create a new speaker in the current project, which can be done at the project-setup section or at the project manager using the New Speaker option of the pop-up menu of the speaker section.
- You can enter the label of the speaker in the edit field. The label can have a maximum length of 40 characters and must not be empty.
- Different speakers of the same project could share the same label, but you should avoid that in order not to mix up different speakers.
- You can edit the memo assigned to the speaker in the project manager or in the project-setup section. During the creation of a new speaker the memo is filled with the speaker's label.
- Use the button Cancel to close the window and to return without adding the new speaker to the current project.
- Use the button OK to close the window and to add the new speaker to the current project.
- You can delete speakers only in the project-setup section.
- See page 218 for details about the project setup.
## Working with Target Traces
You can show a static trace in the background to have a guideline for the adjustment of the frequency response. Those traces are called Target Traces.
The picture shows the X-Curve including it's range of tolerance.
Currently SATlive supports one user-definable target-trace and the X-Curve which is widely used for the optimization of sound systems in cinemas.
You can configure the kind and display of the target-trace in the setup window, which is described on page 227.
Hint:
- Only the amplitude response of the target trace is available at the moment.
- The target trace feature is available in the FFT module and in the transfer-function, FFT, RTA and in the FFT + Spectrograph measurements in the MAT module.
- If you would like to show a measured trace in the background you can either use a Quick-Trace (see page 255) or the Trace-Manager (see page 207).
### Create a user defined Target Trace
You cannot build a user-defined target trace in SATlive, but in the software Target-Trace Builder, which is part of the SATlive package.
You an access the Target-Trace Builder either from the windows start-menu or using the Edit entry in the menu User defined Target Trace located in the menu bar on top of the editor window.
Hints:
- Because the Target-Trace Builder is an external software, you need to save the edited trace to a file and reload it into SATlive, even if you've invoked the Target-Trace Builder from within SATlive.
- Do not try to load other traces then those created in the Target Trace Builder.
- If you want to use stored measurements, load them into a quick trace and use the quick trace functionality, described on page 255.
### Invoke the Editor-window
- Use the pop-up menu of the Target Trace Button in the top menu and click on Edit Target Trace
- You can find the Edit-Target Trace function in the sub-menu Tools of the pop-up menu of the trace display.
- You can also use the key-combination Shift + X on your keyboard.
- See page 227 for details
### Load a user defined Target Trace
In order to load a User—defined Target-Trace, you need to create one using the Target-Trace Builder software. You can invoke the Target-Trace Builder either from the windows start menu or using the Edit entry in the menu User defined Target Trace in the menu area on the top of the editor.
Even if you invoked the Target-Trace Builder in the editor-window, you need (re-)load the target trace into SATlive.
Perform the steps to load a Target-Trace:
- Invoke the Edit Target Trace window. See the page 224 for details.
- Open the file selection for the Target-Trace either by clicking on the folder symbol in the User defined Target Trace area in the editor or by using the Load Trace entry in the menu User defined Target Trace in the menu area on the top of the editor window.
- Select the Target Trace you want to use from the dialog.
- Confirm your selection with the Open button of the open dialog-window.
- The dialog-window will close and the selected trace will be loaded. The full path to the file is shown in the User defined Target Trace area of the editor-window, and the file name of the trace is shown in the status-bar at the bottom of the editor-window.
- To select the loaded trace as the target-trace currently shown, check the Show entry in the User defined Target Trace area in the editor-window.
### Show or hide the Target-Trace
There are different ways to show or hide the Target Trace
- Use the shortcut X on your keyboard.
- Use the menu entry Target Trace in the top menu bar.
- In the Editor Window you can use the Show option in the Display area, located at the bottom of the window.
- To choose whether SATlive should draw the X-curve or the user-defined target-trace, use the Show entries the sections assigned to each kind of target-trace.
- Use the selection Trace width to change the width of the pen used to draw the target-trace.
- You can use the setting Offset to move the target-trace in the vertical direction.
You can change the color of the Target Trace and of the range of tolerance in the color setup section of the display setup window (see page 169).
Hints:
The menu entry is not available in the top menu bar in the RTA measurements.
### The Editor Window
The editor window contains settings to customize the display of the Target Trace.
See the page 224 for information about how to open the editor window.
The editor-window contains a menu area at the top, three areas in the main window, and a so called status-bar at the bottom of the window.
#### The menu area
The menu area is located at the top of the editor window of the target-trace.
- File: This section contains the entry Close. This entry closes the editor-window. You can also use the button Close in the lower are to close the editor-window.
- Number of Seats: This section contains a selection, where you can choose the room-size defined by the number of seats. The X-Curve target-trace (see page 230) uses this settings to adapt its shape to the room-size.
- User Defined Target Trace: This section contains two entries.
  - Load Trace: You can use this entry to load a target-trace into SATlive.
  - Edit: Use this setting to invoke the Target-Trace Builder to create or to change a target-trace. See page 225 for details about working wit user-defined target-traces.
#### The main window
The main area of the editor-window for the target-trace is divided into into three areas. Each is marked by frame and has its label on the upper right corner.
##### The upper Area: User defined Target Trace
This area contains information and settings assigned to the user defined target trace. See the page 225 for details about working with user-defined target-traces.
- The button Folder opens a file selection where you can select the target-trace you want to load. See the page 225 for details.
- The option Show on the right selects the user-defined target-trace as the target-trace to show. Selecting this option removes the selection from the Show option in the X-Curve area.
- On the bottom of the area you can see the full path to the currently loaded user-defined target-trace.
##### The middle Area: X-Curve
This area contains information and settings related to the X-Curve. See page 230 for details about the X-Curve.
- On the left you see the setting selected in the Number of Seats section of the menu bar. This value is used to determine the size of the room.
- The Show Target Trace Only option hides the display of the range of tolerance. As the X-Curve itself the range of tolerance varies according to the size of the room, which is defined by the number of seats setting in the top menu area.
- The option Show on the right selects the X-Curve as the target-trace to show. Selecting this option removes the selection from the Show option in the User Defined Target Trace section of the window.
##### The bottom area: Display

This section contains the settings which are used for the display of the current target-trace. Select the kind of target-trace using the Show options in the both sections assigned to each of the traces.
- Use the selection Trace width to choose the width of the line used to draw the target-trace. This setting does not affect the drawing of the area of tolerance.
- Use the Show option to display or to hide the target-trace. There are other ways to show or hide the target-trace as well. See the page 226 for details.
- You can use the Offset setting to move the target-trace and the area of tolerance vertically.
- The status-bar at the bottom of the window shows the name of the user defined Target Trace currently loaded.
Hints:
- All changes are applied immediately
- You can change the colors used to draw the target-trace and the range of tolerance at Setup → Display → Colors (see page 169).
#### The bottom of the Editor-Window
Use the Close button to close the editor-window. You can also find the Close option in the File section of the menu bar.
The status-bar at the bottom of the window shows the file-name of the user-defined target-trace currently loaded.
#### The X-Curve
In order to assure that a movie sounds nearly the same in any cinema, the Academy of Motion Picture Arts and Sciences defined a target-trace for the acoustic in cinemas. This target-trace is called X-Curve. The first X-Curve was presented in 1937, and it has been modified over the years. A much more detailed review about the X-Curve and its development can be found in the paper The X-Curve: Its Origins and History by Ioan Allen, which can be found in the internet.
- It's shape varies slightly according to the size of the room, which is defined by the amount of seats in the cinema. You can select that value in the Number of Seats entry in the menu bar of the editor window.
- In addition to the optimum trace, a range of tolerance is defined as well.
- The display of the range of tolerance can be disabled using the Show Tolerance Trace only option in the editor for the Target Trace.
## Phase compensation
The Phase Compensation, which is available in the FFT module, removes the phase-shift which is introduced by the delay.
After running the speaker in room macro in the impulse- response module with just a link between the input and the output you hopefully get a near flat amplitude response graph. But when you activate the phase display, you might be surprised, because you will not a flat phase graph, but a falling one.
To explain what happens here, we first take a look at the left side of the impulse response's display in the upper window.
You might notice some space between the left border of the window and the impulse's peak, even if the peak is at 0.0ms.
This space is generated by the window selected in the macro setup. For the speaker in room macro a peak related window with a 'pre' setting of 400usec is used. This means that the part of the impulse response which is used for the calculation of the FFT starts 0.4 ms before the highest point of the impulse response.
This pre time is used to 'catch' the settling time of the loudspeaker, because the highest point of an impulse response is not necessarily the first valid point of it.
To go back to our example, we can say that the peak has a delay of approx 0.4 ms related to the starting time of the FFT window (which is the left border's position).
This picture shows a comparison of two FFT traces created from the same impulse response, one using the default 0.4ms pre time (green phase trace), the other with a pre time shortened to approx 0.2 ms (violet phase trace).
As expected the amplitude traces match perfectly, but the phase traces are different, because delay information is present in the slope of the phase traces. The higher the delay as steeper the phase trace. The negative value of the slope is called group – delay and can be displayed in SATlive as well.
The group-delay traces are both flat, which means that the delay is constant over time, and as you might guess, the green trace is at approx 0.4ms and the violet one at approx 0.2 ms.
SATlive can try to remove this delay from the phase display when you look at the smooth FFT result. Because of the cyclic nature of phase this might fail in some situations.
There are two phase-compensation modes available, which you can use in macros, too.
They differ in the detection of the delay.
- In the mode (left button) the location of impulse response's peak is used as the time reference.
- In the mode (middle button, marked with 1k) SATlive assumes that the phase value at 1kHz in the FFT is at zero degree phase.
- The third option just disables the phase compensation feature.
## The Virtual EQ
- The virtual EQ emulates the frequency response of up to eight parametric equalizers, two shelving filters and a high-cut and a low-cut filter.
- The virtual EQ is available in the Transfer – Function measurement in the MAT module and in the FFT of the impulse response.
- You can apply the equalizer in real-time to the live trace and / or to the sum-trace.

Hints:
- The virtual EQ simulates an analogue EQ using a mathematical model. Therefore the result might differ from the result you got from your real world EQ.
- In this description the term 'virtual Eq' covers all available filters, event the x-over settings. Differences in operation are covered in the description.
### Setting the virtual Eq
There are two possibilities to edit the virtual EQ. You can either use the mouse in the display area or you can edit the values of the parametric filters in the editor window, described on page 237.
#### Editing using the Mouse
- In order to edit the virtual EQ the EQ trace must be visible.
- The frequency of each EQ block is marked by a square.
- Move the cursor to the square related to the EQ block you want to edit. If the cursor is over one of the squares, then the square gets solid and the values of this filter are shown in the top area.
- Now hold the left mouse button down and move the mouse to edit the filter.
- A horizontal movement changes the frequency and a vertical movement changes the gain.
- In order to change the width of the selected filter, use the right mouse button instead of the left one. Now you can change the width by a horizontal movement of the mouse.
- During the edit of the frequency and/or gain, you can change the with using the key + and the key – on your keyboard.
- As soon as you release the mouse button the filter is released and you can use the mouse as usual.
#### Editing in the Editor Window
See the description of the Editor Window, starting on page 237, for details.
### The menu of the PEQ Button
This menu is the pop-up menu of the PEQ Button, which is located in the Quick-Trace menu-bar.
Most of its content is also available in the bottom area of the editor window. See page 240 for the description of the bottom area of the editor window.
To open the menu, either click on the PEQ button with the right mouse button or click with the left mouse-button on the arrow right of the button. In both cases the menu will pop up.
- Edit Virtual EQ invoke the editor window for the virtual EQ. You find a closer description of this window starting on page 237 of this document.
- Invert EQ Trace mirror the display of the EQ trace shown at the zero dB line. This might help you to adapt the EQ Trace to a trace shown on the display.
- Use EQ on Sum Trace applies the virtual EQ to the current sum-trace. See page 263 for details.
- Invert EQ Trace flips the display of the virtual EQ. Use this setting to adapt the trace of the virtual EQ to a given trace in the display.
- Apply Virtual EQ to live Trace if this option is checked then the virtual EQ is applied to the Live Trace in real time. This is indicated by the label Amplitude + Virtual EQ and Phase + Virtual EQ in the upper right corner of the trace display area.
- Trace Layout invoke the trace-layout editor for the virtual EQ trace. See page 252 for more details about the trace-layout editor.
Hint:
Use the entry Assign without Filter or EQ in the pop-up of a Quick – Trace to assign the Live Trace without the EQ applied. The entry Assign copies the result into the Quick-Trace. See page 258 for details.
### Invoke the Editor Window
You can invoke the editor of the virtual EQ either using the menu entry Edit virtual EQ in the pop-up menu of the button assigned to the virtual EQ, or use the shortcut Q on your keyboard.
The button assigned to the virtual EQ is located in the menu bar Quick Trace and in the pop-up menu of the trace display.
You can invoke the editor by clicking with the right mouse-button directly on the virtual EQ button, left of the arrow.
### Show or Hide the Virtual EQ
You can show or hide the trace of the virtual EQ in different ways:
- Click on the virtual EQ button in the menu bar.
- Click on the entry Show Virtual EQ Trace in the pop-up menu of the display area.
- Check the entry Show Virtual EQ Trace in the bottom area of the editor window. See page 240 for details.
Hint:
The visibility of the virtual EQ traces does not affect the state of the Use EQ on Sum Trace or of the Apply Virtual EQ to Live Trace setting.
### The Editor Window of the virtual EQ
The editor of the virtual EQ features two pages, which you can select using the tabs at the upper left.
#### The page Virtual EQ
This page shows all parametric equalizers. If an equalizer is selected, either by changing its values or by selecting it in the display, then the color of the area changes.
#### The page Virtual X-Over
This page contains the settings for the two shelving filters and for both x-over filters.
#### The menu area
The editor contains a menu bar at the top area, where you'll find the entries listed below.
##### Virtual EQ
- Load default settings: Resets the filters, the shelving filters and the virtual x-over.
- Save: Stores the current setting to a file. This option is enabled only if a setting has been loaded or if a setting has been stored before using the Save as entry.
- Save as: Stores the current setting to a file, using a save dialog where you can choose the name and directory where you want to store the file.
- Rope R1 Export allows you to export the eq – settings to Rope R1 devices.
  This option is available only if the DB Rope R1 Controller Mode is enabled in the setup section.
- Load: Load a setting from a file, using an open dialog where you can choose the file to open from.
##### Setup
- Bandwidth: the value used to define the with of the filter.
  - Quality Factor(Q) shows the center frequency related to the EQ range. Higher values indicate a smaller range.
  - Bandwidth shows the width of the EQ range related to the center frequency. Higher values stand for a wider range.
  - Bandwidth (Octaves) shows the width of the EQ range related to the center frequency. The relation is shown in octaves.
- Calculation of Bandwidth: There are different approaches how the frequencies used for the definition of the borders used for the calculation of the filter-width.
  You can compare a measured response of your equalizer / controller to the virtual EQ in order to check which calculation fits best.
- DB Rope R1 Controller Mode: This option configures the editor according to the specification of the R1 protocol. When this option is enabled you can use the Rope R1 Export entry in the Virtual EQ section of the menu to create a file for a R1 device. According to the R1 protocol only four peq sections are used in the R1 mode. The calculation mode and the bandwidth - display mode will be locked to the values which R1 uses.
  Changing the mode will reset the virtual EQ.
##### Trace Layout
This entry opens the layout-window for the virtual EQ trace. See page 252 for details.
##### The Options in the lower Area
The area below the filter settings contains global options for the use of the virtual EQ.
You can find this options in the pop-up menu of the button also. See page 235 for details of the pop-up menu.
- Show Virtual EQ Trace check this entry to show the eq – trace in the display area.
- Use EQ on Sum Trace applies the virtual EQ to the current sum-trace. See page 263 for details.
- Invert EQ Trace flips the display of the virtual EQ. Use this setting to adapt the trace of the virtual EQ to a given trace in the display.
- Apply Virtual EQ to live Trace if this option is checked then the virtual EQ is applied to the Live Trace in real time. This is indicated by the label Amplitude + Virtual EQ and Phase + Virtual EQ in the upper right corner of the trace display area.
Hint:
Use the entry Assign without Filter or EQ in the pop-up of a Quick-Trace to assign the Live Trace without the EQ applied. The entry Assign copies the result into the Quick-Trace. See page 258 for details.
#### Setting values in the Editor Window
You can change any value by clicking on the small arrows right to the values, or you can use the virtual slider feature described below to change the values.
All settings contain a pop-up menu with some predefined values.
The topmost edit-field contains the frequency, the area in the middle the width (as described on page 238, the value depends on the selected display-mode) and the lower one the boost/cut setting.
Use the On setting at the bottom of each section to enable the filter. Only filters which are enabled can be edited using the mouse.
##### Virtual Slider
To use a virtual slider, just move the mouse over the value and press the left-mouse button. Now a slider will show up, allowing you to adjust the value by moving the slider up or down.
The slider assigned to the frequency value shows a logarithmic behavior.

Hints:
- You can change the bandwidth units in the setup section of the menu (see page 238 for details).
- Any of the three settings features a pop-up menu containing some preset values.
- You can edit the virtual EQ with the mouse as well.
- The shelving filters do not use a bandwidth setting, but a selectable slope.
## Peak Trace
The Peak Trace is available in the FFT measurement of the MAT module.
The Peak Trace shows the highest values of the live trace. The button is located in the Quick Trace menu bar and contains a pop-up menu.
### Display / Hide the Peak Trace
- Use the button Peak Trace in the Quick – Trace menu bar to show/hide the Peak Trace.
- Use the entry Trace Layout in the pop-up menu to customize the appearance of the peak-trace.
  See page 252 for details about the trace-layout window.
- You can set the color of the Peak Trace in Setup → Display.
- You can configure the display of the Peak Trace using the Peak Trace feed by Live Trace and the Use smoothing for Peak Trace entry in the pop-up menu of the button assigned to the Peak Trace.
### Select the trace to feed the Peak Trace
If only one signal is selected for the FFT measurement in the MAT module, then the Peak Trace is feed with the signal currently displayed.
If both inputs are selected, then you can select the trace which should feed the Peak Trace from the pop-up menu of the button assigned to the Peak Trace.
In this case you can also select both inputs. If both inputs are selected, then the Peak Trace will display the value with the highest amplitude value.
### Use averaged Values for the Peak Trace
There are two ways how the Peak Trace can scan for the highest amplitude values:
- The Peak Trace scans the result of each calculation. Doing so, it will capture even short peaks. The trace will be higher than the live trace, because the live trace shows the averaged result of a number of measurements.
- The Peak Trace scans the live trace. Doing so, only averaged results are scanned and the peak trace will hold the maximum amplitude values of the live trace.
To use the averaged values of the live trace select the Peak Trace feed by Live Trace entry in the pop-up menu of the button related to the Peak Trace.
You can also select whether the Peak Trace scans the values prior to smoothing or after smoothing is performed.
### Reset Peak Trace
The Peak Trace holds the maximum values of the input signal(s), therefore you must reset it to start a new measurement.
To Reset the Peak Trace you can either use the shortcut Shift + R or the Reset Peak Trace entry in the pop-up menu of the button assigned to the Peak Trace.
### Use live trace's smoothing for the Peak Trace
You can select whether the peak trace scans the values of the live trace(s) prior to smoothing or after smoothing is performed.
Scanning prior to smoothing will record peaks which might get lost during the smoothing process.
You can use the Use Smoothing for Peaktrace entry in the pop-up menu of the button assigned to the peak trace.
## Selected Trace
The concept of the selected Trace selects a trace whose values are shown and can be edited.
You can select the trace using different ways:
- Select it from the sub menu Show Values of in the pop-up menu of the trace display.
- In the info area above the trace display click on the name of the trace to open the show values of menu.
- The setup menu in the information area contains the sub menu show values of to select the trace from.
- Click on the name of the trace above the offset setting in the right menu bar, or on the color indicator left to the offset setting in the right menu bar, to open the show values of selection menu.
- Click on the name of the trace, shown in the upper right area of the trace – display.
Hints:
SATlive uses the selected trace for the calculation of the live – add trace (see page 247), for the calculation of the perfect – addition trace (see page 247) and for the calculation of the delta – trace (see page 268).
This calculations are available only if a Quick – Trace is currently selected. See page 255 for details about Quick – Traces.
- You can use the shortcut T to toggle through the visible traces.
- The name of the selected Trace is shown in the info area and the settings related to the selected trace are assigned to it.
### The Info Area
The Info Area is located at the top of the trace display.
The following information and menus are available in the center of the Info Area:
- The top line shows the name of the measurement currently running. Click on the name with the left mouse button to open a menu to select the measurement from.
- The second line shows the name of the selected trace. Left of the name of the selected trace a color area indicates the color assigned to the selected trace. Click on the name or on the color area with the left mouse button to open the show values of selection to select the selected trace from.
- The third line shows the values of the selected trace (see page 244) at the cursor's current position.
SATlive shows the current settings of the selected trace in the right area of the Info Area. The global setting Phase Offset shows the currently applied shifting to the display of the phase trace. The fourth line at the right area contains the wavelength and half of its value calculated using the current cursor frequency and the settings of the setup → features section (temperature and units).
In the left area of the Info Area you can see the display of the frequency – range tool (see page 80). You can invoke the menu of the frequency – range tool (see page 81) by a click with the left mouse click on the arrow symbol at the upper left corner of the info – area. During Auto – Freeze (see page 98) this area shows the frequency.
If you click on the Info Area using the right mouse button, then the setup menu assigned to the selected trace shows up.
### Settings related to the selected trace
This menu is the pop-up menu assigned to the info area and can be accessed with a click onto the info area using the right mouse button.
- The top entry in this menu is just the name of the selected trace.
- The next line contains the Invert option, which mirrors the selected trace related to the zero dB line. This might be helpful if you want to adapt an EQ to the selected trace.
  If the selected trace is inverted then (INV) is shown right of the smoothing value in the info area.
- The next entry is the Smoothing sub menu. You can select the smoothing you want to apply to the selected trace. The smoothing sub menu is not available if the virtual EQ has been chosen for the selected trace.
- The next menu entry is the Set Trace Width sub menu. You can select the width of the display of the selected trace. The sub menu contains four fixed settings and the entry Same as live Trace, which links the trace's width of the selected trace to the width of the live trace.
- On the bottom of the menu you find the sub menu Show values of where you can choose another trace as the selected trace.
#### Addition of the selected Trace and the live Trace
There are two possibilities to add the live trace and the selected trace. Both traces are available only if
- The transfer-function measurement in the MAT module is selected.
- The selected trace is one of the eight quick traces. See page 255 for details.
The both traces are:
- Live Addition Trace: It shows the calculated complex sum trace of the selected trace and the live trace.
- Perfect addition trace: Calculate the sum of the amplitude values of both traces. This yields the amplitude-response which would be reached if both traces are perfectly aligned in time.
The upper picture shows the situation at the start of the time alignment.
The lower picture shows the same situation with adjusted delay settings.
- Red:	Perfect Add Trace
- Green:	Live Add Trace.
- Blue:	Mid/High
- Brown:	Subwoofer
Hints:
- The perfect addition trace is calculated using the live trace and the selected trace. Therefore the selected trace must not be the live trace in order to enable the perfect addition trace.
- To show or hide the addition traces or to set the width of the trace use the setting menu, which is the pop-up menu of the cursor details area in the right menu bar.
##### Menu Addition of Signals
This menu is the pop-up menu of the cursor details area in the right menu bar, and it is located in the pop-up menu of the trace display and in the upper menu area.
- Show Live-Add Trace display the addition of the live trace and the selected trace. You can also use the key L to toggle the visibility of the trace.
- Settings for Live-Add Trace opens the editor window of the live – addition trace. See page 249 for details.
- Use Offset in Calculation of the Live-Add Trace enable this option if the offset settings should affect the result of the addition.
- Copy Add-Trace to Quick-Trace stores the currently displayed Live-Add Trace into a Quick-Trace. Simply select the target Quick-Trace from the sub-menu.
- Show Perfect-Addition Trace display the amplitude response of the sum of the live trace and the selected trace, assuming their phase values will match perfectly at every frequency.
- Use Offset in Calculation of the Perfect-Addition Trace enables this option if the offset settings should affect the result of the addition for the perfect – addition trace.
- Lock Live – Add Trace stops the update of the live – add trace. A locked trace is indicated by a lock symbol left of its description in the upper right area of the trace display. You can toggle the lock state by clicking on the description using the left mouse – button also. You can toggle the visibility of a locked trace without clearing it.
- Trace Layout use this entry to open the trace – layout window (see page 252) for the trace you want to configure.
- The entries Suggest Delay, Search long time-range and Show last suggestion are related to the Delay Suggestion Tool, described on page 250.
##### Setting window for the Live-Add Trace
You can open the setup window for the Live-Add Trace either using the entry Settings for Live – Add Trace in the Menu Addition of Signals (see page 248) or using the shortcut shift + L on your keyboard.
The window contains virtual delay and polarity inversion, both settings are applied to the live trace prior to the calculation of the Live-Add Trace. The setting Show Trace shows or hides the Live-Add Trace. You can use the shortcut L for that, too.
You can change the virtual delay by clicking on the arrows on both sides of the delay-time display. The arrows on the right allow changing of the delay in steps of 0.021 ms, the arrows on the right in steps of one millisecond.
You need to check the Apply Delay setting to become the delay active.
Check the Invert setting if you want polarity inversion of the live trace to take place before the calculation of the Live-Add Trace.
###### The menu Presets
The menu Presets contains the results of the Delay-Suggestion Tool (see page 250). Click on a menu entry, to apply its settings to the virtual delay and to the virtual polarity inversion. Use the entry Direct (zero delay) to reset the virtual delay to zero.
###### The menu Tools
This menu allows you to save the Live-Add Trace (if currently shown) to one of the eight Quick-Traces with just a click on the target position wanted. It also contains the possibility to invoke the Delay-Suggestion Tool.
The Layout sub – menu allows you to invoke the Trace – Layout window for both traces, either the live – add trace or for the perfect – add trace. See page 252 for closer details of the trace – layout window.
## The Delay Suggestion Tool
### Functionality of the Delay Suggestion Tool
The Delay Suggestion Tool calculates the addition of both the live trace and the currently selected quick-trace using the phase relation between both traces.
This calculation is done for a certain range of time. For each step in time the amount of energy and the 'flatness' of the resulting trace is calculated.
The delay values which yield the highest energy and the most flat trace are shown in the result window.
### Parameter for the Delay Suggestion Tool
The Delay-Suggestion Tool needs the following parameter:
- Which quick-trace to use.
  This selection is done by making the desired quick-trace the selected trace. See the page 244 for details about selecting a trace.
- The frequency range to check.
  By default the frequency range is defined by the visible part of the display window. If an area is marked using the cursor-range tool (see page 79) the marked range will be used for the calculation. The current frequency range is shown right to the Delay-Suggestion Tool entry in the Addition of Signals menu (see page 248).
- The time range in which the tool searches for the optimum values.
  By default, the tools scans the range from -25ms to 25ms for the optimum values.
  If you check the Search long time range option in the Addition of Signals menu (see page 248), the tools scans from -15ms up to 150ms. As longer the time as longer it will take to get the result.
### The display of the results
The Delay-Suggestion Tool creates a window of its own to display the results. You can move the window or close it using the OK button. A previously closed window can be shown again using the Show last suggestion entry of the Addition of Signals menu (see page 248).
- The window shows the delay which creates the maximum of energy in the summed trace (upper area) or the most flat summed trace (middle area). The lower area shows the parameters used for this calculation.
- If the result is less than zero, then a value labeled @Delay > 0 is shown on the bottom of each area. This indicates the positive delay that would give the best result. The percentage shown right to the delay time can be used to estimate the quality of this alignment related to the best match.
- If INV is shown right to the delay, then you need to invert the polarity of on of the two signals used for the calculation.
Hints
- Take care if you use the result for maximum flatness. In this case there could be a strong loss of energy in order to flatten out the results.
- For alignment in time you should calculate the result only for the crossover area.
- The results of the Delay-Suggestion Tool are copied to the Preset menu of the setup window for the Live-Add Trace. See page 249 for details.
- The menu Tools of the setup window for the Live-Add Trace (see page 249) contains an entry to invoke the Delay-Suggestion Tool.
## The Trace-Layout
The trace-layout window enables you to customize the style of each trace displayed.
The trace-layout window is available in the MAT module and in the FFT module.
Use the menu entry Trace Layout to invoke the trace-layout window.
This entry is located at different locations, referring to different traces, so that you can configure each trace individually.
- In the pop-up menu related to trace display, in the sub-menu Layout. Assigned to the live trace.
- In the pop-up related to the layout-bar on the bottom. Also assigned to the live trace.
- In the pop-up of each quick-trace. Assigned to the quick-trace. For more information about quick-traces see page 255.
- Pop-up of the sum-trace, assigned to the sum-trace. You'll find details on the sum-trace at page 263.
- Pop-up for the selected trace, assigned to the selected trace. See page 244 for more information about the concept of the selected trace.
- Editor for the virtual Eq, assigned to the trace of the virtual eq. See page 233 for more details.
- Editor for the live-add trace. This entry is assigned to the Live-add trace. You'll find more information about the live-add trace starting on page 247.
### The trace layout window
The top of the window shows the name of the trace, which is modified using this window.
#### Fill to Center
This function fills the area between the trace and the center of the display (in the transfer-function measurement) or to the bottom of the display in the FFT measurement.
You can activate the fill for the phase- and for the amplitude-trace separately.
The fill is transparent, so intersections remain clearly visible.

Hints:
- The changes are applied immediately.
- Use the transparency setting in Setup → Display to modify the transparency of the filled area. See page 168 for information about this setup window.
#### Trace Width
Select the width of the trace in this area.
This setting is used to draw the line of the trace, but does not affect the filling (if any). The changes are applied immediately.

Red: Thin, Lime: Normal, Yellow: Thick and Green: Extra
#### Color
Click on this area to open the color-selection dialog for the trace. Any change is applied immediately.
#### Close
Click on this area to close the window.
## Quick Traces
The Quick Traces are designed to manage the result of a measurements, so that you can access the measurements quickly and easily.
The Quick Traces are available for the handling of the frequency-response traces and of the impulse-response traces.
Most of the tools are available for the frequency-response traces only.
With the project management enabled, you can mange measurements taken on different locations. See page 218 for details about projects.
### Tools for the Quick Traces (Frequency-response traces)
- You can average different Quick-Traces into a so called Sum Trace. See page 263 for more information about the Sum Trace.
- You can use a Quick-Trace to calculate the Live Add Trace or to calculate the Perfect Addition Trace. See page 248 for more details.
- Depending on the measurement currently selected, the virtual EQ (see page 233), the Peak Trace (see page 242), the Target Trace (see page 223) or the Sum Trace (see page 263) are managed in the Quick – Trace menu bar as well.
### Basic Operation
- Assign the live trace to a Quick-Trace or load an other trace into the Quick-Trace. See the page 258 for details about assignment.
- Control the visibility of the Quick-Trace using the keys 1..8. See page 260 for details about the display options for a Quick – Trace.
- Configure the display of the Quick-Trace using the pop-up menu of the Quick – Trace. You find a detailed description of the pop-up menu in the document starting on page 255.
Hint:
The trace-manager also allows you to work with saved traces. See page 207.
### The Pop-up Menu of each Quick-Trace
There is a pop-up menu assigned to each Quick-Trace.
You can invoke the pop-up menu by clicking on the small arrow right to the button assigned to the Quick-Trace.
- Assign and Assign without Filter or EQ are used for the assignment of the current trace to the Quick-Trace. See page 258 for details about the assignment.
- Invert flips the display of the Quick-Trace on the 0 dB line. This might be helpful if you want to set an equalizer to compensate the response of the Quick-Trace.
- Center Quick-Trace changes the offset in a way that the averaged value of the Quick-Trace centers at the 0 dB line. If you click again on this entry, than the previous offset value is restored. To move a Quick-Trace vertically select the Quick-Trace as the selected trace and move it using the offset setting in the right menu-area. See page 244 for details about how to work with a selected trace. You can use the Center all Quick-Traces entry in the pop-up menu of the Sum-Trace (see page 263) to change this setting for all Quick-Traces at once.
- Save use this function to store the Quick-Trace to a file.
  - The Quick-Trace is saved during assignment and it will reload when you restart SATlive. So you need to save a Quick-Trace if you want to store it using an other name or type of data.
  - The Save function opens a dialog-window where you can set the folder and the name to be used for saving.
  - In the selection type of file in the dialog-window you can select a text based file-type instead of the default SATlive-File-Format (*.SLD) to export the data in order to use it with other software.
- Clear Single Trace use this function to reset this Quick-Trace. To reset all eight Quick-Traces at once, use the Clear all Quick-Traces function in Quick-Trace menu bar.
- Display Coherence this option, which is available only in the transfer-function measurement, hides or shows the coherence of the Quick-Trace. It is available only if the option Global Setting of Show Coherence of Quick Traces is not selected in the Setup → Post Process window. Otherwise the visibility of the coherence is controlled globally for all Quick-Traces in the sum trace pop-up menu. See page 263 for details.
- Rename opens a small window where you can change the label of the Quick-Trace. See page 261 for details about the renaming procedure.
- Trace-Layout opens the Trace-Layout window for this particular quick-trace. See page 252 for more information about using the Trace-Layout window.
- Load Quick-Trace contains a sub-menu which contains different functions to import a Quick-Trace from a file or from a project. See page 258 for details.
#### Menu Entries in the Impulse-Response module
In the impulse-response module (see page 29) the content of the pop-up menu differs from the other modules.
It is possible to select the kind of display for this trace in the upper area. See page 36 for details about the different ways to display the impulse – response in SATlive.
The entry Display all data controls the data – display for this quick – trace. See page 39 for details.
The Choose as main trace function assigns the quick-trace to the main trace, so that you'll be able to apply the post-processing features to it.
Assigning voids the current main-trace.
### Assign a trace to a Quick-Trace
The most common way to assign a trace to a Quick-Trace is to assign the live trace to a Quick-Trace.
- Assign using a shortcut press and hold the shift key and then press the number of the Quick-Trace to which you want to assign the live trace. This will overwrite any trace which was assigned to this Quick-Trace before.
- Click on the button assigned to the Quick-Trace using the left mouse button. If a Quick-Trace is still assigned, then the click toggles the visibility of the Quick-Trace. Otherwise the live trace is assigned to the Quick-Trace. To overwrite a trace still assigned to the Quick-Trace press the shift key while you click with the left mouse button.
- Use the Assign entry in the pop-up menu of the button assigned to the Quick-Trace. This will assign the live trace to the Quick-Trace and a previously assigned trace will be overwritten.
- If you apply a virtual EQ (see page 233) or a weighting-filter (see page 85) to the current trace and you want to save it to the Quick-Trace without those changes, than use the Assign Without Filter or EQ entry in the pop-up menu.
  This option is not available in the impulse-response module.
You can assign further traces to a Quick-Trace:
- The Copy Sum Trace in a Quick-Trace function in the pop-up menu of the button assigned to the sum trace assigns the current sum trace to a Quick-Trace. A previously assigned trace will be overwritten.
- The Copy Add-Trace to Quick-Trace sub-menu can be found in the menu for the addition of signals (see page 248) and in the menu Tools in the setup window of the Live-Add Trace (see page 249).
- The next entries are located in the sub menu Load Quick Trace in the pop-up menu of the Quick-Trace.
  - Load from File load a trace from a file into the Quick-Trace.
  - Load from current Project opens a selection tree window, containing all speakers and traces of the current project. Select the trace you want to copy into the Quick-Trace and then press the OK button to assign the trace. Any trace previously assigned to this Quick-Trace will be deleted.
  - Load from other Project performs like the Load from current Project function, but opens a select-project window prior to showing the file-tree window.
    You have to select the project file first, after that the tree window is shown.
  - Import from CSV File: allows you to import a frequency response from a CSV style text file.

Hints:
- Depending on the selection of the option Show Edit Name Window on Assignment in the Setup → Post Process window the Rename function is activated when the trace is assigned to the Quick-Trace. See page 182 for details about the setup window.
- After the assignment the Quick-Trace shows in the display area.
### Show / hide a Quick-Trace
You can show or hide an assigned Quick-Trace either by clicking with the left mouse button on the button assigned to the Quick- Trace or by using the number key (1..8) assigned to the Quick-Trace.
In the MAT Module you can enable the display of the coherence trace.
If the option Global Setting of Show Coherence of Quick Traces is selected in the Setup → Post Process window then the display of the coherence is controlled globally for all Quick-Traces in the pop-up menu of the button related to the sum trace.
Otherwise you can control the display of the coherence trace in the pop-up menu related to the Quick-Trace.
You can change the color, the trace-width or the fill of the trace in the Trace-Layout window assigned to a particular Quick-Trace. See page 252 for more information about using the Trace-Layout window.
To change other settings, like offset or smoothing, choose the Quick-Trace as the selected trace and use the settings assigned to the selected trace. See page 244 for a closer description of the selected-trace feature.
### Rename a Quick-Trace
You can label a Quick Trace. The label is used as the hint assigned to the button and is used in the show value of selection menu and in the selection trees used in the project manager and for the load from current project and for the load from other project function.
To change the label of a Quick Trace use the entry Rename which is located in the pop-up menu of the button related to the Quick-Trace.
If you've selected the Show Edit Name Window on Assignment option in Setup → Post Process, then the Rename function is executed after you've assigned the live trace to a Quick-Trace.

You can click on the icon of the particular Quick-Trace in the menu bar with the right mouse-button to invoke the rename function.
If the option Append delay-time info to the label is selected then the delay used when the trace was recorded is shown right to the trace text label, both in the Quick-Trace menu and in the upper right area of the trace – display window.
The Rename function shows a window, where you can edit the label.
After you've edited the label, you can apply the changes using the button OK.
Depending on the current status, the button Cancel works in different ways:
- If you executed Rename from the pop-up menu of the button related to the Quick Trace, then Cancel closes the rename window without changing the label.
- If Rename is executed by default during the assignment, then Cancel will close the window and stop the assignment. In this case the live trace is not assigned to the Quick Trace.
### Save a Quick-Trace
All Quick-Traces are saved during the assignment.
If you want to save a Quick-Trace to a file with another file-name, you can use the Save entry in the pop-up menu of the button related to the particular Quick-Trace.
The Save function opens a file name selection dialog. Just click on OK after setting the file name to save the trace.
You can use the file type selection in the save dialog to select another type of file.
### Clear a Quick-Trace
There are different ways to clear one or more Quick-Trace(s).
- Use the Clear Single Trace entry in the pop-up menu of the button related to the Quick-Trace.
- Use the Clear all 8 Memories
  entry in the Quick-Trace menu-bar.
  If a project is currently selected, all the Quick-Traces related to the currently selected speaker will be cleared.
### The Sum Trace
SATlive enables you to add some Quick-Traces together, so that a new trace, the so called Sum Trace. The Sum Trace can be calculated using up to eight Quick-Traces. You can also just assign one Quick-Trace to the Sum Trace.
The Sum Trace is calculated using the currently shown Quick-Traces. So you can create a Sum Trace only if at least one Quick-Trace is shown.
The Sum Trace is controlled by the button and its pop-up menu.
#### The pop-up menu
The pop-up menu of the Sum Trace consists of two sections. The upper section controls the Sum Trace, the lower section, starting with the Hide Quick Traces after creating Sum entry, controls the global settings for the Quick-Traces. See page 255 for more information related to the Quick-Traces.
- Create Sum Trace calculates the Sum Trace using only the amplitude values. The traces are normalized prior to the calculation, thus removing the absolute level information. Therefore this calculation is suitable for averaging measurements taken at different locations.
- Complex Add calculates the Sum Trace using both amplitude and phase information. Therefore all interferences are calculated, which makes it the best choice when you need to add signals from different sources at one particular point.
- Flip Sum Trace mirrors the Sum Trace on the zero dB line. This eases the adaption of an EQ to the Sum Trace.
- Save save the Sum Trace into a file.
- Copy Sum Trace in a Quick-Trace copy the current Sum Trace into one of the eight Quick-Traces. This enables you to compare different Sum Traces. Select the Quick-Trace in which the Sum Trace should be copied from the entry's sub menu.
- Trace Layout invokes the Trace-Layout window, where you can customize the display of the Sum Trace. See page 252 for details.
- Hide Quick-Traces after creating Sum if you select this option then all Quick-Traces will be hidden when you create a sum trace, otherwise the visibility of the Quick-Traces will not change.
- Show single trace's coherence select this option if you want the coherence of each visible Quick-Trace to be displayed in the graphic. This setting is available only if the option Global Setting for Show Coherence of Quick Traces in Setup → Post Process is selected. Otherwise you can enable the display of the Quick-Trace's coherence of each individual Quick-Trace in its pop-up menu. See page 255 for details about the pop-up menu and page 182 for details about the setup window.
- Stop Generator on Memory Assignment select this option when you want the signal generator to stop after the live trace is assigned to a Quick-Trace.
- Center All Quick-Traces this option is checked if at least one Quick-Trace is currently centered. Otherwise this option is not activated. In this case the activation of this option shifts all Quick-Traces vertically so that their average amplitude-value centers on the 0 dB line. If you disable this option, the previous vertical position of each Quick-Trace is restored. You can center each Quick-Trace with the Center Single Trace option in the pop-up menu of the Quick-Trace, described on page 255.
- Project Manager opens the project manager's window, where you can add and rename speakers and traces. The project manager is available only if a project is currently selected. Use the lower window to edit the description of the project. This description is displayed in the file-selection window and in the project setup window as well. You can use the key – combination Ctr – P to invoke the project manager as well. Details about the project manger can be found on page 221.
- Show Labels show the names of the currently shown Quick Traces in the upper right of the trace display area. See page 255 for details about Quick- Traces.
- Export all visible Quick-Traces as CSV use this option if you want to export more than one quick-trace in one file in CSV format.
  The first lines contain the label of the Quick-Traces contained in this file, the next line contains date and time of the creation of the CSV file.
  The next line contains the header for the columns, followed by the values.
Hints:
- Depending on the measurement selected, not all entries might be available.
- You can select the Sum Trace as selected Trace and use the menu assigned to the selected trace to edit the Sum Trace.
- You can show/hide the Sum Trace using the button related to the Sum Trace or by using the shortcut 0 (Zero).
- The names of the Quick-Traces used to create the current Sum Trace are shown as the button's hint.
## The combfilter – pattern menu
This menu controls the combfilter – pattern tool.
You'll finde a close description of combfilters and of the combfilter – pattern tool starting on page 279 in this document.
You'll find the menu in the upper menu area. It shows only during the measurement of the transfer – function.
### Display Modes
The upper three entries active the combfilter – pattern (see page 281) in the display area.
- Combfilter Area:
  The pattern shows in the background of the amplitude – trace display. The range of addition is marked green and the range of cancellation is marked red.
- Combfilter Arrows:
  The points of maximum addition and maximum cancellation are marked with small arrows, where the arrows for the addition show on the top of the display area and the arrows for the cancellation show on the bottom of the display area.
- Combfilter Bar:
  This display uses the same colors as the Combfilter Area display, but it shows as a solid bar at the bottom of the display area.

Hint: You can use multiple displays at the same time.
### Calculation Control
The next entries in the menu affect the calculation of the combfilter – pattern (see page 281).
- Cursor is Addition activate this entry if you want to use the cursor position as the frequency of the maximum addition instead as the frequency of the maximum cancellation.
- Shift Right and Shift Left modify the shift factor (see page 282) used for the calculation of the combfilter – pattern.
- Reset Frequency Shift resets the shift factor (see page 282) to its default value of 1, which means that the cursor represents the cancellation (or addition) with the lowest frequency value.
- Reset Combfilter Display hides all combfilter – patterns (see page 281) resets the shift – factor (see page 282) to 1 and the deactivates the Cursor is Addition option.
## Delta – Trace
### Purpose
The delta-trace shows the difference in amplitude between the current measurement and the selected quick – trace.
You can use this trace to compare different speakers or configurations.
### Requirements
- Transfer-function measurement in MAT Module.
- A one quick – trace, that needs to be valid and currently visible.
- The quick – trace used as reference needs to be the selected trace. Use the Show Values of menu in the pop – up menu of the trace display to select the quick – trace. See page 244 for details about the selected trace.
  - If only one quick – trace is shown but not selected then SATlive selects this quick – trace for the selected trace when you to activate the delta – trace.
  - If more then one quick – trace is shown but none of them is selected, then SATlive selects the quick – trace with the lowest ID.
  - If no quick – trace is shown, then SATlive shows an error message.
- The data of the delta – trace are available only at frequencies where both the quick – trace and the current measurement contain valid data.
### Controls
The delta – trace is controlled by the entries of the menu assigned to the trace. This menu is located in the top – menu area. The delta – trace and the menu are available only during the measurement of the transfer – function.
- Show Delta Trace displays or hides the delta – trace.
- Flip Trace mirrors the delta – trace at the zero dB line. This allows easy adaption of an equalizer to the frequency response.
- Lock Delta Trace freezes the current delta – trace. As soon as the trace is locked, it is not updated anymore. You can show / hide the locked trace without loosing its content.
  A lock left to the label in the upper right of the trace – display area indicates a locked trace. You can toggle the lock state by clicking on the name using the left mouse button.
- Trace Layout opens the Layout – Window (see page 252) related to the delta – trace, where you can configure the display properties of the delta – trace.
- Copy Delta Trace to Quick Trace places a copy of the delta – trace in one of the eight quick – traces. Select the target quick – trace from the sub – menu.
- Save as allows you to store the delta – trace in a file or to export as a txt or csv type file. Use the file – type selection in the save – dialog to select the file type you want to use.
### Additional Information
The gain setting of both traces affects the result of the calculation of the delta – trace.
## Markers
Markers are vertical lines which you can use to mark a frequency or time of interest.
Markers are available in the impulse-response and in the frequency-response display.
A marker consists of a dashed line marking its position and a 'head' containing the information about its position.
The markers used in an impulse-response display can also used in the Delay-Matrix to calculate differences in time. See page 40 for more information about the Delay-Matrix.
### How to set a marker
Perform this steps to set a marker
- Place the cursor at the frequency or time you want to mark.
- On your keyboard, hold down the Alt key and press a number key, ranging from 1 to 6. The number pressed becomes the ID of the marker.
- If the option Edit Label on Assign in the Marker – Sub menu (see page 271) is activated, then the Name Editor for the Marker shows up, where you can type a label for this marker.
### How to show or hide a marker
There are two ways to show or hide a marker. You can show only markers that have been assigned.
- On your keyboard, hold down the CTRL key and press the ID (number) of the marker you want to show or hide.
- You can click on the label of a marker in the sub – menu Marker (see page 271) to show or to hide the marker.
### The Marker – Submenu
This sub menu is located in the pop-up menu assigned to the trace-display area.
See the page 76 for more information about the pop-up menu.
The marker – sub menu contains the label of all six markers available in SATlive and some tools to edit the markers or their labels. On page 270 you'll find more details related about how to use markers in SATlive.
- The top six entries contain the label and the position of the markers. The position is shown only if the marker is currently assigned. Click on a label to show or hide the marker. Hold down the Shift key on your keyboard and click on a label to invoke the Label Editor for this marker. See page for details about the Label Editor.
- Reset all Labels resets the labels assigned to all six markers, but not the position values, to the default labels, which are Marker 1 to Marker 6.
- Edit Label on Assign activate this setting if you want to show the Label Editor to open up each time you assign a marker.
- Clear all Markers resets the position-data of all six labels, but it does not change the labels assigned to the markers.
- Delay Matrix use this entry to invoke the Delay Matrix, where you can easily calculate the distance in time between two markers. This entry is enabled only in the impulse-response display. See page 40 for more information about the Delay Matrix.
- Show True – Zero Marker activate this option to mark the real time zero in the display of the impulse -response (see page 107 for details). The impulse – response relates to the current delay, so the real time zero is shifted by the value of the current delay.
### Labels of the Markers
You can assign a label to each marker. This label is shown at different locations.
- If you move the cursor over the head of the marker, the label is shown as long as the cursor remains on the head.
- The labels are listed in the Marker – sub menu (see the page 271 for details).
- The labels of the markers used in the impulse-response are also used in the Delay Matrix (for details of the Delay Matrix see page 40).

### How to edit the label of a marker
You can edit the label of a marker in the Label Editor. This small window contains an edit area where you can change the current label.
There are different ways to open this window:
- If you've activated the Edit Label on Assign option in the Marker – sub menu then the Label Editor will show each time you assign a position to a marker. See page 271 for a description of this menu.
- In the Maker – sub menu hold down the Shift key on your keyboard and click onto the marker whose label you want to change. This will open up the Label Editor for this trace. See page 271 for a description of the Marker – sub menu.
- In the Delay Matrix (see page 40), which is available in the impulse response display only, you can invoke the Label Editor by holding down the Shift key and clicking with mouse on the id of the marker.
## Configuration Handling
The configuration handling, which is currently available in the measurements Transfer – Function and Impulse – Response, both in the MAT module, allows you to store and recall up to ten different settings for the trace display.
### Information contained in the Configuration
- Kind of measurement
- Gain (Transfer-function only)
- Y-Range
- Line-gap (Transfer-function only)
- Averages
- Size of IR (Impulse-response only)
- Zoom of the lower IR display (Impulse – response only).
- Amplitude Threshold (Transfer-function only)
- Coherence Threshold (Transfer-function only)
- Noise Threshold (Transfer-function only)
- Position of the vertical split
### The Configuration menu
You can open the configuration in different ways:
- Select the Configuration entry in the layout sub-menu of the pop-up menu assigned to the display area.
- Select the Configuration entry in the pop-up menu assigned to the layout-edit section.
- As the pop-up menu of the right menu area.
- Use the key K on your keyboard.
- Click on the configuration menu – bar. See page 276 for details.
#### Menu entries
- The menu contains a list of ten entries, either showing the label and some of the values assigned, or in the case that no configuration has been assigned the message No configuration assigned.
  The icon on the left indicates the measurement assigned to this configuration.
  To recall a configuration, just click on the entry to load the settings.
  If you click on a No configuration assigned entry, SATlive will open the Assign configuration window.
- Assign configuration this entry opens the Assign – Configuration window, described on page 275. To assign the current measurement including its settings, use either this entry or click on a No configuration assigned entry.
- Clear all configurations deletes all the settings stored in the configurations.
- Show Configuration – Bar activate this function to display the configuration – bar (see page 276) in the upper menu area.
- Activate on selection recalls the selected configuration as soon as you select it in the configuration – bar. If this option is not activated, then you have to recall the selected configuration using the recall button in the menu – bar. See the page 276 for a closer look to the configuration menu – bar.
##### The Assign-Window
To assign the current measurement and its settings (see page 273 for a list of the settings handled by the configuration tool) to a configuration, click either on the Assign Configuration entry or on a No configuration assigned entry of the configuration menu.
This will open the Assign Configuration window.
Click on an entry in the Select Target area on the left to choose the location to store the settings to.
You can edit the label of the configuration selected in the Label area on the upper right. The label will show in the configuration menu.
To save the configuration click on the OK button, to close the window without saving the current setting click on Cancel.
Please note: Saving the current settings to a location which still contains settings will override the settings without asking for confirmation.
### The configuration menu – bar
If the option Show Configuration – Bar is enabled in the Configuration – Menu (see page 273) then the configuration menu – bar is available in the upper menu area.
This menu – bar is available only in the measurement of the impulse – response and of the transfer – measurement.
The combo – box on the left side lets you select one of the configurations available.
- The recall button activates the selected configuration.
  The recall button is enabled only if a valid configuration is currently selected.
  With the setting Activate on Selection enabled (see the description of the Configuration – Menu on page 273 for details) the configuration is recalled immediately after you select it in the combo box.
- The assign button assigns the current measurement and its settings to the selected configuration.
  A small window shows up, where you can edit the name used for the configuration.

Hints:
- The configuration – menu (see page 273) is assigned to this menu – bar, so you can access the menu with a simple mouse – click on the menu – bar (outside the combo – box).
- Use the configuration – menu (see page 273) if you want to assign the current measurement to an other configuration then the currently selected one and the Activate on Selection setting is currently enabled.
- Saving the current settings to a location which still contains settings will override the previous settings without asking for confirmation.
## Averages
### Basics
Averaging means that you take the results of different measurements of the same system and calculate an averaged value for the result.
Because external noise is not the same during all the measurements, its influence on the result is reduced by the averaging process. Averaging does not reduce effects related to the measurement, like clipping or resonances.
As higher the amount of averages as better is the suppression of random interference like external noise.
### Averaging in SATlive
SATlive supports averaging for all measurements. Except for the RTA (see page 122), which averages over a certain period of time, all measurements use the averaging of different counts of measurements.
#### Fixed number of averages
This setting allows the user to select the amount of measurements to be averaged for the result. The amount of averages ranges from 2 up to 64.
A higher amount of averages means better rejection of external interference, but takes more time.
#### Average all Values
This setting averages all measurements since the start or since the reset of the current measurement. The quality of the result increases when the amount of averages increases. This setting yields very stable results when you allow enough time for measurement, especial if you select the RMS Averaging mode (see page 278) in the transfer – function measurement.
Due to the large amount of averages, the display responds very slow to changes, especial after a longer time of measurement. Therefore you should restart the measurement each time you changed something in your signal – path.
#### Dynamic Averaging (Transfer – Function only)
The transfer – function measurement uses smooth - FFT calculation (see page 212), which causes very fast measurements at high frequencies, but long measurement times in the area of low frequencies.
Dynamic Averaging uses higher values for the high – frequency range as for the mid and low frequency – range, so that the quality improves in the mid/high range without extending the time needed for a full-frequency result.
There are three presets for the dynamic-averaging available in the pop – up menu of the trace – layout area (see page 149).
#### Algorithm used for averaging (Transfer – function only)
There are two different algorithms available for the calculation of the transfer – function.
- The default one, called complex averaging averages both values (real and complex part) of the complex transfer – function. This calculation delivers both, the phase – trace and the amplitude trace.
- The RMS averaging calculates the amplitude trace before the averaging takes places. Therefore the result does not contain information about the phase, but has even better rejection of external interference.
  The RMS averaging is indicated by the letters RMS in the value – edit field.
#### The setup – menu
The setup menu for the averages, whose content varies depending on the measurement selected, is available in the trace – layout area in the bottom menu area and as a sub – menu of the entry layout in the pop – up menu of the trace display.
# Part two: Using SATlive
## Combfilter
### What is a combfilter?
The combfilter is one of the basic problems you'll face when you try to optimize a sound system. A combfilter occurs when the same signal reaches the same point more then once, with a delay between the arrivals. If both signals have similar amplitude values, then a certain pattern containing cancellations and additions occurs.
The spacing between the dips is constant in time and defined by the difference in time between the arrivals of the signals.
Combfilter created using 250 us delay
This pattern is called a combfilter.

### Which parameters affect a combfilter?
Mainly there are two parameters which affect the combfilter.
The first is the difference in time between the two signals.
Violet: 125us delay, yellow: 250us delay
The distance between two dips is given by 1 /T, where T is the difference in time.
The first cancellation occurs after half of the distance, which yields
f1 = 0.5 / T.
The second factor is the difference in level.
Violet: Same level, yellow: 3dB, green: 6dB,
brown: 9dB, red: 12dB difference in level
If both levels share the same level, then the addition and the cancellation will be perfect, which means that there is a maximum addition of 6 dB and a total cancellation. With an increase of the difference in level the magnitudes of both, addition and cancellation reduce.
### Dealing with Combfilters
Because a combfilter is an effect caused by time-difference you can not correct it in the frequency – domain using an equalizer or controller. Furthermore, the pattern of a combfilter changes for every location, because the difference in time will not stay exactly the same.
Therefore the only approach possible is to try to minimize combfiltering.
- Avoid the arrival of a signal from more than one source where ever possible. Try to let only one signal reach a listener's position.
  Try to aim your speakers properly, so that each speaker covers it's own area.
  If you could not avoid overlapping.
- Avoid or reduce reflections: reflections, especial the early ones, are similar to your source signal, both in content and level. So avoid and reduce any, especial early, reflections. Avoid putting speakers, especially those reproducing high and mid-frequency content near to reflecting surfaces like walls, ceilings or closed windows.
  If you can not change the position, try to damp the reflections by treating the surfaces.
- Sync both signals in time. If you could not avoid overlapping, you should try to archive a synchronous arrival of the signals.
In order to locate the reason for a combfilter it is very helpful to know the difference in time and the difference in distance of the both pathes from the source to the listener.
### The Combfilter – Pattern Tool in SATlive
The starting point when you try to locate the reason for a combfilter is to find out the difference in time that caused the combfilter. This will lead to physical distance, calculated from the speed of sound, temperature and the difference in time.
Knowing this distance, you can start the search for the source of the second signal. In most cases this would be a surface generating a strong reflection.
#### How to find the difference in time
Based on the basics mentioned above, it is possible to calculate the difference in time if you know the frequency of the first cancellation.
But not any cancellation is caused by a combfilter, and not always all cancellations are clearly visible. So the best way to locate a combfilter is to compare the amplitude trace with the pattern of a perfect combfilter.
SATlive can show this pattern in order to help you to locate the combfilter.
##### The combfilter pattern tool
The combfilter pattern tool calculates a perfect combfilter based on the frequency of the cursor's position and indicates the position of the additions and cancellations.
Combfilter pattern tuned to the frequency response
There are three different ways of displaying this. Please see the description of the menu (see page 266) for details about the different ways of displaying the areas of addition and cancellation.
The difference in time and the physical distance calculated from it is shown above the trace display.
You can change both the temperature and the units used for the display and the temperature in Setup → Features (see page 177).

By comparing the amplitude trace to the combfilter pattern, you can decide whether the dip is caused by a combfilter or by another problem.
The pattern does not fit to the amplitude trace, so the dip is not caused by a combfilter.

##### Using the Shift – Factor
It is possible that you put the cursor on an other cancellation as the one with the lowest frequency. In this case, the pattern will not match, too. The spacing of the cancellations will be to wide for the amplitude trace.
The cursor is not on the first cancellation, so the pattern does not match the trace.
Note that there is a cancellation where the pattern indicates one. Compare to previous image.
You can shift the position of the cancellation to solve this problem.
When you shift, the calculation of the combfilter pattern is performed assuming that the cursor is located on an other cancellation than on the cancellation with the lowest frequency.
The number of cancellation starts with one at the lowest frequency and increase towards higher frequencies. So the standard shift factor is one, but you can increase it.
To increase the shift factor, either use the key B on your keyboard or the entry Shift Right in the menu (see page 266).
Shift factor set to two. Now the pattern fits to the amplitude response
If you've increased the shift factor then you can decrease it using the key combination shift – B on your keyboard or the entry Shift Left in the menu (see page 266).
Use the entry Reset Shift Factor in the menu (see page 266) to reset the shift factor to one. You can also use the key O (letter) on your keyboard to reset the shift factor.

As long as the shift – factor is higher than 1, the shift – factor is displayed in the info – display in addition to the values of the combfilter – pattern.

Using the option Cursor on Addition in the menu (see page 266) you can put the cursor on the frequency with the maximum addition instead on the frequency of cancellation, but in most cases the cancellation is easier to detect as the maximum addition. Furthermore the width of the area of addition is wider than the area of cancellation and the cancellation often shows a low correlation value.
## Direct Reference
### Basics
Over more than a decade the Dual – FFT is used for Audio measurements, especial for live sound reinforcement.
The Dual – FFT needs two signals for the calculation. One signal is the measurement signal, which in most cases is picked up by a microphone.
The other input-signal needed is the so called reference signal, which is fed into the system under test. Using those two signals enables the Dual – FFT to perform with a lot of different signals.
In most situation the audio signal used for measurement is generated by the measurement software itself.
In most cases a simple cable loop is used to feed this signal direct into the reference input.
The Direct-Reference feature in SATlive uses the internal output of the software to feed it into the reference signal. This avoids the loop-back cable, which frees one input and allows SATlive to operate with audio interfaces which feature just one input (or with an interface that delivers the microphone signal on both inputs).
The internal link has some tradeoffs:
- There is a delay between the two signals, which is affected by many factors. On some audio interfaces this delay might vary on every start of SATlive.
- The reference signal lacks the influence of the D/A and A/D conversion performed on the measurement signal. Therefore the amplitude-response of a direct connection between the output and the measurement input is not flat anymore, neither in phase nor in amplitude.
- The measurement is limited to the signals generated by SATlive.
The software features a build in delay to compensate for the difference in time and a possibility to flatten the frequency-response.
### Using Direct Reference
#### Select the Direct-Reference Input
- Go to Setup → I/O devices
- Select the ASIO driver type in the upper left area (see page 154)
- Select the ASIO device you want to use in the area below
- Click on Edit ASIO Settings (see page 158)
- In the ASIO setting window, either choose an existing ASIO Assignment and press EDIT or press NEW to create a new assignment. The first Assignment in the list (by default labeled Default) is the assignment that is active after each start of the software.
- In the Edit window select DIRECT-REFERENCE as the Audio Input Ref,
  and the input where your measurement signal will arrive as Audio Input Mea.
- Close the window using the OK button.
- Close the ASIO setting window using the Apply button.
- Save your settings using the SAVE button in the menu bar on the top.
#### Adjust the Direct-Reference settings
In order to compensate the delay and the difference in frequency response, perform the steps listed below.
The Direct Reference input assignment must be selected.
- Setup a simple 'loop' measurement, by just connecting the output with the measurement input. Make sure that the phantom-power is not enabled.
- Start a transfer-function measurement with pink noise. (see page 103)
- Either use the delay-finder (see page 111) or the automatic delay (see page 119) to set a delay for the display.
- Now you should see a full, nearly flat phase and amplitude response.
- If the trace does not look good, you need to reset the Direct-Reference delay in the delay-finder first. Just open the delay-finder (see page 111) and click on RESET.
  After that, try again to set the delay.
- Navigate to Tools → Direct-Reference and click on Auto set Direct-Reference
- Now you're ready to go.
Hints
- Some ASIO driver, especial ASIO converters for internal soundcards, might have varying latencies. Therefore your delay-setting might be correct only until the driver restarts.
- If you want to use an internal audio-device, which has no ASIO driver available, you might check out ASIO4all (http://www.asio4all.de).
- You'll find a deeper description of the direct-reference menu on page 126
## Fixing Problems
### Basics
If you're facing problems with SATlive, you should check these things first
- Is your audio-device properly connected and powered?
- Are you using the most current drivers for your audio-device?
- Are you using the most current version of SATlive?
  Use the update – check function (see page 291) or look at the web site http://www.take-sat.de/english/download.php for the most current version.
  See http://www.take-sat.de/english/versioninfo.php for more details about the changes between the different versions.
- If the audio-device does not work with ASIO but with the other audio-driver types (see page 154) make sure that no other software uses the audio-device at the same time.
- If none of the above solves the problem, you can reset the current settings to their default values (see page 288).
- If the problem is related to a certain kind of audio driver, you can use the Enable/Disable Driver window (see page 289 for details) to disable the problematic audio drivers.
### Resetting the settings to default
A lot of problems will be fixed if you reset the current settings to their default values.
Resetting the values clears all of your settings to the default settings.
To access the reset dialog, keep the F10 key pressed when you start SATlive.
If SATlive has crashed during the last run, then the dialog[3] is shown automatically.
[3] The images are taken on a pc with German language settings. On a pc with English language settings the labels on the buttons may vary (Ja = Yes, Nein = No, Abbrechen = Cancel).

If you choose to reset the settings, a second security question has to be confirmed before the settings, both for the audio-IO and for the software itself is renamed. After that SATlive starts and creates a new setting files with default values.
### Where are the setting files located?
SATlive creates a directory where it stores the setting-files and other files, like the quick-traces. You can access this directory using the shortcut Ctrl – Alt – F.
The directory stays open after you've closed the main program.
Because SATlive updates the files on its shutdown, changes in this directory make sense only when SATlive is not running.
Any change in this directory might affect the stability of SATlive.
### Enable/Disable Audio Driver
SATlive supports three concepts of audio-device interfacing. You can use the setup → I/O device section (see page 154 for details) to select the concept ('kind of driver') you want to use. In order to offer only driver concepts which will work with your current hardware, SATlive checks the functionality of all three concepts during start-up.
Under some circumstances SATlive may freeze during the check due to erratic behavior of the audio-interface drivers.
To avoid this problem, you can disable a driver concept in the Enable/Disable Audio Driver window.
#### How to open the window
There are three different ways to access the Enable/Disable Audio Driver window:
- In Setup->I/O device (see page 154) click on the button Enable/Disable Audio Driver.
- Press and hold down the F10 key during the start of SATlive. This will open the Reset Settings (see page 288) window and after you've closed that window by clicking on Cancel, the Enable/Disable Audio Driver window shows up.
- If SATlive fails to start or was not closed properly, the Reset Settings (see page 288) window will show up on the next start of the software. After you've closed that window by clicking on Cancel, the Enable/Disable Audio Driver window shows up.
#### The settings
To disable a certain audio-driver concept, simply uncheck the box left to the concept's name.
To enable an audio-driver concept, just check the box left to the name of the concept.
To check or uncheck simply click on the box with the left mouse button.
Click on OK to apply the changes or click on Cancel to discard the changes.
## The menu Help
You can find the menu Help in the upper menu bar.
- Connections: This entry shows you how to hook up your external devices. You can find this information in this document starting on page 23.
- About SATlive: This function shows a small window containing information about the version of SATlive you're currently using.
- Help: Opens the windows help – file assigned to SATlive. You can use the F1 key also to invoke the help – file.
- Register: Choose the registration task to perform from the sub – menu.
  This entry is not available if a valid dongle is plugged in. See page 15 for information about using a dongle.
  - Full Version: Order a full version key and perform the registration process. See page 193 for details about the steps of a registration.
  - Demo Version: Request and install a demo – key. See page 14 for details.
- Show all Errors: Open the error – report window. See page 192 for details.
- Search for Updates: Checks if a newer version of SATlive is available for download. See page 291 for details about the update – check function.
## The update – check function
Use this feature to check if you're running the most current version of SATlive.
### How to check for Updates:
- If you've set an interval for the update check, then SATlive will check for an update automatically during the start of the program, when the interval is reached.
  You can set the interval in the Setup → Features window (see page 177 for details).
- The menu Help in the upper menu area contains the entry Search for Updates, which performs an update check.
- An update check is performed also when you invoke the version information window, which can be done using the key combination Ctrl + Alt + V on your keyboard.
  In the case of an update available, the information update available is shown in the display.
### Details about the Update – Process
During the update check SATlive loads a small text file from the SATlive server.
This file contains the ids of the most current versions available for each language.
Now SATlive compares it's version with the version information in the file.
If there is a new version, then SATlive will show a small window, indicating that a new version is available.
If you close the window by a click on the YES button then your internet browser will start and the SATlive download page is opened in the browser.
SATlive will not send any information to the internet nor does SATlive perform any download except of the version – information file.
So you must trigger the download and run the installer by your self.
# Appendix
## Thanks to
- Bill Waslow (www.libinst.com) for sharing his knowledge and experience.
- Uli Müller (www.audiotester.de).
- The beta testers Stefano Bettinsoli, Tamas Tako, Lukacs Sudar, Steffen Romeiß, Wolfgang Rathke, Marco Habeck and Maciej Blachnio.
- Jan Goyvaerts creates HelpScribble (http://www.helpscribble.com), the software which creates the help file.
- Jordan Russel (http://www.jrsoftware.org) for his Toolbar-Component and the Inno Setup installer software.
- Martin Fay (www.martinfay.com) creates the openASIO DLL which was used in previeous versions of SATlive.
- Frederic Vanmol (www.axiworld.be) who made a Delphi Interface to access ASIO drivers, which enables SATlive to use ASIO drivers.
- David Barton (www.cityinthesky.co.uk) builds the cryptographic software used in SATlive.
- SATlive uses the graphics32 (www.graphics32.org) library.
- All SATlive users who send suggestions, report errors and shared ideas.
- To my wife, allowing me to spent so much time on the pc.
- To the LIVING-WATER gospel choir (www.living-water.de) for all the challenges.
  I love those old church buildings here in Germany.
- Last but not least to my lord and savior Jesus Christ.
## Release information
- 07-01-2015 (1-60-28)
  - Fix: F5 Trace not working in MAT → Transfer – function.
  - Fix: Shadow settings not correctly restored.
  - Change: Mic-correction now remembers last state.
  - New: Added vertical offset for amplitude – display (MAT → Transfer – function).
  - New: Added noise – correction selection for Schroeder – Plot (see page 38).
  - New: Correlation values for room – acoustic values (see page 45)
  - New: RT60(10) added (see page 49)
  - New: Shadow of amplitude – trace drawn to target – amplitude (if visible) instead to zero – line.
- 03-09-2015 (1-60-26)
  - Fix: Crash when changing sweep duration in the signal – generator.
  - Change: Increased sine wave buffer size for better quality.
- 03-02-2015 (1-60-24)
  - Fix: Freeze in XP with DirectSound ©
  - Fix: Amplitude value too low in RTA with dB reference enabled.
  - Fix: Auto-freeze not working correctly with dB reference enabled.
  - Fix: Graphical issue in IR → Oscilloscope
- 02-06-2015 (1-60-22)
  - Fix: Redraw project – setup fails
  - Fix: Cursor – keys not working in project – setup
  - New: Sum – Trace supported by the Target – Amplitude (see Page 82)
- 01-31-2015 (1-60-20)
  - Fix: Show mic-correction not working
  - Fix: Error drawing quick – traces.
  - Fix: Signal – generator crash with sweep
  - Fix: RTA getting slow with digital – zero input
  - New: FFT and Spectro calculation time setting added (see page 175)
  - New: Configuration for Auto – Delay added (see page 175)
  - New: Last – Good Trace added (see page 105)
  - New: Short – cut J opens the pop – up menu of the display area (see page 76)
  - New: Shift and Ctrl keys supported for faster change of the delay (see page 139)
  - New: Display follows Peak entry added to the Auto – Freeze section (see page 98)
  - New: Lock – Symbol indicates current state during Auto – Freeze operation
  - New: Wavelength info added to the info area and to the cursor info area
- 12-24-2014 (1-60-18)
  - Fix: Direct Sound ® drivers not working correctly
  - Fix: FFT display in MAT module jumping under some circumstances
  - Add: Low – Cut and High – Cut for the calculation of the impulse – response, both for display and for the delay – finder (see page 114)
  - Add: Copy – Trace in the delay – finder (see page 115)
- 11-05-2014 (1-60-16)
  - Fix: MLS working only with 256kByte
  - Fix: Right menu bar not showing correctly
- 10-23-2014 (1-60-14)
  - Added Update – Check function (see page 291)
  - Renewed the certificate to avoid security error – messages
- 10-10-2014 (1-60-12)
  - Support for font magnification (large display on retina displays)
  - Some fixes
- 29-09-2014 (1-60-10)
  - Added the combfilter – pattern tool (see page 281)
  - Added the delta – trace (see page 268)
  - More possibilities for the target – amplitude tool (see page 82)
  - Changed the frequency – range tool (79)
  - Fix: Access violation with certain window – settings
  - Fix: Reset Menu Positions might affect license
  - Selection of Quick – traces by a mouse – click on the name in the display area.
- 08-04-2014 (1-60-08)
  - Added the True – Zero Marker (see page 271)
  - Toggle time value in the impulse -response measurement in MAT using the left mouse button over the cursor value display.
  - Fix: ASIO data – types
  - Fix: Access violation when exiting transfer – measurement
  - Fix: Access violation when changing to direct – reference
  - Fix: ASIO start time – out to short
- 06-19-2014(1-60-07)
  - Added configuration menu – bar (see page 276)
  - Re-enabled the R1 data export for the virtual Equalizer (see page 238)
  - Add dynamic averaging for the transfer – function (see page 278)
  - Add inverted sweep (high to low), see page 200 for details.
- 12-03-2013(1-50-20)
  - Added Direct Reference(see page 284)
  - Re-Introduced the Flip-Phase symbol in the phase menu-layout
  - Fixed a samplerate issue with mic-correction
  - Selected trace now shows in front of all other traces
  - Reduced start-up time.
  - Removed RTA-10 and RTA-15 measurements.
  - Changed the layout of setup → display (see page 168).
  - Fixed some bugs.
- 15-12-2012(1-50-18)
  - Version information (Ctrl + Alt + V) now displays win8 correctly.
  - ASIO Device setup direct access in the pop-up menu related to the signal-generator area (see page 197).
  - Added Correlation Display Off option to the display menu for the correlation trace.
  - Added the Reset Settings window. See page 288.
  - Added the Enable/Disable Driver window. See page 289.
  - Fix: Changes in correlation display setting does not affect quick-trace display.
- 27-11-2012 (1-50-14)
  - New dongle software, now working with win8.
- 16-11-2012 (1-50-10)
  - Added Choose as main-trace to quick-trace pop-up (see page 255)
- 23-10-2012 (1-50-8)
  - New: Reset Settings using F10 key
  - New: Phase-trace shifted by the low-frequency-delay finder
  - New: Signed installer
  - Bugfix: FFT trace not visible in combined view (under some circumstances)
  - Bugfix: Windows-sounds playing when you hit a key
  - Bugfix: wrong wrap-around of the shifted phase trace.
- 30-04-2012 (1-50-6)
  - New: Support for EMX7150 calibration data
  - Bugfix: ASIO problem with some motu devices
  - Bugfix: Some fixes in the project-mangement window
  - Bugfix: Mic-correction not working with 44.1 kSamples / sec.
  - Bugfix: Dongle failed if more then one dongle plugged in.
- 09-03-2012 (1-50-3)
  - Bugfix: MAT-user name set to DEMO if you use a dongle
  - Crash in FFT module if you move the mouse like crazzy
  - Crash in MAT module if you move mouse to an undefined area of the selected trace (only if a Quicktrace is selected)
- 29-02-2012 (1-50-2)
  - Bugfix: Time scale not shown in IR-module
- 27-02-2012 (1-50-1)
  - Added Low-frequency Delay-Finder (page 118).
  - Added Bandpass Pink-Noise (page 201)
  - Mic-Correction expanded to use AUDIX TM-1 calibration data
  - Display of the Mic-correction's frequency response.
  - Added most recently used delay-values to pop-up (page 140).
  - Added most recently used frequency-range values (page 79)
  - Fix: Quicktime labels in IR-FFT not updated.
  - Fix: Storing a Quicktrace changes assign to project.
  - Fix: License-Error when more then one dongle is connected.
  - A lot of minor internal fixes and changes.
- 01-12-2012 (1-40-32) Added center Quick-Trace, added invert Quick-Trace, improved Delay-matrix (page 40), Delay- Presets (page 117) now contain a label, editor-window for the target-trace improved (page 223). A lot of fixes.
- 10-22-2011 (1-40-30) Added the IR Zoom Value option, improved the Quick Trace possibilities in the MAT impulse-response measurement. A lot of fixes.
- 09-01-2011 (1-40-28) Added the Lock Menu Positions option (see page 191) and internal bug-fixes.
- 08-24-2011 (1-40-26) Added the setting window for the Live-Add Trace (Page 249), internal improvements.
- 07-23-2011 (1-40-24) Fixed two bugs and add the possibility to set a latched cursor using the mouse. See page 79 for details.
- 07-13-2011 (1-40-22) Added Delay Suggestion Tool (see page 250), added transparent overlay for indication of the range selected, added shortcut Ctrl – D for adjust delay function. You can select the different measurements from the menu bar in MAT-Module now. Some fixes.
- 04-29-2011 Some bug fixes
- 04-19-2011 Decimal Places in room-acoustic window added, stepping of trace-width setting changed, one bug-fix.
- 04-10-2011 Allow Jitter option, two bug fixes.
- 03-23-2011 Auto-Delay, Move trace using the mouse, coherence handle, double-click on trace-display and gain-display.
- 02-06-2011 Added memory trace to the room-acoustic calculation.
- 01-15-2011 Added information for Use Reference Time as new Delay in the pop-up menu of the delay-time display section on page 140.
- 07-01-2011 Added information related to the version 1.40 and removed typos. Added/changed referring page numbers.
- 12-01-2010 Added information about the info section of the project management.
- 09-13-2010 Added changes related to the version 1.33.1.19 (virtual X-over, shelving-filters, signal-addition menu, pop-up signal-generator, pop-up delay-time display), fixed some typos and layout issues.