Electrical Certificate of Compliance & Electrical Safety Certificate

Reference/Certificate ID No.:

This form has been designed to be used by licensed electrical workers to certify that installations or Part installations under Part 1 or Part 2 of AS/NZS 3000 are safe to be connected to the specified system of electrical supply.

| Location Details: |  |
| --- | --- |
| Contact Details: (Name and address) |  |

| Name of Electrical worker: |  | Registration/Practising licence number: |  |
| --- | --- | --- | --- |

| Phone & email: |  |
| --- | --- |
| Name and registration number of person(s) supervised: |  |
| Certificate of Compliance Type of work: Addition Alteration New work The prescribed electrical work is: Low risk General High-risk (Specify): Means of compliance: Part 1 of AS/NZS 3000 Part 2 of AS/NZS 3000 Additional Standards or electrical code of practice were required: No Yes (specify): Date or range of dates that prescribed electrical work undertaken: |

Contains fittings that are safe to connect to a power supply?		Yes		No

Specify type of supply system:

The installation has an earthing system that is correctly rated (where applicable)		Yes		No

Parts of the installation to which this certificate relates that are safe to connect to a power supply?

All    Parts (specify)

The work relies on manufacturers instructions:				Yes		No

If yes – identify the instruction manual including name, date and version. Also attach a copy of manufacturer’s instructions to this certificate.

(Or provide reference to readily accessible electronic format, eg Internet link.)

The work has been done in accordance with a certified design: 		Yes	 	No

If yes – identify the certified design including name, date and version. Also attach a copy of the certified design to this certificate.

(Or provide reference to readily accessible electronic format, eg Internet link.)

The work relies on a Supplier Declaration of Conformity (SDoC):		Yes	 	No

If yes - identify the SDoC including name, date and version OR EESS registration. Also attach a copy of the SDoC to this certificate.

(Or provide reference to readily accessible electronic format, eg Internet link.)

The installation has been satisfactorily tested in accordance with the Electricity (Safety) Regulations 2010	No	Yes

By signing this document I certify that the completed prescribed electrical work to which this Certificate of Compliance applies has been done lawfully and safely, and the information in the certificate is correct.

Certifier’s signature: 	Date:

| Electrical Safety Certificate By signing this document I certify that the installation, or part of the installation, to which this Electrical Safety Certificate applies is connected to a power supply and is safe to use. |
| --- |
| Certifier’s name: |  |  | Registration/Practising licence number: |  |
| Certifier’s signature: |  |  | Certificate Issue Date: |  | Connection Date: |  |

CUSTOMER COPY – THIS IS AN IMPORTANT DOCUMENT AND SHOULD BE RETAINED FOR A MINIMUM OF 7 YEARS

This Electrical Safety Certificate also confirms that the electrical work complies with the building code for the purposes of Section 19(1)(e) of the Building Act 2004.

# Text boxes

Description of Work:

| Test Results (provide values) |
| --- |
| Polarity (Independent earth): |  |
| Insulation resistance: | Ohms |
| Earth Continuity: | Ohms |
| Bonding: | Ohms |
| Fault Loop impedance | Ohms |
| Other (specify): |  |

Identify:

Link:

Identify:

Link:

Identify:

Link: