## Calc Check-Result
Description of LibreCalc Check Failure
S.No | Part name |  | Address | Description | Component | Location | Issue | Root cause | Tech ID | Action Taken
1 | Part 1 | ABC | IX6.06 | Sensor 1 | PLC | FAC | No signal | Reverse connection with IX6.07 | F | Connected correctly
2 |  | ABC | IX6.07 | Sensor 2 | PLC | FAC | No signal | Reverse connection with IX6.06 | F | Connected correctly
1 | Part 2 | PPPP-A |  | Sensor 3 | PLD | Lan 1 | Abnormal sound | Wiring Choosed wrong port | c | Connected correctly
2 |  | PPPP-B | IX13.06 | Sensor 4 | Reed Switch | Lan 1-Stk 2 | No signal | Loose connection | c | Connected correctly
1 | Part 3 | CTC-B | IX300.03 | Sensor 5 | Reed Switch | 201 | No signal | Signal Swape | H | Connected correctly
2 |  | CTC-B | IX300.04 | Sensor 6 | Reed Switch | 201 | No signal | Signal Swape | H | Connected correctly
3 |  | CTC-B | IX301.04 | Sensor 7 | Reed Switch | 501 | No signal | Signal Swape | H | Connected correctly
4 |  | CTC-B | IX301.05 | Sensor 8 | Reed Switch | 501 | No signal | Signal Swape | H | Connected correctly
5 |  | CTC-B | IX309.05 | Sensor 9 | 48VDC thermal PSU | 401 | No signal | Signal Swape | H | Connected correctly
6 |  | CTC-C | IX306.04 | Sensor 10 | RCM | 501 | No signal | Signal Swape with 502 | H | Connected correctly
7 |  | CTC-C | IX313.03 | Sensor 11 | Reed Switch | 402 | No signal | Signal Swape | H | Connected correctly
8 |  | CTC-C | IX318.04 | Sensor 12 | RCM | 502 | No signal | Signal Swape with 501 | H | Connected correctly
|  | S.No | Part | Total check Qty | Failure Qty |  | Percentage | Failure Percentage
|  | 1 | Column 1 | 286 | 2 |  | 99.3% | 0.6993%
|  | 2 | Column 2 | 81 | 2 |  | 97.53% | 2.469%
|  | 3 | Column 3 | 355 | 0 |  | 100% | 0%
|  | 4 | Column 4 | 291 | 8 |  | 97.25% | 2.749%
|  | Overall |  | 1013 | 12 |  | 98.82% | 1.185%
|  | S.No | Type of error | Qty
|  | 1 | Human Error for Electrical | 12
|  | 2 | Software Error | 0
|  | 3 | Mechanical error | 0
|  | 4 | Material problem | 0 |  | `
NA Items
S.No |  | Part | Address | Description
1 |  | IOLP | IX6.00 | Main air pressure switch
2 |  | PNB | %IX6.02 | L1 Pick Auto - Pitch head cyl up Rs
3 |  |  | %IX6.05 | L1 Pick Auto - Pitch head cyl Down Rs
4 |  |  | %IX14.02 | L2 Pick Auto - Pitch head cyl up Rs
5 |  |  | %IX14.05 | L2 Pick Auto - Pitch head cyl Dwn Rs
6 |  |  | %IX22.02 | L3 Pick Auto - Pitch head cyl up Rs
7 |  |  | %IX22.05 | L3 Pick Auto - Pitch head cyl Dwn Rs
8 |  |  | %IX30.02 | L4 Pick Auto - Pitch head cyl up Rs
9 |  |  | %IX30.05 | L4 Pick Auto - Pitch head cyl Dwn Rs
10 |  |  | %IX38.02 | L5 Pick Auto - Pitch head cyl up Rs
11 |  |  | %IX38.05 | L5 Pick Auto - Pitch head cyl Dwn Rs
12 |  |  | %QX505.00 | L1 Pick Auto - Pitch head cyl up / Down SV
13 |  |  | %QX505.01 | L1 Pick Auto - Pitch head Vaccum Lock SV
14 |  |  | %QX505.02 | L1 Pick Auto - Pitch head Vaccum on SV
15 |  |  | %QX505.03 | L1 Pick Auto - Pitch head Vaccum purge on SV
16 |  |  | %QX511.00 | L2 Pick Auto - Pitch head cyl up / Down SV
17 |  |  | %QX511.01 | L2 Pick Auto - Pitch head Vaccum Lock SV
18 |  |  | %QX511.02 | L2 Pick Auto - Pitch head Vaccum on SV
19 |  |  | %QX511.03 | L2 Pick Auto - Pitch head Vaccum purge on SV
20 |  |  | %QX517.00 | L3 Pick Auto - Pitch head cyl up / Down SV
21 |  |  | %QX517.01 | L3 Pick Auto - Pitch head Vaccum Lock SV
22 |  |  | %QX517.02 | L3 Pick Auto - Pitch head Vaccum on SV
23 |  |  | %QX517.03 | L3 Pick Auto - Pitch head Vaccum purge on SV
24 |  |  | %QX523.00 | L4 Pick Auto - Pitch head cyl up / Down SV
25 |  |  | %QX523.01 | L4 Pick Auto - Pitch head Vaccum Lock SV
26 |  |  | %QX523.02 | L4 Pick Auto - Pitch head Vaccum on SV
27 |  |  | %QX523.03 | L4 Pick Auto - Pitch head Vaccum purge on SV
28 |  |  | %QX529.00 | L5 Pick Auto - Pitch head Vaccum Lock SV
29 |  |  | %QX529.01 | L5 Pick Auto - Pitch head Vaccum on SV
30 |  |  | %QX529.02 | L5 Pick Auto - Pitch head Vaccum purge on SV
31 |  |  | %QX529.03 | L5 Pick Auto - Pitch head Vaccum purge on SV
32 |  |  | %IW1008 | L1 Auto Pitch head pressure switch on
33 |  |  | %IW1024 | L2 Auto Pitch head pressure switch on
34 |  |  | %IW1040 | L3 Auto Pitch head pressure switch on
35 |  |  | %IW1056 | L4 Auto Pitch head pressure switch on
36 |  |  | %IW1072 | L5 Auto Pitch head pressure switch on
37 |  | TC | IX307.02 | TC101 Safe State Input
38 |  |  | IX308.02 | TC201 Safe State Input
39 |  |  | IX309.00 | TC301 Safe State Input
40 |  |  | IX309.06 | TC401 Safe State Input
41 |  |  | IX310.04 | TC501 Safe State Input
42 |  |  | IX311.00 | TCC101 present
43 |  |  | IX311.01 | TCC201 present
44 |  |  | IX311.02 | TCC301 present
45 |  |  | IX311.03 | TCC401 present
46 |  |  | IX311.04 | TCC501 present
47 |  |  | IX319.02 | TCC102 safe state input
48 |  |  | IX320.02 | TCC202 safe state input
49 |  |  | IX321.00 | TCC302 safe state input
50 |  |  | IX321.06 | TCC402 safe state input
51 |  |  | IX322.04 | TCC502 safe state input
52 |  |  | IX 323.00 | TCC101 present
53 |  |  | IX 323.01 | TCC102 present
54 |  |  | IX 323.02 | TCC103 present
55 |  |  | IX 323.03 | TCC104 present
56 |  |  | IX 323.04 | TCC105 present
57 |  |  | QX707.01 | TIU Purge value 101
58 |  |  | QX707.02 | TIU Purge value 201
59 |  |  | QX707.03 | TIU Purge value 301
60 |  |  | QX707.04 | TIU Purge value 401
61 |  |  | QX707.05 | TIU Purge value 501
62 |  |  | QX708.00
63 |  |  | QX708.01
64 |  |  | QX708.02
65 |  |  | QX708.03
66 |  |  | QX708.04
67 |  |  | QX708.05
68 |  |  | QX708.06
69 |  |  | QX708.07
70 |  |  | QX709.00
71 |  |  | QX709.01
72 |  |  | QX709.02
73 |  |  | QX709.03
74 |  |  | QX709.04
75 |  |  | QX709.05
76 |  |  | QX709.06
77 |  |  | QX709.07
78 |  |  | QX717.01
79 |  |  | QX717.02
80 |  |  | QX717.03
81 |  |  | QX717.04
82 |  |  | QX717.05
83 |  |  | QX718.00
84 |  |  | QX718.01
85 |  |  | QX718.02
86 |  |  | QX718.03
87 |  |  | QX718.04
88 |  |  | QX718.05
89 |  |  | QX718.06
90 |  |  | QX718.07
91 |  |  | QX719.00
92 |  |  | QX719.01
93 |  |  | QX719.02
94 |  |  | QX719.03
95 |  |  | QX719.04
96 |  |  | QX719.05
97 |  |  | QX719.06
98 |  |  | IW1540
99 |  |  | IW1544
100 |  |  | IW1548
101 |  |  | IW1552
102 |  |  | IW1556
103 |  |  | IW1652
104 |  |  | IW1656
105 |  |  | IW1660
106 |  |  | IW1664
107 |  |  | IW1668
108 |  |  | Qw2520
109 |  |  | Qw2524
110 |  |  | Qw2528
111 |  |  | Qw2532
112 |  |  | Qw2536
113 |  |  | Qw2568
114 |  |  | Qw2572
115 |  |  | Qw2576
116 |  |  | Qw2580
117 |  |  | Qw2584

## Overall (X30)
MMM# 1 (X30)
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 8 | 97.2% | 2.797%
2 | DEF | 81 | 5 | 93.83% | 6.173%
3 | GHI | 355 | 4 | 98.87% | 1.127%
4 | JKL | 291 | 6 | 97.94% | 2.062%
Over all |  | 1013 | 23 | 97.73% | 2.27%
HVM# 2
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 9 | 96.85% | 3.147%
2 | DEF | 81 | 0 | 100% | 0%
3 | GHI | 355 | 4 | 98.87% | 1.127%
4 | JKL | 291 | 10 | 96.56% | 3.436%
Overall |  | 1013 | 23 | 97.73% | 2.27%
MMM# 3
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 7 | 97.55% | 2.448%
2 | DEF | 81 | 0 | 100% | 0%
3 | GHI | 355 | 2 | 99.44% | 0.5634%
4 | JKL | 291 | 16 | 94.5% | 5.498%
| Overall | 1013 | 25 | 97.53% | 2.468%
MMM# 4
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 2 | 99.3% | 0.6993%
2 | DEF | 81 | 0 | 100% | 0%
3 | GHI | 355 | 4 | 98.87% | 1.127%
4 | JKL | 291 | 4 | 98.63% | 1.375%
| Overall | 1013 | 10 | 99.01% | 0.9872%
MMM# 5
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 7 | 97.55% | 2.448%
2 | DEF | 81 | 2 | 97.53% | 2.469%
3 | GHI | 355 | 0 | 100% | 0%
4 | JKL | 291 | 9 | 96.91% | 3.093%
| Overall | 1013 | 18 | 98.22% | 1.777%
MMM# 6
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | ABC | 286 | 2 | 99.3% | 0.6993%
2 | DEF | 81 | 2 | 97.53% | 2.469%
3 | GHI | 355 | 0 | 100% | 0%
4 | JKL | 291 | 8 | 97.25% | 2.749%
| Overall | 1013 | 12 | 98.82% | 1.185%
HVM# 7
S.No | Part | Total check Qty | Failure Qty | Good Percentage | Failure Percentage
1 | IOLP | 286 |  | 100% | 0%
2 | TTS | 81 |  | 100% | 0%
3 | PNB | 355 |  | 100% | 0%
4 | TC | 291 |  | 100% | 0%
| Overall | 1013 | 0 | 100% | 0%
Overall
S.No | Part | MMM#1 | MMM#2 | MMM#3 | MMM#4 | MMM# 5 | MMM# 6 | MMM# 7 | MMM# 8
1 | ABC | 8 | 9 | 7 | 2 | 7 | 2
2 | DEF | 5 | 0 | 0 | 0 | 2 | 2
3 | GHI | 4 | 4 | 2 | 4 | 0 | 0
4 | JKL | 5 | 10 | 16 | 4 | 9 | 8
Overall |  | 22 | 23 | 25 | 10 | 18 | 12 | 0 | 0
Overall Chart
Machine

## Sheet2
MMM#4 (X30)
CALC Check List
Report