Current transformer with a transformation ratio	Current transformer with the secondary winding tapped
(L) / P2 / S2 / (l) / S1 / (k) / (K) / P1	(K) / P1 / (L) / P2 / S1 / (k) / S2 / (l2) / S3 / (l1)

Current transformer with one primary winding, comprising two partial windings, for series or parallel circuits	Current transformer with two secondary windings, each with its own core
(La) / C2 / (Kb) / C1 / (Ka) / P1 / (Lb) / P2 / (l) / S2 / (k) / S1	1S1 / (1k) / 1S2 / (1l) / 2S1 / (2k) / 2S2 / (2l) / (K) / P1 / (L) / P2

The formerly established terminal markings are stated in brackets. In Germany, these can be used as an alternative or as a supplement; in Austria solely as a supplement.
Source: DIN EN 60044-1