Equipment type is not defined in this software.

It's current carrying capacity and
   Zs value ( if applicable )
will have to be typed in manually

   The specified current rating
        and
   Breaker don't match up in the
    table on the Reference Sheet.

## Overview
GregMcCormack@Allerton-EPS.co.uk 0151 729 0095 07944 296136 / EQIC - Estimating and Electrical Certification software / from / www.AllertonEPS-Software / .co.uk					Estimation, Quotation, Invoice, Certification / software is owned and maintained by / AllertonEPS-Software.co.uk / It has been made available to businesses for their use. Businesses so entitled, will receive revisions and enhancements when they are available.					As a postscript to the comment on the left. The authors ( without obligation ) will be willing to incorporate any changes / additions that you feel will enhance the product. / Please ensure that we always have your most up-to-date contact information.
	OVERVIEW					Overview					Filename Extraction
				This is the template

				Your Ref :		▲ - If this field is showing			▲ - Putting a suffix character here might come in useful if you wish to					Macro derived Filename					>	YYYYmmNN				9	YYYYmmNN_EQIC_CutDown_Rev823e50.ods
	SEE BELOW FOR MINI HELP OR CLICK HERE FOR ONLINE HELP					'#Value!' then Press F9				generate modified Quotations / Invoices / Incomplete Certificates …					Cell(Filename)					>	#VALUE!			#VALUE!	#VALUE!	'file:///H:/McCormackEnterprises/AllertonEPS_Software/EQIC_Template/YYYYmmNN_EQIC_CutDown_Rev823e50.ods'#$Overview

				If you already have worked for a customer and want to retrieve their information then see the details on Row 167					MoreFunc.xla version Filename()					>	#NAME?

				#NAME?	#NAME?
		Customer			Works Address					Description of Work					OO2 Calc version Cell(Filename)					>	YYYYmmNN			69	77	'file:///H:/McCormackEnterprises/AllertonEPS_Software/EQIC_Template/YYYYmmNN_EQIC_CutDown_Rev823e50.ods'#$Overview

	Customer Name					Contact Details					Description
		C Address			W Address		Tel :	Telephone					RESULT					>	YYYYmmNN				'was =IF(ISERROR(AH11);IF(OR(ISERROR(AH8);AND(AH8="20yymmNN";AH6<>"20yymmNN"));AH6;AH8);AH11)
				Mobile :	Mobile
				Email :	Email

		C Pstcde			W Pstcde
				Reminder in :-					04/07/11	219
		Quotation Date :-		Date					exc VAT		inc VAT	Quotation	Renewal Code Reminder in :-					219	days
				Estimate	FALSE
				Labour :-					#NAME?			Quotation
				#NAME?					`
		Quotation	ü	Certification & Notification elements					#NAME?					Removal of CHAR(10)'s from the Works Address
		Estimate					See Below for Hints and Tips
				0	W Address
		Quotation		Total					#NAME?		#NAME?					0	W Address
				Selling Price	Buying Cost	----- Mark Up ----					0	W Address
				Materials		inc VAT	#NAME?	#NAME?	#NAME?		#NAME?					W Address

		Invoice Date :-		Date

		Invoice		Total					#NAME?
				04/07/11
				LESS Amount(s) Already Paid					#NAME?
				Amount Due					#NAME?
				Selling Price	Buying Cost	Notification Costs		-- Mark Up --
				Materials		inc VAT	#NAME?	#NAME?	#NAME?		#NAME?
				Sub Contractor Labour Costs				#NAME?
				VAT Charged to Customer	VAT Paid out for Materials	VAT / Difference			▼

				VAT Analysis			#NAME?	#NAME?	#NAME?

				StopMacro

	Business and Electrical Certification Information					Standard Labour Rates for Engineers
		Signatory, Name of Competent Supervisor				01	Signatory
		Position				02	Proprietor				Renewal Code Reminder		If you have been provided with					Quotation
		Business / Company Name				03	Company/Business Name					<<< a Renewal Code Reminder - enter it here					Rate
		Address Line1				04	Address Line 1					Engineer1				Engineer1			20
		Address Line2 - ( City / Town )				05	Address Line 2					Engineer2				Engineer2			18
		Address Line3 - ( County )				06	Address Line 3					Engineer3				Engineer3			15
		Postcode				07	B Post					Engineer4				Assistant1			10
		Telephone Number				08	Telephone Number				( use SPACEBAR if not applicable )			Engineer5				Assistant2			10
		Fax Number				09	Fax Number				( use SPACEBAR if not applicable )			Engineer6				Assistant3			10			Choose one of
		Mobile Number				10	Mobile Number				( use SPACEBAR if not applicable )			Engineer7				Contractor1			10			Raw BS7671 version
		Email Address				11	Email Address				( use SPACEBAR if not applicable )			Engineer8				Contractor2			10			NICEIC
		Website Address				12	Website Address				( use SPACEBAR if …		VAT rate	Engineer9				Contractor3			10			NAPIT
		VAT	Reg No			13					FALSE		17.5%					7.5	Hrs / Day		#NAME?			ECA
		Electrical Governing Body ( if Applicable )
		Enrolment Digits				16	no longer used here
		Branch Digits ( if Applicable )				17	no longer used here

	Specific Information				Choose one of

		Certificate Date ( if app )				14	Date				WORKING
		Periodic Inspection Date ( if app )				15	Date

		Has the Customer been presented with the documentation					Date Generated
		Date of Issue to Customer					Date …
		Are Building Control to be Notified ?					Date Generated
		Date of Notification					Date …
		Does the Company Seal have to be re-instated					Date Generated	State which company		Company …
		Date of Notification to Electric Company					Date …

	Other Dates		& access to other sheets

				Date Generated

				Date Generated

		Additional Sheet					Date Generated

		Free Format Sheet					Date Generated

		Compliments Slip - Suitable for C4 Windowed envelopes					Comp Date

	Hourly Rates ( no longer used )					Hourly Rate
				Engineer1		£21.00		£18.00		£15.00
		( 8 hours in a day )			Engineer2		£16.00		£14.40		£12.00
				Engineer3		£16.80		£14.40		£12.00
				Engineer4		£12.00		£18.00		£15.00
				Engineer5		£14.00		£14.40		£12.00
				Engineer6		£21.00		£14.40		£12.00

	MandT - Materials and Tasks Database					Path				Filename					Typical Path
		Materials Database source :					MaterialsAndTasksDatabase.ods					file:///C:/AllertonEPS/Customers2009

	Instrumentation Used

				Choose just one meter OR separates :-		Composite Meter.				Composite Meter
				Separates

				Manufacturer :		Beha				When specifying separates
				Model Name :		Unitest Telaris 0100 Plus				use comma to separate
				Serial No :		DT E0196XJ				Manufacturer, Model, Serial No

				<<< See comment for details

				Use the Logo :-	Please Select …		YES
				NO
				Please Select …
				<<< Delete this logo and replace with your logo ensuring it is called 'Logo1'
				This is achieved by changing it's NAME from something like 'Picture 83' to 'Logo1'
				It's 'NAME' is to be found under 'Insert,Name,Define'
				OR Just Paste a logo yourself onto the other sheets
	Links & Hyperlinks
		to your own website ( or just use AllertonEPS's )
		General Website reference					http://allerton.uwclub.net/EPS/index.html					< Not Yet Implemented
		Consumables ( on Quotation and Invoice sheets )					http://allerton.uwclub.net/EPS/Consumables.htm					< Not Yet Implemented

	Other Paths					Path				Filename
		Retrieve Customer information from another spreadsheet					20090302_Lloyd_Bentfield_Rev812g.ods

		Once you enter the information for the file name it immediately searches for the spreadsheet specified

				WORKING

		Currency Swap

				£	£1,234.56	0.25					£1,234.56

				Click here for Online User Guide					Supply Companies
				Manweb
		How to use this spreadsheet				including Tips and Warnings					Scottish Power					contactus@scottishpower.com
			1		Fill in the Orange boxes on this sheet, and if doing Electrical certification the entries on those sheets. Orange Highlighting will disappear when the Full Stop at the end of the line has been removed ( Use F2 key for ease ) / Greyed out boxes are filled out automatically when information is typed into the orange boxes ( either on the sheet on which you are working OR another sheet in the workbook ).
			2		Fill out the Labour Analysis Sheet					N Power
			3		Fill out the MaterialsSpecfdForQuotation sheet - Initially enter your materials into the 'location' column then enter PrimaryKeys and Quantities then Click on the SearchingDatabase macro button.					British Gas
			4		Click on the second macro button to populate the destination sheet ( either the Quotation or the Invoice )
			5		When generating HTM files for emailing quotations - See the details on our website for how to proceed.					Altantic Electric & Gas
			6
			7		TIP - To see specific sheets you must specify a Date in the appropriate position on this Overview sheet.					PowerGen
			8		TIP - Alt-Enter to get a second line in a text box entry
			9		WARNING - Don't just retain a number in the Primary key because otherwise when a row is added or deleted to the Materials Database it will not point to the right material.					Swalec
			10		TIP - Most sheets have been protected ( but without a password ) this is to prevent accidental changing of information. To 'unprotect' a worksheet go to Tools,Protection,Unprotect
			11		TIP - If backgrounds or borders are showing errors OR warnings and you want to remove the colouring then Unprotect the sheet and delete the Conditional formatting

				Southern Electric
				SWEB Energy
		Colour Coding					Utilita

				Cells with a Background of Orange are those cells whose information needs to be modified by the user,					SEEBOARD Energy
				using the Pull Down selection or by typing information directly into the cell.					Telecom Plus
				Scottish Hydro Electric
				Cells with a Background of Yellow generally indicate Warnings ( of unusual occurrences )					Lloyd's TSB

				Cells with a Background of Red indicate what is considered to be in ERROR ( although no further action is taken )

				Grey boxes are copies of entries on other sheets ( do not overwrite these cells
				- locate the source ( try the Overview sheet first ))

				( See TIP 11 for Borders and Background colourings )

		Colour Coding for Price Checking Status				For each material there is a price-date - the date the price was last checked. This is stored in the Materials Database and gets included as a quality of the final price on the Destination sheet.

				Pricing Cells that have a GREEN background are those whose elements have been priced checked.

				Pricing Cells that have a LIME GREEN background are those whose elements have been changed by user ( after import from Materials Database )

				Pricing Cells that have a RED background are those that have elements that have not been price checked.

		Limit of Liability				Whilst not exhaustive - this is a list of some of the Limits of Liability
			>		Whilst the Shading and Conditional formatting of the cells is ( to the best of our knowledge ) operational / - we cannot be responsible for errors and erroneous formatting that might occur.
				This includes faults that may exist in the lookup tables of Electrical data from BS 7671
			>		We cannot be held responsible for any viruses that have been attached to our software and strongly recommend that you have an up-to-date firewall protecting you at all times.

			>		We cannot be held liable for any losses how-so-ever caused due to functionality ( or lack of it ) of our software. We endeavour to ensure our software is free from all errors but cannot be held liable for any that do occur ( how-so-ever ) caused.

		Page Numbering				Page Numbers
				Overview		1					1		'Print area' set to restrict the printing of this page to one page.
				Quotation		2					2
				Invoice		3					3
				Labour Analysis		4					4
				Materials		5					5
				Electrical Certificate		6	7	8		9				9
				Schedule of Test Results		10					10
				Reference Sheet		11	19					19
				Minor Works		20	21	22					22
				Schedule of Individual Test Results		23	24					24
				Periodic Inspection Report		25	26	27		28	29			29
				Free Format Sheet		30					30
				Comp Slip		31					31
				Status Report		32					32
				Fire Certificate		33	34	#NAME?					#NAME?

		Revision Control			Date	Details
				22	Oct '09	Re Worked for Open Office platform
			8		Feb-09	- Electrical Certificates now look like 17th Edition NICEIC Certificates
			7			- Core items abandoned in favour of Groups of Materials and Labour Elements. / - Iteration Macro included on the Labour Analysis sheet.
			6			Revision history transferred to an RTF file - Available on website ( click here ) OR for the absolute latest version send us an email.
			6	01	20th October 2006	Business code macro is no longer restricted once expiry date has elapsed ( allowing for easier renewals ) / A little clocking-in and clocking-out system has been added to the labour analysis sheet.
			5	14	5th October 2006	'FreeFormatSheet' created for presenting information to the customer ( letter with the job reference information already included ).
			4	00	4th July'05	First Release by AllertonEPS
			3	00		Identifies individual engineering hours being charged out at different rates.
			2	00		Labour Analysis split composite cell at the top, so that there are now two cells - one for the invoice and one for the quotation.
			1	00		Revision control started.

		End of Overview sheet

## ScheduleOfTestResults
			GregMcCormack@Allerton-EPS.co.uk 0151 729 0095 07944 296136 / www.Allerton-EPS / .co.uk					Building Cotnrol reference Number :-					This certificate is not valid				#NAME?		This is the template					Sheet Visit Counter					Advice / Options					Ze	0
				< Please replace with your own logo					if the serial number has					37					Ze+	0
				been defaced or altered					Zln	0
				Use information from
				if you don't have one suitable – ask us					#NAME?					Company/Business Name

CIRCUIT DETAILS					TEST RESULTS					Customer Name , W Address W Pstcde					Choose		ü	Electrical Installation Cert					Customer Name		0	W Address
Circuit Designation			Type of Wiring / ( see code )	Reference Method / ( see Appendix 4 of BS7671 )	Number of / Points Served	Circuit / Conductors / ( csa )		Max Disconnection Time / permitted by BS7671	Overcurrent / Protective Device				RCD	Maximum ZS permitted by BS7671	Circuit / Impedances					Insulation / Resistance			Polarity	Earth Loop / Impedance / ZS	RCD Operation					Remarks					Minor Works Certificate					W Address		0	W Address
				Operating / Current					Line Neutral / / Earth					Maximum / Demand					Periodic Inspection Report					W Pstcde		0	W Address					Used for / Greying Out					Acceptable Value limits shown on Validation Pull Downs
				Ring Circuits only / measured end to end			All Circuits			Line / / Neutral	Line / / Earth	Neutral / / Earth					The Colour of this sheet is determined from the above selection					W Address
┌ Counting from Isolator					ü	RED		GREEN			PURPLE
Position.	Designation	Use the words 'Empty', / 'Ring', 'Spare', 'not used' / where appropriate				live	cpc		BS ( EN )	Type	Rating	Capacity			r1 / line	rn / neutral	r2 / cpc	R1 + R2	R2					½	x1 / (30mA)	x5	Push / button					RCD / Operating / Current		"Ring" Text	"RCD" or “RCCB” / Text	Not Used / or / Empty	'Spare' / 'Not Used' / or / 'Empty'	'Spare' / & 'Empty' for / Overcurrent Device		Column Q = r1			r1			Column R = r n			r n			Column S = r2			R1 + R2			Column T = R2 + R1					Column U = R2			Column V = Line Neutral / Earth			Column W = Line / Neutral			Column X = / Line / Earth			Column Y = / Neutral / Earth			Column Z = / Polarity			Column AA = Zs / Earth Loop Impedance					Column AB = / False Tripping			Column AC = / 30mA			Column AD = / 150mA			Column AE = / Push Button			Column AF = / Max Demand				Conditional Formatting / In excess of three formats
				mm2	mm2	s			Amps	kA	mA	Ω	Ω	Ω	Ω	Ω	Ω	MΩ	MΩ	MΩ	MΩ		Ω		ms					Core / Dia / Ratio	Max / Zs	Max / Zs / 80 %		Rating Select from this list					RCD					RCD					CPC
			2	3	4	5	6	7	'8	'9	10	11	12	13	14	15	16	17		18				19	20	21			22	23	24					1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18					RCD-RCCB
		Origin ( meter tails )				25.	16.					0					59	60	61	62	63	64	65	66	67	68	69	70	71	72	73	74	75	76
1		ISOLATOR					0.4	60947-3		100	6		0.00					1	0.00	0.00					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
2		ISOLATOR					0.4					1	#N/A	#N/A					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
3		RCD A		100				0.4	BS EN 61008	B	80	6	30	0.00					1	0.00	0.00		63	80					30	30	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
4		RCD A		100				0.4					1	#N/A	#N/A					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
5		RCD A		100				0.4					1	#N/A	#N/A					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
6	A1			100				0.4	BS EN 60898	B	40	6		1.15					1	1.15	0.92				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
7	A2			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
8	A3			100				0.4	BS EN 60898	B	20	6		2.30					1	2.30	1.84				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
9	A4			100				0.4	BS EN 60898	B	10	6		4.60					1	4.60	3.68				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
10	A5			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
11	A6			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
12	A7			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
13	A8			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0

14	B8			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
15	B7			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
16	B6			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
17	B5			100				0.4	BS EN 60898	B	6	6		7.67					1	7.67	6.13				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
18	B4			100				0.4	BS EN 60898	B	10	6		4.60					1	4.60	3.68				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
19	B3			100				0.4	BS EN 60898	B	16	6		2.87					1	2.87	2.29				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
20	B2			100				0.4	BS EN 60898	B	20	6		2.30					1	2.30	1.84				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
21	B1			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
22		RCD B		100				0.4	BS EN 61008	B	80	6	30	0.00					1	0.00	0.00		63	80					30	30	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
23		RCD B		100				0.4					1	#N/A	#N/A					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
24		RCD B		100				0.4					1	#N/A	#N/A					30	0	TRUE	TRUE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			1
25	B1			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
26	B2			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
27	B3			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
28	B4			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
29	B5			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
30	B6			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
31	B7			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0
32	B8			100				0.4	BS EN 60898	B	32	6		1.44					1	1.44	1.15				6	10			16	20	25		32	40	45	50		63	80	100					30	0	FALSE	FALSE	FALSE	FALSE	FALSE			MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		MAX	.		MIN	.		Derived	.					MIN	1		MIN	1		MIN	1		MIN	1					MAX	.		Derived	.					MAX	200.00		MAX	40.00					MAX			0

		Location of					Designation of	CPN.					Prospective fault current					kA
		consumer unit(s)					consumer unit(s)					at consumer unit(s)

				Hide Customer Details
TEST INSTRUMENTS				Test instrument's ( serial numbers ) used					Ze	0.00	Ω

		Insulation Resistance	Beha, Unitest 0100 / DT E0196XJ			Continuity		Beha, Unitest 0100 / DT E0196XJ			Earth electrode	Beha, Unitest 0100 / DT E0196XJ					Earth fault loop	Beha, Unitest 0100 / DT E0196XJ				Ze+	0.00	Ω	RCD	Beha, Unitest 0100 / DT E0196XJ				Type of Wiring :- TN-S					Hide Ze, Ze+ and Zln values & Type of Wiring
				resistance					impedance					Zln	0.00	Ω					Max Ze =	#NAME?

This form is based on the model shown in Appendix 6 of BS7671 ( as amended ) - As laid out by the Electrical Safety Council ( Jan 2008 )					Select :-
* - See notes on schedule / of test results			TYPE OF WIRING					TN-C-S		ü	TN-S		TT		TN-C		IT
			A		B		C		D	E		F		G		H		O - ( Other - Please Specify )
Company/Business Name			PVC / PVC / cables		PVC cables / in metallic conduit		PVC cables in non-metallic / conduit		PVC cables in metallic trunking	PVC cables in non-metallic trunking		PVC / SWA cables		XLPE / SWA / cables		Mineral-insulated cables					Page		#NAME?	of	#NAME?
Company/Business Name

		Earthing Types	< Please Circle					Validation Sources			A	B	C	D	E	F	G	H	O
		TN-S	TN-C system isn't listed because it isn't very common					Live sqmm		1.5	2.5	6	10
		TN-C-S					cpc sqmm		1	1.5	2.5	4
		TT					Disconnection Times		0.4	5
		Can't Identify					Help with pictures :-
		TN-C - Has been removed to avoid confusion ( very unlikely to be used )					Fuse Types				Description				http://www.thefusecompany.com
				BS 88 'gG'					Starr House, 49 Brasenose Road, Liverpool L20 8HL
		Equipotential Bonding	sqmm		Cont Check			Location					BS 1361			Wire Fuse
		Water					BS 1362			13 Amp
				BS 3036			Cartridge Fuse
		Gas					CB Type 1
				CB Type 2
		Re-Inspection in :-				yrs					BS EN 60898			Values only given for 'Type B'
				BS EN 61008			RCD
				BS EN 61009			RCBO
				BS 5486			Main Switch

## ReferenceSheet
	ë	Cell A1 contains the name of the macro that is running or was last running.					SCROLL DOWN FOR MORE INFORMATION					Last Cell Information				Row		Column
				Overview				266	266	39	AM	39	AM
				Quotation				84	84	14	N	14	N
				Invoice				90	90	14	N	14	N
				LabourAnalysis				101	101	46	AT	46	AT
				Materials				36	36	57	BE	57	BE
8	-Debug					ElectInstCert				265	265	120	DP	120	DP
	Level					Supply Characteristics					ScheduleOfTestResults				84	84	135	EE	135	EE
				ReferenceSheet				207	207	40	AN	40	AN
				Type >		TN-S					MinorWorksCert				266	266	146	EP	146	EP
				Conditional Formatting beyond three formats					Ze			Ze+			Ω	( Multiple Earths )			PeriodicInspectionReport				338	338	153	EW	153	EW
				Value>=	Display	Style					( Main Earth Only )			ZLN			Ω				PAT_Testing				46	46	22	V	22	V
				0		Default					Nominal Voltage			230.0	Volts				FreeFormatSheet				58	58	56	BD	56	BD
				1		Grey_on_Grey					Prospective Fault Current PFC					kA				CompSlip				18	18	38	AL	38	AL
				2		WhiteOnRed					AdditionalSheet				208	208	109	DE	109	DE
				3		WhiteOnGreen_Title				Allerton-EPS.co.uk – Electrical and Plumbing Logo					FireCert				224	224	120	DP	120	DP
				4		YellowBackground					S / ervices / 729 0095 / 07944 296136 / P / lumbing / Allerton / - / E / lectrical / .co / .uk / Contact : GregMcCormack@Allerton-EPS.co.uk / 184 Mather Avenue, Allerton, Liverpool L18 7HD								
				5		Default					When last checked July10
				6		Default
				7		Default

	If you want to print these tables out then Highlight them and when you select print, choose the 'Print Selected Text'.					GregMcCormack@Allerton-EPS.co.uk 0151 729 0095 07944 296136 / www.Allerton-EPS / .co.uk

	30mA RCD Operation
	x1	300	mS
	x5	40	mS
				Cable Cross Sectional Areas					Current Carrying Capacity					Voltage
	Shower				230	Volts					Method		Method		Method		Method		Method		Method		Drop
	6.5	KW	28.3	Amps		10	KW	43.5	Amps					Line Size		CPC Size					100		101		102		103		C		A
	7	KW	30.4	Amps		10.5	KW	45.7	Amps					1.0	mm2	►	1.0	mm2	6242Y to BS6004			►	13	Amps	10.5	Amps	13	Amps	8	Amps	16	Amps	11.5	Amps	44	mV/A/M
	7.5	KW	32.6	Amps		11	KW	47.8	Amps					1.5	mm2	►	1.0	mm2				►	16	Amps	13	Amps	16	Amps	10	Amps	20	Amps	14.5	Amps	29	mV/A/M
	8	KW	34.8	Amps		11.5	KW	50.0	Amps					2.5	mm2	►	1.5	mm2				►	21	Amps	17	Amps	21	Amps	13.5	Amps	27	Amps	20	Amps	18	mV/A/M
	8.5	KW	37.0	Amps		12	KW	52.2	Amps					4	mm2	►	1.5	mm2				►	27	Amps	22	Amps	27	Amps	17.5	Amps	37	Amps	26	Amps	11	mV/A/M
	9.5	KW	41.3	Amps		12.5	KW	54.3	Amps					6	mm2	►	2.5	mm2				►	34	Amps	27	Amps	35	Amps	23.5	Amps	47	Amps	32	Amps	7.3	mV/A/M
				10	mm2	►	4	mm2				►	45	Amps	36	Amps	47	Amps	32	Amps	64	Amps	44	Amps	4.4	mV/A/M
	Max Ze				Insulation Resistance
	TN_S		0.80					Test @					16	mm2	►	6	mm2				►	57	Amps	45	Amps	63	Amps	42.5	Amps	85	Amps	57	Amps	2.8	mV/A/M
	TN_C_S		0.35		SELV & PELV			250 V	=> 0.5 MΩ
	TT		21		Low Voltage / typically 230 V			500 V	=> 1 MΩ					Above a plasterboard ceiling covered .					▲ - Clipped Direct
	▲ - TT - Excluding consumer's				> 500 V			1000 V	=> 1 MΩ					by thermal insulation not exceeding 100 mm thick - ▲				▲ - In a stud wall with thermal insulation with cable
	earth electrode					Above a plasterboard ceiling covered .		touching the inner wall surface
				by thermal insulation exceeding 100 mm thick - ▲					▲ - Enclosed in conduit in
				In a stud wall with thermal insulation with cable not touching the inner wall surface - ▲				an insulated wall
	Zone				IPxy					These figures are based on Table 4D5
	1				IP44
	( Extracted from IEE Guide P59 )
	INGRESS PROTECTION - where 'x' is the solids protection and 'y' is liquid protection

				If you want to print these tables out then Highlight them and when you select print, choose the 'Print Selected Text'.
			Maximum values of Zs / for Disconnection Time of 0.4 secs					Fuse Rating Selection / 0.4 secs 5 secs					Maximum values of Zs / for Disconnection Time of 5 secs

	Current		BS 1361 - Cartridge Fuses					BS 1361 - Cartridge Fuses					BS 1361 - Cartridge Fuses					BS 1361 - Cartridge Fuses
				BS 1362			- 13 Amp Fuses					BS 1362					BS 1362					BS 1362		- 13 Amp Fuses
			â		â		BS 3036					â	â	BS 3036			â	â	BS 3036				â		â		BS 3036 - Rewireable Fuses
				BS EN 60898					BS EN 60898					BS EN 60898					BS EN 60898 ( B )
			â		â		â		( Type B )			â	â	â	â		â	â	â	â			â		â		â		& 61009
	3	1			16.40	13.12					3					3					23.20	18.56
	5	2	10.45	8.36			9.58	7.66				5		5			5		5				16.40	13.12			17.70	14.16
	6	3					7.67	6.13					6					6					7.67	6.13
	10	4					4.60	3.68					10					10					4.60	3.68
	13	5			2.42	1.93					13					13					3.83	3.06
	15	6	3.28	2.62			2.55	2.04				15		15			15		15				5.00	4.00			5.35	4.28
	16	7					2.87	2.29					16					16					2.87	2.29
	20	8	1.70	1.36			1.77	1.41	2.30	1.84		20		20	20		20		20	20			2.80	2.24			3.83	3.06	2.30	1.84
	25	9					1.84	1.47					25					25					1.84	1.47
	30	10	1.15	0.92			1.09	0.87				30		30			30		30				1.84	1.47			2.64	2.11
	32	11					1.44	1.15					32					32					1.44	1.15
	40	12					1.15	0.92					40					40					1.15	0.92
	45	13					1.07	0.85					45		45		45	45			0.96	0.76			1.59	1.27	1.07	0.85
	50	14					0.92	0.73					50					50					0.92	0.73
	60	15					60		60				0.70	0.56			1.12	0.89
	63	16					0.73	0.58					63					63					0.73	0.58
	80	17					0.57	0.45					80		80			80			0.50	0.40					0.57	0.45
	100	18					0.46	0.36					100		100		100	100			0.36	0.28			0.53	0.42	0.46	0.36
				( values in blue are 80% of the value specified in BS7671 ( 17th Edition ) )
		- All values ( in black ) have been extracted from BS7671 ( 17th Edition ) - ( no responsibility for inaccuracy can be borne by the author )					▲
				These values are
				the same as the
				0.4 sec times.
			Reference Method – Extracted from Table 4A2 'Multicore' includes 'T & E' See below for more Reference Methods
			100	-	Installation methods for flat twin and earth cable clipped direct to a wooden joist above plasterboard ceiling with a minimum U value of 0.1 W/m2K and with thermal insulation not exceeding 100mm thickness
			101	-	Installation methods for flat twin and earth cable clipped direct to a wooden joist above plasterboard ceiling with a minimum U value of 0.1 W/m2K and with thermal insulation exceeding 100mm thickness
			102	-	Installation methods for flat twin and earth cable in a stud wall with thermal insulation with a minimum U value of 0.1 W/m2K with the cabling touching the inner wall surface.
			103	-	Installation methods for flat twin and earth cable in a stud wall with thermal insulation with a minimum U value of 0.1 W/m2K with the cabling not touching the inner wall surface.

		TO PRINT - HIGHLIGHT AND PRINT JUST 'SELECTED TEXT'

				Electrical				Minor
				Certificate				Works

		Ze					not required
		ZPN					not required
		Ze ( with multiple earths )					not required

		Company Fuse			TN-S , TN-C-S , TT
		Rating			BS1361 - 100 Amp

		Isolator					not required
		Rating			100 Amps				not required

			Description				Rating		I R		END 2 END
		Slot 1
		Slot 2
		Slot 3
		Slot 4
		Slot 5
		Slot 6
		Slot 7
		Slot 8
		Slot 9
		Slot 10
		Slot 11
		Slot 12

		POWER / RCD					x1			mS
				x5			mS

		LIGHTS / RCD	OR RCBO 1 for lights					x1			mS
				x5			mS

			RCBO 2 for lights					x1			mS
				x5			mS

				Help with pictures :-
		Fuse Types				Description		http://www.thefusecompany.com
			BS 88 'gG'					Starr House, 49 Brasenose Road, Liverpool L20 8HL
			BS 1361			Wire Fuse
			BS 1362			13 Amp
			BS 3036			Cartridge Fuse
			CB Type 1
			CB Type 2
			BS EN 60898			Values only given for 'Type B'
			BS EN 61008			RCD
			BS EN 61009			RCBO
			BS 5486			Main Switch

				Reference Method – Extracted from Table 4A2 'Multicore' includes 'T & E'
				100 - Installation methods for flat twin and earth cable clipped direct to a wooden joist above plasterboard ceiling with a minimum / U value of 0.1 W/m²K and with thermal insulation not exceeding 100mm thickness. / 101 - Installation methods for flat twin and earth cable clipped direct to a wooden joist above plasterboard ceiling with a minimum / U value of 0.1 W/m²K and with thermal insulation exceeding 100mm thickness. / 102 - Installation methods for flat twin and earth cable in a stud wall with thermal insulation with a minimum / U value of 0.1 W/m²K with the cabling touching the inner wall surface. / 103 - Installation methods for flat twin and earth cable in a stud wall with thermal insulation with a minimum / U value of 0.1 W/m²K with the cabling not touching the inner wall surface. / A - 1 - Non-Sheathed cables in a thermally insulated wall with an inner skin having a thermal conductance of not less than 10 W/m²K. / 2 – Multicore ( inc T & E ) in a thermally insulated wall with an inner skin having a thermal conductance of not less than 10W/m²K. / 12 – Non-sheathed cables run in mouldings. / 15 – Non-sheathed cables in conduit or single-core OR Multicore in architrave. / 16 – Single core OR Multi core cables – fixed ( clipped direct ) or spaced less than 0.3 x cable diameter from a wooden or masonry wall. / B - 4 – Non-Sheathed cables in conduit on a wooden or masonry wall or spaced less than 0.3 x conduit diameter from it. / 5 – Multi core cable in conduit on a wooden or masonry wall or spaced less than 0.3 x conduit diameter from it. / 6 – Non Sheathed cables in cable trunking on a wooden or masonry wall – run horizontally / 7 - Non Sheathed cables in cable trunking on a wooden or masonry wall – run vertically / 8 - Multicore cable in cable trunking on a wooden or masonry wall – run horizontally - ( still under consideration - IET ) / 9 – Multicore cable in cable trunking on a wooden or masonry wall – run vertically - ( still under consideration – IET ) / 10 – Non Sheathed cables in suspended cable trunking / 11 – Multicore cable in suspended cable trunking / 13 – Non Sheathed cables in skirting trunking / 14 – Multicore cable in skirting trunking / 21 – Single-core or multicore cables – fixed directly under a wooden or masonry ceiling / & / 40 , 41, 42 , 43, 44 , 45 , 46, 47, 50 , 51, 52, 53 , 54 . 55 . 56, 59 , 60 / C – 20 – Single core or Multi core cables – fixed on ( clipped direct ) or spaced less than 0.3 x cable diameter from a wooden or / Masonry wall / 30 – Single core or Multicore cables – on unperforated tray run horizontally or vertically ( with Item 2 from Table 4C1 ) / 57 – Single core or multi core cable direct in masonry having a thermal resistivity not greater than 2 K.m/W / without added mechanical protection ( no capping ) / 58 – Single core or multi core cable direct in masonry having a thermal resistivity not greater than 2 K.m/W / with added mechanical protection ( capping ) / D – 70 – Multicore unarmoured cable in conduit or in cable ducting in the ground / 71 – Single core unarmoured cable in conduit or in cable ducting in the ground / 72 - Sheathed, armoured or multicore cables direct in the ground – without added mechanical protection ( see Table 4A2 ) / 73 - Sheathed, armoured or multicore cables direct in the ground – with added mechanical protection ( cable covers ) / ( see Table 4A2 ) / E – See Table 4A2 / F – See Table 4A2 / G – See Table 4A2

		Table 9A				@	20	oC
		Cross Sectional Area			Resistance / metre
				( R1 + [ R2 ] ) / metre					Temperature
		( sqmm )			( mΩ/m )					Correction
		Phase	CPC		Copper		Aluminium			Factor
		Conductor					oC
		1			18.10
		1	1		36.20					5	0.94
		1.5			12.10					10	0.96
		1.5	1		30.20					15	0.98
		1.5	1.5		24.20					20	1
		2.5			7.41					25	1.02
		2.5	1		25.51
		2.5	1.5		19.51
		2.5	2.5		14.82
		4			4.61
		4	1.5		16.71
		4	2.5		12.02
		4	4		9.22
		6			3.08
		6	2.5		10.49
		6	4		7.69
		6	6		6.16
		10			1.83
		10	4		6.44
		10	6		4.91
		10	10		3.66
		16			1.15		1.91
		16	6		4.23
		16	10		2.98
		16	16		2.30		3.82
		25			0.73		1.20
		25	10		2.56
		25	16		1.88
		25	25		1.45		2.40
		35			0.52		0.87
		35	16		1.67		2.78
		35	25		1.25		2.07
		35	35		1.05		1.74
		50			0.39		0.64
		50	25		1.11		1.84
		50	35		0.91		1.51
		50	50		0.77		1.28