How this Manual is Organized

Part I - Hardware & Programming Software Configuration and Installation Guidelines
Chapter 1 TOPDOC NexGen Installation & Configuration -
explains installation and the basic concepts used in TOPDOC NexGen software greatly reduces program design time and simplifies machine startup and troubleshooting.
Chapter 2 Smart SoftPLC Hardware Installation
provides details of each of the Smart SoftPLC CPUs. This chapter contains the operating specifications for the CPUs, detailed information on the different types of program storage media available, and some basic procedures needed to get the CPU ready for programming.
Chapter 3 Installation Guidelines / Wiring
shows you how to prepare for system installation, and gives you guidelines for providing a safe environment for your personnel and process. Be sure to read this chapter so potential safety problems can be avoided. In this chapter you will find topics you must consider when installing a system, the environmental specifications, component dimensions, safety guidelines, installation guidelines, etc.

Part II - Configuration
Chapter 1 Configuration
provides selection and installation criteria for Local I/O and Local Expansion I/O. This chapter also discusses the system power budget, which is an important part of the planning and installation process.
Chapter 2 Local Tealware I/O Configuration
provides details of using the Local I/O driver (SMART.TLM) for both Automatic and Manual configuration
Chapter 3 Remote Tealware I/O Configuration
provides details of using the Remote I/O driver (MBIPMAST.TLM).
Chapter 4 Other I/O
provides details of the use of TLI's in TOPDOC with other Manufacturer's I/O, and how SoftPLC Runtime interacts with Tealware (TEALWARE.TLM), Allen-Bradley Remote I/O Driver (KTX.TLM), DeviceNet Driver (SSDEVICENET.TLM), & Profibus/Interbus I/O Driver (HILSCHER.TLM). It also provides information for the Startup Configuration Editor (STARTUP.LST)

Part III - Programming
Chapter 1 Memory Organization/Data Table Addressing
deals with the most efficient way to organize your program. It also simplifies the structure of Data Tables and addresses the Data Table types and sizes.
Chapter 2 Ladder Programming
tells one how to arrange Ladder Table Instructions, either in a series, in parallel or a combination of the 2. It gives hints on which instruction to select, information on File Instructions and Mnemonics.
Chapter 3 Tealware Analog Module Programming
gives specific instructions for the configuration of Analog Modules using the CDMW.TLI.

Part IV - Appendices
Chapter 1 Using the Console
describes how to use the Console to talk with your PLC and how SoftPLC operates. It discusses the use of SoftPLC's SSH & FTP servers.
Chapter 2 Trouble Shooting
This chapter is important if something goes wrong. It lists come of the common problems that occur and give you a quick solution. It gives you the guidelines for troubleshooting the problem, and a list of TOPDOC NexGen tools used to solve them. It provides information on how to use the System Log to troubleshoot difficulties and explains how to manually start or shut down SoftPLC's Runtime.
Chapter 3 Firmware Updates
Describes where and how to update the firmware on your system when updates become available.

Title Manual

H1 (Part or Title) 0 indent
H3 (Chapter Titles) 14 pt Arial Bold Underline .25" indent
H4 12 pt Arial Bold .5" indent
H5 12 pt Arial Bold .75 indent
H6 12 pt Arial 1.00" indent
H7 12 pt Arial 1.25" indent
Body Text 12 pt Arial 1.5" indent

Figure Title

Table header Body Text (White Arial Bold 10.5 pt Centered)
Table Header Body Text	Table Header Body Text
Table Left (10.5 pt Arial Bold	Table Right (10.5 pt Arial Left Justified)
Rt Justified	Table Right (10.5 pt Arial Left Justified)
	all table styles are centered between rows

- Bullets
- Bullets
- Bullets
- Bullets

1. Number List
2. Number List
3. Number List
4. Number List

Page format: right page with footer

Caution:

Warning:

Info:

Note:

Page format: Left page with footer