## Hourly
Hourly generation over 4 typical summer days in 2012
	27 May	28 May	30 May	31 May	27 May	28 May	30 May	31 May	Average
Time	Meter	Meter	Meter	Meter	KWH	KWH	KWH	KWH	over days
					4
06:00	536.9	548.6	569.2	579.3
07:00	537.0	548.7	569.3	579.3	0.1	0.1	0.1	0.0	0.07
08:00	537.2	548.9	569.5	579.5	0.2	0.2	0.2	0.2	0.20
09:00	537.7	549.6	570.1	579.7	0.5	0.7	0.6	0.2	0.50
10:00	539.0	550.3	571.0	580.2	1.3	0.7	0.9	0.5	0.85
11:00	540.5	551.7	571.8	580.7	1.5	1.4	0.8	0.5	1.05
12:00	542.0	553.3	573.2	581.3	1.5	1.6	1.4	0.6	1.27
13:00	543.5	555.1	574.4	582.3	1.5	1.8	1.2	1.0	1.38
14:00	544.5	557.0	575.3	583.2	1.0	1.9	0.9	0.9	1.18
15:00	545.8	557.9	576.5	584.2	1.3	0.9	1.2	1.0	1.10
16:00	547.5	558.9	577.9	585.0	1.7	1.0	1.4	0.8	1.23
17:00	548.2	560.0	578.7	585.2	0.7	1.1	0.8	0.2	0.70
18:00	548.4	560.6	578.9	585.4	0.2	0.6	0.2	0.2	0.30
19:00	548.6	560.8	579.2	585.5	0.2	0.2	0.3	0.1	0.20
20:00	548.6	560.9	579.3	585.5	0.0	0.1	0.1	0.0	0.05
21:00	548.6	560.9	579.3	585.5	0.0	0.0	0.0	0.0	0.00

Totals					11.7	12.3	10.1	6.2
KW per hour / KW

Note peak generation of 1.9 KW in one hour on 28th May (equals 95% efficiency of the 2-kilowatt PV panels and inverter).

## Daily 2012
P.V. Microgeneration at Apples, Scumbrum Lane, High Littleton, BS39 6JH (51 deg 19.5 min N, 2 deg 30.4 min W)					Nominal 2KW system facing due south
Date	Meter (reading submitted in red)	Day	Generated kWh	Notes	Monthly total	Days running	Daily average	Daily maximum	Daily minimum	Monthly earnings @43.3p/kWh to Mar 31	Monthly earnings @21p/kWh from Apr 1	Monthly earnings @3p on 50%	CO2 saved (tonnes)		EDF Payment
	0.6			(at installation)			March 2012 / KWH
Wed 14 Mar 2012	1.1	14	0.5	Switched on late p.m., sunny
Thu 15 Mar 2012	2.4	15	1.3	Overcast all day
Fri 16 Mar 2012	3.8	16	1.4	Overcast all day
Sat 17 Mar 2012	7.8	17	4.0	Sunny periods
Sun 18 Mar 2012	13.0	18	5.2	Sunny p.m.
Mon 19 Mar 2012	23.5	19	10.5	Sunny most of the day
Tue 20 Mar 2012	29.4	20	5.9	Sunny periods
Wed 21 Mar 2012	36.5	21	7.1	Overcast a.m., sunny p.m.
Thu 22 Mar 2012	43.9	22	7.4	Sunny periods
Fri 23 Mar 2012	54.6	23	10.7	Sunny most of the day
Sat 24 Mar 2012	65.1	24	10.5	Sunny most of the day
Sun 25 Mar 2012	74.3	25	9.2	Sunny most of the day
Mon 26 Mar 2012	85.8	26	11.5	Sunny all day
Tue 27 Mar 2012	97.3	27	11.5	Sunny all day
Wed 28 Mar 2012	108.8	28	11.5	Sunny all day
Thu 29 Mar 2012	120.0	29	11.2	Sunny all day
Fri 30 Mar 2012	130.0	30	10.0	Overcast a.m., sunny p.m.
Sat 31 Mar 2012	132.8	31	2.8	Overcast	132.2	18	7.30	11.5	1.3	57.24	-	1.98	0.063
Sun 01 Apr 2012	145.3	1	12.5	Sunny
Mon 02 Apr 2012	154.2	2	8.9	Sunny periods
Tue 03 Apr 2012	161.0	3	6.8	Mostly overcast
Wed 04 Apr 2012	163.3	4	2.3	Raining a.m., overcast p.m.
Thu 05 Apr 2012	165.4	5	2.1	Overcast all day
Fri 06 Apr 2012	173.7	6	8.3	Sunny a.m.
Sat 07 Apr 2012	176.6	7	2.9	Overcast all day	April 2012 / KWH
Sun 08 Apr 2012	181.8	8	5.2	Mostly overcast
Mon 09 Apr 2012	183.6	9	1.8	Raining all day
Tue 10 Apr 2012	195.6	10	12.0	Mostly sunny
Wed 11 Apr 2012	204.7	11	9.1	Sunshine and showers
Thu 12 Apr 2012	215.0	12	10.3	Sunshine mostly
Fri 13 Apr 2012	224.5	13	9.5	Sunshine and showers
Sat 14 Apr 2012	229.9	14	5.4	Overcast until late p.m.
Sun 15 Apr 2012	239.6	15	9.7	Mostly sunny
Mon 16 Apr 2012	250.5	16	10.9	Sunny until mid afternoon
Tue 17 Apr 2012	260.4	17	9.9	Sunny a.m., showers p.m.
Wed 18 Apr 2012	264.9	18	4.5	Bright at first, then rain
Thu 19 Apr 2012	271.0	19	6.1	Overcast, wet, sunny spells
Fri 20 Apr 2012	280.9	20	9.9	Sunshine and showers
Sat 21 Apr 2012	290.8	21	9.9	Sunshine and showers
Sun 22 Apr 2012	299.5	22	8.7	Sunshine and showers
Mon 23 Apr 2012	302.4	23	2.9	Raining
Tue 24 Apr 2012	311.4	24	9.0	Sunny periods
Wed 25 Apr 2012	315.9	25	4.5	Raining
Thu 26 Apr 2012	322.9	26	7.0	Sunshine and showers
Fri 27 Apr 2012	326.9	27	4.0	Overcast and showers
Sat 28 Apr 2012	328.5	28	1.6	Overcast
Sun 29 Apr 2012	329.2	29	0.7	Raining all day, dark
Mon 30 Apr 2012	336.5	30	7.3	Overcast a.m., brighter later	203.7	30	6.80	12.5	0.7	-	42.78	3.06	0.097
Tue 01 May 2012	341.5	1	5.0	Raining a.m, brighter later
Wed 02 May 2012	346.5	2	5.0	Bright at first, then overcast
Thu 03 May 2012	347.9	3	1.4	Raining all day, gloomy
Fri 04 May 2012	350.4	4	2.5	Overcast, drizzle
Sat 05 May 2012	357.7	5	7.3	Overcast but brighter
Sun 06 May 2012	366.5	6	8.8	Sunny periods
Mon 07 May 2012	370.5	7	4.0	Raining	May 2012 / KWH
Tue 08 May 2012	377.8	8	7.3	Bright with showers
Wed 09 May 2012	379.4	9	1.6	Overcast, drizzle, dark
Thu 10 May 2012	383.1	10	3.7	Cloud cover all day, occ rain
Fri 11 May 2012	394.3	11	11.2	Sunny periods
Sat 12 May 2012	406.3	12	12.0	Sunny all day
Sun 13 May 2012	418.1	13	11.8	Sunny most of the day
Mon 14 May 2012	424.3	14	6.2	Wet a.m., brighter p.m.
Tue 15 May 2012	433.7	15	9.4	Bright start, sun & showers
Wed 16 May 2012	447.0	16	13.3	Sunny all day
Thu 17 May 2012	453.2	17	6.2	Cloudy but bright
Fri 18 May 2012	457.6	18	4.4	Grey, overcast
Sat 19 May 2012	462.3	19	4.7	Grey, overcast
Sun 20 May 2012	466.9	20	4.6	Grey, overcast
Mon 21 May 2012	477.5	21	10.6	Overcast a.m.,sunny p.m.
Tue 22 May 2012	490.7	22	13.2	Sunny all day
Wed 23 May 2012	503.5	23	12.8	Sunny all day
Thu 24 May 2012	511.8	24	8.3	Misty start, then sunny p.m.
Fri 25 May 2012	523.6	25	11.8	Sunny from 10 am.
Sat 26 May 2012	536.9	26	13.3	Sunny all day
Sun 27 May 2012	548.6	27	11.7	Sunny nearly all day
Mon 28 May 2012	560.9	28	12.3	Sunny & white clouds
Tue 29 May 2012	569.2	29	8.3	Hazy sun all day
Wed 30 May 2012	579.3	30	10.1	Bright with sunny periods
Thu 31 May 2012	585.5	31	6.2	Dull, white clouds	249.0	31	8.00	13.3	1.4	-	52.29	3.74	0.119
Fri 01 Jun 2012	590.8	1	5.3	Grey, overcast
Sat 02 Jun 2012	596.3	2	5.5	Grey, overcast
Sun 03 Jun 2012	600.1	3	3.8	(not recorded)
Mon 04 Jun 2012	609.1	4	9.0
Tue 05 Jun 2012	612.9	5	3.8
Wed 06 Jun 2012	616.8	6	3.9
Thu 07 Jun 2012	620.3	7	3.5		June 2012 / KWH
Fri 08 Jun 2012	623.5	8	3.2
Sat 09 Jun 2012	635.9	9	12.4	Sunny periods
Sun 10 Jun 2012	640.7	10	4.8	Overcast, drizzle
Mon 11 Jun 2012	641.9	11	1.2	Overcast and very dark, drizzle
Tue 12 Jun 2012	650.4	12	8.5	Drizzle, sunny spells p.m.
Wed 13 Jun 2012	658.1	13	7.7	Sunny a.m, then overcast
Thu 14 Jun 2012	663.5	14	5.4	Raining p.m.
Fri 15 Jun 2012	672.8	15	9.3	Sun and showers
Sat 16 Jun 2012	677.5	16	4.7	Sun and prolonged showers
Sun 17 Jun 2012	684.3	17	6.8	Cloudy with some sunshine
Mon 18 Jun 2012	693.3	18	9.0	Sun and clouds
Tue 19 Jun 2012	704.5	19	11.2	Mostly sunny
Wed 20 Jun 2012	714.0	20	9.5	Sunny at first becoming cloudy
Thu 21 Jun 2012	717.7	21	3.7	Rain, overcast
Fri 22 Jun 2012	720.2	22	2.5	Rain, overcast
Sat 23 Jun 2012	723.0	23	2.8	Rain, overcast
Sun 24 Jun 2012	730.9	24	7.9	Sunny periods
Mon 25 Jun 2012	747.0	25	16.1	Beautiful day !
Tue 26 Jun 2012	750.3	26	3.3	Drizzle all day
Wed 27 Jun 2012	754.7	27	4.4	Mainly overcast
Thu 28 Jun 2012	762.3	28	7.6	Overcast a.m., brighter later
Fri 29 Jun 2012	767.0	29	4.7	Rain, overcast
Sat 30 Jun 2012	775.0	30	8.0	Mixed bag	189.5	30	6.30	16.1	1.2	-	39.80	2.84	0.090		203.62
Sun 01 Jul 2012	783.8	1	8.8	Rain, brighter p.m.
Mon 02 Jul 2012	786.3	2	2.5	Raining, dark
Tue 03 Jul 2012	788.1	3	1.8	Raining, dark
Wed 04 Jul 2012	794.4	4	6.3	(not recorded)
Thu 05 Jul 2012	801.9	5	7.5
Fri 06 Jul 2012	804.4	6	2.5	Very wet, floods
Sat 07 Jul 2012	808.1	7	3.7	Drizzle all day	July 2012 / KWH
Sun 08 Jul 2012	816.3	8	8.2	Drizzle a.m., sunny late p.m.
Mon 09 Jul 2012	821.3	9	5.0	Variable
Tue 10 Jul 2012	828.3	10	7.0	White clouds all day
Wed 11 Jul 2012	840.7	11	12.4	Mostly sunny
Thu 12 Jul 2012	845.5	12	4.8	Drab, some drizzle
Fri 13 Jul 2012	851.5	13	6.0	Wet
Sat 14 Jul 2012	857.0	14	5.5	Varied
Sun 15 Jul 2012	866.2	15	9.2	Sunny spells
Mon 16 Jul 2012	869.0	16	2.8	Drizzle all day
Tue 17 Jul 2012	878.6	17	9.6	Cloudy with sunny periods
Wed 18 Jul 2012	882.8	18	4.2	Drizzle and rain all day
Thu 19 Jul 2012	893.0	19	10.2	Bright start, bright end
Fri 20 Jul 2012	902.4	20	9.4	Sunny periods, rain late p.m.
Sat 21 Jul 2012	913.4	21	11.0	Sunny spells
Sun 22 Jul 2012	926.4	22	13.0	Sunshine all day
Mon 23 Jul 2012	939.4	23	13.0	Sunshine all day
Tue 24 Jul 2012	952.1	24	12.7	Sunshine all day
Wed 25 Jul 2012	963.8	25	11.7	Sunshine all day
Thu 26 Jul 2012	974.8	26	11.0	Hazy sunshine all day
Fri 27 Jul 2012	987.0	27	12.2	Sunshine all day
Sat 28 Jul 2012	999.3	28	12.3	Sunshine all day
Sun 29 Jul 2012	1009.6	29	10.3	Rain all a.m., sunny p.m.
Mon 30 Jul 2012	1019.4	30	9.8	Sunny intervals
Tue 31 Jul 2012	1023.9	31	4.5	Wet and gloomy	248.9	31	8.00	13.0	1.8	-	52.27	3.73	0.119
Wed 01 Aug 2012	1029.3	1	5.4	Cloudy, sun noon, rain later
Thu 02 Aug 2012	1035.6	2	6.3	Cloudy and wet
Fri 03 Aug 2012	1043.5	3	7.9	Mixed bag
Sat 04 Aug 2012	1052.4	4	8.9	Sun, clouds, heavy showers
Sun 05 Aug 2012	1059.3	5	6.9	Heavy showers, little sun
Mon 06 Aug 2012	1064.8	6	5.5	Grey, occasional heavy showers
Tue 07 Aug 2012	1068.7	7	3.9	Dull, overcast, rain p.m.	August 2012 / KWH
Wed 08 Aug 2012	1074.8	8	6.1	Dull and grey, brighter p.m.
Thu 09 Aug 2012	1083.0	9	8.2	Bright clouds, sunny periods
Fri 10 Aug 2012	1094.7	10	11.7	Sunny all day, v.hot
Sat 11 Aug 2012		11	6.8	On holiday ! (figures averaged over 8 days)
Sun 12 Aug 2012		12	6.8
Mon 13 Aug 2012		13	6.8
Tue 14 Aug 2012		14	6.8
Wed 15 Aug 2012		15	6.8
Thu 16 Aug 2012		16	6.8
Fri 17 Aug 2012		17	6.8
Sat 18 Aug 2012	1149.4	18	6.8
Sun 19 Aug 2012	1156.9	19	7.5	Sunny periods
Mon 20 Aug 2012	1166.9	20	10.0	Grey gloomy start, sun later
Tue 21 Aug 2012	1171.4	21	4.5	Grey a.m., wet p.m.
Wed 22 Aug 2012	1181.7	22	10.3	Sunny spells, better p.m.
Thu 23 Aug 2012	1188.0	23	6.3	Grey start, some bright spells
Fri 24 Aug 2012	1191.4	24	3.4	Wet
Sat 25 Aug 2012	1198.2	25	6.8	Occasional downpours
Sun 26 Aug 2012	1207.4	26	9.2	Fairly sunny
Mon 27 Aug 2012	1209.7	27	2.3	Very wet
Tue 28 Aug 2012	1218.9	28	9.2	Sunny spells a.m.
Wed 29 Aug 2012	1222.2	29	3.3	Dark and wet until 4pm
Thu 30 Aug 2012	1232.9	30	10.7	Mostly sunny
Fri 31 Aug 2012	1243.1	31	10.2	Sunny a.m., cloudy p.m.	219.2	31	7.10	11.7	2.3	-	46.04	3.29	0.104
Sat 01 Sep 2012	1249.5	1	6.4	Some sunshine
Sun 02 Sep 2012	1251.9	2	2.4	Grey all day
Mon 03 Sep 2012	1258.3	3	6.4	Bright but not sunny until pm.
Tue 04 Sep 2012	1263.1	4	4.8	Grey, little sunshine pm.
Wed 05 Sep 2012	1274.6	5	11.5	Mostly sunny from the start
Thu 06 Sep 2012	1285.5	6	10.9	Mostly sunny from dawn	September 2012 / KWH
Fri 07 Sep 2012	1297.9	7	12.4	Sunny from dawn
Sat 08 Sep 2012	1307.6	8	9.7	Same again, hazy late afternoon
Sun 09 Sep 2012	1316.2	9	8.6	Sunny a.m., cloudy p.m.
Mon 10 Sep 2012	1320.4	10	4.2	Grey and cloudy, some rain
Tue 11 Sep 2012	1330.9	11	10.5	Sunny start...dull late afternoon
Wed 12 Sep 2012	1336.8	12	5.9	Grey clouds, drizzle, bright later
Thu 13 Sep 2012	1348.7	13	11.9	Mostly sunny
Fri 14 Sep 2012	1356.2	14	7.5	Wet start, rain clearing
Sat 15 Sep 2012	1361.8	15	5.6	Bright start, dulling over
Sun 16 Sep 2012	1365.3	16	3.5	Grey, no sunshine
Mon 17 Sep 2012	1369.1	17	3.8	Grey all day again, rain evening
Tue 18 Sep 2012	1379.4	18	10.3	Sunny much of the day
Wed 19 Sep 2012	1389.2	19	9.8	Sunny much of the day
Thu 20 Sep 2012	1394.7	20	5.5	Bright a.m., dull p.m.
Fri 21 Sep 2012	1398.2	21	3.5	Grey all day, drizzle
Sat 22 Sep 2012	1409.2	22	11.0	Fine day, some cirrus cloud
Sun 23 Sep 2012	1409.9	23	0.7	Wet wet wet, absolutely vile					} Remnants of hurricane Nadine.
Mon 24 Sep 2012	1413.1	24	3.2	Still wet					} Most intense September storm
Tue 25 Sep 2012	1420.5	25	7.4	Bight start, then more showers					} for 30 years
Wed 26 Sep 2012	1424.0	26	3.5	Heavy showers, little sun
Thu 27 Sep 2012	1432.6	27	8.6	Sunny morning and later pm.
Fri 28 Sep 2012	1436.5	28	3.9	Drizzle a.m., brightening
Sat 29 Sep 2012	1447.5	29	11.0	Sunny a.m., sunny p.m.
Sun 30 Sep 2012	1451.1	30	3.6	Grey a.m. Sunny periods p.m.	208.0	30	6.90	12.4	0.7	-	43.68	3.12	0.099		152.78
Mon 01 Oct 2012	1456.7	1	5.6	White cloud, little sun, rain p.m.
Tue 02 Oct 2012	1460.0	2	3.3	Grey all day, wet later
Wed 03 Oct 2012	1467.0	3	7.0	Wet start, brightening, showers
Thu 04 Oct 2012	1473.4	4	6.4	Sunny periods and showers
Fri 05 Oct 2012	1474.7	5	1.3	Dismal, turning wet p.m.
Sat 06 Oct 2012	1485.0	6	10.3	Bright and sunny all day
Sun 07 Oct 2012	1491.6	7	6.6	Sunny again, clouding p.m.	October 2012 / KWH
Mon 08 Oct 2012	1492.6	8	1.0	Grey and drizzling
Tue 09 Oct 2012	1493.7	9	1.1	Dark and raining hard
Wed 10 Oct 2012	1495.8	10	2.1	Grey again
Thu 11 Oct 2012	1496.6	11	0.8	And again, more rain
Fri 12 Oct 2012	1503.0	12	6.4	Sunny periods and showers
Sat 13 Oct 2012	1510.4	13	7.4	Sunny, showers p.m.
Sun 14 Oct 2012	1519.5	14	9.1	Sunny most of the day
Mon 15 Oct 2012	1521.7	15	2.2	Very wet
Tue 16 Oct 2012	1529.4	16	7.7	Sunny start, cloudy occasionally
Wed 17 Oct 2012	1536.5	17	7.1	Sunny periods
Thu 18 Oct 2012	1540.0	18	3.5	Sunny periods
Fri 19 Oct 2012		19
Sat 20 Oct 2012		20
Sun 21 Oct 2012		21
Mon 22 Oct 2012		22
Tue 23 Oct 2012		23
Wed 24 Oct 2012		24
Thu 25 Oct 2012		25
Fri 26 Oct 2012		26
Sat 27 Oct 2012		27
Sun 28 Oct 2012		28
Mon 29 Oct 2012		29
Tue 30 Oct 2012		30
Wed 31 Oct 2012		31			88.9	18	4.90	10.3	0.8	-	18.67	1.33	0.042
Thu 01 Nov 2012		1
Fri 02 Nov 2012		2
Sat 03 Nov 2012		3
Sun 04 Nov 2012		4
Mon 05 Nov 2012		5
Tue 06 Nov 2012		6
Wed 07 Nov 2012		7			November 2012 / KWH
Thu 08 Nov 2012		8
Fri 09 Nov 2012		9
Sat 10 Nov 2012		10
Sun 11 Nov 2012		11
Mon 12 Nov 2012		12
Tue 13 Nov 2012		13
Wed 14 Nov 2012		14
Thu 15 Nov 2012		15
Fri 16 Nov 2012		16
Sat 17 Nov 2012		17
Sun 18 Nov 2012		18
Mon 19 Nov 2012		19
Tue 20 Nov 2012		20
Wed 21 Nov 2012		21
Thu 22 Nov 2012		22
Fri 23 Nov 2012		23
Sat 24 Nov 2012		24
Sun 25 Nov 2012		25
Mon 26 Nov 2012		26
Tue 27 Nov 2012		27
Wed 28 Nov 2012		28
Thu 29 Nov 2012		29
Fri 30 Nov 2012		30			0.0	0		0.0	0.0	-	0.00	0.00	0.000
Sat 01 Dec 2012		1
Sun 02 Dec 2012		2
Mon 03 Dec 2012		3
Tue 04 Dec 2012		4
Wed 05 Dec 2012		5
Thu 06 Dec 2012		6
Fri 07 Dec 2012		7
Sat 08 Dec 2012		8
Sun 09 Dec 2012		9
Mon 10 Dec 2012		10
Tue 11 Dec 2012		11
Wed 12 Dec 2012		12
Thu 13 Dec 2012		13
Fri 14 Dec 2012		14
Sat 15 Dec 2012		15
Sun 16 Dec 2012		16
Mon 17 Dec 2012		17
Tue 18 Dec 2012		18
Wed 19 Dec 2012		19
Thu 20 Dec 2012		20
Fri 21 Dec 2012		21
Sat 22 Dec 2012		22
Sun 23 Dec 2012		23
Mon 24 Dec 2012		24
Tue 25 Dec 2012		25
Wed 26 Dec 2012		26
Thu 27 Dec 2012		27
Fri 28 Dec 2012		28
Sat 29 Dec 2012		29
Sun 30 Dec 2012		30
Mon 31 Dec 2012		31			0.0	0		0.0	0.0	-	0.00	0.00	0.000

Total for 2012			1539.4	KiloWatt hours		219					375.85				356.40

Daily average 2012			7.0	KiloWatt hours per day

## Monthly 2012
Month	Generated kWh	Days running	Daily average	Monthly maximum	Monthly minimum	Monthly earnings	Monthly earnings	Monthly earnings	Daylight (hours)	Daylight hrs x30	CO2 saving (tonnes)		EDF Payment	Calculated payment
'2012						@43.3p /kWh	@21p /kWh	@3p on 50%

Jan	0.0		0.0						8	240	0.00
Feb	0.0		0.0						9	270	0.00
Mar	132.2	18	7.3	11.5	1.3	57.24	-	1.98	11	330	0.06		Half month !!
Apr	203.7	30	6.8	12.5	0.7	-	42.78	3.06	13	390	0.10
May	249.0	31	8.0	13.3	1.4	-	52.29	3.74	15	450	0.12
Jun	189.5	30	6.3	16.1	1.2	-	39.80	2.84	16	480	0.09		203.62	203.72
Jul	248.9	31	8.0	13.0	1.8	-	52.27	3.73	16.5	495	0.12		The wettest summer
Aug	219.2	31	7.1	11.7	2.3	-	46.04	3.29	16	480	0.10		since 1912 (Met.Office)
Sep	208.0	30	6.9	12.4	0.7	-	43.68	3.12	14	420	0.10		152.78	152.13
Oct	88.9	18	4.9	10.3	0.8	-	18.67	1.33	11	330	0.04
Nov	0.0	0		0.0		-	0.00	0.00	10	300	0.00
Dec	0.0	0		0.0		-	0.00	0.00	8	240	0.00		0.00	20.00

TOTAL	1539.4	219	7.0	16.1	0.7	57.24	295.52	23.09			0.73

Earnings								375.85					356.40	375.85

		Total monthly generation (KWH) compared to daylight hours x30 / Month

		Minimum, Average and Maximum daily generation (KWH) compared to daylight hours / Month

## Annually
Year		Generated kWh	Days running	Daily average	Monthly maximum	Monthly minimum	CO2 saving (tonnes)
								Total annual generation (KWH) / Year 20XX / KWH
2012	12	1539.4	219	7.0	16.1	0.7	0.73
2013	13
2014	14
2015	15
2016	16
2017	17
2018	18
2019	19
2020	20
2021	21
2022	22
2023	23
2024	24
2025	25
2026	26
2027	27
2028	28
2029	29
2030	30
2031	31
2032	32
2033	33
2034	34
2035	35
2036	36
2037	37
Total		1539.4	219	7.0	16.1	0.7	0.73