## MenuItems
3.49% | 5 | 0 | Savings Account | Monthly | Measure | Life |  | 3.49% | Yes | Insulation TRC Eligible? | CASH BACK HOI AND FINANCING INCENTIVE |  |  |  | FINANCING INCENTIVE ONLY
3.99% | 10 |  | Certificate of Deposit (CD) | Annual |  |  | HEMI | 3.99% | No | Yes-Program Rules for Insulation | Measure | Category | Minimum Efficiency Requirements | Measure Life Category | Measure | Category | Minimum Efficiency Requirements | Measure Life Category
| 15 |  |  | Loan Term | Envelope - Roof Insulation | 30 | Assisted |  |  | Yes-TRC Screening Tool
[5 empty] | Envelope- Rim Joist Insulation | 30 |  |  |  | No-Fails TRC | Furnace – Natural Gas **1,2 | Primary Heating and Cooling System | AFUE 92% (as long as not prohibited by local codes). Furnaces with ECM Motor allowed. | 20 | Replacement Windows | Building Shell | ENERGY STAR for climate/region | 20
[5 empty] | Envelope- Ceiling Insulation | 30 |  |  |  |  | Furnace – LP **1,2 | Primary Heating and Cooling System | AFUE 92% (as long as not prohibited by local codes). Furnaces with ECM Motor allowed. | 20 | Storm Windows and Storm Doors | Building Shell | No minimum efficiency requirement | 20
[5 empty] | Envelope- Floor Insulation | 30 |  |  |  | CAC TRC Eligible? | Furnace – Fuel Oil **1,2 | Primary Heating and Cooling System | AFUE 85% | 20 | Movable Window Insulation | Building Shell | R-3 | 20
[5 empty] | Envelope - Wall Insulation | 30 |  |  |  | Yes-ConEd or Central Hudson Utility Area | Boiler - Condensing **1 | Primary Heating and Cooling System | AFUE 90% | 25 | Exterior Doors | Building Shell | ENERGY STAR for climate/region | 20
[5 empty] | HVAC - Central AC/HP | 15 |  |  |  | Yes-TRC Screening Tool | Boiler – Hot Water **1 | Primary Heating and Cooling System | AFUE 85% | 25 | Air Source Heat Pump (electric split systems) **1,2 | Primary Heating and Cooling System | 14.5 SEER / 12 EER / 8.5 HSPF | 20
[10 empty] | No-Fails TRC | Boiler – Steam **1 | Primary Heating and Cooling System | AFUE 82% (size must be matched to cumulative capacity of connected radiators, per Institute of Boilers & Radiator Mfrs (IBR) standards) | 25 | Ground Source Heat Pump **1,2 | Primary Heating and Cooling System | ENERGY STAR Qualified (closed-loop, open-loop, or direct expansion) | 20
[11 empty] | Boiler Reset Controls | Primary Heating and Cooling System | Programmed properly per manufacturer’s specifications and site conditions. Maximum price of $250. | 15 | Wood/or Solid Fuel Pellet Stove **1 | Primary Heating and Cooling System | EPA phase 2 (Solid fuel pellet stoves are exempt from EPA Phase 2) | 20
[10 empty] | Heat Pump Water Heater TRC Eligible? | Distribution Improvements in Oil or Propane Heated Homes **1,3 | Primary Heating and Cooling System | Installed in accordance with all applicable state and local codes | 20 | Distribution Improvements (NG or Electricity Heated Homes) **1,3 | Primary Heating and Cooling System | Installed in accordance with all applicable state and local codes. | 20
[10 empty] | Yes-TRC Screening Tool | Duct Sealing **1 | Primary Heating and Cooling System | UL 181B Mastic or other permanent sealant; use of duct tape is disallowed | 20 | Solar Thermal **1 | Primary Heating and Cooling System | OG-300 certification from SRCC. SF 0.5. Warranty: 10 years-collector, 6 years-storage tank. 2 years-control. 1 year-piping and parts. | 20
[10 empty] | No-Fails TRC | Pipe Insulation - Natural Gas **1 | Primary Heating and Cooling System | R-3 | 11 | Water Heater - Natural Gas | Water Heater | <51 gallon EF.63 / >51 gallon EF.53 | 15
[11 empty] | Pipe Insulation - Electric **1 | Primary Heating and Cooling System | R-3 | 13 | Water Heater - Natural Gas, Instantaneous | Water Heater | Instantaneous: EF .78 | 20
[10 empty] | LED TRC Eligible? | Central Air Conditioner (split system) **1,4 | Primary Heating and Cooling System | AHRI Certificate Required. 14.5 SEER / 12 EER. Except in Con Edison and Central Hudson electric territory, this measure is subject to site-specific analysis and pre-approval by CSG in order to determine eligibility. | 15 | Water Heater - Electric | Water Heater | EF .93 | 15
[10 empty] | Yes-on the Eligible LED list | Programmable Thermostat **1 | Primary Heating and Cooling System | 5+2 day programmable thermostat. Limited to one thermostat installed per unit. | 11 | Hot Water Tank Insulation - Natural Gas or Electric | Water Heater | R-10 | 20
[10 empty] | Yes-TRC Screening Tool | Insulation (attic, wall, floor, band joist, basement, crawl space) | Building Shell | Must be accompanied by blower door assisted air sealing per BPI and program guidelines. Those measures falling outside of the "Program Rules for Insulation Policy" must pass the "TRC Screening Tool" (see tab below). | 30 | Dishwasher | Appliances & Lighting | ENERGY STAR Qualified | 15
[10 empty] | No-Fails TRC | Air Sealing | Building Shell | Supervised by professional; blower door assisted per BPI and program guidelines | 15 | Clothes washer | Appliances & Lighting | ENERGY STAR Qualified | 15
[11 empty] | Water Heater - Propane or Oil | Water Heater | <51 gallon EF.63 / >51 gallon EF.53 | 15 | LEDs **5 | Appliances & Lighting | ENERGY STAR Qualified | 7
[11 empty] | Water Heater - Propane or Oil, Instantaneous | Water Heater | Instantaneous: EF .78 | 20 | Light Fixtures **5 | Appliances & Lighting | ENERGY STAR Qualified for compact fluorescent, or electronic ballast for fluorescent tubes | 20
[11 empty] | Water Heater - Indirect-Fired Tank | Water Heater | UL Approved | 13 | Smoke Detectors, Radon Detectors, and CO Detectors | Health and Safety | Hard wired or battery operated | 0
[11 empty] | Hot Water Tank Insulation – Oil or Propane | Water Heater | R-10 | 20 | Ventilation Fans (Whole house fans or similar attic exhaust fans are not eligible) | Health and Safety | ENERGY STAR Qualified (must vent to exterior of building shell) | 0
[11 empty] | Heat Pump Water Heater | Water Heater | Subject to site-specific TRC analysis and pre-approval by CSG in order to determine eligibility. See "TRC Screening Tool" tab. | 10 | Repairs/upgrades to heating and/or DHW systems to correct spillage, inadequate draft, CO failures | Health and Safety | Per code and/or manufacturer specifications, as appropriate | 0
[11 empty] | Faucet Aerator | Conservation | No minimum efficiency requirement | 10 | Measures to provide sufficient combustion air and prevent CAZ depressurization, spillage or inadequate draft | Health and Safety | Allowed when BPI-required combustion safety tests indicate problem(s) with CAZ depressurization, draft or spillage, per BPI standards | 0
[11 empty] | Low Flow Showerhead | Conservation | Maximum flow rate of 1.5 gallons per minute. Aerating type showerheads not eligible. | 10 | Gas leak repair | Health and Safety | Repaired in compliance with applicable codes | 0
[11 empty] | Refrigerator **5 | Appliances & Lighting | ENERGY STAR Qualified. Existing refrigerators must be greater than 10 years old to be eligible for replacement. | 17 | Dry vent repair | Health and Safety | Repaired in compliance with applicable codes | 0
[11 empty] | Freezer **5 | Appliances & Lighting | ENERGY STAR Qualified | 15 | Heat/Energy Recovery Ventilator | Health and Safety | No minimum efficiency requirement | 0
[11 empty] | Dehumidifier **5 | Appliances & Lighting | ENERGY STAR Qualified | 15 | Gas Oven Replacements, venting repairs and repairs to reduce carbon monoxide | Health and Safety | UL Listed Gas Ovens | 0
[11 empty] | Room Air Conditioner **5 | Appliances & Lighting | ENERGY STAR Qualified | 9 | Other | Other
[11 empty] | CFLs **5 | Appliances & Lighting | ENERGY STAR Qualified | 7
[11 empty] | LEDs **5 | Appliances & Lighting | Please refer to the Contractor Support Site portal for a list of eligible LEDs. | 7
[11 empty] | Other | Other

## PV Loan Calculator
15
| Project Information |  |  |  |  | Customer Information
| $150 Processing Fee Financed? |  | Yes |  |  | Name: | Jane Smith
| Total Cost of Project |  | 27000 |  |  | Address: | 123 Central St
!!! Loan Amount > $25,000. Please enter -$4,550.00 in Customer Contribution below !!!
| NYSERDA PV Incentive |  | 6700 |  |  | City, State, Zip: | Syracuse, NY 12345
| Annual kWh Produced by System |  | 10500
| Customer Utility |  | NYSEG |  |  | PV Installer/Contractor Information
| Customer Contribution |  | 0 |  |  | Name: | ABC Contractor
| Annual Value of kWh Generated (Estimated) |  | 1395.45
| Average Measure Life (Years) |  | 20
Loan Eligibilitity Criteria |  | On-Bill Recovery Loan at 3.49% APR |  |  | Smart Energy Loan at 3.49% APR |  |  | Smart Energy Loan at 3.99% APR
|  | 5 Year | 10 Year | 15 Year | 5 Year | 10 Year | 15 Year | 5 Year | 10 Year | 15 Year
| SIR | 1.35 | 1.24 | 1.15 | 1.35 | 1.24 | 1.15 | 1.33 | 1.21 | 1.11
Required Customer Contribution
-or-
Required FY Savings
| LoanPrincipal Compliance Value | 27615.8847 | 25407.8509 | 23435.2089 | 27615.8847 | 25407.8509 | 23435.2089 | 27278.7967 | 24815.6761 | 22649.0966
| Savings Compliance value | 1033.3528 | 1123.1549 | 1217.6957 | 1033.3528 | 1123.1549 | 1217.6957 | 1046.1221 | 1149.9567 | 1259.9599
| SIR | 1.35 | 1.24 | 1.15 | 1.35 | 1.24 | 1.15 | 1.33 | 1.21 | 1.11
| Cash Flow Eligibility | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Loans >$13,000 Payback Must be <=15 Years
OBR- 1/12th Rule Smart Energy- loan term <= average measure life
| Required Customer Contribution | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
-or-
| Required FY Savings | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| LoanPrincipal Compliance Value (1/12) | 6497.0204 | 12198.0579 | 17221.7693 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| FY Savings Compliance value (1/12) | 4392.3138 | 2339.4669 | 1657.0279 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Monthly Cash flow (1/12) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| LoanPrincipal Compliance Value (Payback) | #NAME? | #NAME? | #NAME?
| FY Savings Compliance value (Payback) | #NAME? | #NAME? | #NAME?
| Payback Period | #NAME? | #NAME? | #NAME?
Loan Calculator
|  | On-Bill Recovery Loan |  |  | Smart Energy Loan |  |  | Personal Loan
Loan Information
| Loan Amount (Above) |  | 20450
| Term in Years |  | 10
| Interest |  | 3.49% |  |  | 3.49% |  |  | 12%
Payment Information
| Monthly Payment |  | 202.1258 |  |  | 202.1258 |  |  | 293.3981
| Total Invested |  | 24255.0979 |  |  | 24255.0979 |  |  | 35207.7707
| Interest Accrued |  | 3805.0979 |  |  | 3805.0979 |  |  | 14757.7707
Savings After Improvement
Monthly
| Dollar Savings |  | 120.5644
| Loan Payment Amount |  | 202.1258 |  |  | 202.1258 |  |  | 293.3981
| Net |  | -81.5614 |  |  | -81.5614 |  |  | -172.8337
| Project Lifetime Energy Savings |  | 30135.4481 |  |  | 30135.4481 |  |  | 30135.4481
| Simple Payback Period (Years) |  | 14.6548 |  |  | 14.6548 |  |  | 14.6548
Notes
PV Installer/Contractor Notes
| NYSERDA Notes |  | NYSERDA Project Number |  |  |  |  | Reviewed by
| Central Hudson | 0.12584
| ConEd | 0.21515
| NYSEG | 0.1329
| NGRID Upstate | 0.10891
| O & R | 0.17315
| RG&E | 0.09639
KEY
Yellow Cells are Required Input
*Note: The monthly payment is an estimate and may be adjusted in the Loan Agreement. The annual value of kWh generated will vary based upon your system operation and the cost per kWh which is subject to change.