enligt 09/05 11900.10004

Dessa instruktioner har utformats med omsorg. Men, PETER electronic GmbH & Co. KG tar inte ansvar för skador uppkomna genom misstag som kan härledas till denna manual. Tekniska ändringar som syftar till att förbättra produkten kan införas utan förvarning.
# 1. Säkerhet
Instruktionerna gäller för elektrisk utrustning i applikationer i elektriska anläggningar. Otillåten borttagning av skyddskåpa under drift, kan utgöra fara för liv och egendom då dessa enheter innehåller strömförande delar med hög spänning.

Justeringsarbete får bara utföras av utbildad personal som fölker säkerhetsföreskrifterna. Monteringsarbete får bara utföras när enheten är utan ström.

Se till att alla drivsystemets komponenter är korrekt jordade.
Läs dessa driftsättningsinstruktioner noggrant innan den elektroniska bromsenheten sätts i drift.

Dessutom måste användaren se till att enheten med tillhörande komponenter monteras och kopplas i enlighet med gällande lokala juridiska och tekniska regler. VDE-reglerna VDE 0100, VDE 0110, VDE 0160 och VDE 0113, samt passande regler från TÜV (Technical Inspectorate) och arbetsgivarens ansvarsförsäkring gäller i Tyskland.

Användaren måste tillse att drivenheten hanteras på ett säkert sätt efter ett haveri, i händelse av felaktig operation eller om om kontrollenheten gått sönder osv.

Terminalanslutningarna X3, X4 (start) och X14, X15 (Motor PTC) är ledande med fasspänningspotential Om en brytare ansluts till dessa terminaler, måste den klara en testspänning på 2,5 kV.

Även om motorn står still är den inte fysiskt bortkopplad från matningsspänningen.
# 2. Declaration of conformity
I dagligt tal i industrin är kallas elektroniska bromsar, såsom VersiBrake... för ”enheter”, men, i enlighet med "device-safety-law", "EMC-law" eller "EC maskindirektivet" är de inte enheter eller maskiner färdiga för bruk, utan komponenter. Deras funktion kan bara definieras när de är integrerade i färdiga anläggningen.

För att kunna använda enheterna som tänkt, krävs det att matningen följer DIN EN 50160 (IEC38).

Användaren ansvarar för att utformning och konstruktionen följer gällande regler.

Driftsättning är strikt förbjuden så länge den slutliga produkten inte uppfyller bestämmelserna enligt 89/392/EC (maskindirektivet) and 73/23/EC (Low voltage directive) is not proved.

Enheterna i VersiBrake serien är elektrisk utrustning som används i industriella elektriska anläggningar. De appliceras i maskiner för att sakta ned roterande massor anslutna till 3-fas induktionsmotorer. Med hänsyn till riktlinjerna för installation, uppfyller de följande krav:

Utstrålad störning:	Kontinuerlig drift	EN 50081-1	(Emitted interference)
Bromsning	EN 60947-4
Störimmunitet:	EN 50082-2	(Immunity to interference)

Dr. Thomas Stiller
Managing Director
# 3. Beskrivning
De elektroniska bromsarna typ VersiBrake, ger slitagefri bromsming till 3-fasmotorer och asynkrona växelströmsmotorer. Bromsenheterna är till för sakta ned driften på ett säkert och tillförlitligt sätt. Sedan motorn kommit till stillestånd, en integrerad stilleståndsdetektor bryter bromsströmmen. En potentialfri reläkontakt indikerar om motorn inte stannat inom föreskriven tid.

Speciella egenskaper	Applikationsexempel
• mikrokontrollerstyrd / • slittålig och underhållsfri / • monteringsbar i befintliga anläggningar / • även särskilda spänningar är möjliga / • för alla asynkrona motorer / • integrerad bromskontaktor (upp till 60A) / • automatisk remanenstidsoptimering / • överströmsdetektion / • motorövervakning med PTC / • Y-D kopplingskontroll / • relä för stilleståndsdetektering / • Brett spänningsområde Tillval „P“ / Tillval „D“ / Tillval „S“ / Tillval „B“	• sågar / • centrifuger / • träbearbetningsmaskiner / • textilmaskiner / • löpande band

# 4. Blockschema

# 5. Funktionsbeskrivning (se anslutningsschema)
After switching on the operating voltage on 1L1 and 3L2, the main contactor interlock X5, X6 (lock) and the fault signalling contact X7, X8 (alarm) close. The motor can be started.
A starting logic makes sure that braking is not yet initiated when the plant is switched on with the master switch while the motor is still switched off.
The fully automatic run of the braking interval starts with the switch-off of the motor contactor which at the same time closes the contact X3, X4 (start). During braking, the main contactor is interlocked via the contact X5, X6 (lock). After a delay time which, dependent on the amount of the remanent voltage of the motor, optimizes itself, the braking relay pulls in. Then an adjustable d.c. voltage is applied to the motor winding. The magnetic field resulting from this has a braking effect on the still rotating rotor. The d.c. voltage is generated by a thyristor phase control. Special circuits protect the power semiconductors against overvoltage. With the potentiometer "I" the braking torque can be adjusted in wide ranges. Experience shows that a braking current 2.5 times as high as the rated motor current has a good braking effect.
Adjustments exceeding the rated motor current are indicated by a flashing „ready“-LED.
Approx. 1.5s after a motor standstill has been detected, the integrated standstill detection function switches the braking current off.
If during the maximum braking time (15s in the case of standard devices) no motor standstill is detected, the fault signalling contact on the terminals X7, X8 (alarm) opens. When restarting the motor, the signalling contact will be reset.

Attention! In the case of some motor types no standstill will be detected if the braking current exceeds four times the amount of the rated motor current. In this case it is possible that a very high braking current flows over the maximum braking time. Therefore, in order to protect the motor and the braking electronics, it is absolutely necessary to check the braking current with a true r.s.m. measuring instrument when putting the device into operation. In this case, simple multimeters and clamp-on probes give wrong measurements, since they are only suitable for pure sine-wave forms and not for phase control.
If, due to the fact that heavy rotating masses are to be slowed down, the braking time at rated device current is still too long, a device of the next higher performance category is to be used.
## 5.1 LED indicators
LED – ready	- illuminated / - flashing	Mains voltage is applied, braking device is ready. / Braking current is higher than rated device current.
LED – I	- illuminated	Braking current flows.

## 5.2 Option „P“ – Motor PTC monitoring
This option enables a simple monitoring of the motor temperature. It is possible to evaluate up to 6 PTC-thermistors or thermostats (normally closed contact) connected in series.
The contact X7, X8 (alarm) opens when the cut-out temperature value is reached. The contact remains open until the temperature falls below this value again, at least, however, for a period of 240s.
This monitoring function is able to detect overtemperatures and open circuits, but no short circuits of the PTC thermistors or thermostats.
Attention!	The terminals X14 and X15 carry mains potential; when laying the connecting leads make sure to protect them against inadvertent contact.

## 5.3 Option „D“ – Star-delta starting
If start-delta starting is requested, it is possible with this option to control the power contactors. In this case, a normally closed contact of the mains contactor is connected to X3, X4 (start) (see connection diagram with options).
The closing of the mains contactor starts the following sequence:
	The potential-free contact X11, X12 will be closed (control of the star contactor). / After a period of 6s X11, X12 will be opened / After a delay of 60ms the potential-free contact X12, X13 will be closed (control of the delta contactor).
The opening of the mains contactor starts the following sequence:
	The contact X12, X13 will be opened (delta contactor will be switched off). / After the drop of the remanent voltage, X11, X12 will be closed (control of the star contactor). / When the contact bounce time is over, the braking current will flow for approx. 1.5s after the motor standstill.

## 5.4 Option „S“ – Standstill signalling relay
This option makes the motor standstill signal available on a potential-free contact (X16, X17). Possible states on X16, X17:
No voltage applied to VersiBrake	Contact X16, X17 opened
Voltage applied to VersiBrake	Contact X16, X17 closed
Motor contactor K1 pulled in (X3, X4 opened), motor running	Contact X16, X17 opened
Motor contactor K1 dropped out (X3, X4 closed), motor braking	Contact X16, X17 opened
Motor contactor K1 dropped out (X3, X4 closed), motor at rest	Contact X16, X17 closed

## 5.5 Option „B“ – Wide-voltage-range-capable
With this option it is possible to use the VersiBrake–devices within a mains voltage range from 200 to 575V (UL-certificated devices: 200...480V).
This requires a control voltage of 230V AC which has to be connected to X1, X2.
Note!	In the case of standard devices these options are not available, even if the terminals are there. / The required options have to be expressly ordered.

# 6. Technical data
Type designation VB ....		230-25 / 400-25
Mains voltage / according to DIN EN 50160 (IEC38)		VB 230 ... / VB 400 ...	220/240V ±10% 50/60Hz / 380/415V ±10% 50/60Hz	other voltages / upon request
Power draw of the electronics		6 VA
max. Motor rating	at 220/240V / at 380/415V	3kW / 5.5kW
Rated device current		25A
c.d.f. at max. braking current		8%
ext. semiconductor fuse „ high-speed“		25A UL : SIBA 6003434.25
Braking voltage		0 ... 130VDC at 220/240V / 0 ... 220VDC at 380/415V
max. Braking time		15sec. (other times upon request)
Contact rating of the output relays		6A/250V~
Delay time for reduction of residual e.m.f.		self-optimizing (100 ... 2500ms)
min. Cross-sectional area / connecting / cable		1.5mm²

## 6.1 Ambient conditions
Storage temperature	-25 ... 75°C
Operating temperature	0 ... 45°C
Degree of protection	IP 20
Environment	Overvoltage category III, pollution degree 2

# 7. Connection
The braking device is to be installed according to the attached connection diagram. For other connections please consult Peter electronic GmbH & Co. KG.
Prior to putting the motor brake into operation, the wiring has to be checked. To ensure a reliable functioning it is important to keep to the interlocking conditions:
1.	To initiate braking, a potential-free normally closed contact of the main contactor is necessary, i.e., when the motor contactor is dropped out, the terminals X3, X4 (start) of the braking device are connected.
2.	The interlocking contact of the braking device (terminals X5, X6 (lock)) has to be looped into the control circuit of the motor contactor, so that the motor contactor cannot pull in during braking.

# 8. Commissioning
Sequence of commissioning:
1.	Disconnect the plant from the supply mains.
2.	Connect the current measuring instrument between the braking device, terminal „2T1“, and the motor terminal „U“. / The adjustment of the braking current requires a moving-iron instrument. / Clamp-on probes or digital multimeters may only be used if they can measure the true r.m.s..
3.	Turn the potentiometer "I" to a position in the first third of the adjustment range (factory setting).
4.	Switch on the plant.
5.	Initiate braking by switching the motor contactor ON and OFF.

## 8.1 Adjusting the braking current
The braking current is to be adjusted to a value as small as possible, in order to avoid unnecessary heating of the power semiconductors and the motor. This is especially important in the case of frequent operation. We recommend to limit the maximum braking current to 2.5 times the rated motor current.
The requested braking torque is to be adjusted with the potentiometer "I". It is important that the braking current does not exceed the rated device current which is indicated on the nameplate of the device.
A braking current higher than the rated device current causes a flashing „ready“-LED. In this case, the potentiometer „I“ has to be turned back to a position where the flashing goes over into a steady light.
Attention: When the „ready“-LED is flashing, the current flowing in the device is approx. 1.3 times as high as the rated device current. Operating the device with the LED flashing and utilizing the permissible braking frequency will cause that the braking device is overloaded and consequently destroyed.
## 8.2 Adjusting the braking time
An adjustment is not necessary, since 1.5s after the motor has come to a standstill the braking current will be automatically switched off.
If during the maximum braking time (15s in the case of standard devices) no standstill is detected, the braking current will be switched off after this time. This case will be indicated by an opening of the potential-free contact (X7, X8).

## 8.3 Permissible braking frequency
The braking frequency depends on the adjusted braking current.
The braking devices of the VB 230/400-25 type allow the following braking frequencies:
Braking current	Braking time	Braking frequency
25A	5s	1 braking per 60s
25A	15s	1 braking per 180s
20A	5s	1 braking per 40s
20A	15s	1 braking per 120s
15A	5s	1 braking per 25s
15A	15s	1 braking per 70s
10A	5s	1 braking per 17s
10A	15s	1 braking per 50s
7,5A	5s	1 braking per 10s
7,5A	15s	1 braking per 28s

For intermediate values please refer to the load curve below.

Load curve for VB 230/400-25

Cyclic duration factor (c.d.f.) = tB/cycletime⋅100 %
tB = Braking time
Cycle time = Braking time + Non-braking time
When setting up the machine or during commissioning it is possible to carry out 10 braking operations in succession with the rated device current at a braking time of 15s. After these operating conditions, however, the device needs a recovery time of 20 minutes.

# 9. Dimensions
VB 230-25
VB 400-25

	A	B	C	D	E
VB ... - 25	100	73	120	-	-

# 10. Typical connections
EMC
The limit values for emitted according to the applicable device standards do not rule out the possibility that receivers and susceptible electronic devices within a radius af 10m are subjected to interference.
If such interference, which is definitely to the operation af the braking devices "VB", occurs, the emitted interference can be reduced taking appropriate measures.
Such measures are, e.g.:
To connect reactors (3mH) or a suitable mains filter in series before the braking device, or to connect X-capacitors (0,15µF) in parallel to the supply voltage terminals.
## 10.1 Connection diagram

## 10.2 Connection diagram with all options

EMC
The limit values for emitted according to the applicable device standards do not rule out the possibility that receivers and susceptible electronic devices within a radius af 10m are subjected to interference.
If such interference, which is definitely to the operation af the braking devices "VB", occurs, the emitted interference can be reduced taking appropriate measures.
Such measures are, e.g.:
To connect reactors (3mH) or a suitable mains filter in series before the braking device, or to connect X-capacitors (0,15µF) in parallel to the supply voltage terminals.
Notes:

Telefon: +49(0)9189/4147-0 Telefax: +49(0)9189/4147-47 eMail:mail@peter-electronic.com