Objective:

This set of experiments were a study in kinetics and the factors which affect the rate of reactions. The objectives of the experiments were to:
- “Be able to list and rationalize the factors that affect the rates of reaction.
- Explain various scenarios using the factors that affect reaction kinetics.”
(Paradis 23-1)

Materials/Equipment:
Part A:
Watch glass (2); 50 mL beakers were used as watch glasses.

Chemicals:
Hydrochloric acid (HCl) 1M
Hydrochloric acid (HCl) 6M
Chalk (CaSO4)

Part B:
(Omitted per instructions).

Part C:
Hot plate
Thermometer
Tongs
Spatula
400 mL beakers (2)
600 mL beaker
100 mL beaker
50 mL beaker (3)
1” diameter spherical ball of modeling clay

Chemicals:
Food coloring (dark blue)
Copper sulfate (CuSO4) 0.2M
Ice (H2O in solid phase)
Zinc metal (Zn) 10 mesh, granular

Part D:
(Omitted per instructions).

Part E:
Hot plate
Thermometer
Tongs
Spatula
600 mL beaker
100 mL beaker
50 mL beaker (3)
Glass stirring rod (2)

Chemicals:
Hydrogen peroxide (H2O2), 6% solution
Potassium iodide (KI)
0.5% corn starch solution - not used (optional case)[1]
[1] The materials for Case II of Part E were not used as this case was termed optional by the lab assistant, and this group elected not to perform this part of the experiment.
Iodine solution (saturated) – not used (optional case)1

Procedure:
Part A: Effect of changing concentration of reactants
1. Two pieces of chalk were cut from a 1cm diameter stick; each was judged to be approximately .5cm in length.
2. The chalk was place in the 50mL beakers, one piece to each beaker.
3. 10 drops of 1M concentration HCl was added to one beaker.
4. 10 drops of 6M concentration HCl was added to the other beaker.
5. Each beaker was observed, and the observations recorded.
All lab glassware and surfaces were cleaned and glassware returned to the drying racks and chemicals disposed of per lab assistant's instructions.

Part B: Effect of changing surface area
The part was omitted per instructions.

Part C: Effect of changing the temperature
Case 1: Dispersal of dye in hot and cold water
1. Two 400 mL beakers were filled with 250 mL water (H2O in liquid phase).
2. One 400 mL beaker containing water was placed on the hotplate and heated to 80ºC, then removed for the experiment.
3. 1 drop of food colouring was placed in each beaker without stirring or agitation.
4. The dye dispersal was observed and data recorded.
Case 2: Reaction between copper sulfate (CuSO4) and zinc (Zn)
1. Two 50mL beakers were selected, and 25mL of 0.2M copper sulfate added to each.
2. One beaker was placed on the hotplate and heated to 80ºC, then removed for the experiment.
3. The other beaker beaker was placed in an ice bath consisting of the 600mL beaker and ice.
4. Granular zinc was added to each beaker.
5. Observations were made and recorded.
Case 3: Modeling activation energy
1. A single sphere of clay, apx. 25 mm in diameter was modeled.
2. The sphere was dropped from progressively increasing height (initially .3m).
3. The sphere was then examined for shape and adhesion to the floor.
4. The observations were recorded.
5. Steps 3 and 4 were repeated until adhesion was noted.
6. wo 50mL beakers were selected, and 25mL of 0.2M copper sulfate added to each.
1. The spectrometer had been powered on by the lab assistant prior to starting the lab.
2. The wavelength was adjusted to 400 nm; this is in the violet region of the visible light in the electromagnetic spectrum.
3. A blank solution was prepared:
  1. The cuvette was rinsed with deionized water, and dried.
  2. The 25 mL beaker was filled with 10 mL of deionized water.
  3. 5 mL of ammonium vanadomolybdate was added to the beaker, and the beaker agitated.
  4. The cuvette was filled with the blank solution to a level approximately 1cm below the top.
4. The spectrometer was adjusted for zero with the cuvette cover closed.
5. The cuvette with blank solution was placed in the well, and the light control adjusted for 100% reading on the %T scale (100% transmittance).
6. The blank solution was returned to the 25 mL beaker, and the beaker set aside for later use should the spectrometer drift in measurement; this was validated several times during the experiment.
7. The cuvette was rinsed with deionized water, and dried.

Part C: Preparation of standard solutions
Using data from Table 1 (Standard Stock Concentrations):
1. 1 x 10-3 M phosphate was added to a 25 mL volumetric flask.
2. Deionized water was added until the stock solution reached 25 mL.
3. 10 mL of the phosphate concentration was placed into a 100 mL beaker.
4. 5.00 mL of ammonium vanadomolybdate was added to the beaker.
5. The beaker was labeled for later use.
6. Steps a) - e) were repeated until all standard solutions had been prepared.

Part D: Making the Calibration Curve using the Standard Solutions.
Measurement of each standard solution proceeded as follows:
1. For each concentration, the cuvette was filled with the standard sample.
2. Each standard sample in turn was placed into the spectrometer, and the %T recorded.
3. The sample was returned to its beaker.
4. The cuvette was rinsed in deionized water, and dried.
5. Measurements for the remaining standard samples was repeated using steps a) – d) above.
6. The “blank” solution was once again measured to determine and correct for spectrometer drift; measurements were repeated as necessary based on amount of drift.
7. The cuvette was rinsed in deionized water, and dried.

Part E: determining the Unknown concentration:
1. The “unknown” was prepared as follows:
  1. 10 mL of “unknown#1” solution was placed into a 100 mL beaker.
  2. 5.00 mL of ammonium vanadomolybdate was added to the beaker.
2. Measurement of the “unknown” solution proceeded as follows:
  1. The cuvette was filled with the “unknown” sample.
  2. The “unknown” sample in turn was placed into the spectrometer, and the %T recorded.
  3. The “unknown” sample was returned to its beaker.
  4. The cuvette was rinsed in deionized water, and dried.
3. All solutions were disposed of in the proper disposal containers for ammonium vanadomolybdate as directed by the lab assistant.
All lab glassware and surfaces were cleaned and glassware returned to the drying racks and spectrometer turned off.
Data/Results:
Part A: Table 1 (Standard Stock Concentrations)
Stock phosphate solution concentration (M1)	Volume required to produce target concentration (V1):	Target concentration (M2)	Final volume (V2):
1.00 x 10-3M	2.0 mL	8.00 x 10-5M	25 mL
1.00 x 10-3M	2.5 mL	1.00 x 10-4M	25 mL
1.00 x 10-3M	5.0 mL	2.00 x 10-4M	25 mL
1.00 x 10-3M	7.5 mL	3.00 x 10-4M	25 mL
1.00 x 10-3M	10.0 mL	4.00 x 10-4M	25 mL
1.00 x 10-3M	12.5 mL	5.00 x 10-4M	25 mL

Formula: M1 · V1 = M2 · V2

Part C and D: Standard Stock and “unknown #1” transmission measurements:
Concentration of solution		% T – percent transmission	A(calculated) - absorbance
S / t / a / n / d / a / r / d	0 M (Blank)	100.0	0
	8.00 x 10-5M	74.2	.130
	1.00 x 10-4M	65.6	.183
	2.00 x 10-4M	53.2	.274
	3.00 x 10-4M	36.6	.437
	4.00 x 10-4M	25.0	.602
	5.00 x 10-4M	24.0	.620
Unknown #1		90.2	.045

Absorbance = A(calculated) = -log ( %T / 100 )

Interpretation of results and other observations:
The slope of the line defined by the measured standard solutions is defined as follows:
Slope (m) = ∆A / ∆concentration = (0.602-0.274) / (4.00 x 10-4M - 2.00 x 10-4M) = 1640.0
The line is defined then as: y-0.602=1640·(x- 4.00 x 10-4) in point slope form, or
y = 1640.0·x - 0.054
Substituting in y (A) =0.45 and solving for x, the concentration of “Unknown #1” should be
6.04 x 10-5M (see graph in post laboratory questions).
The spectrometer had a tenancy to drift over time, so recalibration was performed between standards and unknown measurements.

Post laboratory questions: (see next page).
Introduction to Kinetics: Factors That Affect the Rate of Reaction
Name: AAAAAAAAAAAAAAAAA / Laboratory partners: BBBBBBBBBBB and CCCCCCCCCCC	Lab Instructor: Dr.EEEEEEEEEEEEEEEEE
Date: 3/6/2008	Lab Section: CHM2046L-016

RESULTS and POST-LABORATORY QUESTIONS
Attach a copy of your data table from today's experiment. Your table should include the concentration of phosphate in each standard solution, the measured %T and your calculated absorbance.
Concentration of solution		% T – percent transmission	A(calculated) - absorbance
S / t / a / n / d / a / r / d	0 M (Blank)	100.0	0
	8.00 x 10-5M	74.2	.130
	1.00 x 10-4M	65.6	.183
	2.00 x 10-4M	53.2	.274
	3.00 x 10-4M	36.6	.437
	4.00 x 10-4M	25.0	.602
	5.00 x 10-4M	24.0	.620
Unknown #1		90.2	.045

Attach a copy of your calibration curve. What is the equation of the best-fit line?
See attached graph.
The slope of the line defined by the measured standard solutions is defined as follows:
Slope (m) = ∆A / ∆concentration = (0.602-0.274) / (4.00 x 10-4M - 2.00 x 10-4M) = 1640.0
The line is defined then as: y-0.602=1640·(x- 4.00 x 10-4) in point slope form, or
y = 1640.0·x - 0.054
Determine the concentration of phosphate in your unknown solution by extrapolation of the calibration curve (refer back to Figure 2) and by using the equation for the line of best fit. The extrapolation should be shown on your attached calibration curve. The calculation using the line of best fit should be shown below.
From graph: 3.5 x 10-5M
y= 1640.0·x + 0.054
y = 0.045 = 1640.0·x + 0.054
(0.045 + 0.054) / 1640.0 = x
x = 6.04 x 10-5M
RESULTS and POST-LABORATORY QUESTIONS continued....
The U.S. Public Health Service has set the maximum value of phosphate in the drinking water at 0.30 mg phosphate/liter. Did your unknown water sample violate this standard? Show your work.
Taking the more generous number (worst case) of 6.04 x 10-5M, moles of phosphate (PO43-) per liter of the unknown sample is 6.04 x 10-5 moles.
Converting moles to grams:
For phosphate, PO43-, the molar mass is 94.97 grams per mole.
6.04 x 10-5 moles PO43- · (94.97 grams / 1 mole PO43- ) = 5.74 x 10-3 grams PO43-
Therefore there are 5.74 milligrams per liter; the unknown sample does not violate U.S. Public health guidelines.
Conclusion:

There were observed uncertainties in the experimental measurements and a requirement for repeated calibrations throughout the experiment. Despite this, the results did provide a reasonable straight line (except at the maximum point for the standard phosphate concentration 5 x 10-5 M). However, the most reasonable drawing of the best fit line on the calibration curve graph excluded the maximum point and the slope of the line and point slope form calculations also excluded this point intentionally.
The unknown sample measured at the low end of the calibration line on the calibration curve graph, and so its accuracy is not as good as would have been expected from a sample further up the line. This can be seen both in the difference between the graphed value and the calculated value.
The spectrometer we used did appear to drift excessively following the warm up period. This could be due to aging affects in the light source. For instance using a quartz halogen light source near the end of its rated life results in uneven deposits of tungsten residue on the glass envelope. Inferior circuit design could also be a contributer; a stable light source requires a stable power source. Drift could have been due to poor power, power filtering, or lack of sufficient power supply regulation. I do not feel it was due to insufficient warm up time, as the lab took nearly an hour to complete, and drift was noticed right up until the last sample was measured.
Florida is known for reasonably high levels of phosphates in the natural water supply, in particular in rivers, streams, and lakes. Fertilizer and tertiary waste water enters these sources along the Saint Johns River and through the chain of lakes running from Osceola county through Lake County. Eutriphication of water has been marked by the author of this report since the early 1970s when he ran tests on water samples from Lake Monroe as part of a high school ecology class. As the source of “unknown #1” is unknown to me, one speculates that the sample is an artifact of superior water treatment or a sample artificially created for the experiment and likely not a sample from the local lakes or rivers. It would be nice to think Florida has cleaned up its act since the early 1970s, but I am skeptical.

Bibliography / Works Cited

Paradis, Jeffrey and Kristen Spotz. Hands On Chemistry. New York: McGraw-Hill, 2006.