This new brand born so that
IndoAsian can provide solution to our customers

---
High Breaking Capacity, reliability
Optimum Discrimination

---
High Quality
Strong Durability

---
Digital Measurement, Diagnosis,
Analysis, Communication,
Various accessories

---
ACB Series
MCCB Series

---
Type of circuit breakers
Rated current, In
Breaking capacity, Icu
Rated short time withstand current, Icw
Applied standard
Utilization category
Product name
630~6300A
80~120kA
ACB
50~100kA
IEC 60947-2
B
 ACB
NA1 series
16~800A
50~150kA
MCCB
IEC 60947-2
A
MCCB
NM8 Series
Model name
Model Image
MCB
Gold Plus
MCB

---
2000/4000/6300 AF (3 Frame Size)‏
100% N-Phase conducting capacity
3 & 4 Pole ; Fixed & Draw-out type
Manual & Electrical operation
4000A - 6300A
Icu=Ics=Icw(1s)=100kA
2000AF
4000AF
6300AF
400A - 2000A
Icu=Ics=Icw(1s)=50kA
2000A - 4000A
Icu=Ics=Icw(1s)=65kA
NA1

---
Rated current from 400A to 6300A
Icu=Ics=Icw(1s) up to 100kA
Certificates: SEMKO KEMA PCT etc.
Same height, same depth
Compact design
Fix version/ draw-out version
Motor/manual
Rear/front connection
IEC/EN 60947-2
Long-time protection/short-time protection/instantaneous protection/ earthing fault protection
Communication
Mechanical interlock
NA1

---
NA1

---
Terminal configurations
NA1

---
Outstanding Performance
NA1

---
Accessories for all application
NA1

---
Accessories for all application
NA1

---
NM1
10A to 800A (4 Frame Size)‏
2,3 & 4 Pole
Front connection, Rear connection & Plug-In type
100AF
225AF
400AF
800AF
10A - 100A
Icu : 15- 50kA
100A - 225A
Icu : 25- 65kA
225A - 400A
Icu : 35- 70kA
400A - 800A
Icu : 35- 70kA

---
Outstanding Performance
NM1

---
MCCB for different application
NM1

---
Accessories for all application
NM1

---
NM8
10A to 800A (4 Frame Size)‏
2,3 & 4 Pole
Front connection, Rear connection & Plug-In type