RFP-NIH-NIAID-DMID-08-26

Amendment #2 (Questions & Answers)

“NIAID Division of Microbiology and Infectious Diseases: Clinical Agent and Specimen Repository”

This Amendment provides questions submitted by potential offerors and the responses provided by the NIAID.  The responses are offered for information only and do not modify or become part of this solicitation.  The cutoff date for questions has been set at November 30, 2007.

| Amendment No.: | 2 (1st Posting) |
| --- | --- |
| Amendment Issue Date: | November 15, 2007 (Questions 1 – 22) |
| Proposal Due Date/Time: | December 21, 2007, at 4:00 P.M., EST (UNCHANGED) |
| Issued By: | Brian Jamieson Contract Specialist OA/DEA/NIAID/NIH/DHHS 6700-B Rockledge Drive, MSC 7612 Bethesda, Maryland 20892-7612 |
| Points of Contact: | Brian Jamieson, Contract Specialist e-mail: bjamieson@niaid.nih.gov Yvette Brown, Contracting Officer e-mail: ybrown@niaid.nih.gov |

Offerors must acknowledge receipt of the final posting of Amendment #2, on each copy of the proposal submitted.  Failure to receive your acknowledgment of this Amendment may result in the rejection of your proposal.

The hour and date specified for receipt of proposals HAS NOT been extended.

THE FOLLOWING PAGES PROVIDE ANSWERS CONCERNING A NUMBER OF INQUIRIES WE HAVE RECEIVED FOR THE ABOVE NUMBERED ACQUISITION:

Question 1

Will the Government provide an inventory of existing supplies for clinical trials materials (CTM)?

Response

The requirements set forth in the RFP outline the amount and type of space needed to store all material, and should be the basis for the offerors proposal.  The Government will provide a CTM inventory to the successful offeror upon award.

Question 2

Will the anticipated scope of services require working with select agent samples or clinical specimens that might contain viable, highly hazardous, etiologic agent(s)? What bio-safety level (BSL) practices, equipment, or specialized engineering controls will be needed to store, aliquot, or otherwise work with such specimens, BSL 2, 3, 4?

Response

Select agent handling under this contract will be minimal and limited to shipping.  It is anticipated that no more than 1-2 shipments per year will include select agents, and it is unlikely that anything over BSL-2 will be shipped.  Note that the repository will not be required to have BSL-2 space on site, nor is inclusion of BSL-2 space a requirement for this RFP.

Question 3

The RFP does not mention transition of Government property. In order to adequately determine the scope of the project, will the Government please identify what, if any, equipment will be provided to the successful offeror, and when will that equipment be provided?

Response

There will not be any Government property transitioned under this RFP.

Question 4

Does the Government’s 60-day transition period include the transfer of Government property other than specimens and samples? Additionally, the volume of specimens and samples, as well as the preparation of the successful offeror’s facilities may require a longer transition period than 60 days.  It is recommended that the Government consider a transition period of 120 days.

Response

Transfer will include specimens and samples.  There will be no government property transferred.  Due to the critical nature of this repository in supporting clinical trials throughout the world, the transition must occur as rapidly as possible in order to minimize the time during which specimens and samples are located at two different storage facilities.  Therefore, the transition period will remain at 60-days, and Offerors should propose accordingly.

Question 5

Section M.2. PRE-AWARD SITE VISIT OR SITE AUDIT states, “If audits are performed during the negotiations, the results of the audits will be a factor in final selection for award of a contract.”  Can the government please clarify how plans to bring an existing repository to sufficient capacity contingent on contract award would be factored in the evaluation?

Response

In those instances where the offeror plans to bring an existing repository to sufficient capacity contingent on contract award, the audit will focus on details of the plans for how the offeror plans to ensure that the repository design is feasible and will meet all requirements as outlined in the contract.  Details include specific IQ/OQ/PQ plans, back-up generator plans, room designs, etc.

Question 6

What is the acceptable timeframe for obtaining FISMA certification of information systems used for the DMID repository.

Response

The following link provides guidance regarding FISMA certification: http://csrc.nist.gov/drivers/documents/FISMA-final.pdf.  Offerors should have a basic plan of their general infrastructure and policy at the time of proposal.  A complete plan is not required until 60-90 days after award.

Question 7

The contract requires testing of acquired clinical agents as outlined in Federal Regulations 21CFR610 and 21CFR211.  Please specify:  What are the tests?  How many and what categories of agents need testing?

Response

During the course of the contract, a variety of different types of products are likely to require this type of testing, including biologics and small molecules.  For proposal purposes, please assume three biological products each year will be obtained that require the following testing:  sterility, mycoplasma, and PCR for HCMV.  Also assume one lot of Guanadrel Sulfate which must be tested according to USP each year.

Question 8

How many and what categories of agents will need additional in vitro and in vivo safety testing?

Response

A variety of different types of products are likely to require this type of testing, including cell banks and biologics.  For proposal purposes, please assume two cell banks each year will require both in vivo and in vitro adventitious agent testing as outlined in the Sept. 2006 FDA Draft Guidance for Industry:  Characterization and Qualification of Cell Substrates and Other Biological Starting Materials Used in the Production of Viral Vaccines for the Prevention and Treatment of Infectious Diseases.

Question 9
What classification of clean rooms are required for aliquoting?

Response
For clinical specimens, a classified clean room is not a requirement.  Offerors should describe where/how they will aliquote material to minimize chance of contamination.

Question 10
How are clinical agents, clinical samples, and clinical trial materials presently labeled?

Response

These items are currently labeled according to cGMP.  Offerors should propose to label materials as outlined in the RFP according to cGMP requirements.

Question 11

Concerning shipment and distribution of clinical agents:

- What is the monthly shipment frequency, and how many requests are normally required to be processed concurrently?

Response

These items are currently labeled according to cGMP.  Offerors should propose to label materials as outlined in the RFP according to cGMP requirements.

- What is the monthly shipment frequency, and how many requests are normally required to be processed concurrently?

Response

On average, 15 shipments are made per month.  Number of shipments processed concurrently will vary significantly, but can range from 0-5, with 1-2 being most common.

- Are there seasonal variations in shipment frequency; if so, please characterize the variability.

Response

While there can be significant month-to-month variability in shipping, it is not seasonal.

Concerning clinical specimens:

- How many shipments are received each month, if there are seasonal variations, will the government please characterize the variability?

Response

For the purposes of this question, a shipment is defined as 1 9x9 grid box.  Approximately 80 shipments are received per month.  While there can be significant month-to-month variability, it is not seasonal.

- What is the required monthly frequency for shipment and distribution (RFP Attachment 3,

page 11, 3) and if there are seasonal variations, will the government please characterize the variability?

Response

For the purposes of this question, a shipment is defined as 1 9x9 grid box.  Approximately 35 shipments are sent per month.  While there can be significant month-to-month variability, it is not seasonal.

- Attachment 3, page 10 of 24, B.1.d. requires specimen confirmation at the vial level.  Is this confirmation based solely on labels or is other testing required?

Response

Label verification is sufficient.

Question 12

In attachment 3, Section A. part 1, statement F, it is stated that 4 – 6 -194º C tanks with a capacity to hold approximately 50,000 vials is needed.  Please clarify vial size? Also, is 50,000 the total capacity needed overall, or per tank?

Response

There was an error in this sentence.  The capacity should be 25,000 vials per tank.  Vial size is 2.0ml cryovials.

Question 13

A.2.e, Provide and maintain the necessary clean room(s) and equipment for packaging and repackaging of clinical agents, as well as facility space to label under cold chain conditions in compliance with cGMP. For costing purposes, please clarify the term “clean”.  Additionally in section B.2.a, what standards of clean are expected?

Response

Packaging and re-packaging of clinical agents should be done according to cGMP, including use of appropriate facilities.  For proposal purposes, assume the task is over-encapsulation of caplets and subsequent packaging in blister packs for the purposes of blinding a study.  For clinical specimens (B.2.a), a classified clean room is not a requirement.  Offerors should describe where/how they will aliquot clinical specimens to minimize chance of contamination.

Question 14

A.2.g, Provide one sample, if requested, of each of the repackaged, labeled clinical agents to the Project Officer for approval prior to completion of labeling functions and prior to the distribution to the DMID-funded clinical research sites and DMID approved testing laboratories. These samples shall be submitted to the Project Officer for review either the same day they are generated or, at the latest, the day following receipt of the request from the Project Officer. The Project Officer will provide comments within 2 business days of receipt of the sample. If samples are not approved by the Project Officer, corrections shall be made until the Project Officer approves the sample.   Please clarify if this approval requirement is applicable for label proofs or actual clinical product samples?

Response

This requirement is for label proofs.

Question 15

A.3.a. Within 10 business days of receipt of request from the Project Officer, conduct validation testing of the procedures for the packaging and shipping of clinical agents under appropriate temperature conditions ranging from -194°C to controlled room temperature, U.S. Pharmacopeia (USP) specified conditions, as well as the conditions required for controlled substances (as defined by the U.S. Drug Enforcement Agency), biologics, ethanol-containing products, electronic devices, infectious agents, hazardous goods, and for products sensitive to air pressure, humidity, vibrations, and carbon dioxide.

A.5.e., Possess and maintain appropriate licenses and permits required by local, state, province, domestic, and non-domestic, country-specific government authorities for the safe import, storage, handling, transportation, and distribution of drugs, biologics, controlled substances and devices. Process any document requiring embassy approval through the appropriate embassy. Obtain the appropriate

interstate, intrastate and non-domestic import/export shipping licenses and permits for transporting drugs, biologics, controlled substances, and devices.  References are made to handling controlled substances, which schedules will be included?

Response

It is estimated that very few shipments of only small amounts of Schedule II-V substances will be performed under this contract.

Question 16

A.8.a  and A.8.b, a. Acquire clinical agents manufactured in compliance with cGMP regulations from product manufacturers approved by the Project Officer. The acquisition shall include clinical agents at all stages of development, such as: i. Pilot lot material; ii. Bulk substance; iii. Master and working cell banks; and iv. Final drug product.

b. Carry out all necessary testing of acquired clinical agents as outlined in Federal Regulations 21CFR610 and 21CFR211 and as requested by the Project Officer.  Our understanding is that most clinical agents acquired have been manufactured in compliance with cGMP regulations and therefore all necessary testing as outlined in Federal Regulations 21CFR610 and 21CFR211 has been completed, prior to arrival at the repository; please clarify the contractor’s responsibility for this testing beyond this point.

Response

In most instances, products will have been tested prior to delivery; in some cases, the testing may be included as part of the contract to procure the items.  However, there will be exceptions.  For proposal purposes, please assume three biological products each year will be obtained that require the following testing:  sterility, mycoplasma, and PCR for HCMV.  Also assume one lot of Guanadrel Sulfate which must be tested according to USP each year.  Offerors are reminded that capabilities required under this RFP may be proposed via subcontracts.

Question 17

B.1.f. Track and record contents and condition of the shipments.  Electronically document chain of custody, shipment receipt date, condition and inspection of specimens and shipments, storage and monitoring of clinical specimens from DMID-funded clinical research sites. Provide a summary report of shipments received in the Monthly Progress Reports. Please clarify the depth of chain of custody.

Response

They need to document back to the organization that produced the material and all the parties along the way.  It would be expected that this information would be provided by the sender.

Question 18

C.1.b. Where applicable, ensure the conduct of work in accordance with DHHS regulations regarding the transfer of Select Agents (U.S. Code of Federal Regulations 42 C.F.R. Part 73, 7 C.F.R. Part 331, and 9 C.F.R. Part 121 (http://www.cdc.gov/od/sap/index.htm)). Please define what volume and level of select agents will be handled under this contract?

Response

Select agent handling under this contract will be minimal.  It is anticipated that no more than 1-2 shipments per years will include select agents, and it is unlikely that anything over BSL-2 will be shipped.  Note that the repository will not be required to have BSL-2 space on site, nor is BSL-2 space required as part of the proposal.

Question 19

C.1.f.  Provide complete back-up equipment for maintaining storage conditions for both clinical agents and clinical specimens at: -194°C, -80°C, -20°C, or 2°C to 8°C.  Please define the term “complete”.

Response

Offerors should propose back-up system(s) that they think are sufficient to meet the needs as outlined in the proposal.  As indicated in the RFP, a minimum requirement is a back-up generator.  Offerors should detail plans for how back-up system(s) will be activated, period of time that the back-up generator can supply power without additional fuel, as well as what plans will be put in place to ensure generators can continue to operate for longer periods of time in the event of an extended electrical power outage.

Question 20

C.1.i., Provide a clean agent fire suppression system that is environmentally acceptable and leaves no residues. Please define what functional areas are to be covered under the residue-free, fire suppression system, i.e. ambient temperature storage areas, entire facility, or other?

Response

Areas sufficient to allow complete recovery of operations should be covered, including storage areas, and any areas which contain key documentation or other items that would be necessary to track/trace all material either in the repository or which has been shipped out of the repository.

Question 21

Attachment 5, Section 3.B.5, 5. Training for CASR personnel include $4000 per year for training of CASR personnel.  Please clarify if the $4,000 is per person, per year or for all personnel per year?

Response

It is $4,000 per person per year.

Question 22

As referred to in the proposal submission instructions (on page 32, Section J, List of Attachments) Under Attachment 1: is the number of CDs requested a typo?  And if so, how many are needed?

Response

It is correct; you are to furnish 30 CD’s.