Draft Outline for Positron Emission Tomography (PET) GMPs

Working Draft

Not for Implementation

February 1999

This document is a preliminary working draft prepared by the Agency as a starting point for discussions.  It does not reflect the official Agency position on CGMPs for PET products and may not be used to satisfy regulatory requirements.

Table of Contents

I.	Scope	3

II.	Quality System	3

III.	Laboratory Controls	5

IV.	Production and Process Controls	7

V.	Control of Components and Drug Product Containers and Closures	10

VI.	In-Process and Finished Product Acceptance Activities	12

VII.	Nonconforming PET Drug Product and Corrective and Preventive Action	14

VIII.Labeling and Packaging Control	15

IX.	Storage and Distribution	15

X.	Records	16

XI.	Returned and Salvaged Drug Products	18

DEFINITIONS	20

Draft Outline for Positron Emission Tomography (PET) CGMPs

# I.	Scope

Minimum current good manufacturing practice for methods to be used in, and the facilities and controls used for the production, holding, or distribution of a safe and effective positron emission tomography (PET) drug intended for human use.

# II.	Quality System

1.	Each PET Center must establish, implement and maintain a quality system that has the following features: organizational structure; defined responsibilities; and allocation of resources.

- Review suitability and effectiveness of the quality system at defined intervals and with sufficient frequency according to established procedures to ensure that the quality system satisfies the requirements and the established quality policy and objectives.

- Dates and results of quality system reviews must be documented.

- Quality system must include a quality control unit.

- With responsibility and authority to approve or reject all components, drug product containers, closures, in-process materials, packaging material, labeling, and PET drug products.

- Responsible for approving or rejecting all procedures or specifications affecting the identity, strength, quality, and purity of the drug product.

- Authority to review production records to ensure that no errors have occurred or, if errors have occurred, that they have been fully investigated and corrective action has been taken.

- Responsible for approving or rejecting drug products produced under contract by another company.

- Has adequate laboratory facilities available for the testing and approval (or rejection) of components, drug product containers, closures, packaging materials, in-process materials, and drug products.

- Responsibilities and procedures applicable to the quality control unit must be in writing; such written procedures must be followed.

- Quality audits performed to ensure that the quality system is in compliance with the established quality system requirements and to determine the effectiveness of the quality system.

- Conduct quality audits according to pre-determined frequency.

- Conducted by individuals who do not have direct responsibility for the matters being audited.

- Corrective action(s), including a reaudit of deficient matters, must be taken when necessary.

- Report results of each quality audit, and reaudit(s) where taken, and have reports reviewed by a manager having responsibility for the matters audited.

- Manager of the PET center must certify in writing that the quality audits have been performed and documented, and must state the dates on which reviews and audits were performed and whether any required corrective action has been undertaken.  Actual results need not be shown to FDA.

- The quality system must ensure that the PET center has a sufficient number of personnel for the production, holding, storage, testing, and distribution of a safe and effective PET drug with the necessary education, background, training, and experience to enable them to perform their assigned functions correctly.

# III.	Laboratory Controls

- Specifications, standards, sampling plans, test procedures, or other laboratory controls to be drafted by the appropriate organizational unit and reviewed and approved by the quality control unit.

- These requirements to be followed and documented at the time of performance.  Deviations from the written specifications, standards, sampling plans, test procedures, or other laboratory control mechanisms must be recorded and justified.

- Laboratory controls to include the establishment of

scientifically sound and appropriate specifications, standards,

sampling plans, and test procedures designed to ensure that

components, drug product containers, closures, in-process materials, and drug products conform to appropriate standards of identity, strength, quality, and purity.

- Each PET center ensures that all measuring gauges, recording devices and test equipment, including mechanical, automated, or electronic test equipment, is suitable for intended purposes and capable of producing valid results.  Procedures to ensure that Each PET center ensures that all measuring gauges, recording equipment is routinely calibrated, inspected, checked, and maintained must be established and followed. Activities to be documented.

- Calibration procedures to include specific directions and limits for accuracy, sensitivity, specificity, precision and reproducibility of performance.

- When limits are not met, there must be provisions for remedial action to reestablish the limits and to evaluate whether there was any adverse effect on the identity, strength, quality, and purity of the PET drug.

- Instruments and equipment not meeting established calibration criteria must not be used.  Activities are to be documented.

- Calibration standards used for measuring and testing equipment must be traceable to national or international standards, if available, or to an internal reproducible standard established to maintain consistency.

- The equipment identification, calibration dates, the individual performing each calibration, and the next calibration date must be documented. These records must be readily available to the personnel using such equipment and to the individuals responsible for calibrating the equipment.

6.	Laboratory records to include complete data derived

from all tests necessary to ensure compliance with established

specifications and standards, including examinations and assays,

as follows:

- A description of the sample received for testing with identification of the source (that is, the location where the sample was obtained), quantity, lot number or other distinctive code, time and date sample was taken, and time and date the sample was received for testing.

- A statement of each method used in the testing of the sample to indicate the location of data establishing that the methods used in the testing of the sample meet proper standards of accuracy and reliability as applied to the product tested.

- The suitability of all testing methods used must be verified under actual conditions of use.

7.	A statement of the weight or measure of the sample used for

each test.

8.	A complete record of all data obtained in the course of

each test, including all graphs, charts, and spectra from laboratory instrumentation, properly identified to show the specific component, drug product container, closure, in-process material, or drug product for each lot tested.

9.	A record of all calculations performed in connection with

each test, including units of measure, conversion factors, and

equivalency factors.

10.	A statement of the results of tests and how the results

compare with established standards of identity, strength, quality, and purity for the component, drug product container, closure, in-process material, or drug product tested.

11.	The initials or signature of the person who performs each

test and the date(s) the tests were performed.  Documentation showing that the original records have been reviewed for accuracy, completeness, and compliance with established standards.

12.	Complete records must be maintained of any modification

of an established method employed in testing.  Records to

include the reason for the modification and data to verify that

the modification produced results that are at least as accurate

and reliable for the material being tested as the established

method.

13.	Complete records must be maintained of any testing and

standardization of laboratory reference standards, reagents,

and standard solutions.

# IV.	Production and Process Controls

1.	Each PET center to ensure that key process parameters that could affect product quality are controlled and monitored.  Develop and follow written production and process control procedures.  The PET center to document that key process parameters were controlled in accordance with procedures at the time of performance.  Deviations from the written procedures to be recorded and justified.

2.	Each PET center to establish, maintain, and follow procedures for changes to a specification, method, process, or procedure.  Changes to be validated before implementation, and activities documented.

3.	Each PET center to establish, maintain, and follow procedures to adequately control environmental conditions, where necessary.  Environmental control system(s) must be periodically inspected to verify that the system, including necessary equipment, is adequate and functioning properly. Activities to be documented and reviewed.

4.	Each PET center to establish, maintain, and follow procedures to prevent contamination of equipment or product by substances or personnel that could reasonably be expected to have an adverse effect on product quality.

5.	PET production facilities to be of suitable design and contain sufficient space to perform necessary operations, prevent mixups, and assure orderly handling of materials and equipment.

6.	Each PET center must ensure that all equipment used in the production process is appropriately designed, constructed, placed, and installed for its intended use. Equipment must be constructed so that surfaces that contact components, in-process materials, or drug products are not reactive, additive, or absorptive so as to alter the quality of the drug product beyond the official or other established requirements.

7.	Each PET center to establish, maintain, and follow appropriate schedules for the adjustment, cleaning, and other maintenance of equipment to ensure proper functioning of equipment.  Maintenance activities, including the date and individual(s) performing the activities, must be documented.

8.	Computers or automated data processing systems used as part of production must be validated for their intended use according to an established protocol.  Automated data processing system changes must be reviewed to determine the need for revalidation before approval and issuance. Validation activities and results to be documented.

9.	Actual yields and percentages of theoretical yield must be

determined at the conclusion of each appropriate phase of production or holding of a PET drug.

10.	The manufacturing process must be validated according to established procedures, and the quality control unit must approve the validation.  The validation activities and results, including the date and signature(s) of the individual(s) approving the validation, the monitoring and control methods and data, and the major equipment qualified, must be documented.

11.	When changes or process deviations occur, the PET center must review and evaluate the changed process and perform revalidation. Activities to be documented.

12.	Each PET center must establish, maintain, and follow written procedures that will assure that the complete history of the production and distribution of PET drugs can be determined.  This may be done by identifying with a control number each batch or portion of a batch of PET drugs and documenting this number in the batch production and control record.  The procedures must facilitate corrective action in the event that defective product quality is identified.

13.	Batch production and control records must be prepared for

each batch of drug product produced and must include complete

information relating to the production and control of each batch. These records must include:

- An accurate reproduction of the appropriate master production or control record, checked for accuracy, dated, and signed;

- Documentation that each significant step in the production or holding of the batch was accomplished, including:

- Dates

- Identity of individual and major equipment used;

- Specific identification of each batch of component  or in-process material used;

- Weights and measures of components used in the      course of production;

- In-process and laboratory control results;

- A statement of the actual yield and a statement of  the percentage of theoretical yield at appropriate  phases of processing;

- Specimens or copies of all labeling used;

- A description of drug product containers and        closures;

- Any sampling performed;

- Names of persons performing and directly            supervising or checking each significant step in    the operation;

- Any investigation made into the failure of a batch  or any of its components to meet any of its         specifications.

14.	All drug product production and control records, including

those for packaging and labeling, must be reviewed and approved

to determine compliance with all established, approved written procedures before a batch is released for administration to a patient. This review and approval must be documented.

15.	Any unexplained discrepancy or the failure of a batch or any of its components to meet any of its specifications must be thoroughly investigated, whether or not the batch has already been distributed.  The investigation must extend to other batches of the same drug product and other drug products that may have been associated with the specific failure or discrepancy. A written record of the investigation must be made and maintained and must include the conclusions, follow-up, and a description of any corrective action.

# V.	Control of Components and Drug Product Containers and Closures

1.	Each PET center must establish, maintain, and follow written procedures describing in sufficient detail the receipt, identification, storage, handling, sampling, testing, and approval or rejection of components and drug product

containers and closures.

2.	Components and drug product containers and closures must

be handled and stored at all times in a manner to prevent contamination and/or deterioration.  Containers and closures includes the dispensing and administration assemblies.

3.	Each component and container or grouping of containers and closures for the drug product must be uniquely identified for each lot in each shipment received.  This identifier must be used to trace the disposition of each lot.  Each lot must be appropriately marked to reflect its status (i.e., quarantined, approved, or rejected).

4.	Upon receipt and before acceptance, each container or grouping of containers of components, drug product containers, and closures must be examined visually for appropriate labeling as to contents, container damage, broken seals, and contamination.

5.	Components, drug product containers, and closures must

be stored under quarantine until they have been tested or examined, as appropriate, and released.

6.	Each lot of components, drug product containers, and closures must be withheld from use until the lot has been sampled, tested, or examined, as appropriate, and released for use by the quality control unit.

7.	Representative samples of each shipment of each lot must

be collected for testing or examination. Samples must be collected in a manner to prevent contamination of either the component or the sample.  Samples must be examined and tested as follows:

- At least one test must be conducted to verify the identity of each component of a drug product. Specific identity tests, if they exist, must be used.

- Each component must be tested for conformity with all appropriate written specifications for purity, strength, and quality.  In lieu of such testing, a report of analysis may be accepted from the supplier of a component, provided that at least one specific identity test is conducted on such component by the PET center, and provided that the PET center establishes the reliability of the supplier's analyses.

- Containers and closures must be tested for conformance with specifications.  In lieu of such testing by the PET center, a certificate of testing may be accepted from the supplier, provided that at least a visual identification is conducted on such containers/closures by the PET center and provided that the PET center establishes the reliability of the supplier's test results.

- Each lot of a component, drug product container, or closure that is susceptible to objectionable microbiological contamination must be examined against established specifications for such contamination.

8.	Any lot of components, drug product containers, or closures

that meets the appropriate written specifications of identity,

strength, quality, and purity may be approved and released for use.  Any lot of such material that does not meet such specifications must be rejected.

9.	Components, drug product containers, and closures may be retested or reexamined for identity, strength, quality, and purity as necessary, e.g., after storage for long periods or after exposure to air, heat, or other conditions that might adversely affect the component, drug product container, or closure, if the PET center wants to use the components, drug product containers, or closures. After retesting or reexamination, the components, drug product containers, and closures must be approved or rejected by the quality control unit.

10.	Rejected components, drug product containers, and closures

must be discarded.

11.	Drug product containers and closures must not be reactive,

additive, or absorptive, and must be sterile, pyrogen-free, and protect the drug product so as to preserve its established safety, identity, strength, quality, and purity.

12.	Records for components, drug product containers, and closures must include the following:

- The identity and quantity of each shipment of each lot of components, drug product containers, and closures; the name of the supplier; the supplier's lot number(s) if known; the unique identifier for that lot; and the date of receipt. The name and location of the prime manufacturer, if different from the supplier, must be listed if known.

- The results of any test or examination performed and resulting actions.

- The disposition of rejected components, drug product containers, and closures.

# VI.	In-Process and Finished Product Acceptance Activities

- Each PET center must establish, maintain, and follow procedures for acceptance activities including inspections, tests, or other verification activities.  These procedures must be established, maintained, and followed.

2.	Each PET center must ensure that specified requirements for in-process materials are established, maintained, and followed.  Procedures must ensure that in-process materials are controlled until the required tests or other verification activities have been completed, or necessary approvals are received, and are documented.

- Each PET center must ensure that each PET drug product batch meets the established acceptance criteria.

- PET drug products must be held in quarantine or otherwise adequately controlled until released and must not be released for distribution until the following occur:

- Associated data and documentation are reviewed;

- Release is authorized by the signature(s) of a designated individual(s); and

- Authorization is dated.

5.	Each PET center must document acceptance activities.  Records must include: acceptance activities performed; dates the activities are performed; the results; the signature(s) of the individual(s) conducting the acceptance activities; and the equipment used.  These records must be part of the Historical Record.

6.	Each PET center must identify by suitable means the acceptance status of the PET drug product, i.e., its conformance or nonconformance with acceptance criteria.  The identification of acceptance status must be maintained throughout production of the product to ensure that only a product that has passed the required acceptance activities is distributed or used.

7.	For each batch of drug product, there must be appropriate

laboratory determination of satisfactory conformance to acceptance criteria for the drug product, including its identity, strength, quality, and purity, prior to administration to the patient. This does not include sterility testing, which does not need to be completed before administration to the patient but should be completed as soon as possible after filtration.

8.	When the product is distributed prior to completion of testing, there must be a mechanism to inform the receiving facility of final product test results before the drug is administered to the patient.  Such communication with the receiving facility must be documented.  If the product fails the sterility tests, these results must be communicated to the receiving facility.

- Any sampling and testing plans must be described and conducted in accordance with written procedures.

10.	The accuracy, sensitivity, specificity, and reproducibility

of test methods must be established and documented.

11.	Drug products failing to meet established standards or

specifications and any other relevant quality control criteria

must be rejected.  Reprocessing may be performed.  Prior to acceptance and use, reprocessed material must meet appropriate standards, specifications, and any other relevant criteria.

# VII.	Nonconforming PET Drug Product and Corrective and Preventive Action

- Each PET center must establish, maintain and follow procedures to control a PET drug product that does not conform to specified requirements.  The procedures must address the identification, documentation, evaluation, segregation, and disposition of nonconforming product and the need for an investigation and notification of the quality control unit.

2.	Each PET center must establish, maintain, and follow procedures for implementing corrective and preventive action as follows:

- Analyzing processes, work operations, quality audit reports, quality records, complaints, returned product, and other sources of quality data to identify existing and potential causes of nonconforming product, or other quality problems.

- Investigating the cause of nonconformities relating to product, processes, and the quality system.

- Identifying the action(s) needed to correct and prevent recurrence of nonconforming product and other quality problems.  Verify or validate that the corrective action is effective and does not adversely affect the PET drug.

- Implementing and recording changes in methods and procedures needed to correct and prevent identified quality problems.  Ensure that the information related to the problem is disseminated to those directly responsible for ensuring the quality of the PET drug.

# VIII.	Labeling and Packaging Control

1.	Labels must be legible and applied so as to remain legible and affixed during the customary conditions of processing, storage, handling, distribution, and use.

2.	Labeling and packaging operations must be controlled to prevent labeling and product mixups.  The label and labeling used for each production unit, lot, or batch must be documented in the Historical Record.

3.	 A required control number must be on the label or must accompany the PET drug through distribution.

4.	The examination and review of labels and labeling for conformity with established specifications must be documented.  A copy of each label must be affixed to each batch production record.

5.	Each PET center must ensure that packaging and shipping containers are designed and constructed to protect against alteration or damage during the customary conditions of storage, handling, distribution, and use.

6.	To ensure that a PET drug product meets applicable standards

of identity, strength, quality, and purity at the time of use,

it must bear on its label an expiration date and time determined by appropriate stability testing.

7.	A written testing program must be established and implemented that is designed to assess the stability characteristics of PET drug products.  The results of such stability testing must be documented and used in determining appropriate storage conditions and expiration dates and times. The program must establish storage conditions for stability samples as well as reliable, meaningful, and specific test methods.

# IX.	Storage and Distribution

1.	Procedures must be established, maintained, and followed for the control of products to prevent mixups, damage, deterioration, contamination, or other adverse effects pending use or distribution and to ensure that no obsolete, rejected, or deteriorated product is used or distributed.  Procedures must be established, maintained, and followed that describe the methods for authorizing receipt from and dispatch for distribution.

- Each PET center must establish, maintain, and follow procedures for control and distribution of PET drug products being shipped from the PET center to ensure that only those products approved for release are distributed, that purchase orders are reviewed to ensure that ambiguities and errors are resolved before release and that the process of shipping does not adversely affect the product.

- Where fitness for use or quality deteriorates over time, the procedures must ensure that lots which have deteriorated beyond acceptable fitness for use are not distributed or administered to the patient.

4.	Distribution records must be maintained that include or refer to the location of:

- The name and address of the initial consignee;

- The identification and quantity of PET drugs shipped;

- The date and time shipped; and

- Any control number(s) used.

# X.	Records

1.	All records must be maintained at the PET center or other location that is reasonably accessible to responsible officials of the PET center and to employees of FDA designated to perform inspections.  Such records, including those not stored at the inspected establishment, must be made readily available for review and copying by FDA employees.  Records must be legible and must be stored to minimize deterioration and to prevent loss. Back-up copies must be made of those records stored in automated data processing systems.

2.	Records deemed confidential by the PET center may be marked to aid FDA in determining whether information may be disclosed under the public information regulations.

- All required records must be retained for a period of no less than 3 years from the date of release of the PET drug product.

4.	To ensure uniformity from batch to batch, master production

and control records for each drug product (these are created before production starts), including each batch size of each drug product, must be prepared, dated, and signed by one person and independently checked, dated, and signed by a second person.  The preparation of master production and control records must be described in a written procedure and such written procedure must be followed.

5.	Master production and control records must include:

- The name and strength and dosage form;

- The name and weight or measure of each active ingredient per dosage unit or per unit of weight or measure of the drug product, and a statement of the total weight or measure of any dosage unit;

- A complete list of components designated by names or codes sufficiently specific to indicate any special quality characteristic;

- An accurate statement of the weight or measure of each component, using the same weight system (metric, avoirdupois, or apothecary) for each component. Reasonable variations may be permitted, however, in the amount of components necessary for preparation of the dosage form, provided they are justified in the master production and control records;

- A statement of theoretical yield, including the maximum and minimum percentages of theoretical yield beyond which investigation is required;

- A description of the drug product containers, closures, and packaging materials, including a specimen or copy of each label and all other labeling;

- Complete manufacturing and control instructions, sampling and testing procedures, specifications, special notations, and precautions to be followed.

- Each PET center must establish, maintain, and follow procedures to ensure that a historical record for each batch, lot, or unit is maintained to demonstrate that production and holding of the PET drug was in accordance with the requirements.

- The historical record must include, or refer to the location of, the dates of manufacture, the quantity manufactured and/or vial size, the acceptance records, the labeling, and any control, batch, or lot number used.

8.	Written procedures describing the handling of all complaints regarding a drug product must be established, maintained, and followed. Such procedures must include provisions for review by the quality control unit of any complaint involving the possible failure of a drug product to meet any of its specifications and a determination as to the need for an investigation.  Such procedures must include provisions for review to determine whether the complaint represents a serious and unexpected adverse drug experience that must be reported to the Food and Drug Administration.

9.	A written record of each complaint must be maintained

in a file designated for drug product complaints.  The file regarding such drug product complaints must be maintained at the establishment where the drug product involved was manufactured, processed, or packed, or such file may be maintained at another facility if the written records in such files are readily available for inspection at that other facility.

10.	The written record must include the following information,

where known: name and strength of the drug product, lot

number, name of complainant, nature of complaint, and reply

to complainant.

11.	When an investigation is conducted, the written record must include the findings of the investigation and follow-up. The record or copy of the record of the investigation must be maintained at the establishment where the investigation occurred.

12.	Where an investigation is not conducted, the written record must include the reason that an investigation was found not to be necessary and the name of the responsible person making such a determination.

# XI.	Returned and Salvaged Drug Products

1.	Returned products must be identified as such and destroyed. A returned PET drug product must not be reprocessed.

2.	PET drug products that have been subjected to improper storage conditions including extremes in temperature, humidity, smoke, fumes, pressure, age, or radiation due to natural disasters, fires, accidents, or equipment failures must not be salvaged and returned to the marketplace.

# DEFINITIONS

(a) Acceptance criteria means numerical limits, ranges, or other criteria for tests that are used for or in making a decision to accept or reject a unit, lot, or batch (or any other subgroups of manufactured units).

(b) Act means the Federal Food, Drug, and Cosmetic Act, as amended (21 U.S.C. 301 et seq.).

(c) Actual yield means the quantity that is actually produced at any appropriate phase of manufacture, processing, or packing of a particular drug product.

(d) Batch means a specific quantity of a PET drug or other material that is intended to have uniform character and quality, within specified limits, and is produced according to a single manufacturing order during the same cycle of manufacture.

(e) Complaint means any communication that alleges deficiencies related to the identity, strength, quality, or purity of a PET drug after it is released for distribution.

(f) Component means any ingredient intended for use in the production of a PET drug, including ingredients that may not appear in the final drug product.

(g) Drug product means finished dosage form that contains a PET drug, generally, but not necessarily in association with one or more other ingredients.

(h) Historical record means a compilation of records containing the production history of a PET drug.

(i)	Lot means a batch, or a specific identified portion of a batch, having uniform character and quality within specified limits; or, in the case of a PET drug product produced by continuous process, it is a specific identified amount produced in a unit of time or a quantity produced in a manner that assures its having uniform character and quality within specified limits.

(j) Lot number, control number, or batch number means any distinctive combination of letters, numbers, or symbols, from which the complete history of the compounding, manufacturing, processing, packing, holding, and distribution of a batch or lot of PET drug product, or target material used specifically in the preparation of PET drugs, can be determined.

(k)	Manager means an employee of a PET center who has authority to establish or make changes to the quality policy and quality system.

(l) Master production and control record means a compilation of records containing the procedures and specifications for a PET drug.

(m) Nonconformity means the failure to meet a specified requirement.

(n) Percentage of theoretical yield means the ratio of the actual yield (at any appropriate phase of production of a particular drug product) to the theoretical yield (at the same phase), stated as a percentage.

(o) PET center means any person(s) who engages in the production and/or distribution of a PET drug for use in humans.

(p) Positron Emission Tomography (PET) drug means a drug that exhibits spontaneous disintegration of unstable nuclei by the emission of positrons and is used for the purpose of providing dual photons present in a finished dosage form.

(q) Potency is the activity of the drug product as indicated by appropriate laboratory tests or by adequately developed and controlled clinical data (expressed, for example, in terms of units by reference to a standard).

(r) Process validation means establishing by objective documented evidence that a process consistently produces a result or product meeting its predetermined specifications.

(s) Production means the compounding, manufacturing, processing, packaging, and/or labelng of a PET drug.

(t) Quality audit means a systematic examination of a quality system that is performed at defined intervals and at sufficient frequency to determine whether both quality system activities and the results of such activities comply with quality system procedures, that these procedures are implemented effectively, and that these procedures are suitable to achieve quality system objectives.

(u) Quality control unit means any person or organizational element designated by an organization to be responsible for the duties relating to quality control.

(v) Quality policy means the overall commitment of the organization with respect to the quality system, as established by a manager.

(w) Quality system means organizational structure, defined responsibilities, written procedures, and adequate resources to ensure that each PET drug is produced in accordance with the requirements.

(x) Specification means the quality standard (i.e., tests, analytical procedures, and acceptance criteria) used to confirm the quality of drug substances, drug products, intermediates, raw materials, reagents, and other components including container closure systems, and in-process controls.

(y) Strength means the concentration of the drug substance (for example, radioactivity amount/volume).

(z) Theoretical yield means the quantity that would be produced at any appropriate phase of production of a particular drug product, based on the quantity of components to be used, in the absence of any loss or error in production.

(aa) Validation means confirmation by examination and provision of objective documented evidence that the particular requirements for a specific intended use can be consistently fulfilled.

(bb) Verification means confirmation by examination and provision of objective evidence that specified requirements have been fulfilled.

A:\PETREG2899

# Comments

Revised section to include Ravi’s comments.

Incorporated from h 2 into e.

Added oil baths

Incorporated h 1 under g.

2/6/99  checked definition in FDAMA sec. 116

2/6/99  [823] refers to a batch.  No mention of sub batch.

Added definition.