SPACE SPECIFICATIONS

GENERAL SERVICES ADMINISTRATION

NOTE: Many of the items described in this form are above standard reimbursable.  Check with your GSA representative to determine which are extra cost.

SECTION I.  INTRODUCTION

A.  Agency/Bureau:   				AREA INDIAN HEALTH SERVICE

B.  Location Requested:

C.  Delineated Area:

In smaller towns this will normally be city wide.  In larger cities it will be the Central Business Area (CBA) unless you have a requirement otherwise.  If other than city wide or CBA, outline delineated area by streets and provide justification.  If other than CBA or city wide, please include map.

D.  Is this request for space consistent with your agency's space reduction plan?                                                If not, it must be certified by the head of your agency in accordance with Section 101-17.101(c) of the Federal Property Management Regulations.

E.  Name and Telephone Number of Agency Contact:

F.	Will agency require the use of GSA Space Planners?  Yes    No__

SECTION II.  SPACE REQUIREMENTS

A.  Date Required:

B.  Minimum firm term of lease:  (  )5 yrs.  (  )10 yrs.  (  )Other 			(This is the noncancelable lease term based on the agency's best knowledge of continuing needs.  Normally, alterations for agency cannot be amortized in less than three (3) years.)

C.  Number of occupants:            Occupiable square feet:

| *Male | *Female | Office | Storage | Special | Total |
| --- | --- | --- | --- | --- | --- |

*(Needed to determine toilet facility requirements.)

"Storage" means non-airconditioned space with low lighting level and no carpet.  A room for office forms or related items that is finished as office is classified as office.

"Special" means laboratories, computer rooms, large conference rooms or other construction requiring special features.

D.  Is there a seasonal peak staffing level?		( )Yes 	( )No

E.  Is there a second or third shift?			( )Yes 	( )No

F.  Will multiple occupancy work stations be used?( )Yes 	( )No

SECTION III.  LOCATION CONSIDERATION

A.  Must your space be on contiguous floors?		( )Yes	( )No

If yes, Explain:

B.  Must your space be located on one floor only?	( )Yes 	( ) No

If yes, Explain:

C.  Must you be located on a particular floor?	( )Yes	( ) No

If yes, Explain:

D.  GSA cannot guarantee that all of your space will be contiguous, 			therefore, on a functional basis, what is the minimum size requirement for a single block of contiguous space?             Please explain.

E.  Identify any other agencies which you must be located near and 			explain why:

F.  Identify any agencies you should not be located near and explain 			why:

SECTION IV.  STRUCTURAL REQUIREMENTS

A.  Will you have a ceiling height requirement in excess of 8 feet?

( )Yes	( )No	If yes, Explain:

B.  Will you require any specially constructed areas such as a 			vault?  	( ) Yes		( ) No

If yes, Explain:

C.  Will you have an unusual floor load requirement?

( )Yes	( )No	(Such as power files, safe, central file room or 			libraries?) If Yes, explain:

SECTION V.  TRANSPORTATION

A.  How many parking spaces will be required for official vehicles? 			        (Parking for employees is not authorized except as required by

local codes.)

B.  Will secured parking be required?		( ) Yes		( ) No

C.  Is bus service required?					( ) Yes 	( ) No

If yes, how close to the nearest bus stop?

D.  Will a loading dock be required?			( ) Yes 	( ) No

1.  What size trucks will it have to accommodate?

2.  Will it have to be enclosed?			( ) Yes 	( ) No

E.  Will a freight elevator be required?		( ) Yes 	( ) No

SECTION VI.  ARCHITECTURAL

A.  Partitioning

List the rooms you expect to need in the space below with remaining open area the last line item.  Be sure that the total square footage including the open area, matches the total square footage listed under the SPACE REQUIREMENTS SECTION.  If additional space is required, please use this format on a separate sheet.  Partition height will be slab to slab (s/s), ceiling (c/h), 6' high or acoustical screens(A/S).

| No. of Rooms | Area of Each | Total Sq. Ft. | Partition Ht. | Intended Use | STC |
| --- | --- | --- | --- | --- | --- |
|  |  |  | C/H | Private Office | 37 |
| Totals |  |  |  |  |  |

B.  Partitions:  Sound Conditioning:

This means walls constructed to reduce or prevent the transmission of sound.  A normal office should have an STC(Sound Transmission Coefficient) of 37.  A conference or hearing room will require an STC of 40.  In rare instances where discussions occur which would have harmful effects on the Government if overheard, an STC of 50 may be required.

Requirement for stick-on acoustical wall tiles, acoustical

panels or other requirements to reduce noise level within a room should be listed on a separate sheet.

C.  Partitions:  Folding

If a folding wall will be required, please provide information on size, use, and STC on separate sheet.  NOTE:  GSA Fire safety regulations may preclude the use of folding partitions in certain situations.

D.  Floor Covering:

Standard floor covering for office space is carpet.  If something else, such as vinyl tile is required for storage or file room, outline the requirements here:

E.  Window Treatment:

Standard window treatment is either lined drapes or unlined drapes with thin slat blinds.  List your preference here.

SECTION VII.  MECHANICAL, ELECTRICAL, PLUMBING

A.  Laboratory:

If laboratory space is required, please list all requirements.

B.  Plumbing:

If sink, showers, exhaust fan or other special plumbing or mechanical system is required, please list here:

C.  Chemicals:

If chemicals are used, please list acids, corrosives, toxic or flammable chemicals by name, type, and quantity on hand at any one time.

D.  Electrical:

1.  Number of standard duplex electric outlets required:

2.  Special electrical requirements (other than computer):

Include special requirements for photocopiers, remote computer terminals, etc.  Include information on voltage, amperage, cycle, phase, if separate or isolated circuit, type of ground (if special) special outlet requirements.  Also include information on BTU's of heat generated by equipment:

E.  Telecommunications:

1.  Number of standard telephone outlets required:

2.  Number of special telephone outlets: (Specify unique

attributes)

3.  Special telecommunications requirements such as leased 	equipment, lessor provided equipment, PBX, FTS, special switchgear, special environmental considerations, ADP links, wiring requirements.

SECTION VIII.  SERVICE AND UTILITIES

A.  Do you have a requirement for a flag pole?	( ) Yes	( ) No

If yes, Explain:

B.   What are your normal hours of operation?

C.  Is  overtime access and utilities be required?	( )Yes  ( )No

If yes, What frequency?

D.  Will daytime cleaning be required?				( )Yes  ( )No

Justification:

SECTION IX.  FIRESAFETY

Do you have any special fire safety requirements?		( )Yes  ( )No

If yes, Explain:

SECTION X.  SECURITY

List special requirements (if any) such as location within a building, slab-to-slab walls, vaults, special guard requirements, special locks, internal locks, alarm systems, etc.:

SECTION XI.  COMPUTER ROOM

A.  Will you require a computer room?		( )Yes	( )No

If no, proceed with SECTION XII.  If yes, approximately what size (square feet)?

B.  Will the computer room require a raised floor?  ( ) Yes   ( )No

If yes, indicate height above existing floor:

C.  What live load should the floor support (psi)?

D.  What are the maximum and minimum temperatures allowed in the 			computer room?		Maximum              Minimum

E.  Will these environmental conditions have to be maintained 24

hours a day, 7 days a week?

F.  Will any equipment be cooled from an underfloor system? ( )Yes  			 ( )No

G.  Please list each piece of equipment to be located in the

computer room along with the operating BTU's of heat output and complete electrical requirements of each item.  List in following table form on a separate sheet.

| Equip. | BTU's/Hr | Voltage | Amps | Phase | Grounding Req'mts. | Isolated | Hardwire/Plug-in |
| --- | --- | --- | --- | --- | --- | --- | --- |

H.  Where equipment will plug into a wall outlet (or floor outlet), 			please tell us if the computer equipment vendor, your agency or GSA is to furnish the outlets.

I.  Where GSA will Furnish, please provide complete specifications 			of electrical outlets, including catalog numbers:

J.  Will you require a portable power center?	( ) Yes	( )No

K.  Who will furnish signal cable to interconnect computer

equipment?

If furnished by GSA, please provide complete specifications and quantities, and let us know if cable can be spliced?

L.  Who will hook up the computer cable?

M.  Who will plug in or hard wire the computer equipment?

N.  Will cable runs to remote terminals be required?  ( )Yes   ( )No

O.  Will an emergency power supply be required?  		( )Yes  ( )No

P.  Will an uninterrupted power supply be required?	( )Yes  ( )No

Q.  Will you require any convenience type electrical outlets in the

computer room for test equipment?				( )Yes  ( )No

R.  Will this room require telephone outlet or special telephone

line?									( )Yes  ( )No

S.  How many people will normally be present in the computer room?

SECTION XII.  SPECIAL REQUIREMENTS

A.  Do you have requirements for interior view windows? ( )Yes ( )No

If yes, list number, size and distance from bottom edge to floor:

B.  Do you have a requirement for a radio/TV antenna?  ( )Yes  ( )No

If yes, list type of mount, roof or ground, entrance head, type and size conduit, termination mount required and location:

C.  Do you have a requirement for a Public Address System?

( )Yes	( )No

If yes, Describe:

D.  If you have a conference room, will you require any of the 			following?

Exhaust fan		( )Yes	( )No	Size CMF

Chalkboards		( )Yes	( )No	Size                    	Liquid Chalkboards	( )Yes	( )No	Size

Built-in Screens	( )Yes	( )No	Size

Projection booth	( )Yes	( )No	Size

Stage			( )Yes	( )No	Size

Blackout drapes	( )Yes	( )No	Size

Lectern			( )Yes	( )No	Size

E.  What is the average number of people expected to attend

meetings?

F.  Will there be an executive area with higher standards of finish

than the remainder of the space?		( )Yes	( )No

If yes, Explain:

G.  List any other special requirements not already covered:

SECTION XIII.  WAREHOUSE

A.  If you need a warehouse, provide the following information:

1.  Warehouse size:               Square Feet:

2.  Hoist: 		( )Yes	( )No

If yes, Explain:

3.  Overhead door type:                                          4.  Hose bib:	( )Yes	( )No	  Frost free  ( )Yes  ( )No

5.  Floor drain:( ) Yes	( )No

6.  Floor type                      Floor load:                 7.  Loading dock(s):  ( )Yes  ( )No  Height:     Location: N/A   8.  Concrete apron:	( )Yes	(X) No

9.  Ceiling height:

10.  Number of Employees:

11.  Restroom 		( ) Yes	( ) No

12.  Wareyard area necessary for maneuverability of vehicles?

( )Yes	( )No	If yes, size in sq.ft.

13.                  foot candles of lighting.

14. Special HVAC	( ) Yes	( ) No

If yes, Explain:

15. Electrical requirements:

SECTION XIV.  WAREYARD

Will you need a wareyard?		( ) Yes	(X ) No

If yes, provide the following information:

A.  Location:                                sq.ft.:

B.  Surface type:

C.  Lighting	( ) Yes	( ) No

If yes, Foot candles at ground level:

D.  Fencing		( ) Yes	( ) No

If yes, Explain:

E.  Gates required	( ) Yes	( ) No

If yes, Explain:

F.  Adjacency to other buildings:

SECTION XV.  CERTIFICATION

The impact of the Balance Budget and Emergency Deficit Control Act of 1985 has been considered and funds are available to pay for the requested space.

BY:

(SIGNATURE)				 						(DATE)

(AUTHORIZING OFFICIAL)								(DATE)

IF ADDITIONAL PAGES ARE NEEDED, USE PLAIN BOND, AND INDICATE WHAT SECTION AND SUBSECTION IS BEING EXPLAINED.