Version

3.2.1

ICSGENERATOR

USER’S Guide

Table of Contents

1. Background	3

2. Installation	5

2.1 Download and Installation Information	5

2.2 System Requirements	5

3. Running the ICSGenerator Tool	5

3.1 Project Menu	6

3.1.1 Device Specialization (DIM XML)	8

3.2 Implementation Conformance Statements (ICSs)	22

3.3 Tools menu	28

3.3.1 Compare Devices	28

3.3.2 UML Diagram	30

3.3.3 Validate Tool	32

ICSGenerator User’s Guide

## 1. Background

The IEEE 11073 Standard is a family of documents that defines the entire seven layer communications requirements for the "Medical Information Bus" (MIB). The objective of this standard is to standardize data communications for patient connected bedside devices, optimized for the acute care setting, to allow clinicians to set up device communications in a "plug and play" fashion.

NIST is collaborating with medical device experts to facilitate the development and adoption of standards for medical device communications throughout the healthcare enterprise as well as integrating it into the electronic health record.

The ICSGenerator tool is an effort initiated by National Institute of Standards Technology (NIST) and IEEE 11073 Working Groups to help in capturing the relationships among the managed objects and the data necessary to generate Implementation Conformance Statements (ICS). An ICS discloses details of a specific implementation and specifies which features are provided. The tool was also designed, to aid in the IEEE 11073 test development process by providing a mechanism for test identification.

Figure 1 depicts a functional overview of the ICSGenerator tool. Processing is XML based. An XML instance of the DIM XSchema (An electronic version of the IEEE 11073 DIM developed by NIST) was created to capture all the managed objects, their relationships and the information associated to each of them, such as attributes, behaviors and notifications. The ICSGenerator loads the XML file, provides with the capabilities of adding, removing and updating managed objects including its attributes, behaviors and notifications. Based on this information the tool generates an XML file representing the containment tree that describes the medical device as specified by the implementer in conformance with the IEEE 11073 standard. The XML file contains the data required to generate ICS reports and any other reports related to the information model or the implementation containment tree. NIST plans to utilize this tool as a test isolation mechanism for the IEEE 11073 implementation testing.

Figure 1. Overview of  ICS-Generator

## 2. Installation

### 2.1 Download and Installation Information

ICSGENERATOR can be downloaded at: http://www.nist.gov/medicaldevices

Click on the ICSGenerator link

Click on the Download link

Select NIST ICSGenerator 3.2.1 to download a self-installing executable jar file.

Follow the self explanatory instructions provided by the installer. The source code and libraries are included in the install directory.

### 2.2 System Requirements

ICSGenerator 2.1 uses Java and XML Technologies. The following software is required:

- Java JDK 6

ICSGenerator has been tested on Windows XP but since it is Java based, it is likely that the software will run on other system configurations.

## 3. Running the ICSGenerator Tool

Once the installation is complete, double click the ICSGenerator icon to start the tool.

The ICSGenerator main screen should pop up giving you four menu options. Each menu option is explained in the following sections.

### 3.1 Project Menu

The project Menu options allow the user to:

- create a new project by selecting the “New” option.

  - This option is usually selected the first time you use the tool to create a new project or device specialization.

  - A profile type and a device type must be selected:

    - Profile types: baseline, polling mode, PHD or a PHD specialization

    - Device type: agent or manager

NOTE: When selecting a PHD Specialization, a profile of that particular specialization is loaded.

- open a project by selecting the “Open Project…” option.

  - This menu option allows the user to start the process with a previous version of a project.

  - A project includes; Implementation Conformance Statements (ICS’s), device specialization and profile type.

  - The project file extension is “.ics”.

- save a project by selecting the “Save” option.

  - This menu option allows saving a current or working project under the same file name.

- save a project by selecting the “Save as” option.

  - This menu option allows saving a project under a different file name.

- export the Implementation Conformance Statements in PDF format by selecting the “Export PDF Report…” option,

  - The user must generate the ICS before selecting this option.

- generate HL7 OBX message by selecting the “Generate HL7 OBX Message …” option.

  - This option allows mapping device attributes and related information to observation segments in HL7 messaging format.

  - If this option is selected a screen will pop up displaying the OBX segment in XML, an option to save this file is also available.

- import ICS’s and specialization profiles individually instead of a project, by selection the “Import” option.

  - The import option is available when a new project is created and a profile type is selected.

  - Allows the user to import a specialization profile to be used as model for a new project or new specialization, i.e. a specialization of an “infusion pump”.

- exit ICSGenerator completely, by selection the “quick” option.

  - No files are saved with this option.

### 3.1.1 Device Specialization (DIM XML)

The ICSGenerator tool provides a mechanism to generate  x73 “Device Specializations”. The tool allows the generation of X73 “classic” and X73-PHD device specializations. The process is driven by the IEEE 11073 DIM and the IEEE11073-20601 DIM which are represented in XML. The DIM model in conjunction with the device profile and device type provides the basis for the generation of device specializations. The device specialization is saved in XML format and it provides the information necessary to generate the Implementation Conformance Statement (ICS) tables.

Using the ICSGenerator tool’s interface a user specifies the type of medical device to generate or process.

The user could generate a device specialization from scratch, import a device specialization to model the new device or use a default profile.

For every selection, the tool will provide a graphical containment tree representation to help in defining the device. The following figure shows an imported PHD specialization:

This interface allows the user to modify and define its device specialization. Click on an object to see information such as Object Class, Object Name, Label, Reference, Attributes, Behavior, and Notification etc…

Right click on an object to:

"Add MOC" to add a new Managed Object Class (MOC) 
"Remove MOC" to remove MOC's

"Update Attributes…" to update the attributes for the selected MOC

"Update Behaviours…" to update the behaviours for the selected MOC

"Update Notifications…" to update the Notifications for the selected MOC

Highlight a MOC and then click the Add MOC button to see a list of MOCS’s that can be added.  The new MOC will be added as a child of the highlighted MOC.

Highlight a MOC and then click the Remove MOC button to remove the MOC and all its children from the JTree.

In the example below we are adding a new Enumeration MOC.

As you add or remove selected MOC's you should see the JTree changing to reflect the addition or removal of MOC's. You can also add a Object Type ID, Term Code, Label, Restrictions, Application Guidance, CREATE/DELETE Service Support and Comments for a MOC by typing data into the respective boxes and clicking on "Add Changes".

Click on the "Update Attributes…" button to update the Attribute List for the selected MOC.  Users can modify the Attribute List by Adding/Removing attributes.  Users are also able to add Private Attributes to the selected MOC.  However, a mandatory attribute may not be removed from the MOC.

Click on the Add changes button to capture the changes.

Click on the "Update Behaviors…" button to update the Behavior List for the selected MOC.  Users can modify the Behavior List by Adding/Removing behaviors.  Users are also able to add Private Behaviors to the selected MOC.  However, a mandatory behavior may not be removed from the MOC.

Click on the Add changes button to capture the changes.

Click on the "Update Notifications…" button to update the Notification List for the selected MOC.  Users can modify the Notification List by Adding/Removing notifications.  Users are also able to add Private Notifications to the selected MOC.  However, a mandatory notification may not be removed from the MOC.

Click on the Add changes button to capture the changes.

ICSGenerator also allows modification of specific attributes, behaviors and notifications for each MOC. Click on the “Attribute Name” combo box to see a list of attributes of the highlighted MOC.

In this example the Dev-Configuration-id attribute has been selected and will produce the following screen when clicked on:

The user could provide additional information such as:

- Restrictions

  - User supplied information detailing any restrictions.

- Application Guidance

  - User supplied information about attribute selected.

- Attribute Access

  - User supplied information showing the attribute access of the selected attribute such as GET, SET, SCAN…

- Value

  - User supplied information showing a value for the attribute

- Value ranges

  - User supplied information showing value ranges for the attribute selected, only if applicable.

- Comments

  - User supplied comments for the attribute.

Click on “Add” button to capture the information entered.

If a behavior is selected the following screen will be displayed and the following information should be provided:

- Restrictions

  - This field captures restrictions entered for the behavior.

- Comments

  - This field captures comments entered for the behavior.

Click on the “Add” button to capture the information entered.

If a notification is selected the following screen will be displayed and the following information should be provided:

- Restrictions

  - This field captures restrictions entered for the notification.

- Comments

  - This field captures comments entered for the notification.

Click on the “Add” button to capture the information entered.

Remember “Add changes” and “Add”, only capture the changes made to the device specialization. To save the changes permanently, just click “Save as” under the “Project” menu or click on the “XML” tab located at the bottom panel then click on “Generate xml File” and “Export XML File” .

Saving a project and exporting an xml file are two different tasks. When a project is saved, the user is saving everything related to the project including the ICS’s and the device specialization. When an xml file is exported is only saving the device specialization in XML format. The ICSs can also be individually saved in an xml file; section 2.3.3 will elaborate more on how to accomplish this task.

### 3.2 Implementation Conformance Statements (ICSs)

Implementation Conformance Statements (ICSs) are statements of conformance providing specific details about a device.

ICSGenerator allows the user to generate these ICSs in the format specified in the ISO/IEEE 11073-10201 (Domain Information Model) and ISO/IEEE 11073-20601 specifications.

ICSGenerator uses the information provided in the Device Specialization XML file to generate most ICS tables, others like “Service”, “General” and “Transport” ICSs are generated using individual XML files.  Click on ICS menu and select ICS tables to generate and display.

Selected ICSs will be displayed at the bottom panel, each of them identified by a tab. Click on one of them to display the corresponding table.

In each ICS table, the “Support” and “Comment” columns are editable. The following options are available for each ICS table:

- “Update”: This option allows dynamic updates to the ICS tables. This means that if a change is made to the data model, like removing a MOC, by clicking the “Update” tab the ICS table will be updated. The project most be saved in order to save all the changes and updates.

- “Add Changes”: This option allows capturing any changes made to the table either by editing the “Support” or “Comment” columns or by a dynamic update of the table.  The project most be saved in order to save all the changes.

- “Generate XML File”:  This option allows togenerate an XML version of the ICS table.

- “Export XML File”:  This option allows the user to save a copy of the XML version of the ICS table.

The Transport ICS Table is the only table that follows a different format, therefore providing different options. This table is part of the “Classic” ISO/IEEE 11073 Standard and is used to define which transport will be supported by the device. Currently, only the IRDA-based Cable-Connected transport ICS is supported by the ICSGenerator Tool. Select the Transport ICS from the DIM ICS drop down menu.

Click on the IRDA-based Cable-Connected radio button.

Click on one radio button; IrLAPICS, TinyTPICS  or IrLMPCIS. The following screen will be displayed, if the IrLAPICS was selected, a similar screen will be displayed for TinyTPICS  or IrLMPCIS. The user must indicate which functions will be  supported by selecting “YES” or “NO” under the supported column for each particular function.

After making the selections the user must “Add Changes” to capture the information entered and proceed to save the project, if done using ICSGenerator. The user also has the option of generating and saving an XML version of the transport ICS table using the “Generate XML File” tab and the “Export XML File”, respectively.

### 3.3 Tools menu

ICSGenerator provides other capabilities; these are accessible via the “Tool” menu:

- Compare Devices

- UML Diagrams

- Validation errors

### 3.3.1 Compare Devices

ICSGenerator provides a methodology to quickly select and compare two or more device specializations.  Objects, attributes, behavior, and notifications reports are produced documenting common characteristics.  This type of comparison is done at the feature level it will list all the objects supported by the devices and highlight identical features.

For instance, the following comparison report is between two Pulse-Oximeter device specializations, one is an extended configuration and the other is a standard configuration, noticed that both of them support a Numeric:Pulse rate object and Numeric:SpO2 object.

Right click on one of the objects to display a comparison report on attributes, behaviours or notifications. The following report is on the attributes of the Numeric:Pulse rate object.

The compare device tool also allows the user to perform an “Agent” to “Manager” comparison, providing useful information that can aid in determining if a manager could interoperate with an Agent. Objects are compared regardless their type and a comparison report is generated including common characteristics among attributes, behavior, and notifications. To generate this type of report make sure you select “Agent to Manager” comparison type, and then load the Manager Specialization file or profile and the Agent specialization file.

Once a comparison report is generated the user has the option of saving the report in PDF format.  Select “Export comparison report…”  to save the report.

### 3.3.2 UML Diagram

The ICSGenerator provides the capability of automatically producing a UML class diagram describing the device data model based on the device specialization defined by the user using the tool.

An UML diagram of the device being model is generated by selecting the UML option on the Tool menu. A UML diagram can be draw at any level of the containment tree by selecting the root in a drop down menu.

Click on the “UML Diagram” tab to display the diagram.

### 3.3.3 Validate Tool

ICSGenerator provides a tool that validates the  current profile against the DIM XSchema (XML Schema including ISO Schematron rules) and prints the detected errors. We intend to enhance this feature in the future in order to perform additional validation such as validating a PCD profile against the Rosetta Terminology Mapping Table.

When loading a profile, a validation report is printed automatically if errors are detected.

To perform validation on a loaded profile the user has to select “Validation errors” option under the “Tool” menu.