APPENDIX A - DESCRIPTION OF PLATFORMS, INSTRUMENTATION, AND DATA

PRODUCTS 	A-1

A.1 SATELLlTE	A-1

A.1.1 GOES	A-1

A. 1.2 NOAA  (TIROS-N)	A-2

A. 1.3 Landsat 	A-4

A. 1.4 SAGE II	A-5

A. 1.5 DMSP	A-5

A.1.6 ERS-1	A-7

A. 1.7 METEOR	A-7

A. 1.8 ISCCP CX 	A-7

A.2 AIRCRAFT	A-8

A.2. 1 NASA ER-2	A-8

A.2.2 NCAR Sabreliner	A-10

A.2.3 NCAR King Air	A-13

A.2.4 University of North Dakota Citation 	A-16

A.3 SURFACE 	A-18

A.3.1 HUB	A-18

A.3.2 R2	A-22

A.3.3 R3 	A-25

A.3.4 Rla	A-25

A.3.5 SRB	A-25

A.3.6 SPECTRE	A-25

A.3.7 OTHER LOCATIONS	A-28

APPENDIX A

DESCRIPTION OF PLATFORMS, INSTRUMENTATION, AND DATA PRODUCTS

FOR CIRRUS IFO-II

The following is a description of the platforms, instruments, and data products for those instruments participating in the Cirrus IFO-II. The data products are describe for raw data (investigator archived), reduced data (FIRE Central Archive), and value-added data (FIRE Central Archive).

A. 1 SATELLITE

FIRE will obtain data from seven possible satellites. Each satellite has the following instruments, characteristics, and data products:

A.1.1 GOES

The Geostationary Operational Environmental Satellite (GOES) system operates one to two spacecraft in geostationary orbit. These spacecraft are positioned on the equator at 135•W and 75•W longitude. If only one is operated, as was the situation at the stars of FIRE in 1986, then it is positioned from 90• to 100•W.

The GOES carry two instruments of interest to FIRE. The Visible Infrared Spin Scan Radiometer (VISSR) produces images of the full earth every one-half hour. It scans in both the visible (0.52-0.67 (m) and infrared window (10.35-11.25, 10.4-12.1 (m) wavelengths simultaneously. The sensor uses the spin of the spacecraft to scan from west to east and a mirror for rastor scanning from north to south. In one west to east scan 8 fines are scanned in the visible image by 8 photomultipliers and one fine in the infrared image by a separate photomultiplier. The single field of view resolution is 1 km in diameter for the visible image and 8 km in the infrared image. The infrared image is digitized at every 4 km in the west to east direction so the transmitted pixel has a 4x8 km shape. At the latitudes of the FIRE experiment (30•- 42•N), the fields of view of the sensor are approximately 1.4 km in the visible and 11 km in the infrared.

The GOES VISSR normally scans the full earth twice per hour. However, for special operations images can be started at three minute intervals if a limited latitude belt is scanned. This "rapid scan mode" is normally invoked by NOAA for monitoring severe convective activity. The images are reduced in their north-south dimension to approximately 20• of latitude over the continental United States.

The GOES spacecraft also carry a second imaging sensor, the VISSR Atmospheric Sounder (VAS) for multispectral imaging. The VAS has 12 channels, 11 in the infrared and 1 in the visible. These channels are primarily in the CO2 and water vapor absorption regions of the spectrum. Each channel has a response to radiation upwelling from different altitudes in the atmosphere. The multispectral channel data is used for determining vertical profiles of temperature and water vapor, and for cloud top altitude information.

All channels have field of view resolutions nominally of 8 km at nadir which corresponds to approximately 11 km at the FIRE sites. The VAS image starts after the VISSR at 18 and 48 minutes after the hour. Two images per hour are taken under normal operations; however, the latitude extent of each image is limited to 20•. Repeat scans are made on each fine because only one channel can be scanned per fine at a time. Repeat scans on some channels are also made to reduce noise in the signal. The VAS scans four fines across the earth then leaves four blank fines. This venetian blind scanning mode is used to maximize the latitude extent of each image.

The latitude belt scanned by VAS is normally alternated between the northern and southern parts of the United States. Thus, one location is covered at any hourly frequency.

VISSR:

Raw: Raw GOES satellite data will not be archived by FIRE-II

Reduced: 0.55 - 0.75 (m radiance (squared instrument courts)

Value-Added: TOA radiances, cloud height, cloud amount, optical depth, TOA flux estimates, cloud particle size, TOA H20 radiances,

VAS: TBD - Wylie

Raw: TBD

Reduced: TBD

Value-Added: cirrus cloud heights, cirrus cloud amounts

A.1.2 NOAA (TIROS-N)

NOAA operates two polar orbiting satellites of the TIROS design. The satellites are three axis stabilized in sun synchronous orbits. They normally pass once in the morning (NOAA-10 at approximately 7:30 local time) and once in the afternoon (NOAA-11 at approximately 2:30 local time).

The Advanced Very High Resolution Radiometer (AVHRR) scans across the orbit track producing images at five spectral wavelengths. One channel is in the visible (0.57-0.67 (m), two A are in the infrared window (10.35-11.25 and 11.4-12.4 (m), and two are in the near infrared (0.72-0.98 and 3.S5-3.85 (m). Each image covers approximately 20• of longitude at the equator. Overlapping coverage between orbits is common near the pores. The 12 (m channel is not on NOAA-11.

The AVHRR channels all have fields of view of 1 km in diameter. These high resolution data are transmitted directly as scanned along the orbit track, and are called the High Resolution Picture Transmission (HRPT) format. HRPT imagery is only archived when the satellite is in view of a "round station. Lower resolution data at 4 km field of view are stored on the satellite and offloaded for complete Global Area Coverage (GAC).

The NOAA satellites also carry a package of instruments called the TIROS Operational Vertical Sounder (TOVS). Three instruments are in this package: the High Resolution Infrared Sounder number 2 (HIRS-2), the Stratospheric Sounding Unit (SSU) and the Microwave Sounding Unit (MSU). The HIRS has 20 channels, 19 in the infrared and one in the visible. These channels are used for vertical temperature and moisture profiles as well as for cloud top altitudes determination, similar to the GOES VAS. They are in the CO2, water vapor, and ozone regions of the spectrum.

The HIRS is scanned in parallel with the AVHRR, covering nearly the same swath. The field of view diameter of the HIRS varies from 21 km at nadir to 52 km at the edge of the scan. All HIRS data are transmitted from the satellite and archived globally.

Currently, NOAA-10 (7:30 a.m.) and NOAA-11 (2:30 p.m.) are in orbit and fully operational. NOAA-10 was launched in October 1986 and is scheduled for replacement in Spring 1991 by NOAA-12. NOAA-11 was launched in October 1988 but has lost two of its three navigational gyros. It is currently planned for replacement in November 1991. Since the satellites typically require 4 weeks for "shakedown" it is possible that the 2:30 p.m. NOAA orbit will be unavailable during the Cirrus IFO-II experiment. If NOAA-11 fails before April 1991, the NOAA 13 replacement launch could be accelerated before November 1991, giving FIRE data in November l 991. If NOAA- 11 fails between April and November 1991, FIRE may be without NOAA data in the 2:30 p.m. orbit. The five channel AVHRR-2 instruments on NOAA-12 and NOAA-13 have the same spectral bandpasses as NOAA-9 and -11 (NOAA-10 was missing the 12.5 (m channel). The AVHRR-3 instrument (4 copies available, adds a split 3.7/1.6 (m channel) will fly on NOAA 14 through NOAA-17.

AVHRR - HRPT:

Raw: Raw NOAA TIROS satellite data will not be archived by the FIRE.

Reduced: 0.58 - 0.68 (m lambertian reflectance, 0.725 - 1.10 (m lambertian reflectance, 3.55 -3.93 (m brightness temperature, 10.3 - 11.3 (m brightness temperature, 11.5 - 12.5 (m brightness temperature (not on NOAA-10)

Value-Added: cloud fraction, cloud optical thickness, cloud top temperature, cloud column liquid water cloud IR emissivity, cloud albedo, model index (particle phase and size), clear sky albedo, clear sky temperature

AVHRR - GAC:

Raw: TBD

Reduced: 0.58 - 0.68 (m lambertian reflectance, 0.725 - 1.10 (m lambertian reflectance, 3.55 -3.93 (m brightness temperature, 10.3 - 11.3 (m brightness temperature, 11.5 - 12.5 (m brightness temperature (not on NOAA- 10)

Value-Added: cloud fraction, cloud optical thickness, cloud top temperature, cloud column liquid water, cloud IR emissivity, cloud albedo, model index (particle phase and size), clear sky albedo, clear sky temperature

TOVS - HIRS:

Raw: TBD

Reduced: TOA radiances

Value-Added: temperature profiles

A.1.3 Landsat

Landsat carries an extremely high resolution multispectral instrument called the Thematic Mapper. This sensor has 7 channels (0.45-0.52, 0.52-0.60, 0.63-0.69, 0.76-0.90, 1.55-1.75, 2.08-2.35, 10.4-12.5 (m) in the visible, near infrared, and thermal infrared regions. Its field of view is extremely small (28.5-114 m) compared to other satellites. However, its images also cover very small areas of 180 km in dimension. The polar orbit of the satellite and small viewing area combine to limit its coverage of a location to once every 16 days. Landsat -4 and -5 are currently in sunsynchronous orbit, with equator crossing times within 1 minute of 9:30 atm.

The Landsat satellite orbit in a 9:45 atm. sun-synchronous orbit. Data is collected for 185 km by 170 km scenes. Spatial resolution in the 6 shortwave and near-infrared window channels is 28.5 meters. Spatial resolution in the 11 (m window channel is 114 meters. A given Landsat scene is viewed once every 16 days. The data is taken every 16 days over the continental U.S., but is only processed (radiometric calibration and geometric location) upon request. For especially interesting cirrus conditions over the IFO sites, several Landsat TM scenes may be ordered. These

scenes would be ordered on l yr after preliminary examination of surface lidar and cloud image data to verify cirrus conditions.

Raw: Raw Landsat satellite data will not be archived by FIRE-II

Reduced: 0.45 - 0.52 (m reflected radiance (digital counts which can be linearly converted to radiance using supplied calibration coefficients.),O.52 - 0.60 (m reflected radiance, 0.63 - 0.69 (m reflected radiance, 0.76 - 0.90 (m reflected radiance, 1.55 - 1.75 (m reflected radiance, 2.08 - 2.35 (m reflected radiance, 10.4 -12.5 (m reflected radiance

Value-Added: TBD

A.1.4 SAGE II

The Stratospheric Aerosol and Gas Experiment (SAGE-II) operates a sensor on the ERBS satellite. The ERBS is in a mid-inclination (57•), non-sun synchronous orbit.

The SAGE-II instrument measures solar radiation passing through the limb of the atmosphere as the satellite views sunrises and sunsets. This instrument in essence scans the atmosphere vertically, measuring the attenuated radiation from the sun at seven discrete wavelengths between 0.385 and 1.02 (m. These channels are sensitive to aerosols, nitrogen dioxide, water vapor, ozone, and clouds in the stratosphere and upper troposphere.

The limb scanning mode of the SAGE-II sensor has a field of view that is greatly elongated, 0.5 x 200 km. The location of each field of view is highly dependent on the relative angle between the sun and the satellite. Each point on the earth between 75• N and 75• S is scanned at sunrise or sunset for three days in succession in a six-month period.

Raw: Raw SAGE n satellite data will not be archived by FIRE-II

Reduced: TBD - extinction profile, H20 profile

Value-Added: cirrus cloud heights, cirrus climatology.

A.1.5 DMSP

There are currently three DMSP satellites in sun-synchronous polar orbit. The orbit for F-8, F-9, and F-10 have equator crossing local times of 0630, 1000, and 1930 ascending (south to north), respectively. F-10 was launched in early December 1990, with an unplanned elliptical orbit of 720 by 850 km. With this orbit the equatorial crossing time will display a drift of 45 minutes (local time) per year. This will place the overpass time at approximately 2015 during Cirrus IFO II.

Each platform carries an Operational Line Scan (OLS) Imager, a Special Sensor Microwave Imager (SSM/I, not on F-9) and a Special Sensor Microwave Temperature Sounder (SSM/I ). The launch of the F-ll, which also carries the Special Sensor Microwave Water Vapor Sounder (SSM/T2), has been delayed until December 1991. There will be at least two DMSP satellites (F-8 and/or F-9, and F-10) operational during the Cirrus IFO-II.

The OLS imager is comprised of a broadband visible channel (OLS-L, 0.4-1.1 (m), a nighttime only lowlight sensor (PLS-PMT, 0.45-0.95 (m), and a broad band infrared channel (OLS-T, 10.2-12.8 (m). The OLS-PMT sensor is automatically activated when the scene solar elevation angle is 3• below the horizon. Nominal pixel resolution is 0.3 km; the OLS corrects for variations in pixel separation at larger scan angles by adjusting the step rate of the scanner. This provides a relatively uniform pixel separation out to a scan angle of 55• from the subtrack point. The sensor information is transmitted in two modes: fine and smooth. The data is received at remote read-out sites as either Read Data Fine (RDF) or Real Data Smooth (RDS). RDF data is stored at the nominal satellite resolution (0.3 km); RDS data is smoothed along the scan fine (1.5 km resolution). At this high resolution only 1 channel (OLS-L or OLS-T) can be saved at any one time. The Air Force Global Weather Central (AFGWC) receives both channels of the OLS at both fine (Stored Data Fine, SDF) and smooth (Stored Data Smooth, SDS) resolution along a scan fine but further averaged over consecutive scan fines. OLS-L is stored at 6-bit resolution and OLS-T is stored at 8-bit resolution for SDS while both channels are stored at 6-bit resolution for SDF.

The SSM/I is a conically scanned, seven channel, four frequency, linearly polarized, passive microwave radiometric system. The instrument rotates continuously about an axis normal to the spacecraft and measures microwave radiation over an angular sector of 102.4• about the subsatellite track looking aft of the spacecraft at a scan angle of 47•. This results in a swath width of 1396 km which does not allow for overlap of adjacent swaths at low and midlatitudes. The channel center frequencies and footprints are 19.35 GHz V&H, 50 km; 22.235 GHz V, 50 km; 37.00 GHz V&H, 25 km; 85.50 GHz V&H, 12 km. The fixed antenna size of 66 cm x 61 cm results in the variable footprints shown above.

The SSM/T is a seven channel passive microwave temperature sounder. The channel center frequencies are 50.50, 53.20, 54.35, 54.00, 58.40, 58.825, 59.40 GHz providing profiles from the earth's surface to 30 km. The channel measurements provide a set of radiances at a horizontal spatial resolution of 200 km. The SSM/T2 will consist of eight channels, six of which are clustered around 183 GHz (183 + 1, +3, +7) providing measurements of upper atmospheric water vapor and two at 91.50 and 150.00 GHz which sense water vapor in the longer atmosphere (below 4 km). The 183 GHz channels have a surface resolution of 50 km while the 91 and 150 GHz channels have a resolution of 90 km.

Imager:

Raw: Raw DMSP satellite data will not be archived by FIRE-II

Reduced: TOA radiances

Value-Added: TBD

SSM/I: TBD (Griffin)

Raw: TBD

Reduced: TOA microwave radiances

Value-Added: total cloud liquid water

A.1.6 ERS-1

TBD - Olsen

Raw: Raw ERS-1 satellite data will not be archived by FIRE-II

Reduced: TBD

Value-Added: TBD

A. 1.7 METEOR

The Soviet METEOR satellites will carry a French-Soviet designed broadband scanning radiometer SCARAB (Scanner for Radiation Budget). The SCARAB has 4 spectral bands (0.25.0, 0.2-4.0, 0.5-0.7, and 10.5-12.5 (m) with a field of view at nadir of about 60 km. The first instrument will be launched in spring of 1991 to an orbit altitude of 1250 km, inclination of 82d, and an orbit precession period of 96 days. In this orbit, the METEOR spacecraft varies the local time of observation over a 24 hour period in 96 days. The calibration of the shortwave (i. e. solar) channels on the SCARAB is currently uncertain, although the thermal infrared calibration should be accurate. A second SCARAB scanner launched on a METEOR spacecraft near the end of 1992 is expected to have improved shortwave calibration.

Raw: Raw METEOR SCARAB satellite data will not be archived by FIRE-II

Reduced: TBD - Wielicki

Value-Added: TBD

A.1.8 ISCCP CX

TBD- Rossow

Raw: Raw ISCCP satellite data will not be archived by FIRE-II

Reduced: TBD - Rossow

Value-Added: TBD

A.2 AIRCRAFT

A.2.1 NASA ER-2

Investigators: Drs. Valero, Spinhirne, King, and Smith

Instruments:

Cloud and Aerosol Lidar System (CALS) (Spinhirne) Downward pointing Nd and doubled Nd (0.53 and 1.06 (m) dual polarization lidar with ~7.5 m vertical resolution and 50 m horizontal sampling interval.

Raw: TBD

Reduced: vertical structure, cloud height, depolarization, cloud habit

Value-Added: TBD

MODIS-N Airborne Simulator (MAS) (King) Multispectral cross track scanning radiometer with 50 spectral channels (0.47-14.23 (m) separated into 4 grating spectrometers to cover this spectral range. The spatial resolution is 2.5 mrad, corresponding to around resolution of 45 m at nadir, and the swath width is 34 km (~43•) with 716 pixels per scan. Currently the data system is restricted to 8 bits (256 levers) and can record 12 of the available 50 spectral channels, programmable prior to take-off.

Raw: images of reflected and emitted radiation in counts for 12 spectral channels

Reduced: multispectral radiance images

Value-Added: cloud top altitude, cloud optical thickness, effective particle radius, thermodynamic phase of clouds

Millimeter Imaging Radiometer (Spinhirne)

TBD - Spinhirne

Raw: TBD

Reduced: microwave radiance imagery

Value-Added: TBD

High spectral resolution Interferometer Sounder (HIS) (Smith)

TBD- Smith

Raw: interferograms

Reduced: upwelling radiances

Value-Added: thermodynamic cloud and surface properties

Hemispheric IR Radiometer (Valero)

TBD- Valero

Raw: TBD

Reduced: TBD

Value-Added: TBD

Fixed Pyranometers (Valero) Upwelling and downwelling broadband shortwave fluxes.

Raw: TBD

Reduced: Upwelling and downwelling broadband shortwave fluxes

Value-Added: TBD

Rotating Pyranometers (Valero) Upwelling, downwelling and net broadband longwave fluxes.

Raw: TBD

Reduced: Upwelling, downwelling and net broadband longwave fluxes

Value-Added: TBD

Narrow Field of View Infrared Radiometer (Valero)

Nadir viewing 2-channels (IR window)

Raw: TBD

Reduced: TBD

Value-Added: TBD

Grating Scanning Radiometer (Valero)

TBD- Valero

Raw: TBD

Reduced: TBD

Value-Added: TBD

Special Electro Optic Camera (Spinhirne)

TBD - Spinhirne

Raw: TBD

Reduced: spectral CCD imagery

Value-Added: TBD

Notes: Comprehensive on-board data logging facilities. Data sampling rate of 3.47 Hz.

A.2.2	NCAR Sabreliner

Investigator: Drs. Heymsfield, Stephens, Hagen, and Valero

Instruments:

Rosemount/PMS LWC (Heymsfield) Measures liquid water content.

Raw: TBD

Reduced: liquid water detection and content

Value-Added: TBD

2D-C PMS (Heymsfield)

Measures the ice crystal size distributions (50 - 1600 (m) and the hydrometer size

distributions (0.1 - 3.4 (m).

Raw: TBD

Reduced: particle size spectra, shape, habit

Value-Added: TBD

2D-P PMS (Heymsfield)

TBD- Heymsfield

Raw: TBD

Reduced: particle size spectra, shape, habit

Value-Added: TBD

Continuous Ice Particle Sampler (CIPS) (Heymsfield)

TBD - Heymsfield

Raw: TBD

Reduced: shape, habit

Value-Added: TBD

Ice Panicle Collection Devices (Heymsfield)

TBD - Heymsfield

Raw: TBD

Reduced: shape, habit

Value-Added: TBD

Cloud Condensation Nuclei Chamber (Hagen)

TBD - Hagen

Raw: TBD

Reduced: CCN, composition

Value-Added: TBD

Composition Analyzer (Hagen)

TBD - Hagen

Raw: TBD

Reduced: CCN, composition

Value-Added: TBD

Meteorology Sensors (Heymsfield)

TBD - Heymsfield

Raw: TBD

Reduced: P, T, winds

Value-Added: state and turbulence parameters

Cryogenic Frost Point Hygrometer (Heymsfield)

TBD - Heymsfield

Raw: TBD

Reduced: frost point temperature

Value-Added: TBD

Lyman Alpha Hygrometer (Heymsfield)

TBD - Heymsfield

Raw: TBD

Reduced: TBD

Value-Added: TBD

Pvranometers (Stephens/Valero)

Upwelling and downwelling shortwave fluxes.

Two measure total solar, two from 0.7 to 3 (m

Raw: TBD

Reduced: Upwelling and downwelling shortwave fluxes

Value-Added: TBD

Pyrgeometers (Stephens/Valero) Upwelling and downwelling broadband longwave fluxes. + 15 W m~2.

Raw: TBD

Reduced: Upwelling and downwelling broadband longwave fluxes

Value-Added: TBD

CSU Radiometer (Stephens)

Continuously variable filter wheel from 0.3 to 3.5 (m, scanning from nadir to zenith.

Discrete filters for longwave radiation. Referenced to an NBS standard detector to +

1%. Sampled at 250 Hz.

Raw: TBD

Reduced: TBD

Value-Added: TBD

Total Direct Diffuse Radiometer (TDDR) (Valero)

TBD - Valero

Raw: TBD

Reduced: narrowband, multi-spectral solar and near IR irradiances (wavelength TBD)

Value-Added: TBD

Spectral Radiometer (SPERAD) (Stephens)

TBD - Stephens

Raw: TBD

Reduced: TBD

Value-Added: TBD

Multiangle Radiometer (bugeye) (Stephens)

TBD - Stephens

Raw: TBD

Reduced: TBD

Value-Added: TBD

Photography (Stephens)

TBD - Stephens

Raw: TBD

Reduced: TBD

Value-Added: TBD

Notes: Except as stated, the sampling rate is 50 Hz. Temperature, frost point and a/c parameters also sampled. Comprehensive on-board data logging capabilities.

A.2.3	NCAR King Air

Investigators: Drs. Heymsfield and Sassen

Instruments:

Rosemount Johnson Williams/PMS

Measures liquid water content from O to 0.1 gm3 with resolution of 0.01 gm-3

Raw: TBD

Reduced: liquid water content

Value-Added: TBD

2D-C PMS

Measures the ice crystal and hydrometer size distributions from 25 (m resolution, and 0.1

to 3.2 (m at 0.3 (m resolution.

Raw: TBD

Reduced: particle size spectra, shape, habit

Value-Added: TBD

2D-P PMS

TBD - Heymsfield

Raw: TBD

Reduced: particle size  spectra, shape, habit

Value-Added: TBD

FSSP

Measures cloud droplet size distributions from 0.5 to 7.5 (m at 0.5 (m resolution.

Raw: TBD

Reduced: particle size spectra, shape, habit

Value-Added: TBD

Ice Particle Collection Devices

TBD - Heymsfield

Raw: TBD

Reduced: ice particle size and shape

Value-Added: TBD

Meteorology Sensors

TBD - Heymsfield

Raw: TBD

Reduced: P, T, winds

Value-Added: state and turbulence parameters

Cryogenic Frost Point Hygrometer

TBD - Heymsfield

Raw: TBD

Reduced: frost point T

Value-Added: TBD

Lvman Alpha Hygrometer

TBD- Heymsfield

Raw: TBD

Reduced: TBD

Value-Added: TBD

Particle Imaging Nephelometer (Sassen)

TBD- Sassen

Raw: TBD

Reduced: particle phase function

Value-Added: TBD

Pyranometers

Upwelling and downwelling broadband longwave fluxes.

Raw: TBD

Reduced: Upwelling and downwelling broadband longwave fluxes

Value-Added: TBD

Pyrgeometers

TBD- Heymsfield

Raw: TBD

Reduced: TBD

Value-Added: TBD

Barnes PRT-5 Nadir viewing IR window radiances.

Raw: TBD

Reduced: TBD

Value-Added: TBD

Cameras

TBD- Heymsfield

Raw: TBD

Reduced: TBD

Value-Added: TBD

SSH2 (Griffin)

18 channel radiometer, with 7 channels between 18-28 microns,

6 channels between 13-15 microns,

2 broadband IR channels, and

3 window channels

Raw: downwelling radiances

Reduced: downwelling radiances

Value-Added: TBD

Notes:	The above values, together with temperature, dew point and absolute humidity to be sampled at 50 Hz. Comprehensive on-board data logging capabilities.

A.2.4 University of North Dakota Citation

Investigators: Poellot, Hallett

Liquid Water Content Probes Johnson-Williams - Liquid water content. Threshold at approximately 0.05 gm-3 Rosemount Icing Rate - Supercooled liquid water content as derived from ice accumulation ( 0.013 cm. Threshold at approximately 0.01 gm-3.

Raw: voltages

Reduced: liquid water content

Value-Added: none

FSSP

Measures cloud droplet size distributions from 0.5-8.0 (m, at 0.5 (m resolution. Sampled

at 4 Hz.

Raw: counts per channel, activity

Reduced: particle size spectra, shape, habit

Value-Added: liquid water content

OAP ID-C

Measures cloud particle size distributions from 20-600 (m, at 20 (m resolution. Sampled

at 4 Hz.

Raw: counts per channel

Reduced: particle size spectra, shape, habit

Value-Added: particle concentration

OAP 2D-C

Provides 2-D images and hydrometer size distributions from 31-992 (m, at 31 (m

resolution. Sampled at 4 Hz maximum.

Raw: binary image slices

Reduced: particle size spectra, shape, habit

Value-Added: particle concentrations

OAP lD-P

Measures precipitation particle size distributions from 0.3-4.5 (m, at 0.3 (m resolution.

Sampled at 4 Hz.

Raw: counts per channel

Reduced: particle size spectra, shape, habit

Value-Added: particle concentrations

Meteorology Sensors

Rosemount Temperature, Reverse Flow Temperature - Air temperature from

-65 to + 50• C.

EG&G Dew Point Temperature - cooled minor, from -50 to +70• C.

Rosemount Absolute Pressure Transducer - static pressure.

Raw: voltages

Reduced: temperature, dew point/frost print, pressure

Value-Added: thermodynamic parameters (e.g., potential temperature)

Particle Replicator (Hallett) Captures continuous record of particles impacting on Formvar-coated film, from 5-500 (m (approximately).

Raw: formvar images on 16 mm film

Reduced: particle size spectra, shape

Value-Added: particle concentration

Condensation Nuclei Counter Measures concentration of condensation nuclei >0.1 (m. Samples at 1 Hz.

Raw: voltages

Reduced: CN concentration

Value-Added: none

Note: Except as stated, the sampling rate is 24 Hz. Aircraft and inertial navigation system parameters are also sampled.

A.3 SURFACE

A.3.1 HUB

TBD - Starr

U. Utah Ground Based YAG Lidar (Dual Polarization)

Raw: Parallel channel sensitivity (mv), Perpendicular channel sensitivity (mv), Parallel channel photomultiplier voltage (v), Perpendicular channel photomultiplier voltage (v), Delay generator 1 setting (ms), Delay generator 2 setting (ms), Sweep speed (ms), Time of observation (Month/Day/Year, Hr/Min/Sec GMT), Record number, Number of lidar pulses averaged, Laser repetition rate (Hz), Zenith angle (Degrees from zenith), Azimuth angle (Clockwise degrees from north), Parallel channel backscatter measurement (mv), Perpendicular channel backscatter measurement (mv)

Reduced: Time of observation (Month/Day/Year, Hr/Min/Sec GMT), Record number, Zenith angle (Degrees from zenith), Azimuth angle (Clockwise degrees from north), Cloud layer optical density, Altitude array (km), Parallel channel backscatter ratio array, Depolarization ratio array, Extinction coefficient array (/km), Cloud base altitudes (km), Cloud top altitudes (km)

Value-Added: Time of observation (Month/Day/Year, Hr/Min/Sec GMT), Record number, Number of altitude intervals, Number of lidar pulses averaged, Laser repetition rate (Hz), Zenith angle (Degrees from zenith), Azimuth angle (Clockwise degrees from north), Record starting altitude (2-5 km), Record ending altitude (15-30 km), Parallel channel backscatter ratio, Depolarization ratio, Cloud base altitudes (km), Cloud top altitudes (km)

High Spectral Resolution Lidar

Raw: lidar backscatter, range-lime images

Reduced: backscatter cross section, backscatter phase function, absolute optical depth (.532 (m), cloud optical height

Value-Added: many synergistic products in conjunction with other sensors

Doppler Radar

Raw: radar reflectivity, Doppler velocity, Doppler spectral width, depolarization ratio

Reduced: existence of multiple cloud layers, cloud top and base heights of each layer, cloud structure, ice mass content, in-cloud horizontal and vertical velocity profiles, turbulent fluxes of momentum and TKE, vertical velocities

Value-Added: TBD

CO2: Doppler Lidar

Raw: backscatter profiles, radial velocity profiles

Reduced: backscatter coefficient profiles, cloud base height, radial velocity profiles, vertical velocities

Value-Added: ice particle fall speeds, turbulent intensity, vertical profiles of horizontal divergence/convergence, cloud structure, average extinction-to-backscatter ratio, particle size distribution information, cloud absorption/emissivity profiles, optical depth estimates, inter-cloud dynamics

Ceilometers

Raw: TBD

Reduced: cloud base height

Value-Added: TBD

Raman Lidar

Raw: TBD

Reduced: TBD

Value-Added: cloud base and height, water vapor profile, temperature profile, aerosol optical depth, ozone profile, density profile

Microwave (915 MHz) Wind Profiler

Raw: speed of sound, vertical wind

Reduced: vertical temperatures

Value-Added: TBD

Microwave Wind Profiler (RASS)

Raw: TBD

Reduced: TBD

Value-Added: horizontal winds, vertical winds, temperature profile

Microwave (3-channel) Water Vapor Sounder

Raw: TBD

Reduced: integrated vapor, integrated liquid

Value-Added: water vapor profiles

HIS Spectrometer

Raw: uncalibrated spectra

Reduced: downwelling radiances

Value-Added: thermodynamic and cloud properties

Sun Photometers

Raw: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Reduced: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

U. Utah 11 (m Radiometer Aligned With Lidar

Raw: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Reduced: Spectral radiance (equivalent blackbody temperature in degrees K), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Value-Added: Cirrus emissivity at 11 (m, Time of observation

Pvranometers and Pyrheliometers

Raw: Downward solar radiative flux at 1 minute intervals (W/m), Time of Observation (Day/Month/Yr, Hr/Min GMT).

Reduced: Downward solar radiative flux at 1 minute intervals (W/m), Time of Observation (Day/Month/Yr, Hr/Min GMT).

Cloud Imaging Cameras

Raw: 35 mm film slides of camera field of view and/or videotape of camera field of view

Reduced: 35 mm film slides of camera field of view and/or videotape of camera field of view

Value-Added: Cloud fraction (%) for the entire camera field of view, Cloud fraction (%) for an 8 km by 8 km area of the cirrus, centered at zenith, for comparison to satellite derived cloud cover, Cloud type, Cloud height (km), Time of observation (Day/Mo/Yr, Hr/Min/Sec GMT)

ARC Total-Direct-Diffuse Radiometer

Raw: TBD

Reduced: TBD

Value-Added: TBD

ARC Near IR Spectroradiometet

Raw: TBD

Reduced: TBD

Value-Added: TBD

ARC Thermal IR Narrow FOV Radiometer

Raw: TBD

Reduced: TBD

Value-Added: TBD

CLASS Rawinsonde

Vaisala R-80 package with LORAN navigational transceiver (aneroid barometer, rod thermistor, humicap)

Raw latitude and longitude vs. time (every 2.5 seconds), P, T, relative humidity

Reduced: geopotential height (Z) vs. time (~ every 50 m), latitude and longitude vs. Z, P, T, potential T, relative humidity (wrt liquid and ice), dew and frost point T, specific humidity

Value-Added: geopotential height (Z) vs. time (~ every 50 m), latitude and longitude vs. Z, T lapse rate, static stability, vertical shear of horizontal wind, Richardson number, vertical velocity

Reduced: temperature and dew point profile, horizontal wind profile

Value-Added: vertical winds

Ice Particle Replicator Sonde

Raw: TBD

Reduced: particle size spectra, habit (shape), ice content

Value-Added: TBD

A.3.2 R2

TBD - Cox

DIAL Doppler Lidar

Raw: TBD

Reduced: TBD

Value-Added: TBD

CO2 Doppler Lidar

Raw: TBD

Reduced: TBD

Value-Added: TBD

LaRC Cloud Lidar

Raw: orthogonally polarized lidar returns

Reduced: scattering ratio, depolarization ratio

Value-Added: extinction coefficients, particle phase, particle orientation, scattering ratio, depolarization ratio

Ceilometer

Raw: TBD

Reduced: TBD

Value-Added: TBD

Microwave Wind Profiler

Raw: TBD

Reduced: TBD

Value-Added: TBD

Doppler Radar

Raw: TBD

Reduced: TBD

Value-Added: TBD

Microwave Water Vapor Sounder

Raw: TBD

Reduced: TBD

Value-Added: TBD

HIS Spectrometer

Raw: TBD

Reduced: TBD

Value-Added: TBD

Sun Photometers

Raw: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Reduced: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

11 (m Radiometer Aligned With Lidar

Raw: Spectral radiance (watts/meter-square/steradian), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Reduced: Spectral radiance (equivalent blackbody temperature in degrees K), Time (Day/Mo/Yr, Hr/Min/Sec GMT)

Value-Added: Cirrus emissivity at 11 (m, Time of observation

Pvranometers and Pyrheliometers

Raw: Downward solar radiative flux at 1 minute intervals (W/m), Time of Observation (Day/Month/Yr, Hr/Min GMT).

Reduced: Downward solar radiative flux at 1 minute intervals (W/m), Time of Observation (Day/Month/Yr, Hr/Min GMT).

Cloud Imaging Cameras

Raw: 35 mm film slides of camera field of view and/or videotape of camera field of view

Reduced. 35 mm film slides of camera field of view and/or videotape of camera field of view

Value-Added: Cloud fraction (%) for the entire camera field of view, Cloud fraction (%) for an 8 km by 8 km area of the cirrus, centered at zenith, for comparison to satellite derived cloud cover, Cloud type, Cloud height (km), Time of observation (Day/Mo/Yr, Hr/Min/Sec GMT)

AFGL Cloud Imaging Camera

Raw: 4 visible band radiances

Reduced: cloud presence

Value-Added: TBD

AFGL IR Scanning Radiometer

Raw: radiance profile

Reduced: T profile

Value-Added: TBD

CLASS Rawinsonde

Measurements: Vaisala R-80 package with LORAN navigational transceiver

(aneroid barometer, rod thermistor, humicap)

Raw: latitude and longitude vs. time (every 2.5 seconds), P, T, relative humidity

Reduced: geopotential height (Z) vs. time (~ every 50 m), latitude and longitude vs. Z, P, T, potential T, relative humidity (wrt liquid and ice), dew and frost point T, specific humidity

Value-Added: geopotential height (Z) vs. time (~ every 50 m), latitude and longitude vs. Z, T lapse rate, static stability, vertical shear of horizontal wind, Richardson number, vertical velocity

NCAR PAMS

Raw: continuous measurements (averaged 1-minute values) of pressure, temperature, relative humidity, wind speed, and downwelling (shortwave) radiation at the surface

Reduced: continuous measurements (averaged 1-minute values) of pressure, temperature, relative humidity, wind speed, and downwelling (shortwave) radiation at the surface

A.3.3 R3

TBD - Ackerman

Microwave Wind Profiler

Measurements: TBD

A.3.4 	Rla

TBD - Eloranta

Volume Imaging Lidar

Raw: 15 km X 120 km images

Reduced: morphology of cloud structure

Value-Added: large variety of synergistic products in conjunction with other sensors

A.3.5 SRB

TBD- DeLuisi

A.3.6 SPECTRE

TBD - Wiscombe

GSFC Raman Lidar

Raw: TBD

Reduced: TBD

Value-Added: TBD

PSU 9-Channel Microwave Radiometer*

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL  Channel Microwave Radiometer*

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL 915 MHz RASS

Raw: TBD

Reduced: TBD

Value-Added: TBD

PSU/WPL 50 MHz Wind Profiler*/RASS

Raw: TBD

Reduced: TBD

Value-Added: TBD

WFF Sonde System

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL Ozonesondes

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL Dobson

Raw: TBD

Reduced: TBD

Value-Added: TBD

WFF Tethersonde

Raw: TBD

Reduced: TBD

Value-Added: TBD

U. Denver Solar Spectrometers

Raw: TBD

Reduced: TBD

Value-Added: TBD

U. Wisconsin HIS

Raw: TBD

Reduced: TBD

Value-Added: TBD

GSFC SIRIS

Raw: TBD

Reduced: TBD

Value-Added: TBD

GSFC Calibration Facility

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL Flask Samples

Raw: TBD

Reduced: TBD

Value-Added: TBD

WPL Broadband IR Radiometers

Raw: TBD

Reduced: TBD

Value-Added: TBD

PSU Broadband IR Radiometers*

Raw: TBD

Reduced: TBD

Value-Added: TBD

* - FIRE provided

A.3.7	OTHER LOCATIONS

CLASS Sondes

Vaisala R-80 package with LORAN navigational transceiver

(aneroid barometer, rod thermistor, humicap)

Raw: latitude and longitude vs. time (every 2.5 seconds), P, T, relative humidity

Reduced: geopotential height (Z) vs. time (~every 50 m), latitude and longitude vs. Z, P,

T, potential T, relative humidity (wrt liquid and ice), dew and frost point T, specific

humidity

Value-Added: geopotential height (Z) vs. time (~every 50 m), latitude and longitude vs. Z,

T lapse rate, static stability, vertical shear of horizontal wind, Richardson number,

vertical velocity

NWS Wind Profilers

NWS/UNISYS 400 MHz 3-beam system

Raw: TBD

Reduced: TBD

Value-Added: TBD

NWS Rawinsondes

NWS standard VIS sonde package with radio receiver

(aneroid barometer, rod thermistor, carbon hygristor)

Raw: elevation and azimuth vs. time (every 6 seconds), P, T, relative humidity

Reduced: geopotential height (Z) vs. time (~every 50 m), latitude and longitude vs. Z, P, T, potential T, relative humidity (wrt liquid and ice), dew and frost point T, specific humidity, wind speed and direction, u and v wind components

Value-Added: geopotential height (Z) vs. time (every 50 m), latitude and longitude vs. Z, T lapse rate, static stability (dry), vertical shear of horizontal wind (vector), Richardson number, vertical velocity

APPENDIX B

SATELLITE OVERPASS TIMES

B. 1.0 GOES

The GOES satellites stars an Earth scan- at the North Pole, and scan the Earth's disk from north to south in approximately 18 minutes. GOES East scans stars on the hour and the half hour. The time of GOES observations for any surface station is simply a function of the latitude of the surface station and is given by

t = t start + 9*(1-sin()

where ( is the latitude (positive north, negative south), t is in minutes, and t start is at the time at which the GOES scan starts.

B.2.0 NOAA Polar Orbiter

NOAA overpass times for a given surface site will vary by up to 100 minutes from day to day. Predicted satellite orbital elements are used to predict the viewing conditions (time and viewing angle) for each day during the Cirrus IFO-II. Since the NOAA satellite orbits are not continually adjusted, the orbits drift in time. It is estimated that predicted satellite overpass times are accurate to plus or minus 5 minutes. Updates to these predictions will be issued every 6 months. Experience with the accuracy of the orbital predictions will dictate if more frequent updates are required. The following table gives a sample of the overpass times and viewing angles for Coffeyville, Kansas.

Table - TBD - Harrison

B.3.0 Landsat

Currently Landsats 4 and 5 are still operational. Data is operationally acquired over the entire continental U.S. The Landsat orbit is adjusted as necessary to maintain the sampling time for each region constant to within I minute. Landsat data is collected in "scenes" which are 180 km by 170 km in size. The satellite views the scene area in approximately 170 km / (7 km/sec) = 24 seconds. Since Landsat only acquires data immediately beneath the satellite (viewing zenith angles within 7 degrees of nadir), complete Earth coverage requires many days of sampling. The orbit has been designed so that each Landsat scene is viewed once each 16 days. Therefore for a

given surface observation site, Landsat data will be taken over that site once every 16 days at the same GMT time each day.

The Landsat data collection strategy for Cirrus IFO-II is as follows:

I. Kansas

a. Landsat 5 data is taken operationally over the continental U.S. No special acquisitions are required for the Kansas region.

b. Landsat 4 special data acquisitions will be scheduled during the Nov. 13 - Dec. 7 experiment period for a region bounded by 34N - 38.25N and 92W - 97W where aircraft operations are easiest. This area is covered by 3 Landsat orbit paths with 3 scenes along each path. (see figure B.3.1). The resulting 9 Landsat scene path/row designations are: 27/34-36, 26/34-36, 25/34-36, and 24/34-36. Six of these scenes are viewed on 2 days during the experiment, three are viewed on a single day, resulting in a total of 15 scene acquisitions. Digital data would be ordered for 3-5 of the acquired scenes.

II. Gulf of Mexico

a. While surface reflectance of the Gulf will be uniform, surface temperature can vary by 13K. One source of surface temperature verification is given by three ocean buoys in the Gulf of Mexico (see solid triangles in figure B.3.2). Since the aircraft will fly from San Antonio, there is a trade-off between the desire to observe well away from the coastal water variations and the desire to minimize flight distance. A reasonable compromise is to select as candidates the 6 Landsat scenes with scene centers between 25-28N and 92-96W (shown in the figure with an "X" through the scene center).

b. Landsat 4 and Landsat 5 data acquisitions will be scheduled for 6 scenes specified by path/row designations: 23/41, 23/42, 24/41, 24/42, 25/41, and 25/42. Since each Landsat scene is viewed on 3 days during the experiment, a total of 18 Landsat scenes will be acquired. Digital data will be ordered for 4-6 of the 18.

B.4.0 DMSP

Currently there are three DMSP satellites in orbit. F-8 and F-9 are in sun-synchronous polar-orbits with equator crossing times of 0630 and 1000 local time ascending and 1830 and 2200 descending. Each location is viewed at least twice per day by each satellite (more often near polar locations). Principal sensors are the OLS, SSM/I, and the SSM/I. F-10 (launched in December 1990) is in an unplanned elliptical orbit. Initial equator crossing times of 1930 local time ascending

Figure B.3. 1 - Landsat 4/5 overpass dates/times for FIRE Cirrus IFO-II, Kansas, November 13 - December 7, 1991

Figure B.3.2 - Landsat 4/5 overpass dates/times for FIRE Cirrus IFO-II, Gulf of Mexico

and 0730 descending are predicted to increase to near 2015 and 0815 at the time of the Cirrus IFOII. This is due to a drift in the orbit which will make advanced prediction of overpass times more difficult. Principal sensors are identical to those onboard F-8 and F-9. The following table gives a sample of DMSP F-8 and F-9 overpass times and viewing angles for Coffeyville, Kansas.

Table - TBD - Griffin/ Harrison

B.5.0 ERS- I

TBD-Olsen

B.6.0 METEOR

TBD - Wielicki/ Harrison

B.7.0 SAGE-II

The primary surface/satellite coincidence target for the ERBS satellite is the SAGE-II solar occultation measurement. This measurement is taken at sunrise/sunset and coincidence times will vary from surface site to surface site. Observation days will be scattered through the year for any given site. The following table gives the times and locations of the tangent point occultations near Coffeyville, Kansas.

Table - TBD - Harrison

APPENDIX C

FIRE CIRRUS IFO-II PARTICIPANTS

FIRE Program Manager:

Dr. Tim Suttles

NASA Headquarters

Code SE/OSSA

| Washington, DC 20546 |
| --- |
|  | FIRE Project Manager: |

David McDougal

NASA Langley Research Center

MS 483

| Hampton, VA 23665-5225 |
| --- |
|  | Operations Manager: |

Tom Owens

NASA Langley Research Center

MS 483

| Hampton, VA 23665-5225 |
| --- |
|  | Data Manager: |

Lola Olsen

NASA Goddard Space Flight Center

Code 934

| Greenbelt,MD 20771 |
| --- |
|  | Lead Mission Scientist: |

Dr. David Starr

NASA Goddard Space Flight Center

Code 913

| Greenbelt,MD 20771 |
| --- |
|  | Mission Selection Team Chairman: |

Dr. David Starr

NASA Goddard Space Flight Center

Code 913

Greenbelt,MD 20771

|  | hub Site Coordinator: |
| --- | --- |

TBD

|  | R2 Site Coordinator: |
| --- | --- |

Dr. Stephen Cox

Colorado State University

Dept. of Atmospheric Sciences

| Fort Collins, CO 80523 |
| --- |
|  | R3 Site Coordinators: |

Dr. Tom Ackerman

Pennsylvania State University

Department of Meteorology

503 Walker Building

| University Park, PA 16802 |
| --- |
|  | Rla Site Coordinator: |

Dr. Ed Eloranta

University of Wisconsin-Madison

Department of Meteorology

1225 West Dayton Street

Madison, WI 53706

|  | SRB Coordinator: |
| --- | --- |

Dr. John DeLuisi

NOM

CMDL

325 Broadway

| Boulder, CO 80303 |
| --- |
|  | SPECTRE `Coordinators: |

Dr. Warren Wiscombe

NASA Goddard Space Flight Center

Laboratory for Atmospheres

Code 913

Greenbelt,MD 20771

Dr. Robert Ellingson

University of Maryland

Department of Meteorology

2213 Space Sciences

| College Park, MD 20742-2425 |
| --- |
|  | CLASS Sonde Coordinator: |

Dr. David Starr

NASA Goddard Space Flight Center

Code 913

| Greenbelt,MD 20771 |
| --- |
|  | NWS Sonde Coordinator: |

Dr. David Starr

NASA Goddard Space Flight Center

Code 913

| Greenbelt,MD 20771 |
| --- |
|  | Ice Particle Replicator Sonde: |

Dr. Andrew Heymsfield

NCAR

MMM Division

P.O. Box 3000

Boulder, CO 80307-3000

|  | NWS Wind Profiler Coordinator: |
| --- | --- |

Dr. Tom Ackerman

Pennsylvania State University

Department of Meteorology

503 Walker Building

University Park, PA 16802

|  | ER-2 Coordinators: |
| --- | --- |

Dr. Francisco Valero

NASA Ames Research Center

Atmospheric Physics Research

MS 245-4

Moffett Field, CA 94035

Dr. Jim Spinhirne

NASA Goddard Space Flight Center

Code 917

Greenbelt,MD 20771

Dr. Michael King

NASA Goddard Space Flight Center

Climate and Radiation Branch

Code 913

Laboratory for Atmospheres

Greenbelt,MD 20771

Gary Shelton

NASA Ames Research Center

High Altitude Branch/OHM

MS 240-6

| Moffett Field, CA 94035-1000 |
| --- |
|  | Sabreliner Coordinators: |

Dr. Andrew Heymsfield

NCAR MMM Division

P.O. Box 3000

Boulder, CO 80307-3000

Dr. Graeme Stephens

Colorado State University

Dept. of Atmospheric Science

| Fort Collins, CO 80523 |
| --- |
|  | King Air Coordinators: |

Dr. Andrew Heymsfield

NCAR

MMM Division

P.O. Box 3000

Boulder, CO 80307-3000

Dr. Kenneth Sassen

University of Utah

Department of Meteorology

819 WB Browning Building

| Salt Lake City, UT 84112 |
| --- |
|  | Citation Coordinator: |

Dr. Michael Poellot

University of North Dakota

Atmospheric Sciences

Box 8216

University Station

| Grand Forks, ND 58202-8216 |
| --- |
|  | FAA Coordinator: |

Gil Summers

1571 Judson Drive

| Boulder, CO 80303 |
| --- |
|  | Satellite Coordinators: |

Dr. Donald Wylie

University of Wisconsin-Madison

Space Science and Engineering Ctr

1225 West Dayton Street

| Madison, WI 53706 |
| --- |
|  | Project Coordinators: |

Doris Stroup

ST Systems Corporation (STX)

28 Research Drive

Hampton, VA 23666

Fanny Valladares

ST Systems Corporation (STX)

28 Research Drive

| Hampton, VA 23666 |
| --- |
|  | Coffeyville Airport Manager: |

Robert Ingmire

Airport Industrial Park Coordinator

232 West 8th Street

P.O. Box 1629

Coffeyville, KS 67337

APPENDIX D

STANDARD DATA FORMAT FOR FIRE

TABLE OF CONTENTS

D.1.0 	JUSTIFICATION	D-1

D.2.0	DATA CHARACTERISTICS	D-2

D.3.0	ARCHIVAL OF DATA	D-2

D.4.0	TAPE FORMAT SPECIFICATIONS 	D-4

D.4. 1 Tape Header File (Volume ID)	D-6

D.4.2 Volume Table of Contents File 	D-15

D.4.3 Test Data File 	D-16

D.4.4 Ancillary and Observation Data Files 	D-16

D.5.0 STANDARD FORMAT FOR SATELLITE DATA 	D-17

D.6.0	GUIDELINES FOR ORGANIZATION OF DATA ON TAPES	D-18

D.6. 1 Use of File Divisions 	D-18

D.6.2 Geographical Location Information	D-18

D.6.3 Multi-component Data 	D-18

D.6.4 Data and Analysis Products	D-19

D.7.0	CONCLUSION 	D-19

STANDARD DATA FORMAT FOR FIRE

This document provides the rules to be followed in constructing data sets to be submitted to the FIRE Central Archive - the NASA Climate Data System (NCDS). These rules will be referred to as the FIRE Standard Data Format (SDF). They actually allow a family of formats, not just a single, fixed format.

D.1.0 JUSTIFICATION

The FIRE SDF should provide an exchange format which will allow both the investigators and central archive programmers (actually the programs which they implement) to determine the basic logical structure of a data set with minimal recourse to external documentation, while providing for the inclusion of all necessary data and for future expansion to include additional types of data. The SDF should greatly facilitate the exchange of data between investigators and the use of the data by other scientists once the data are released to the public. Without such an exchange format, the multi-data studies required to make the FIRE a success would be very timeconsuming and costly.

The exchange format is written in a way which will allow the FIRE Central Archive to minimize the amount of human intervention (programming, software maintenance, and data entry) needed to catalog, inventory, read, or copy the data sets submitted to the archive, while still allowing the investigators the flexibility to incorporate all needed data and to make mod)fications in the future. This should also allow the archive to provide more sophisticated access services than otherwise possible. Investigators may obtain subsets of data sets by specifying the type of records and the values of many data elements, such as the latitude, the longitude, and the time of the data, and not just the physical storage medium, such as the specific tapes. Investigators may also take advantage of general purpose capabilities already developed at the archive facility. This will allow them to perform some initial analysis of the data with the archive's data manipulation and display capabilities.

Additionally, the archive can deal with some of the differences between computer representations of numerical values, instead of this burden falling on each investigator. The archive's programs will read data sets using either IBM or VAX integer representations and provide investigators with data subsets in either of these representations. The generic software routines needed to perform these functions can also be made available to the investigators. Even if these routines are not directly usable, they should provide some guidance in developing software for reading other data in the standard data format. Since the staff of the archive facility will be familiar with the standard data format, they will also be able to provide assistance with problems encountered.

D.2.0 DATA CHARACTERISTICS

The FIRE will produce several distinct types of data exhibiting very different characteristics: (a) digital satellite image data which are usually voluminous, are stored in various formats, and contain appended information, (b) digital ground and aircraft instrument data provided in both small and large volume data sets, each with a format nearly unique to the instruments which collected the data, and (c) photographs (analog data) produced by ground and aircraft observers to document the sky conditions. Scientists must analyze all of these data types simultaneously in order to elucidate cloud and radiation processes, to obtain statistical descriptions of the cloud properties, and to meet the scientific objectives of the FIRE. Some standardization of digital data formats is required to facilitate this analysis. The analog data will not be held by the central archive and are not considered further in this document.

D.3.0 ARCHIVAL OF DATA

Both individual investigators and the FIRE Central Archive will hold FIRE data. The central archive's holdings will consist of any data sets submitted in SDF by individual investigators and special satellite data sets described in Section 5 of this document. Investigators are also encouraged to adopt the standard format for their individual holdings. Use of the SDF for all individual holdings is encouraged in order to facilitate team interaction and distribution of data. Use of the SDF will also allow investigators to take advantage of any formatting software developed for the SDF by other investigators or by the central archive.

Because the format standards described here allow variations in the content of data sets, investigators providing data to the FIRE Central Archive must submit a sample data tape, along with a document describing the format. This document may essentially be a dump of the first file on the tape, as described later in this document. The FIRE Central Archive will verify that the sample data tape corresponds to the documentation and conforms to the FIRE Standard Data Format.

After a data set has been submitted in a specific format, all subsequent data of the same type must be submitted in the identical format. Changes of format can be implemented only by replacing all of the archive holdings or by labelling the new format data as different data. The investigator is allowed to replace missing data with dummy values to maintain the data structure. Similarly, if an investigator anticipates a need for future expansion of his/her data products, he/she is encouraged to include additional fields in the data record. These fields can be filled with the "missing" data flag until they are needed. This would eliminate the need for replacing all of the previously submitted archive holdings or labelling of the new data format as different data.

AIRCRAFT FLIGHT PATH.  ABOUT 500M METERS ARE COVERED IN A 5-SEC

INTERVAL.  CALIBRATION INFO:

SEE FIRST REFERENCE.

REFERENCES:

HEYMSFIELD, A.J.  AND J.L PARRISH 1979; TECHNIQUES EMPLOYED IN THE PROCESSING OF PARTICLE SIZE SPECTRA AND STATE PARAMETERS DATA OBTAINED WITH THE T-28 AIRCRAFT PLATFORM.  NCAR/TN-137+lA, NATIONAL CENTER FOR ATMOSPHERIC RESEARCH, BOULDER, CO. 78PP.

SOFTWARE:

UNEVEN    INTERVAL INFORMATION FOLLOWS

CH-SIZE, DIMENSION(19)

150,250,350,450,550,650,750,850,950,1050,1150,1250,1350.

1500,1700,1900,2200,2700,3500.               	(1) shows no ancillary riles used

(2) beginning of 1st DDR

(3) shows first data type, PROBE-2C

(4) shows second data type, PROBE-P

END OF OBSERVATION SEGMENT

D.4.2 Volume Table of Contents File

The Volume Table of Contents File (TOC) is always the second file on a data tape and is composed entirely of ASCII character data.  It contains text describing the tape contents.  This textual information is arranged in the form of a table showing a file by file listing of contents.  The TOC consists of one or more physical records (blocks), consisting of 6400 characters arranged in 160-byte logical records (card images).  All character information is provided left-justified; all numbers right justified; unused characters are blank filled.  The following characters are provided for each data file on the tape:

Characters            Contents

1 - 4	Data file sequence number on tape (right justified)

6 - 11	Data sequence number within data set (right justified)

13 - 20	Type of record (datatype) in the file (8 character short name, with no spaces, as

defined in the DDR of the header file) e.g.  PROBE-2C

22 - 35	Date and GMT of earliest observation in file (YYYYMMDDHHMMSS)

37 - 50	Date and GMT of latest observations in file (YYYYMMDDHHMMSS)

52 - 57	Northern most latitude covered by data in file (using convention -90.00 to +90.00

with -90.00 the South Pole and +90.00 the North)

59 - 64	Southern most latitude covered by data in file (using convention -90.00 to +90.00)

66 - 72	Western most longitude covered by data in file (using convention -180-00 to

180.00, where Eastward from Greenwich is positive direction

74 - 80	Eastern most longitude covered by data in file (using convention -180.00 to

180.00)

81 - 160 Where appropriate, description of viewing geometry in file, using ranges where

necessary, blank filled

The data file sequence number indicates the file number containing the listed data.  This number allows identification of any data file and any data record on the tape by comparison to the sequence numbers given in each record.  The data sequence number refers to a numbering of observations within an observation set (e.g., image number, orbit number, flight number) that is used by the investigator to relate the observations on this data tape to other observations on other data tapes.  In order to keep the table of contents compact enough to be useful as a guide to data on the tape, the information about geographic coverage and time/space resolution need only approximate the true features of the data.

D.4.3 Test Data File

The Test Data file is written entirely in ASCII and represents the complete contents of the first data file of the tape. It contains the contents of the first observation data file on the tape, in the format specified by the L DR.  This file should be easily read and can be used to validate the contents of the first observation data file.  This file should be of fixed-sized block(s) which are multiples of fixed-sized logical records.

D.4.4 Ancillary and Observation Data Files

The data records of any one file contain data for only one defined record type (datatype).  The record type is documented in the first physical record of the file.  This physical record contains the same 160-byte descriptive information about the data in the file as the corresponding record in the TOC file.  This descriptive information is composed entirely of ASCII character data.  This information is spread over the logical records and blank-filled as necessary to maintain it on the logical record boundaries for the file. (For example, if the data records for this type of data have a logical length of 160 bytes, the first logical record is just the file descriptor.  If the data records for this type of data have a logical record length of 80 bytes, the first 2 logical records of the file would contain the file descriptor record.  If the data records have a logical record length of 76 bytes, then the first 3 logical records of the file would contain the file descriptor record.  The last 68 bytes of the third logical record would be filled with blanks.)

It is highly recommended that the following variables (using the noted names for ease of data set comparison) be included in all data records.  These would be described in a DDR in the same way as the other variables.  Some of these variables are for preventing loss of synchronization by input/output errors; others are for ease of selection of data meeting the

experiment needs.

FNUM	Data file number on tape, in I*4

RNUM	Data record sequence number within the file, in I*4

TSEQ	Data record sequence number within tape, in I*4

DSEQ	Data record sequence number within data set, in 1*4

YEAR	Year of the data observation, in I*4 (for example 1986)

MONTH	Month of the data observation, in I*4 (1 through 12)

DAY	Day of the data observation, in I*4

HOUR	Hour of the data observation, in I*4

MIN	Minutes of the data observation, in I*4

SEC	Seconds of the data observation, in I*4

MSEC	Milliseconds of the data observation, in I*4

LAT	Latitude of the observation using the convention noted in the TOC described above

LONG	Longitude of the observation using the convention noted in the TOC

????	Other appropriate location fields, such as altitude, or fields

indicating viewing geometry, such as solar zenith angle, relative

azimuth, viewing zenith angle, or other equivalents)

The data sequence numbers within a file are simply reference numbers indicating the position of the data in that record within the file.  Likewise, the data sequence numbers within a tape indicate the position of the data in that record within the whole tape.  If more than one data tape is produced, a data sequence number for the position within the whole data set is desirable.

Remember to use Table 4 to properly scale binary data for ancillary and observation data file.  Bad or missing data must be represented by the largest possible integer value (e.g., (2**31)-l for 32-bit words) for each data type used.  Data arrangement must align the records (logical and physical) on 32-bit word boundaries.

D.5.0 STANDARD FORMAT FOR SATELLITE DATA

Satellite data may be submitted to the FIRE Central Archive in two different formats.  The first format is essentially that of the original tape.  These data are submitted in this format in order to avoid reprocessing large data volumes.  Certain modifications of the formats may be necessary, however, to insure the presence of all of the proper ancillary information or to change features which produce special handling difficulties. (No changes for the latter purpose are anticipated.) The FIRE Central Archive will support the satellite data sets which are submitted in this format with catalog information giving a high-level description of the data, a simple inventory giving some

information about the contents of each tape in the data set (basically time and instrument/mission information), and straight tape copying capabilities. (In other words, the archive will make a copy of any available tape for an investigator but will not further subset it.)

The second format for satellite data tapes is SDF.  Having these data in SDF, especially for key case studies, will facilitate intensive data comparisons.  The FIRE Central Archive will support satellite data tapes submitted in the SDF with the full capabilities developed for the other FIRE data sets.

D.6.0 GUIDELINES FOR ORGANIZATION OF DATA ON TAPES

Because of the diversity of the FIRE data sets and planned analyses, specification of a single "best" way to organize these data is impractical.  However, certain basic principles can be followed which are described in the following subsections.

D.6.1 Use of File Divisions

The arrangement of the data on a single data tape should follow a "natural" sequence, usually a time sequence of spatially correlated observations.  The division of the sequence into files on the tape should produce a moderate number (10 - 100) of files.  Too few files are vulnerable to 1/0 errors while too many files waste tape in EOF marks. (This guideline refers primarily to data sets which fill one or more data tapes.) Time records should at least be broken into daily files.

D.6.2 Geographical Location Information

Satellite data form an image of a region at one time.  Location information may be supplied as a function of pixel coordinate or interleaved with the data values.  The latter is more convenient if the relation between pixel coordinate and location is variable; the former is more convenient if the relation is fixed, at least within the file.  Aircraft data should be presented as time records to which location tags are appended.

D.6.3 Multi-component Data

Many FIRE data sets are composed of measurements from multi-channel instruments or from groups of instruments making coincident measurements.  Although many investigators may wish to examine particular components of such data sets and would, therefore, prefer the components in separate files, the heart of the FIRE concept is the analysis of many simultaneous or coincident observations of the same cloud.  Since most multi-component data are naturally collected with the different variables interleaved, these data should be organized by time period into

files containing multiple variables that are interleaved to give all observations at each location at each instant of time.

D.6.4 Data and Analysis Products

Data (raw or reduced through straightforward processing) should be compiled separately from analysis products and placed on separate data tapes.  However, subsequent studies of the initial analysis products can be enhanced by repeating and interleaving the original data on the data product tapes.  Therefore, multiple forms of the same data may be required.

D.7.0 CONCLUSION

The FIRE Standard Data Format should allow descriptive information on the contents of a data set to be recorded with a data set (i.e., on the data set tape).  It should also allow the data to be easily decoded, using simple computer programs.  A sample of the type of plot investigators can obtain by accessing the NCDS is shown in Figure 6. The sample plot was obtain using the Processed CLASS (PCLASS) soundings datatype from the Fire Marine Stratocumulus (FIRE-MS) Data Set.  This data set was provided by Dr. Wayne Schubert of Colorado State University's Department of Atmospheric Science.

Table 4. CHOOSING SCALING VALUES

In order to scale the data so they are I -byte, 2-byte, or 4-byte positive integers, the following equation is used:

Q = (R - A)*(2**(b-N))

where R is the actual (real) data value, b=7 for 1-byte integers, b=15 for 2-byte integers, and b=31 for 4-byte integers, and Q is rounded to a positive integer.  The value of A and the value of N are chosen to be integers which will allow the full range of the data to be represented, as well as give a positive value for Q.

For example, if the data are actually positive integers that can be easily represented in 32-bit (4-byte) integers, then there is no reason to scale the actual data.  Therefore, A--O and N=31 are reasonable values.

If otherwise, A should be chosen so it is the largest integer less than or equal to the minimum allowable value of the data (e.g., the minimum value of the data minus A should be non-negative).  And N should be chosen so it is the least non-negative integer so that the following is true:

(Maximum - A)/(2**N) < 1

The following steps should be helpful in determining "A" and ÒN":

I Determine the smallest value of data, Dmin.

2. Determine "A" where:      A is less than or equal to Dmin

A	= Integer (positive or negative)

A	= Greatest lower bound

3.	Determine, the largest value of data, Dmax.

4. Determine "N" where:        2 to the Nth power is greater than Dmax-A

N = Non-negative integer

N = Least upper bound

Therefore, for a variable with a minimum value of 0.00 and a maximum value of 300.00, the value of A should be set at 0. The value of N should be set as 9. [Note 300.00/(2**9) is less than 1 but 300.00/(2**8) is not.] So the quantity Q stored in a 32-bit word of the data record for R=0.00 is Q=O.  For R=300.00, Q=300.00*(2**22). For R=150.00, Q=150.00*(2**22).

As another example, consider latitude with a minimum value of -90.0 and maximum value of 90.0. The value of A would be set as -90. (Note that this negative number does not appear in the data.) The value of N would be 8 [since (90.0-(-90))/(2**8) is less than 1 but (90.0-(90))/(2**7) is not].  So for R=-90.0, what is actually stored on the tape is (-90.0 90)1(2 * *23) or 0.

APPENDIX E

GENERAL INFORMATION ON COFFEYVILLE, KANSAS

Coffeyville--local area information: The population is estimated at about 16,000; the center of town is located near the intersection of US 166 & US 169, in the southeastern comer of Kansas, approximately three miles from the Oklahoma border.

Lodging Accommodations

It is the responsibility of each Cirrus IFO participant to obtain his own lodging.  The motel operators in Coffeyville, Kansas, are aware of the lodging requirements throughout the entire period of the field mission, November 1 - December 20, 1991. This extended time period includes pre-IFO (receiving equipment and supply shipments and equipment set-up), IFO operations, and post-IFO (breakdown, return shipments, and wrap-up).  There is a limited number of motel rooms available on a daily basis in the Coffeyville area.  Therefore, it is important that each Cirrus IFO participant locate and guarantee his lodging arrangements well in advance of the anticipated date of arrival.  Only a few of the motel operators will allow the use of a small refrigerator and/or a microwave in the motel room.  In addition to obtaining permission from the motel operator to use these appliances in the room, it is the responsibility of the participant to provide any allowable appliances.

Coffeyville Motels: Two of the better motels are listed below.  The rates for the motels range up to $47 per person/per night.  The Best Western Fountain Plaza Motel manager will negotiate a special rate for a long-term stay if you mention that you are associated with Project FIRE..

(a)	Appletree Inn: 316-251-0002 900 East 11th Street (43 units)

Special amenities include: an indoor pool and hot tub; hot coffee (available on a 24-hour basis), a refrigerator stocked with milk and juice, and a microwave are available in the lobby for in-house guests.

(b)	Best Western Fountain Plaza Inn: 316-251-2250 104 West 11th Street (94 units) Special amenities include: a 24-hour restaurant and a lounge on-property

Realtors (apartments and houses): The Coffeyville area has extremely limited transient housing.  The following realtors are aware of the request for housing during the extended period of the Cirrus field mission and are available to assist the researchers and their support staff with locating housing.

Carla Jones - 316-251-6321 Century 21 407 West 11th Street

David George - 316-251-4687 George Realtors, 1411 West 8th Street

Barbara Heasty - 316-251-4140 Midwest Real Estate, 309 West 11 th Street

Colleen Perkins - 316-251-4640 Powell Realty, 712 Maple

Clayton Farlow - 316-251-7843, Real Estate Center, 805 Willow

JoAnn Nordin & Virginia Chaffin - 316-251-3130, 210 West 9th Street

Tulsa Hotels: Tulsa is located 75 miles due south of Coffeyville.  The hotels listed below have agreed to provide lodging for the participants of the Cirrus IFO at the rate of $47.25 (taxes included).  In order to obtain these rates, the caller must refer to the key words: Project FIRE

(a)	Doubletree-Downtown: 918-587-8000 616 West 7th Street (418 units)

Special amenities include: health spa with whirlpool and exercise equipment; jogging tracks; restaurants on property; and complimentary transportation from the Tulsa Airport.

(b)	Doubletree at Warren Place: 918-495-1000 61 10 South Yale (371 units)

Special amenities include: health spa with whirlpool, exercise equipment and indoor swimming pool; jogging tracks; restaurants on property; and complimentary transportation from the Tulsa Airport.

(c)	Holiday Inn: 918-437-7660 1010 North Garnett units) Special amenities include: restaurant on property; indoor swimming pool; complimentary transportation from the Tulsa Airport.

Medical Facilities

Information regarding local hospitals, physicians, and dentists will be available in the Cirrus IFO Project Office, located in the main terminal, second floor.

Restaurants

Dining facilities in the local area range from fast food to ethnic restaurants and steak houses.  The prices are reasonable and the restaurants provide ample servings.

Shopping

Groceries:	There are a couple of mid-west chain grocery stores and a few locally owned small stores located in Coffeyville.

Office Supplies : The local suppliers carry a limited inventory but will special order items (overnight shipments will result in a delivery fee).  To ensure that all required items are available for use by the researcher and his support staff throughout the field mission, it is recommended that these items are either brought to the field site or shipped in advance to the Cirrus IFO Project Office at the airportÕs main terminal.  The items can be stored in the project office until the researcher arrives onsite.  Computer support is limited in Coffeyville; however, there are several computer companies in Tulsa, Oklahoma and in Joplin, Missouri, that can provide supplies and maintenance.

Miscellaneous:	There are local suppliers that carry a limited inventory of plumbing, electrical, hardware, lumber, and construction items.  In addition, there are a few department stores that carry clothing and household goods.  There are three laundromats and two dry cleaners in the area.

Recreation Facilities

Outdoor activities (fishing, boating, hiking, etc.) are available nearby at Montgomery County State Lake; Edna Lake, Elk City Reservoir, and Big Hill Reservoir.  In-town facilities include: bowling, skating, racquetball, and golf at Pfister Park.  The Director of CoffeyvilleÕs Convention and Tourist Bureau is in the process of making arrangement that will allow the Cirrus IFO participants to use the swimming pool (lap swimming) and the free weight-room at the Coffeyville High School.

Local Area Attractions

Coffeyville, KS: Antique Shoppes, Brown Mansion, Dalton Museum, Condon Bank, Death Alley and Jail, Elmwood Cemetery, and Downtown Murals depicting historical Coffeyville

Nearby attractions include: Sedan, KS: The Emmett Kelly Museum and the Yellow Brick Road, Independence, KS: replica of the Little House on the Prairie; Claremont and Oologha, OK: Museum & birthplace of Will Rogers; and Bartlesville, OK: Woolaroc (wildlife preserve), home of Frank Phillips (Phillips Petroleum), and Prairie National Wild Horse Refuge.

Local Driving Information

The staff of the FIRE Project Office will have copies of the Kansas Driving Handbook available in the project office for your review in preparation for your stay in Coffeyville, KS.

APPENDIX F

ACRONYMS

ACARS	ARINC Communications, Addressing, and Reporting System

AFGL	Air Force Geophysical Laboratory

AFGWC	Air Force Geophysical Weather Central

AFOS	Automation of Field Operations and Services

ANSI	?

ARINC	Aeronautical Radio, Inc.

ARM	Atmospheric Radiation Measurements Program

ASASP	Axially-Scattering Aerosol Spectrometer Probe

ASCII	?

ASTEX	Atlantic Stratocumulus Transition Experiment

ATRS	Along Track Scanning Radiometer

AVHRR	Advanced Very High Resolution Sounding Unit

AVIRIS	Airborne Visible/Infrared Imaging Spectrometer

CALS	cloud and aerosol lidar system

CCD	coupled charge device

CCN	cloud condensation nuclei

CIPS	continuous ice particle sampler

CLASS	Cross-Chain Loran Atmospheric Sounding System

CN	cloud nuclei

CSU	Colorado State University

DDR	Data Description Table

DEOF	double end of file

DIAL	Differential Absorption Lidar

DMS	Deputy Mission Scientist

DMSP	Defense Meteorology Satellite Program

DMWG	Data Management Working Group

DOD	Department of Defense

DOE	Department of Energy

DWIPS	Digital Weather Imaging Processing System

ECLIPS	Experimental Cloud Lidar Pilot Study

EG&G	?

EOF	end of file

EOS	Earth Observing System

ER-2	Extended Resources-2

ERBE	Earth Radiation Budget Experiment

ERBS	Earth Radiation Budget Satellite

ERL	Environmental Research Laboratory

ERS-1	European Remote Sensing Satellite-1

ESA	European Space Agency

ETO	Extended Time Observations

FAA	Federal Aviation Administration

FCA	FIRE Central Archive

FDDA	Four Dimensional Data Assimilation

FIRE	First ISCCP Regional Experiment

FORTRAN	?

fov	field of view

FSL	Forecast Systems Laboratories

FSSP	Forward-Scattering Spectrometer Probe

FST	FIRE Science Team

FYIB	?

GAC	global area coverage

GCM	general circulation model

GMT	Greenwich Mean Time

GOES	Geostationary Operational Environmental Satellite

GSFC	Goddard Space Flight Center

HF	high frequency

HIRS	High-resolution Infrared Sounder

HIS	High spectral resolution Interferometer Spectrometer

HRPT	High-Resolution Picture Transmission

HSRL	High Spectral Resolution Lidar

IO	input/output

113M	International Business Machine

ICRCCM	Intercomparison of Radiation Codes in Climate Models

ID	identification

IFO	Intensive Field Observations

IFR	Instrument Flight Rules

INS	inertial navigation system

IR	infrared

ISCCP	International Satellite Cloud Climatology Program

IWC	ice water content

JAW	Johnson Williams

KA	King Air

LaRC	Langley Research Center

LCL	lifting condensation level

LORAN	?

LST	local solar time

LWC	liquid water content

MAPS	Mesoscale Analysis and Prediction System

MAS	MODIS-N Airborne Simulator

McIDAS	Man-Interactive Data Acquisition System

METEOR	?

MOA	Military Operating Areas

MODIS-N	Moderate Resolution Imaging Spectrometer-Nadir

MS	Marine Stratocumulus

MS	Mission Scientist

MSI	Multi-Spectral Imagery

MST	Mission Selection Team

MSU	Microwave Sounding Unit

NASA	National Aeronautics and Space Administration

NBS	National Bureau of Standards

NCAR	National Center for Atmospheric Research

NCDS	NASA Climate Data System

NMC	National Meteorological Center

NOAA	National Oceanic and Atmospheric Administration

NRZI	non return to zero

NSF	National Science Foundation

NTIS	?

NWS	National Weather Service

OAP	Optical Array Probe

OLS	Operational Line Scanner

ONR	Office of Naval Research

PAMS	Portable Automated Mesonet Stations

PCLASS	Processed CLASS

PERT	Program Evaluation Review Technique

PI	principal investigator

PLS	?

PMS	Particle Measurement Systems

PMT

PROFS	Program for Regional Observing and Forecasting Services

PRT	?

PSU	Pennsylvania State University

RAMS	Regional Atmospheric Model

RASS	Radio-Acoustic Sounding System

RDF	Read Data File

RDS	Read Data Smooth

RM	Rosemount

SAGE 11	Stratospheric Aerosol and Gas Experiment 11

SCARAB	Scanner for Radiation Budget

SDF	Standard Data Format

SDF	Stored Data File

SDS	Stored Data Smooth

SIRIS	?

SL	Sabreliner

SPECTRE	Spectral Radiance Experiment

SPERAD	Spectrally-scanning Radiometer

SRB	Surface Radiation Budget

SSH2	?

SSM/I	Special Sensor Microwave imager

SSM/T	Special Sensor Microwave Water Vapor Sounder

SSU	Stratospheric Sounder Unit

STX	ST Systems Corporation

TBD	to be determined

TDDR	Total Direct-Diffuse Radiometer

Tdp	dew point temperature

TIROS	?

TKE	thermodynamic kinetic equilibrium

TM	Thematic Mapper

TOA	top of the atmosphere

TOC	Table of Contents

TOVS	TIROS Operational Vertical Sounder

UHF	ultra high frequency

UKMO	United Kingdom Meteorological Office

UND	University of North Dakota

UNISYS	?

USAF	United States Air Force

UTC	Universal Coordinated Time

VAD	Velocity-Azimuth-Display

VAS	VISSR Atmospheric Sounder

VAX	?

VCR	video camera recorder

VFR	Visual Flight Rules

VRF	very high frequency

VIL	Volume Imaging Lidar

VIS	visible

VISSR	Visible Infrared Spin-Scan Radiometer

VORTAC	?

WFF	Wallops Flight Facility

APPENDIX G

COLLABORATIVE EXPERIMENTS PARTICIPATING IN CIRRUS IFO-II

G.1.0 Spectral Radiance Experiment (SPECTRE)

The ongoing program known as ICRCCM (Intercomparison of Radiation Codes in Climate Models, now a part of the World Climate Research Program) has conducted intercomparisons of infrared radiative transfer models ranging from line-by-line models to the highly parameterized models used in GCMs.  These comparisons have revealed substantial disagreements in computed fluxes (20% and more) not only among GCM radiation models but also among the so-called Ònarrow-bandÓ models that were presumed accurate.  The line-by-line models were able to achieve 1-2% relative accuracy, but only after agreeing to make certain common assumptions regarding line shape, line cutoff, and continuum absorption.  Thus, these models should not be regarded as an absolute standard.  SPECTRE, sponsored by NASA and DOE is an outgrowth of these findings.

SPECTRE's main objective is to accurately measure the zenith infrared radiance at high spectral resolution while simultaneously profiling the radiatively important atmospheric characteristics . In this way, the radiative models may be tested in a meaningful way.  High priority is placed upon improving and calibrating line-by-line models, since these are the models against which cruder radiative models (such as those in GCMs) are tested.  SPECTRE aims to close the loopholes by which radiation models have eluded incisive comparison with measurements in the past by:

¥	using remote profiling technologies that continuously sense the whole atmospheric column thereby minimizing the 'uncertainty of atmospheric characteristics' associated with the sampling characteristics of rawinsondes and aircraft.

¥	considering the downwelling radiation and thereby eliminating the 'uncertainty in surface temperature and emittance'.  This also makes atmospheric emission stand out in stark relief and provides the severest test of the models.

¥	using laboratory class spectrometers (several for redundancy) and an onsite blackbody calibration facility to eliminate the 'uncertainty in measurement accuracy'.

A second related objective is to demonstrate that radiation measurements in the field can approach their potential accuracy of 1 %. This is important because 1% changes in radiation energy are climatically significant.  This increased accuracy will further deny models any tuning latitude.

Thus, the key features of SPECTRE are simultaneous, instantaneous profiles of temperature, humidity, aerosol, and cloud; spectral detail in the form of continuous high resolution

infrared spectra; radiance rather than flux measurements; careful and frequent radiometric calibration in the field; and redundant measurements.

The field measurement activities of SPECTRE will be conducted in conjunction with the FIRE Phase II Cirrus Intensive Field Observations campaign (section 4.3.2). In addition to the uplooking spectrometers (spectral resolution better than I cm- I over the spectral region from about 4 km to 20 Jim), a Raman lidar for profiling water vapor, a radio-acoustic sounder (RASS) for profiling temperature, and ozone sonde for profiling ozone will be deployed.  Rawinsondes and satellites will be used to characterize the atmospheric state at upper levels while a tethersonde system will be used to monitor conditions in the boundary layer where the remote sensing systems have difficulties.  Flask samples will be taken and analyzed for trace gas concentrations.  As part of FIRE IFO-11, lidar and in situ (aircraft) observations will be obtained to characterize aerosol profiles and cirrus clouds (when present) and airborne observations of downwelling radiance will also be obtained in some cases.  IR spectrometer measurements of upwelling radiance, using a spectrometer identical to the one operating at the Hub, will be taken from the ER-2

G.2.0 Experimental Cloud Lidar Pilot Study (ECLIPS)

The Experimental Cloud Lidar Pilot Study (ECLIPS) is an international research program in support of ISCCP.  ECLIPS uses intensive periods of lidar and ancillary measurements to categorize all clouds (low, middle, and high) present during overpasses of NOAA polar orbiter satellites.  The main objective is to provide 'ground truth' data on cloud properties (heights and coverage) for validation of cloud properties inferred from satellite radiance observations (AVHRR and HIRS), especially those derived by ISCCP.  An auxiliary objective is to provide detailed statistics on the temporal variations of cloud base altitude which exerts a significant radiative influence on the earth's surface temperature.  ECLIPS also seeks to encourage international collaboration and uniform data processing methods among lidar investigators in order to facilitate a possible future program of long-term global cloud monitoring using lidars.  The first experimental stage of ECLIPS was conducted over a one-month period in the fall of 1989.  International participation appeared strong and meetings are underway to organize the data processing effort.

ECLIPS and FIRE share some objectives and will mutually benefit one another.  Increased utilization of lidar observations to monitor cloudiness worldwide would provide extended time observations of cirrus (and other) clouds for a variety of geographical areas and climatological regimes.  Such information would be quite useful to FIRE researchers both with respect to validation of algorithms for retrieving cirrus cloud properties from satellite observations (section 5.1) as well as for investigating possible differences in cirrus cloud structure (i.e., assessing the global representativeness of FIRE observations).  Greater commonalty in lidar data processing and interpretation is a mutual concern, especially with respect to the integration of lidar and radiometric observations.  FIRE researchers are active participants in ECLIPS.  FIRE lidar groups, who are

regularly collecting extended time observations (ETO) of cirrus (section 5.0), augmented their observation schedules to obtain more comprehensive data sets (all clouds) during ECLIPS.  Other groups conducted intensive ETO research efforts during the ECLIPS observational period.

G.3.0 Atmospheric Radiation Measurements Program (ARM)

The Atmospheric Radiation Measurements (ARM) Program sponsored by the Department of Energy is a recently initiated effort with the primary goal of improving the parameterization of clouds and cloud-radiative interactions in general circulation models (GCMs).  In concept, ARM may be thought of as an instrumented grid point.  A large number of sophisticated ground-based, remote-sensing instruments will be co-located at some site.  These instruments will be used to monitor on a continuous basis atmospheric wind, temperature, and humidity profiles; cloud physical and optical properties; and surface spectral and broadband radiometric quantities.  Current plans call for the establishment of at least four such sites and a program duration of some 10 years.

Although FIRE and ARM have different primary goals, there is obviously substantial overlap among their objectives and considerable potential collaboration.  Some examples of the overlap are:

-	many of the instruments proposed for the Cirrus IFO-11 Hub site (table 3) are logical candidates for deployment at an ARM site.

-	operation of the Cirrus IFO-11 Hub site will provide a test of the ARM site concept both in terms of instrument deployment and synergistic data reduction and analysis.

-	in situ aircraft measurements will provide basic understanding and calibration of remote sensing measurements that will be vital for the success of ARM.

-	Cirrus IFO-II will be a test of concept that will need to be very carefully examined in the context of ARM.

-	cloud process modelling based on the Cirrus IFO-11 data set will undoubtedly shape ARM measurement strategies and interpretation of data.

-	further FIRE programs may very likely be coordinated with ARM ground sites to take advantage of existing instrumentation and ARM funding, as well as provide further calibration of ARM measurements.

FIRE and ARM are related programs that have the potential for considerable interaction and a great deal of mutual benefit.  FIRE is a fairly mature field operation, about to conduct its third intensive field campaign.  ARM is just beginning to get underway, but with considerable momentum.  Due to the close relationship between the science of the two projects, they will undoubtedly share participants.  At the current time, these shared participants will be able to provide sufficient information flow between the two programs to keep each abreast of the other's plans and to provide for some general collaboration.  However, as ARM becomes more clearly defined, a more formal collaborative effort should be considered.

APPENDIX H

LISTING OF NWS STATIONS AND CODES

NWS Stations - Type A			15 stations

State	City	Type	Region	Call

Arkansas:	Little Rock	WSFO	S	LJT

Colorado:	Denver	WSFO	C	DEN

Kansas:	Dodge City	WSO	C	DDC

Topeka	WSFO	C	TOP

Missouri:	Monett	WSMO	C	UNM

Nebraska:	North Platte	WSO	C	LBF

Omaha	WSFO	C	OMA

New Mexico:	Albuquerque	WSMO	S	ABQ

Oklahoma:	Oklahoma City	WSFO	S	OKC

Texas:	Amarillo	WSO	S	AMA

Del Rio	WSO	S	DRT

El Paso	WSO	S	ELP

Longview	WSMO	S	GGG

Midland	WSO	S	MAF

Stephenville	WSMO	S	SEP

Type Code:	WSFO - Weather Service Forecast office (main office)

WSO - Weather Service Office

WSMO - Weather Service Meteorological Observatory

WSCMO - Weather Service Contract Meteorological Observatory

Note that observatories are not routinely staffed on a 24-hour basis, although observers are present to take routine surface and upper air observations.

Region Code:                 	E - Eastern

C - Central

S - Southern

W - Western

NWS Stations - Type B	36 stations

State	City	Type	Region	Call

Alabama:	Centerville-Brent	WSMO	S	CKL

Arizona:	Tucson	WSO	W	TUS

Winslow	WSO	W	INW

California:	Oakland	WSCMO/WSO	W	OAK

San Diego	WSCMO/WSO	W	MYF

Colorado:	Grand Junction	WSO	C	GJT

Idaho:	Boise	WSFO	W	BOI

Illinois:	Peoria	WSO	C	PIA

Salem	WSCMO	C	SLO

Louisiana:	Boothville	WSCMO	S	BVE

Lake Charles	WSO	S	LCH

Michigan:	Flint	WSO	C	FNT

Sault Ste. Marie **	WSO	C	SSM

Minnesota:	International Falls **	WSO	C	INL

St. Cloud	WSO	C	STC

Mississippi:	Jackson	WSFO	S	JAN

Montana:	Glasgow **	WSO	W	GGW

Great Falls **	WSCMO/WSFO	W	GTF

Nevada:	Ely	WSO	W	ELY

Mercury	WSMO	W	UCC

Winnemucca	WSO	W	WMC

North Dakota:	Bismark **	WSFO	C	BIS

Ohio:	Dayton	WSCMO	E	DAY

Oregon:	Medford	WSO	W	MFR

Salem **	WSO	W	SLE

South Dakota:	Huron	WSO	C	HON

Rapid City	WSO	C	RAP

Tennessee:	Nashville	WSMO	S	BNA

Texas:	Brownsville	WSO	S	BRO

Victoria	WSO	S	VCF

Utah:	Salt Lake City	WSFO	W	SLC

Washington:	Quillayute **	WSCMO	W	UIL

Spokane **	WSO	W	GEG

West Virginia:	Huntington	WSO	E	HTS

Wisconsin:	Green Bay	WSO	C	GRB

Wyoming:	Lander	WSO	C	LND

** Additional Type B stations