## User's Guide
Last updated: 7/7/2005
Georgia: Energy Rehabilitation
Project name | Regional Infrastructure Rehabilitation Project
Energy Rehabilitation Project Activity
Spreadsheet version | Investment memo, final
Date | 2005-07-07
Amount of MCC funds | $49.5 million
Project description | The objective of the Energy Rehabilitation Activity is to increase reliability of energy supplies and to reduce losses. The activity will rehabilitate the North-South Gas Pipeline and provide advisory service to the GOG to develop a long term strategy for the country’s energy sector.
Benefit streams included in ERR | Reduction in gas losses
Monetized carbon credits
Costs included in ERR (other than costs borne by MCC) | None
Estimated ERR and time horizon | 11.7% over 10 years
Worksheets in this file | Activity Description
One should read this sheet first, as it offers a summary of the activity, a list of components, and states the economic rationale for the project.
ERR & Sensitivity Analysis
A brief summary of the project's key parameters and ERR calculations.
ERR Pipeline
This sheet conducts a cost-benefit analysis using the parameters specified by the user. Benefits in terms of carbon credits and the reduction in gas losses are compared against the rehabilitation and maintainance costs for the pipeline. The resulting ERR is computed over a 10-year time period.
Cost Assumptions
Detailed breakdown of the costs of the project, including high, low and medium assumptions for each activity and the precentage of the Activity completed each year.
Demand
Contains tables that calculate the demand for gas in various geographic regions of Georgia, taking into consideration multiple growth scenarios.
Transit
Calculates the volume and cost of gas transiting through the pipeline each year. These figures are used to estimate the amount of gas lost in transit and the related benefit from upgrading the pipeline.
IRR-high
A sample ERR for a scenario in which there is a high demand for gas, as shown in the "Demand" spreadsheet.
IRR-medium
A sample ERR for a scenario in which there is a medium demand for gas, as shown in the "Demand" spreadsheet.
IRR-low
A sample ERR for a scenario in which there is a low demand for gas, as shown in the "Demand" spreadsheet.
IRR-low (2)
A sample ERR for a scenario in which there is a low demand for gas, as shown in the "Demand" spreadsheet. This sheet differs from the previous worksheet by calculating alternate estimates for the amount of gas saved through the project.
IRR-sensitivities
Tables and charts illustrating the sensitivity of the ERR to demand and the price of CO2 emissions.
Financial Impact
Illustrates the financial impact of gas losses on the gas industry.

## Activity Description
Last updated: 7/7/2005
Georgia: Energy Rehabilitation
Activity Description
Summary
The objective of the Energy Rehabilitation Activity is to increase reliability of energy supplies and to reduce losses. The Activity will rehabilitate the North-South Gas Pipeline and provide advisory service to the GOG to develop a long term strategy for the country’s energy sector.
Components
MCC Funding will be used to:
1. Rehabilitate the Pipeline by:
a. Inspecting the Pipeline to identify weaknesses and defects and formulate a prioritized rehabilitation plan addressing the security and integrity of the Pipeline.
b. Repairing the most urgent defects on a priority basis to bring the Pipeline back to an acceptable level of technical integrity for the required throughput capacity.
c. Repairing leaks in the Pipeline to reduce technical losses.
2. Engage one or more firms (the “Energy Advisors”) to support the Ministry of Energy to further develop and implement its energy sector strategy, including, but not limited to, providing technical and feasibility studies essential for investment in regional transmission, gas-fired generation, and hydropower.
Economic Rationale
The base case return on the Energy Rehabilitation activity is estimated to be 11.7 percent. By rehabilitating the North-South Gas Pipeline, it was assumed that Georgia could avoid additional expenditures on gas purchases and reap returns from selling carbon credits for the reduction of greenhouse gas emissions under the United Nations Framework Convention on Climate Change.
Beneficiaries include households, businesses and industrial enterprises throughout Georgia that consume gas or electricity. Rehabilitation will improve a situation which currently endangers the environment as well as the health and safety of the population. Another benefit may be carbon credit revenue which may be secured as a result of reduced greenhouse gas emissions related to Pipeline rehabilitation. In addition, the financial condition of GGIC, the Pipeline operating company, will be improved through reduced technical losses and improved cash flow. All energy consumers located throughout Georgia are expected to benefit from implementation of the Government’s energy strategy with the assistance of the Energy Advisors’ services.

## ERR & Sensitivity Analysis
Georgia: Energy Rehabilitation
ERR and sensitivity analysis |  |  |  |  | Last updated: 7/7/2005
Change the "User Input" cells in the table below to see the effect on the compact's Economic Rate of Return (ERR) and net benefits (see chart below). To reset all values to the default MCC estimates, click the "Reset Parameters" button at right. Be sure to reset all summary parameters to their original values ("MCC Estimate" values) before changing specific parameters.
Parameter type | Description of key parameters | Parameter values
|  | User Input | MCC Estimate | Plausible Range | Values used in ERR computation | All summary parameters set to initial values?
Summary | Actual costs as a percentage of estimated costs | 100% | 100% | 80 - 120% | 100% | Y
Summary | Actual benefits as a percentage of estimated benefits | 100% | 100% | 80 - 120% | 100% | Y
Specific | kg of CO2 emitted per cubic meter of gas | 17.4 | 17.4 | 10 - 20 | 17.4 | More Info
Specific | Price of CO2 emissions (USD/ton) | 1 | 1 | $0 - $5 | 1 | Activity Description
Specific | Growth in demand for natural gas | 1.5% | 1.5% | 1.5 - 5% | 1.5% | User's Guide
Specific | Annual increase in maintenance costs | 2% | 2% | 1 - 5% | 2%
Specific | Annual increase in gas price | 2% | 2% | 0 - 5% | 2%
Specific | Annual increase in volume of transit gas | 5% | 5% | 0 - 10% | 5%
Specific | Infrstructure cost estimation scenario | Medium | Medium | - | Medium
0
| Economic rate of return (ERR): | 11.75%
| MCC Estimated ERR (as of 7/7/2005): | 11.7%

## ERR Pipeline
0
Georgia: Energy Rehabilitation
Period | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Total Gas Flow Volumes [in bcm] | Annual Escalation Rate
2004 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1 | 2.029
2005 | 0.25 | 0.3 | 0.39 | 0.18 | 0.11 | 0.05 | 1.015 | 2.295 | 13.11%
2006 | 0.3 | 0.35 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0302 | 2.4882 | 8.419%
2007 | 0.35 | 0.34 | 0.46 | 0.2 | 0.14 | 0.07105 | 1.0457 | 2.6067 | 4.763%
2008 | 0.4 | 0.45 | 0.5 | 0.22 | 0.15 | 0.072116 | 1.0614 | 2.8535 | 9.466%
2009 | 0.45 | 0.5 | 0.55 | 0.242 | 0.16 | 0.073197 | 1.0773 | 3.0525 | 6.974%
2010 | 0.5 | 0.55 | 0.55825 | 0.248 | 0.1624 | 0.074295 | 1.0934 | 3.1864 | 4.387%
2011 | 0.55 | 0.55 | 0.56662 | 0.25 | 0.16484 | 0.07541 | 1.1098 | 3.2667 | 2.521%
2012 | 0.6 | 0.55 | 0.57512 | 0.25 | 0.16731 | 0.076541 | 1.1265 | 3.3455 | 2.411%
2013 | 0.65 | 0.55 | 0.58375 | 0.25 | 0.16982 | 0.077689 | 1.1434 | 3.4246 | 2.367%
2014 | 0.7 | 0.55 | 0.59251 | 0.25 | 0.17237 | 0.078854 | 1.1605 | 3.5043 | 2.325%
2015 | 0.75 | 0.55 | 0.60139 | 0.25 | 0.17495 | 0.080037 | 1.1779 | 3.5843 | 2.285%
2016 | 0.75 | 0.55 | 0.61041 | 0.25 | 0.17758 | 0.081238 | 1.1956 | 3.6148 | 0.8513%
2017 | 0.75 | 0.55 | 0.61957 | 0.25 | 0.18024 | 0.082456 | 1.2136 | 3.6458 | 0.8568%
2018 | 0.75 | 0.55 | 0.62886 | 0.25 | 0.18294 | 0.083693 | 1.2318 | 3.6773 | 0.8623%
2019 | 0.75 | 0.55 | 0.6383 | 0.25 | 0.18569 | 0.084949 | 1.2502 | 3.7092 | 0.8677%
2020 | 0.75 | 0.55 | 0.64787 | 0.25 | 0.18847 | 0.086223 | 1.269 | 3.7416 | 0.8732%
Calculation of Emission Reduction Volumes
Period | Total Gas Flow Volumes [in bcm] | Losses without Rehabilitation [in mcm] |  | Losses after Rehabilitation [in mcm] |  | Differences of Losses [in mcm] | Gas Price [in US$/mcm] escalation of 2% | Value of Saved Gas [in US$]
2004 | 2.029 | 5% | 101450 | 5% | 101450 | 0 | 65 | 0 | 2% | annual increase in gas price
2005 | 2.295 | 5% | 114750 | 5% | 114750 | 0 | 65 | 0
2006 | 2.4882 | 5% | 124411.25 | 4% | 99529 | 24882.25 | 66.3 | 1649693.175
2007 | 2.6067 | 5% | 130336.4187 | 3% | 78201.8512 | 52134.5675 | 67.626 | 3525652.2618
2008 | 2.8535 | 5% | 142673.965 | 2% | 57069.586 | 85604.379 | 68.9785 | 5904863.3702
2009 | 3.0525 | 5% | 152624.0745 | 2% | 61049.6298 | 91574.4447 | 70.3581 | 6443003.0588
2010 | 3.1864 | 5% | 159319.4356 | 2% | 63727.7742 | 95591.6614 | 71.7653 | 6860159.6875
2011 | 3.2667 | 5% | 163335.7272 | 2% | 65334.2909 | 98001.4363 | 73.2006 | 7173759.7483
2012 | 3.3455 | 5% | 167273.2631 | 2% | 66909.3052 | 100363.9578 | 74.6646 | 7493631.5947
2013 | 3.4246 | 5% | 171232.362 | 2% | 68492.9448 | 102739.4172 | 76.1579 | 7824414.128
2014 | 3.5043 | 5% | 175213.3474 | 2% | 70085.339 | 105128.0085 | 77.681 | 8166450.6086
2015 | 3.5843 | 5% | 179216.5477 | 2% | 71686.6191 | 107529.9286 | 79.2346 | 8520094.8909
2016 | 3.6148 | 5% | 180742.2959 | 2% | 72296.9183 | 108445.3775 | 80.8193 | 8764482.7578
2017 | 3.6458 | 5% | 182290.9303 | 2% | 72916.3721 | 109374.5582 | 82.4357 | 9016370.0868
2018 | 3.6773 | 5% | 183862.7943 | 2% | 73545.1177 | 110317.6766 | 84.0844 | 9275999.0603
2019 | 3.7092 | 5% | 185458.2362 | 2% | 74183.2945 | 111274.9417 | 85.7661 | 9543619.9587
2020 | 3.7416 | 5% | 187077.6097 | 2% | 74831.0439 | 112246.5658 | 87.4814 | 9819491.4374
Total | 54.0254 |  | 2701268.2576 |  | 1286059.0868 | 1415209.1708 |  | 109981685.8248
| 1 M3 | 17.4 | kgCO2e
1415209170.795 |  | 24624639571.8328 | kgCO2e
|  | 24624639.5718 | tonsCO2e
|  | 1 | $/ton
Carbon Credits
Period | Saved Volumes [in M3] | CO2 equivalent [in Tons] | Value of Reduced Emission [in US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] |  | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$]
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 24882250 | 432951.15 | 432951.15 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 52134567.5 | 907141.4745 | 907141.4745 | 432951.15 | 0 | 0 | 0 | 0 | 0
2008 | 85604379.0187 | 1489516.1949 | 1489516.1949 | 907141.4745 | 0 | 0 | 0 | 0 | 0
2009 | 91574444.704 | 1593395.3379 | 1593395.3379 | 1489516.1949 | 0 | 0 | 0 | 0 | 0
2010 | 95591661.3746 | 1663294.9079 | 1663294.9079 | 1593395.3379 | 0 | 0 | 0 | 0 | 0
2011 | 98001436.2952 | 1705224.9915 | 1705224.9915 | 1663294.9079 | 0 | 0 | 0 | 0 | 0
2012 | 100363957.8396 | 1746332.8664 | 1746332.8664 | 1705224.9915 | 0 | 0 | 0 | 0 | 0
2013 | 102739417.2072 | 1787665.8594 |  | 1746332.8664 | 0 | 0 | 0 | 0 | 0
Total | 650892113.9395 | 11325522.7825 | 9537856.9231 | 9537856.9231 | 0 | 0 | 0 | 0 | 0
Cash Flow for a price in US$/ton of: |  | 1
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Savings | 0 | 1649693.175 | 3525652.2618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 432951.15 | 907141.4745 | 1489516.1949 | 1593395.3379 | 1663294.9079 | 1705224.9915 | 1746332.8664
Total | 0 | -23276756.1004 | -15614947.3129 | 6812004.8447 | 7932519.2537 | 8453555.0254 | 8837054.6562 | 9198856.5863 | 9570746.9944 | 8166450.6086 | 8520094.8909
| NPV (10 yrs, 10%) | 2641184.2
| IRR (10 years) | 11.75%
| IRR (9 years) | 9.525%
| IRR (8 years) | 6.581%
| IRR (7 years) | 1.583%
| IRR (6 years) | -5.827%
| IRR (5 years) | -17.37%
Above is the Base Case for $1 Carbon, low growth
Changing D46 to 0 gives $0 Carbon, low growth
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that Carbon Funds are available until 2012 only
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for High Demand Growth Szenario
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline
Carbon Credits and Cash Flow of Project for Low Demand Growth Scenario

## Cost Assumptions
Georgia: Energy Rehabilitation
Cost Assumptions
0
North South Pipeline Rehabilitation Budget
[5 empty] | Percentage Factor |  | Annual Amt
| Base Case | Cost |  |  | 1st Year | 2nd Year | 1st Year | 2nd Year
| Medium | Low | Budgeted Amount | High
Route Survey, GIS Mapping and Land Cadastre | 0.75 | 0.75 | 0.75 | 0.75 | 100%
Inspection, Engineering and Project Management | 5 | 4 | 5 | 5 | 70% | 30%
Rehabilitation of Land Slide Areas | 7 | 6 | 7 | 8 | 70% | 30%
Rehabilitation River Crossings & Riverbank Protection | 4 | 3 | 4 | 5 | 70% | 30%
Pipeline Replacement (4 km 48" + 8 km 40") | 7 | 6 | 7 | 8 | 20% | 80%
Repair and Replacements of Valves | 5.5 | 5 | 5.5 | 6 | 80% | 20%
Repair Cathodic Protection, Coating, Tunnels & Metering | 5.25 | 4.25 | 5.25 | 6.25 | 30% | 70%
Subtotal | 34.5 | 29 | 34.5 | 39
Contingency 30% | 10 | 8.7 | 10 | 11.7
Total | 44.5 | 37.7 | 44.5 | 50.7
[5 empty] | Percentage Factor |  | Annual Amt
Budget with Contingency Distributed over Descriptions |  |  |  |  | 1st Year | 2nd Year | 1st Year | 2nd Year
| Medium | Low | Medium | High
Route Survey, GIS Mapping and Land Cadastre | 0.96739 | 0.9949 | 0.96739 | 0.9375 | 100% |  | 0.96739 | 0
Inspection, Engineering and Project Management | 6.4493 | 5.3061 | 6.4493 | 6.25 | 70% | 30% | 4.5145 | 1.9348
Rehabilitation of Land Slide Areas | 9.029 | 7.9592 | 9.029 | 10 | 70% | 30% | 6.3203 | 2.7087
Rehabilitation River Crossings & Riverbank Protection | 5.1594 | 3.9796 | 5.1594 | 6.25 | 70% | 30% | 3.6116 | 1.5478
Pipeline Replacement (4 km 48" + 8 km 40") | 9.029 | 7.9592 | 9.029 | 10 | 20% | 80% | 1.8058 | 7.2232
Repair and Replacements of Valves | 7.0942 | 6.6327 | 7.0942 | 7.5 | 80% | 20% | 5.6754 | 1.4188
Repair Cathodic Protection, Coating, Tunnels & Metering | 6.7717 | 5.6378 | 6.7717 | 7.8125 | 30% | 70% | 2.0315 | 4.7402
| 44.5 | 38.4694 | 44.5 | 48.75 |  |  | 24.9264 | 19.5736 | 44.5
[7 empty] | 24926449.2754 | 19573550.7246
Annual GGIC Maintenance Expenditures (using emission reduction funding)
Annual expenditure (05 $) |  | 2000000
Escalation rate |  | 2%
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
|  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Nominal Annual GGIC Maintenance Expenditure |  |  | 2000000 | 2040000 | 2080800 | 2122416 | 2164864.32 | 2208161.6064 | 2252324.8385 | 2297371.3353 | 2343318.762 | 2390185.1372 | 2437988.84
Note on D8: saigerjs: RS report dated 062305 plus $500k for environ

## Demand
Georgia: Energy Rehabilitation
Current Demand Projection
0
1.5% | Growth in demand
Year | Total for High Growth in bcm | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Annual Escalation Rate
2004 | 2.029 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1
2005 | 2.295 | 0.25 | 0.3 | 0.39 | 0.18 | 0.11 | 0.05 | 1.015 | 13.11%
2006 | 2.4882 | 0.3 | 0.35 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0302 | 8.419%
2007 | 2.6067 | 0.35 | 0.34 | 0.46 | 0.2 | 0.14 | 0.07105 | 1.0457 | 4.763%
2008 | 2.8535 | 0.4 | 0.45 | 0.5 | 0.22 | 0.15 | 0.072116 | 1.0614 | 9.466%
2009 | 3.0525 | 0.45 | 0.5 | 0.55 | 0.242 | 0.16 | 0.073197 | 1.0773 | 6.974%
2010 | 3.1864 | 0.5 | 0.55 | 0.55825 | 0.248 | 0.1624 | 0.074295 | 1.0934 | 4.387%
2011 | 3.2667 | 0.55 | 0.55 | 0.56662 | 0.25 | 0.16484 | 0.07541 | 1.1098 | 2.521%
2012 | 3.3455 | 0.6 | 0.55 | 0.57512 | 0.25 | 0.16731 | 0.076541 | 1.1265 | 2.411%
2013 | 3.4246 | 0.65 | 0.55 | 0.58375 | 0.25 | 0.16982 | 0.077689 | 1.1434 | 2.367%
2014 | 3.5043 | 0.7 | 0.55 | 0.59251 | 0.25 | 0.17237 | 0.078854 | 1.1605 | 2.325%
2015 | 3.5843 | 0.75 | 0.55 | 0.60139 | 0.25 | 0.17495 | 0.080037 | 1.1779 | 2.285%
2016 | 3.6148 | 0.75 | 0.55 | 0.61041 | 0.25 | 0.17758 | 0.081238 | 1.1956 | 0.8513%
2017 | 3.6458 | 0.75 | 0.55 | 0.61957 | 0.25 | 0.18024 | 0.082456 | 1.2136 | 0.8568%
2018 | 3.6773 | 0.75 | 0.55 | 0.62886 | 0.25 | 0.18294 | 0.083693 | 1.2318 | 0.8623%
2019 | 3.7092 | 0.75 | 0.55 | 0.6383 | 0.25 | 0.18569 | 0.084949 | 1.2502 | 0.8677%
2020 | 3.7416 | 0.75 | 0.55 | 0.64787 | 0.25 | 0.18847 | 0.086223 | 1.269 | 0.8732%
Sample Demand Scenarios
High Growth |  | 5% Growth
Year | Total for High Growth in bcm | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Annual Escalation Rate
2004 | 2.029 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1
2005 | 2.61 | 0.25 | 0.58 | 0.39 | 0.18 | 0.11 | 0.05 | 1.05 | 28.63%
2006 | 3.1525 | 0.3 | 0.942 | 0.42 | 0.198 | 0.12 | 0.07 | 1.1025 | 20.79%
2007 | 4.5731 | 1.5 | 1.042 | 0.46 | 0.2 | 0.14 | 0.0735 | 1.1576 | 45.06%
2008 | 4.7627 | 1.5 | 1.1 | 0.5 | 0.22 | 0.15 | 0.077175 | 1.2155 | 4.145%
2009 | 4.9323 | 1.5 | 1.123 | 0.55 | 0.242 | 0.16 | 0.081034 | 1.2763 | 3.562%
2010 | 5.0487 | 1.5 | 1.13 | 0.5775 | 0.248 | 0.168 | 0.085085 | 1.3401 | 2.359%
2011 | 5.1592 | 1.5 | 1.13 | 0.60638 | 0.25 | 0.1764 | 0.08934 | 1.4071 | 2.189%
2012 | 5.2732 | 1.5 | 1.13 | 0.63669 | 0.25 | 0.18522 | 0.093807 | 1.4775 | 2.209%
2013 | 5.3928 | 1.5 | 1.13 | 0.66853 | 0.25 | 0.19448 | 0.098497 | 1.5513 | 2.269%
2014 | 5.5185 | 1.5 | 1.13 | 0.70195 | 0.25 | 0.20421 | 0.10342 | 1.6289 | 2.33%
2015 | 5.6504 | 1.5 | 1.13 | 0.73705 | 0.25 | 0.21442 | 0.10859 | 1.7103 | 2.391%
2016 | 5.7889 | 1.5 | 1.13 | 0.77391 | 0.25 | 0.22514 | 0.11402 | 1.7959 | 2.452%
2017 | 5.9344 | 1.5 | 1.13 | 0.8126 | 0.25 | 0.23639 | 0.11972 | 1.8856 | 2.512%
2018 | 6.0871 | 1.5 | 1.13 | 0.85323 | 0.25 | 0.24821 | 0.12571 | 1.9799 | 2.573%
2019 | 6.2474 | 1.5 | 1.13 | 0.89589 | 0.25 | 0.26062 | 0.132 | 2.0789 | 2.634%
2020 | 6.4158 | 1.5 | 1.13 | 0.94069 | 0.25 | 0.27365 | 0.1386 | 2.1829 | 2.695%
Medium Growth |  | 3% Growth
Year | Total for High Medium in bcm | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Annual Escalation Rate
2004 | 2.029 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1
2005 | 2.41 | 0.25 | 0.4 | 0.39 | 0.18 | 0.11 | 0.05 | 1.03 | 18.78%
2006 | 2.6689 | 0.3 | 0.5 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0609 | 10.74%
2007 | 3.2648 | 0.7 | 0.6 | 0.46 | 0.2 | 0.14 | 0.0721 | 1.0927 | 22.33%
2008 | 3.5198 | 0.75 | 0.7 | 0.5 | 0.22 | 0.15 | 0.074263 | 1.1255 | 7.809%
2009 | 3.7878 | 0.8 | 0.8 | 0.55 | 0.242 | 0.16 | 0.076491 | 1.1593 | 7.614%
2010 | 4.1021 | 1 | 0.85 | 0.5665 | 0.248 | 0.1648 | 0.078786 | 1.1941 | 8.3%
2011 | 4.1643 | 1 | 0.85 | 0.5835 | 0.25 | 0.16974 | 0.081149 | 1.2299 | 1.514%
2012 | 4.2262 | 1 | 0.85 | 0.601 | 0.25 | 0.17484 | 0.083584 | 1.2668 | 1.487%
2013 | 4.29 | 1 | 0.85 | 0.61903 | 0.25 | 0.18008 | 0.086091 | 1.3048 | 1.509%
2014 | 4.3557 | 1 | 0.85 | 0.6376 | 0.25 | 0.18548 | 0.088674 | 1.3439 | 1.531%
2015 | 4.4233 | 1 | 0.85 | 0.65673 | 0.25 | 0.19105 | 0.091334 | 1.3842 | 1.554%
2016 | 4.493 | 1 | 0.85 | 0.67643 | 0.25 | 0.19678 | 0.094074 | 1.4258 | 1.576%
2017 | 4.5648 | 1 | 0.85 | 0.69672 | 0.25 | 0.20268 | 0.096896 | 1.4685 | 1.598%
2018 | 4.6388 | 1 | 0.85 | 0.71763 | 0.25 | 0.20876 | 0.099803 | 1.5126 | 1.62%
2019 | 4.7149 | 1 | 0.85 | 0.73915 | 0.25 | 0.21503 | 0.1028 | 1.558 | 1.642%
2020 | 4.7934 | 1 | 0.85 | 0.76133 | 0.25 | 0.22148 | 0.10588 | 1.6047 | 1.664%
Low Growth |  |  | 1.5% Growth
Year | Total for Low Growth in bcm | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Annual Escalation Rate
2004 | 2.029 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1
2005 | 2.295 | 0.25 | 0.3 | 0.39 | 0.18 | 0.11 | 0.05 | 1.015 | 13.11%
2006 | 2.4882 | 0.3 | 0.35 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0302 | 8.419%
2007 | 2.6667 | 0.35 | 0.4 | 0.46 | 0.2 | 0.14 | 0.07105 | 1.0457 | 7.174%
2008 | 2.8535 | 0.4 | 0.45 | 0.5 | 0.22 | 0.15 | 0.072116 | 1.0614 | 7.003%
2009 | 3.0525 | 0.45 | 0.5 | 0.55 | 0.242 | 0.16 | 0.073197 | 1.0773 | 6.974%
2010 | 3.1864 | 0.5 | 0.55 | 0.55825 | 0.248 | 0.1624 | 0.074295 | 1.0934 | 4.387%
2011 | 3.2667 | 0.55 | 0.55 | 0.56662 | 0.25 | 0.16484 | 0.07541 | 1.1098 | 2.521%
2012 | 3.3455 | 0.6 | 0.55 | 0.57512 | 0.25 | 0.16731 | 0.076541 | 1.1265 | 2.411%
2013 | 3.4246 | 0.65 | 0.55 | 0.58375 | 0.25 | 0.16982 | 0.077689 | 1.1434 | 2.367%
2014 | 3.5043 | 0.7 | 0.55 | 0.59251 | 0.25 | 0.17237 | 0.078854 | 1.1605 | 2.325%
2015 | 3.5843 | 0.75 | 0.55 | 0.60139 | 0.25 | 0.17495 | 0.080037 | 1.1779 | 2.285%
2016 | 3.6148 | 0.75 | 0.55 | 0.61041 | 0.25 | 0.17758 | 0.081238 | 1.1956 | 0.8513%
2017 | 3.6458 | 0.75 | 0.55 | 0.61957 | 0.25 | 0.18024 | 0.082456 | 1.2136 | 0.8568%
2018 | 3.6773 | 0.75 | 0.55 | 0.62886 | 0.25 | 0.18294 | 0.083693 | 1.2318 | 0.8623%
2019 | 3.7092 | 0.75 | 0.55 | 0.6383 | 0.25 | 0.18569 | 0.084949 | 1.2502 | 0.8677%
2020 | 3.7416 | 0.75 | 0.55 | 0.64787 | 0.25 | 0.18847 | 0.086223 | 1.269 | 0.8732%
Year | Total for High Growth in bcm | Total for High Medium in bcm | Total for Low Growth in bcm | Total for Current Demand Scenario
2004 | 2.029 | 2.029 | 2.029 | 2.029
2005 | 2.61 | 2.41 | 2.295 | 2.295
2006 | 3.1525 | 2.6689 | 2.4882 | 2.4882
2007 | 4.5731 | 3.2648 | 2.6667 | 2.6067
2008 | 4.7627 | 3.5198 | 2.8535 | 2.8535
2009 | 4.9323 | 3.7878 | 3.0525 | 3.0525
2010 | 5.0487 | 4.1021 | 3.1864 | 3.1864
2011 | 5.1592 | 4.1643 | 3.2667 | 3.2667
2012 | 5.2732 | 4.2262 | 3.3455 | 3.3455
2013 | 5.3928 | 4.29 | 3.4246 | 3.4246
2014 | 5.5185 | 4.3557 | 3.5043 | 3.5043
2015 | 5.6504 | 4.4233 | 3.5843 | 3.5843
2016 | 5.7889 | 4.493 | 3.6148 | 3.6148
2017 | 5.9344 | 4.5648 | 3.6458 | 3.6458
2018 | 6.0871 | 4.6388 | 3.6773 | 3.6773
2019 | 6.2474 | 4.7149 | 3.7092 | 3.7092
2020 | 6.4158 | 4.7934 | 3.7416 | 3.7416

## Transit
0
Georgia: Energy Rehabilitation
| East-West Transit |  |  |  | North-South Transit
Year | Transit Gas in bcm | Price in US$ * | Transit Revenue in kind [mcm] | Transit Revenue in US$ | Year | Transit Gas in bcm * | Price in US$ | Average Technical Losses without Rehabilitation in % | Transit Revenue in kind [mcm] | Losses on Transit Volume in mcm | Transit Revenue without Rehabilitation in US$
2007 | 2 | 50 | 100000 | 5000000 | 2005 | 1 | 50 | 5% | 100000 | 50000 | 2500000
2008 | 3 | 51 | 150000 | 7650000 | 2006 | 1.05 | 50 | 5.5% | 105000 | 57750 | 2362500
2009 | 3 | 52.02 | 150000 | 7803000 | 2007 | 1.1025 | 50 | 6% | 110250 | 66150 | 2205000
2010 | 5 | 53.0604 | 250000 | 13265100 | 2008 | 1.1576 | 50 | 6.5% | 115762.5 | 75245.625 | 2025843.75
2011 | 6 | 54.1216 | 300000 | 16236482.4 | 2009 | 1.2155 | 50 | 7% | 121550.625 | 85085.4375 | 1823259.375
2012 | 6.6 | 55.204 | 330000 | 18217333.2528 | 2010 | 1.2763 | 50 | 7.5% | 127628.1563 | 95721.1172 | 1595351.9531
2013 | 6.6 | 56.3081 | 330000 | 18581679.9179 | 2011 | 1.3401 | 50 | 7.5% | 134009.5641 | 100507.173 | 1675119.5508
* Price escalates 2% per year |  |  |  |  | * Transit Volume increase 5% per year
[5 empty] | Year | Transit Gas in bcm * | Price in US$ | Average Technical Losses with Rehabilitation in % | Transit Revenue in kind [mcm] | Losses on Transit Volume in mcm | Transit Revenue with Rehabilitation in US$ | Agregate Gain compared to no Rehabiliation in US$
2% | annual increase in gas price |  |  |  | 2005 | 1 | 50 | 5% | 100000 | 50000 | 2500000 | 0
[5 empty] | 2006 | 1.05 | 50 | 4% | 105000 | 42000 | 3150000 | 787500
5% | annual increase in volume of transit gas |  |  |  | 2007 | 1.1025 | 50 | 2% | 110250 | 22050 | 4410000 | 2205000
[5 empty] | 2008 | 1.1576 | 50 | 1.5% | 115762.5 | 17364.375 | 4919906.25 | 2894062.5
[5 empty] | 2009 | 1.2155 | 50 | 1% | 121550.625 | 12155.0625 | 5469778.125 | 3646518.75
[5 empty] | 2010 | 1.2763 | 50 | 1% | 127628.1563 | 12762.8156 | 5743267.0313 | 4147915.0781
[5 empty] | 2011 | 1.3401 | 50 | 1% | 134009.5641 | 13400.9564 | 6030430.3828 | 4355310.832
[5 empty] | * Transit Volume increase 5% per year | [6 empty] | 18036307.1602

## IRR-high
0
Georgia: Energy Rehabilitation
Period | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Total Gas Flow Volumes [in bcm] | Annual Escalation Rate
2004 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1 | 2.029
2005 | 0.25 | 0.58 | 0.39 | 0.18 | 0.11 | 0.05 | 1.05 | 2.61 | 28.63%
2006 | 0.3 | 0.942 | 0.42 | 0.198 | 0.12 | 0.07 | 1.1025 | 3.1525 | 20.79%
2007 | 1.5 | 1.042 | 0.46 | 0.2 | 0.14 | 0.0735 | 1.1576 | 4.5731 | 45.06%
2008 | 1.5 | 1.1 | 0.5 | 0.22 | 0.15 | 0.077175 | 1.2155 | 4.7627 | 4.145%
2009 | 1.5 | 1.123 | 0.55 | 0.242 | 0.16 | 0.081034 | 1.2763 | 4.9323 | 3.562%
2010 | 1.5 | 1.13 | 0.5775 | 0.248 | 0.168 | 0.085085 | 1.3401 | 5.0487 | 2.359%
2011 | 1.5 | 1.13 | 0.60638 | 0.25 | 0.1764 | 0.08934 | 1.4071 | 5.1592 | 2.189%
2012 | 1.5 | 1.13 | 0.63669 | 0.25 | 0.18522 | 0.093807 | 1.4775 | 5.2732 | 2.209%
2013 | 1.5 | 1.13 | 0.66853 | 0.25 | 0.19448 | 0.098497 | 1.5513 | 5.3928 | 2.269%
2014 | 1.5 | 1.13 | 0.70195 | 0.25 | 0.20421 | 0.10342 | 1.6289 | 5.5185 | 2.33%
2015 | 1.5 | 1.13 | 0.73705 | 0.25 | 0.21442 | 0.10859 | 1.7103 | 5.6504 | 2.391%
2016 | 1.5 | 1.13 | 0.77391 | 0.25 | 0.22514 | 0.11402 | 1.7959 | 5.7889 | 2.452%
2017 | 1.5 | 1.13 | 0.8126 | 0.25 | 0.23639 | 0.11972 | 1.8856 | 5.9344 | 2.512%
2018 | 1.5 | 1.13 | 0.85323 | 0.25 | 0.24821 | 0.12571 | 1.9799 | 6.0871 | 2.573%
2019 | 1.5 | 1.13 | 0.89589 | 0.25 | 0.26062 | 0.132 | 2.0789 | 6.2474 | 2.634%
2020 | 1.5 | 1.13 | 0.94069 | 0.25 | 0.27365 | 0.1386 | 2.1829 | 6.4158 | 2.695%
Calculation of Emission Reduction Volumes
Period | Total Gas Flow Volumes [in bcm] | Losses without Rehabilitation [in mcm] |  | Losses after Rehabilitation [in mcm] |  | Differences of Losses [in mcm] | Gas Price [in US$/mcm] escalation of 2% | Value of Saved Gas [in US$]
2004 | 2.029 | 5% | 101450 | 5% | 101450 | 0 | 65 | 0 | 2% | annual increase in gas price
2005 | 2.61 | 5% | 130500 | 5% | 130500 | 0 | 65 | 0
2006 | 3.1525 | 5% | 157625 | 4% | 126100 | 31525 | 66.3 | 2090107.5
2007 | 4.5731 | 5% | 228656.25 | 3% | 137193.75 | 91462.5 | 67.626 | 6185243.025
2008 | 4.7627 | 5% | 238134.0625 | 2% | 95253.625 | 142880.4375 | 68.9785 | 9855681.1157
2009 | 4.9323 | 5% | 246615.7656 | 2% | 98646.3063 | 147969.4594 | 70.3581 | 10410848.5991
2010 | 5.0487 | 5% | 252434.0539 | 2% | 100973.6216 | 151460.4323 | 71.7653 | 10869596.1267
2011 | 5.1592 | 5% | 257960.7566 | 2% | 103184.3026 | 154776.454 | 73.2006 | 11329722.6795
2012 | 5.2732 | 5% | 263658.7944 | 2% | 105463.5178 | 158195.2767 | 74.6646 | 11811582.0542
2013 | 5.3928 | 5% | 269641.7342 | 2% | 107856.6937 | 161785.0405 | 76.1579 | 12321202.4259
2014 | 5.5185 | 5% | 275923.8209 | 2% | 110369.5283 | 165554.2925 | 77.681 | 12860425.8049
2015 | 5.6504 | 5% | 282520.0119 | 2% | 113008.0048 | 169512.0071 | 79.2346 | 13431222.4039
2016 | 5.7889 | 5% | 289446.0125 | 2% | 115778.405 | 173667.6075 | 80.8193 | 14035699.6887
2017 | 5.9344 | 5% | 296718.3131 | 2% | 118687.3252 | 178030.9879 | 82.4357 | 14676112.0707
2018 | 6.0871 | 5% | 304354.2288 | 2% | 121741.6915 | 182612.5373 | 84.0844 | 15354871.2859
2019 | 6.2474 | 5% | 312371.9402 | 2% | 124948.7761 | 187423.1641 | 85.7661 | 16074557.5105
2020 | 6.4158 | 5% | 320790.5372 | 2% | 128316.2149 | 192474.3223 | 87.4814 | 16837931.2644
Total | 84.576 |  | 4228801.2818 |  | 1939471.7627 | 2289329.5191 |  | 178144803.5551
| 1 M3 | 17.4 | kgCO2e
2289329519.1013 |  | 39834333632.363 | kgCO2e
|  | 39834333.6324 | tonsCO2e
|  | 5 | $/ton
Carbon Credits
Period | Saved Volumes [in M3] | CO2 equivalent [in Tons] | Value of Reduced Emission [in US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$]
|  |  |  | 5 | 4 | 3 | 2 | 1 | 0
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 31525000 | 548535 | 2742675 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 91462500 | 1591447.5 | 7957237.5 | 2742675 | 2194140 | 1645605 | 1097070 | 548535 | 0
2008 | 142880437.5 | 2486119.6125 | 12430598.0625 | 7957237.5 | 6365790 | 4774342.5 | 3182895 | 1591447.5 | 0
2009 | 147969459.375 | 2574668.5931 | 12873342.9656 | 12430598.0625 | 9944478.45 | 7458358.8375 | 4972239.225 | 2486119.6125 | 0
2010 | 151460432.3437 | 2635411.5228 | 13177057.6139 | 12873342.9656 | 10298674.3725 | 7724005.7794 | 5149337.1862 | 2574668.5931 | 0
2011 | 154776453.9609 | 2693110.2989 | 13465551.4946 | 13177057.6139 | 10541646.0911 | 7906234.5683 | 5270823.0456 | 2635411.5228 | 0
2012 | 158195276.659 | 2752597.8139 | 13762989.0693 | 13465551.4946 | 10772441.1957 | 8079330.8968 | 5386220.5978 | 2693110.2989 | 0
2013 | 161785040.4919 | 2815059.7046 |  | 13762989.0693 | 11010391.2555 | 8257793.4416 | 5505195.6277 | 2752597.8139 | 0
Total | 1040054600.3306 | 18096950.0458 | 76409451.706 | 76409451.706 | 61127561.3648 | 45845671.0236 | 30563780.6824 | 15281890.3412 | 0
Cash Flow for a price in US$/ton of: |  | 5
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -26000000 | -14000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 2742675 | 7957237.5 | 12430598.0625 | 12873342.9656 | 13177057.6139 | 13465551.4946 | 13762989.0693
Total | 0 | -23909892.5 | -5072081.975 | 17812918.6157 | 22841446.6616 | 23742939.0923 | 24506780.2934 | 25277133.5488 | 26084191.4952 | 12860425.8049 | 13431222.4039
| NPV (10 years) | 67404019.1058
| IRR (10 years) | 49.86%
| IRR (9 years) | 49.32%
| IRR (8 years) | 48.5%
| IRR (7 years) | 45.75%
| IRR (6 years) | 41.01%
| IRR (5 years) | 32.38%
Cash Flow for a price in US$/ton of: |  | 4
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 2194140 | 6365790 | 9944478.45 | 10298674.3725 | 10541646.0911 | 10772441.1957 | 11010391.2555
Total | 0 | -22836341.7754 | -11194167.6996 | 14099055.1157 | 18190462.7291 | 18960108.8928 | 19619043.9321 | 20286651.9146 | 20988274.9193 | 10470240.6676 | 10993233.5639
| NPV (10 years) | 44732862.1828
| IRR (10 years) | 36.89%
Cash Flow for a price in US$/ton of: |  | 3
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 1645605 | 4774342.5 | 7458358.8375 | 7724005.7794 | 7906234.5683 | 8079330.8968 | 8257793.4416
Total | 0 | -22836341.7754 | -11742702.6996 | 12507607.6157 | 15704343.1166 | 16385440.2997 | 16983632.4093 | 17593541.6157 | 18235677.1055 | 10470240.6676 | 10993233.5639
| NPV (10 years) | 35633409.9265
| IRR (10 years) | 31.88%
Cash Flow for a price in US$/ton of: |  | 2
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 1097070 | 3182895 | 4972239.225 | 5149337.1862 | 5270823.0456 | 5386220.5978 | 5505195.6277
Total | 0 | -22836341.7754 | -12291237.6996 | 10916160.1157 | 13218223.5041 | 13810771.7065 | 14348220.8865 | 14900431.3168 | 15483079.2916 | 10470240.6676 | 10993233.5639
| NPV (10 years) | 26533957.6702
| IRR (10 years) | 26.66%
Cash Flow for a price in US$/ton of: |  | 1
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 548535 | 1591447.5 | 2486119.6125 | 2574668.5931 | 2635411.5228 | 2693110.2989 | 2752597.8139
Total | 0 | -22836341.7754 | -12839772.6996 | 9324712.6157 | 10732103.8916 | 11236103.1134 | 11712809.3637 | 12207321.0178 | 12730481.4777 | 10470240.6676 | 10993233.5639
| NPV (10 years) | 17434505.4139
| IRR (10 years) | 21.19%
Cash Flow for a price in US$/ton of: |  | 0
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 2090107.5 | 6185243.025 | 9855681.1157 | 10410848.5991 | 10869596.1267 | 11329722.6795 | 11811582.0542 | 12321202.4259 | 12860425.8049 | 13431222.4039
Carbon Credits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | -22836341.7754 | -13388307.6996 | 7733265.1157 | 8245984.2791 | 8661434.5203 | 9077397.8409 | 9514210.7189 | 9977883.6639 | 10470240.6676 | 10993233.5639
| NPV (10 years) | 8335053.1576
| IRR (10 years) | 15.47%
| Price US$/Ton CO2e | Project IRR (10 years)
| 5 | 49.86%
| 4 | 36.89%
| 3 | 31.88%
| 2 | 26.66%
| 1 | 21.19%
| 0 | 15.47%
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for High Demand Growth Scenario

## IRR-medium
0
Georgia: Energy Rehabilitation
Period | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Total Gas Flow Volumes [in bcm] | Annual Escalation Rate
2004 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1 | 2.029
2005 | 0.25 | 0.4 | 0.39 | 0.18 | 0.11 | 0.05 | 1.03 | 2.41 | 18.78%
2006 | 0.3 | 0.5 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0609 | 2.6689 | 10.74%
2007 | 0.7 | 0.6 | 0.46 | 0.2 | 0.14 | 0.0721 | 1.0927 | 3.2648 | 22.33%
2008 | 0.75 | 0.7 | 0.5 | 0.22 | 0.15 | 0.074263 | 1.1255 | 3.5198 | 7.809%
2009 | 0.8 | 0.8 | 0.55 | 0.242 | 0.16 | 0.076491 | 1.1593 | 3.7878 | 7.614%
2010 | 1 | 0.85 | 0.5665 | 0.248 | 0.1648 | 0.078786 | 1.1941 | 4.1021 | 8.3%
2011 | 1 | 0.85 | 0.5835 | 0.25 | 0.16974 | 0.081149 | 1.2299 | 4.1643 | 1.514%
2012 | 1 | 0.85 | 0.601 | 0.25 | 0.17484 | 0.083584 | 1.2668 | 4.2262 | 1.487%
2013 | 1 | 0.85 | 0.61903 | 0.25 | 0.18008 | 0.086091 | 1.3048 | 4.29 | 1.509%
2014 | 1 | 0.85 | 0.6376 | 0.25 | 0.18548 | 0.088674 | 1.3439 | 4.3557 | 1.531%
2015 | 1 | 0.85 | 0.65673 | 0.25 | 0.19105 | 0.091334 | 1.3842 | 4.4233 | 1.554%
2016 | 1 | 0.85 | 0.67643 | 0.25 | 0.19678 | 0.094074 | 1.4258 | 4.493 | 1.576%
2017 | 1 | 0.85 | 0.69672 | 0.25 | 0.20268 | 0.096896 | 1.4685 | 4.5648 | 1.598%
2018 | 1 | 0.85 | 0.71763 | 0.25 | 0.20876 | 0.099803 | 1.5126 | 4.6388 | 1.62%
2019 | 1 | 0.85 | 0.73915 | 0.25 | 0.21503 | 0.1028 | 1.558 | 4.7149 | 1.642%
2020 | 1 | 0.85 | 0.76133 | 0.25 | 0.22148 | 0.10588 | 1.6047 | 4.7934 | 1.664%
Calculation of Emission Reduction Volumes
Period | Total Gas Flow Volumes [in bcm] | Losses without Rehabilitation [in mcm] |  | Losses after Rehabilitation [in mcm] |  | Differences of Losses [in mcm] | Gas Price [in US$/mcm] escalation of 2% | Value of Saved Gas [in US$]
2004 | 2.029 | 5% | 101450 | 5% | 101450 | 0 | 65 | 0 | 2% | annual increase in gas price
2005 | 2.41 | 5% | 120500 | 5% | 120500 | 0 | 65 | 0
2006 | 2.6689 | 5% | 133445 | 4% | 106756 | 26689 | 66.3 | 1769480.7
2007 | 3.2648 | 5% | 163241.35 | 3% | 97944.81 | 65296.54 | 67.626 | 4415743.814
2008 | 3.5198 | 5% | 175988.5905 | 2% | 70395.4362 | 105593.1543 | 68.9785 | 7283659.5057
2009 | 3.7878 | 5% | 189388.2482 | 2% | 75755.2993 | 113632.9489 | 70.3581 | 7994997.2932
2010 | 4.1021 | 5% | 205106.8957 | 2% | 82042.7583 | 123064.1374 | 71.7653 | 8831728.858
2011 | 4.1643 | 5% | 208213.1025 | 2% | 83285.241 | 124927.8615 | 73.2006 | 9144789.0795
2012 | 4.2262 | 5% | 211309.4956 | 2% | 84523.7982 | 126785.6974 | 74.6646 | 9466399.3726
2013 | 4.29 | 5% | 214498.7805 | 2% | 85799.5122 | 128699.2683 | 76.1579 | 9801460.8259
2014 | 4.3557 | 5% | 217783.7439 | 2% | 87113.4976 | 130670.2463 | 77.681 | 10150597.6217
2015 | 4.4233 | 5% | 221167.2562 | 2% | 88466.9025 | 132700.3537 | 79.2346 | 10514464.3968
2016 | 4.493 | 5% | 224652.2739 | 2% | 89860.9096 | 134791.3643 | 80.8193 | 10893747.7615
2017 | 4.5648 | 5% | 228241.8421 | 2% | 91296.7368 | 136945.1053 | 82.4357 | 11289167.8938
2018 | 4.6388 | 5% | 231939.0974 | 2% | 92775.6389 | 139163.4584 | 84.0844 | 11701480.2147
2019 | 4.7149 | 5% | 235747.2703 | 2% | 94298.9081 | 141448.3622 | 85.7661 | 12131477.1475
2020 | 4.7934 | 5% | 239669.6884 | 2% | 95867.8754 | 143801.813 | 87.4814 | 12579989.9658
Total | 66.4469 |  | 3322342.6352 |  | 1548133.3241 | 1774209.3111 |  | 137969184.451
| 1 M3 | 17.4 | kgCO2e
1774209311.0946 |  | 30871242013.0459 | kgCO2e
|  | 30871242.013 | tonsCO2e
|  | 5 | $/ton
Carbon Credits
Period | Saved Volumes [in M3] | CO2 equivalent [in Tons] | Value of Reduced Emission [in US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$]
|  |  |  | 5 | 4 | 3 | 2 | 1 | 0
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 26689000 | 464388.6 | 2321943 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 65296540 | 1136159.796 | 5680798.98 | 2321943 | 1857554.4 | 1393165.8 | 928777.2 | 464388.6 | 0
2008 | 105593154.3 | 1837320.8848 | 9186604.4241 | 5680798.98 | 4544639.184 | 3408479.388 | 2272319.592 | 1136159.796 | 0
2009 | 113632948.929 | 1977213.3114 | 9886066.5568 | 9186604.4241 | 7349283.5393 | 5511962.6545 | 3674641.7696 | 1837320.8848 | 0
2010 | 123064137.3969 | 2141315.9907 | 10706579.9535 | 9886066.5568 | 7908853.2455 | 5931639.9341 | 3954426.6227 | 1977213.3114 | 0
2011 | 124927861.5188 | 2173744.7904 | 10868723.9521 | 10706579.9535 | 8565263.9628 | 6423947.9721 | 4282631.9814 | 2141315.9907 | 0
2012 | 126785697.3643 | 2206071.1341 | 11030355.6707 | 10868723.9521 | 8694979.1617 | 6521234.3713 | 4347489.5809 | 2173744.7904 | 0
2013 | 128699268.2853 | 2239367.2682 |  | 11030355.6707 | 8824284.5366 | 6618213.4024 | 4412142.2683 | 2206071.1341 | 0
Total | 814688607.7943 | 14175581.7756 | 59681072.5373 | 59681072.5373 | 47744858.0298 | 35808643.5224 | 23872429.0149 | 11936214.5075 | 0
Cash Flow for a price in US$/ton of: |  | 5
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 2321943 | 5680798.98 | 9186604.4241 | 9886066.5568 | 10706579.9535 | 10868723.9521 | 11030355.6707
Total | 0 | -23156968.5754 | -12835863.9106 | 10842042.4857 | 15016737.3973 | 16509633.8085 | 17599044.1945 | 18037751.9895 | 18488497.7346 | 7760412.4844 | 8076475.5569
| NPV (10 years) | 31214107.3083
| IRR (10 years) | 29.14%
| IRR (9 years) | 28.32%
| IRR (8 years) | 27.23%
| IRR (7 years) | 23.33%
| IRR (6 years) | 17.01%
| IRR (5 years) | 6.075%
Cash Flow for a price in US$/ton of: |  | 4
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 1857554.4 | 4544639.184 | 7349283.5393 | 7908853.2455 | 8565263.9628 | 8694979.1617 | 8824284.5366
Total | 0 | -23156968.5754 | -13300252.5106 | 9705882.6897 | 13179416.5124 | 14532420.4971 | 15457728.2038 | 15864007.1991 | 16282426.6005 | 7760412.4844 | 8076475.5569
| NPV (10 years) | 24140752.3102
| IRR (10 years) | 25.12%
Cash Flow for a price in US$/ton of: |  | 3
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 1393165.8 | 3408479.388 | 5511962.6545 | 5931639.9341 | 6423947.9721 | 6521234.3713 | 6618213.4024
Total | 0 | -23156968.5754 | -13764641.1106 | 8569722.8937 | 11342095.6276 | 12555207.1857 | 13316412.2131 | 13690262.4086 | 14076355.4664 | 7760412.4844 | 8076475.5569
| NPV (10 years) | 17067397.3122
| IRR (10 years) | 20.94%
Cash Flow for a price in US$/ton of: |  | 2
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 928777.2 | 2272319.592 | 3674641.7696 | 3954426.6227 | 4282631.9814 | 4347489.5809 | 4412142.2683
Total | 0 | -23156968.5754 | -14229029.7106 | 7433563.0977 | 9504774.7428 | 10577993.8744 | 11175096.2224 | 11516517.6182 | 11870284.3322 | 7760412.4844 | 8076475.5569
| NPV (10 years) | 9994042.3142
| IRR (10 years) | 16.56%
Cash Flow for a price in US$/ton of: |  | 1
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 464388.6 | 1136159.796 | 1837320.8848 | 1977213.3114 | 2141315.9907 | 2173744.7904 | 2206071.1341
Total | 0 | -23156968.5754 | -14693418.3106 | 6297403.3017 | 7667453.858 | 8600780.563 | 9033780.2317 | 9342772.8278 | 9664213.1981 | 7760412.4844 | 8076475.5569
| NPV (10 years) | 2920687.3162
| IRR (10 years) | 11.96%
Cash Flow for a price in US$/ton of: |  | 0
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1769480.7 | 4415743.814 | 7283659.5057 | 7994997.2932 | 8831728.858 | 9144789.0795 | 9466399.3726 | 9801460.8259 | 10150597.6217 | 10514464.3968
Carbon Credits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | -23156968.5754 | -15157806.9106 | 5161243.5057 | 5830132.9732 | 6623567.2516 | 6892464.241 | 7169028.0373 | 7458142.0639 | 7760412.4844 | 8076475.5569
| NPV (10 years) | -4152667.6818
| IRR (10 years) | 7.137%
| Price US$/Ton CO2e | Project IRR (10 years)
| 5 | 29.14%
| 4 | 25.12%
| 3 | 20.94%
| 2 | 16.56%
| 1 | 11.96%
| 0 | 7.137%
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for High Demand Growth Szenario
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for Medium Demand Growth Scenario

## IRR-low
0
Georgia: Energy Rehabilitation
Period | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Total Gas Flow Volumes [in bcm] | Annual Escalation Rate
2004 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1 | 2.029
2005 | 0.25 | 0.3 | 0.39 | 0.18 | 0.11 | 0.05 | 1.015 | 2.295 | 13.11%
2006 | 0.3 | 0.35 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0302 | 2.4882 | 8.419%
2007 | 0.35 | 0.4 | 0.46 | 0.2 | 0.14 | 0.07105 | 1.0457 | 2.6667 | 7.174%
2008 | 0.4 | 0.45 | 0.5 | 0.22 | 0.15 | 0.072116 | 1.0614 | 2.8535 | 7.003%
2009 | 0.45 | 0.5 | 0.55 | 0.242 | 0.16 | 0.073197 | 1.0773 | 3.0525 | 6.974%
2010 | 0.5 | 0.55 | 0.55825 | 0.248 | 0.1624 | 0.074295 | 1.0934 | 3.1864 | 4.387%
2011 | 0.55 | 0.55 | 0.56662 | 0.25 | 0.16484 | 0.07541 | 1.1098 | 3.2667 | 2.521%
2012 | 0.6 | 0.55 | 0.57512 | 0.25 | 0.16731 | 0.076541 | 1.1265 | 3.3455 | 2.411%
2013 | 0.65 | 0.55 | 0.58375 | 0.25 | 0.16982 | 0.077689 | 1.1434 | 3.4246 | 2.367%
2014 | 0.7 | 0.55 | 0.59251 | 0.25 | 0.17237 | 0.078854 | 1.1605 | 3.5043 | 2.325%
2015 | 0.75 | 0.55 | 0.60139 | 0.25 | 0.17495 | 0.080037 | 1.1779 | 3.5843 | 2.285%
2016 | 0.75 | 0.55 | 0.61041 | 0.25 | 0.17758 | 0.081238 | 1.1956 | 3.6148 | 0.8513%
2017 | 0.75 | 0.55 | 0.61957 | 0.25 | 0.18024 | 0.082456 | 1.2136 | 3.6458 | 0.8568%
2018 | 0.75 | 0.55 | 0.62886 | 0.25 | 0.18294 | 0.083693 | 1.2318 | 3.6773 | 0.8623%
2019 | 0.75 | 0.55 | 0.6383 | 0.25 | 0.18569 | 0.084949 | 1.2502 | 3.7092 | 0.8677%
2020 | 0.75 | 0.55 | 0.64787 | 0.25 | 0.18847 | 0.086223 | 1.269 | 3.7416 | 0.8732%
Calculation of Emission Reduction Volumes
Period | Total Gas Flow Volumes [in bcm] | Losses without Rehabilitation [in mcm] |  | Losses after Rehabilitation [in mcm] |  | Differences of Losses [in mcm] | Gas Price [in US$/mcm] escalation of 2% | Value of Saved Gas [in US$]
2004 | 2.029 | 5% | 101450 | 5% | 101450 | 0 | 65 | 0 | 2% | annual increase in gas price
2005 | 2.295 | 5% | 114750 | 5% | 114750 | 0 | 65 | 0
2006 | 2.4882 | 5% | 124411.25 | 4% | 99529 | 24882.25 | 66.3 | 1649693.175
2007 | 2.6667 | 5% | 133336.4187 | 3% | 80001.8512 | 53334.5675 | 67.626 | 3606803.4618
2008 | 2.8535 | 5% | 142673.965 | 2% | 57069.586 | 85604.379 | 68.9785 | 5904863.3702
2009 | 3.0525 | 5% | 152624.0745 | 2% | 61049.6298 | 91574.4447 | 70.3581 | 6443003.0588
2010 | 3.1864 | 5% | 159319.4356 | 2% | 63727.7742 | 95591.6614 | 71.7653 | 6860159.6875
2011 | 3.2667 | 5% | 163335.7272 | 2% | 65334.2909 | 98001.4363 | 73.2006 | 7173759.7483
2012 | 3.3455 | 5% | 167273.2631 | 2% | 66909.3052 | 100363.9578 | 74.6646 | 7493631.5947
2013 | 3.4246 | 5% | 171232.362 | 2% | 68492.9448 | 102739.4172 | 76.1579 | 7824414.128
2014 | 3.5043 | 5% | 175213.3474 | 2% | 70085.339 | 105128.0085 | 77.681 | 8166450.6086
2015 | 3.5843 | 5% | 179216.5477 | 2% | 71686.6191 | 107529.9286 | 79.2346 | 8520094.8909
2016 | 3.6148 | 5% | 180742.2959 | 2% | 72296.9183 | 108445.3775 | 80.8193 | 8764482.7578
2017 | 3.6458 | 5% | 182290.9303 | 2% | 72916.3721 | 109374.5582 | 82.4357 | 9016370.0868
2018 | 3.6773 | 5% | 183862.7943 | 2% | 73545.1177 | 110317.6766 | 84.0844 | 9275999.0603
2019 | 3.7092 | 5% | 185458.2362 | 2% | 74183.2945 | 111274.9417 | 85.7661 | 9543619.9587
2020 | 3.7416 | 5% | 187077.6097 | 2% | 74831.0439 | 112246.5658 | 87.4814 | 9819491.4374
Total | 54.0854 |  | 2704268.2576 |  | 1287859.0868 | 1416409.1708 |  | 110062837.0248
| 1 M3 | 17.4 | kgCO2e
1416409170.795 |  | 24645519571.8328 | kgCO2e
|  | 24645519.5718 | tonsCO2e
|  | 5 | $/ton
Carbon Credits
Period | Saved Volumes [in M3] | CO2 equivalent [in Tons] | Value of Reduced Emission [in US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$]
|  |  |  | 5 | 4 | 3 | 2 | 1 | 0
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 24882250 | 432951.15 | 2164755.75 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 53334567.5 | 928021.4745 | 4640107.3725 | 2164755.75 | 1731804.6 | 1298853.45 | 865902.3 | 432951.15 | 0
2008 | 85604379.0187 | 1489516.1949 | 7447580.9746 | 4640107.3725 | 3712085.898 | 2784064.4235 | 1856042.949 | 928021.4745 | 0
2009 | 91574444.704 | 1593395.3379 | 7966976.6893 | 7447580.9746 | 5958064.7797 | 4468548.5848 | 2979032.3899 | 1489516.1949 | 0
2010 | 95591661.3746 | 1663294.9079 | 8316474.5396 | 7966976.6893 | 6373581.3514 | 4780186.0136 | 3186790.6757 | 1593395.3379 | 0
2011 | 98001436.2952 | 1705224.9915 | 8526124.9577 | 8316474.5396 | 6653179.6317 | 4989884.7238 | 3326589.8158 | 1663294.9079 | 0
2012 | 100363957.8396 | 1746332.8664 | 8731664.332 | 8526124.9577 | 6820899.9661 | 5115674.9746 | 3410449.9831 | 1705224.9915 | 0
2013 | 102739417.2072 | 1787665.8594 |  | 8731664.332 | 6985331.4656 | 5238998.5992 | 3492665.7328 | 1746332.8664 | 0
Total | 652092113.9395 | 11346402.7825 | 47793684.6157 | 47793684.6157 | 38234947.6926 | 28676210.7694 | 19117473.8463 | 9558736.9231 | 0
Cash Flow for a price in US$/ton of: |  | 5
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 2164755.75 | 4640107.3725 | 7447580.9746 | 7966976.6893 | 8316474.5396 | 8526124.9577 | 8731664.332
Total | 0 | -23276756.1004 | -13801991.5129 | 8422554.7427 | 11725719.7134 | 12618974.7704 | 13237909.4494 | 13722385.2171 | 14212759.6981 | 5776265.4714 | 6082106.0509
| NPV (10 years) | 15544094.0113
| IRR (10 years) | 20.28%
| IRR (9 years) | 19.29%
| IRR (8 years) | 18.04%
| IRR (7 years) | 13.65%
| IRR (6 years) | 6.833%
| IRR (5 years) | -4.373%
Cash Flow for a price in US$/ton of: |  | 4
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 1731804.6 | 3712085.898 | 5958064.7797 | 6373581.3514 | 6653179.6317 | 6820899.9661 | 6985331.4656
Total | 0 | -23276756.1004 | -14234942.6629 | 7494533.2682 | 10236203.5185 | 11025579.4325 | 11574614.5415 | 12017160.2256 | 12466426.8317 | 5776265.4714 | 6082106.0509
| NPV (10 years) | 9853700.2979
| IRR (10 years) | 16.66%
Cash Flow for a price in US$/ton of: |  | 3
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 1298853.45 | 2784064.4235 | 4468548.5848 | 4780186.0136 | 4989884.7238 | 5115674.9746 | 5238998.5992
Total | 0 | -23276756.1004 | -14667893.8129 | 6566511.7937 | 8746687.3236 | 9432184.0947 | 9911319.6335 | 10311935.234 | 10720093.9652 | 5776265.4714 | 6082106.0509
| NPV (10 years) | 4163306.5845
| IRR (10 years) | 12.87%
Cash Flow for a price in US$/ton of: |  | 2
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 865902.3 | 1856042.949 | 2979032.3899 | 3186790.6757 | 3326589.8158 | 3410449.9831 | 3492665.7328
Total | 0 | -23276756.1004 | -15100844.9629 | 5638490.3192 | 7257171.1287 | 7838788.7568 | 8248024.7256 | 8606710.2425 | 8973761.0988 | 5776265.4714 | 6082106.0509
| NPV (10 years) | -1527087.1288
| IRR (10 years) | 8.921%
Cash Flow for a price in US$/ton of: |  | 1
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 432951.15 | 928021.4745 | 1489516.1949 | 1593395.3379 | 1663294.9079 | 1705224.9915 | 1746332.8664
Total | 0 | -23276756.1004 | -15533796.1129 | 4710468.8447 | 5767654.9337 | 6245393.419 | 6584729.8177 | 6901485.251 | 7227428.2324 | 5776265.4714 | 6082106.0509
| NPV (10 years) | -7217480.8422
| IRR (10 years) | 4.778%
Cash Flow for a price in US$/ton of: |  | 0
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372 | -2437988.84
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | -23276756.1004 | -15966747.2629 | 3782447.3702 | 4278138.7388 | 4651998.0811 | 4921434.9098 | 5196260.2594 | 5481095.366 | 5776265.4714 | 6082106.0509
| NPV (10 years) | -12907874.5556
| IRR (10 years) | 0.4321%
| IRR (9 years) | -2.829%
| IRR (8 years) | -7.164%
| IRR (7 years) | -13.08%
| IRR (6 years) | -21.43%
| IRR (5 years) | Doesn't exist
| Price US$/Ton CO2e | Project IRR (10 years)
| 5 | 20.28%
| 4 | 16.66%
| 3 | 12.87%
| 2 | 8.921%
| 1 | 4.778%
| 0 | 0.4321%
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that Carbon Funds are available until 2012 only
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for High Demand Growth Szenario
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for Low Demand Growth Scenario

## IRR-low (2)
0
Georgia: Energy Rehabilitation
Period | Chemical Plant | Power | Tbilgazi | Saktsementi | Itera | West Georgia | Transit Armenia | Total Gas Flow Volumes [in bcm] | Annual Escalation Rate
2004 | 0.21 | 0.248 | 0.356 | 0.115 | 0.1 | 0 | 1 | 2.029
2005 | 0.25 | 0.3 | 0.39 | 0.18 | 0.11 | 0.05 | 1.015 | 2.295 | 13.11%
2006 | 0.3 | 0.35 | 0.42 | 0.198 | 0.12 | 0.07 | 1.0302 | 2.4882 | 8.419%
2007 | 0.35 | 0.4 | 0.46 | 0.2 | 0.14 | 0.07105 | 1.0457 | 2.6667 | 7.174%
2008 | 0.4 | 0.45 | 0.5 | 0.22 | 0.15 | 0.072116 | 1.0614 | 2.8535 | 7.003%
2009 | 0.45 | 0.5 | 0.55 | 0.242 | 0.16 | 0.073197 | 1.0773 | 3.0525 | 6.974%
2010 | 0.5 | 0.55 | 0.55825 | 0.248 | 0.1624 | 0.074295 | 1.0934 | 3.1864 | 4.387%
2011 | 0.55 | 0.55 | 0.56662 | 0.25 | 0.16484 | 0.07541 | 1.1098 | 3.2667 | 2.521%
2012 | 0.6 | 0.55 | 0.57512 | 0.25 | 0.16731 | 0.076541 | 1.1265 | 3.3455 | 2.411%
2013 | 0.65 | 0.55 | 0.58375 | 0.25 | 0.16982 | 0.077689 | 1.1434 | 3.4246 | 2.367%
2014 | 0.7 | 0.55 | 0.59251 | 0.25 | 0.17237 | 0.078854 | 1.1605 | 3.5043 | 2.325%
2015 | 0.75 | 0.55 | 0.60139 | 0.25 | 0.17495 | 0.080037 | 1.1779 | 3.5843 | 2.285%
2016 | 0.75 | 0.55 | 0.61041 | 0.25 | 0.17758 | 0.081238 | 1.1956 | 3.6148 | 0.8513%
2017 | 0.75 | 0.55 | 0.61957 | 0.25 | 0.18024 | 0.082456 | 1.2136 | 3.6458 | 0.8568%
2018 | 0.75 | 0.55 | 0.62886 | 0.25 | 0.18294 | 0.083693 | 1.2318 | 3.6773 | 0.8623%
2019 | 0.75 | 0.55 | 0.6383 | 0.25 | 0.18569 | 0.084949 | 1.2502 | 3.7092 | 0.8677%
2020 | 0.75 | 0.55 | 0.64787 | 0.25 | 0.18847 | 0.086223 | 1.269 | 3.7416 | 0.8732%
Calculation of Emission Reduction Volumes
Period | Total Gas Flow Volumes [in bcm] | Losses without Rehabilitation [in mcm] |  | Losses after Rehabilitation [in mcm] |  | Differences of Losses [in mcm] | Gas Price [in US$/mcm] escalation of 2% | Value of Saved Gas [in US$] | M&E CO2e Metric
2004 | 2.029 | 5% | 101450 | 5% | 101450 | 0 | 65 | 0 | % Diff in Losses | Losses Saved | CO2e Expected
2005 | 2.295 | 5% | 114750 | 5% | 114750 | 0 | 65 | 0 |  | m3/yr | tonsCO2e/yr
2006 | 2.4882 | 5% | 124411.25 | 4% | 99529 | 24882.25 | 66.3 | 1649693.175 | 0.75% | 18661687.5 | 324713.3625
2007 | 2.6667 | 5% | 133336.4187 | 3% | 80001.8512 | 53334.5675 | 67.626 | 3606803.4618 | 1.5% | 40000925.625 | 696016.1059
2008 | 2.8535 | 5% | 142673.965 | 2% | 57069.586 | 85604.379 | 68.9785 | 5904863.3702 | 2.25% | 64203284.2641 | 1117137.1462
2009 | 3.0525 | 5% | 152624.0745 | 2% | 61049.6298 | 91574.4447 | 70.3581 | 6443003.0588 | 2.25% | 68680833.528 | 1195046.5034
2010 | 3.1864 | 5% | 159319.4356 | 2% | 63727.7742 | 95591.6614 | 71.7653 | 6860159.6875 | 2.25% | 71693746.0309 | 1247471.1809
2011 | 3.2667 | 5% | 163335.7272 | 2% | 65334.2909 | 98001.4363 | 73.2006 | 7173759.7483 | 2.25% | 73501077.2214 | 1278918.7437
2012 | 3.3455 | 5% | 167273.2631 | 2% | 66909.3052 | 100363.9578 | 74.6646 | 7493631.5947 | 2.25% | 75272968.3797 | 1309749.6498
2013 | 3.4246 | 5% | 171232.362 | 2% | 68492.9448 | 102739.4172 | 76.1579 | 7824414.128 | 2.25% | 77054562.9054 | 1340749.3946
2014 | 3.5043 | 5% | 175213.3474 | 2% | 70085.339 | 105128.0085 | 77.681 | 8166450.6086 | 2.25% | 78846006.349 | 1371920.5105
2015 | 3.5843 | 5% | 179216.5477 | 2% | 71686.6191 | 107529.9286 | 79.2346 | 8520094.8909 | 2.25% | 80647446.4442 | 1403265.5681
2016 | 3.6148 | 5% | 180742.2959 | 2% | 72296.9183 | 108445.3775 | 80.8193 | 8764482.7578 | 2.25% | 81334033.1409 | 1415212.1767
2017 | 3.6458 | 5% | 182290.9303 | 2% | 72916.3721 | 109374.5582 | 82.4357 | 9016370.0868 | 2.25% | 82030918.638 | 1427337.9843
2018 | 3.6773 | 5% | 183862.7943 | 2% | 73545.1177 | 110317.6766 | 84.0844 | 9275999.0603 | 2.25% | 82738257.4176 | 1439645.6791
2019 | 3.7092 | 5% | 185458.2362 | 2% | 74183.2945 | 111274.9417 | 85.7661 | 9543619.9587 | 2.25% | 83456206.2789 | 1452137.9893
2020 | 3.7416 | 5% | 187077.6097 | 2% | 74831.0439 | 112246.5658 | 87.4814 | 9819491.4374 | 2.25% | 84184924.373 | 1464817.6841
Total | 54.0854 |  | 2704268.2576 |  | 1287859.0868 | 1416409.1708 |  | 110062837.0248
| 1 M3 | 17.4 | kgCO2e
1416409170.795 |  | 24645519571.8328 | kgCO2e
|  | 24645519.5718 | tonsCO2e
|  | 5 | $/ton
Carbon Credits
Period | Saved Volumes [in M3] | CO2 equivalent [in Tons] | Value of Reduced Emission [in US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$] | Actual Payment for C. Credits [US$]
|  |  |  | 5 | 4 | 3 | 2 | 1 | 0
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 24882250 | 432951.15 | 2164755.75 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 53334567.5 | 928021.4745 | 4640107.3725 | 2164755.75 | 1731804.6 | 1298853.45 | 865902.3 | 432951.15 | 0
2008 | 85604379.0187 | 1489516.1949 | 7447580.9746 | 4640107.3725 | 3712085.898 | 2784064.4235 | 1856042.949 | 928021.4745 | 0
2009 | 91574444.704 | 1593395.3379 | 7966976.6893 | 7447580.9746 | 5958064.7797 | 4468548.5848 | 2979032.3899 | 1489516.1949 | 0
2010 | 95591661.3746 | 1663294.9079 | 8316474.5396 | 7966976.6893 | 6373581.3514 | 4780186.0136 | 3186790.6757 | 1593395.3379 | 0
2011 | 98001436.2952 | 1705224.9915 | 8526124.9577 | 8316474.5396 | 6653179.6317 | 4989884.7238 | 3326589.8158 | 1663294.9079 | 0
2012 | 100363957.8396 | 1746332.8664 | 8731664.332 | 8526124.9577 | 6820899.9661 | 5115674.9746 | 3410449.9831 | 1705224.9915 | 0
2013 | 102739417.2072 | 1787665.8594 |  | 8731664.332 | 6985331.4656 | 5238998.5992 | 3492665.7328 | 1746332.8664 | 0
Total | 652092113.9395 | 11346402.7825 | 47793684.6157 | 47793684.6157 | 38234947.6926 | 28676210.7694 | 19117473.8463 | 9558736.9231 | 0
Cash Flow for a price in US$/ton of: |  | 5
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 2164755.75 | 4640107.3725 | 7447580.9746 | 7966976.6893 | 8316474.5396 | 8526124.9577 | 8731664.332
Total | 0 | -23276756.1004 | -13801991.5129 | 12667386.7427 | 11768168.0334 | 12662272.0568 | 13282072.6815 | 13767431.7139 | 14258707.1248 | 5823131.8466 | 6129909.7536
| NPV (10 years) | 18896962.1996
| IRR (10 years) | 22.85%
| IRR (9 years) | 21.94%
| IRR (8 years) | 20.79%
| IRR (7 years) | 16.72%
| IRR (6 years) | 10.38%
| IRR (5 years) | 0.01958%
Cash Flow for a price in US$/ton of: |  | 4
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 1731804.6 | 3712085.898 | 5958064.7797 | 6373581.3514 | 6653179.6317 | 6820899.9661 | 6985331.4656
Total | 0 | -23276756.1004 | -14234942.6629 | 11739365.2682 | 10278651.8385 | 11068876.7189 | 11618777.7736 | 12062206.7224 | 12512374.2584 | 5823131.8466 | 6129909.7536
| NPV (10 years) | 13206568.4862
| IRR (10 years) | 19.18%
Cash Flow for a price in US$/ton of: |  | 3
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 1298853.45 | 2784064.4235 | 4468548.5848 | 4780186.0136 | 4989884.7238 | 5115674.9746 | 5238998.5992
Total | 0 | -23276756.1004 | -14667893.8129 | 10811343.7937 | 8789135.6436 | 9475481.3811 | 9955482.8657 | 10356981.7308 | 10766041.392 | 5823131.8466 | 6129909.7536
| NPV (10 years) | 7516174.7729
| IRR (10 years) | 15.35%
Cash Flow for a price in US$/ton of: |  | 2
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 865902.3 | 1856042.949 | 2979032.3899 | 3186790.6757 | 3326589.8158 | 3410449.9831 | 3492665.7328
Total | 0 | -23276756.1004 | -15100844.9629 | 9883322.3192 | 7299619.4487 | 7882086.0432 | 8292187.9578 | 8651756.7393 | 9019708.5255 | 5823131.8466 | 6129909.7536
| NPV (10 years) | 1825781.0595
| IRR (10 years) | 11.33%
Cash Flow for a price in US$/ton of: |  | 1
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 432951.15 | 928021.4745 | 1489516.1949 | 1593395.3379 | 1663294.9079 | 1705224.9915 | 1746332.8664
Total | 0 | -23276756.1004 | -15533796.1129 | 8955300.8447 | 5810103.2537 | 6288690.7054 | 6628893.0498 | 6946531.7477 | 7273375.6591 | 5823131.8466 | 6129909.7536
| NPV (10 years) | -3864612.6539
| IRR (10 years) | 7.108%
Cash Flow for a price in US$/ton of: |  | 0
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Investment | 0 | -24926449.2754 | -19573550.7246 | 2122416 | -2122416 | -2164864.32 | -2208161.6064 | -2252324.8385 | -2297371.3353 | -2343318.762 | -2390185.1372
Gas Savings | 0 | 1649693.175 | 3606803.4618 | 5904863.3702 | 6443003.0588 | 6860159.6875 | 7173759.7483 | 7493631.5947 | 7824414.128 | 8166450.6086 | 8520094.8909
Carbon Credits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | -23276756.1004 | -15966747.2629 | 8027279.3702 | 4320587.0588 | 4695295.3675 | 4965598.1419 | 5241306.7562 | 5527042.7927 | 5823131.8466 | 6129909.7536
| NPV (10 years) | -9555006.3673
| IRR (10 years) | 2.659%
| IRR (9 years) | -0.3661%
| IRR (8 years) | -4.383%
| IRR (7 years) | -9.85%
| IRR (6 years) | -17.51%
| IRR (5 years) | Doesn't exist
| Price US$/Ton CO2e | Project IRR (10 years)
| 5 | 22.85%
| 4 | 19.18%
| 3 | 15.35%
| 2 | 11.33%
| 1 | 7.108%
| 0 | 2.659%
Note on K25: saigerjs: assumes no increase in losses unlike column F;
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that Carbon Funds are available until 2012 only
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2005 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2014 are GGIC Funds for continued Rehabilitation in the Pipeline network.
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for High Demand Growth Szenario
Please note that: Carbon Funds will be disbursed in a 12 month delay i.e. emmission reductions in 2006 will be paid in 2007 Carbon Funds are available until 2012 only, however emmission reductions in 2012 will be paid in 2013
Please note: Investment in the years from 2006 to 2007 are MCC Funds for Rehabilitaion of the North-South Pipeline Investment in the years from 2008 to 2015 and further are GGIC Funds for continued Rehabilitation in the Pipeline network.
Carbon Credits and Cash Flow of Project for Low Demand Growth Scenario

## IRR-sensitivities
0
Georgia: Energy Rehabilitation
Demand Scenario | High Growth | Medium Growth | Low Growth
IRR (10 years) | 49.86% | 29.14% | 20.28%
IRR (9 years) | 49.32% | 28.32% | 19.29%
IRR (8 years) | 48.5% | 27.23% | 18.04%
IRR (7 years) | 45.75% | 23.33% | 13.65%
IRR (6 years) | 41.01% | 17.01% | 6.833%
IRR (5 years) | 32.38% | 6.075% | -4.373%
Price US$/Ton CO2e | High Growth Project IRR (10 years) | Medium Growth Project IRR (10 years) | Low Growth Project IRR (10 years)
5 | 49.86% | 29.14% | 20.28%
4 | 36.89% | 25.12% | 16.66%
3 | 31.88% | 20.94% | 12.87%
2 | 26.66% | 16.56% | 8.921%
1 | 21.19% | 11.96% | 4.778%
0 | 15.47% | 7.137% | 0.4321%
Demand Scenario | Low Growth
IRR (10 years) | 0.4321%
IRR (9 years) | -2.829%
IRR (8 years) | -7.164%
IRR (7 years) | -13.08%
IRR (6 years) | -21.43%
IRR (5 years) | Doesn't exist

## Financial Impact
Georgia: Energy Rehabilitation
0
Year | Current Demand Growth | High Demand Growth | Medium Demand Growth | Low Demand Growth
2004 | 6.5942 | 6.5942 | 6.5942 | 6.5942
2005 | 7.4588 | 8.4825 | 7.8325 | 7.4588
2006 | 8.2485 | 10.4505 | 8.8474 | 8.2485
2007 | 8.8141 | 15.4631 | 11.0394 | 9.017
2008 | 9.8414 | 16.4261 | 12.1394 | 9.8414
2009 | 10.7383 | 17.3514 | 13.325 | 10.7383
2010 | 11.4336 | 18.116 | 14.7195 | 11.4336
2011 | 11.9563 | 18.8829 | 15.2413 | 11.9563
2012 | 12.4894 | 19.686 | 15.7773 | 12.4894
2013 | 13.0407 | 20.5353 | 16.3358 | 13.0407
2014 | 13.6108 | 21.434 | 16.9177 | 13.6108
2015 | 14.2002 | 22.3854 | 17.5241 | 14.2002
2016 | 14.6075 | 23.3928 | 18.1562 | 14.6075
2017 | 15.0273 | 24.4602 | 18.8153 | 15.0273
2018 | 15.46 | 25.5915 | 19.5025 | 15.46
2019 | 15.906 | 26.7909 | 20.2191 | 15.906
2020 | 16.3658 | 28.0632 | 20.9666 | 16.3658