## Table
Table B-49. Water levels and computed instantaneous discharges for station 09415940 Apcar Stream at Pipeline Jones Flume near Moapa, Nevada, 1967-2005
Note.--Water levels in flume provided by Nevada Division of Water Resources; Discharges computed using standard
rating for 9-inch Parshall flume (Q=3.07H1.53); and 2-ft/3-ft Parshall flume (Q=4WH1.522W.026): ft3/s: cubic feet per
second.
Flume
Throat |  | Water
Size |  | Level | Discharge |  | Seepage Run
(inches or feet) | Date | (feet) | (ft3/s) | Remarks | Date | CFS
9 inches | 1967-10-11 | 0.7 | 1.7788 |  | 2001-02-07 | 2.54
9 inches | 1967-12-14 | 0.6 | 1.4051
9 inches | 1968-01-11 | 0.6 | 1.4051
9 inches | 1968-02-13 | 0.55 | 1.23
9 inches | 1968-03-12 | 0.51 | 1.0958
9 inches | 1968-04-10 | 0.48 | 0.99871
9 inches | 1968-05-10 | 0.7 | 1.7788
9 inches | 1968-06-11 | 0.68 | 1.7017
9 inches | 1968-07-23 | 0.64 | 1.5509
9 inches | 1968-08-13 | 0.64 | 1.5509
9 inches | 1968-09-16 | 0.64 | 1.5509
9 inches | 1968-10-10 | 0.64 | 1.5509
9 inches | 1968-11-13 | 0.69 | 1.7401
9 inches | 1968-12-13 | 0.68 | 1.7017
9 inches | 1969-01-09 | 0.68 | 1.7017
9 inches | 1969-02-12 | 0.64 | 1.5509
9 inches | 1969-03-11 | 0.64 | 1.5509
9 inches | 1969-04-10 | 0.6 | 1.4051
9 inches | 1969-05-13 | 0.62 | 1.4774
2 | 1974-02-22 | 0.32 | 1.3685 | New flume installed--2-ft throat
2 | 1974-03-06 | 0.32 | 1.3685
2 | 1974-03-20 | 0.3 | 1.2382
2 | 1974-04-03 | 0.32 | 1.3685
2 | 1974-04-18 | 0.31 | 1.3028
2 | 1974-05-01 | 0.31 | 1.3028
2 | 1974-05-15 | 0.32 | 1.3685
2 | 1974-06-05 | 0.31 | 1.3028
2 | 1974-06-19 | 0.34 | 1.5033
2 | 1974-07-03 | 0.32 | 1.3685
2 | 1974-07-17 | 0.31 | 1.3028
2 | 1974-08-07 | 0.32 | 1.3685
2 | 1974-08-21 | 0.31 | 1.3028
2 | 1974-09-04 | 0.32 | 1.3685
2 | 1974-09-18 | 0.32 | 1.3685
2 | 1974-10-02 | 0.42 | 2.0857
2 | 1974-10-23 | 0.38 | 1.786
2 | 1974-11-06 | 0.41 | 2.0092
2 | 1974-11-20 | 0.48 | 2.5652
2 | 1974-12-01 | 0.5 | 2.7327
2 | 1974-12-18 | 0.48 | 2.5652
2 | 1975-01-08 | 0.43 | 2.1631
2 | 1975-01-22 | 0.48 | 2.5652
2 | 1975-02-04 | 0.5 | 2.7327
2 | 1975-02-18 | 0.49 | 2.6485
2 | 1975-03-05 | 0.44 | 2.2416
2 | 1975-03-19 | 0.36 | 1.6425
2 | 1975-04-16 | 0.34 | 1.5033
2 | 1975-05-07 | 0.32 | 1.3685
2 | 1975-05-21 | 0.32 | 1.3685
2 | 1975-06-04 | 0.32 | 1.3685
2 | 1975-06-18 | 0.32 | 1.3685
2 | 1975-07-09 | 0.32 | 1.3685
2 | 1975-07-23 | 0.31 | 1.3028
2 | 1975-08-07 | 0.32 | 1.3685
2 | 1975-09-03 | 0.32 | 1.3685
2 | 1975-10-07 | 0.33 | 1.4353
2 | 1975-11-05 | 0.32 | 1.3685
2 | 1975-12-03 | 0.32 | 1.3685
2 | 1976-01-07 | 0.42 | 2.0857
2 | 1976-02-05 | 0.44 | 2.2416
2 | 1976-03-03 | 0.48 | 2.5652
2 | 1976-04-07 | 0.44 | 2.2416
2 | 1976-05-05 | 0.36 | 1.6425
2 | 1976-06-02 | 0.34 | 1.5033
2 | 1976-07-07 | 0.38 | 1.786
2 | 1976-08-02 | 0.32 | 1.3685
2 | 1976-09-01 | 0.31 | 1.3028
2 | 1976-10-06 | 0.33 | 1.4353
2 | 1976-11-09 | 0.34 | 1.5033
2 | 1976-12-09 | 0.38 | 1.786
2 | 1977-01-05 | 0.44 | 2.2416
2 | 1977-02-03 | 0.48 | 2.5652
2 | 1977-03-02 | 0.4 | 1.9338
2 | 1977-04-06 | 0.36 | 1.6425
2 | 1977-05-04 | 0.34 | 1.5033
2 | 1977-06-02 | 0.34 | 1.5033
2 | 1977-07-06 | 0.33 | 1.4353
2 | 1977-08-03 | 0.31 | 1.3028
2 | 1977-09-07 | 0.31 | 1.3028
2 | 1977-10-05 | 0.32 | 1.3685
2 | 1977-11-02 | 0.36 | 1.6425
2 | 1977-11-22 | 0.48 | 2.5652
2 | 1977-12-07 | 0.49 | 2.6485
2 | 1978-01-04 | 0.5 | 2.7327
2 | 1978-02-01 | 0.5 | 2.7327
2 | 1978-03-15 | 0.5 | 2.7327
2 | 1978-04-05 | 0.34 | 1.5033
2 | 1978-05-03 | 0.32 | 1.3685
2 | 1978-06-07 | 0.3 | 1.2382
2 | 1978-07-06 | 0.28 | 1.1127
2 | 1978-08-02 | 0.23 | 0.8203
2 | 1978-09-06 | 0.34 | 1.5033
2 | 1978-10-04 | 0.31 | 1.3028
2 | 1978-11-08 | 0.44 | 2.2416
2 | 1978-12-06 | 0.48 | 2.5652
2 | 1979-01-03 | 0.4 | 1.9338
2 | 1979-02-07 | 0.5 | 2.7327
2 | 1979-03-14 | 0.3 | 1.2382
2 | 1979-04-04 | 0.28 | 1.1127
2 | 1979-05-02 | 0.37 | 1.7137
2 | 1979-06-06 | 0.45 | 2.321
2 | 1979-07-11 | 0.28 | 1.1127
2 | 1979-08-09 | 0.5 | 2.7327
2 | 1979-09-11 | 0.4 | 1.9338
2 | 1979-10-03 | 0.41 | 2.0092
2 | 1979-11-07 | 0.32 | 1.3685
2 | 1979-12-05 | 0.33 | 1.4353
2 | 1980-01-02 | 0.46 | 2.4014
2 | 1980-02-13 | 0.45 | 2.321
2 | 1980-02-28 | 0.44 | 2.2416
2 | 1980-03-05 | 0.44 | 2.2416
2 | 1980-04-02 | 0.32 | 1.3685
2 | 1980-05-07 | 0.44 | 2.2416
2 | 1980-06-11 | 0.4 | 1.9338
2 | 1980-07-10 | 0.3 | 1.2382
2 | 1980-09-03 | 0.42 | 2.0857
2 | 1980-10-09 | 0.32 | 1.3685
2 | 1980-11-12 | 0.36 | 1.6425
2 | 1980-12-03 | 0.46 | 2.4014
2 | 1981-01-07 | 0.45 | 2.321
2 | 1981-01-16 | 0.46 | 2.4014
2 | 1981-02-04 | 0.36 | 1.6425
2 | 1981-03-04 | 0.43 | 2.1631
2 | 1981-04-08 | 0.36 | 1.6425
2 | 1981-05-06 | 0.32 | 1.3685
2 | 1981-05-12 | 0.29 | 1.1748
2 | 1981-05-20 | 0.4 | 1.9338
2 | 1981-05-22 | 0.36 | 1.6425
2 | 1981-06-03 | 0.28 | 1.1127
2 | 1981-06-10 | 0.26 | 0.99194
2 | 1981-06-17 | 0.37 | 1.7137
2 | 1981-06-19 | 0.34 | 1.5033
2 | 1981-06-24 | 0.32 | 1.3685
2 | 1981-07-01 | 0.24 | 0.87623
2 | 1981-07-08 | 0.2 | 0.66056
2 | 1981-09-08 | 0.27 | 1.0517
2 | 1981-10-09 | 0.37 | 1.7137
2 | 1981-11-04 | 0.4 | 1.9338
2 | 1981-12-02 | 0.41 | 2.0092
2 | 1982-01-14 | 0.42 | 2.0857
2 | 1982-02-03 | 0.43 | 2.1631
2 | 1982-03-03 | 0.42 | 2.0857
2 | 1982-04-07 | 0.4 | 1.9338
2 | 1982-05-05 | 0.36 | 1.6425
2 | 1982-06-02 | 0.36 | 1.6425
2 | 1982-07-07 | 0.42 | 2.0857
2 | 1982-08-18 | 0.35 | 1.5723
2 | 1982-09-09 | 0.43 | 2.1631
2 | 1982-10-06 | 0.42 | 2.0857
2 | 1982-11-03 | 0.35 | 1.5723
2 | 1982-12-16 | 0.56 | 3.2573
2 | 1983-01-09 | 0.64 | 4.0062
2 | 1983-02-10 | 0.64 | 4.0062
2 | 1983-03-09 | 0.54 | 3.0788
2 | 1983-05-04 | 0.42 | 2.0857
2 | 1983-06-15 | 0.53 | 2.9909
2 | 1983-08-03 | 0.36 | 1.6425
2 | 1983-09-14 | 0.34 | 1.5033
2 | 1983-12-07 | 0.72 | 4.8084
2 | 1984-02-09 | 0.59 | 3.5317
2 | 1984-03-08 | 0.72 | 4.8084
2 | 1984-04-11 | 0.76 | 5.2286
2 | 1984-05-17 | 0.33 | 1.4353
2 | 1984-06-13 | 0.57 | 3.3479
2 | 1984-08-08 | 0.53 | 2.9909
2 | 1984-09-13 | 0.62 | 3.8139
2 | 1984-10-25 | 0.42 | 2.0857
2 | 1984-11-28 | 0.8 | 5.6612
2 | 1985-01-16 | 0.82 | 5.8821
2 | 1985-02-07 | 0.93 | 7.1491
| 1993-07-13 |  |  | New flume installed--3-ft throat
3 | 1993-07-28 | 0.46 | 3.5565
3 | 1993-09-16 | 0.45 | 3.4362
3 | 1993-10-20 | 0.48 | 3.8017
3 | 1993-11-17 | 0.48 | 3.8017
3 | 1993-12-16 | 0.43 | 3.2
3 | 1994-01-27 | 0.56 | 4.8397
3 | 1994-02-17 | 0.42 | 3.0843
3 | 1994-03-17 | 0.53 | 4.4399
3 | 1994-04-14 | 0.37 | 2.529
3 | 1994-05-26 | 0.44 | 3.3174
3 | 1994-06-21 | 0.32 | 2.0146
3 | 1994-07-26 | 0.4 | 2.8574
3 | 1994-08-22 | 0.39 | 2.7463
3 | 1994-09-20 | 0.46 | 3.5565
3 | 1994-10-25 | 0.45 | 3.4362
3 | 1994-11-15 | 0.51 | 4.1803
3 | 1994-12-22 | 0.5 | 4.0526
3 | 1995-02-15 | 0.66 | 6.2599
3 | 1995-03-21 | 0.82 | 8.7944
3 | 1995-04-27 | 0.58 | 5.1131
3 | 1995-05-23 | 0.67 | 6.4091
3 | 1995-06-27 | 0.64 | 5.9654
3 | 1995-07-25 | 0.72 | 7.1738
3 | 1995-09-26 | 0.69 | 6.7112
3 | 1995-11-14 | 0.69 | 6.7112
3 | 1996-01-23 | 0.53 | 4.4399
3 | 1996-02-27 | 0.57 | 4.9757
3 | 1996-08-27 | 0.5 | 4.0526
3 | 1996-11-19 | 0.56 | 4.8397
3 | 1997-01-07 | 0.72 | 7.1738
3 | 1997-03-04 | 0.84 | 9.1326
3 | 1997-04-17 | 0.86 | 9.4754
3 | 1997-07-02 | 1.03 | 12.5686
3 | 1998-05-05 | 0.47 | 3.6784
3 | 1998-06-11 | 0.45 | 3.4362
3 | 1998-07-10 | 0.44 | 3.3174
3 | 1998-08-17 | 0.34 | 2.2153
3 | 1998-09-14 | 0.34 | 2.2153
3 | 1998-10-15 | 0.34 | 2.2153
3 | 1998-11-12 | 0.43 | 3.2
3 | 1998-12-16 | 0.34 | 2.2153
3 | 1999-01-14 | 0.45 | 3.4362
3 | 1999-02-18 | 0.41 | 2.97
3 | 1999-03-12 | 0.33 | 2.1141
3 | 1999-04-15 | 0.36 | 2.4227
3 | 1999-05-14 | 0.45 | 3.4362
3 | 1999-06-17 | 0.33 | 2.1141
3 | 1999-07-16 | 0.42 | 3.0843
3 | 1999-08-18 | 0.35 | 2.3182
3 | 1999-09-16 | 0.39 | 2.7463
3 | 1999-10-27 | 0.8 | 8.4608
3 | 1999-11-19 | 1.21 | 16.1745
3 | 1999-12-17 | 0.44 | 3.3174
3 | 2000-01-14 | 0.44 | 3.3174
3 | 2000-02-28 | 0.4 | 2.8574
3 | 2000-03-23 | 0.39 | 2.7463
3 | 2000-04-18 | 0.42 | 3.0843
3 | 2000-05-15 | 0.41 | 2.97
3 | 2000-07-21 | 0.46 | 3.5565
3 | 2000-08-18 | 0.37 | 2.529
3 | 2000-09-14 | 0.39 | 2.7463
3 | 2000-10-19 | 0.4 | 2.8574
3 | 2000-11-17 | 1.2 | 15.9657
3 | 2000-12-07 | 0.46 | 3.5565
3 | 2001-01-18 | 0.45 | 3.4362
3 | 2001-02-23 | 0.47 | 3.6784
3 | 2001-03-23 | 0.5 | 4.0526
3 | 2001-04-26 | 0.5 | 4.0526
3 | 2001-05-17 | 0.58 | 5.1131
3 | 2001-06-18 | 0.69 | 6.7112
3 | 2001-07-16 | 0.8 | 8.4608
3 | 2001-08-22 | 0.83 | 8.9629
3 | 2001-09-17 | 0.78 | 8.1319
3 | 2001-10-19 | 0.74 | 7.4883
3 | 2001-11-16 | 0.66 | 6.2599
3 | 2001-12-14 | 0.49 | 3.9264
3 | 2002-01-18 | 0.45 | 3.4362
3 | 2002-02-15 | 0.46 | 3.5565
3 | 2002-03-12 | 0.46 | 3.5565
3 | 2002-04-25 | 0.4 | 2.8574
3 | 2002-05-17 | 0.39 | 2.7463
3 | 2002-06-26 | 0.44 | 3.3174
3 | 2002-07-22 | 0.59 | 5.2519
3 | 2002-08-14 | 0.55 | 4.705
3 | 2002-09-27 | 0.57 | 4.9757
3 | 2002-10-28 | 0.67 | 6.4091
3 | 2002-11-14 | 0.55 | 4.705
3 | 2002-12-30 | 0.47 | 3.6784
3 | 2003-01-24 | 0.42 | 3.0843
3 | 2003-02-21 | 0.43 | 3.2
3 | 2003-03-21 | 0.47 | 3.6784
3 | 2003-04-16 | 0.46 | 3.5565
3 | 2003-05-15 | 0.55 | 4.705
3 | 2003-06-23 | 0.57 | 4.9757
3 | 2003-07-30 | 0.66 | 6.2599
3 | 2003-08-25 | 0.63 | 5.8201
3 | 2003-09-17 | 0.56 | 4.8397
3 | 2003-10-30 | 0.52 | 4.3094
3 | 2003-11-26 | 0.57 | 4.9757
3 | 2003-12-16 | 0.56 | 4.8397
3 | 2004-01-22 | 0.5 | 4.0526
3 | 2004-02-19 | 0.43 | 3.2
3 | 2004-03-24 | 0.52 | 4.3094
3 | 2004-04-26 | 0.48 | 3.8017
3 | 2004-05-20 | 0.59 | 5.2519
3 | 2004-06-18 | 0.65 | 6.112
3 | 2004-07-16 | 0.66 | 6.2599
3 | 2004-08-20 | 0.69 | 6.7112
3 | 2004-09-22 | 0.64 | 5.9654
3 | 2004-10-18 | 0.63 | 5.8201
3 | 2004-11-19 | 0.63 | 5.8201
3 | 2004-12-15 | 0.63 | 5.8201
3 | 2005-01-24 | 0.57 | 4.9757
3 | 2005-02-25 | 0.64 | 5.9654

## Table B49
Table B-49. Water levels and computed instantaneous discharges for station 09415940 Apcar Stream at Pipeline Jones Flume near Moapa, Nevada, 1967-2005
Note.--Water levels in flume provided by Nevada Division of Water Resources; Discharges computed using standard
rating for 9-inch Parshall flume (Q=3.07H1.53); and 2-ft/3-ft Parshall flume (Q=4WH1.522W.026): ft3/s: cubic feet per
second.
Flume |  |  | Water
Throat |  |  | Level | Discharge
Size |  | Date | (feet) | (ft3/s) | Remarks
9 | inches | 1967-10-11 | 0.7 | 1.7788
9 | inches | 1967-12-14 | 0.6 | 1.4051
9 | inches | 1968-01-11 | 0.6 | 1.4051
9 | inches | 1968-02-13 | 0.55 | 1.23
9 | inches | 1968-03-12 | 0.51 | 1.0958
9 | inches | 1968-04-10 | 0.48 | 0.99871
9 | inches | 1968-05-10 | 0.7 | 1.7788
9 | inches | 1968-06-11 | 0.68 | 1.7017
9 | inches | 1968-07-23 | 0.64 | 1.5509
9 | inches | 1968-08-13 | 0.64 | 1.5509
9 | inches | 1968-09-16 | 0.64 | 1.5509
9 | inches | 1968-10-10 | 0.64 | 1.5509
9 | inches | 1968-11-13 | 0.69 | 1.7401
9 | inches | 1968-12-13 | 0.68 | 1.7017
9 | inches | 1969-01-09 | 0.68 | 1.7017
9 | inches | 1969-02-12 | 0.64 | 1.5509
9 | inches | 1969-03-11 | 0.64 | 1.5509
9 | inches | 1969-04-10 | 0.6 | 1.4051
9 | inches | 1969-05-13 | 0.62 | 1.4774
2 | feet | 1974-02-22 | 0.32 | 1.3685 | New flume installed--2-ft throat
2 | feet | 1974-03-06 | 0.32 | 1.3685
2 | feet | 1974-03-20 | 0.3 | 1.2382
2 | feet | 1974-04-03 | 0.32 | 1.3685
2 | feet | 1974-04-18 | 0.31 | 1.3028
2 | feet | 1974-05-01 | 0.31 | 1.3028
2 | feet | 1974-05-15 | 0.32 | 1.3685
2 | feet | 1974-06-05 | 0.31 | 1.3028
2 | feet | 1974-06-19 | 0.34 | 1.5033
2 | feet | 1974-07-03 | 0.32 | 1.3685
2 | feet | 1974-07-17 | 0.31 | 1.3028
2 | feet | 1974-08-07 | 0.32 | 1.3685
2 | feet | 1974-08-21 | 0.31 | 1.3028
2 | feet | 1974-09-04 | 0.32 | 1.3685
2 | feet | 1974-09-18 | 0.32 | 1.3685
2 | feet | 1974-10-02 | 0.42 | 2.0857
2 | feet | 1974-10-23 | 0.38 | 1.786
2 | feet | 1974-11-06 | 0.41 | 2.0092
2 | feet | 1974-11-20 | 0.48 | 2.5652
2 | feet | 1974-12-01 | 0.5 | 2.7327
2 | feet | 1974-12-18 | 0.48 | 2.5652
2 | feet | 1975-01-08 | 0.43 | 2.1631
2 | feet | 1975-01-22 | 0.48 | 2.5652
2 | feet | 1975-02-04 | 0.5 | 2.7327
2 | feet | 1975-02-18 | 0.49 | 2.6485
2 | feet | 1975-03-05 | 0.44 | 2.2416
2 | feet | 1975-03-19 | 0.36 | 1.6425
2 | feet | 1975-04-16 | 0.34 | 1.5033
2 | feet | 1975-05-07 | 0.32 | 1.3685
2 | feet | 1975-05-21 | 0.32 | 1.3685
2 | feet | 1975-06-04 | 0.32 | 1.3685
2 | feet | 1975-06-18 | 0.32 | 1.3685
2 | feet | 1975-07-09 | 0.32 | 1.3685
2 | feet | 1975-07-23 | 0.31 | 1.3028
2 | feet | 1975-08-07 | 0.32 | 1.3685
2 | feet | 1975-09-03 | 0.32 | 1.3685
2 | feet | 1975-10-07 | 0.33 | 1.4353
2 | feet | 1975-11-05 | 0.32 | 1.3685
2 | feet | 1975-12-03 | 0.32 | 1.3685
2 | feet | 1976-01-07 | 0.42 | 2.0857
2 | feet | 1976-02-05 | 0.44 | 2.2416
2 | feet | 1976-03-03 | 0.48 | 2.5652
2 | feet | 1976-04-07 | 0.44 | 2.2416
2 | feet | 1976-05-05 | 0.36 | 1.6425
2 | feet | 1976-06-02 | 0.34 | 1.5033
2 | feet | 1976-07-07 | 0.38 | 1.786
2 | feet | 1976-08-02 | 0.32 | 1.3685
2 | feet | 1976-09-01 | 0.31 | 1.3028
2 | feet | 1976-10-06 | 0.33 | 1.4353
2 | feet | 1976-11-09 | 0.34 | 1.5033
2 | feet | 1976-12-09 | 0.38 | 1.786
2 | feet | 1977-01-05 | 0.44 | 2.2416
2 | feet | 1977-02-03 | 0.48 | 2.5652
2 | feet | 1977-03-02 | 0.4 | 1.9338
2 | feet | 1977-04-06 | 0.36 | 1.6425
2 | feet | 1977-05-04 | 0.34 | 1.5033
2 | feet | 1977-06-02 | 0.34 | 1.5033
2 | feet | 1977-07-06 | 0.33 | 1.4353
2 | feet | 1977-08-03 | 0.31 | 1.3028
2 | feet | 1977-09-07 | 0.31 | 1.3028
2 | feet | 1977-10-05 | 0.32 | 1.3685
2 | feet | 1977-11-02 | 0.36 | 1.6425
2 | feet | 1977-11-22 | 0.48 | 2.5652
2 | feet | 1977-12-07 | 0.49 | 2.6485
2 | feet | 1978-01-04 | 0.5 | 2.7327
2 | feet | 1978-02-01 | 0.5 | 2.7327
2 | feet | 1978-03-15 | 0.5 | 2.7327
2 | feet | 1978-04-05 | 0.34 | 1.5033
2 | feet | 1978-05-03 | 0.32 | 1.3685
2 | feet | 1978-06-07 | 0.3 | 1.2382
2 | feet | 1978-07-06 | 0.28 | 1.1127
2 | feet | 1978-08-02 | 0.23 | 0.8203
2 | feet | 1978-09-06 | 0.34 | 1.5033
2 | feet | 1978-10-04 | 0.31 | 1.3028
2 | feet | 1978-11-08 | 0.44 | 2.2416
2 | feet | 1978-12-06 | 0.48 | 2.5652
2 | feet | 1979-01-03 | 0.4 | 1.9338
2 | feet | 1979-02-07 | 0.5 | 2.7327
2 | feet | 1979-03-14 | 0.3 | 1.2382
2 | feet | 1979-04-04 | 0.28 | 1.1127
2 | feet | 1979-05-02 | 0.37 | 1.7137
2 | feet | 1979-06-06 | 0.45 | 2.321
2 | feet | 1979-07-11 | 0.28 | 1.1127
2 | feet | 1979-08-09 | 0.5 | 2.7327
2 | feet | 1979-09-11 | 0.4 | 1.9338
2 | feet | 1979-10-03 | 0.41 | 2.0092
2 | feet | 1979-11-07 | 0.32 | 1.3685
2 | feet | 1979-12-05 | 0.33 | 1.4353
2 | feet | 1980-01-02 | 0.46 | 2.4014
2 | feet | 1980-02-13 | 0.45 | 2.321
2 | feet | 1980-02-28 | 0.44 | 2.2416
2 | feet | 1980-03-05 | 0.44 | 2.2416
2 | feet | 1980-04-02 | 0.32 | 1.3685
2 | feet | 1980-05-07 | 0.44 | 2.2416
2 | feet | 1980-06-11 | 0.4 | 1.9338
2 | feet | 1980-07-10 | 0.3 | 1.2382
2 | feet | 1980-09-03 | 0.42 | 2.0857
2 | feet | 1980-10-09 | 0.32 | 1.3685
2 | feet | 1980-11-12 | 0.36 | 1.6425
2 | feet | 1980-12-03 | 0.46 | 2.4014
2 | feet | 1981-01-07 | 0.45 | 2.321
2 | feet | 1981-01-16 | 0.46 | 2.4014
2 | feet | 1981-02-04 | 0.36 | 1.6425
2 | feet | 1981-03-04 | 0.43 | 2.1631
2 | feet | 1981-04-08 | 0.36 | 1.6425
2 | feet | 1981-05-06 | 0.32 | 1.3685
2 | feet | 1981-05-12 | 0.29 | 1.1748
2 | feet | 1981-05-20 | 0.4 | 1.9338
2 | feet | 1981-05-22 | 0.36 | 1.6425
2 | feet | 1981-06-03 | 0.28 | 1.1127
2 | feet | 1981-06-10 | 0.26 | 0.99194
2 | feet | 1981-06-17 | 0.37 | 1.7137
2 | feet | 1981-06-19 | 0.34 | 1.5033
2 | feet | 1981-06-24 | 0.32 | 1.3685
2 | feet | 1981-07-01 | 0.24 | 0.87623
2 | feet | 1981-07-08 | 0.2 | 0.66056
2 | feet | 1981-09-08 | 0.27 | 1.0517
2 | feet | 1981-10-09 | 0.37 | 1.7137
2 | feet | 1981-11-04 | 0.4 | 1.9338
2 | feet | 1981-12-02 | 0.41 | 2.0092
2 | feet | 1982-01-14 | 0.42 | 2.0857
2 | feet | 1982-02-03 | 0.43 | 2.1631
2 | feet | 1982-03-03 | 0.42 | 2.0857
2 | feet | 1982-04-07 | 0.4 | 1.9338
2 | feet | 1982-05-05 | 0.36 | 1.6425
2 | feet | 1982-06-02 | 0.36 | 1.6425
2 | feet | 1982-07-07 | 0.42 | 2.0857
2 | feet | 1982-08-18 | 0.35 | 1.5723
2 | feet | 1982-09-09 | 0.43 | 2.1631
2 | feet | 1982-10-06 | 0.42 | 2.0857
2 | feet | 1982-11-03 | 0.35 | 1.5723
2 | feet | 1982-12-16 | 0.56 | 3.2573
2 | feet | 1983-01-09 | 0.64 | 4.0062
2 | feet | 1983-02-10 | 0.64 | 4.0062
2 | feet | 1983-03-09 | 0.54 | 3.0788
2 | feet | 1983-05-04 | 0.42 | 2.0857
2 | feet | 1983-06-15 | 0.53 | 2.9909
2 | feet | 1983-08-03 | 0.36 | 1.6425
2 | feet | 1983-09-14 | 0.34 | 1.5033
2 | feet | 1983-12-07 | 0.72 | 4.8084
2 | feet | 1984-02-09 | 0.59 | 3.5317
2 | feet | 1984-03-08 | 0.72 | 4.8084
2 | feet | 1984-04-11 | 0.76 | 5.2286
2 | feet | 1984-05-17 | 0.33 | 1.4353
2 | feet | 1984-06-13 | 0.57 | 3.3479
2 | feet | 1984-08-08 | 0.53 | 2.9909
2 | feet | 1984-09-13 | 0.62 | 3.8139
2 | feet | 1984-10-25 | 0.42 | 2.0857
2 | feet | 1984-11-28 | 0.8 | 5.6612
2 | feet | 1985-01-16 | 0.82 | 5.8821
2 | feet | 1985-02-07 | 0.93 | 7.1491
|  | 1993-07-13 |  |  | New flume installed--3-ft throat
3 | feet | 1993-07-28 | 0.46 | 3.5565
3 | feet | 1993-09-16 | 0.45 | 3.4362
3 | feet | 1993-10-20 | 0.48 | 3.8017
3 | feet | 1993-11-17 | 0.48 | 3.8017
3 | feet | 1993-12-16 | 0.43 | 3.2
3 | feet | 1994-01-27 | 0.56 | 4.8397
3 | feet | 1994-02-17 | 0.42 | 3.0843
3 | feet | 1994-03-17 | 0.53 | 4.4399
3 | feet | 1994-04-14 | 0.37 | 2.529
3 | feet | 1994-05-26 | 0.44 | 3.3174
3 | feet | 1994-06-21 | 0.32 | 2.0146
3 | feet | 1994-07-26 | 0.4 | 2.8574
3 | feet | 1994-08-22 | 0.39 | 2.7463
3 | feet | 1994-09-20 | 0.46 | 3.5565
3 | feet | 1994-10-25 | 0.45 | 3.4362
3 | feet | 1994-11-15 | 0.51 | 4.1803
3 | feet | 1994-12-22 | 0.5 | 4.0526
3 | feet | 1995-02-15 | 0.66 | 6.2599
3 | feet | 1995-03-21 | 0.82 | 8.7944
3 | feet | 1995-04-27 | 0.58 | 5.1131
3 | feet | 1995-05-23 | 0.67 | 6.4091
3 | feet | 1995-06-27 | 0.64 | 5.9654
3 | feet | 1995-07-25 | 0.72 | 7.1738
3 | feet | 1995-09-26 | 0.69 | 6.7112
3 | feet | 1995-11-14 | 0.69 | 6.7112
3 | feet | 1996-01-23 | 0.53 | 4.4399
3 | feet | 1996-02-27 | 0.57 | 4.9757
3 | feet | 1996-08-27 | 0.5 | 4.0526
3 | feet | 1996-11-19 | 0.56 | 4.8397
3 | feet | 1997-01-07 | 0.72 | 7.1738
3 | feet | 1997-03-04 | 0.84 | 9.1326
3 | feet | 1997-04-17 | 0.86 | 9.4754
3 | feet | 1997-07-02 | 1.03 | 12.5686
3 | feet | 1998-05-05 | 0.47 | 3.6784
3 | feet | 1998-06-11 | 0.45 | 3.4362
3 | feet | 1998-07-10 | 0.44 | 3.3174
3 | feet | 1998-08-17 | 0.34 | 2.2153
3 | feet | 1998-09-14 | 0.34 | 2.2153
3 | feet | 1998-10-15 | 0.34 | 2.2153
3 | feet | 1998-11-12 | 0.43 | 3.2
3 | feet | 1998-12-16 | 0.34 | 2.2153
3 | feet | 1999-01-14 | 0.45 | 3.4362
3 | feet | 1999-02-18 | 0.41 | 2.97
3 | feet | 1999-03-12 | 0.33 | 2.1141
3 | feet | 1999-04-15 | 0.36 | 2.4227
3 | feet | 1999-05-14 | 0.45 | 3.4362
3 | feet | 1999-06-17 | 0.33 | 2.1141
3 | feet | 1999-07-16 | 0.42 | 3.0843
3 | feet | 1999-08-18 | 0.35 | 2.3182
3 | feet | 1999-09-16 | 0.39 | 2.7463
3 | feet | 1999-10-27 | 0.8 | 8.4608
3 | feet | 1999-11-19 | 1.21 | 16.1745
3 | feet | 1999-12-17 | 0.44 | 3.3174
3 | feet | 2000-01-14 | 0.44 | 3.3174
3 | feet | 2000-02-28 | 0.4 | 2.8574
3 | feet | 2000-03-23 | 0.39 | 2.7463
3 | feet | 2000-04-18 | 0.42 | 3.0843
3 | feet | 2000-05-15 | 0.41 | 2.97
3 | feet | 2000-07-21 | 0.46 | 3.5565
3 | feet | 2000-08-18 | 0.37 | 2.529
3 | feet | 2000-09-14 | 0.39 | 2.7463
3 | feet | 2000-10-19 | 0.4 | 2.8574
3 | feet | 2000-11-17 | 1.2 | 15.9657
3 | feet | 2000-12-07 | 0.46 | 3.5565
3 | feet | 2001-01-18 | 0.45 | 3.4362
3 | feet | 2001-02-23 | 0.47 | 3.6784
3 | feet | 2001-03-23 | 0.5 | 4.0526
3 | feet | 2001-04-26 | 0.5 | 4.0526
3 | feet | 2001-05-17 | 0.58 | 5.1131
3 | feet | 2001-06-18 | 0.69 | 6.7112
3 | feet | 2001-07-16 | 0.8 | 8.4608
3 | feet | 2001-08-22 | 0.83 | 8.9629
3 | feet | 2001-09-17 | 0.78 | 8.1319
3 | feet | 2001-10-19 | 0.74 | 7.4883
3 | feet | 2001-11-16 | 0.66 | 6.2599
3 | feet | 2001-12-14 | 0.49 | 3.9264
3 | feet | 2002-01-18 | 0.45 | 3.4362
3 | feet | 2002-02-15 | 0.46 | 3.5565
3 | feet | 2002-03-12 | 0.46 | 3.5565
3 | feet | 2002-04-25 | 0.4 | 2.8574
3 | feet | 2002-05-17 | 0.39 | 2.7463
3 | feet | 2002-06-26 | 0.44 | 3.3174
3 | feet | 2002-07-22 | 0.59 | 5.2519
3 | feet | 2002-08-14 | 0.55 | 4.705
3 | feet | 2002-09-27 | 0.57 | 4.9757
3 | feet | 2002-10-28 | 0.67 | 6.4091
3 | feet | 2002-11-14 | 0.55 | 4.705
3 | feet | 2002-12-30 | 0.47 | 3.6784
3 | feet | 2003-01-24 | 0.42 | 3.0843
3 | feet | 2003-02-21 | 0.43 | 3.2
3 | feet | 2003-03-21 | 0.47 | 3.6784
3 | feet | 2003-04-16 | 0.46 | 3.5565
3 | feet | 2003-05-15 | 0.55 | 4.705
3 | feet | 2003-06-23 | 0.57 | 4.9757
3 | feet | 2003-07-30 | 0.66 | 6.2599
3 | feet | 2003-08-25 | 0.63 | 5.8201
3 | feet | 2003-09-17 | 0.56 | 4.8397
3 | feet | 2003-10-30 | 0.52 | 4.3094
3 | feet | 2003-11-26 | 0.57 | 4.9757
3 | feet | 2003-12-16 | 0.56 | 4.8397
3 | feet | 2004-01-22 | 0.5 | 4.0526
3 | feet | 2004-02-19 | 0.43 | 3.2
3 | feet | 2004-03-24 | 0.52 | 4.3094
3 | feet | 2004-04-26 | 0.48 | 3.8017
3 | feet | 2004-05-20 | 0.59 | 5.2519
3 | feet | 2004-06-18 | 0.65 | 6.112
3 | feet | 2004-07-16 | 0.66 | 6.2599
3 | feet | 2004-08-20 | 0.69 | 6.7112
3 | feet | 2004-09-22 | 0.64 | 5.9654
3 | feet | 2004-10-18 | 0.63 | 5.8201
3 | feet | 2004-11-19 | 0.63 | 5.8201
3 | feet | 2004-12-15 | 0.63 | 5.8201
3 | feet | 2005-01-24 | 0.57 | 4.9757
3 | feet | 2005-02-25 | 0.64 | 5.9654

## Data
HEIGHT OF
[7 empty] | Flume |  | WATER | WATER |  | MEASURING | DEPTH TO | WATER | WATER
[7 empty] | Size |  | LEVEL | LEVEL | Discharge1 | POINT | WATER | LEVEL | LEVEL
SITE ID | PERMIT # | TWN | RNG | SEC | QTR | QTR | (inches/ft) | SITE NAME | DATE | (FEET) | (ft3/s) | (FEET) | (FEET) | STATUS | METHOD | REMARKS | MEASURED BY
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1967-10-11 | 0.7 | 1.7788 | 0 | 1.78 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1967-12-14 | 0.6 | 1.4051 | 0 | 1.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-01-11 | 0.6 | 1.4051 | 0 | 0.6 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-02-13 | 0.55 | 1.23 | 0 | 0.55 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-03-12 | 0.51 | 1.0958 | 0 | 0.51 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-04-10 | 0.48 | 0.99871 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-05-10 | 0.7 | 1.7788 | 0 | 0.7 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-06-11 | 0.68 | 1.7017 | 0 | 0.68 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-07-23 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-08-13 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-09-16 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-10-10 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-11-13 | 0.69 | 1.7401 | 0 | 0.69 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1968-12-13 | 0.68 | 1.7017 | 0 | 0.68 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-01-09 | 0.68 | 1.7017 | 0 | 0.68 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-02-12 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-03-11 | 0.64 | 1.5509 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-04-10 | 0.6 | 1.4051 | 0 | 0.6 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-05-13 | 0.62 | 1.4774 | 0 | 0.62 | - | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-06-12 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-07-10 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-08-13 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-09-10 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-10-15 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-11-25 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1969-12-12 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-01-15 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-02-27 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-03-20 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-04-15 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-05-22 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-07-15 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-08-28 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-09-25 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-11-06 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1970-12-08 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-01-20 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-02-19 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-03-18 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-04-16 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-05-21 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-06-23 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-07-21 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 9 inches | Pipeline Jones Flume | 1971-08-25 | - |  | 0 | - | Z | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-02-22 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-03-06 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-03-20 | 0.3 | 1.2382 | 0 | 0.3 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-04-03 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-04-18 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-05-01 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-05-15 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-06-05 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-06-19 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-07-03 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-07-17 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-08-07 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-08-21 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-09-04 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-09-18 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-10-02 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-10-23 | 0.38 | 1.786 | 0 | 0.38 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-11-06 | 0.41 | 2.0092 | 0 | 0.41 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-11-20 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-12-01 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1974-12-18 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-01-08 | 0.43 | 2.1631 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-01-22 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-02-04 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-02-18 | 0.49 | 2.6485 | 0 | 0.49 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-03-05 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-03-19 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-04-16 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-05-07 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-05-21 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-06-04 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-06-18 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-07-09 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-07-23 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-08-07 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-09-03 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-10-07 | 0.33 | 1.4353 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-11-05 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1975-12-03 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-01-07 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-02-05 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-03-03 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-04-07 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-05-05 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-06-02 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-07-07 | 0.38 | 1.786 | 0 | 0.38 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-08-02 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-09-01 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-10-06 | 0.33 | 1.4353 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-11-09 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1976-12-09 | 0.38 | 1.786 | 0 | 0.38 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-01-05 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-02-03 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-03-02 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-04-06 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-05-04 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-06-02 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-07-06 | 0.33 | 1.4353 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-08-03 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-09-07 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-10-05 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-11-02 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-11-22 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1977-12-07 | 0.49 | 2.6485 | 0 | 0.49 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-01-04 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-02-01 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-03-15 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-04-05 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-05-03 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-06-07 | 0.3 | 1.2382 | 0 | 0.3 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-07-06 | 0.28 | 1.1127 | 0 | 0.28 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-08-02 | 0.23 | 0.8203 | 0 | 0.23 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-09-06 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-10-04 | 0.31 | 1.3028 | 0 | 0.31 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-11-08 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1978-12-06 | 0.48 | 2.5652 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-01-03 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-02-07 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-03-14 | 0.3 | 1.2382 | 0 | 0.3 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-04-04 | 0.28 | 1.1127 | 0 | 0.28 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-05-02 | 0.37 | 1.7137 | 0 | 0.37 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-06-06 | 0.45 | 2.321 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-07-11 | 0.28 | 1.1127 | 0 | 0.28 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-08-09 | 0.5 | 2.7327 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-09-11 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-10-03 | 0.41 | 2.0092 | 0 | 0.41 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-11-07 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1979-12-05 | 0.33 | 1.4353 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-01-02 | 0.46 | 2.4014 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-02-13 | 0.45 | 2.321 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-02-28 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-03-05 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-04-02 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-05-07 | 0.44 | 2.2416 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-06-11 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-07-10 | 0.3 | 1.2382 | 0 | 0.3 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-09-03 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-10-09 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-11-12 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1980-12-03 | 0.46 | 2.4014 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-01-07 | 0.45 | 2.321 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-01-16 | 0.46 | 2.4014 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-02-04 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-03-04 | 0.43 | 2.1631 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-04-08 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-05-06 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-05-12 | 0.29 | 1.1748 | 0 | 0.29 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-05-20 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-05-22 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-06-03 | 0.28 | 1.1127 | 0 | 0.28 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-06-10 | 0.26 | 0.99194 | 0 | 0.26 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-06-17 | 0.37 | 1.7137 | 0 | 0.37 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-06-19 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-06-24 | 0.32 | 1.3685 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-07-01 | 0.24 | 0.87623 | 0 | 0.24 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-07-08 | 0.2 | 0.66056 | 0 | 0.2 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-09-08 | 0.27 | 1.0517 | 0 | 0.27 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-10-09 | 0.37 | 1.7137 | 0 | 0.37 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-11-04 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1981-12-02 | 0.41 | 2.0092 | 0 | 0.41 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-01-14 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-02-03 | 0.43 | 2.1631 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-03-03 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-04-07 | 0.4 | 1.9338 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-05-05 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-06-02 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-07-07 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-08-18 | 0.35 | 1.5723 | 0 | 0.35 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-09-09 | 0.43 | 2.1631 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-10-06 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-11-03 | 0.35 | 1.5723 | 0 | 0.35 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1982-12-16 | 0.56 | 3.2573 | 0 | 0.56 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-01-09 | 0.64 | 4.0062 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-02-10 | 0.64 | 4.0062 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-03-09 | 0.54 | 3.0788 | 0 | 0.54 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-05-04 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-06-15 | 0.53 | 2.9909 | 0 | 0.53 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-08-03 | 0.36 | 1.6425 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-09-14 | 0.34 | 1.5033 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1983-12-07 | 0.72 | 4.8084 | 0 | 0.72 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-02-09 | 0.59 | 3.5317 | 0 | 0.59 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-03-08 | 0.72 | 4.8084 | 0 | 0.72 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-04-11 | 0.76 | 5.2286 | 0 | 0.76 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-05-17 | 0.33 | 1.4353 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-06-13 | 0.57 | 3.3479 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-08-08 | 0.53 | 2.9909 | 0 | 0.53 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-09-13 | 0.62 | 3.8139 | 0 | 0.62 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-10-25 | 0.42 | 2.0857 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1984-11-28 | 0.8 | 5.6612 | 0 | 0.8 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1985-01-16 | 0.82 | 5.8821 | 0 | 0.82 | - | -
|  | S14 | E65 | 16 | NW | SE | 2 | Pipeline Jones Flume | 1985-02-07 | 0.93 | 7.1491 | 0 | 0.93 | - | -
|  | S14 | E65 | 16 | NW | SE |  | Pipeline Jones Flume | 1993-07-13 | - |  | 0 | - | Z | - | NEW FLUME INSTALLED
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1993-07-28 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1993-09-16 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1993-10-20 | 0.48 | 3.8017 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1993-11-17 | 0.48 | 3.8017 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1993-12-16 | 0.43 | 3.2 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-01-27 | 0.56 | 4.8397 | 0 | 0.56 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-02-17 | 0.42 | 3.0843 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-03-17 | 0.53 | 4.4399 | 0 | 0.53 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-04-14 | 0.37 | 2.529 | 0 | 0.37 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-05-26 | 0.44 | 3.3174 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-06-21 | 0.32 | 2.0146 | 0 | 0.32 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-07-26 | 0.4 | 2.8574 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-08-22 | 0.39 | 2.7463 | 0 | 0.39 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-09-20 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-10-25 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-11-15 | 0.51 | 4.1803 | 0 | 0.51 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1994-12-22 | 0.5 | 4.0526 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-02-15 | 0.66 | 6.2599 | 0 | 0.66 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-03-21 | 0.82 | 8.7944 | 0 | 0.82 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-04-27 | 0.58 | 5.1131 | 0 | 0.58 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-05-23 | 0.67 | 6.4091 | 0 | 0.67 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-06-27 | 0.64 | 5.9654 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-07-25 | 0.72 | 7.1738 | 0 | 0.72 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-09-26 | 0.69 | 6.7112 | 0 | 0.69 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1995-11-14 | 0.69 | 6.7112 | 0 | 0.69 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1996-01-23 | 0.53 | 4.4399 | 0 | 0.53 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1996-02-27 | 0.57 | 4.9757 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1996-08-27 | 0.5 | 4.0526 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1996-11-19 | 0.56 | 4.8397 | 0 | 0.56 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1997-01-07 | 0.72 | 7.1738 | 0 | 0.72 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1997-03-04 | 0.84 | 9.1326 | 0 | 0.84 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1997-04-17 | 0.86 | 9.4754 | 0 | 0.86 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1997-07-02 | 1.03 | 12.5686 | 0 | 1.03 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-05-05 | 0.47 | 3.6784 | 0 | 0.47 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-06-11 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-07-10 | 0.44 | 3.3174 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-08-17 | 0.34 | 2.2153 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-09-14 | 0.34 | 2.2153 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-10-15 | 0.34 | 2.2153 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-11-12 | 0.43 | 3.2 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1998-12-16 | 0.34 | 2.2153 | 0 | 0.34 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-01-14 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-02-18 | 0.41 | 2.97 | 0 | 0.41 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-03-12 | 0.33 | 2.1141 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-04-15 | 0.36 | 2.4227 | 0 | 0.36 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-05-14 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-06-17 | 0.33 | 2.1141 | 0 | 0.33 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-07-16 | 0.42 | 3.0843 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-08-18 | 0.35 | 2.3182 | 0 | 0.35 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-09-16 | 0.39 | 2.7463 | 0 | 0.39 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-10-27 | 0.8 | 8.4608 | 0 | 0.8 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-11-19 | 1.21 | 16.1745 | 0 | 1.21 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 1999-12-17 | 0.44 | 3.3174 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-01-14 | 0.44 | 3.3174 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-02-28 | 0.4 | 2.8574 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-03-23 | 0.39 | 2.7463 | 0 | 0.39 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-04-18 | 0.42 | 3.0843 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-05-15 | 0.41 | 2.97 | 0 | 0.41 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-07-21 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-08-18 | 0.37 | 2.529 | 0 | 0.37 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-09-14 | 0.39 | 2.7463 | 0 | 0.39 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-10-19 | 0.4 | 2.8574 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-11-17 | 1.2 | 15.9657 | 0 | 1.2 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2000-12-07 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-01-18 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-02-23 | 0.47 | 3.6784 | 0 | 0.47 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-03-23 | 0.5 | 4.0526 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-04-26 | 0.5 | 4.0526 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-05-17 | 0.58 | 5.1131 | 0 | 0.58 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-06-18 | 0.69 | 6.7112 | 0 | 0.69 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-07-16 | 0.8 | 8.4608 | 0 | 0.8 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-08-22 | 0.83 | 8.9629 | 0 | 0.83 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-09-17 | 0.78 | 8.1319 | 0 | 0.78 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-10-19 | 0.74 | 7.4883 | 0 | 0.74 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-11-16 | 0.66 | 6.2599 | 0 | 0.66 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2001-12-14 | 0.49 | 3.9264 | 0 | 0.49 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-01-18 | 0.45 | 3.4362 | 0 | 0.45 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-02-15 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-03-12 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-04-25 | 0.4 | 2.8574 | 0 | 0.4 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-05-17 | 0.39 | 2.7463 | 0 | 0.39 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-06-26 | 0.44 | 3.3174 | 0 | 0.44 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-07-22 | 0.59 | 5.2519 | 0 | 0.59 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-08-14 | 0.55 | 4.705 | 0 | 0.55 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-09-27 | 0.57 | 4.9757 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-10-28 | 0.67 | 6.4091 | 0 | 0.67 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-11-14 | 0.55 | 4.705 | 0 | 0.55 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2002-12-30 | 0.47 | 3.6784 | 0 | 0.47 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-01-24 | 0.42 | 3.0843 | 0 | 0.42 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-02-21 | 0.43 | 3.2 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-03-21 | 0.47 | 3.6784 | 0 | 0.47 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-04-16 | 0.46 | 3.5565 | 0 | 0.46 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-05-15 | 0.55 | 4.705 | 0 | 0.55 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-06-23 | 0.57 | 4.9757 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-07-30 | 0.66 | 6.2599 | 0 | 0.66 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-08-25 | 0.63 | 5.8201 | 0 | 0.63 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-09-17 | 0.56 | 4.8397 | 0 | 0.56 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-10-30 | 0.52 | 4.3094 | 0 | 0.52 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-11-26 | 0.57 | 4.9757 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2003-12-16 | 0.56 | 4.8397 | 0 | 0.56 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-01-22 | 0.5 | 4.0526 | 0 | 0.5 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-02-19 | 0.43 | 3.2 | 0 | 0.43 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-03-24 | 0.52 | 4.3094 | 0 | 0.52 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-04-26 | 0.48 | 3.8017 | 0 | 0.48 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-05-20 | 0.59 | 5.2519 | 0 | 0.59 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-06-18 | 0.65 | 6.112 | 0 | 0.65 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-07-16 | 0.66 | 6.2599 | 0 | 0.66 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-08-20 | 0.69 | 6.7112 | 0 | 0.69 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-09-22 | 0.64 | 5.9654 | 0 | 0.64 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-10-18 | 0.63 | 5.8201 | 0 | 0.63 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-11-19 | 0.63 | 5.8201 | 0 | 0.63 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2004-12-15 | 0.63 | 5.8201 | 0 | 0.63 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2005-01-24 | 0.57 | 4.9757 | 0 | 0.57 | - | -
|  | S14 | E65 | 16 | NW | SE | 3 | Pipeline Jones Flume | 2005-02-25 | 0.64 | 5.9654 | 0 | 0.64 | - | -
1 Discharge computed with standard rating for 9-inch Parshall flume (Q=3.07H1.53); and 2-foot/3-foot Parshall flume (Q=4WH1.522W.026)