This inspection testing is performed :   ( ) Monthly  ( ) Quarterly  ( ) Semi-annual  ( ) Annual

(Note that all tests are required by NFPA 72 annually unless otherwise identified.)

Identify portion of building or alarm system being tested:__________________________________________________

PART I.  EQUIPMENT AND ALARMS [TOTAL SYSTEM INVENTORY]

A.	Fire Department Notified/alarms silenced ________ AM/PM:    Alarms Restored _______ AM/PM.

B.	Control Panel Manufacturer:________________________________ Model_____________________

C.	Battery Type: (Nickel Cadmium/Sealed Lead Acid/)_______________________________________

C.	Total Number of Zones/Points:_______________(Update these with new construction activities.)

D.	Initiating Devices/Total:  Smoke Detectors( ) ______ Duct Detectors ( ) ______ Manual Stations ( ) _______ Valve Tamper Switches ( ) ______ Waterflow Switches ( ) _______ Heat Detectors ( ) ______ Other ( ) ______

E.  Notification Appliances: Bells/Horns ( ) ______  Chimes ( ) ______ Speakers ( ) ______ Strobes/Lights ( ) ______

| PART II. EQUIPMENT INFORMATION: (Explain any “NO” answers on the attached sheets). | YES | NO | N/A |
| --- | --- | --- | --- |
| A. Are drawings and wiring diagrams available at the panel? |  |  |  |
| B. Are operating instruction posted at the panel? |  |  |  |
| C. Are the zones labeled and identified? |  |  |  |
| D. Is there a standby power source? Battery ( ) Amp. Hr. Rating __________ Generator ( ) |  |  |  |
| E. Is the control panel green? (no trouble conditions) |  |  |  |
| PART III. EQUIPMENT TEST AND INSPECTION [FOR THIS INSPECTION] | YES | NO | N/A |
| Control Unit Requirements: |  |  |  |
| A. Battery charger and voltage? Volts DC ______ Battery VDC in alarm _______________________ |  |  |  |
| B. Ground fault detection and trouble tested satisfactorily? |  |  |  |  |
| C. Fuses checked for proper ratings? | #checked____________________ |  |  |  |
| Fire Alarm System Input Requirements |  |
| D. Manual stations tested satisfactorily? | # tested______________________ |  |  |  |
| E. Method of testing detectors: Testgas ( ) Heat ( ) Other ( ) ___________________________________ |  |
| F. Smoke detectors tested satisfactorily? (reqd annual) | # tested______________________ |  |  |  |
| G. Smoke detector sensitivity tested? (5 yrs see NFPA 72) | # tested______________________ |  |  |  |
| H. Duct detectors tested satisfactorily? (reqd annual) | # tested______________________ |  |  |  |
| I. Heat detectors tested satisfactorily? | # tested______________________ |  |  |  |
| J. Tamper switches tested satisfactorily? (reqd semi-annual) | # tested______________________ |  |  |  |
| K. Waterflow switches tested satisfactorily? (reqd semi-annual) | # tested______________________ |  |  |  |
| L. Fire pump signals tested satisfactorily?(pump running/power failure/phase reversal) |  |  |  |
| Fire Alarm System Output Requirements |  |
| S. Audio/visual alarms tested satisfactorily? | # tested______________________ |  |  |  |
| T. Annunciators tested satisfactorily? | # tested______________________ |  |  |  |
| U. Voice alarm clarity satisfactory? |  |  |  |  |
| V. Remote (FD) connection tested satisfactorily? (reqd quarterly) |  |  |  |  |
| Fire Safety Functions |  |  |
| W. HVAC shutdown tested satisfactorily? | # tested______________________ |  |  |  |
| X. Elevator Recall tested satisfactorily? | # tested______________________ |  |  |  |
| Y. Elevator power shutdown tested satisfactorily? | # tested______________________ |  |  |  |
| Z. Door releases tested satisfactorily? |  |  |  |  |
| Others not mentioned above (Kitchen/CO2/Phone Jacks/Deluge) |  |  |  |  |

PART IV.  CHECK THIS BOX  IF ADJUSTMENS OR CORRECTIONS WERE MADE DURING THIS INSPECTION AND NOTE THEM ON THE ATTACHED SHEETS.

PART V.  THIS INSPECTION WAS PERFORMED SUBSTANTIALLY IN ACCORDANCE WITH NFPA 72 .  ALTHOUGH THESE COMMENTS ARE NOT THE RESULT OF AN ENGINEERING REVIEW, THE FOLLOWING DESIRABLE IMPROVEMENTS ON THE ATTACHED SHEETS ARE RECOMMENDED. [See attached sheets if this box is checked.]

Identify PART from Page 1 that is continued.