Contractor’s Material and Test

Certificate for Aboveground Piping

(Form AS-5)

PROCDURE

Upon completion of work, inspection and tests shall be made by the contractor’s representative and witnessed by the Contracting Officer or his/her designee. All defects shall be corrected and the system left in service before contractor’s personnel finally leave the job.

A certificate shall be filled out and signed by both a contactor’s representative and the Contracting Officer or his/her designee. Copies shall be prepared for the authority having jurisdiction, the park unit, and contractors. It is understood that the signature of the Contracting Officer or his/her designee in no way prejudices any claim against the contractor for faulty material, poor workmanship, or failure to comply with the requirements of the authority having jurisdiction or local ordinances.

PLANS

Accepted by [Contracting Officer or his/her designee]:

(print)			(signature)

Park/Office:

Phone No.:

Installation conforms to accepted plans?  Yes            No

Equipment used is approved?  Yes            No

If no, explain deviations.

INSTRUCTIONS

Has person in charge of fire equipment been instructed as to location of control valves and care and maintenance of this new equipment?  Yes           No

If no, explain.

Have copies of appropriate instructions and care and maintenance charts been left on premises?  Yes           No

If no, explain.

LOCATION OF SYSTEM RISER

Riser location:

Piping Supplies building(s): 				   FMSS Asset ID Number:

SPRINKLERS

Year of 		     Orifice 	          		    Temperature

Make	              Model	   	   Manufacturer		       Size	     Quantity 	           Rating

PIPE FITTINGS

Pipe conforms to			standard

(If no, explain)

Fittings conform to			 standard

(If no, explain)

ALARM VALVE OR FLOW INDICATOR																					      Maximum Time to

Alarm Device					Operate Through Test Pipe

| Type | Make | Model | Minutes | Seconds |
| --- | --- | --- | --- | --- |

DRY PIPE OPERATING TEST

Dry Valve					     Quick Opening Device (Q.O.D)

| Make | Model | Serial No. | Make | Model | Serial No. |
| --- | --- | --- | --- | --- | --- |

Time to Trip			                Trip Point                Time Water	       Alarm

Through		Water 	          Air	        Air	            Reached	    Operated

Test Pipe*	          Pressure	     Pressure         Pressure                 Test Outlet*              Properly

|  | Min. | Sec. | Psi (Bar) | Psi (Bar) | Psi (Bar | Min. | Sec. | Yes | No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Without Q.O.D |  |  |  |  |  |  |  |  |
| With Q.O.D |  |  |  |  |  |  |  |  |

comments:

BACKFLOW PREVENTION DEVICE (Forward Flow Test)

Method of Flow:	 Main Drain      Fire Department Connection      Fire Department Connection By-pass

* Test shall deliver designed flow rate for system, including hose stream, where hydrants or inside hose stations are

located downstream of the backflow preventer.

DELUGE AND PRE-ACTION VALVES

Operation:      Pneumatic           Electric           Hydraulic

Piping supervised:      Yes           No

Detecting media supervised:       Yes           No

Is there an accessible facility in each circuit for testing:      Yes           No

If no, explain.

| Make | Model | Does each circuit operate supervision loss alarm? | Does each circuit operate valve release? | Maximum Time to operate release |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Yes | No | Min. | Sec. |

TEST (description)

HYDROSTATIC: Hydrostatic tests shall be made at not less than 200 psi (13.6 bar) for two hours or 50 psi (3.4 bar)

above static pressure in excess of 150 psi (10.2 bar) for two hours. Differential dry pipe valve clappers shall be left

open during test to prevent damage. All aboveground piping leakage shall be stopped.

PNEUMATIC: Establish 40 psi (2.7 bar) air pressure and measure drop, which shall not exceed 11/2 psi (0.1 bar) in

24 hours. Test pressure tanks at normal water level and air pressure and measure air pressure drop, which shall not

exceed 11/2 psi (0.1 bar) in 24 hours.

*Measure from time inspector’s test pipe is opened

TEST

All piping hydrostatically tested at 		            psi (bar) for 		      hrs.

Dry piping pneumatically tested:      Yes           No

Equipment operates properly:      Yes           No

If no, state reason.

Drain test—Reading of gauge located near water supply test pipe: Static pressure: 		            psi (bar)

Drain test—Residual pressure with valve in test pipe open wide:                           psi (bar)

Underground mains and lead-in connections to system risers flushed before connections made to sprinkler piping

(verified by review of completed copy of NPS Form AS-4?)      Yes           No           Other

Flushed by installer of underground sprinkler piping:      Yes           No           Other

If other, explain.

BLANK TESTING GASKETS

Number used 		           Locations 					 Number removed

CUTOUTS (discs)

Do you certify that you have a control feature to ensure that all cutouts (discs) are retrieved?	     Yes         No

Welding

Welded piping:      Yes           No

If yes,											Yes		No

Do you certify as the sprinkler contractor that welding procedures comply with the

requirements of at least AWS D10.9, Level AR-3?

Do you certify that the welding was performed by welders qualified in compliance

with the requirements of at least AWS D10.9, Level AR-3?

Do you certify that welding was carried out in compliance with a documented

quality control procedure to insure that all discs are retrieved, that openings in

piping are smooth, that slag and other welding residue are removed, and that

the internal diameters of piping are not penetrated?

HYDRAULIC DATA NAMEPLATE

Nameplate provided?      Yes           No

If no, explain.

Date system left in service with all control valves open:

Remarks:

SIGNATURES

Sprinkler Contractor Business Name:

Address:

Phone No.:						  License or Certificate Number:

Name of Technician:					  Signature:

Regional Structural Fire Management Officer (of his designee):

Date: