Project Number:  AW 2226

Contract Number:  TW-0681

Date:  May 5, 1995

SPECIAL SPECIFICATION

SECTION 07600

FLASHING AND SHEET METAL

Page

PART 1- GENERAL

1.01	Description of Work	2

1.02	References	2

1.03	Submittals	3

1.04	Quality Assurance	3

PART 2-  PRODUCTS

2.01	Materials	3

2.02	Accessory Materials	5

2.03	Preformed Reglet Flashing Systems	5

2.04	Fabrication - General	5

2.05	Gutters and Downspouts	6

PART 3- EXECUTION

3.01	Examination	6

3.02	Preparation	6

3.03	Installation	7

3.04	Cleaning and Protection	8

SPECIAL SPECIFICATION

SECTION 07600

FLASHING AND SHEET METAL

PART 1 - GENERAL

1.01	DESCRIPTION OF WORK

A.	Section Includes:

1.	Sheet metal flashing and trim.

2.	Flexible flashings.

3.	Gutters and downspouts.

4.	Fasteners and attachment devices.

5.	Coatings to isolate sheet metal from dissimilar materials.

B.	Related Sections:  Refer to Division 7, Section “Manufactured Metal Roof Panels” and “Manufactured Metal Wall Panels” for related work.

1.02	REFERENCES

A.	Architectural Sheet Metal Manual;  Sheet Metal and Air Conditioning Contractors’ National Association, Inc. (SMACNA)

B.	American Society for Testing and Materials (ASTM)

A526	Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process, Commercial Quality

A527	Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process, Lock-Forming Quality

D412	Standard Test Methods for Vulcanized Rubber and Thermoplastic Rubbers and Thermoplastic Elastomers-Tension

D573	Standard Test Method for Rubber--Deterioration in an Air Oven

D746	Standard Test Method for Brittleness Temperature of Plastics and Elastomers by Impact

D1149	Standard Test Method for Rubber Deterioration-Surface Ozone Cracking in a Chamber

D2240	Standard Test Method for Rubber Property-Durometer Hardness

C.	Federal Specification (FS)

TT-C-494B	Coating Compound, Bituminous, Solvent Type, Acid Resistant

1.03	SUBMITTALS

A.	Product Data:  Manufacturer’s technical information and installation instructions, in sufficient detail to demonstrate products comply with Contract documents.

B.	Shop Drawings:  Drawings clearly indicating component profiles, joints, transitions, fastening methods, and relationship of flashing materials to adjacent construction.

1.04	QUALITY ASSURANCE

Quality Standard:  Fabricate and install sheet metal work in accordance with Architectural Sheet Metal Manual and SMACNA, unless specifically indicated otherwise.

PART 2 - PRODUCTS

2.01	MATERIALS

A.	Galvanized Steel Sheet:  ASTM A526, commercial quality, G90 hot-dip galvanized.

Finish:  Factory primed (coil coated).

B.	Prefinished Galvanized Steel Sheet:  Coil coated, commercial quality steel sheet, ASTM A526 or ASTM A527, G90 hot-dip galvanized.

1.	Finish:  70 percent “Kynar 500” or “Hylar 5000” resin finish over epoxy primer;  minimum system thickness 1.0 mil (0.0254 mm).  Provide manufacturer’s standard prime coat on underside.

Color:  Match color of adjacent materials.

2.	Provide strippable plastic protective film on prefinished surface.

3.	Manufacturer:  Subject to compliance with specified requirements and compatibility with adjacent materials, products of the following manufacturers will be among those considered acceptable:

Atas Aluminum Corporation

Copper Sales, Inc.

MM Systems Corporation

Petersen Aluminum Corporation

Vincent Metals Division/Rio Algom, Inc.

C.	Sheet Rubber Flashing:  Use uncured neoprene or EPDM sheet.

D.	EPDM Flashing:  Uncured EPDM sheet;  minimum 60 mil (1.524 mm) thickness; minimum properties as follows:

1.	Tensile Strength (ASTM D412):  1305 pounds per square inch (9000 kPa).

2.	Elongation (ASTM D412):  300 percent.

3.	Tear Resistance (ASTM D412):  150 pounds per inch (26,300 N/m).

4.	Ozone Resistance (ASTM D1149):  No cracks after 168-hour exposure to one part per million ozone at 104 degrees F (40 degrees C) and 20 percent strain.

5.	Maximum Brittleness Temperature (ASTM D746):  Minus 49 degrees F (minus 45 degrees C).

6.	Resistance to Heat Aging (ASTM D573):  Minimum properties (ASTM D412) after aging at 240 degrees F (116 degrees C) for 672 hours.

a.	Tensile Strength:  1205 pounds per square inch (8310 kPa).

b.	Elongation:  200 percent.

c.	Tear Resistance:  125 pounds per inch (21,900 N/m).

E.	Neoprene Sheet Flashing:  Uncured neoprene sheet;  minimum 60 mil (1.524 mm) thickness;  minimum properties as follows:

1.	Shore Hardness (ASTM D2240):  Minimum, 55 plus or minus 10.

2.	Tensile Strength (ASTM D412):  1305 pounds per square inch (9000 kPa).

3.	Elongation (ASTM D412):  250 percent.

4.	Tear Resistance (ASTM D412):  150 pounds per inch (26,300 N/m).

5.	Ozone Resistance (ASTM D1149):  No cracks after 168-hour exposure to one part per million ozone at 104 degrees F (40 degrees C) and 20 percent strain.

6.	Maximum Brittleness Temperature (ASTM D746):  Minus 35 degrees F (minus 37 degrees C).

7.	Resistance to Heat Aging (ASTM D573):  Minimum properties (ASTM D412) after aging at 240 degrees F (116 degrees C) for 672 hours as follows:

a.	Tensile Strength:  1000 pounds per square inch (6900 kPa).

b.	Elongation:  150 percent.

c.	Tear Resistance:  125 pounds per inch (21,900 N/m).

F.	Foam Backing for Flexible Flashings:  Closed-cell foam rubber;  polyethylene, neoprene, or similar soft, compatible material.

2.02	ACCESSORY MATERIALS

A.	Fasteners:  Corrosion-resistant metal of same material as the material being fastened, or other material recommended by sheet metal manufacturer.  Match finish and color of exposed fastener heads to finish and color of sheet material being fastened.

B.	Installation Accessories, Flexible Flashings:  Provide joint tape, adhesives, sealers, and fasteners as recommended by flexible flashing manufacturer for indicated applications.

C.	Sealant:  Comply with requirements of Contract documents.

D.	Bituminous Coating:  Heavy bodied, sulfur-free, asphalt-based paint;  FS TT-C-494.

2.03	PREFORMED REGLET FLASHING SYSTEMS

A.	General:  Fabricate reglet flashing system from 24 gage (0.607 mm) galvanized steel sheet formed to provide secure interlocking of separate reglet and counterflashing pieces.

B.	Types Required:  Surface mounted type:  Provide with slotted holes for fastening to substrate, with neoprene or other suitable weatherproofing washers, and with channel for sealant at top edge.

2.04	FABRICATION - GENERAL

A.	Fabricate sheet metal using sheet metal thicknesses indicated on the drawings or schedules.

B.	Form sheet metal to match profiles indicted, substantially free from oil-canning, fish-mouths, and other defects.

C.	Comply with Architectural Sheet Metal Manual, SMACNA for applications indicated.

D.	Provide for thermal expansion of exposed sheet metal work exceeding 15 feet (4.6 m) running length.

Flashing and Trim:  Provide movement of joints at maximum spacing of 10 feet (3 m); no joints allowed within 2 feet (0.6 m) of corner of intersection.

E.	Conceal fasteners and expansion provisions wherever possible.

Exposed fasteners are not allowed on faces of sheet metal exposed to public view.

F.	Form a 1/2 inch (12.7 mm) hem on underside of exposed edges.

G.	Fabricate cleats and attachment devices from same material as sheet metal component being anchored or from compatible, noncorrosive metal recommended by sheet metal manufacturer.

Gage:  As recommended by SMACNA or metal manufacturer for application, but in no case less than gage of metal being secured.

2.05	GUTTERS AND DOWNSPOUTS

A.	Fabricate from same material and finish used for adjacent exposed flashings.

B.	Form sheet metal to profile dimensions indicated, free from distortions and defects detrimental to water-tight system.

C.	Provide expansion joints in gutters at spacing not to exceed 30 feet (9 m).

D.	Provide removable debris screens for gutters, fabricated from 1/4 inch (6.35 mm) mesh wire cloth of same material used for gutters or approved compatible material.  Provide formed sheet metal frame on 4 sides of each screen unit.  Length of screen units not to exceed 10 feet (3 m).

E.	Provide precast concrete splash blocks at downspout discharge.

F.	Provide formed metal splash pans fabricated from same type of sheet metal used for downspouts.  Locate and secure where downspout discharges onto lower roof.

G.	Gutter Support:  Straps.

H.	Downspout Supports:  Brackets.

I.	Back-paint concealed metal surfaces with bituminous coating to a minimum of 15 mils (0.381 mm) dry film thickness.

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine substrates and conditions under which products of this section are to be installed and verify that work may properly commence.  Do not proceed with the work until unsatisfactory conditions have been fully resolved.

B.	Verify that nailers, blocking and other attachment provisions for sheet metal work are properly located and securely fastened to resist effects of wind and thermal stresses.

3.02	PREPARATION

A.	Verify shapes and dimensions of surfaces to be covered before fabricating sheet metal.

B.	Isolate dissimilar metals by means of a heavy bituminous coating, approved paint coating, adhered polyethylene sheet, or other means approved by the Sandia Delegated Representative (SDR).

3.03	INSTALLATION

A.	General:  Comply with sheet metal manufacturer’s installation methods and recommendations in the Architectural Sheet Metal Manual, SMACNA.

B.	Sealed Joints:  Form minimum 1 inch (25 mm) hooked joints and embed flange into sealant or adhesive.  Form metal to completely conceal sealant or adhesive.

1.	Use joint adhesive for nonmoving joints specified not to be soldered.

2.	Moving joints:  When ambient temperature is moderate (40-70 degrees F) (4-21 degrees C) at time of installation, set joined members for 50 percent movement either way.  Adjust setting position of joined members proportionally for temperatures above 70 degrees F (21 degrees C).  Do not install sealant at temperatures below 40 degrees F (4 degrees C).  Refer to Division 7, Section “Joint Sealants,” for handling and installation requirements for joint sealers.

C.	Soldered Joints

1.	Clean surfaces to be soldered, removing oils and foreign matter.

2.	Pretin edges of sheets to be soldered to a width of 1-1/2 inches (38.1 mm), except where pretinned surface would show in the finished work.

3.	Do not use torches for soldering.

4.	Heat surfaces to receive solder and flow solder into joint.  Fill joint completely.

5.	Completely remove flux and spatter from exposed surfaces.

D.	Surface-Mounted Reglets:  Attach reglets securely to substrate, at locations indicated.  Install elastomeric sealant at top edge.  Refer to Division 7, Section “Joint Sealants,” for handling and installation requirements for joint sealers.

E.	Counterflashings:  Coordinate installation of counterflashings with installation of assemblies to be protected by counterflashing.  Install counterflashings in reglet or receiver of other sheet metal fabrication.  Secure in a waterproof manner by means of snap-in installation and sealant, interlocking folded seam, or blind rivets and sealant.  Lap counterflashing joints a minimum of 2 inches (50.8 mm) and bed with sealant.

F.	Flexible Flashing Installation

1.	Comply with flashing manufacturer’s instructions regarding surface preparation, handling, use of adhesives, and use of fasteners.

2.	Take care during and after installation to avoid puncture or rupture of flexible flashing.

3.	Secure flexible flashing to vertical surfaces using adhesive or combination of adhesive and fasteners.

4.	Form continuous watertight seams between pieces of material using seam adhesive as recommended by flashing manufacturer.

5.	Do not stretch flexible flashing sheets tight between points of anchorage.  At moving joints or where drawings indicate slack or loop in flashing, form to approximate profile indicated and adhere foam rubber filler to back of flexible flashing.  Anchor edges in a bed of sealant.

3.04	CLEANING AND PROTECTION

A.	Remove protective film from sheet metal immediately after installation.

B.	Repair or replace work which is damaged or defaced, as directed by the Sandia Delegated Representative (SDR).

Refinish marred and abraded areas of prefinished sheet using finish manufacturer’s recommended methods and materials.  Replace units which, in the opinion of the SDR, cannot satisfactorily be refinished in place.

C.	Protect sheet metal work as recommended by the installer so that completed work will be clean, secured, and without damage at substantial completion.

END OF SECTION