Construction Specification 795—Geotextile

1.	Scope

This work consists of furnishing all material, equipment, and labor necessary for the installation of geotextiles.

2.	Quality

Geotextiles shall conform to the requirements of Section 810, Geotextiles, of the latest edition of the Alabama Department of Transportation Standard Specifications for Highway Construction and Section 6 of this specification.

3.	Storage

Before use, the geotextile shall be stored in a clean, dry location out of direct sunlight, not subject to extremes of either hot or cold temperatures, and with the manufacturer's protective cover undisturbed.  Receiving, storage, and handling at the job site shall be in accordance with the requirements listed in ASTM D 4873.

4.	Surface preparation

The surface on which the geotextile is to be placed shall be graded to the neat lines and grades as shown on the drawings.  It shall be reasonably smooth and free of loose rock and clods, holes, depressions, projections, muddy conditions, and standing or flowing water (unless otherwise specified in Section 7 of this specification).

5.	Placement

Before the geotextile is placed, the soil surface will be reviewed for quality assurance of the design and construction.  The geotextile shall be placed on the approved prepared surface at the locations and in accordance with the details shown on the drawings and specified in Section 7 of this specification.  It shall be unrolled along the placement area and loosely laid, without stretching, in such a manner that it conforms to the surface irregularities when material or gabions are placed on or against it.  The geotextile may be folded and overlapped to permit proper placement in designated area(s).

The geotextile shall be joined by overlapping a minimum of 18 inches (unless otherwise specified) and secured against the underlying foundation material.  Securing pins, approved and provided by the geotextile manufacturer, shall be placed along the edge of the panel or roll material to adequately hold it in place during installation.  Pins shall be steel or fiberglass formed as a U, L, or T shape or contain "ears" to prevent total penetration through the geotextile.  Steel washers shall be provided on all but the U-shaped pins.  The upstream or upslope geotextile shall overlap the abutting downslope geotextile.  At vertical laps, securing pins shall be inserted through the bottom layers along a line through approximately the mid-point of the overlap.  At horizontal laps and across slope labs, securing shall be inserted through the bottom layer only.  Securing pins shall be placed along a line about 2 inches in from the edge of the placed geotextile at intervals not to exceed 12 feet unless otherwise specified.  Additional pins shall be installed as necessary and where appropriate to prevent any undue slippage or movement of the geotextile.  The use of securing pins will be held to the minimum necessary.  Pins are to remain in place unless otherwise specified.

Should the geotextile be torn or punctured, or the overlaps or sewn joint disturbed, as evidenced by visible geotextile damage, subgrade pumping, intrusion, or grade distortion, the backfill around the damaged or displaced area shall be removed and restored to the original approved condition.  The repair shall consist of a patch of the same type of geotextile being used and overlaying the existing geotextile.  When the geotextile seams are required to be sewn, the overlay patch shall extend a minimum of 1 foot beyond the edge of any damaged area and joined by sewing as required for the original geotextile except that the sewing shall be a minimum of 6 inches from the edge of the damaged geotextile.  Geotextile panels joined by overlap shall have the patch extend a minimum of 2 feet from the edge of any damaged area.

The geotextile shall not be placed until it can be anchored and protected with the specified covering within 48 hours or protected from exposure to ultraviolet light.  In no case shall material be dropped on uncovered geotextile from a height of more than 3 feet.

6.	Measurement and payment

Method 1—For items of work for which specific unit prices are established in the contract, the quantity of geotextile for each type placed within the specified limits is determined to the nearest specified unit by measurements of the covered surfaces only, disregarding that required for anchorage, seams, and overlaps.  Payment is made at the contract unit price.  Such payment constitutes full compensation for the completion of the work.

Method 2—For items of work for which specific unit prices are established in the contract, the quantity of geotextile for each type placed with the specified limits is determined to the nearest specified unit by computing the area of the actual roll size or partial roll size installed.  The computed area will include the amount required for overlap, seams, and anchorage as specified. Payment is made at the contract unit price.  Such payment constitutes full compensation for the completion of the work.

Method 3—For items of work for which specific lump sum prices are established in the contract, the quantity of geotextile is not measured for payment.  Payment for geotextiles is made at the contract lump sum price and constitutes full compensation for the completion of the work.

All methods—The following provisions apply to all methods of measurement and payment. Compensation for any item of work described in the contract, but not listed in the bid schedule, is included in the payment for the item of work to which it is made subsidiary.  Such items and the items to which they are made subsidiary are identified in Section 7 of this specification.

7.	Items of work and construction details

Items of work to be constructed in conformance with these specifications and the construction details therefor are:

Bid Item 23, Geotextile

- This item shall consist of furnishing and installing the non-woven geotextile around the pipe joints, beneath the rock riprap and on the brush dam on the site as shown on the drawings.  This item shall include the periodic removal and disposal of sediment accumulated upstream from the brush dam.  Sediment will be removed before accumulated depth reaches one-half the height of the brush dams.

- The geotextile furnished for use beneath the rock riprap shall meet the requirements for Class A Erosion Control Geotextile from AASHTO M 288 and Section 810, Geotextiles, of the latest edition of the Alabama Department of Transportation Standard Specifications for Highway Construction.  Geotextile shall be furnished in rolls not less than 12 ft. in width.  Subgrade surfaces on which fabric is placed shall be reasonably smooth and free of rocks, clods, roots or other objects which could puncture or tear the fabric.

- The fabric beneath the riprap shall be placed with a minimum overlap of 24 inches and shall be secured in place as specified in Section 5.

- The geotextile furnished for the brush dam shall meet the requirements for wire supported or self supported silt fences from AASHTO M 288 and Section 810, Geotextiles, of the latest edition of the Alabama Department of Transportation Standard Specifications for Highway Construction. The geotextile shall be furnished in rolls not less than 12 ft. in width.  Fabric shall be draped over the upstream face of the brush dams and tied or nailed at the top edge sufficiently to keep the fabric in place.

- Fabric shall be installed on the upstream side of the brush dam with the bottom edge buried about 12 in. into the ground to prevent blow out underneath the fabric. The brush dam and fabric shall be installed prior to any other land disturbance activities.

- Remove and dispose of sediment accumulated on the upstream side of the brush dam prior to vegetating the site.

- The geotextile will be left in place on the brush dam after construction has been completed.

- Measurement and payment will be by Method