The below list is provided to assist facilities to identify companies that provided accessories to mitigate entrapment areas.  This list is for your convenience only and does not represent an endorsement by NCPS of the companies listed or the ability or effectiveness of any product to address any specific entrapment issue with your beds.  Additionally, the list is not all-inclusive and other companies may provide similar accessories, please consult with your contracting office to determine authorized vendors.

# Accessories to mitigate entrapment areas

| Accessories | Possible Companies |
| --- | --- |
| Pads & Wedges Rail bumper wedges – elongated pads that address gaps between mattress and side rail and cover the openings in siderails Rail pads – elongated pads that address gaps between mattress and side rail and cover the openings in siderails | Ali-Med Carroll Healthcare Hill-Rom Posey Co Skil-Care. |
| Drapes, Covers and Shields Rail covers – devices of cloth, net or plastic that slip over siderails to close opening. Entrapment shields – rigid plastic device attached to siderail which occludes all openings along the side of the bed | Hill-Rom Posey Co Alimed |
| Gap Fillers: Foam, plastic or other materials used to fill gaps between mattress and bed parts Side Rail Extender – detachable device to bridge the gap between head and foot siderails Side Rail inserts – rigid plastic that inserts into the siderail openings | Ali-Med Hill-Rom Posey Co Skil Care SpanAmerica |
| Patient egress/location detectors: Patient Positioning Monitor or Bed exit alarms – device to detect unassisted movement in bed or exit from bed | Ali-Med Hill-Rom Posey Co Stryker Medical |
| Raised Perimeter Foam (Winged) Mattresses: | Ali-Med B. G. Industries E.H.O.B. KCI Mason Medical Medline Posey Co Skil-Care Span-America Spectrum |
| Wider Mattresses: Helps to decrease gap between side rail and mattress | Hill-Rom Span-America |
| Positioning Aids: Assist Bars – devices attached to side of bed to help patients reposition while in bed Lifting pole – device suspended above the bed to help patients change positions. Folding grip rail – hinged rail device to provide stability transferring in and out of bed | Ali-Med AllegroMedical Carroll Healthcare Hill-Rom Noa Co. |
| Net Enclosures: Bed enclosures made of fabric or net which completely enclose an area over the bed and prevent a patient from being able to exit the bed in any direction | Vail Co. Vivax Medical Corp. |
| Bed Control Options Pendant Controls | Carroll Hill-Rom Stryker Sunrise Medical |