## Introduction

This guide documents the specifications for submitting data for the Unregulated Contaminant Monitoring Regulation (UCMR) program to the U.S. Environmental Protection Agency (EPA) in a flat file format. Only laboratories that are registered with EPA’s Central Data Exchange (CDX) can submit data to the Safe Drinking Water Accession and Review System (SDWARS). SDWARS is the information system that supports the collection of data for the UCMR.

Preliminary analytical data are entered by laboratories on behalf of the public water systems (PWSs) participating under the rule. The PWS can then review their data online. Data approved by the PWS are then available for state and EPA review before being transmitted to the National Drinking Water Contaminant Occurrence Database (NCOD). To learn more about CDX and how to register, contact the CDX Helpdesk by phone (1-888-890-1995) or e-mail at EPACDX@CSC.COM.

The flat file should be a “tab-delimited” file.

## Error Corrections and Resubmissions

Correcting Errors

If a submission contains errors that prevent it from being parsed into SDWARS, CDX will notify you of the error by sending a notification to your “MyCDX” inbox (see Figure 1) and your registered e-mail address.

Figure 1. CDX Inbox with Error Notification

Data checks occur at two stages during the file upload process—authentication and data validation. Authentication occurs as soon as CDX receives the file. CDX authenticates your account and the file name. These messages are sent to your “MyCDX” inbox and your e-mail address registered with CDX. Table 1 shows the error messages you could receive.

Table 1. Authentication Error Messages

Error Message

TBD

The data validation function performs checks in two parts—format and UCMR validations. SDWARS will conduct data validation and verifications according to UCMR. If the file does not pass the checks, SDWARS will provide an error message in the user’s “MyCDX” inbox. The notice (see Figure 2) lists up to the first 25 errors in the submitted file.

SDWARS verifies the data by first checking general format and verifying IDs (i.e., correct format for date, valid PWSID, valid method, valid facility ID, valid sample point ID). Table 2 lists common error messages for data formatting and general validations. These messages identify the probable cause for the error and recommended corrective actions.

Figure 2. Notice with Details of Errors

TBD

Table 2. Common Formatting/Validation Error Messages

Error message

analytical result is already on record

analytical result is not on record

facility identifier is not five digits

facility is not on record

lab is not on record

PWS is not on record

sample collection date postdates sampling event data entry

sample collection date predates the start of monitoring

sample event is not on record

sample point identifier contains non-letter, non-digit characters

sample point is not on record

sample schedule is not on record

user identifier is not formatted correctly

Resubmitting Data

The laboratory can submit a flat file as an original transaction or a resubmission. The type of submission is indicated in the TransactionPurposeIdentifier element. The laboratory may resubmit results for a sample if the result has not yet been approved. When resubmitting data, the laboratory must use the code "r" that indicates the transaction contains records that will replace existing records. The laboratory must rename the file before resubmitting it. The resubmission will overwrite the existing data in the CDX database. The laboratory may confirm that the data were overwritten by viewing the records in the SDWARS application.

The laboratory is the only entity that may edit sampling and analytical data. The laboratory can only edit data that are in "lab hold" status in the SDWARS database. If the laboratory needs to edit data that has already been approved by the PWS, then the PWS or the laboratory must request that the SDWARS Workbook Manager return editing rights to the laboratory. The SDWARS Workbook Manager can be contacted at UCMR_Sampling_Coordinator@epa.gov.

Checking the Range of Data Values

In addition to the edit validations described in the preceding sections, SDWARS reviews several fields for specific values or ranges. In some cases it may entirely reject the record for failing the range check, while in others it may create a warning that requires the laboratory to manually review and either approve or modify the results. This section describes each of these fields.

UCMR Data Range Checks

The UCMR has specific minimum values for different analytes. Information about minimum reporting levels (MRLs) is in the following regulation:

- 40 CFR, Part 141, “Monitoring Requirements for the Unregulated Contaminants;” final rule, January 4, 2007

SDWARS Data Range Checks

SDWARS will check the range of some data values. Table 3 shows the list of elements that SDWARS checks. SDWARS assigns a range or value that the element must satisfy, and the range or value it should satisfy. The “must” checks will prevent the data from loading and will result in an error notification to your “MyCDX” inbox and registered e-mail address. However, the “should” checks will not result in preventing the data from loading. Instead, the “should” checks will flag results as having potential errors for your laboratory to confirm. If data are submitted that violate the “should” criteria, then the status of those records will be “lab hold” and you must use the Web forms to override the range check (or correct the value through Web forms or a replacement file). You cannot approve data where a range check notification has not been addressed. Thus, the data cannot be sent to the PWS to approve and will remain in the “lab hold” status.

You have two options to edit a range check. In order to override the warning message and approve the data, you must use the Web forms. If, in reviewing the data, you believe the data should be corrected, you may do so either by using the Web form or by correcting the data in your system and issuing a replacement transaction.

Table 3. Range Checks Performed by SDWARS

| Error | Can be overridden? |
| --- | --- |
| concentration fortified result value is less than one half of the minimum reporting level | N |
| concentration fortified result value is more than the maximum reasonable value | Y |
| field sample result value is less than the minimum reporting level | N |
| field sample result value is more than the maximum reasonable value | Y |
| field sample result value is not null with indication of below minimum reporting level | N |
| field sample result value is null with no indication of below minimum reporting level | N |
| lab fortified sample matrix duplicate result value is less than 0.0001 | N |
| lab fortified sample matrix duplicate result value is less than one tenth of the minimum reporting level | Y |
| lab fortified sample matrix duplicate result value is more than the maximum reasonable value | Y |
| lab fortified sample matrix result value is less than 0.0001 | N |
| lab fortified sample matrix result value is less than one tenth of the minimum reporting level | Y |
| lab fortified sample matrix result value is more than the maximum reasonable value | Y |

Flat File Format, UCMR Reporting

How to Read the Record Definitions

Table 4. Explanation of the Layout for Record Definitions

| Column | Purpose |
| --- | --- |
| Element | Provides the name for the element. |
| Type and size | Specifies the allowable character types and the number of characters. Types [AN = alphanumeric and special characters, N = numeric characters with optional decimal “.”] ; Sizes [absolute (e.g., “9”), range (e.g., “1-5”)] |
| May be null | Indicates if the element is allowed to be valued as “null”. |
| Codes | Specifies acceptable code values for coded elements. |
| Notes | Provides additional information about element definitions, their purposed, or values. |

Header Record Definitions

Occurs once at the beginning of a transaction file to provide transaction processing information.

Table 5. Header Record Definitions

| Element | Type and size | May be null | Code | Notes |
| --- | --- | --- | --- | --- |
| start_tag | AN 3 | No | HDR | Identifies the record type as a header record. Used by CDX to determine processing functions. |
| lab_ID | AN 7 | No |  | Identifies the laboratory submitting the data. Your laboratory ID begins with the standard 2-character postal state abbreviation and the remaining 5 numbers are unique to each lab in the state. The lab_ID must exist in CDX Registration for the submitting user. |
| transaction_ purpose | AN 1 | No | O, R | An “O” identifies the transaction contains only new data (originals only). An “R” identifies the transaction contains replacement data and may contain some original data. The replacement submission identifies the records already exist. If they do, the system will overwrite those existing records in SDWARS (replacements permitted). Once a transaction is defined with the purpose of either "O" or "R", then all records in that transaction will be processed under the rules of the selected purpose code. If "O", then all duplicate transaction records in SDWARS are rejected. SDWARS will reject the entire file if any error is found. Used by CDX to determine processing functions. O: Originals R: Replacements permitted |

Collection Record Definitions

The Collection record occurs once for each sample ID. A separate Collection record is required for each sample collected.

Table 6. Collection Record Definitions

| Element | Type and size | May be null | Code | Notes |
| --- | --- | --- | --- | --- |
| start_tag | AN 3 | No | COL | Identifies the record type as a collection record. Used by CDX to determine processing functions. |
| pws_ID | AN 9 | No |  | Identifies the PWS from which the sample was taken. The PWS ID begins with the standard 2-character postal state abbreviation or region code and the remaining 7 numbers are unique to each PWS in the state, with the exception of Utah where the code is 4 characters followed by 5 digits. |
| facility_ID | N 5 | No |  | This element is an identification code established by the state or, at the state's discretion, by the PWS, following the format of a 5-digit number unique within each PWS for each applicable facility. Leading zeros are required. |
| sample_point ID | AN 1-20 | No |  | This element is an identification code established by the state, or at the state's discretion, by the PWS, unique within each applicable facility, for each applicable sample location. This element must contain only letters and numbers (a-z, A-Z, 0-9). |
| schedule_ event | AN 3 | No | (See Appendix A) | Indicates the sequence number associated with the specific event. |
| monitoring_ type | AN 2 | No | (See Appendix B) | Identifies list 1 or list 2 monitoring. |
| collection_ date | N 8 | No |  | Identifies the date the sample was collected. Date format is “YYYYMMDD”. |
| sample_ID | AN 1-30 | No |  | Uniquely identifies containers, or groups of containers, which hold the water samples collected at the same sampling location during the same sample collection date. This value must be unique for the lab. |
| lab_sample_ comment | AN 1-4000 | Yes |  | Optional laboratory comments about the sample. |

Result Record Definitions

The Result record provides a single analytical result for a sample. A separate Result record is required for each analyte analyzed from a sample.

Table 7. Result Record Definitions

| Element | Type and size | May be null | Code | Notes |
| --- | --- | --- | --- | --- |
| start_tag | AN 3 | No | RES | Identifies the record type as a result record. Used by CDX to determine processing functions. |
| sample_ID | AN 1-30 | No |  | Must exist in a preceding/corresponding “COL” record. |
| analytical_ method | AN 1-20 | No | (See Appendix C) | This element is the identification code of the analytical method used. Labs must be approved for a method, as displayed on the Lab home page. Methods are limited to the monitoring_type. |
| analyte_ code | AN 1-4 | No | (See Appendix D) | This element is the identification code of the compound being analyzed. The analyte must be applicable for the Method provided. See Appendix F – Analytes-to-Methods for a list of methods and their analytes. |
| sample_ type | AN 1-5 | No | (See Appendix E) | Indicates the type of sample collected and/or prepared, as well as the fortification level. |
| result_ measure | N 0.00000- 99999. 99999 | Yes |  | This element contains the actual numeric value of the analysis for: field samples; laboratory fortified matrix samples; laboratory fortified sample matrix duplicates; and concentration fortified. If a value is provided, ResultBelowMinimumReportingLevelIndicator must be "N". “N/A” may be provided. N/A: NULL |
| result_ below_mrl | AN 1 | No | Y, N | This element is a "Yes/No" indicator specifying whether the ResultMeasure value was below the measurable threshold for this analyte. If ResultMeasure is provided, this must be "N". |
| review_ status | AN 4-7 | No | APPROVE, HOLD | Indicates the review status of this analyte in this sample. |

Appendix A

Schedule Event Code List

| Schedule Event Code | Schedule Event Description |
| --- | --- |
| SE1 | Schedule Event 1 |
| SE2 | Schedule Event 2 |
| SE3 | Schedule Event 3 |
| SE4 | Schedule Event 4 |

Appendix B

Monitoring Type Code List

| Monitor Type Code | Monitor Type Description |
| --- | --- |
| AM | Assessment Monitoring (List 1) |
| SS | Screening Survey (List 2) |

Appendix C

Method Code List

| Method Code | Method Description | Monitoring Code |
| --- | --- | --- |
| EPA 521 | EPA 521 | SS |
| EPA 525.2 | EPA 525.2 | SS |
| EPA 527 | EPA 527 | AM |
| EPA 529 | EPA 529 | AM |
| EPA 535 | EPA 535 | SS |

Appendix D

Analyte Code List

| Analyte Code | Analyte Name |
| --- | --- |
| 2004 | alachlor ESA |
| 2027 | acetochlor |
| 2045 | metolachlor |
| 2051 | alachlor |
| 2096 | hexahydro-1,3,5-trinitro-1,3,5-triazine |
| 2221 | dimethoate |
| 2314 | N-nitroso-dimethylamine |
| 2316 | N-nitroso-di-n-propylamine |
| U001 | terbufos sulfone |
| U002 | 2,2',4,4'-tetrabromodiphenyl ether |
| U003 | 2,2',4,4',5-pentabromodiphenyl ether |
| U004 | 2,2',4,4',5,5'-hexabromobiphenyl |
| U005 | 2,2',4,4',5,5'-hexabromodiphenyl ether |
| U006 | 2,2',4,4',6-pentabromodiphenyl ether |
| U007 | 1,3-dinitrobenzene |
| U008 | 2,4,6-trinitrotoluene |
| U009 | alachlor OA |
| U010 | acetochlor ESA |
| U011 | acetochlor OA |
| U012 | metolachlor ESA |
| U013 | metolachlor OA |
| U014 | N-nitroso-diethylamine |
| U015 | N-nitroso-di-n-butylamine |
| U016 | N-nitroso-methylethylamine |
| U017 | N-nitroso-pyrrolidine |

Appendix E

Sample Type Code List

| Sample Type Code | Sample Type Description |
| --- | --- |
| CF | Concentration Fortified |
| FS | Field Sample |
| LFSM | Lab Fortified Sample Matrix |
| LFSMD | Lab Fortified Sample Matrix Duplicate |

Appendix F

Analytes-to-Methods

| Analyte Code | Method Code | Maximum Reasonable Value | Minimum Reporting Level |
| --- | --- | --- | --- |
| 2004 | EPA 535 | 300 | 1 |
| 2027 | EPA 525.2 | 99 | 2 |
| 2045 | EPA 525.2 | 99 | 1 |
| 2051 | EPA 525.2 | 99 | 2 |
| 2096 | EPA 529 | 99 | 1 |
| 2221 | EPA 527 | 70 | 0.7 |
| 2314 | EPA 521 | 0.99 | 0.002 |
| 2316 | EPA 521 | 0.99 | 0.007 |
| U001 | EPA 527 | 40 | 0.4 |
| U002 | EPA 527 | 30 | 0.3 |
| U003 | EPA 527 | 90 | 0.9 |
| U004 | EPA 527 | 70 | 0.7 |
| U005 | EPA 527 | 80 | 0.8 |
| U006 | EPA 527 | 50 | 0.5 |
| U007 | EPA 529 | 80 | 0.8 |
| U008 | EPA 529 | 80 | 0.8 |
| U009 | EPA 535 | 300 | 2 |
| U010 | EPA 535 | 300 | 1 |
| U011 | EPA 535 | 300 | 2 |
| U012 | EPA 535 | 300 | 1 |
| U013 | EPA 535 | 300 | 2 |
| U014 | EPA 521 | 0.99 | 0.005 |
| U015 | EPA 521 | 0.99 | 0.004 |
| U016 | EPA 521 | 0.99 | 0.003 |
| U017 | EPA 521 | 0.99 | 0.002 |