## Potencyand EfficacyInstructions
Test-Retest Potency/Efficacy Template Instructions
1. | Potency Estimates such as Ki's, IC50's and EC50's should use the Potency spreadsheet.
Efficacy Estimates such as %maximal response should use Efficacy sheet.
2. | Enter Run 1 Data into column 2, rows 4-103. Be sure to include any prefixes (>, <, *) in the column
as well as the number. Start at the top using only the number of rows required.
3. | Enter Run 2 Data into column 3, rows 4-103. Be sure to include any prefixes (>, <, *) in the column
as well as the number. Start at the top using only the number of rows required.
4. | Paste in the compound identifiers in Column 1, rows 4-103. Note that these are not actually
displayed on any report.
5. | The spreadsheet will automatically plot the results and compute the Test-Retest statistics and
indicate if the results are within the guidelines for test-retest studies.
6. | Do not modify any part of the spreadsheet except for A4-C103.
7. | Maximum number of compounds is 100.
8. | See the Assay Guidelines for
a complete discussion of the test-retest study design and analysis.
9. | Abbreviations
MR - Mean Ratio
RLs - Ratio Limits (Statistical Limits of the Mean Ratio)
MSR - Minimum Significant Ratio
LsA - Limits of Agreement
MD - Mean Difference
LsAd - Limits of Agreement for the Difference
10. | Assay Requirements - Potency
1(a). No statistically significant difference between runs or,
1(b). A MR between 0.91 and 1.1
2. An MSR < 3, and LsA between 0.33 and 3.0.
11. | Assay Requirements - Efficacy
1(a). No statistically significant difference between runs or,
1(b). A MD between -10 and 10%.
2. Limits of Agreement between -15 and 15%.

## Potency
| Potency Spreadsheet | [9 empty] | Intermediate Calculations - Do Not Modify
Log Potency
Compound | Run 1 | Run 2 | [5 empty] | Run 1 | Run 2 | Diffs | Average | Paired Ratios | Geometric Mean | Ratio |  | X Axis Limits (Log) | Mean Diff (Log) | Geometric Mean | MR | RLs | LsA | Rounded X Axis | Ref Line
[12 empty] | #N/A | #N/A | SD diff | #DIV/0! | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 1
[12 empty] | #N/A | #N/A | MSR | #DIV/0! | 0 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | 10 | 1
[12 empty] | #N/A | #N/A | SE diff | #DIV/0!
[12 empty] | #N/A | #N/A |  |  | 0 |  | 1 |  | #DIV/0! | #DIV/0!
[12 empty] | #N/A | #N/A |  |  | 0 |  | 1 |  | #DIV/0! | #DIV/0!
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A | Count | 0
[12 empty] | #N/A | #N/A | Tvalue | #NUM!
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[6 empty] | Equivalence Test Results | [5 empty] | #N/A | #N/A
|  |  | Statistical | N | 0 | [6 empty] | #N/A | #N/A
|  |  | Analysis | MR | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | #N/A | #N/A
|  |  |  | RLs | #DIV/0! | [6 empty] | #N/A | #N/A
[5 empty] | #DIV/0! | [6 empty] | #N/A | #N/A
|  |  |  | Sig Diff Bet | [7 empty] | #N/A | #N/A
|  |  |  | Runs Test | #DIV/0! | [6 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[6 empty] | Reproducibility Test Results | [5 empty] | #N/A | #N/A
|  |  |  | MSR (Within-Run) | #DIV/0! | [6 empty] | #N/A | #N/A
|  |  |  | LsA | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | #N/A | #N/A
[5 empty] | #DIV/0! | [6 empty] | #N/A | #N/A
|  |  |  | SD | #DIV/0! | [6 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
[12 empty] | #N/A | #N/A
Max Number of Compound Pairs Permitted - Do not go below this line
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries

## Efficacy
| Efficacy Spreadsheet | [9 empty] | Intermediate Calculations - Do Not Modify
Efficacy
Compound | Run 1 | Run 2 | [5 empty] | Run 1 | Run 2 | Diff | Average | Diff | Average | Diff |  | X Axis Limits | Mean Diff | MD | DLs | LsAd | Rounded X Axis | Ref Line
[10 empty] | #N/A | #N/A |  |  | SD diff | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0
[10 empty] | #N/A | #N/A |  |  | MSD | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | 0
[10 empty] | #N/A | #N/A |  |  | SE diff | #DIV/0!
[10 empty] | #N/A | #N/A |  |  |  |  | 0 |  |  | #DIV/0! | #DIV/0!
[10 empty] | #N/A | #N/A |  |  |  |  | 0 |  |  | #DIV/0! | #DIV/0!
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A |  |  | Count | 0
[10 empty] | #N/A | #N/A |  |  | T value | #NUM!
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[6 empty] | Equivalence Test Results |  |  |  | #N/A | #N/A
|  |  | Statistical | N | 0 |  |  |  |  | #N/A | #N/A
|  |  | Analysis | MD | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #N/A | #N/A
|  |  |  | DLs | #DIV/0! |  |  |  |  | #N/A | #N/A
[5 empty] | #DIV/0! |  |  |  |  | #N/A | #N/A
|  |  |  | Test for Sig Diff Bet | [5 empty] | #N/A | #N/A
|  |  |  | Between Runs | #DIV/0! |  |  |  |  | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[6 empty] | Reproducibility Test Results |  |  |  | #N/A | #N/A
|  |  |  | MSD (Within-Run) | #DIV/0! |  |  |  |  | #N/A | #N/A
|  |  |  | LsAd | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #N/A | #N/A
[5 empty] | #DIV/0! |  |  |  |  | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
Max Number of Compound Pairs Permitted - Do not go below this line
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries

## MSSR Instructions
MSSR Template Instructions
Addition to the Test-Retest Potency/Efficacy Template
1 | Follow the instructions given in the Potency and Efficacy Instructions
to paste the data from the first assay into the Potency spreadsheet.
2 | On the MSSR spreadsheet enter the name of the assay in Column A.
3 | In Column B enter the SD for that assay. The SD can be found on the Potency spreadsheet
4 | Repeat steps 1-3 for each assay.
5 | A maximum of 25 assays can be entered.
6 | Abbreviations
MSR - Minimum Significant Ratio
MSSR - Minimum Significant Selectivity Ratio
SD - Standard Deviation
Caveats:
The Potency page is designed only for test-retest studies with two replicates. If there are more than two
replicates, please ask a Statistician for assistance in calculating the appropriate SD's to insert into Column B.
These calculations give a within-run MSSR. Therefore the estimates are only valid for assays run at the
same time under the same conditions. The resulting MSSR can only be applied to future compounds that are run
at the same time under the same conditions. If these requirements are not met, the MSSR cannot be
calculated using Excel. Please ask a Statistician for assistance to calculate a between-run MSSR.

## MSSR
[8 empty] | Assay MSR and the MSSR Between Two Assays | [12 empty] | Assay MSR and the MSSR Between Two Assays | [7 empty] | =SD1^2+SD2^2
Assay | SD | [6 empty] | The MSR of an assay is the first value found in that assay's column | [12 empty] | The MSR of an assay is the first value found in that assay's column | [8 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y
A | 0.1466 | [6 empty] | The MSSR of two assays is the value found in the row and column of those assays | [12 empty] | The MSSR of two assays is the value found in the row and column of those assays | [7 empty] | A | 0.042983 | 0.045424 | 0.047995 | 0.050698 | 0.040178 | 0.056498 | 0.059595 | 0.048453 | 0.039234 | 0.048453 | 0.040107 | 0.037282 | 0.034689 | 0.032328 | 0.0302 | 0.028304 | 0.026641 | 0.02521 | 0.024012 | 0.023045 | 0.022312 | 0.021811 | 0.021542 | 0.048552 | 0.042749
B | 0.1547 | [27 empty] | B | 0.045424 | 0.047864 | 0.050436 | 0.053139 | 0.042619 | 0.058938 | 0.062035 | 0.050894 | 0.041674 | 0.050894 | 0.042548 | 0.039723 | 0.03713 | 0.034769 | 0.032641 | 0.030745 | 0.029082 | 0.027651 | 0.026452 | 0.025486 | 0.024752 | 0.024251 | 0.023982 | 0.050992 | 0.04519
C | 0.1628 | [6 empty] | For Example: | [20 empty] | C | 0.047995 | 0.050436 | 0.053008 | 0.055711 | 0.045191 | 0.06151 | 0.064607 | 0.053465 | 0.044246 | 0.053465 | 0.04512 | 0.042294 | 0.039701 | 0.037341 | 0.035212 | 0.033317 | 0.031653 | 0.030222 | 0.029024 | 0.028058 | 0.027324 | 0.026823 | 0.026554 | 0.053564 | 0.047761
D | 0.1709 | [27 empty] | D | 0.050698 | 0.053139 | 0.055711 | 0.058414 | 0.047894 | 0.064213 | 0.06731 | 0.056168 | 0.046949 | 0.056168 | 0.047823 | 0.044997 | 0.042404 | 0.040044 | 0.037915 | 0.03602 | 0.034356 | 0.032925 | 0.031727 | 0.030761 | 0.030027 | 0.029526 | 0.029257 | 0.056267 | 0.050464
E | 0.1367 |  |  | A | has an MSR = |  | 2.598 | [21 empty] | E | 0.040178 | 0.042619 | 0.045191 | 0.047894 | 0.037374 | 0.053693 | 0.05679 | 0.045649 | 0.036429 | 0.045649 | 0.037303 | 0.034477 | 0.031884 | 0.029524 | 0.027396 | 0.0255 | 0.023836 | 0.022405 | 0.021207 | 0.020241 | 0.019507 | 0.019006 | 0.018737 | 0.045747 | 0.039945
F | 0.1871 | [6 empty] | Two compounds must have a fold difference of at least | 2.598 | to be considered statistically different | [18 empty] | F | 0.056498 | 0.058938 | 0.06151 | 0.064213 | 0.053693 | 0.070013 | 0.073109 | 0.061968 | 0.052749 | 0.061968 | 0.053622 | 0.050797 | 0.048204 | 0.045843 | 0.043715 | 0.041819 | 0.040156 | 0.038725 | 0.037526 | 0.03656 | 0.035827 | 0.035325 | 0.035057 | 0.062067 | 0.056264
G | 0.1952 | [27 empty] | G | 0.059595 | 0.062035 | 0.064607 | 0.06731 | 0.05679 | 0.073109 | 0.076206 | 0.065065 | 0.055845 | 0.065065 | 0.056719 | 0.053893 | 0.0513 | 0.04894 | 0.046812 | 0.044916 | 0.043253 | 0.041822 | 0.040623 | 0.039657 | 0.038923 | 0.038422 | 0.038153 | 0.065163 | 0.059361
H | 0.1642 |  |  |  | The MSSR between | A | and | B | = | 2.6684 | [18 empty] | H | 0.048453 | 0.050894 | 0.053465 | 0.056168 | 0.045649 | 0.061968 | 0.065065 | 0.053923 | 0.044704 | 0.053923 | 0.045578 | 0.042752 | 0.040159 | 0.037798 | 0.03567 | 0.033774 | 0.032111 | 0.03068 | 0.029482 | 0.028516 | 0.027782 | 0.027281 | 0.027012 | 0.054022 | 0.048219
I | 0.1332 | [5 empty] | The result of a compound tested in assay | A | is statistically different than the result of the same compound | [19 empty] | I | 0.039234 | 0.041674 | 0.044246 | 0.046949 | 0.036429 | 0.052749 | 0.055845 | 0.044704 | 0.035484 | 0.044704 | 0.036358 | 0.033533 | 0.03094 | 0.028579 | 0.026451 | 0.024555 | 0.022892 | 0.021461 | 0.020262 | 0.019296 | 0.018562 | 0.018061 | 0.017792 | 0.044802 | 0.039
J | 0.1642 |  |  |  | tested in assay |  | B | if the fold difference between the two results is at least | [5 empty] | 2.6684 | [14 empty] | J | 0.048453 | 0.050894 | 0.053465 | 0.056168 | 0.045649 | 0.061968 | 0.065065 | 0.053923 | 0.044704 | 0.053923 | 0.045578 | 0.042752 | 0.040159 | 0.037798 | 0.03567 | 0.033774 | 0.032111 | 0.03068 | 0.029482 | 0.028516 | 0.027782 | 0.027281 | 0.027012 | 0.054022 | 0.048219
K | 0.13644 | [27 empty] | K | 0.040107 | 0.042548 | 0.04512 | 0.047823 | 0.037303 | 0.053622 | 0.056719 | 0.045578 | 0.036358 | 0.045578 | 0.037232 | 0.034406 | 0.031813 | 0.029453 | 0.027324 | 0.025429 | 0.023765 | 0.022334 | 0.021136 | 0.02017 | 0.019436 | 0.018935 | 0.018666 | 0.045676 | 0.039874
L | 0.12566 |  | A | [25 empty] | L | 0.037282 | 0.039723 | 0.042294 | 0.044997 | 0.034477 | 0.050797 | 0.053893 | 0.042752 | 0.033533 | 0.042752 | 0.034406 | 0.031581 | 0.028988 | 0.026627 | 0.024499 | 0.022603 | 0.02094 | 0.019509 | 0.01831 | 0.017344 | 0.016611 | 0.016109 | 0.015841 | 0.042851 | 0.037048
M | 0.11488 | A | 2.598 | B | [24 empty] | M | 0.034689 | 0.03713 | 0.039701 | 0.042404 | 0.031884 | 0.048204 | 0.0513 | 0.040159 | 0.03094 | 0.040159 | 0.031813 | 0.028988 | 0.026395 | 0.024034 | 0.021906 | 0.02001 | 0.018347 | 0.016916 | 0.015717 | 0.014751 | 0.014018 | 0.013516 | 0.013248 | 0.040258 | 0.034455
N | 0.1041 | B | 2.6684 | 2.7388 | C | [23 empty] | N | 0.032328 | 0.034769 | 0.037341 | 0.040044 | 0.029524 | 0.045843 | 0.04894 | 0.037798 | 0.028579 | 0.037798 | 0.029453 | 0.026627 | 0.024034 | 0.021674 | 0.019545 | 0.01765 | 0.015986 | 0.014555 | 0.013357 | 0.012391 | 0.011657 | 0.011156 | 0.010887 | 0.037897 | 0.032094
O | 0.09332 | C | 2.7426 | 2.8129 | 2.8871 | D | [22 empty] | O | 0.0302 | 0.032641 | 0.035212 | 0.037915 | 0.027396 | 0.043715 | 0.046812 | 0.03567 | 0.026451 | 0.03567 | 0.027324 | 0.024499 | 0.021906 | 0.019545 | 0.017417 | 0.015521 | 0.013858 | 0.012427 | 0.011229 | 0.010263 | 0.0095289 | 0.0090276 | 0.0087587 | 0.035769 | 0.029966
P | 0.08254 | D | 2.8205 | 2.8909 | 2.9653 | 3.0435 | E | [21 empty] | P | 0.028304 | 0.030745 | 0.033317 | 0.03602 | 0.0255 | 0.041819 | 0.044916 | 0.033774 | 0.024555 | 0.033774 | 0.025429 | 0.022603 | 0.02001 | 0.01765 | 0.015521 | 0.013626 | 0.011962 | 0.010531 | 0.0093329 | 0.0083668 | 0.0076331 | 0.0071318 | 0.006863 | 0.033873 | 0.02807
Q | 0.07176 | E | 2.517 | 2.5875 | 2.6617 | 2.7396 | 2.4358 | F | [20 empty] | Q | 0.026641 | 0.029082 | 0.031653 | 0.034356 | 0.023836 | 0.040156 | 0.043253 | 0.032111 | 0.022892 | 0.032111 | 0.023765 | 0.02094 | 0.018347 | 0.015986 | 0.013858 | 0.011962 | 0.010299 | 0.0088681 | 0.0076695 | 0.0067034 | 0.0059697 | 0.0054685 | 0.0051996 | 0.03221 | 0.026407
R | 0.06098 | F | 2.988 | 3.0588 | 3.1335 | 3.2122 | 2.9069 | 3.3822 | G | [19 empty] | R | 0.02521 | 0.027651 | 0.030222 | 0.032925 | 0.022405 | 0.038725 | 0.041822 | 0.03068 | 0.021461 | 0.03068 | 0.022334 | 0.019509 | 0.016916 | 0.014555 | 0.012427 | 0.010531 | 0.0088681 | 0.0074371 | 0.0062386 | 0.0052725 | 0.0045388 | 0.0040375 | 0.0037687 | 0.030779 | 0.024976
S | 0.0502 | G | 3.0778 | 3.1487 | 3.2237 | 3.3028 | 2.9965 | 3.4736 | 3.5654 | H | [18 empty] | S | 0.024012 | 0.026452 | 0.029024 | 0.031727 | 0.021207 | 0.037526 | 0.040623 | 0.029482 | 0.020262 | 0.029482 | 0.021136 | 0.01831 | 0.015717 | 0.013357 | 0.011229 | 0.0093329 | 0.0076695 | 0.0062386 | 0.0050401 | 0.004074 | 0.0033403 | 0.002839 | 0.0025702 | 0.02958 | 0.023778
T | 0.03942 | H | 2.7558 | 2.8261 | 2.9004 | 2.9785 | 2.6749 | 3.1468 | 3.2371 | 2.9136 | I | [17 empty] | T | 0.023045 | 0.025486 | 0.028058 | 0.030761 | 0.020241 | 0.03656 | 0.039657 | 0.028516 | 0.019296 | 0.028516 | 0.02017 | 0.017344 | 0.014751 | 0.012391 | 0.010263 | 0.0083668 | 0.0067034 | 0.0052725 | 0.004074 | 0.0031079 | 0.0023742 | 0.0018729 | 0.0016041 | 0.028614 | 0.022812
U | 0.02864 | I | 2.4897 | 2.5603 | 2.6345 | 2.7124 | 2.4084 | 2.8797 | 2.9691 | 2.6477 | 2.3809 | J | [16 empty] | U | 0.022312 | 0.024752 | 0.027324 | 0.030027 | 0.019507 | 0.035827 | 0.038923 | 0.027782 | 0.018562 | 0.027782 | 0.019436 | 0.016611 | 0.014018 | 0.011657 | 0.0095289 | 0.0076331 | 0.0059697 | 0.0045388 | 0.0033403 | 0.0023742 | 0.0016405 | 0.0011392 | 0.00087038 | 0.02788 | 0.022078
V | 0.01786 | J | 2.7558 | 2.8261 | 2.9004 | 2.9785 | 2.6749 | 3.1468 | 3.2371 | 2.9136 | 2.6477 | 2.9136 | K | [15 empty] | V | 0.021811 | 0.024251 | 0.026823 | 0.029526 | 0.019006 | 0.035325 | 0.038422 | 0.027281 | 0.018061 | 0.027281 | 0.018935 | 0.016109 | 0.013516 | 0.011156 | 0.0090276 | 0.0071318 | 0.0054685 | 0.0040375 | 0.002839 | 0.0018729 | 0.0011392 | 0.00063796 | 0.00036911 | 0.027379 | 0.021577
W | 0.00708 | K | 2.515 | 2.5855 | 2.6597 | 2.7376 | 2.4338 | 2.9049 | 2.9944 | 2.6729 | 2.4063 | 2.6729 | 2.4317 | L | [14 empty] | W | 0.021542 | 0.023982 | 0.026554 | 0.029257 | 0.018737 | 0.035057 | 0.038153 | 0.027012 | 0.017792 | 0.027012 | 0.018666 | 0.015841 | 0.013248 | 0.010887 | 0.0087587 | 0.006863 | 0.0051996 | 0.0037687 | 0.0025702 | 0.0016041 | 0.00087038 | 0.00036911 | 0.00010025 | 0.02711 | 0.021308
X | 0.1645 | L | 2.4332 | 2.5039 | 2.5782 | 2.6561 | 2.3516 | 2.8233 | 2.9127 | 2.5914 | 2.324 | 2.5914 | 2.3495 | 2.2668 |  | M | [12 empty] | X | 0.048552 | 0.050992 | 0.053564 | 0.056267 | 0.045747 | 0.062067 | 0.065163 | 0.054022 | 0.044802 | 0.054022 | 0.045676 | 0.042851 | 0.040258 | 0.037897 | 0.035769 | 0.033873 | 0.03221 | 0.030779 | 0.02958 | 0.028614 | 0.02788 | 0.027379 | 0.02711 | 0.054121 | 0.048318
Y | 0.1458 | M | 2.3578 | 2.4287 | 2.5032 | 2.5813 | 2.2757 | 2.7486 | 2.8379 | 2.5165 | 2.248 | 2.5165 | 2.2737 | 2.1904 | M | 2.1131 | N | [11 empty] | Y | 0.042749 | 0.04519 | 0.047761 | 0.050464 | 0.039945 | 0.056264 | 0.059361 | 0.048219 | 0.039 | 0.048219 | 0.039874 | 0.037048 | 0.034455 | 0.032094 | 0.029966 | 0.02807 | 0.026407 | 0.024976 | 0.023778 | 0.022812 | 0.022078 | 0.021577 | 0.021308 | 0.048318 | 0.042515
|  | N | 2.2888 | 2.3601 | 2.4349 | 2.5131 | 2.2062 | 2.6805 | 2.7698 | 2.4481 | 2.1782 | 2.4481 | 2.2041 | 2.1201 | N | 2.042 | 1.9699 | O
|  | O | 2.2262 | 2.2979 | 2.373 | 2.4515 | 2.143 | 2.6192 | 2.7084 | 2.3863 | 2.1148 | 2.3863 | 2.1409 | 2.0561 | O | 1.977 | 1.9038 | 1.8363 | P
|  | P | 2.1701 | 2.2423 | 2.3177 | 2.3965 | 2.0863 | 2.5645 | 2.6538 | 2.3311 | 2.0578 | 2.3311 | 2.0841 | 1.9984 | P | 1.9183 | 1.8438 | 1.7749 | 1.7118 | Q
|  | Q | 2.1205 | 2.1931 | 2.269 | 2.3481 | 2.036 | 2.5164 | 2.6058 | 2.2824 | 2.0072 | 2.2824 | 2.0339 | 1.9472 | Q | 1.866 | 1.7901 | 1.7197 | 1.6548 | 1.5958 | R
|  | R | 2.0776 | 2.1506 | 2.2269 | 2.3063 | 1.9924 | 2.475 | 2.5645 | 2.2403 | 1.9633 | 2.2403 | 1.9902 | 1.9026 | R | 1.8202 | 1.743 | 1.6709 | 1.6042 | 1.5429 | 1.4876 | S
|  | S | 2.0413 | 2.1149 | 2.1914 | 2.2711 | 1.9555 | 2.4403 | 2.5299 | 2.205 | 1.9262 | 2.205 | 1.9533 | 1.8648 | S | 1.7813 | 1.7027 | 1.629 | 1.5603 | 1.4968 | 1.4387 | 1.3867 | T
|  | T | 2.0119 | 2.0859 | 2.1628 | 2.2427 | 1.9255 | 2.4122 | 2.502 | 2.1764 | 1.8959 | 2.1764 | 1.9233 | 1.834 | T | 1.7495 | 1.6697 | 1.5944 | 1.5238 | 1.458 | 1.3971 | 1.3417 | 1.2927 | U
|  | U | 1.9895 | 2.0638 | 2.1409 | 2.2211 | 1.9025 | 2.3909 | 2.4807 | 2.1546 | 1.8728 | 2.1546 | 1.9003 | 1.8104 | U | 1.725 | 1.6441 | 1.5676 | 1.4953 | 1.4273 | 1.3638 | 1.3049 | 1.2516 | 1.2051 | V
|  | V | 1.9741 | 2.0486 | 2.126 | 2.2063 | 1.8868 | 2.3763 | 2.4662 | 2.1396 | 1.8569 | 2.1396 | 1.8846 | 1.7941 | V | 1.7081 | 1.6265 | 1.5489 | 1.4754 | 1.4057 | 1.3399 | 1.2781 | 1.2205 | 1.1682 | 1.1234 | W
|  | W | 1.9658 | 2.0404 | 2.1179 | 2.1983 | 1.8783 | 2.3685 | 2.4584 | 2.1316 | 1.8483 | 2.1316 | 1.8761 | 1.7853 | W | 1.699 | 1.6169 | 1.5388 | 1.4645 | 1.3939 | 1.3267 | 1.263 | 1.2025 | 1.1455 | 1.0925 | 1.0472 | X
|  | X | 2.7586 | 2.829 | 2.9032 | 2.9814 | 2.6778 | 3.1497 | 3.24 | 2.9164 | 2.6505 | 2.9164 | 2.6757 | 2.5942 | X | 2.5193 | 2.451 | 2.3892 | 2.334 | 2.2853 | 2.2433 | 2.2079 | 2.1793 | 2.1575 | 2.1426 | 2.1345 | 2.9193 | Y
|  | Y | 2.5913 | 2.6617 | 2.7358 | 2.8138 | 2.5103 | 2.9813 | 3.071 | 2.749 | 2.4829 | 2.749 | 2.5082 | 2.4264 | Y | 2.3509 | 2.2819 | 2.2193 | 2.1631 | 2.1135 | 2.0705 | 2.0342 | 2.0048 | 1.9823 | 1.9669 | 1.9586 | 2.7519 | 2.5845
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries
Page Limit Boundaries