SPECIAL SPECIFICATION

SECTION 04270

GLASS UNIT MASONRY

Page

PART 1 - GENERAL

1.01	Related Documents ..............................................................................	2

1.02	References ........................................................................................	2

1.03	Summary .........................................................................................	3

1.04	Submittals ........................................................................................	3

1.05	Quality Assurance ...............................................................................	3

1.06	Delivery, Storage, and Handling ..............................................................	3

1.07	Project Conditions ...............................................................................	4

PART 2 - PRODUCTS

2.01	Manufacturers ....................................................................................	4

2.02	Glass Block ......................................................................................	4

2.03	Mortar Materials .................................................................................	5

2.04	Glass Unit Masonry Accessories ..............................................................	5

2.05	Mortar Mixes .....................................................................................	6

PART 3 - EXECUTION

3.01	Examination ......................................................................................	7

3.02	Preparation ........................................................................................	7

3.03	Installation, General .............................................................................	7

3.04	Setting Glass Unit Masonry ....................................................................	8

3.05	Cleaning ..........................................................................................	9

SPECIAL SPECIFICATION

SECTION 04270

GLASS UNIT MASONRY

PART 1 - GENERAL

1.01	RELATED DOCUMENTS

A.	Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.02	REFERENCES

A.	American Society of Testing and Materials (ASTM)

A82	Specification for Steel Wire, Plain, for Concrete Reinforcement

A153	Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware

A307	Specification for Carbon Steel Bolts and Studs, 60,000 psi Tensile Strength

B633	Specification for Normalized High-Strength Low-Allow Structural Steel

C144	Specification for Aggregate for Masonry Mortar

C150	Specification for Portland Cement

C207	Specification for Hydrated Lime for Masonry Purposes

C270	Specification for Mortar for Unit Masonry

E163	Methods of Fire Tests of Window Assemblies

E488	Test Methods for Strength of Anchors in Concrete and Masonry Elements

1.03	SUMMARY

A.	This Section includes the following:

1.	Exterior panels.

1.04	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B.	Product data for each type of product specified including glass block, cementitious materials, waterproofing admixtures for mortar, and glass unit masonry accessories.

C.	Samples for verification purposes in form of sample panels consisting of full-size glass block units for each form, pattern, and color indicated with mortar joints of color indicated or selected by Sandia Delegated Representative (SDR).

1.05	QUALITY ASSURANCE

A.	Fire Performance Characteristics:  Where fire-resistance-rated glass unit masonry is indicated, provide materials and construction that are identical to those of window assemblies tested for fire endurance per ASTM E 163 and that are listed for rating indicated by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

B.	Single-Source Responsibility for Glass Block:  Obtain each type and pattern of glass block from a single source with resources to provide products of consistent quality in appearance and physical properties without delaying progress of the Work.

C.	Single-Source Responsibility for Accessory Materials:  Obtain mortar ingredients of a uniform quality from one manufacturer for each cementitious, admixture, and accessory component, and from one source or producer for each aggregate.

D.	All materials used shall not contain asbestos fibers or lead.

1.06	DELIVERY, STORAGE, AND HANDLING

A.	Protect glass block during storage and construction from damage, soiling, and moisture.  Store unopened cartons in a clean, dry area in which temperatures are controlled to comply with manufacturer's recommendations.

B.	Protect aggregate during storage and construction from wetting by rain, snow, and ground water, and from intermixture with earth or other materials.

C.	Protect cementitious materials and metal accessories from deterioration and corrosion by moisture and other causes.  Store in a dry location and in original packages.

1.07	PROJECT CONDITIONS

A.	Weather Conditions:  Proceed with installation of glass unit masonry only when ambient and material temperature are 40 deg.F (4 deg.C) and rising.

PART 2 - PRODUCTS

2.01	MANUFACTURERS

A.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1.	Hollow Glass Block:

Fidenza Vetraria SpA.

Pittsburgh Corning Corp.

Saint-Gobain

A.J. Weck GmbH u. Co.

Westerwald A. G.

2.02	GLASS BLOCK

A.	Hollow Glass Block:  Non-load-bearing blocks made by fusing together two halves of clear, colorless pressed glass to produce partially evacuated hollow units with manufacturer's standard coating factory applied on edge surfaces complying with the following requirements for pattern, size, and other characteristics:

1.	Translucent Patterns:  Smooth outer faces, inner faces with manufacturer's standard translucent light pattern indicated below:

a.	Light-diffusive fluted design, horizontal on one surface, vertical on other.

2.	Edge Coating Color:  Comply with requirements indicated below:

a.	Provide manufacturer's standard white-colored, latex-based edge coating

(1)	Provide one color throughout for each pattern indicated.

3.	Square Unit Sizes:  Actual sizes as indicated in window schedule on drawings.

2.03	MORTAR MATERIALS

A.	Portland Cement:  ASTM C 150, Type I or Type II, color as follows:

1.	Cement Color:  Gray.

B.	Hydrated Lime:  ASTM C 207, Type S.

C.	Aggregate for Mortar:  ASTM C 144 and as follows:

1.	For joints 1/4 inch or less in thickness, provide aggregate graded for thin joints.

D.	Water:  Clean and potable.

E.	Water-Repellent Admixture:  Manufacturer's standard dry mixture of stearic water-repellent compounds, water reducing agents, and fine aggregates intended to reduce capillarity in mortar.

1.	Product:  Subject to compliance with requirements, provide one of the following:

"Hydrocide Powder", Sonneborne Building Products Division, Chemrex, Inc.

2.04	GLASS UNIT MASONRY ACCESSORIES

A.	Panel (Joint) Reinforcement:  Ladder-type welded wire units prefabricated with deformed continuous side rods and plain cross rods into straight lengths of not less than 10 feet, and complying with the following requirements:

1.	Hot-Dip Galvanized Steel Wire:  ASTM A 82 for uncoated wire and ASTM A 153, Class B2 for zinc coating applied by hot-dip process to products after fabrication and assembly.

a.	Application:  Use for reinforcement of exterior panels.

2.	Wire Size:  0.1483-inch diameter.

3.	Spacing of Side Rods:  2 inches center to center, unless otherwise indicated.

4.	Spacing of Cross Rods:  Not more than 16 inches apart.

B.	Panel Anchors:  Glass unit masonry manufacturer's standard perforated steel strips, 0.0359-inch uncoated thickness by 1-3/4 inches wide by 24 inches long, and hot-dip galvanized after perforating to comply with ASTM A 153, Class B2.

C.	Asphalt Emulsion:  Water-based asphalt emulsion of type recommended by glass unit masonry manufacturer.

1.	Product:  Subject to compliance with requirements, provide Karnak 100 by Karnak Corp.

D.	Plastic Foam Expansion Strips:  Polyethylene foam, white in color, complying with requirements of glass block manufacturer, and 3/8 inch thick by 4 inches wide by 24 inches long.

1.	Use plastic foam expansion strips for non-fire-rated assemblies.

E.	Anchor Bolts:  Headed steel bolts complying with ASTM A 307, Grade A and, where indicated, flat washers; hot-dip galvanized to comply with ATM A 153, Class C; of diameter and length indicated.

F.	Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to 6 times load imposed when installed in unit masonry and equal to 4 times load imposed when installed in concrete as determined by testing per ASTM E 488 conducted by a qualified independent testing laboratory.

1.	Material:  Carbon steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5 (5 microns) for Class SC 1 service condition (mild)

2.05	MORTAR MIXES

A.	Do not lower the freezing point of mortar by use of admixtures or anti-freeze agents.  Do not use calcium chloride.

B.	Mortar for Glass Unit Masonry:  Comply with ASTM C 270, proportion specification for Type S portland cement-lime mortar.  Do not use masonry cement.

1.	For mortar in exterior panels, include waterproofing admixture in mortar mix according to directions of admixture manufacturer.

2.	For pointing mortar in exterior panels, include waterproofing admixture in mortar mix according to directions of admixture manufacturer.

C.	Mix mortar to produce a stiff but workable consistency that is drier than mortar for ordinary unit masonry; do not retemper mortar after it has taken its initial set.

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine sills, jambs, and heads surrounding glass unit masonry panels to verify that they are complete and of correct size and in correct location to receive glass unit masonry.

B.	Do not proceed with installation of glass unit masonry until conditions are satisfactory.

3.02	PREPARATION

A.	Advise Installer of other construction about specific requirements relating to placement of dovetail slots and other inserts required to anchor and support glass unit masonry.  Furnish Installers of other construction with drawings or templates showing locations of these items.

3.03	INSTALLATION, GENERAL

A.	Construction Tolerances:  Set glass unit masonry to comply with the following tolerances:

1.	Variation from Plumb:  For lines and surfaces of vertical elements and arises, do not exceed plus or minus 1/4 inch in 10 feet, plus or minus 3/8 inch in 20 feet, or plus or minimum 1/2 inch maximum.

2.	Variation from Level:  For grades indicated for bed joints, and other conspicuous lines, do not exceed plus or minus 1/4 inch in 10 feet or plus or minus 1/2 inch maximum.

3.	Variation of Linear Building Line:  For positions shown in plan and related portions of walls and partitions, do not exceed plus or minimum 1/4 inch in 10 feet, plus or minus 3/8 inch in 20 feet, or plus or minus 1/2 inch maximum.

4.	Variation in Alignment:  For alignment between tops of walls and partitions and the bottom of walls and partitions, do not exceed plus or minus 1/2 inch.

5.	Variation in Mortar Joint Thickness:  For bed joints do not exceed plus or minus 1/8 inch, and for head joints do not exceed minus 1/4 inch or plus 3/8 inch.

B.	Sill, Head, and Jamb Preparation:  Apply a heavy coat of asphalt emulsion to sill; allow to dry before placing mortar.  Place expansion strips at jambs and heads taking care to extend them to sill.  Trim 4-inch-wide expansion strips to produce width required to fit thickness of glass block and construction indicated.

3.04	SETTING GLASS UNIT MASONRY

A.	General:  Set first and succeeding courses of glass unit masonry with completely filled bed and head mortar joints, with no furrowing.

B.	Install glass unit masonry to comply with dimensional tolerances specified with courses accurately spaced and coordinated with other construction; maintain the following joint widths.

1.	Joint Widths:  3/8 inch unless otherwise indicated.

C.	Install panel reinforcing in horizontal joints at spacing indicated and to run continuously from end to end of panels; comply with the following requirements:

1.	Vertical Spacing of Panel Reinforcing:  As follows:

a.	For exterior panels, every other course starting with first course above sill.

2.	Do not bridge expansion joints with panel reinforcing.

3.	Place panel reinforcing in joints immediately above and below all openings within glass unit masonry panels.

4.	Lap panel reinforcing not less than 6 inches where more than one length is necessary.

5.	Embed panel reinforcing in mortar bed in placing lower half of mortar bed first, then pressing panel reinforcing into place and covering with upper half of mortar bed, and then troweling it smooth.

D.	Install panel anchors at locations indicated and in same horizontal joints where panel reinforcing occurs.  Extend panel anchors at least 12 inches into joints and bend within expansion joints at edges of panels and across the head.  Attach panel anchors as follows:

1.	For steel members, attach panel anchors with 1/4-inch-diameter steel bolts in tapped holes in steel members.

E.	Use rubber mallet to tap units into position.  Do not use steel tools, and do not allow units to come into contact with metal accessories and frames.

F.	Keep expansion joints free of mortar.

G.	Rake out mortar from joints in exterior panels to a uniform depth equal to joint width to accommodate pointing material.

H.	Fill raked joints and voids with pointing mortar.  Apply in layers; fully compact each layer and allow to become thumbprint hard before applying next layer.

I.	Tool exposed joints slightly concave using a jointer larger than joint width; perform tooling while mortar is still plastic and before it takes final set.

J.	Remove surplus mortar from face of glass block at time joints are tooled.  Remove mortar while it is still plastic using a clean wet sponge or an ordinary household scrub brush with stiff bristles.  Do not use harsh cleaners, acids, abrasives, steel wool, or wire brushes when removing mortar or cleaning glass unit masonry.

K.	Install expansion strips at jambs, heads, mullions, and other locations indicated.

3.05	CLEANING

A.	Perform final mortar removal by cleaning completed glass unit masonry surfaces with clean wet sponge or cloth.  Rinse sponge or cloth frequently in clean water to remove abrasive particles.  Allow any remaining film on block to dry to a powder.

1.	On surfaces adjacent to glass unit masonry remove mortar and other residue resulting from installation of glass block in a manner that is approved by the manufacturers of the materials involved.

2.	Remove excess sealants with commercial solvents of type recommended by sealant manufacturer.  Exercise care not to damage sealant in joints.

3.	Perform final cleaning of glass unit masonry when surface is not exposed to direct sunlight.  Start at top of panel using generous amount of clean water.  Remove water with clean, dry, soft cloths; change cloths frequently to eliminate dried mortar particles and aggregate.

END OF SECTION