Minimum Requirements for

Chemical and Biological Analytical Services

- Purpose

The purpose of the Special Analytical Service contract is to provide analytical support to the US EPA Office of Superfund Remediation & Technology Innovation (OSRTI) Analytical Services Branch (ASB).  ASB is procuring technical support and expertise for the laboratory analysis of environmental samples for the presence, release, and/or detection of hazardous radiochemicals that may present an imminent and substantial danger to the public health or welfare, or the environment in support of emergency responses to possible radiochemical acts of terrorism.

Scope

The contractor shall be responsible for the rapid analysis and reporting of results from environmental samples (e.g. water, soil, air filters, wipes, vegetation etc.) as needed. The contractor shall perform the analysis using proven instruments and techniques that shall be detailed in contractor Standard Operating Procedures (SOPs). These SOPs must be based upon relevant Federal Agency Methods/Protocols which may be specifically specified by the US EPA. The SOPs must be made available to all staff performing the analysis, and must also be made available to EPA upon request. The contractor must also make the facilities used for analysis of samples available for Audit by EPA upon request. Following sample analysis, the contractor shall perform data reduction and shall report analytical activities, sample data, and quality control documentation. The contractor may also be requested to provide analytical support pertaining to method development and validation for chemical and biological agents, or technical support for issues related to these agents

Requirements

Task:  Under this SOW and through written order under this Basic Ordering Agreement

(BOA), the contractor shall perform testing/analysis for a variety of chemical and biological agents in various matrices using analyte/matrix specific protocols for the analysis. Please note that a request for analysis under this BOA is not limited to any specific analytes and or methodologies.  Specific analyte and or methodology requirements will be requested in specific task orders and a need arises.  However, the contractor shall certify in writing that the contractor has the current capabilities to perform the following analysis:

a.	at least 50% of the organic and inorganic chemical methods (or equivalent methods) detailed in Section 5 of the attached document, Standard Analytical Methods (SAM), revision 3.1.

b.	at least 25% of the biological pathogen methods (or equivalent methods) listed in Section 7 of SAM

c.	at least 25% of the biotoxin methods listed in Section 8 of SAM.

The contractor shall have written Standard Operating Procedures (SOPs) for receipt of samples, maintenance of custody, sample identification, sample storage, waste disposal, sample tracking, and assembly of completed data.  The contractor shall also have a written Laboratory Quality Assurance document and Laboratory Health and Safety document.

The contractor shall receive and handle samples under strict chain-of-custody and sample documentation procedures. To assure traceability of the samples while in their possession, the contractor shall have a specified procedure for maintaining identification of samples throughout the laboratory. The contractor shall also have procedures ensuring that sample custody is maintained and documented. A document control program shall be employed to assure that all documents for a specified sample delivery group are accounted for when the project is completed. Accountable documents shall include, but are not limited to, logbooks, chain-of-custody records, sample work sheets, bench sheets, and other documents relating to the sample or sample analysis.

Prior to the shipment of samples, analytical protocol specifications will be provided to the contractor which contain information on the chemical and/or biological agent(s), matrices, concentration range expected, action level, and measurement quality objectives. The analytical protocol specifications will also contain quality control requirements for QC samples which may include, but is not limited to, method blank, duplicate, and matrix spike samples and the associated frequency and evaluation criteria. Analytical process requirements if required on field sample preparation and preservation, sample receipt and inspection, laboratory sample preparation, sample dissolution, separation, data reduction and reporting, and sample tracking requirements may also be provided. All samples shall be temporarily stored by the laboratory pending further analysis and/or receipt of written order for disposition.

The contractor must be aware of the importance of maintaining integrity of the data generated under the agreements. These data will be used to make major decisions regarding public health and environmental welfare. The contractor shall ensure that all analysis are performed following all proper Chain-of-Custody requirements, following all relevant health and safety protocols, quality assurance procedures, waste disposal, and good laboratory practices not necessarily detailed in this BOA. During the period of this

BOA, the contractor may be requested to analyze a Performance Evaluation Sample

(PES), or be requested to participate in a Performance Testing (PT) program.

The laboratory must posses the necessary analytical equipment and supporting sample preparation equipment to be able to perform the necessary chemical and biological analysis.

Deliverable(s):  Upon completion of its analysis, the contractor shall provide the results of its analysis in the form of a report to the Government personnel specified in the Chain-of-Custody documentation or written order from an authorized ordering official. All samples analyzed under this BOA shall be provided in both hard-copy and electronic format.  Electronic format will be specified in each individual task order. All electronic data submitted by the contractor is required to be error-free, and in complete agreement with the hard-copy data. Electronic deliverables for documents and reports shall be delivered in native file format and in Adobe format on all final documents. The data package shall have a Cover Page that includes the laboratory name, laboratory code, BOA number, sample delivery group number, EPA sample number, lab identification numbers (cross-referenced with the EPA sample number), and any comments or problems encountered. Results shall be reported on a form, similar to the Contract Laboratory Program (CLP) Form 1, that includes the similar information from the Cover Page as well as matrix analyzed, date received, date analyzed, analyze concentration units (for chemical and bio-toxin agents), minimum detectable concentration, qualifiers applied, and any comments. In addition, all quality control data shall also be reported.

Method and Time of Delivery:  Upon receipt of any samples, the contractor shall deliver analysis results in writing via fax or e-mail, within 12-72 hours or within the time frame specified by the written order as defined in the task order. Time schedule will be dependent on the analysis and matrix. Written reports shall be delivered within 5 business days after electronic submission. The government may also require verbal results for screening and confirmatory analysis. If the contractor is not able to report the results in the specified time frame, the contractor shall contact the recipient identified in the task order, and inform him that the results will be delayed and provide a probable delivery date.

Maintain Log Books:  The contractor shall use and maintain bound, serially numbered laboratory notebooks to record data and observations made during laboratory analyses and processes, and shall make them available for review upon request by the Contracting Officer. All analyses and studies shall be documented to include: 1) identification of assumptions and clear explanations of their validity and limitations; 2) calculations, supported by sufficient data and explanation to permit cross-checking; 3) raw data for projects, documented in a manner that can be easily interpreted by a technical person, to facilitate review and/or completion by alternate technical persons; and, 4) clearly presented investigative procedures. The contractor shall also use and maintain logbooks for all major equipment recording analysis of all standards and samples.