November 19, 2004

U.S. Environmental Protection Agency

1301 Constitution Ave., N.W.

EPA West, Suite B-102

Washington, D.C.  20460

RE:	Docket ID NO. OPA-2004-0008

FR Vol. 69, No. 181, 9-20-04

Sent Via EPA EDOCKET System

To Whom It May Concern:

Xcel Energy is a publicly held electric utility that operates electric generation, transmission, and distribution systems in the midwest and southwest United States.  Xcel Energy’s 75 electric generation facilities are comprised of wind farms, hydro-electric plants, fossil-fueled plants, nuclear generating plants, natural gas fired plants, and solar power facilities.  Xcel Energy also owns and operates 1,085 substations throughout our service territories.  These generation, transmission and distribution facilities serve just over 3,000,000 customers in 11 states.

Northern States Power Company (NSP) is one of the operating companies within Xcel Energy.  NSP serves customers in the Dakotas, Minnesota, Wisconsin, and Michigan.  NSP owns and operates 37 electric generating plants and 492 substations.  The data contained in this letter, except where noted, is from NSP and is representative of all of Xcel Energy.

Xcel Energy’s Response to the NODA

After reviewing the information presented in the Notice of Data Availability (NODA) regarding alternate regulatory requirements for facilities with oil-filled and process equipment, Xcel Energy believes that there is insufficient evidence to support the need to regulate either category of equipment (oil-filled electrical equipment and oil-filled operating equipment).  It is interesting to note that the information published in the NODA supports this since information dating back to the 1970’s clearly shows a lack of need for SPCC regulation of these types of equipment.

If regulation is going to be pursued despite the lack of supporting evidence, the tiered approach offered by the Utilities Solid Waste Activities Group (USWAG) in their submissions listed as Documents 8 and 9, where each piece of equipment would be viewed as a separate facility, would be the most appropriate given the lack of risk that exists with oil-filled electrical equipment and oil-filled operating equipment.

Also, if EPA is going to pursue regulation of OFEE, EPA needs to address its expectation of the regulated community with respect to electrical equipment prior to rulemaking establishing a new regulatory framework for this equipment.  While agency official have repeatedly stated that EPA des not expect the regulated community to expend significant resources to comply, the regulated community has not received assurances that failure in the interim would not be treated as non-compliance subject to enforcement action.  The agency needs to either issue an interpretation of the 2002 amendment to the SPCC rules which resolves the conflicting statements and actions regarding the applicability of the 1973 SPCC rules to electrical equipment or grant interim relief form the current SPCC requirements.

Xcel Energy’s data supporting this position is contained on the following pages.  Please call me if you have any questions or need clarification.  I can be contacted 612-330-6278.

Sincerely,

Patrick Flowers, ASP, CHMM

Environmental Analyst

Xcel Energy

Encl.

Background and Supporting Information

Oil-Filled Electrical Equipment

Background

Within the NSP service territory, Xcel Energy owns and operates 492 electrical substations and another 42 sites contain oil-filled electrical equipment (OFEE).  This equipment is built to a different, and more rigorous, standard than storage tanks.  OFEE must be able to withstand both vacuum conditions and low pressure without failure.

Most of large transformers are monitored electronically so that operating conditions exceeding acceptable operating parameters are noted and investigated.  Other OFEE are essentially self-monitoring since a loss of dielectric fluid results in an interruption in the transmission of electrical power and an prompt response by the company to correct the outage.

Besides electronic monitoring, Xcel Energy routinely inspects substations visually and with other technologies.  Visual inspections involve checking equipment for normal operation and for evidence of dielectric leakage.  Discrepancies are reported and managed promptly.  In addition to visual inspections, certain equipment is inspected using infrared scanners to determine if the unit may be in the early stages of failing.  The infrared evaluation is used to identify OFEE that requires maintenance to prevent an outage.

Xcel Energy’s spill history with 1085 substations in 11 states shows that in the last four years (2001 to 2004), there has been only one spill that has required reporting to the National Response Center.  The spill was of 350 gallons into a wetland from which it did not escape.  The industry spill data presented by Piper, Marbury, Rudnick & Wolfe (Document 16) for facilities with between 1000 and 1300 facilities is representative of Xcel Energy’s spill history prior to 2001.

NSP’s electrical substations are typically surrounded by a gravel bed, which serves to control a fire in the event that an OFEE fails and ignites the dielectric fluid.  The gravel bed also serves to restrain oil movement and limit the distance the fluid migrates and reduce the likelihood of a discharge.  One interesting note…a failure in one piece of equipment does not necessitate a failure in other nearby equipment.  Even in large catastrophic failures of transformers, neighboring equipment was not damaged to the point of container failure and release of dielectric.

Conclusions

Given these facts, and the information submitted in the NODA by USWAG and others, there does not seem to be a reasonable threat presented by OFEE to cause the kind of pollution to navigable waters that originally spawned the SPCC rules.  The risk from these types of facilities is extremely low and additional regulation by SPCC will do little to nothing to improve what is already an enviable spill history.

If regulation is pursued, then the tiered approach presented by USWAG (Document 9) would be the most appropriate.  USWAG’s proposal is for:

Individual oil-filled electrical equipment are viewed as individual facilities,

Oil-filled electrical equipment that contains < 1,320 gallons would not be subject to regulation,

Oil-filled electrical equipment that contains 1,320 up to 20,000 gallons would have to have an emergency response plan, and

Oil-filled electrical equipment that contains > 20,000 gallons would be subject to full SPCC regulation.

If EPA is going to pursue regulation of OFEE, EPA needs to address its expectation of the regulated community with respect to electrical equipment prior to rulemaking establishing a new regulatory framework for this equipment.  While agency official have repeatedly stated that EPA des not expect the regulated community to expend significant resources to comply, the regulated community has not received assurances that failure in the interim would not be treated as non-compliance subject to enforcement action.  The agency needs to either issue an interpretation of the 2002 amendment to the SPCC rules which resolves the conflicting statements and actions regarding the applicability of the 1973 SPCC rules to electrical equipment or grant interim relief form the current SPCC requirements.

Oil-Filled Operating Equipment

Background

Within the NSP service area, Xcel Energy operates 37 electric generating plants.  These plants are fossil-fueled, natural gas, nuclear, hydro-electric, and wind.  For most power plants, the largest assemblage of oil-filled operating equipment (OFOE) is comprised of lubricating oil systems used for turbines, generators, and other large pumps and rotating equipment.  There are also hydraulic systems, seal oil systems, compressors, backup diesel generators, oil conditioners, coal mills, conveyor systems, and large mobile equipment at the plants that could potentially be affected by the definition of “using” in the SPCC amendments.  NSP has at least 262 individual fixed pieces of equipment that would qualify as “using” and be in excess of 55 gallons (only 16 pieces of equipment are below 1,320 gallons).

Since the equipment is essential for generating electrical power, it is designed for reliability and maintained by an aggressive maintenance program.  Unplanned equipment failures result in added cost for the company both for repairs and for providing replacement electricity while the equipment is being repaired.  The company has a substantial incentive to prevent equipment failure and the subsequent loss of electrical capacity.

OFOE are subject to either continuous monitoring or frequent inspections by rovers during operation.  Almost all the equipment discussed above is located indoors and any release would be collected in floor drains and routed to a sump system or oil/water separator.  Sudden or unusual deviation from normal operating parameters results in immediate investigation and response by plant personnel since it typically results in loss of generating capacity by the plant.  Since 1997, NSP experienced 1 spill that required notification to the National Response Center (a spill which entered a holdup pond and did not enter any navigable waterway).

Conclusion

Xcel Energy supports the recommendation by the U.S. Small Business Administration Office of Advocacy (SBA) as represented in Document No. 3 with a few adjustments.

In the 2002 amendments, EPA already adopted an exemption from the definition of “bulk storage container.”  SBA proposed to exempt OFOE from oil storage calculation which is a somewhat indirect way of achieving a full exemption.  Xcel Energy proposes that EPA amend section 112.1(d) to clearly state that OFOE is not subject to SPCC regulation.

SBA’s description of the range of equipment encompassed by the term “manufacturing process systems/operational equipment” as “tanks and conveyances (including piping and other structures) that are used in the course of changing raw, feedstock, and intermediate materials into finished products.”   For the utility industry, if electric power is equated with a “finished product”, then this definition would be acceptable.  But if electric power is not equated with “finished product” then the definition must be modified to include the OFOE used to generate electric power.

If EPA is not able to fully exempt this equipment from SPCC regulation, an reasonable alternative regulatory approach should adopt a unit specific concept that utilizes the same tiered approach proposed by USWAG for Oil-Filled Electrical Equipment where:

Individual operating equipment are viewed as individual facilities,

Oil-filled operating equipment that contains < 1,320 gallons would not be subject to regulation,

Oil-filled operating equipment that contains 1,320 up to 20,000 gallons would have to have an emergency response plan, and

Oil-filled operating equipment that contains > 20,000 gallons would be subject to full SPCC regulation.

This would make some allowance for the low risk experience of the utility industry and Xcel Energy.