SSU rDNA GeneChip Protocol 1/06/02

Outline

A. Target Preparation

- PCR amplification and quantitation of the 117 bp product used for target hybridization

- Fragmentation of 117 bp product

- Biotin labeling of fragmented product = target for GeneChip probe array

B.  GeneChip Preparation

- Prehybridization of GeneChip probe array

- Target hybridization to Gene Chip probe array

- Experiment/Fluidics station setup

- Washing and staining of GeneChip probe array

- Cleaning the fluidics station/ shutdown

C. GeneChip Analysis

- Probe array scan

- Data Analysis

Appendix 1. Environmental DNA isolation protocol

- Target Preparation

- PCR Amplification of 117 bp product for target hybridization

Reaction Mix:

1X

Sterile dH2O (Teknova)			83 (l

10X Clontech AdvanTaq buffer		10

10mM (total) dNTP’s			2

20(M Pc5B				1.5

20 (M cCompLong			1.5

AdvanTaq	(Clontech)			1

Total:					99 (l

Add 1 (l environmental DNA, 1 (l of a 1:10 dilution of full 16S bacterial amplicon (positive control)  or 1 (l sterile H2O  (negative control) to each tube for a final volume of 100 (l.

Thermoprogram:

95(C		1 min

95(C		15 sec

45(C		30 sec		28-35 cycles

68(C		45 sec

68(C		10 min

4(C		Hold

After thermoprogram is finished, run 7 (l of each sample and 2, 4 and 6 (l of low mass ladder on a 3% Nusieve agarose gel at 110V for 1 hour. We quantitate our PCR products to determine the volume to add to the fragmentation reaction, which cuts the products into 20-80 bp fragments.

We analyze gels using the FluorS-MultiImager (BioRad, Hercules, CA).

Fluor-S MultiImager Operating Instructions

After staining the gel in ethidium bromide, lift the lid of the scanner and load the gel onto the middle of the glass surface.

On the attached computer, select Quantity One program, then open Fluor-S. A screen will appear with three steps.

Step 1: Ethidium bromide, 520 LP, UV, Trans, HiRes and Scan Dim. 160 mm should all be selected.

Step 2: Select position. Gel will appear on screen: position the gel to the middle of the grid marks. Gel should already be focused.

Step 3: Set exposure time of 20 sec, the select acquire. The gel will then be scanned into the computer.

Gel will appear on computer screen. Transform gel using the         tool to obtain clearer image of product bands. Zoom into desired bands and standards using         tool.

Take picture of gel: File> Print> Video Print

DNA Mass Calculation: Open Volumes Quick Guide.

Open volume contour tool in the volumes quick guide. The tool is activated when you see a + symbol: put the + on the desired band: move it around until it outlines the band with a green line. Continue outlining all bands, including mass ladders and unknowns. Once all bands are outlined, zoom back out (     tool).

Using the volume rectangle tool, pick an area representative of the background near the unknown bands. Highlight the rectangle to be yellow: double click for volume properties, fill in form to say background.

For standard bands: highlight each band yellow: double click: fill in form: label as standard and fill in band mass concentrations (key is taped onto computer screen).

For unknown bands: highlight each band yellow, label as unknown.

After all inputs are made, save the file.

Using volume regression curve tool, calculate the correlation coefficient. We use anything above 70%. It’s okay to remove any bands on the dye line that don’t fall around the curve  (the background is different there and these bands don’t usually correlate well to the others).

The volume analysis report tool lists the information generated. Reformat the report so that index, name, and concentration only are reported. Print report to default printer toto, located across the hall in Wendy/Todd’s office 1250.

The report shows the concentration of the product loaded on the gel: since 7 (l was added to gel, divide by 7 to get the ng/(l concentration.

- Fragmentation of the 117 bp product

1.	Prepare Fragmentation Working Mix:

a. Calculate amount of Affymetrix fragmentation reagent to add:

for 6 rxns:  0.75 Units/ working mix ( concentration of

fragmentation reagent (on tube) = 0.5X

for 12 rxns: 1.5 Units/working mix ( conc of frag reagent = 0.5X

for 24 rxns:  3 Units/working mix ( conc of frag reagent  = 0.5X

Example:  1.5 Units/ 1.7 Units/(l =  0.88 (l/ working mix = 0.5 X

Add other working mix components according to the following chart:

Component		# rxns		Volume ((l)	Final Conc.

Frag. rgt		1-5			0.5X	0.125 Units

6-12			0.5X	0.125 Units

13-24			0.5X	0.125 Units

dH20			same as frag rgt	0.5X

EDTA (20mM)	1-5			X	variable

6-12			X	variable

13-24 			X 	variable

Alkaline phosphatase

(1U/(l)		1-5			15	2.5 Units

6-12			30	2.5 Units

13-24			60	2.5 Units

Tris-acetate

(10 mM)		1-5		15-(2)X (l	0.5 mM

6-12		30-(2)X (l	0.5 mM

13-24		60-(2)X (l	0.5 mM

Final Volumes of Working Mix:

1-5    rxns:		30 (l

  - rxns:		60 (l

13-24 rxns:		120 (l

2.	From gel electrophoresis results, calculate amount of PCR product to add for a concentration of 500 ng DNA.   To a PCR tube add:

117 bp product (500 ng total): Formula: 500 ng ( ng amt/(l from gel quantitation  = product (l

Sterile dH2O: 	45 (l total rxn volume – product (l = (l water to add.

3. 	Fragmentation Reaction:  Add 5 (l fragmentation working mix to the side of tube.  (It’s important that all reactions are started at the same time.)  After working mix is added to each tube, and thermocycler is ready, knock working mix into liquid and vortex briefly.  Immediately place in 9600 thermocycler using the following program:

25(C		12 min

95(C		10 min

4(C		Hold

Optional: Run 7 (l of each fragmented DNA sample and a 25 bp standard on a 3% NuSieve Gel at 115 V for 55 min.   Expected results:  smear of DNA between 25-100 bp markers.  If  smear is not present, or DNA is not cut uniformly; do not proceed.

- Biotin Labeling of fragmented product = target for GeneChip probe array.

1.  Biotin Reaction Mix:  (use PCR tubes)

1X

5X TdT buffer (BM)		7 (l

25 mM CoCl2			2.5 (l

TdT Enzyme 25U/(l		2 (l

Biotin-N6-ddATP (1 mM)	2 (l

Fragmented product		21.5 (l

Total Volume			35 (l

2.  Biotin Labeling Reaction: Use 9600 thermocycler to run reaction:

37(C	2 hrs

4(C	Hold

- GeneChip Preparation

- Prehybridization

- Equilibrate genechip probe array to room temperature

- “Prewet” array: Insert an unfiltered pipet tip in one of the genechip septa to vent air from chamber.  Then load hybridization buffer (35 (l 5M TMAC + 185 (l Rapid Hyb Buffer (Amersham)) through the other septum.

- Incubate the genechip in the hybridization oven at 45(C and 60 rpm for at least 10 min.

2.  Target preparation and hybridization to GeneChip probe array

- While genechip is equilibrating (in prehyb), prepare target cocktail:

35 (l 5M TMAC

185 (l Rapid Hyb Buffer

17 (l Biotin-labeled target sample

3 (l Biotin-labeled control oligo 213 (5nM)

Final Volume:  241 (l

b.	Heat target cocktail samples in a heat block at 99(C for 5 min.

c.	Incubate samples in a 45(C water bath for 5 min., then spin samples briefly.

- Retrieve genechip array and remove hybridization buffer from the assay cartridge; fill with the target cocktail samples.

- Place probe arrays in rotisserie oven so they are balanced around the axis. Rotate at 60 rpm, 45 (C for a minimum of 3 hrs.

3.  Experiment/Fluidics Station Setup

- Experiment Setup.  Define, or name your experiment: Launch the software from the workstation and choose Experiment Info from the Run menu.  The Experiment Information dialog box will appear; fill in the following parameters:

Experiment Name:	(include date and sample name)

Probe array type: 	16S RNA I  = 	1210_s66 (sense)

Lot #:			Expiration date of chip

Operator Name:	Your name!

Sample type:		Amplicon  (target) description

Description:		Organism name (or experiment name)

Project:		Project name

Comments:		Hybridization time in oven

Save experiment information

The Affymetrix software will use this information to process the experiment data; the data files generated will correspond to the experiment name.

- Fluidics station setup.   Choose Fluidics from the Run menu.  The Fluidics Station dialog box will appear.  Select your experiment name from the drop-down list.

i.	Choose Protocol in the fluidics station dialog box.  From the drop-down menu, choose Prime.

ii.	In reservoir A add 1X SSPE/ 0.005% TritonX-100.  In reservoir B add 6X SSPE/0.005% TritonX-100.  Put fresh water in water reservoir.

- To begin priming, Click Run for each fluidic module to be used..

4.  Washing and Staining  the Probe Array.

- Stain preparation.   Streptavidin-phycoerthythin (SAPE) stain is light sensitive; store in foil at 4(C.  Do not freeze concentrated or diluted SAPE.  Prepare fresh SAPE stain solution just before use.

i.	Get stain solution ready (mix in 1.5 ml tube):

500 (l 6X SSPE/0.005% Triton X-100

25 (l 20 mg/ml acetylated BSA

3 (l Streptavidin-Phycoerythrin (SAPE)

Total:  528 (l

- Put 1.5 ml tube with SAPE into the sample holder on the fluidics station module, making sure that the metal sampling needle is in the tube with its tip near the bottom.

- Probe array preparation.

i.	After at least 3 hours of hybridization, take the

target solution out of chip ( store at  –20(C in a sterile microcentrifuge tube.   (Be sure to vent chip while draining fluid)

- Fill the probe array with 250 (l of 6X SSPE/0.005% Triton-X 100.

- Fluidics station operation.  For each probe array to be processed, prepare a module on the fluidics station.

i.	In the fluidics station dialog box on the computer screen, select the experiment name entered from the drop-down list.

- In the protocol drop-down list, select Affystain.

The Affystain protocol is:

4 washes with 6X SSPE/0.005% TritonX-100 at 40(C;

2 Washes with 1X SSPE/0.005% TritonX-100 at 40(C, Stain 15 min at 40(C,

3 Washes 6X SSPE/0.005%TritonX-100 at 25(C.

iii.	Choose Run in the fluidics station dialog box to begin the washing and staining.  Follow directions on each module’s LCD window for guidance.

iv.	Insert selected probe array into the sample holder of a fluidics module while the probe array lever is the Eject position.

- The fluidics module LCR will display the progress of the washing and staining process.  Refer to Troubleshooting section of this manual if problems occur.  When the procedure is complete, the LCD will display EJECT CARTRIDGE.  Move the cartridge holder lever to the eject position.  After removing the cartridge, return the cartridge holder to the engage position.  The module will run a wash automatically and will be ready to process a new chip.

- Remove the SAPE stain vial and replace with an empty microcentrifuge tube.

- Check the probe array for large bubbles (see troubleshooting section if there’s bubbles).  If none are present, probe array is ready to be scanned immediately after protocol is finished.  Store chip in foil at 4(C if more than 30 minutes elapse before scanning.

5.   Cleaning the Fluidics Station

a.   After the last chip is processed, take tubes out of the buffer solutions A and B and

place in the water container. Select SHUTDOWN from the protocol drop-down list

on the computer screen; let the protocol run to completion, then turn off the station.

- GeneChip Analysis

- Probe Array Scan.

a.  	The following is from the Affymetrix Expression Analysis Technical Manual, revision 1, 1998.

2.	Data Analysis

a.  From the Affymetrix Expression Technical Manual;

Reagents and Materials

- Target Preparation

- PCR Primers:

117 bp product:

cCompLong:  5’ TTGTACACACCGCCCGTCA 3’

Tm=60(C

Pc5B:	 5’ TACCTTGTTACGACTT 3’  Tm=44(C

Full 16S product (optional):

PoRev:  5’ AGAGTTTGATCMTGG 3’   Tm=43(C

Pc5B:	 5’ TACCTTGTTACGACTT 3’  Tm=44(C

Order primers from Genosys on BBRP oligo ordering web page(	 http://bbrp-r.llnl.gov/oligo-pbin/oligo_order_form		name: oligo

password: primer

- PCR Enzymes, Reagents

- Water: PCR certified, sterile, 500 mls; catalog # 0227; Teknova

- dNTP’s: catalog # N808-0260(premixed) or #N808-0007; Applied Biosystems

- Taq polymerase:

117 bp product:

- Advantage 2 Polymerase Mix, Use 10X PCR buffer provided with enzyme, catalog # 8430-2; Clontech

Full 16S:

a.   AmpliTaq Gold Polymerase, use 10X PCR buffer

w/MgCl2 provided with enzmye, catalog # N808-0241;

Applied Biosystems

- Electrophoresis

a.	  Ethidium Bromide, 10 ml (10mg/ml), catalog # 15585-011,

Invitrogen Life Technologies

117 bp product:

a.	NuSieve 3:1 Agarose, catalog # 50090; Biowhittaker Molecular Applications-Cambrex

b.	  25 bp DNA ladder, 50 (g, Catalog # 10597011;

Invitrogen Life Technologies

c.   Low Mass DNA ladder, 200 ul, Catalog # 10068013;

Invitrogen Life Technologies

Full 16S:

a.	  Ultrapure agarose, electrophoresis grade, catalog # 5510UA;

Invitrogen Life Technologies

b.	  100 bp DNA ladder, 50 (g, Catalog # 15628-019;

Invitrogen Life Technologies (product discontinued)

- Fragmentation

1.	GeneChip Fragmentation Reagent,  [DNaseI in 10mM

Tris-HCl (pH 7.5), 10mM CaCl2, 10 mM MgCl2 , and 50% glycerol],  catalog # 900131  (can’t order separately from kit as of 6/00; must find supplier who will put DnaseI in this buffer system);   Affymetrix

2.	0.5 M EDTA, catalog # 15575020

Invitrogen Life Technologies

3.	400 mM Tris Acetate, pH 8.2   catalog # 0279-IL-E

Teknova

4. 	Calf Intestine Alkaline Phosphatase, 1Unit/(l, 1000U (CIAP),  Catalog # 18009-027

Invitrogen Life Technologies (product discontinued)

5.	Water, PCR certified, 500 mls, catalog # 0227; Teknova

- Biotin Labeling Target DNA

1.	Terminal transferase (TdT) with 5X reaction buffer and CoCl2  solution,  500 U= 1 pack,   Catalog # 0220582

Roche Applied Science

- Renaissance Biotin-N6-ddATP, 25 (l; Catalog

# NEL 508; Perkin Elmer Life Sciences

- Water, PCR certified, 500 mls; catalog # 0227

Teknova

D. Hybridization, Washing and Staining of Target

- 20X SSPE (3M NaCl, 0.2M NaH2P04, 0.02M EDTA),

l liter; Catalog # 16-010Y; BioWhittaker-Cambrex

- Water, Molecular Biology Grade, 1 liter;

Catalog # 16-001Y; BioWhittaker-Cambrex

- Triton X-100, catalog # T-9284, Sigma-Aldrich

- Control oligos:

i. Control oligo 213=Oligo B1 (Affymetrix HIV PRT Assay); biotin label=7 (sense chips):

5’ biotin-7 CTG AAC GGT AGC ATC TTG AC 3’,

ii.Control oligo 948 (antisense chips):

5’ biotin-7 GTC AAG ATC GTA CCG TTC AG 3’,

Both oligos HPLC purified, 0.05 (mol.; order through the BBRP oligo ordering web page, from Genosys

- Acetylated Bovine Serum Albumin (BSA) solution;

Catalog # 15561-020; Invitrogen Life Technologies

- GeneChip probe arrays:

- 16SRNA I  Sense, catalog # 500364;

- Env. Monitor II Sense, catalog #500424

Other GeneChip arrays available:

- 16SRNA I  Antisense, catalog # 500372;

- Env. Monitor II Antisense, cat # 500425;

All from Affymetrix

- Streptavidin-Phycoerythrin (SAPE), catalog # S866,

Molecular Probes, Inc.

- Tubing (for fluidics station), peroxide silicone, tube #14, (16mm 1/16”), catalog # 910-0016-016; Watson Marlow

- Wash buffers: please see Regent/Buffer Preparation section

- Hybridization Buffer:

- Rapid Hyb Buffer, 125 mls;

Catalog # RPN1635;

Amersham Biosciences Corp.

2.    TMAC (Tetramethylammonium chloride),

500 mls; Catalog # T-3411; Sigma-Aldrich

Reagent/Buffer Preparation

- 20 mM EDTA

100 (l		0.5 M EDTA (Invitrogen)

2.4 ml 		Molecular Biology grade H2O  (BioWhittaker)

Total volume: 2.5 mls

Aliquot 100 (l of mixed solution to each of 25 500 (l tubes.

Store at room temperature.

2.	10 mM Tris-Acetate pH 8.2

9.75 ml 	Molecular biology grade water (BioWhittaker)

250 ( 		400mM Tris-Acetate	(Teknova)

Final Volume: 10 ml

Aliquot 500 (l of the mixed solution to each of 20 microcentrifuge tubes.

Store at room temperature.

3.  	10% Triton X-100

90 mls		Molecular grade water (BioWhittaker)

10 mls		Triton X-100 (Sigma-Aldrich)

Final Volume: 100 mls

Mix thoroughly and store solution at room temperature.

4.	 Wash Buffer A:  1X SSPE/ 0.005% Triton X-100

100 mls						50 mls

5 mls 		20X SSPE (BioWhit)	2.5 mls

50 (l		10% Triton X-100 Stock Soln		25 (l					94.95 mls	Mol. Biol. Grade H2O (BioWhit)	47.48 mls

Mix ingredients thoroughly and filter through a 0.2 (m or 0.45 (m vacuum filtration system.  Store at room temperature in sterile vial.

5. 	Wash Buffer B:	  6X SSPE/ 0.005% Triton X-100

100 mls						50 mls

30 mls		20X SSPE				15 mls

69.95 mls	Water (BioWhittaker)			34.98 mls

50 (l		10% Triton X-100 Stock		25 (l

Mix ingredients thoroughly and filter through a 0.2 or 0.45 (m vacuum filter system.  Store at room temperature in a sterile vial.

Vendor Companies

Affymetrix, Inc.

3380 Central Expressway

Santa Clara, CA 95051

Phone: (888) DNA-CHIP   (362-2447)

Fax: (408) 481-0435

Reps:

Kyle O’Connor (Technical Support)

Phone: (408) 731-5654

E-mail: Kyle_OConnor@affymetrix.com

Carsten Rosenow, Ph.D. (Staff Scientist)

Phone: (408) 731-5024

Fax:      (408) 481-0422

Joe Hernandez (marketing)

Tarif Awad (past technical support)

Phone: (408) 731-5653

E-mail: Tarif_Awad@affymetrix.com

Mike Del Santo (Sales Administration Coordinator)

Phone: (408) 731-5949

Fax:	(408) 481-944

Margaret Stonich (Regional Sales Manager)

Phone: (408) 358-3913

Jesse McGraw (Our LLNL Account Manager) ****

Phone: (831) 476-2092

Fax:     (831) 476-4002

E-mail:	 jesse_mcgraw@affymetrix.com

Lance Waketa, Sales (408) 731-5690	****very helpful

Janet Lankard (Regional Sales Manager)

Phone: (408) 731-5275

Connie Delvilla, Senior Credit Account Receivable Analyst (408) 731-5818

Jean Yi, accounts receivable, (408) 731-5974

Don Levine, Accounts: (408) 731-5629

Greg Colbert, Accounts: (408)-731-5487

Mella, Accounts: (408) 731-5089

Service Contract contact: (we no longer have a service contract)

Field Service Engineer (408) 731-5654 or 1-888-DNA CHIP

Florante (Preventive Maintenance Inspector), with Molecular Dynamics

Phone: (800) 800-4383 ext. 7415

Amersham Biosciences Corp.

800 Centennial Ave.

P.O. Box 1327

Piscataway, NJ 08855-1327

Phone:	(800) 526-3593

Fax:	(877) 295-8102

Web:	http://www.apbiotech.com

Applied Biosystems - Applera

850 Lincoln Centre Dr.

Foster City, CA  94404

Phone:	 (800) 345-5800

Fax:	(650) 638-5884

Web:	http://www.appliedbiosystems.com

BioWhittaker Molecular Applications - Cambrex

8830 Biggs Ford Rd.

Walkersville, MD  21793

Phone:	(800) 638-8174

Fax:	(301) 845-8338

For NuSieve agarose:

191 Tomaston St.

Rockland, ME 04841

Phone: (800) 341-1574

Fax: (207) 594-3491

Web for all Biowhittaker/Cambrex: http://www.bmaproducts.com/

Clontech Laboratories, Inc.- BD Biosciences

1020 East Meadow Circle

Palo Alto, CA  94303-4230

Phone:	(800) 662-2566

Fax:	(800) 424-1350

Web:	http://www.clontech.com

Invitrogen Life Technologies (Gibco BRL)

1600 Faraday Ave

P.O. Box 6482

Carlsbad, CA 92008

Phone:	(888) 584-8929

Fax:	(888) 584-8930

Web: http://www.invitrogen.com

Molecular Probes, Inc.

4849 Pitchford Ave.

Eugene, OR  97402-9144

Phone:	(541) 465-8300

Fax:	(541) 344-6504

Web: http://www.probes.com

Perkin Elmer Life Sciences (NEN)

549-3 Albany St.

Boston, MA  02118

Phone:	(800) 446-0035

Fax:	(617) 482-1380

Web: http://lifescience.perkinelmer.com

Roche Applied Science

9115 Hague Rd.

P.O. Box 50414

Indianapolis, IN  46250-0414

Phone:	(800) 262-1640

Fax:	(800) 428-2883

Web: http://biochem.roche.com

Sigma-Aldrich

3500 Dekalb St.

St. Louis, MO  63118 USA

Phone:	(800) 325-3010

Fax:	(800) 325-5052 or (314) 771-5757

Web:	http://www.sigmaaldrich.com

Teknova

355 Princeton Ave.

Half Moon Bay, CA  94019

Phone:	(650) 728-2557

Fax:	(650) 728-3160

Web: http://www.teknova.com

Watson Marlow

37 Upton Technology Park

Wilmington, MA  01887-1018

Phone: (800) 928-7786

Fax:	(978) 658-0041

Web: http://www.watson-marlow.com

Appendix 1.

Standardized Protocol for Isolation of Environmental DNA using the MoBio Soil DNA Isolation Kit

- To the 2ml Bead Solution provided add 250 mg of soil sample

- Gently vortex to mix

- Add 60 ul of Solution S1, invert to mix

- Add 200 ul of Solution IRS (Inhibitor Removal Solution), invert to mix

- A. Method 1:

Vortex tubes for 5 seconds, then place in 70(C water bath for 10 minutes.  Vortex for 10 seconds to prevent settling and place in water bath for 10 more minutes.  Remove from bath, and place in Bead-Beater at 11,500 rpm (10,000 X g) for 3 minutes.

B. Method 2:

Shake tubes in Bio101 Fast Prep FP120 for 15 seconds at 4.5 m/s

- Centrifuge tubes at 10,000 x g for 30 seconds

- Transfer 450 (l supernatant to a clean microfuge tube (Some soil particles may transfer over with supernatant, which is acceptable)

- Add 250 ul of Solution S2, Vortex for 10 seconds, and incubate at 4C for 10 minutes

- Centrifuge tubes for 1 minute at 10,000 x g.

- Avoiding pellet, transfer 450 ul of supernatant to a clean microfuge tube.  There may be some debris floating at the top of the supernatant.  Try to avoid transferring the debris as well.

- Add 900 ul of Solution S3 and vortex for 5 seconds.

- Load about 700 ul onto the provided spin filter, and centrifuge for 1 minute at 10,000 X g. Discard flow through and apply remaining supernatant to filter.  Centrifuge for 1 minute at the same speed.  Discard flow through.

- Add 300 ul of Solution S4 (Wash solution) to filter.  Centrifuge for 30 seconds at 10,000 X g,

- Discard flow through

- Spin for one minute to “dry” filter.

- Place spin filter in new clean microfuge tube.

- Add 50 ul of Solution S5 (elution solution) to the center of filter membrane

- Centrifuge at 10,000 X g for 30 seconds.

- Discard spin filter.  The elute contains DNA.

NaOH washes:

- Aliquot  200 (l of 0.4M NaOH in a MicroCon-100

- Add DNA from step 19 and centrifuge 20 minutes at 500 X g  (2,500 rpm).

- Refill the MicroCon with 400 (l of 0.4M NaOH.

- Centrifuge 20 minutes at 500 X g; discard eluate. (2X)

- Add 400 (l 10 mM Tris (pH 7.5) to neutralize

- Centrifuge 20 minutes at 500 X g/ discard eluate

- Add 50 (l 10 mM Tris (pH 7.5) and collect sample by inverting into tube; centrifuge for 2 minutes at 500 X g.

- Store DNA at 4(C.