CONSTRUCTION SPECIFICATION

NE-51.  CORRUGATED METAL PIPE CONDUITS

1.	SCOPE

The work shall consist of furnishing and placing corrugated metal pipe and the necessary fittings as shown on the plans.

2.	MATERIALS

Pipe and fittings shall conform to the appropriate ASTM requirements of material shown on the drawings.

3.	HANDLING THE PIPE

The Contractor shall place the pipe without damaging the pipe or coatings.

Whenever the pipe is damaged, it shall be repaired as provided in Section 4.

4.	REPAIR OF DAMAGED COATINGS

Breaks, scuffs, or other damage to the various coatings shall be repaired by thoroughly wire brushing the damaged area and cleaning with solvent and as follows:

A.	Zinc Coating and Aluminum Coating - apply two coats of one of the following paints:

(1)	Zinc Dust - Zinc Oxide Primer conforming to Federal Specification TT-P-641, Type III.

(2)	Zinc Dust Chlorinated Rubber conforming to Federal Specification TT-P-1046a.

(3)	Zinc Dust Paint conforming to Military Specification MIL-P-21035.

B.	Bituminous Coating - apply two coats of hot asphaltic paint or a coating of cold-applied asphalt mastic.  The repair coating after hardening shall bond securely and permanently to the pipe.

C.	Polymer Precoated - apply two coats of polymer coating similar and compatible to the original polymer coating as per manufacturer's recommendations, or apply two coats of cold-applied asphalt mastic.

5.	LAYING AND BEDDING THE PIPE

The pipe shall be laid to the line and grade shown on the drawings and shall be firmly and uniformly bedded throughout its entire length.

Bedding the pipe shall be one of the following procedures:

Pipe should be laid on a moist, compacted foundation (not wet nor hard and dry).  Just before the pipe is laid, spread a 2- to 3-inch layer of moist, loose soil for the pipe to be placed on.  The pipe should make uniform contact with the soil along its entire length.

In lieu of spreading a 2- to 3-inch layer of moist, loose soil, the foundation should be disked along the entire pipe length to a 2- to 3-inch depth and the foundation "crumbed" for the pipe to be placed on.

The pipe shall be laid with the outside laps of circumferential joints pointing upstream and with longitudinal laps on the sides at approximately the vertical mid-height of the pipe.   Field welding of corrugated galvanized steel pipe will not be permitted.  The pipe sections shall be joined with coupling bands.

6.	BACKFILLING

Special care shall be taken during backfill operations not to disturb the grade and alignment.

The pipe shall be tied down or loaded sufficiently during backfilling around the sides to prevent its being lifted from the bedding.

Backfill material shall have sufficient moisture so that optimum compaction can be obtained.  Backfill around the pipe shall be placed in layers not more than 4 inches thick before compaction.

Each layer of backfill shall be compacted with power tampers, hand tampers, or plate vibrators to the same density requirements as specified for the adjacent embankment.  Backfill over and around the pipe shall be brought up uniformly on all sides and shall extend a minimum of 2 feet over the pipe before earth embankment with earth moving equipment over the pipe is started.