## Sheet1
LINE ADDITION | LENGTH | PATH | GEOGRAPHIC | GAS | COAL | RENEW
500-kV AC unless noted | miles | NUMBER | DESCRIPTION |  |  | ABLE
Langdon-Cranbrook-Selkirk-Bell | 420 | 1 and 3 | Alberta to BC to NW | X | X | X
Harquala-Devers | 225 | 46 | AZ to CA | X | X | X
Hassyamp-North Gila-Imperial Valley-Miguel | 260 | 49 | AZ to CA | X | X | X
Sycamore-Ramona-Imperial Valley | 120 | 42 | Into San Diego | X | X | X
Chief Joe-Monroe | 120 | 4 | Into Puget Sound | X | X | X
Grand Junction-Emery 345-kV line | 180 | 30 | CO to UT | X | X | X
Garrison-Hot Springs-Bell-Ashe | 425 | 6 | West MT to WA |  | X | X
Midpoint-Melba-Grizzly | 370 | 14 | Idaho to OR |  | X | X
Melba-Caldwell-Locust-Boise Bench 230 line | 100 | 14 | Idaho to OR |  | X
Bridger-Ben Lomond-Midpoint | 470 | 17, 19, 20 | WY to UT to ID |  | X | X
Bridger-Midpoint | 320 | 17, 19 | WY to ID |  | X | X
Green Valley-Stegall-Bridger | 450 | new | through WY |  |  | X
Colstrip-Broadview-Garrison | 335 | 8 | Through MT |  | X
Crystal-Mira Loma | 260 | 46 | AZ to CA |  | X
Colstrip-Wyodak (3 lines) | 390 | 38 | MT to WY |  | X
Wyodak-Bridger | 290 | 37 | Through WY |  | X
Wyodak-Laramie | 135 | new | Through WY |  | X
Emery-Mona-Crystal | 340 | 31,35,78,79 | UT to NV |  | X
Wyodak-Los Angeles 500-kV DC | 610+ | several | WY to CA |  | X
Shiprock-Moenkopi-Market Place | 542 | 22,23,others | AZ to NV |  | X
Laramie River-Green Valley-Grand Junction-Craig | 540 | 36,39,40 | WY to CO |  | X
Ben Lomond-Mona | 108 | new | through UT |  | X
Hassyamp-North Gila-Imperial Valley-Miguel | 280 | 46, 49 | AZ to CA |  | X
Total Transmission Mileage for Gas Scenario | 1325
Total Transmission Mileage for Coal Scenario | 6230
Total Transmission Mileage for Renewable Scenario | 3360