6.5

04-05

me

me - Grounding Connectors

Manufacturer	Catalog Number

.102" (#10 AWG) Copper

.162" (# 6 AWG) Copper

.162" (#6 AWG) Copper	.102" (#10 AWG) Copper

.257" (#4 AWG)

Connected to:	.162" (#6 AWG) Copper	     ACSR    	.102" (#10 AWG) Copper

Anderson Electric		C-6	         --			C-10

Burndy		KS17	         --			 KS90

Dossert		DS2F	         --			DS09F

Erico(1)	PGT-1G1G (Solid-to-Solid)	         --	PGT-1B1A (Stranded-to-Solid)

PGT-1H1H (Stranded-to-Stranded)	         --	PGT-1A1A (Solid-to-Solid)

PGT-1H1G (Solid-to-Stranded)

Electric Motion		EM 2371	         --			EM 2371

Fargo		GC-5006	         -- 			GC-5008

Galvan		K-6		    --			      --

Joslyn		J3606	          -- 		J3657F

Kearney		118102	          -- 			118100

Penn-Union		S-6		SW-5			S-10

Tyco Electronics		81663-1(2)	         --		      --

(1)Additional Erico CADWELD connectors are available for other combinations of ground wire.

(2)For use with two stranded #6 conductors only.

6.5.1

04-05

me

me - Grounding Connectors

(Compression Type)

Manufacturer	Catalog Number

.102"(#10 AWG) Copper

to

.109"(#12 BWG) (MPDW)

Burndy	YC8C8-ET

National Tel.	T2-109D

#6 Copper to	#6 Copper to

#4 & #6 Alum.	#2 & #4 Alum.

Burndy	KSA4		KSA2

Penn-Union	SW-5		SW-6

6.5.2

08-06

me

me - Grounding Connectors

Manufacturer		Catalog Number

.102" (#10 AWG) Copper	  #10 AWG Copper

Connected to:	 .109" (#12 BWG) Steel (MPDW)	.134" Steel (MPDW)

Burndy	KSL-15	     -

Dossert	DSN1F	     -

Penn-Union	SW-1	SW-2

.102" (#10 AWG) Copper

Connected to galvanized

steel strand:	   6M   	  10M   	  16M

Aberdeen	AB 438	AB 438	AB 438

Burndy	   -	KSU25	KSU26

Dossert	DSNS6F	DSNS10F	DSNS13F

Electric Motion	EM GC8010P	EM GC8010P	EM GC8010P

EM GC8020P	EM GC8020P	EM GC8020P

Fargo	GC8010P	GC8020P	GC8020P

Joslyn	J-3030	J-3030	J-3030

MacLean Power	438ALC	438ALC	438ALC

Penn-Union	SW-6	SW-7	SW-8

.102" (#10 AWG) Copper

Connected to:		Aluminum-Clad Steel Strand

6M   	  10M    	  16M

Electric Motion	EM GC8010P	EM GC8010P	EM GC8010P

EM GC8020P	EM GC8020P	EM GC8020P

Fargo	GA-620C	GA-620C	GA-620C

MacLean Power	438ALC	438ALC	438ALC

Penn-Union	PCA-010-H	PCA-010-H	PCA-010-H

For Buried Plant Housings (PE-91)

#6 AWG

Electric Motion		EM 0164(1)

EM 2371T

Fargo		GC-164SHP(1)

GC-5006SHP

(1)Connector will accept braid.