| Location: |  | Date: |  |
| --- | --- | --- | --- |
| Module: |  | Reviewed by: |  |

- Give definitions for the following:

  - Friction Loss -

  - Head Pressure -

  - Nozzle Pressure -

  - Cavitation -

- What is atmospheric pressure at sea level? _________

- Parallel pumping is used to:

  - Increase pressure

  - Increase volume

  - All of the above

- Series pumping is used to:

  - Increase pressure

  - Increase volume

  - None of the above

- Stage pumping is used to:

  - Increase pressure

  - Increase volume

  - None of the above

- Complete the following friction loss calculations.  Use the Incident Response Pocket Guide as a reference.  Show all work in the space provided.

  - You are pumping a 1½-inch hose lay 500 feet long with a 3/8 inch tip. What is the PP? Compute and write your answer below.

| NP= |  |
| --- | --- |
| ±H= |  |
| +FL= |  |
| +A= |  |
| PP= |  |

  - You are pumping to a hose lay with the first lateral at 1500 feet. You have another 100 feet of 1½-inch hose to another lateral. Both laterals have 3/8 inch tips. What is the PP?

| NP= |  |
| --- | --- |
| ±H= |  |
| +FL= |  |
| +A= |  |
| PP= |  |

  - You are pumping to a 1½-inch hose lay with the first lateral at 900 feet. You have another 100 feet of 1½-inch hose to another lateral. Both laterals have 3/8 inch tips and are 180 feet above the pump.

| NP= |  |
| --- | --- |
| ±H= |  |
| +FL= |  |
| +A= |  |
| PP= |  |