Topic List:

Important Announcement:

In preparing to transition to a new LTIMP chair, Catherine sought input on the idea of LTIMP co-chairs.  All responses were positive.  The transition will begin at the March 7, 2007 meeting and be completed by the May 2, 2007 meeting.

The Nevada Division of State Lands (NDSL) was accepting applications for the Lake Tahoe License Plate funds.  The due date for applications was March 2, 2007.  For more information, visit their website at: http://lands.nv.gov/program/tahoeplate.htm.

Rita Whitney announced that the 2007 Snap Shot Day needs a sponsor if it is to continue this year.  She encouraged interested agencies to submit an application the NDSL Lake Tahoe License Plate grants as a potential funding source for Snap Shot Day laboratory analysis and supplies (because this funding source is not appropriate for food or staff time).

- 2006 LTBMU Urban Stormwater BMP Effectiveness Monitoring Synthesis Report – Nicole Beck

- Cultured Ecology Pilot Test Results – Steven Patterson

Topic Summary:

2006 LTBMU Urban Stormwater BMP Effectiveness Monitoring Synthesis Report – Nicole Beck

Catherine introduced Nicole with a statement from the Forest Service listing the intended purposes of the BMP effectiveness monitoring synthesis and acknowledging that Nicole was put in the awkward position of evaluating the work of her peers without the anonymity common to peer views.  The purposes of the synthesis of BMP effectiveness data (from FS Comprehensive Urban Runoff Treatment Effectiveness Monitoring (CURTEM) projects and a few CTC monitoring projects) was to make more accessible the BMP effectiveness results,  and the lessons learned from BMP effectiveness monitoring to improve project implementation and future BMP effectiveness monitoring.  While there was little new data to fill in the gaps about BMP effectiveness for the Tahoe TMDL, the FS is hopeful that the recommendation in the report will be used to improve future BMP effectiveness monitoring and reporting.

Nicole described the process by which the synthesis was performed including the utilization of a standard review form (included as Appendix A in the report) for the preliminary review of BMP effectiveness monitoring reports, subsequent interviews with principle investigators, data analysis, and report synopses.  The standard review form is separated into sections to evaluate the quality of the study objectives and design, data collection approach and consistency, report presentation, and conclusion and recommendations.  Due to the variation and inconsistencies in data collection and analysis between reports, the Nomenclature of Pollutants section in Nicole’s synthesis report recommends particular species for analysis of nitrogen, phosphorus, and sediment based on analytical procedures and common practices.

The three types of BMPs monitored for effectiveness in the reports reviewed were dry detention basins, wet basins, and mechanical treatment structures.  Tables were developed to show the useful and recommended meta data that should be collected for each of these BMP types to improve comparability of monitoring data and results, and the degree to which each report contained the recommended data.  In addition to the effectiveness data that it is typically collected for all BMP types like event mean concentrations (EMCs) for inflow, outflow, and percent removal for target pollutants, additional meta data for basins should include flow path length, hydraulic residence time, depth to ground water, and vegetation characteristics.  In general, basins provide good reductions in Total Suspended Solids (TSS), but are typically limited in removing dissolved nutrients (best outflow concentrations for NOx ≥ 250 μg/L, SRP ≥ 50 μg/L).  Nicole found that basin monitoring was typically weak in relation to assessing the impacts to ground water (because it was usually limited to surface water monitoring) and that 100% retention was considered 100% treatment.  Nicole also found that EMCs were determined by three different methods depending on the data collected and that the various methods did not always produce consistent results.  It is recommended that sediment monitoring, which has been typically limited to just TSS, should begin to include particle size monitoring in response to the finding that fine sediments are responsible for up to 65% of the lost of clarity in Lake Tahoe.  The monitoring of mechanical treatment improvements (various commercial vaults and filters, and sediment traps) could be improved by determining the cost benefit in terms of sediment removed, and the impacts of maintenance on effectiveness.  There were a few other CURTEM reports that were reviewed in the synthesis effort that did not fall within the three BMP types; one on source control which contains good advice for utilizing cost effective parameters for monitoring improvements, and a few others on chemically enhanced BMPs for removing nutrients and sediment which raise concerns about the potential ecological impacts of coagulants and flocculants.

The lessons learned for more effective monitoring and implementation of BMPs are contained in Nicole’s recommendations for managers, implementers, and researchers.  The recommendations include performing longer term high-resolution monitoring, development of monitoring plans, technical review of monitoring plan design and results reports, development of rapid assessment methodologies that can be linked to high resolution findings, make monitoring data more accessible, development of clearer BMP and monitoring objectives, and build on existing knowledge from monitoring and research. The report recommends monitoring BMPs for continuous hydrology and performing water balances to better ascertain the how the BMPs are operating.  The report also recommends additional analysis of the raw BMP effectiveness monitoring data to develop more consistent results for better comparability and the development of a quantitative database for all BMP effectiveness meta data as an adaptive management and TMDL tool.

The 2006 LTBMU Urban Stormwater BMP Effectiveness Monitoring Synthesis Report can be found on the LTBMU’s publications ftp site at: http://www.fs.fed.us/r5/ltbmu/publications/, and Nicole Beck can be contacted at:  nbeck@2ndnatureinc.com.

Cultured Ecology Pilot Test Results – Steven Patterson

Steven presented the results of a pilot scale study of the use of cultured periphyton to treat stormwater runoff for fine sediment and dissolved nutrients.  This project was funded by the USEPA through the Nevada Tahoe Conservation District, and Steve was assisted by the Tahoe Environmental Research Center and the Desert Research Institute.  This technology is being developed as a potential advance treatment of stormwater runoff to provide the 30 to 40 % pollutant load reductions proposed in the Lake Tahoe Clarity technical TMDL.  Periphyton is an assemblage of algae, cyanobacteria, diatoms, bacteria, and other organisms that grow under water attached to submerged surfaces.  Periphyton exists as a mucilaginous matrix that captures fine sediments, and consumes dissolved nutrients directly from the water column even at low concentration and temperatures given enough light.  The idea for applying this technology in the Tahoe Basin came from observations of the effectiveness of wet basins.  The periphyton used in this study was collected from natural and man made sources within Lake Tahoe and the Basin.

The pilot scale study set-up consisted of two above ground, 150 gallon, translucent-walled culture tanks in series followed by a 300 gallon culture trough.  The culture tanks each contained a PVC frame for a cylindrical screen of fabric which acts as the substrate for the attached growth of periphyton.  The tank walls allowed transmission of 80% of visible light, and light transmission was enhanced by selecting tanks that are taller than they are wide, and by installing a reflective metal plate north of the tanks.  For maximum periphyton productivity (based on coral reef observations), a turbulent flow regime was established within the culture tanks with a submerged air pump that accumulates air until periodic releases.  The cultured trough was modeled after a floating wetland, but it did not provide any additional treatment benefit to the effluent from the culture tanks and will likely be moved to before the cultured tanks in future applications.

The pilot test monitoring consisted of collecting data related to the periphyton harvest (biomass analysis), synthetic stormwater treatment tests, and base flow water chemistry.  Treating only a spring fed base flow for four months, and harvesting the periphyton every 30 days, the culture tanks were able to remove a total of 3.6 grams of phosphorus per square meter of tank footprint (g P/m2), which is the basis of the estimate that cultured periphyton can remove 10 g P/m2/yr.  Turbidity was consistently reduced to 13 NTU in the effluent from influent concentrations ranging from 135 to 53 NTU.  Fifty percent of the particles removed were 11 μm or less in diameter.  Nitrate concentrations were consistently reduced to 3 μg/L in the effluent from influent concentrations that ranged from 81 to 10 3 μg/L.  Phosphorus removal appeared to be nitrogen limited and influent concentrations ranging from 42 to 64 μg/L were reduced to a range of concentrations from 22 to 46 μg/L in the effluent.

The synthetic stormwater treatment tests were set up in two different configurations. The first synthetic stormwater treatment test was set up with the synthetic stormwater delivered directly from a 1000 gallon tank with a mixer to the treatment train of the two culture tanks and one culture trough.  In the second test a pretreating fore bay was modeled by first cycling the synthetic stormwater through a 300 gallon settling trough, then cycling the pretreated synthetic stormwater through the two culture tanks and one culture trough treatment train.  The synthetic stormwater was created with 2 kg of road sweepings, had a 5 in secchi depth reading, and a turbidity of135 NTUs.  The particle size distribution was relatively unchanged by treatment.  Since the culture tanks must remain wetted, the initial volume of base flow resulted in dilution of the synthetic concentrations.  Cycling in the second test allowed for determining the maximum treatment levels, or lowest pollutant concentrations achievable.  Again phosphorus treatment removal was limited by low nitrogen levels and enhanced by higher nitrogen levels, which suggests that a nitrogen and possibly carbon feed may provide for greater phosphorus and nitrogen removal.

Extrapolating from the results of the pilot system: 8 tanks could treat a 5000 cubic feet of storm volume over a 3 day period, and 35% of 50 million tons of phosphorus could be removed in a treatment area of 175 ha (432 acres).  Future considerations for improving stormwater treatment effectiveness by cultured periphyton and developing applications of this technology include investigating methods of periphyton removal, potential uses of harvested periphyton, and opportunities to test and fund a second generation design.  Steven Patterson can be contacted at: 916-524-9039 or spatterson5000@earthlink.net.

In Attendance:

Scott Brown, NTCD*

Scott Carrol, CTC*

Jason Drew, NCE

Mike Elam, TRPA*

Cynthia Gillis, CSLT

Jena Green, USGS

Steve Goldman, CTC*

Alan Heyvaert, DRI

Lisa Huffman, MACTEC

Gretchen Huie, NTCD

Sarah Hussong Johnson, CSLT

Christine Kirick, Wood Rodgers*

Jason Kuchnicki, NDEP*

Theresa Loupe, USFS

Steven Patterson, BioxDesign

Joe Pepi, CTC

Ginger Peppard, WET Lab

Karin Peternel, Kennedy/Jenks

Michael Pook, NTCD

Chad Praul, Environmental Incentives

Jennifer Quickel, CSLT

Jeanne Riley, CDM

Dave Rios, NTCD*

Catherine Schoen, USFS*

Mark Sedlock, CTC*

Andy Smith, WET Lab

Matt Vitale, NTCD*

Rita Whitney, TRPA*

Total: 28 people, 16 affiliations

Next Agenda*:

The next meeting will take place in the TRPA conference rooms on Wednesday March 7, 2007 at 9 AM.  Meetings are normally held on the first Wednesday morning of every month.

- Sand and alternative media filters

*subject to change – Please send agenda suggestions to cschoen@fs.fed.us