The Washington State Energy Code:

The Residential Code Monitoring

Program

by

John Devine

Washington State University

Cooperative Extension Energy Program

Prepared under an Exemplary Award

for the U.S. Department of Energy’s

Building Standards and Guidelines Program

January 1997

WSU/EEP 97-006

This case study is one in a series documenting successful building energy code programs for use by other states as technical assistance models in support of the U.S.  Department of Energy (DOE) Building Standards and Guidelines Program.

The primary issue addressed by the Program (and other programs at DOE) is that new commercial and residential buildings being designed, built and occupied do not use currently available, technically feasible, and economically justified technologies and practices to eliminate the wasteful use of energy.  The Program seeks to advance the energy-conserving design and construction of buildings by promoting and assisting the development and implementation of energy efficient codes and standards that are technically feasible, economically justified and environmentally beneficial.  These activities are required of DOE by Title III of the Energy Conservation and Production Act as amended by the Energy Policy Act of 1992 (EPACT).  The long-term goal of the Program is to make sustainable, energy-efficient building design and construction common practice.

The Program’s approach to meeting this goal is to initiate and manage individual research, standards and guidelines development efforts that are planned and conducted in cooperation with representatives from throughout the buildings community.  Current projects involve practicing architects and engineers, professional societies and code organizations, industry representatives, and researchers from the private sector and national laboratories.  Research results and the technical justification for standards criteria are provided to standards development and model code organizations and to federal, state and local jurisdictions as a basis to update their codes and standards.  This approach helps to ensure that the standards incorporate the latest research results to achieve maximum energy savings in new buildings, yet remain responsive to the needs of the affected professions, organizations and jurisdictions.  It also assists in the implementation, deployment and use of the codes and standards.

Eric Makela	Margo D. Appel

Pacific Northwest National Laboratory	U.S.  Department of Energy

Table of Contents

Table of Figures

Acknowledgments

Executive Summary

Introduction: What is the Washington State Energy Code?

Energy Code Administration

Historical Perspective

The Energy Code in Action - Who Does What

Development of the Monitoring Program

The Washington State Energy Code Program

The Monitoring Plan

Proponents and Opponents of Code Compliance Monitoring

Development of Methodology

The Ten Measures

Monitoring in Practice

Year One

Years 2 - 4

Scores and Technical Findings

Slab Insulation

Wall Insulation

Fenestration

Ceiling Insulation

Floor Insulation

Duct Insulation and Sealing

Air Leakage Control

Ventilation Systems

Radon Requirements

Solid Fuel Combustion Appliances

Plan Review

Success of the Program

What do the Scores Tell Us?

What did the Monitoring Process Accomplish?

Lessons Learned

Conclusion

Bibliography

Appendix - Monitoring Checklist

# Table of Figures

Figure 1: Chronology of Major Energy Code Efforts in Washington State

Figure 2: Responsibilities for Functions of the Washington State Energy Code

Figure 3: Comparison of Code Compliance Deviations for Program Participants and non-Participants

Figure 4: Code Compliance Deviations for All Measures

Figure 5: Code Compliance Deviations for Slab Insulation Versus all Other Measures

Figure 6: Code Compliance Deviations for Wall Insulation Versus all Other Measures

Figure 7: Code Compliance Deviations for Fenestration Measures Versus all Other Measures

Figure 8: Code Compliance Deviations for Ceiling Insulation Versus all Other Measures

Figure 9: Code Compliance Deviations for Floor Insulation Versus all Other Measures

Figure 10: Code Compliance Deviations for Duct Insulation and Sealing Versus all Other Measures

Figure 11: Code Compliance Deviations for Air Leakage Control Versus all Other Measures

Figure 12: Code Compliance Deviations for Wall Ventilation Systems Versus all Other Measures

Figure 13: Code Compliance Deviations for Radon Requirements Versus all Other Measures

Figure 14: Code Compliance Deviations for Solid Fuel Combustion Appliances Versus all Other Measures

Figure 15: Code Compliance Deviations for Plan Review Versus all Other Measures

# Acknowledgments

This project was awarded through an Exemplary Grant funded by the U.S. Department of Energy’s (DOE) Building Standards and Guidelines Program.  Pacific Northwest National Laboratories (PNNL) heads the program for DOE.  The project benefitted from direction and oversight provided by the project manager, Eric Makela, PNNL.  The author is grateful for his support.

In addition, the author acknowledges the insightful comments provided by his colleagues at the Washington State University Cooperative Extension Energy Program - Rick Kunkle, Bruce Carter, Tony Usibelli, and Karen Messmer.

The other related case studies regarding the Washington State Energy Code, prepared under the DOE Exemplary Grant, are:

- The Washington State Energy Code: Training and Publication Support for the Residential Code, by Bruce Carter

- The Washington State Energy Code: The Role of Evaluation in Washington State’s Non-Residential Energy Code, by Tony Usibelli

- The Washington State Energy Code: Energy Code Privatization - The Utility Code Group Story, by Rick Kunkle

- The Washington State Energy Code: Certification for Inspectors and Plan Reviewers for the Non-Residential Energy Code, by Rick Kunkle

This and the other Washington State case studies were edited and prepared by Andrew Gordon, Washington State University Cooperative Extension Energy Program.

# Executive Summary

On July 1, 1991, Washington State began enforcing the requirements of an energy code based on the Model Conservation Standards.  The Washington State Energy Office, a non-regulatory state agency, was awarded the task of providing support for the new code.

The Washington State Energy Code Program provided financial and technical support to ensure the successful implementation of the 1991 Washington State Energy Code.  A cornerstone of the code was the Monitoring Program, designed to provide feedback on code compliance.  The Monitoring Program was developed with input from the shelter industry, code officials, utilities and all levels of government.

The methodologies utilized in code compliance data collection were not highly scientific.  Instead, the approach to data collection mirrored the building inspection process.  Many code requirements are qualitative and therefore the data analysis is not based upon objective certainty.  However, since the monitoring process and staff were consistent throughout the program, relative compliance levels are measurable over the four year data collection period.

The Monitoring Program was a useful vehicle in disseminating technical information to builders, code officials, code trainers, and technical assistance providers.  Data collection was not an end in itself; the primary purpose of the Program was to provide on-site code technical assistance.  The monitoring process had a positive and direct effect on overall compliance.

Analysis of the data shows that compliance improved steadily during the four year period of data collection.  A third party analysis of residential energy code compliance in Washington State concludes that the code is providing energy savings.

The general methodology of data collection and technical assistance used for the Monitoring Program can be utilized by other entities, if increased code compliance is the desired result.

# Introduction: What is the Washington State Energy Code?

The Washington State Energy Code provides energy efficiency standards for new and altered residential and commercial buildings in Washington State.*  The first Washington State Energy Code appeared in 1978; since then, it has been revised in light of advances in building science and new energy efficient technologies.

The current versions of the Washington residential and non-residential energy codes were implemented in 1991 and 1994, respectively.  The state legislature passed a bill in 1990 that upgraded energy codes for residential structures; in 1991, the legislature authorized the State Building Code Council to upgrade the energy code for non-residential structures.

## Energy Code Administration

In Washington State, the legislature is given the authority to revise building codes, including the Energy Code.  The State Building Code Council administers the building code and ensures that the state’s interests are met according to state law.  The Council includes representatives from the building industry, local government, and code enforcement officials.  Building codes are enforced by local jurisdictions.  Cities and counties have building departments with code officials who conduct plan reviews and building inspections.  Enforcement is funded at the local level.

## Historical Perspective

The Washington State Energy Code did not appear in its present form overnight.  The current code is the result of a gradual process over a period of sixteen years.  Figure 1 presents a chronology of major events and efforts leading up to the current code.

Figure 1

Chronology of Major Energy Code Efforts in Washington State

## The Energy Code in Action - Who Does What

The successful functioning of both the residential and non-residential energy codes are due to participation by a number of different entities.  Figure 2 outlines the functions provided by the various agencies and associations as of December 1996.

Figure 2

Responsibilities for Functions of the Washington State Energy Code

Key

SBCC		State Building Code Council

WSU	Washington State University Cooperative Extension Energy Program - formerly the Washington State Energy Office

CTED		Washington State Department of Community Trade and Economic Development

SPE/I		Special Plans Examiners and Inspectors

UCG		Utility Code Group - Typically acting through subcontractors

# Development of the Monitoring Program

## The Washington State Energy Code Program

The Bonneville Power Administration funded the evolutionary product of the Northwest Energy Code - the Washington State Energy Code Program.  The program was created to offer local governments assistance in implementing and enforcing the code.  Local jurisdictions were required to enforce the energy code through inspections, and work with the Washington State Energy Office on evaluation activities.  In turn, the jurisdictions received financial incentives, training and technical assistance.

Unlike the Northwest Energy Code, all jurisdictions were required to enforce the Washington code, whether or not they chose to participate in the Code Program.  Also, Northwest Energy Code compliance was closely tied to contract payments, whereas the state code contract payments were more closely tied to participation in training and technical assistance.  This approach to code compliance was consistent with the Washington State Energy Office’s mission as an agency.  The office was never charged by law to act as a regulatory agency, and never attempted to enforce the code through the Program.  Rather, it used its advisory role as a marketing tool to stave off local government’s fears of state interference.

## The Monitoring Plan

Included in the Program was the Monitoring Plan, which contained some of the elements of the Northwest Energy Code monitoring effort.  The primary similarity between the two monitoring plans was the “construction phase” approach.  Both plans monitored structures during the construction phase, rather than after completion.

## Proponents and Opponents of Code Compliance Monitoring

Although the importance of monitoring the performance of any large project may seem apparent, not all the players in the Washington State Energy Code Program were enthusiastic participants in this aspect of the Quality Assurance Plan.  The Bonneville Power Administration was the primary proponent of code compliance monitoring.  Bonneville’s interest in measuring the success of the Monitoring Program is understandable; after all, they were about to fund the most expensive statewide energy code effort in the nation.  Likewise, the utilities served by Bonneville wanted compliance monitoring.  On the other side of the coin were the people whose work was to be judged: the builders, code officials, and the Energy Office.

Although the builder organizations were invited to participate in the development of the Quality Assurance Plan, they did not do so.  Representatives from the Energy Office met with the Building Industry Association of Washington on several occasions in 1991 and early 1992 to encourage greater builder participation, but the Association was either disinterested, or perhaps too understaffed to provide input.  Also possible, however, is that the Association wanted nothing to do with the Code Program, so they were expending their resources to eliminate the code completely.  The Association’s lack of input was a surprise to Energy Office staff, who assumed builders would be very concerned about the state’s role in code compliance.  The Energy Office’s goal in meeting with the Builder’s Association was to assure them that the Energy Office’s presence at a job site did not constitute “double jeopardy” and that the actual inspection process was the domain of the local inspector.

The builders’ apathy to the Monitoring Plan stood in stark contrast to the position of code officials.  The Washington Association of Building Officials emphasized its members’ exclusive right to deem a structure as compliant to most building codes - including the Energy Code.  Some building officials and Association members felt the Code Program allowed the state to usurp authority that rightfully belonged to local governments.  In a survey by the Association of Washington Cities, non-participants cited compliance monitoring as one of the main disincentives to participating in the Program.

A compromise was reached: a first year grace period where the Energy Office agreed not to collect data, but still conducted on site technical assistance.  The grace period allowed building officials and builders time to learn the Code without suffering the embarrassment of being judged by the Energy Office.  The Energy Office supported the idea of this grace period, because low compliance, even in the early stages of the Program, could have provided detractors with ammunition to scrap the Code as “unenforceable”.  Unfortunately, this decision seriously undermined the effort to quantify the effect of the Program on overall Code compliance.  (See Lessons Learned.)

The Energy Office viewed implementation of the Monitoring Program as a task in diplomacy.  On one hand, the Energy Office did not want a program if it presented a marketing liability.  On the other hand, it needed a tool that would provide feedback to code trainers as well as to Bonneville.  The mission the Energy Office faced was a balancing act.  They wanted to make sure Bonneville was confident in their ability and sincerity about monitoring; but did not want to appear as if they were enthusiastically snatching authority from the code enforcement community.

## Development of Methodology

To a great extent, the development of the Monitoring Plan was narrowed, at least initially, by the scope of the Energy Code Program.  The plan was only to apply to Energy Code Program jurisdictions, since non-participating jurisdictions expressed discomfort with the process.  Only electrically heated homes would be monitored, because the Program was funded by Bonneville.  (Later, some of these limitations were removed.  See Monitoring In Practice.)

During the first year of the Energy Code Program, no code compliance monitoring data was collected.  Instead, on-site technical assistance was provided at the initiative of the Energy Office.  Although cooperation with technical assistance and monitoring site visits was a Program contract requirement, participants were treated as valuable customers.  Energy code staff from the Energy Office contacted participating local building officials, reminded them of contractual obligations, assured them that the visits were confidential and made appointments.  On-site technical assistance generally included an energy code plan review of a current project in the presence of a code official.  After the plan review, several sites were visited, chosen by the building official.  While on site, questions about specific code requirements were gathered and discussed with builders and code enforcement personnel.

Technical assistance providers from the Energy Office periodically shared notes, and over time, ideas for systematically collecting data emerged.  A wide range of ideas were proposed and rejected.  One approach proposed the use of measuring tools like flowhoods and blower doors to precisely measure a comprehensive list of code requirements.  At the other end of the spectrum, a plan was proposed for a subjective analysis of only one or two code measures per year.

A limiting factor in deciding the approach to monitoring was access to the sites.  Building departments generally only have access to a site until the final inspection.  This presented a problem for conducting air leakage tests, which could only be accurately done after the structure was completed.  An additional problem with conducting air leakage tests is that they did not measure code compliance directly, since air leakage control requirements are prescriptive.  (A method to meet performance air leakage requirements is available in the systems analysis approach, but was never encountered in the field by monitoring staff.)  In other words, it might be possible to air seal according to prescriptive requirements, but still not meet performance standards.  Lastly, blower door tests are time consuming, and only a very small sample of blower door tests could be conducted without stretching Program resources and creating additional tensions between building officials and the Energy Office.

Eventually, the Quality Assurance Group settled on a plan where seven Energy Code requirements, two Ventilation and Indoor Air Quality Code requirements, and one programmatic requirement would be measured for “code acceptance.”  The term “code acceptance” was adopted because code officials were uncomfortable with the underlying assumption that they might provide Certificates of Occupancy for structures that did not comply to code.

## The Ten Measures

The measures selected for the Monitoring Program were:

- floor insulation

- wall insulation

- ceiling insulation

- duct insulation (and sealing)

- air sealing

- fenestration

- slab insulation

- plan review

- mechanical ventilation

- radon requirements (replaced in 1993 by solid fuel burning appliance requirements.)

Plan review was selected at the urging of utility representatives who had experience in enforcing the requirements of voluntary incentive programs, like Super Good Cents.  The utility representatives were adamant that a great number of enforcement problems could be avoided if caught in the plan review process.  This was also an opportunity for the Energy Office to monitor program compliance; jurisdictions were required, by contract, to fill out and file inspection checklists for each job.  Also, since many homes complied via the component performance approach, a review of the plans was needed to determine the level of Code acceptance (the component performance approach allows trading off the thermal efficiency of one building component for another, using a higher level of attic insulation to allow for less wall insulation, for example.)  If the file had inadequate detail to determine the requirement, (for example, the required R-value of insulation) it was assumed that the building official, and perhaps the builder, also did not know the requirement.

Mechanical ventilation and radon requirements were selected because they were desired for inclusion by Bonneville.  All funding for the Energy Code Program was based upon the codes meeting Bonneville’s Record of Decision for Indoor Air Quality.  The Bonneville decision forced Washington State to adopt the Ventilation and Indoor Air Quality Code along with the Energy Code, if federal funding was to be provided for the program.  The key elements of the Ventilation Code related to radon resistive construction and to whole house mechanical ventilation.  (A 1993 change in Bonneville’s Record of Decision led to the removal of the radon requirements in favor of solid fuel burning appliance requirements.  Each of these Ventilation Code measures were monitored for two years.)

In addition to a monitoring checklist, a glossary was developed that defined levels of “code acceptance.”  To ensure uniform data collection, definitions of a perfect score, a minor variance, a serious variance, and a very serious variance were developed for each of the ten measures monitored.  The monitoring checklist and definitions were the tools the code monitoring staff used to collect and score field data.  (See Appendix for a copy of the monitoring checklist.)

# Monitoring in Practice

## Year One

On July 1, 1992, the Washington State Energy Code Monitoring Program officially began.  Once actual data collection began, the monitoring staff quickly realized that scoring measures for code were very subjective.  Code language was used as the standard; in practice however, the code was often too simplistic to use as a benchmark for assessing a degree of compliance.  For example, according to the code, “To the maximum extent possible, insulation shall extend over the full component area to the intended R-value.”  The question arises, “what is the maximum extent?”  Opinions about quality and code requirements varied widely among builders, building officials and even the monitoring staff.  After three months of data was collected, it was found that the average scores varied widely, depending on who collected the data.  Some of these issues were resolved through discussions and joint visits, where each of the monitoring staff independently collected data at several sites and shared notes and scores afterward.  As a result, some of the scoring definitions were firmed up to narrow the effect of subjectivity.  Nevertheless, throughout the monitoring period, variances in scores can be partially attributed to the scorekeepers, rather than to differences in site conditions.

Pacific Northwest National Laboratories (PNNL) was assigned the task of providing perspective on code compliance levels.  As part of their study, they shadowed the monitoring process over a few months and collected data.  They found that the monitoring reports tended to underestimate the level of compliance.  PNNL typically found higher compliance levels than did the Energy Office - even where both parties monitored the same site.  After achieving a high level of confidence in monitoring data, PNNL settled on data supplied directly from the Energy Office monitoring database for its study.  Prior to releasing their report, PNNL made recommendations designed to improve the quality of the data.  They suggested a more detailed data collection form designed to reduce subjectivity.  In the second year of data collection, a new form was introduced based on PNNL’s recommendations.

## Years 2 - 4

The second year of code monitoring included gas heated homes located in Program jurisdictions.  Although local building departments were not obligated by contract to facilitate data collection at these sites, none objected.  The advantage of collecting data at these sites was related to ventilation code requirements.  Since almost all of the electrically heated homes on the west side of the state utilized ductless heating systems, the whole house ventilation strategies that were integrated with the ducted systems were not adequately monitored during the first year.

In Year Three, the Energy Office began monitoring jurisdictions that were not participants in the Program.  The advantage in including non-participants is that it allowed the Energy Office to compare Program jurisdictions to non-participants.  So, by Year Three of the Program, virtually all residential sites could be monitored for code compliance, so long as the Energy Office could gain access from either the Building Official or the builder.  Figure 3 provides a comparison of Program participants to non-participants.

Figure 3

Comparison of Code Compliance Deviations for Program Participants and non-Participants

The Energy Office had a great deal of success in monitoring sites that were not electrically heated.  Throughout the Program, gas utility service expanded to more areas of Washington State.  In fact, some jurisdictions quit the Program because they lacked electrically heated sites.

Code monitoring in non-Program juridictions was more difficult.  Typically, jurisdictions were recruited for monitoring when they called for assistance on the Energy Code Hotline.  Several jurisdictions were monitored with the assistance of cooperative builders, whose sites were also recruited via the Hotline.  While the Energy Office did not monitor as many non-Program sites as desired, they managed to monitor some sites in all of the major non-Program jurisdictions.

## Scores and Technical Findings

A simple analysis of the data quickly reveals one obvious, irrefutable fact: code compliance improved over time.  For the first two years of the study, scores improved steadily during each  three month period.  Over the four year program, each year’s scores were an improvement over the previous year.  Figure 4 shows the average level of compliance for all code measures over time.

Figure 4

Code Compliance Deviations for All Measures

The following subsections break down compliance levels for each of the ten measures compared to all other measures.

Note: Nearly all code requirements can be “traded-off” through a component performance or systems analysis approach (the systems analysis approach encompasses the trade-offs allowed in the component performance approach, but includes allowances for solar gain and heating, ventilation and air conditioning (HVAC) efficiencies.)  The component performance approach allows for insulation to be decreased in one area of a building, as long as the overall efficiency of the structure meets code requirements.  About half of the residential structures in this study used “trade-off” calculations to prove code compliance.

### Slab Insulation

Requirement: The perimeter edge of an on grade concrete slab is required to be insulated from the top of the slab downward for 24," or to the footing, whichever is less.  The Prescriptive Approach requires R-10 insulation.

Analysis:  A total of 148 sites were monitored for these requirements.  Most non-complying on-grade slabs lacked insulation between the garage concrete (or patio) and the interior space.  This was the poorest scoring measure during the first year, as it was not standard practice prior to the 1991 Energy Code.  Data shows that compliance improved dramatically over the monitoring period, possibly because the builders learned to trade-off the slab insulation requirement via the component performance approach.  Figure 5 provides a comparison of slab insulation compliance versus all the other measures.

Figure 5

Code Compliance Deviations for Slab Insulation Versus all Other Measures

### Wall Insulation

Requirement: Exterior walls must be insulated.  Insulation must be installed according to manufacturer's instructions to achieve proper densities and maintain uniform R-values.  Insulation R-values vary based on weather zone and compliance approach.

Analysis: A total of 326 sites were monitored for these requirements.  Scoring for this measure was more subjective than most other measures.  The monitoring staff had to judge when the insulation was more compressed than necessary.  The scores were good, but erratic over the 4 year period.  Nearly all the homes had the appropriate R-value installed.  Figure 6 provides a comparison of wall insulation compliance versus all the other measures.  There is no technical explanation for the decrease in compliance in Year 3.  This aberration is small for such a subjective measurement.

Figure 6

Code Compliance Deviations for Wall Insulation Versus all Other Measures

### Fenestration

Requirement: Properly labeled doors and windows (of appropriate U-value) must be installed.  The U-value requirement varies from .75 to .28, depending on glazing area, compliance approach, zone, and fuel type.

Analysis: A total of 888 sites were monitored for these requirements.  This was the best scoring measure.  When a score was less than perfect, it was generally because the contractor removed the U-value labels prematurely.  The scores worsened slightly in the last year of the program, primarily due to an Energy Code amendment requiring that American Architectural Manufacturer’s Association labels be replaced with the more stringent National Fenestration Rating Council (NFRC) labels.  Figure 7 provides a comparison of fenestration compliance versus all the other measures.

Figure 7

Code Compliance Deviations for Fenestration Measures Versus all Other Measures

### Ceiling Insulation

Requirement: Ceilings must be insulated, typically to R-38.  Insulation must be installed according to manufacturer's instructions to achieve proper densities and maintain uniform R-values.

Analysis: A total of 153 sites were monitored for these requirements.  Monitoring staff had to judge when it was compressed, or improperly blown, or in the path of ventilation air.  The scores were poor the first year, and somewhat erratic over the 4 year period, largely due to the subjective nature of the scoring.  Even in the worst cases, most of the required insulation was installed.  Figure 8 provides a comparison of ceiling insulation compliance versus all the other measures.

Figure 8

Code Compliance Deviations for Ceiling Insulation Versus all Other Measures

### Floor Insulation

Requirement: Floors over unconditioned spaces must be insulated over the full component area, in a permanent manner, in contact with the surface to be insulated, and without compression.  Typical insulation levels were R-30 for electrically heated homes and R-19 for homes heated by other fuels.

Analysis: A total of 265 sites were monitored for these requirements.  This was the worst scoring measure in three of the four years of monitoring.  Several problems contributed to the poor scores.  Frequently, insulation was found to be supported by spring loaded rods, that at best, compressed the insulation, and at worst, fell out and allowed the insulation to sag.  When twine was used to support the insulation, particularly where truss-joist I-beams were used, the twine was not installed so that the insulation remained in contact with the floor.  Where R-19 insulation was allowed, twine was often stapled to the bottom edge of the 10” joist, so that the insulation was suspended two inches below the underside of the floor.  Technical assistance and training staff focused on this problem and offered solutions.  As a result, during the last year of monitoring, many insulation contractors used inset stapling with the twine, and scores dramatically improved.  Figure 9 provides a comparison of floor insulation compliance versus all the other measures.

Figure 9

Code Compliance Deviations for Floor Insulation Versus all Other Measures

### Duct Insulation and Sealing

Requirement: Ducts in unconditioned areas shall be insulated and sealed.  Typically, ducts must be insulated to R-8, and joints must be sealed with a material approved by the building official.

Analysis: A total of 194 sites were monitored for these requirements.  The scores for duct insulation and sealing were average and relatively static throughout the monitoring period.  During the third year of monitoring, Energy Office staff were aware of a study that showed duct leakage can account for about 30 percent of a home's heat loss, and scrutinized ducted heated systems more closely.  Intense visual inspections of ducts did not corroborate with more technical studies that measured actual duct leakage.  This finding may be significant: if technicians trained specifically in energy conservation could not find the duct leaks, certainly local code inspectors would have similar difficulties.  Figure 10 provides a comparison of duct insulation and sealing compliance versus all the other measures.

Figure 10

Code Compliance Deviations for Duct Insulation and Sealing Versus all Other Measures

### Air Leakage Control

Requirement: Seal air leaks through the building shell.

Analysis: A total of 542 sites were monitored for these requirements.  The requirement sounds simple but the potential for a contractor to miss some leaks is practically 100 percent.  All leaks through the shell were considered variances with the code requirement.  Monitoring staff looked for groups of variances (for example, window frames, electrical outlet boxes and plumbing penetrations would each be considered a separate group.)  If leaks were found in three or more groups, the job was considered seriously flawed.

The scores for air leakage control remained static throughout the Program, and a little worse than average compared to other measures.  Bypasses were consistently found through ceiling fixtures and also in the rim joist between floors of two story homes.  Both the rim joist and ceiling fixture leaks were often overlooked entirely by the air sealing contractor.  These areas are too high to seal without using a ladder.  Additionally, air sealing electric boxes were sometimes overlooked entirely.  Other deficiencies were found more sporadically.  Figure 11 provides a comparison of air leakage control compliance versus other measures.

Figure 11

Code Compliance Deviations for Air Leakage Control Versus all Other Measures

### Ventilation Systems

Requirement: All bathrooms, laundry areas, and kitchens must be provided with exhaust fans that are ducted outdoors.  All homes must have whole house mechanical ventilation that is either continuous, or intermittently controlled and capable of providing .35 to .50 air changes per hour.

Analysis: A total of 752 sites were monitored for these requirements.  The “source” exhaust fan requirement was rarely violated, except in kitchens where recirculating exhaust hoods were sometimes found.  Ventilation systems for homes with ductless heating systems typically met requirements, but occasionally, through the wall (or window frame) air inlets were not installed.  Ventilation systems that utilized the heating system ducts to distribute fresh air (called integrated systems) frequently had compliance problems, primarily because some options have performance requirements that are prescriptively required.  During monitoring visits, it was found that few systems were actually performance tested, or at least, no documentation could verify tests.  The systems encountered in the field were often ineffective marriages of several different compliance options; some systems exceeded code requirements but most led to severe over-ventilation, lack of control, or under-ventilation in the bedrooms.  Figure 12 provides a comparison of ventilation system compliance versus all the other measures.

Figure 12

Code Compliance Deviations for Wall Ventilation Systems Versus all Other Measures

### Radon Requirements

Requirements: A radon detector must be on site at final inspection; and radon mitigation strategies must be fully or partially installed for some geographic areas and types of construction.

This indoor air quality measure was only studied for two of the four years.

Analysis: A total of 42 sites were monitored for these requirements.  During the first year of the study, the average score was worse than for any measure.  During the first year, builders were required to leave a radon detector at the job site, but often failed to do so.  The scores improved dramatically during the second year, as the radon requirements became more well known and accepted.  Figure 13 provides a comparison of radon requirement compliance versus all the other measures.

Figure 13

Code Compliance Deviations for Radon Requirements Versus all Other Measures

### Solid Fuel Combustion Appliances

Requirements: Most solid fuel combustion appliances are required to be directly connected to an outside combustion air source and have tight fitting glass doors.  Wood stoves, fireplaces and pellet stoves are examples of this type of appliance.  This measure was studied in the third and fourth years of the Program.

Analysis: A total of 81 sites were monitored for these requirements.  Scores for these requirements were excellent during both years.  Calls on the Residential Hotline indicate that these requirements were more problematic for existing construction.  Figure 14 provides a comparison of solid fuel combustion appliance compliance versus all the other measures.

Figure 14

Code Compliance Deviations for Solid Fuel Combustion Appliances Versus all Other Measures

### Plan Review

Requirements: Accurate documentation should exist on file that shows the structure meets Energy and Ventilation codes.  Required documentation includes an inspection checklist, compliance calculations, and blueprints.

Analysis: A total of 500 sites were monitored for these requirements.  The scores for plan review improved steadily, but not overwhelmingly, over the four year period.  It was found that poor documentation did not often translate into poor compliance in the field.  Nearly all job files contained some information about the energy code, though detail was often lacking.  The increase in deviations in Year Two is probably due to a more detailed monitoring scoresheet, which provided more detail than the scoresheet used in Year One.  Figure 15 compares plan review compliance versus all the other measures.

Figure 15

Code Compliance Deviations for Plan Review Versus all Other Measures

# Success of the Program

## What do the Scores Tell Us?

The PNNL study suggested that the scores can be translated into actual energy saved by the code.  The Energy Office contended that the purpose of the monitoring study was threefold: to provide on-site technical assistance, to collect information for use in training, and to help determine whether or not compliance levels improved during the program.  Using only the data collected in the first year, PNNL suggested that the energy saved was about 95 percent of what could be expected from full compliance.  However, other studies showed that air leakage in Energy Code compliant homes, particularly those with ducted heating systems, was much higher than levels that could be predicted using monitoring data.

## What did the Monitoring Process Accomplish?

First, the monitoring process provided direct feedback to builders.  A key element of the monitoring process was the on-site technical assistance that occurred spontaneously during the visit.  Often, the contractors were eager to participate and asked questions on site.  Although a few builders were hostile or indifferent, the vast majority of the builders (general and subcontractor) wanted to know how well they scored.  When a problem was found, the builders sometimes became defensive, but when presented with accurate reasoning for the code, and given a choice of acceptable compliance methods, they were typically won over.

The monitoring process also provided feedback and instruction to the code officials.  Many code officials see themselves as contributing to the building process rather than merely enforcing the law.  If they do not understand the reasoning behind the code, they can be embarrassed by a builder who challenges requirements.  The code monitoring staff was very adept at explaining the scientific foundation of the Energy Code.  Customer service oriented building officials need this information to do their jobs well.

The monitoring process also provided feedback to Energy Office code staff.  Difficulties encountered in the field resulted in training sessions that were more focused and Hotline advice that was more pertinent.  When truss joist I-beams became a common building component during the second year of the program, monitoring staff alerted trainers and Hotline staff of the related floor insulation deviation (see Floor Insulation.)  In the field, builders and inspectors were advised of any problems encountered.  By the fourth year of the monitoring program, nearly all floor insulation jobs were done properly, and the scores dramatically improved.

# Lessons Learned

- The data collected may have been more useful if the scores ranged from 1 to 10 rather than just 1 to 4.  Perfection is a difficult and very subjective goal.  The scale using (1 - 4, where one is perfect and four is very poor) tended to cause the Energy Office staff to select “2” as the appropriate rank for even slight quality problems.  More gradations in the scale would help to assess the magnitude of a problem more accurately.

- The total number of sites monitored is less important than the number of enforcement staff and contractors participating in the process.  When the requirements of the code are explained well from a building science perspective, they are more likely to be accepted by builders and code officials.  One-on-one assistance of this type is challenging, but effective.  Individuals who came to know the monitoring staff  used other program services more often - they called the Hotline to resolve difficult questions and they attended more trainings.

- The progress of code compliance can best be monitored if data collection begins very soon after the code takes effect.  Monitoring did not begin until the Energy Code was in effect for 1 year.  The ramp up period was undocumented, a missed opportunity that may have provided insights about  the code acceptance and learning process.  The 1991 Washington State Energy Code overlapped the enforcement timetable of the Northwest Energy Code.  The two codes were very similar, and many Northwest Energy Code jurisdictions participated in the Washington Code Program.  Since the Washington Monitoring Program did not begin until July 1992, it was not possible to thoroughly evaluate the Northwest Energy Code impact.

- Building Departments and builders will sometimes submit to a monitoring visit, even if not required to do so.  Initially, the Program relied on the contract with the jurisdictions to gain access to sites, but eventually some non-participating jurisdictions (or builders) welcomed monitoring.  Code monitoring was effectively marketed by offering demonstrations, training, field guides, forms, software, and product lists delivered directly to the person who needed it.  The offer of compliance software training was the most effective marketing tool in obtaining non-Program monitoring sites.

# Conclusion

The Washington State Energy Code Monitoring Program was an effective method to determine relative levels of  code compliance.  It was also a useful vehicle in disseminating technical information to builders, code officials, code trainers, and technical assistance providers.  The monitoring process had a positive and direct effect on overall compliance.  The Monitoring Program showed that code compliance improved steadily during the four year period of data collection.

The general methodology of data collection and technical assistance used for the Monitoring Program can be utilized by other entities, if increased code compliance is the desired result.

# Bibliography

Schwartz, Howard, Richard Byers, and Alan Mountjoy Venning.  Getting to Code:  Costs and Benefits of Developing and Implementing Washington State’s Residential Energy Code, 1983-2003.  Washington State Energy Office, July 1993.

Warwick, W.M., A.D. Lee, L.J. Sandahl, D.L. Durfee, and E.E. Richman.  New Residential Construction Compliance: Evaluation of the Washington State Energy Code Program.  Pacific Northwest Laboratory, for the US Department of Energy, September 1993.

Highlights of the 1991 Washington State Energy Code.  Washington State Energy Office, 1991.

P. Fairchild.  Looking Toward a Sustainable Energy Code Enforcement Future; 1991 Residential Energy Code Program.  April 1991.

A Record of Decision for the Environmental Impact Statement on Energy Efficient Homes.  Bonneville Power Administration, 1989.

Olson, J. R., L. Palmiter, B. Davis, M. Geffon, and T. Bond.  Field Measurements of the Heating Efficiency of Electric Forced-air systems in 24 Homes, RCDP Cycle III Heating System Investigations.  Ecotope, Inc. for the Washington State Energy Office, October 1993.

Quality Assurance Plan.  Washington State Energy Office, March 1991.

# Appendix - Monitoring Checklist

# Footnotes

* The Energy Code defines residential buildings as “buildings and structures that provide facilities or shelter for residential occupancies.”

The Energy Code defines non-residential buildings as “buildings and structures or portions thereof that provide facilities or shelter for public assembly, educational, business, mercantile, institutional, storage, factory and industrial occupancies.”

# Text boxes

Scores are from 1 (Perfect Compliance) to 4 (Seriously Non-Compliant)