sample TPEC Report

DRAFT – PARTIAL – INCOMPLETE

Summary of Technical Evaluations

Eleven proposals were delivered to ____, Contracting Officer, for Solicitation 05SP____

Remediation of National __________ on January __, 2006.

The evaluation team met to review and discuss the proposals January __ and January __, 2006.

Evaluation was based on the Technical Evaluation Plan prepared by Mr. ____.  Acceptable = A, unacceptable = U, and A (M) = acceptable with modification or additional information.  All but one of the evaluations was unanimous.  The LMNO Proposal was rated unacceptable by 2 evaluators, and acceptable by 2 evaluators.

| Remediation of _______________ Water Treatment Plant Solicitation 05SP___________ |
| --- |
| Proposer | Evaluators |
|  | MMM X | TTT X | DDD | EEE X |  | Summary Evaluation |
| ABC Environmental | U | U | U | U |  | Unacceptable |
| TXX Development | U | U | U | U |  | Unacceptable |
| WWW | U | U | U | U |  | Unacceptable |
| XYZ | A | A | A | A |  | Acceptable |
| BBBBB | A (M) | U | A | U |  | Discussion required |
| TUV | U | U | U | U |  | Unacceptable |
| LMNO | U | U | U | U |  | Unacceptable |
| DEFG | U | U | U | U |  | Unacceptable |
| HIJ | A(M) | A | A | A |  | Acceptable with mod |
| KL | A | A | A | A |  | Acceptable |
| STU | A | A | A(M) | A |  | Acceptable with mod |

Summary of those Proposals with unacceptable ratings:

ABC did not demonstrate past experience with handling of PCB contaminated materials.  They do not relate experience with a project of the magnitude of this job (     ).  They did not exhibit an understanding of verification sampling, and the consequences of not meeting the clean-up goals for the site.  There was no listing or certification numbers for Transporter of Hazardous Waste, or Disposal Facility.

ABC's proposal did not discuss Items 1.d and 1.e of the Technical Evaluation Plan.  In addition the discussion of Item 1.f was off the point and directed to "sample management".  The plan states material unacceptable to the disposer will be stockpiled on site for an undetermined time.  The plan is unclear about treatment options for materials being removed and disposed.

TXX proposal was inconsistent with the Specifications in several ways.  The proposed removal of the anaerobic digester roof involves "one or multiple" pieces.  No provision or discussion is made for preventing debris from falling into the sludge and water below.  There is no acknowledgement of the potential for PCB waste involved with the removal of the roof.

While zones communicated in the Specs are acknowledged there is not discussion of sequencing the work among these zones.

They also propose water drained from the sludge would be discharged to the lagoons.  This is not consistent with the specs.

They assume there is asbestos on the roof, and would remove as asbestos containing even though the specs indicate there is not likely asbestos material in that roof.  They do not intend to sample first, before the expense of treating as asbestos.

The proposed equipment list does not give all information requested.

The section on Past Performance does not include any TEC projects.  There is no indication that TXX has performed a project of this magnitude or this specific type (PCB).  Key people are all FFF personnel, plus all key field personnel are from sub contractor.  Unclear that TXX would perform 50% of work.

Certifications were not found as indicated in the document.

WWW proposal is generally inconsistent with the specifications.  It proposes to stockpile PCB contaminated soil on site which is above 50 ppm.  They also propose to use Flame Ionization Detection as a field method for verification that the clean-up goals have been reached.  While it is useful for detection of volatile organic compound, this detector is not applicable to PCB detection and quantification.  In addition they propose to use roll-off trailers with permeable linings.  Seepage of contaminated water would be a problem.  The proposal does not distinguish between PCB and non-PCB waste.

The project past performance does not indicate projects of comparable size and complexity.  The proposal and accompanying information do not provide the requested information for evaluation.

XYZ did not discuss sections 1.d, 1.e, 1.f, and 1.g of the requested evaluation factor information.  The plan proposes to demolish the anaerobic digester in place, but does not address prevention of debris falling into sludge below.  This method could also provide problems for testing and decontamination of the debris.  There is a generic discussion of "waste management", but it does not supply the information requested for the evaluation of the proposal.  The equipment list does not supply requested information. The past project work supplied focuses on demolition and decommissioning of nuclear sites.  There is no indication of projects related to the ____ project in the XYZ repertoire.  The subcontractor DDDD of NY has some PCB and Metals experience, but only in connection with demolition of buildings associated with nuclear facilities.   Most of the capabilities stated are not applicable to the ____ site. In addition XYZ is only in the role of planning, cost estimating, and management.

BBBBB proposes to leave the roof of the anaerobic digester in place while removing sludge from below it.  There is no discussion of structural integrity of roof to be determined.  There is no discussion of actual roof removal after sludge is drawn down.  This approach could cause a problem for decontamination of roof in contact with PCB sludge.

Items 1.e and 1.f are not discussed. There was no discussion of segregating and minimizing waste, particularly from East Pond which exhibits only a small area of PCB ≥ 50ppm.  They would mix PCB contaminated soils.  They propose to mix sources of PCBs by pumping sludge form treatment plant into Secondary Lagoon.  There is no demonstrated understanding of minimizing waste volumes and cost.  There is no discussion of verification sampling and the consequence of not meeting clean-up goals.

Project experience supplied doesn't indicate PCB experience; Page experience is with a small dollar VOC site and it is an investigation not a remediation.   The equipment list supplied did not address the requested information.  Some licenses from ____ were supplied, but no other certifications were supplied.

TUV proposal includes possible need to cut up digester roof in place for removal.  However they do not discuss potential problem of debris falling into sludge and causing problems with pumping sludge.  They propose excavating sludge from anaerobic digester, but do not address how to prevent leaking and losing wet materials during excavation.   They propose a grid sampling to characterize removal media, but that is unnecessary and could prove expensive.  The extent of the contamination is already indicated in the specs.

TUV listed Environmental Site Assessments as project experience.  The proposed manager has no large remediation experience relevant to the ____ Site. The sub contractors appear to be qualified to perform the work; however subcontractor roles are not defined in the submittal.  Most of the roles assigned to TUV personnel do not correspond to any project roles found in the specs.  Ms. ZZZ is listed as project manager, but has no construction experience on her resume.  Transportation and Disposal Coordinator, XDF has no transportation or disposal experience on her resume.  ZYJJ, shown as project engineer and responsible for surveying, is registered as neither an engineer nor a surveyor, and does not have a degree in engineering.  SSS Company employee, JC, is shown as Site Construction Manager, but his resume indicates that he "typically manages a workload of 5 projects" and is currently managing a crew of 40 at a clean-up site.  No indication was given as to how this subcontract employee would be made available full time for this project.