Natural Resources Conservation Service

6200 Jefferson NE

Albuquerque, New Mexico  87109

Phone:  (505) 761-4400   Fax:  (505) 761-4402

Web site:  www.nm.nrcs.usda.gov _________________________________________________________________________________________________________

August 5, 2002

WATER QUALITY TECHNICAL NOTE NO. 12

SUBJECT:  WATER QUALITY – HOW TO DETERMINE SUITABILITY FOR VARIOUS USES

Purpose.  To distribute published information on water quality.

Effective Date.  Effective when received.

Explanation.  This note presents a compilation of previously published information that explains how water quality parameters constrain potential uses.  This will update information previously provided in Environmental Technical Note No. 3.

ROSENDO TREVINO

State Conservationist

CONTENTS

| Subject | Page |
| --- | --- |
| Water Quality Parameters and Their Significance | 1-13 |
| Water for Human Consumption and Use | 14-15 |
| Water for Livestock and Poultry | 16-18 |
| Water for Irrigation | 19-21 |
| Water for Aquaculture | 22-23 |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Alkalinity (as CaC03) | Formed by the presence of certain anions in solution. Certain organic materials may also produce alkalinity. | Alkalinity is an indicator of the relative amounts of carbonate, bicarbonate, phosphates, and hydroxide. Alkalinity is a measure of the buffering capacity of water to pH changes and to the toxicity of some heavy metals. If the alkalinity of water is too high, the water can be cloudy, which inhibits the growth of underwater plants. Too high alkalinity raises the pH level, which in turn harms or kills fish and other aquatic organisms. | 50 to 400 mg/L A range of 100 to 250 ppm for stream water is considered normal. |  | Objectionable taste. If the alkalinity of water is too high, the water can be cloudy, which inhibits the growth of underwater plants. Too high alkalinity raises the pH level, which in turn harms or kills fish and other river organisms. |  |  |
| Bicarbonate (HC03) and Carbonate (C03) (alkalinity) | Action of carbon dioxide in water on carbonate rocks such as limestone and dolomite, oxidation of organic carbon. | Relationship between bicarbonate and carbonate is pH related. Bicarbonate and carbonate produce alkalinity. Bicarbonates of calcium and magnesium in steam boilers and some geothermal water facilities form scale and release carbon dioxide gas. Low salt water that is high in bicarbonates may present a permeability hazard even at low sodium adsorption ratios. |  | 500 mg/L4 bicarbonate for livestock. |  |  |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Boron (B) | Dissolved from rocks and soils. Present in municipal sludges. | Boron is essential to plant growth, but is exceedingly toxic at concentrations only slightly above optimum. The optimum concentration varies with each plant type and ranges from approximately 0.3 mg/1 to 0.4 mg/1. What is optimum for one plant type may be toxic to another. |  | 750 ug/L for long term irrigation. | Toxic effect on sensitive crops. | Weathering of boron-bearing rocks. |  |
| Calcium (Ca) and Magnesium (Mg) | Dissolved from almost all soils and rocks, but especially from limestone, dolomite, and gypsum. Calcium and magnesium are found in large quantities in some brines. Magnesium is present in large quantities in sea water | Causes most of the hardness and scale-forming properties of water: soap-consuming. (See hardness.) Calcium reduces the toxicity of many chemical compounds to fish and other aquatic fauna and may be necessary in their excretory process. Usually has no effect on suitability of water for irrigation. | 10 to several hundred mg/L | 500 mg/L4 Ca and 250 mg/L4 Mg for livestock | Buildup of scale within plumbing. |  | Contributes to the hardness of water. May buffer the impact of sodium ion on soil permeability. |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chloride (C1) | Dissolved from rocks and soils. Present in sewage and found in large amounts in ancient brines, sea water, and industrial brines | Chloride salts in excess of 100 mg/1 give salty taste to water. When combined with calcium and magnesium, may increase the corrosive activity of water. It is recommended that chloride content should not exceed 250 mg/1. Most tree crops and other woody perennial plants are sensitive to low concentrations of chloride. Most annual crops are not so sensitive; however, they may be affected by higher concentrations. | 45-150 mg/L for streams and 35-125 mg/L for ground water. | 250 mg/L1 for drinking water; 1500 mg/L4 for livestock | Salty taste in concentrations greater than 250 to 400 mg/L. | Pollution by organic wastes. | Chloride is not removed by soils; good indicator of possible pollution. |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total Dissolved Solids (TDS) (filterable residue): | Chiefly mineral constituents dissolved from rocks and soils. Includes all materials that is in solution in the water. | Water with dissolved solids exceeding 1000 mg/1 is generally unacceptable for most uses. However, water with concentrations exceeding 1000 mg/1 have been used for drinking and livestock water when no other supply was available. “Dissolved solids” and “salinity” sometimes are used interchangeably, but incorrectly. The total dissolved solids in water are represented by the weight of residue left when a water sample has been evaporated to dryness, the sample having already been filtered to remove suspended solids. This value is not the same as salinity, which is the concentration of only certain cations and anions in water. | 20 to 2,000 mg/L in streams and may be higher in groundwater. | 500 mg/L1 | . | Excess salinity |  |
| Fecal coliform | All warm-blooded animal (including human) excrement. | Fecal coliform bacteria serve as an indicator organism to show that pathogenic organisms may also be present. Limits are recommended to minimize transmission of communicable diseases. |  | 0 colonies/ 100 ml water for drinking water1 | Limits water use for primary water contact recreation. | Contamination from humans and/or animal wastes. |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fluoride (F) | Dissolved in small to minute quantities from most rocks and soils. Most hot and warm springs contain more than the recommended concentration of fluoride. | Fluoride in drinking water reduces the incidence of tooth decay in children when the water is consumed during the period of enamel calcification, but it may cause mottling of the teeth, depending on the concentration of fluoride, the age of the child, the amount of drinking water consumed, and the susceptibility of the individual. 0.8 to 1.7 mg/1 is optimum, depending upon the air temperature. Fluoride on plant surfaces can be harmful to plants and grazing animals. Fluoride in the soil is generally not harmful. | 0.10 to 10 mg/L | 1.8 mg/L2 at average maximum daily temperature of 69.1o_ F for drinking. 1 mg/L4 for livestock. | Dental fluorosis. | Thermal waters. |  |
| Hardness as CaCO3 | In most water nearly all the hardness is due to calcium and magnesium. All the metallic cations besides the alkali metals also cause hardness. | Hard water consumes soap before a lather will form, deposits soap curd on bath tubs, and forms scale in boilers, water heaters, and pipes. (For fish, the threshold of resistance to several toxins increases considerably as water becomes harder). Hardness equivalent to the bicarbonate and carbonate is called carbonate hardness. Any hardness in excess of this is called noncarbonate hardness. | 50 to 500 mg/L |  | Soap will not produce lather; forms scale when heated. |  |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hydrogen sulfide (H2S) | Natural decomposition of organic material under anaerobic conditions and from the reduction of sulfates. | Causes objectionable odor when in concentration above 1 mg/ 1 and taste when in excess of .05 mg/1. Can be a long-term hazard to most fish and other aquatic wildlife. Accumulates at the bottom of ponds and is a common cause of partial and total winterkills. Also present in some geothermal wells and springs, but will readily escape during aeration. |  |  | Aesthetics |  |  |
| Hydrogen-ion activity (pH) | Acids, acid-generating salts, and free carbon dioxide lower pH. Carbonates, bicarbonates, hydroxides, and phosphates, silicates, and borates raise the pH. | The pH is a measure of the activity of the hydrogen ions. A pH of 7.0 indicates neutrality of a solution. Values lower than 7.0 denote increasing acidity. Corrosiveness of water generally increases with decreasing pH, but high alkaline waters may also attack metals. Waters of low or high can be detrimental to fish and other aquatic life as well as for animal drinking water. A pH range between 6.0 and 8.5 is acceptable and is normal for most waters. | 5 to 9 pH units | 6.5-8.5 units | Water corrosive if too high or too low. | pH values below 4 units indicate acid mineral wastes. | pH units 0 14 Acid Alkaline |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Iron (Fe) | Dissolved from almost all rocks and soils. May also be derived from iron pipes, pumps, and other equipment. Mine drainage. | On exposure to air, iron in ground water oxidizes to reddish-brown sediment. More than about 0.3 mg/1 stains laundry and utensils reddish brown. Objectionable for food processing, beverages, dyeing, bleaching, ice manufacture, and other processes. Iron and manganese together should not exceed 0.3 mg/1. Larger quantities cause unpleasant taste and favor growth of iron bacteria, but do not endanger health. Excessive iron may also interfere with the efficient operation of exchange-silicate water softeners. Iron may be removed from water by aeration of the water, followed by settling of filtration. High concentrations cannot be economically removed from water supply. Toxic to fresh –water aquatic life above 1 mg/1. Will cause problems with uptake of oxygen through fish gills at concentrations more than 0.3 mg/1. | 0.01 to 10 mg/L | 0.3 mg/L1 | Objectionable taste and staining. | Iron-bearing minerals. |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adjusted Sodium Absorption Ratio (SAR) | The adjusted SAR is defined by the equation: SAR = Na/ ( (Ca+Mg)/2)1/2 { 1 +(8.4 –pHc) } where the concentrations are expressed in milliequivalents per liter (Meq/1). | High sodium concentration combined with low alkaline earth element concentrations (lime) usually reduces soil tilth and affects plant growth. It is a prediction of the cation exchange of water and soil ions. |  |  | High values indicate loss of soil permeability. |  | Sodium replaces calcium and magnesium on soil particles. |
| Specific conductance (Sp. Cond.) Sometimes reported as E.C., Sp3 Cond. = E.C. X 103 @ 25oC. or mhos x 10-6 @ 25oC. or umhos @ 25oC. | Dissolved minerals in the water. | Specific conductance is a measurement of the water’s capacity to conduct an electric current and is an indirect approximation of the total dissolved solids. This varies with temperature and the degree of ionization of the constituents. When measured in micromhos per centimeter, it is generally 1.0 to 1.5 times the total dissolved solids content. The relationship between conductivity and TDS is usually a constant for a given water body. | 50 to 1,000 umhos/cm |  |  |  | Easily measured in the field. |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sulfate (SO4) | Dissolved from rocks and soils containing gypsum, iron sulfides, and other sulfur compounds. Usually present in industrial wastes. | Sulfate in water containing calcium forms hard scale in steam boilers. In large amounts, sulfate in combination with other ions gives bitter taste to water. Concentrations above 250 mg/1 may have a laxative effect, but is considered safe up to 500 mg/1. Domestic waters containing as much as 1,000 mg/1 sulfate are used for drinking in the absence of a less mineralized water supply. High sulfate concentrations may limit use of water for irrigation on some soils. High concentrations are tolerated by livestock. | 1 to 100 mg/L | 250 mg/L1 for drinking. 500 mg/L4 for livestock. | Cathartic effect on humans. | Association with sedimentary rocks. 500 mg/1. | Domestic waters |
| Manganese (Mn) | Dissolved from some rocks and soils. Not as common as iron. Large quantities often associated with high iron content and with acid waters | Same objectionable features as iron. Causes dark-brown or black stain. Iron and manganese together should not exceed 0.3 mg/1 for taste and aesthetic reasons. Higher concentrations do not endanger health and can be used if objectionable features are tolerated. |  | 0.05 mg/L1 | Stains laundry; objectionable taste. |  |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Nitrate (NO3), Reported as N, may also be written NO3-N). Often includes nitrite (NO2) then reported as NO3 + NO2 as N. | Decaying organic matter, sewage, nitrates in soil, and chemical fertilizers. | Concentrations much greater than the local average may suggest pollution. High concentrations are generally a characteristic of individual wells and not of whole aquifers. Nitrate concentrations in unpolluted water seldom exceed 10 mg/1 as N. Nitrate encourages growth of algae and other organisms, which produce undesirable tastes and odors. There is evidence that more than about 10 mg/1 as N may cause a type of methemoglobinemia (“blue babies”) in infants which may be fatal. | 0.10 to 10 mg/L | 10 mg/L3 for domestic use | Infants may develop temporary blood disorders; may cause excessive algae growth. | Organic wastes or excessive fertilization. | Excessive concentrations may indicate possible organic pollution. |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sodium Na) and Potassium (K) | Dissolved from almost all rocks and soils. Found also in ancient brines, some industrial brines, sea water, and sewage. | Large amounts give a salty taste when combined with chloride. Moderate quantities have little effect on the usefulness of water for most purposes. Sodium salts may cause foaming in steam boilers, and a high sodium adsorption ratio may limit the use of water for irrigation. Most tree crops and other woody perennial plants are sensitive to low concentrations of sodium. Most annual crops are not so sensitive; however, they may be affected by higher concentrations. Sodium concentrations greater than 270 mg/1 may be harmful to persons on sodium-restricted diets. | Sodium 0.01 to 10 mg/1 Potassium 1-200 mg/1 | 20 mg/1 250 mg/1 | Loss of permeability. | Industrial wastes. | Dissolved from practically all rocks and soils. Found in industrial wastes and sewage and commercial fertilizers. |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dissolved Oxygen (DO) | Photosynthesis or contact with the atmosphere. | Required to sustain aquatic life. |  | 5 mg/L | Loss of aquatic growth and reproduction. | Low concentrations may indicate pollution. | Needed to avoid septic conditions in streams. Subject to diurnal fluctuations. |
| Total Phosphorus as Phosphate (P) | Decaying organic matter, sewage, and chemical fertilizers. | Plant nutrient. |  | 25 ug/L3 in lake water. | Excessive algae growth. | Organic pollution. |  |
| Arsenic (As) | Dissolved from rocks and soils. | Used in the manufacture of herbicides and pesticides. | 0.005 to 0.3 mg/L | 0.05 mg/L | Poisoning | Source other than natural conditions. | 0.10 mg/L limit of use for irrigation of crops. |
| Chromium (Cr) | Dissolved from rocks and soils. | Rarely found in natural waters. | Greater than 0.01 mg/L | 0.05 mg/L3 | Detrimental to health. | Pollution by industrial wastes. | 0.10 mg/L limit of use to sustain fresh-water aquatic life. |
| Cobalt (Co) | Dissolved from rocks and soils. | Rarely found in natural waters. | 0.001 mg/L | 1.0 mg/L |  | Weathering of rock. |  |

TABLE 1 – WATER QUALITY PARAMETERS AND THEIR SIGNIFICANCE (continued)

| CONSTITUENT OR PHYSICAL PROPERTY | SOURCE OF CAUSE | SIGNIFICANCE | CONCENTRATIONOF NORMAL OCCURRENCE | LIMITS OF USE | ADVERSE EFFECTS | UNUSUAL CONCENTRATIONS MAY INDICATE | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Copper (Cu) | Dissolved from rocks and soils. | Found in natural waters but usually not at levels high enough for adverse effect on humans. | 0.015 mg/L3 | 1.0 mg/L1 | Inhibits growth of invertebrate organisms. | Mining of sulfides and oxides of copper. | Mined by man since pre-historic times. |
| Silica (Si02) | Dissolved from rocks and soils. | Present in most waters in varying concentrations. | 10 to 60 mg/L | None. | Forms scale in steam boilers. | Thermal waters. | Dissolved from practically all rocks and soils. |
| Lead (Pb) | Dissolved from rocks and soils. | Accumulation in animal tissue. | Greater than 0.05 mg/L | 0.05 mg/L3 | Toxic to humans and animals. | Source other than natural conditions. | 0.10 mg/L limit of use for livestock. |
| Mercury (Hg) | Dissolved from rocks and soils, industrial pollution. | Accumulates in animal tissue. | Greater than 0.1 mg/L | 0.002 mg/L3 | Poisoning. |  |  |
| Nickel (Ni) | Dissolved from rocks and soils. | Relatively nontoxic to man. |  | 100 mg/L for irrigation. | Toxic to irrigated plants and aquatic organisms | Weathering of rock. | Nickel salts may leach from nickel bearing area. |
| Zinc (Zn) | Industrial waste. Dissolved from rocks and soils. | Found in nature as a sulfide. | 0.64 mg/L3 | 5 mg/L1 | Unpleasing aesthetic effects. | Found in leachates from dump and mill tailings. |  |

1. U.S. Environmental Protection Agency, 1977 (National Secondary Drinking Regulations)

2. U.S. Environmental Protection Agency, 1977 (National Interim Primary Drinking Water Regulations)

3. U.S. Environmental Protection Agency, 1976

4. USDA-NRCS National Range and Pasture Handbook, 190-vi, NRPH, September 1997, Chapter 6.

WATER FOR HUMAN CONSUMPTION AND USE

TABLE 2:  Recommended limits and maximum levels

of constituents in drinking and domestic water

(in mg/L unless otherwise noted)

| Parameter | Maximum Contaminate Levels | USPHS Recommended Limits, 1962 | Notes |
| --- | --- | --- | --- |
| Arsenic (As) | 0.05 | 0.01 |  |
| Barium (Ba) | 1.0 | ----- |  |
| Cadmium (Cd) | 0.01 | ----- |  |
| Chromium (Cr) | 0.05 | ----- |  |
| Fluoride (F) | 2.4 | 0.8 – 1.7 | See Table 3 |
| Nitrate (NO3-N) | 10 | 10 |  |
| Lead (Pb) | 0.05 | ----- |  |
| Mercury (Hg) | 0.002 | ----- |  |
| Selenium (Se) | 0.01 | ----- |  |
| Silver (Ag) | 0.05 | ----- |  |
| Chloride (Cl) |  | 250 |  |
| Copper (Cu) |  | 1.0 |  |
| Cyanide (CN) |  | 0.2 |  |
| Iron (Fe) |  | 0.3 |  |
| Manganese (Mn) |  | 0.05 |  |
| Sulfate (SO4) |  | 250 |  |
| Zinc (Zn) |  | 5.0 |  |
| Total Dissolved Solids (TDS) |  | 500 |  |
| Phenolic Compounds (as phenols) |  | 0.001 |  |
| Endrin | 0.0002 |  |  |
| Lindane | 0.004 |  |  |
| Methoxychlor | 0.1 |  |  |
| Toxaphene | 0.005 |  |  |
| 2,4 – D | 0.1 |  |  |
| 2,4,5 – TP Silvex | 0.01 |  |  |
| Combined radium – 226 and radium – 228 | 5 |  | pCi/liter |
| Gross alpha particle activity (including radium – 226 but excluding radon and uranium | 15 |  | pCi/liter |
| Tritium | 20,000 |  | pCi/liter |
| Strontium – 90 | 8 |  | pCi/liter |
| Gross beta radioactivity | 50 |  | pC/liter |

Source:	Column 2—National Primary Drinking Water Regulations from Safe Drinking Water Act (Public Law 93-523).

Column 3—U.S. Public Health Service (1962).

Fluoride

Optimum Fluoride levels will reduce dental cares by 60 to 65 percent.  Excessive fluoride in drinking water will mottle teeth.  The optimum fluoride level for a given location depends on climatic conditions because the amount of water (and consequently the amount of fluoride) ingested is primarily influenced by air temperature.

|  | TABLE 3: Recommended fluoride limits |  |
| --- | --- | --- |
| Annual Average of Maximum Daily Air Temperatures, oF. | Fluoride Concentrations in mg/1. Lower Optimum Upper | Maximum 1 Limit mg/1 |
| 50.0 – 53.7 | 1.1 1.2 1.3 | 2.4 |
| 53.8 – 58.3 | 1.0 1.1 1.2 | 2.2 |
| 58.4 – 63.8 | 0.9 1.0 1.1 | 2.0 |
| 63.9 – 70.6 | 0.8 0.9 1.0 | 1.8 |
| 70.7 – 79.2 | 0.7 0.8 0.9 | 1.6 |
| 79.3 – 90.5 | 0.6 0.7 0.8 | 1.4 |

1 Where Fluorides are native to the water supply, these concentrations will not mottle teeth.

Source:  Public Health Service, DHEW.

TABLE 4:  Classification of water by hardness content

| Hardness mg/L CaCO3 | Class | Description |
| --- | --- | --- |
| 0 – 75 | soft | minimum soap required |
| 75 – 150 | moderately hard | moderate soap consumption |
| 150 – 300 | hard | high soap consumption: scum form; mineral deposits |
| 300 up | very hard | Excessive soap consumption: scum and curds form; mineral deposits |

WATER FOR LIVE STOCK AND POULTRY

TABLE 5:  Recommendations for maximum levels of toxic substances in drinking water for livestock

| Constituent | Upper Limit |
| --- | --- |
| Aluminum (A1) | 5 mg/1 |
| Arsenic (As) | 0.2 mg/1 |
| Beryllium (Be) | no data |
| Boron (B) | 5.0 mg/1 |
| Cadmium (Cd) | .05mg/1 |
| Chromium (Cr) | 1.0 mg/1 |
| Cobalt (Co) | 1.0 mg/1 |
| Copper (Cu) | 0.5 mg/1 |
| Fluoride (F) | 2.0 mg/1 |
| Iron (Fe) | no data |
| Lead (Pb) | 0.1 mg/11 |
| Manganese (Mn) | no data |
| Mercury (Hg) | .01 mg/1 |
| Molybdenum (Mo) | no data |
| Nitrate + Nitrite (NO3–N+NO2–N) | 100 mg/1 |
| Nitrite (NO2-N) | 10 mg/13 |
| Selenium (Se) | 0.05 mg/1 |
| Vanadium (V) | 0.10 mg/1 |
| Zinc (Zn) | 24 mg/1 |
| Total Dissolved Solids (TDS) | 10,000 mg/12 |

1 Lead is accumulative and problems may begin at threshold value = 0.05 mg/1.

2 See Table 6.

3 See Table 7.

Source:  Environmental Studies Board.  National Academy of Science, National Academy of

Engineering:  Water Quality Criteria 1972.

TABLE 6:  Guide to the use of saline waters for livestock and poultry

| Total Dissolved Solids in mg/1 (Sp. Cond. in umhos/cm |  |
| --- | --- |
| Less than 1,000 mg/1 (Sp. Cond. <1500) | Relatively low level of salinity. Excellent for all classes of livestock and poultry. |
| 1,000 – 3,000 mg/1 (Sp. Cond. = 1500-5000) | Very satisfactory for all classes of livestock and poultry. May cause temporary and mild diarrhea in livestock not accustomed to them or watery droppings in poultry. |
| 3,000 – 5,000 mg/1 (Sp. Cond. = 5000-8000) | Satisfactory for livestock, but may cause temporary diarrhea or be refused at first by animals not accustomed to them. Poor waters for poultry, often causing water feces, increased mortality, and decreased growth, especially in turkeys. |
| 5,000 – 7,000 mg/1 (Sp. Cond. = 8,000-11,000) | Can be used with reasonable safety for dairy and beef cattle, sheep, swine, and horses. Avoid use for pregnant or lactating animals. Not acceptable for poultry. |
| 7,000 – 10,000 mg/1 (Sp. Cond. = 11,000-16,000) | Unfit for poultry and probably for swine. Considerable risk in using for pregnant or lactating cows, horses, or sheep, or for the young of these species. In general, use should be avoided although older ruminants, horses, poultry, and swine may subsist on them under certain conditions. |
| Over 10,000 mg/1 (Sp. Cond. > 16,000) | Risks with these highly saline waters are so great that they cannot be recommended for use under any condition. |

Source:  Environmental Studies Board, National Academy of Science, National Academy of Engineering:

Water Quality Criteria 1972.

TABLE 7:  Effects of Nitrate on Livestock

| Nitrate concentration | Effect |
| --- | --- |
| (mg/1 No3 as N) |  |
| 0 - 10 | Not harmful |
| 10 - 30 | Slight possibility of harm |
| 30 - 50 | Risky, especially over a long period of time |
| 50 - 100 | Interference syndrome likely (trembling, weakness, discolored urine) |
| 100 - 145 | More serious; possible acute losses of livestock. |
| 145 - 195 | Increased acute losses, secondary diseases |
| 195 up | Acute losses |

Source:  “Professional Topics.” Bulletin No. 14, University of Illinois.  July-August 1964

WATER FOR IRRIGATION

It is not feasible to set rigid quality standards for irrigation waters because of such varied and complex factors as soil porosity, soil chemistry, climatic conditions, the ratio of rainwater to irrigation water, artificial and natural drainage, relative tolerance of different plants, and interferences between and among constituents in the water.

Some general guidelines have been established that indicate the relative usability of a water for irrigation and generally indicates the waters for which more detailed study would be necessary.  The most important quality parameters to consider are the adjusted Sodium Adsorption Ratio, the salinity, and several specific ions or trace elements.

Permeability Hazard

Irrigation water with high sodium levels and low calcium and magnesium levels can cause a severe soil permeability problem.  The most commonly used method to evaluate the potential has been the adjusted sodium adsorption ratio (adjusted SAR).  For adjusted SAR values greater than 6 to 9, the water could be expected to cause a permeability problem on shrink-swell types of soil.  Thus, the permeability can be related to the clay type.

TABLE 8:  adjusted SAR guidelines

| Dominant clay type | No Problem | Increasing Problem | Severe Problem |
| --- | --- | --- | --- |
| Montmorillonite | <6 | 6-9 | >9 |
| Illite-Vermiculite | <8 | 8-16 | >16 |
| Kaolinite | <16 | 16-24 | >24 |

Source:  Water Quality for Agriculture, UN-FAO, Rome, 1976.

Salinity-Sodium Hazard

Irrigation water is essential for crop production in the arid and semiarid regions of the United States.  Unfortunately, irrigation water in many of these regions contains a natural load of dissolved salts.  As the water is consumed by plants or lost by evaporation, the salts remain and are concentrated in the soil profile.  To maintain the productivity of irrigated lands, the accumulation of soluble salts must be moved (leached) below the root zone.  Thus, the amount of irrigation water and the timing of its application (irrigation water management) become critical in salinity control.

Irrigation water management is a management measure to effectively use available irrigation water to minimize soil and nutrient loss and to protect water quality.  It is the process of determining and controlling the time to irrigate, the rate of water application, and the quantity of water to be applied.

Crop selection can provide a solution to salinity-sodium hazards in some instances.  By selecting a salt tolerant crop, the leaching requirement is reduced.  Salt tolerance of crops varies with climatic conditions and with crop varieties.  Table 9 gives the expected decrease in yield of various crops based on their salt tolerance.  The values given in the table are the electrical conductivity (( e) of the soil saturation extract in decisiemens per meter (dS/m) at the point where a 50 percent reduction in yield would occur as compared to yields on nonsaline soils under comparable growing conditions.

TABLE 9 – Crop salt tolerance1     [Expected decrease in crop yield based on conductivity of soil water						 extract when common surface irrigation methods are used]

| Crop | Yield decrease |
| --- | --- |
|  | 0% | 10% | 25% | 50% |
| Field crops | ----Conductivity (( e)2 ---- |
| Barley (Hordeum vulgare) | 8.0 | 10 | 13 | 18 |
| Cotton (Gossypium hirsulum) | 7.7 | 9.6 | 13 | 17 |
| Sugarbeet (Beta vulgaaris)4 | 7.0 | 8.7 | 11 | 15 |
| Wheat (Triticum aestivum)35 | 6.0 | 7.4 | 9.5 | 13 |
| Safflower (Carthamus tinctorius) | 5.3 | 6.2 | 7.6 | 9.9 |
| Soybean (Glycine max) | 5.0 | 5.5 | 6.2 | 7.5 |
| Sorghum (Sorghum bicolor) | 4.0 | 5.1 | 7.2 | 11 |
| Groundnut (Arachis hypogaea) | 3.2 | 3.5 | 4.1 | 4.9 |
| Rice(Ozyza sativa) | 3.0 | 3.8 | 5.1 | 7.2 |
| Sesbania (Sesbania macrocarpa) | 2.3 | 3.7 | 5.9 | 9.4 |
| Corn (Zea mays) | 1.7 | 2.5 | 3.8 | 5.9 |
| Flax (Linum usitatissimum) | 1.7 | 2.5 | 3.8 | 5.9 |
| Broadbean (Vicia faba) | 1.6 | 2.6 | 4.2 | 6.8 |
| Cowpea (Vigna sinensis) | 1.3 | 2.0 | 3.1 | 4.9 |
| Beans (Phaseolus vulgaris) | 1.0 | 1.5 | 2.3 | 3.6 |
| Fruit crops |  |  |  |  |
| Date palm (Phoenix dactylifera) | 4.0 | 6.8 | 10.9 | 17.9 |
| Fig (Ficus carica) | 2.7 | 3.8 | 5.5 | 8.4 |
| Olive (Olea europaea) |  |  |  |  |
| Pomegranate (Pucia granatum) |  |  |  |  |
| Grapefruit (Citrus paradisi) | 1.8 | 2.4 | 3.4 | 4.9 |
| Orange (Citrus sinensis) | 1.7 | 2.3 | 3.2 | 4.8 |
| Lemon(Citrus limon) | 1.7 | 2.3 | 3.3 | 4.8 |
| Apple (Malus sylvestris) | 1.7 | 2.3 | 3.3 | 4.8 |
| Pear (Pyrus communis) |  |  |  |  |
| Walnut (Juglans regia) | 1.7 | 2.3 | 3.3 | 4.8 |
| Peach (Prunus persica) | 1.7 | 2.2 | 2.9 | 4.1 |
| Apricot (Prunus armeniaca) | 1.6 | 2.0 | 2.6 | 3.7 |
| Grape (Vitis spp.) | 1.5 | 2.5 | 4.1 | 6.7 |
| Almond (Prunus dulcis) | 1.5 | 2.0 | 2.8 | 4.1 |
| Plum (Prunus domestica) | 1.5 | 2.1 | 2.9 | 4.3 |
| Blackberry (Rubus spp.) | 1.5 | 2.0 | 2.6 | 3.8 |
| Boysenberry (Rubus ursinus) | 1.5 | 2.0 | 2.6 | 3.8 |
| Avocado (Persea americana) | 1.5 | 1.8 | 2.5 | 3.7 |
| Raspberry (Ruvus idaeus) | 1.0 | 1.4 | 2.1 | 3.2 |
| Strawberry (Fragaria spp.) | 1.0 | 1.3 | 1.8 | 2.5 |

| Crop | Yield decrease |
| --- | --- |
|  | 0% | 10% | 25% | 50% |
| Vegetable crops | ----Conductivity (( e)2 ---- |
| Beets (Beta vulgaris)4 | 4.0 | 5.1 | 6.8 | 9.6 |
| Broccoli (Brassica oleracea italica) | 2.8 | 3.9 | 5.5 | 8.2 |
| Tomato (Lycopersicon esulentum) | 2.5 | 3.5 | 5.0 | 7.6 |
| Cucumber (Cucumis sativus) | 2.5 | 3.3 | 4.4 | 6.3 |
| Cantalope (Cucumis melo) | 2.2 | 3.6 | 5.7 | 9.1 |
| Spinach (Spinacia oleracea) | 2.0 | 3.3 | 5.3 | 8.6 |
| Cabbage (Brassica oleraoea capitata | 1.8 | 2.8 | 4.4 | 7.0 |
| Potato (Solanum tuberosum) | 1.7 | 2.5 | 3.8 | 5.9 |
| Sweet corn (Zea mays) | 1.7 | 2.5 | 3.8 | 5.9 |
| Sweet potato (Ipomoea batatas) | 1.5 | 2.4 | 3.8 | 6.0 |
| Pepper (Capsicum frutescens) | 1.5 | 2.2 | 3.3 | 5.1 |
| Lettuce (Lactuca sativa) | 1.3 | 2.1 | 3.2 | 3.6 |
| Radish (Raphanus sativus) | 1.2 | 2.0 | 3.1 | 5.0 |
| Onion (Allium cepa) | 1.2 | 1.8 | 2.8 | 4.3 |
| Carrot (Daucus carota) | 1.0 | 1.7 | 2.8 | 4.6 |
| Beans (Phaseolus vulgaris) | 1.0 | 1.5 | 2.3 | 3.6 |
| Forage crops |  |  |  |  |
| Tall wheatgrass (Apropyron elongatum) | 7.5 | 9.9 | 13.3 | 19.4 |
| Bermuda grass (Cynodon dactylon)6 | 6.9 | 8.5 | 10.8 | 14.7 |
| Barley (hay) Hordeum vulgare)3 | 6.0 | 7.4 | 9.5 | 13.0 |
| Perennial ryegrass (Lolium perenne) | 5.6 | 6.9 | 8.9 | 12.2 |
| Trefoil, birdsfoot narrowleaf (Lotus tenuis) | 5.0 | 6.0 | 7.5 | 10 |
| Harding grass (Phalaris stenoptera | 4.6 | 5.9 | 7.9 | 11.1 |
| Tall fescue (Festuca arundinaces) | 3.9 | 5.8 | 8.6 | 13.3 |
| Crested wheatgrass (Agropyron desertorum) | 3.5 | 6.0 | 9.8 | 16 |
| Vetch (Vicia sativa) | 3.0 | 3.9 | 5.3 | 7.6 |
| Sudangrass (Sorgum sudanense) | 2.8 | 5.1 | 8.6 | 14.4 |
| Wildrye, beardless (Elymus triticoides) | 2.7 | 4.4 | 6.9 | 11 |
| Trefoil, big (lotus uliginosus)7 | 2.3 | 2.8 | 3.6 | 4.9 |
| Alfalfa (Medicago sativa) | 2.0 | 3.4 | 5.4 | 8.8 |
| Lovegrass (Eragrostis spp.)8 | 2.0 | 3.2 | 5.0 | 8.0 |
| Corn (forage) (Zea mays) | 1.8 | 3.2 | 5.2 | 8.6 |
| Clover, berseem (Trifolium alexandrinum) | 1.5 | 3.2 | 5.9 | 10.3 |
| Orchardgrass (Dactylis glomerata) | 1.5 | 3.1 | 5.5 | 9.6 |
| Meadow foxtail (Alopecurus pratensis) | 1.5 | 2.5 | 4.1 | 6.7 |
| Clover, alsike, ladino, red strawberry (Trifolium spp.) | 1.5 | 2.3 | 3.6 | 5.7 |

1Adapted from Ayers and Westcot (1).

2These values are the electrical conductivity (( e)of the soil-water extract in deciseimens per meter (dS/m-formerly

millimhos per centimeter) at 25 degrees C. For example, if barley is to be grown, and the (( e) is 13 dS/m, a 25%

decrease in yield can be expected.

3Barley and wheat are less tolerant during germination and seedling stage (( e) should not exceed 4 or 5 dS/m.

4Sensitive during germination: (( e) should not exceed 3 dS/m for garden beets and sugar beets.

5Tolerance data may not apply to new semi-dwarf varieties of wheat.

6An average for Bermuda grass varieties.  Suwannee and Coastal are about 20% more tolerant: common and

Greenfield are about 20% less tolerant.

7Broadleaf birdsfoot trefoil appears to be less tolerant than narrowleaf.

8Average for Boer, Wilman, sand, and weeping varieties Lehman appears about 50% more tolerant.

Source:  Water Quality Field Guide, USDA_SCS 1983.

Trace Element Hazard

Trace element concentrations greater than those shown in Tables 10 and 11 can hinder plant growth.

Table 10:  Recommended Maximum concentrations of trace elements in irrigation waters

| Element (symbol) | For waters used continuously on all soils (mg/1) | For use up to 20 years on fine-textured soils of pH 6.0 to 8.5 (mg/1) |
| --- | --- | --- |
| Aluminum (A1) | 5.0 | 20.0 |
| Arsenic (As) | 0.1 | 2.0 |
| Beryllium (Be) | 0.1 | 0.5 |
| Boron (B) | 1 | 2.0 |
| Cadmium (Cd)0.01 | 0.01 | 0.05 |
| Chromium (Cr) | 0.1 | 1.0 |
| Cobalt (Co) | 0.05 | 5.0 |
| Copper (Cu) | 0.2 | 5.0 |
| Fluoride (F) | 1.0 | 15.0 |
| Iron (Fe) | 5.0 | 20.0 |
| Lead (Pb) | 5.0 | 10.0 |
| Lithium (Li) | 2.5 | 2.5 |
| Manganese (Mn) | 0.2 | 10.0 |
| Molybdenum (Mo) | 0.01 | 0.052 |
| Nickel (Ni) | 0.2 | 2.0 |
| Selenium (Se) | 0.02 | 0.02 |
| Vanadium (V) | 0.1 | 1.0 |
| Zinc (Zn) | 2.0 | 10.0 |

These levels will normally not adversely affect plants or soils.  No data available for Mercury (Hg), Silver (Ag), Tin (Sn), Titanium (Ti), Tungsten (W).

1See Table 10.

2For only acid fine-textured soils or acid soils with relatively high iron oxide contents.

Source:  Environmental Studies Board. National Academy of Science, National Academy of

Engineering.  Water Quality Criteria 1972.

Water For Aquaculture

High quality water is essential for successful fish farming as well as for maintaining a recreational fish pond.

Water from springs, artesian flow, or pumped ground water are the best sources for fish propagation.  Surface waters are generally not suited for successful fish production.

Fish ponds can be successfully maintained with high quality surface water, but are generally more successful if supplemental water is available from springs, artesian flow, or pumped ground water sources.

Temperature:  Water temperatures which fall within recommended ranges are essential to sustain fish.  Proper water temperature may be the single most important quality factor in the growth and survival of fish.  Temperature affects the feeding, growth, reproduction, and utilization of dissolved oxygen of all species of fish.

Suitable water temperature ranges are:

Trout – 50-70oF year long.

Bass and Channel Catfish – above 75oF for at least five months.

Minnow Species – 65-85oF for at least six months.

Dissolved Oxygen:  A reliable source of well oxygenated water is essential for growth and survival of fish.  As water temperatures increase, its ability to retain oxygen in solution is reduced.  Determinations of dissolved oxygen should be made in the early morning during summer months.

Suitable levels of dissolved oxygen are:

Trout – over 5 ppm.

Warm Water Species – over 3 ppm.

pH: A range of 6.5 to 8.5 is suitable for growth and survival of fish.

Total Hardness:  At least 200 ppm. is required for satisfactory fish growth.

Total Dissolved Solids:  A range of 200 to 5,000 ppm. will support fish life, while the optimal range is 200 – 1,500 ppm.

Salinity:  Most fish species will do well in water with salinity up to 3,000 ppm. if other water quality parameters are suitable.  Channel catfish grow well in salinities up to 5,000 ppm. but will not successfully reproduce.

Heavy Metals – zero tolerance

Hydrogen Sulfide – zero tolerance

Pesticides – zero tolerance

Detailed water analysis and competent interpretation is required in the planning of fish production facilities.