General Section

Will the project at the TBD Site included in the RFP for Master IDIQ require access to classified information or special nuclear material? If so will this result in a requirement for a security clearance for the prospective Offeror? If an Offeror is required to obtain a favorable FOCI position in order to respond to the Master IDIQ solicitation or to conduct work at the TBD Site fo rthe Master IDIQ, we believe that more time will be required for an Offeror to obtain a favorable FOCI position than the suggested timeline proposes in the Draft RFP cover letter."  No, the TBD site included in the RFP for the master IDIQ will not require access to classified information or special nuclear material.

"1. Paragraph C.1.1. – The requirement to furnish all “capital” and the “…cost of an energy savings performance contract TO project must be covered by reduced…” may restrict use of appropriated funding to supplement project financing, which is inconsistent with current legislative initiatives to allow use of such funding for supplementing ESPC projects. Contract language should probably not conflict with known legislation. The intent of this paragraph is not to specifically prohibit or allow the use of appropriated funding to supplement project financing.  See the DOE-FEMP Guidelines Regarding One-Time Payments and One-Time Savings In Energy Savings Performance Contracts for proper uses of appropriated funds on an ESPC task order.

2. Paragraph C.4.4. – Assigning precedence to a DOE publication may change attributes of the IDIQ requirements (on which contractor selection was based) when the DOE publication changes. Additional references to other DOE publications that change from time to time are cited throughout the solicitation. Thanks for the comment.  Even if the publication changes, the citation in the contract stays the same.

3. Comment 2 also applies to Paragraph C.4.6., B and D.  Thanks for the comment.  Even if the publication changes, the citation in the contract stays the same.

4. Paragraph C.5.1.D. – The IDIQ solicitation should describe requirements of “both a preliminary and final review,” differentiating when each occurs in the context of project development and submittal requirements. This specific description appears inconsistent with other procedural requirements in the solicitation, such as IGA, Preliminary Assessment, and Final Proposal deliverables.   Thanks for your comment.  We will consider your suggestion.

5. Paragraph C.5.1. – Please confirm that the draft IDIQ requires no drawings prior to TO award. Traditionally, federal agencies don’t like contractor contingency, but they do like competitive pricing among subcontractors. Realistic competitive pricing requires some level of conceptual or schematic engineering/design drawings. The absence of drawings will place upward pressure on contractor pricing, as less design detail drives greater cost/price contingency.   This DRFP did not specify drawings.  However, it did not prohibit the agency from requiring drawings.  We will consider making a change to the document.

6. Paragraph C.5.5.B. – The requested environmental indemnification from contractor noncompliance or violation as worded does not account for government action or inaction causing contractor noncompliance or violation. Thanks for your comment.  We will consider making the change.

7. Paragraph C.5.5.C. – Wording in this paragraph (“…at its expense…”) allows the agency to interpret contractor costs associated with the acquisition of permits to be unallowable. Thanks for your comment.  We will consider making a change.

8. Paragraph C.6.1. – There is minimal advantage to restricting operational responsibility in the IDIQ. However, the flexibility to specify ultimate responsibility for equipment operation in the TO would allow the agency to create greatest benefit for the government on a project- by-project basis, so unique project characteristics can be understood and lessons learned applied to future projects. Thanks for your comment.  We will consider making the change.

9. Paragraph C.6.3. - The last line in this paragraph gives the agency the latitude to “walk away” from damage to the contractor specifically caused by the government, thereby voiding normal contractor dispute remedies. .  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

10. Paragraph C.7.1. – There is minimal advantage to restricting equipment maintenance responsibility in the IDIQ. However the flexibility to specify ultimate responsibility for equipment maintenance in the TO would allow the agency to create greatest benefit for the government on the project-by-project basis, so unique project characteristics can be understood and lessons learned applied to future projects. Thank you for your comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

11. Paragraph C.7.3. – The last line in this paragraph gives the agency the latitude to “walk away” from damage to the contractor specifically caused by the government, thereby voiding normal contractor dispute remedies. Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

12. Paragraph C.8.1. – The broad description of repair responsibility in the IDIQ can significantly impact the viability of project economics. The flexibility to specify ultimate responsibility for equipment replacement in the TO will allow the agency to create greatest benefit for the government on a project-by-project basis. Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

13. Paragraph C.8.3.A. – This paragraph gives the agency the latitude to “walk away” from damage to the contractor specifically cased by the government, thereby voiding normal contractor dispute remedies. Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

14. Paragraph C.8.3.B – This paragraph suggests the contractor is liable for “uncapped” losses associated with failure to perform a maintenance activity (regardless of who is actually performing the task IAW C.8.1). Contractor liability for reimbursement to the agency for failure to perform a maintenance task should be limited to the contract value of the maintenance activity. Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

15. Paragraph C.8.4. – The “escrow” concept suggested in this paragraph is not adequately defined. At a minimum, the concept of accumulation of savings into an escrow account should describe what funds are maintained in the escrow and what “Federal Fiscal Law” is of concern. Thank you for your comment.  We will consider making a change.

16. Paragraph C.10.2.A. – Allow the agency to specify the time frame between training and installation completion. Compressed schedules may not allow a 30-day interval.   Thank you for your comment.  We will consider making the change.

17. Paragraph C.11 – The ESCO and agency should jointly determine appropriate calculation methodologies for savings adjustments, versus relying solely on the agency’s methodology selection, which could impact contractor costs. Thank you for your comment.  We will consider making a change.

18. Paragraph D.3. – Ensure this paragraph isn’t interpreted to mean that packing, marking, and storage is not an allowable cost. Thank you for your comment.  We will consider making a change.

19. Paragraph H.3.1.A.1.a. – The description should specify what constitutes “an offer.”  The Preliminary Assessment constitutes an offer.   Will a COR be appointed at this time? It is up to the agency to determine when or if it will appoint a COR.   Is it the DOE COR? No. What constitutes a “contractor initiated proposal?” A contractor’s request to develop and submit the preliminary assessment. The content of this paragraph should be reconciled with the discussion of “Deliverables” outlined in J-5 as well as the acronym list. Paragraphs H.3.1.A.1.b. and H.3.1.A.2.b. introduce the TO schedules; the same content reconciliation with paragraph H.3.1.A.1.a. should occur for those instructions.   Thank you for your comments.  We will consider making a change.

20. Paragraph H.6.2. – This statement clearly communicates that the agency can ask ESCOs to invest hundreds of thousands of dollars to create an IGA, and then cancel the project with no liability and no recourse for ESCOs to recoup costs. In practice, this happens frequently, and the ESCO community was hopeful that the significant problem of unrecoverable development costs for viable projects would be equitably addressed in the revised IDIQ. This should be changed to hold the agency responsible for all IGA costs associated with viable ECMs and require agencies to compensate ESCOs in the event an agency cancels a viable project. The current draft doesn’t even allow the contracting officer the option to compensate ESCOs whose projects are cancelled after complying with agency requests to complete IGAs and Final Proposals. Thank you for your comment.  We will consider making a change.

21. Paragraph H.6.3. – Please confirm that the draft IDIQ does not require drawings prior to "TO" award. Lack of design detail prior to TO award places upward pressure on contractor pricing, as less design detail drives greater cost/price contingency. This DRFP did not specify drawings.  However, it didn’t prohibit the agency from requiring drawings.  We will consider making a change to the document.  Also, in Volume II, there is no explicit requirement for cost breakdown or cost/price justification. The IDIQ’s silence regarding cost and price justification is misleading to offerors.   Sorry, but we don’t understand what is meant by misleading.  As a reminder, in accordance with 10 CFR 436, ESPCs are required to be firm fixed price contracts and detailed cost breakdowns are not typically required in a firm fixed price contract.

22. Paragraphs H.8.2.A. and H.9 – Both paragraphs prescribe the relationship between the ESCO and third-party financiers who have no privity of contract with the government. In many cases, existing master purchase agreements between ESCOs and financiers prescribe requirements, such as financiers being listed as a co-beneficiary on performance bonds, the establishment of financier’s interest, disclosure of government notifications, and various response times. The prescriptive nature of the draft IDIQ certainly demonstrates a willingness for the government to “step into the shoes” of the ESCO and assume a portion of the risk now assumed and managed by the ESCO. In the best case, it creates inconsistency with numerous existing agreements between financiers and ESCOs. Thanks for the comment.  H.8.2.A and H.9 were not intended to change existing practices.  In fact the clauses cited are nearly verbatim from the existing contract clauses H.17 and H.18.

23. Attachment J-2 – Does the introduction of “related operation and maintenance expenses” into the definition of “Energy Cost Savings” conflict with “Energy-Related Cost Savings?” In its current form, it is confusing.   We don’t think that the definitions conflict with each other but we can see where there is “overlap” in the definitions and will consider a change.

24. Attachment J-2 – Is it intended that “Government Defined Project” equate to “Government Initiated Method” project IAW H.3.1.? In its current form, it is confusing.   Yes, the government defined project equates to the government initiated method.  We will clarify.

25. Paragraph J-6.2. – The “Placement of Pricing Information” section and table should have an introductory paragraph. Thanks for the comment.  We will consider making a change.

26. Please confirm that DOE intends to conduct competitive selection based on site-specific proposals. DOE confirms this.  Does the site-specific proposal purposefully exist, or is it a carry-over from the initial DOE solicitation? More information needs to be provided in this question to enable a response.  Given a large and growing ESPC industrial base and more experienced government ESPC program offices, DOE should confirm the necessity for site-specific competition to make competent IDIQ awards in light of the overall cost to the ESCO industry. More information needs to be provided in this question to enable a response.

27. Please clarify if the scope of the IDIQ is national or worldwide."  There are no restrictions to geographic location cited in the DRFP.  Therefore, projects could be performed worldwide.

"1. The DRFP limits the number of awardees to 10. A larger number of qualified contractors would ideally facilitate more projects, more competition and greater project diversity. What’s the point of limiting the number of “qualified” contractors; it is like giving a test to a 100 students and saying only 10 can pass, no matter how high the score for the11th student, and so forth. As a result of limiting the contractors to 10, the competition for Task Orders (TO) will also be limited. Thanks for your questions and comments.  Regulations require DOE to provide potential offerors an estimated number of awardees.  The Draft RFP provided flexibility to award more or fewer master IDIQ contracts as DOE deems appropriate.

2. The DRFP states there are no geographic boundaries for award of the master IDIQ contract. Since there are no geographic boundaries for issuing Task Orders, we recommend in a similar vein that regional ESCO’s be allowed to become “qualified” and considered for the master IDIQ award.   Thanks for the comment.  Regional ESCOs will not be prohibited in competing for a master IDIQ contract.  In order for any contractor (national, regional, or small business) to be considered for an award they must be on the DOE list of Qualified ESCOs.  Please check the EERE FEMP website for instructions on how to become a DOE Qualified ESCO.

3. C.12 Energy Efficiency & Renewable Energy (EERE) and Water Project Financial and Incentives, page 19. The contractor has the responsibility for investigating all incentives programs, emission credits, etc. We suggest that this responsibility be shared with the Government. The Project Facilitator (PF) should support this effort since the PF will advise the agency through development and execution of Task Orders.  Thanks for the comments.   We will consider making the change.

4. With respect to the stated goal of focus on renewable technologies, the contract term should be allowed to be extended beyond the proposed limit (11yrs) for renewable TO’s. This extension would be an incentive to both the agency and the contractor to implement these riskier projects.   Although the master IDIQ contract term is limited to a maximum of 11 years, the task orders that are issued against it can have a term of up to 25 years.

5. Regarding the Shared Savings Incentive Idea, we recommend that excess savings be banked and retained to leverage additional investment which is in the interest of the agency and the contractor. This additional investment could either be paid for directly out of the excess savings, in which case it would become guaranteed, or it could be used as seed money to create more energy savings. For example, the excess savings could be used to upgrade to newer, more efficient technology or, to expand the reach of the existing TO, to facilities or systems not covered by the TO. This would provide an incentive and reward for the contractor for diligence and effectiveness (win/win), without setting up a windfall profit incentive which would be certain win/lose. The contractor would have to earn the excess savings in order to profit by them." Thanks for your comment.  We will consider your suggestion.

"Comments of the Federal Performance Contracting Coalition
In Response to Draft RFP DE-RP36-06GO96031
General and Overview Comments The Federal Performance Contracting Coalition appreciates the opportunity to respond to the request for comments on the Draft RFP. We also appreciate the fact that a draft was provided. We firmly believe that this critical step in the procurement process will result in a better contract overall. The Federal Performance Contracting Coalition (FPCC) is a group of Energy Services Companies (ESCO) advocating for increased federal use of Energy Savings Performance Contracts (ESPCs). The FPCC is the primary organization representing the Federal ESPC market. Our members, who represent 90% of the Federal ESPCs, include Ameresco, Chevron Energy Solutions, Constellation Energy Projects and Services Group, Honeywell International, Johnson Controls, NORESCO LLC, and Siemens Building Technologies. Our seven companies have amassed almost 350 individual comments on the DRFP, which we are providing individually; however, we have commented on 16 specific provisions as a group. Importantly, we also wanted to provide these overall comments and even some that might be considered in addition to the current draft. Our individual comments on the draft and this submission, all try to accomplish the goals of “more, bigger, better and faster” Energy Savings Performance Contracts in the Federal government. We have been working closely with policymakers at DOE and the White House, as well as with the Legislative Branch to facilitate “more, bigger, better and faster”. We hope the proposed ESPC contract vehicle would embrace the “more, bigger, better and faster” goal; not be an impediment to it. In general, we are concerned that the DRFP, in large part, does not substantially reflect the stated goals in the cover letter. Ø In particular, we see proposals that run directly counter to facilitating a streamlined proposal process. Ø We fear that the overall direction of the contract substantially and unreasonably shifts more risk onto the ESCO and removes virtually all government accountability. This is in conflict with the Public/Private partnership that is fundamental to successful ESPC projects. Ø Although renewable energy is included in the definitions section as an allowable ECM, they are not highlighted and, we fear will be either overlooked or downplayed as a result. Ø Additionally, we understand the focus on M&V, and we agree that it is quite important; however, we also feel the various modifications to the existing contract over the past few years have focused heavily on a rigorous M&V protocol. We are concerned that more requirements in this DRFP will be a disincentive to participation in the Super ESPC program. We also offer comments that would allow the RFP to go further towards facilitating “more, bigger, better and faster”. For example, in the area of M&V, just discussed, the contract increases the risk to the ESCO even in cases where the government takes on the O&M. In the case of ECMs that the government personnel maintain but do not accept responsibility for, savings should be stipulated. If the government wants a guarantee then the ESCO should maintain the equipment. Compensation from the government must be forthcoming if they operate the ECMS themselves and cause failure. The FPCC is concerned about the existing dispute resolution process. We suggest the following expedited process: 1. The Agency CO notifies ESCO in writing of any issues within 30 days of becoming aware of said issues
2. ESCO and agency discuss and attempt to resolve issues
3. If unsuccessful, follow agency dispute resolution procedures
4. Only after successful conclusion of steps 2 and 3, may the government adjust payment to the ESCO We have commented on specific issues that hinder the efforts to streamline the process but would suggest some addition provisions that could further facilitate a quicker cycle. · We would suggest establishment of an escalation procedure for stalled projects. The Contract would state that any project in the IP review stage for more than 30 days or in the IGA review stage for more than 60 days would be escalated to the head of the installation and the FEMP director for resolution of bottlenecks. We would also suggest a cc to the head of EERE and the ESCO Vice President or higher. · Since the IGA is often directly impacted by the TORFP, it should be required that the TORFP be issued within 30 days of the NOITA. · The government could establish and maintain a team of knowledgeable, dedicated ESPC contracting officers available for any agency requiring that resource with appropriate fees charged to the project. · The contract could remove the requirement for a preliminary proposal for any agency follow on Task Order. The FPCC also believes that we could facilitate bigger projects if we clarify the requirement that all incentives associated with a project be rolled into that project. While the government expects the ESCO to identify these incentives, they sometimes do not allow inclusion in the project. We would encourage a few additional provisions in the RFP. These include language that allows for a minimum stipulated savings amount associated with metering. This will drive meter inclusion in more projects per legislation and Executive Order. We would like to see clear language allowing PPAs under an ESPC. And we would request more attention in the document to renewable energy inclusion in ESPCs. There is a great emphasis on renewable energy in the federal government, yet a reticence to contract for it under an ESPC without extremely clear guidance. Finally, we continue to believe that the DOE could conduct its effort to bring more contractors to the ESPC program through what we call an “on ramp” and without requiring the derailment of current efforts to get projects in the ground. Conducting a “full and open” competition of all contractors – both those who currently have Super ESPCs as well as new entrants – will likely result in a lengthy source selection process that duplicates the prior competitive process and significant disruption and delays in the program. This will slow critical efforts to revitalize the program after a temporary suspension in 2003 and will hamper the federal government’s efforts to reduce energy usage government-wide by putting the program back in flux. The quickest, most efficient way to expand the Super ESPC program would be to: 
· extend the ordering period of the existing Super ESPC contracts – which were already subjected to a rigorous competitive selection process;
· complete the current competition as scheduled to allow DOE to select new, high quality companies to join the existing pool of Super ESPC contractor; and,
· update existing contract terms to reflect changes under the upcoming RFP, including worldwide contract scope Thus, DOE would maintain the existing cadre of contractors, enabling it to seamlessly continue the program, while conducting a new selection process to add qualified companies to the program. DOE may undertake this strategy because the Energy Policy Act of 1992 gave the Department of Energy authority to enter into contracts for up to 25 years and to use more flexible procurement procedures for energy savings performance contracts. This plan would be consistent with the numerous examples of multiple award vehicles established by other agencies that provide “on-ramps” to expand the universe of participating contractors for IDIQ contracts such as the Super ESPCs. Of course, only contractors meeting the highest quality standards would be added to the program, ensuring the continued high caliber of the work carried out for participating government agencies. Again, thank you for the opportunity to provide comments to the DRFP. The FPCC had originally planned to respond only once with all of our compiled comments; however this was impossible with IIPS. So we might conclude by suggesting that DOE and the GO evaluate whether a more updated system is warranted or to allow for industry comments in a more traditional approach (i.e. submitted to the C.O. and then posted on the IIPS to insure transparency for all interested parties). This comment is made in an effort to serve both industry and the government better.  Thank you for your comments.  We will consider making changes to the DRFP.  We will also schedule an “Industry Forum” as an additional mechanism for comments.

"Comments of the National Association of Energy Service Companies
In Response to the DRAFT REQUEST FOR PROPOSALS (DRFP) NUMBER
DE-RP36-06GO96031(Draft) The National Association of Energy Service Companies (NAESCO) appreciates the opportunity to respond to the request for comments to the issuance of the Draft Request for Proposals dated May 23, 2007. NAESCO's current membership of about 85 organizations includes firms involved in the design, manufacture, financing and installation of energy efficiency and renewable energy equipment and the provision of energy efficiency and renewable energy services in the private and public sectors. NAESCO members deliver about $4 billion of energy efficiency projects each year. NAESCO numbers among its members some of the most prominent companies in the world in the HVAC and energy control equipment business, including Honeywell, Johnson Controls, Siemens, Trane and TAC/Tour Andover. Our members also include many of the nation's largest utilities: Pacific Gas & Electric, Southern California Edison, New York Power Authority, and TU Electric & Gas. In addition, ESCO members include affiliates of ConEdison, Pepco Energy Services, Constellation, PP&L, DMJM Harris and Direct Energy. Prominent national and regional independent members include Custom Energy, NORESCO, Onsite Energy, The EnergySolve Companies, Ameresco, UCONS, Chevron Energy Solutions, Synergy Companies, Wendel Energy Services, WESCO and Energy Systems Group. NAESCO member companies have delivered energy efficiency projects at federal facilities for over fifteen years.
NAESCO believes that it is qualified to offer comments in this proceeding by virtue of its long history of involvement in the development and implementation of the federal energy efficiency programs since 1986. NAESCO has provided comments, testimony, and guidance both to the Departments of Energy and Defense, GSA, and HUD regarding the development and implementation of Energy Savings Performance Contracts (ESPCs) as well as provided written and oral testimony before the relevant Congressional Committees. At the state level, NAESCO has been a party to the development of major energy efficiency programs in California, Colorado, Texas, Kansas, Illinois, Michigan, Maryland, New Jersey, New York, Massachusetts, Vermont and Connecticut during the last decade. In addition, NAESCO has worked with the state energy offices of Florida, Washington, North Carolina, South Carolina, Virginia, Mississippi, Louisiana, Tennessee, and Georgia to help train public sector facility managers and program managers about optimizing the effectiveness of energy efficiency program design and implementation. NAESCO representatives currently serve on the Program Advisory Groups, which were constituted by the California Public Utilities Commission to advise the California investor-owned utilities on energy efficiency program administration, and on the System Benefits Charge Advisory Group, which is constituted by the New York Public Service Commission to evaluate the New York energy efficiency programs, which are administered by the New York State Energy Research and Development Authority (NYSERDA), rather than the investor-owned utilities. NAESCO has also recently served on the Energy Efficiency Task Force of the Clean and Diversified Energy Action Council of the Western Governors Association and serves as an Observer on the National Action Plan for Energy Efficiency (NAPEE) Leadership Group.
Based on this extensive experience, NAESCO believes that it has a deep working knowledge of the various models of effective energy efficiency program design and maximizing the delivery of energy and dollar savings as well as the economics of virtually all types of energy efficiency and demand response programs that are currently in the field in the U.S. We hope that this knowledge will be useful to the Department of Energy as it considers the optimal way to “promote the use of renewable energy technologies, acquire energy and water conservation services, reduce energy and water consumption and/or associated utility costs, and reduce energy and water-related operations and maintenance costs.” Memorandum at 1 Summary of Comments
NAESCO offers the following comments in response to the Draft Proposal dated May 23, 2007.
1) NAESCO believes that setting the master contract at a one billion dollar limit against which all task orders will be written is unrealistically low and will not result in investment sufficient to achieve the multiple resource acquisition goals set forth in the Draft Proposal. 2) While the draft RFP states that the use of renewable technologies in future ESPCs is highly desirable, there is a general lack of guidance as to how the cost impact of renewable technologies will be assessed and evaluated when considering the price reasonableness requirement among other requirements imposed on the contractor. 3) The procedure for awarding Task Orders (TOs) seems to add requirements not found under the current process. This appears to run counter to the goal of streamlining the process and reducing the transaction cycle time. The measurement and verification requirements, the commissioning requirements, the expansion of contractor responsibilities all add to the length of the transaction cycle as well as increase the ESPC cost thereby reducing dollar savings. 4) Milestones should be established for expediting the agency selection and evaluation process leading to a shorter process cycle. Discussion
NAESCO offers the following discussion on the major comments summarized above.
1) The master contract is set at a one billion dollar limit against which all task orders will be written with a minimum task order of $5,000. While one billion dollars may sound in aggregate like a sizeable commitment to the ESPC program, it actually translates to about $500-600 million in actual work to be implemented at federal facilities during the five year base period or about $100-120 million per year in direct investment to be allocated among all awardees. This is actually less than current investment levels and dramatically less than the accelerated investment levels that policy makers have stated they want to see invested in energy efficiency and renewable technologies at federal facilities. It is not clear to NAESCO why the one billion dollar limit was established when the Draft Request expands the range of goods and services being sought . The limit as currently set is unrealistic to achieve the multiple objectives set forth in the Draft Request. In order to achieve the $500 million per annum investment that has been suggested by DOE policy makers in public meetings as their objective, the base period master contract limit would need to be set at a minimum of $5 billion. Permitting a minimum task order of $5,000 appears to be a residual requirement from the original contract terms and no longer serves a purpose. The transaction costs for such a small task order would negate any real cost savings. Thank you for your comment.  We will consider making a change.  IDIQs require both a maximum ceiling and minimum government guarantee.

2) The draft states a clear preference for contractors to integrate renewable technologies into the ESPCs to be implemented. While combining energy efficiency and renewable technologies into a single project drives down the payback of the renewable technologies by blending the paybacks of both technologies, it still does not mean that projects employing renewable technologies will price out at the same dollar investment as if there were no renewable technologies employed. There is no guidance about how renewable energy technologies are to be integrated into the project design given the cost factors. For example, there is a price reasonableness requirement which may in effect preclude the use of renewable technologies given the higher costs associated with these technologies. Since it is the stated objective of the RFP to accelerate the use of renewable technologies in future ESPC TOs, it would be very useful for DOE to provide guidance as to how renewable energy technologies should be evaluated from a price reasonableness perspective and whether the evaluation process by federal contracting officers will differ when renewable technologies are included in the project design. The requirement is expected to result in an honest and reasonable assessment of the inclusion of renewables, not mandate inclusion.  Price reasonableness for ECMs (renewables and non renewables) can be determined through several methodologies.  DOE-FEMP has a Guide to Price Reasonableness for ESPCs on the EERE FEMP website.

3) New contractor requirements will extend the transaction cycle and are not delineated clearly enough which will likely lengthen the transaction cycle and slow down the project tempo. Thank you for your comment.  Unfortunately, we don’t know what “new contractor requirements” this comment refers to.

a) The imposition on the contractor of determining the sources, value and availability of financial, tax, and incentive options under C.12 is not itself unreasonable. However, the section repeatedly uses the term “responsibility of the contractor” without any definition of the legal reach of the term “responsibility”. We suggest that the term “responsibility” be replaced with the requirement that the contractor use all best efforts to assess the range of appropriate incentives available for the project and utilize as appropriate in establishing project costs and financing options. NAESCO also believes that specific language be included in the final draft clarifying that these incentives may be utilized in the financing of the project. Thanks for the comments.   We will consider making the changes.   The value of the incentives will be identified in schedule TO-3

b) Discussions as to whether commissioning requirements should be included in this RFP or in a stand alone document are still underway according to the notation currently comprising Attachment J-12. We believe that any imposition of commissioning requirements should be linked to the base contract document. There can be significant costs associated with commissioning and these costs need to be identified and rolled into the cost and termination schedules so that all parties are aware of the incremental costs incurred by the imposition of the commissioning requirement.  Thanks for the comment.   We will consider making the change.

c) The requirement for the incorporation of an Investor Deal Summary and Standard Financing Offers in the form of a Selection Memorandum under H.7.3. states that the process may be subject to an audit by the agency. There is no indication of what types of data an audit would examine or the objectives of such an audit. If an audit is contemplated, additional information is required as to firmly circumscribe the reach of the auditors, the time frame for conducting such an audit, and the sanctions that could result. We are not sure of the intent behind this requirement and generally do not believe it is necessary. However, if the requirement remains in the final version of the RFP, additional clarifying language is necessary.  Thank you for your comment.  We will consider making a change.

d) In section C.4.2, there is now a requirement that the Measurement and Verification plan identify buildings or spaces not affected as well as energy or water using building systems or uses not affected by the TO be identified. We suggest that this requirement be removed as it places additional responsibility on the contractor and generates additional costs and does not provide sufficient value to the federal agency to justify the time and cost.  A well crafted M&V protocol should contain all the answers to the inquiry in any case.  Thank you for your comment.  We will consider making a change.

e) Sections C.6.1, C.6.3, C.7.3 and C.8.3 provide the government with the unilateral ability to declare itself free from responsibility for its actions with regard to operation of the energy conservation measures (ECMs) including instances where it had oversight of direct operations, preventive maintenance and repairs. This is patently one sided assignment of risk. The relevant language must be changed so that the parties are responsible only for the damages related to actions which are directly attributable to their respective agents. This is consistent with the existing contract language.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

f) In the DOE IDIQ contract currently in effect, responsibility for O&M record keeping is assigned to the party providing O&M service. Section C.6.4 of the draft RFP states that the ESCO is responsible for record keeping regardless of whether or not it is performing the O&M service. We believe the existing provision should be retained which makes the party with access to the data responsible for record keeping. We are considering clarifying language to address your comment.  The provisions of the existing IDIQ contract are substantially the same as those set forth in Section C.6.4 of the draft RFP.  The contractor is responsible for preparing procedures, schedules, and logs which will be completed by the party performing the activities.  Regardless of which party completes the logs, they are ultimately collected by the contractor for use in the annual M&V report.

g) The preliminary assessment requirements under H.4.1 are too onerous and costly for the contractor. At a minimum, H.4.2.B. should be revised and requirements g-j should be deleted. There is subsequent opportunity under the IGA requirements set forth in (H.5) to address these additional concerns. Thank you for your comment.  We will consider making a change.

4) There should be timelines established for each significant piece of the review process and an overall time limit placed on the agency review process. Thank you for your comment.  We will consider making a change.

a) There should be a process established by which stalled projects which have been under consideration for more than 45 days be referred to a designated individual(s) for resolution within 10 days. Contractors should be made aware of referral of their project and given the opportunity to meet with the designated individual(s) to discuss the stalled project and assist in the resolution process. Thank you for your comment.  We will consider making a change.

b)The invoicing process set forth in G.3 should be clarified so that contractors are notified within ten days of receipt of the invoice by the federal agency whether any part of the payment will be disputed, withheld, or delayed. The contractor will also be given the immediate opportunity to help cure the event which the agency has determined to be the source of the payment dispute or delay. Conclusion  Thanks for the comments.  The Prompt Payment Clause in Section I already requires the agency to notify the contractor when an invoice is rejected and the reason why it is rejected.

"Cover Letter. Proposed Period of Performance. Is this to Site Award, IP Start, IP finish, DES Start, DES finish, Award, Completion of construction or completion of follow on modifications to a prior award (still in construction). This appears to be the Ordering Period, not the Period of Performance (the 25 year contract term) Please clarify. Sorry, we don’t understand this question.  Cover Letter 5.2. Excess savings should at least be considered to lower prior or future shortfalls. This would lower risk profile. Consider allowing excess savings to be considered against savings shortfalls. Thank you for your comment.  We will consider it.  Cover Letter. Contract related information such as geographic region, period of performance, shared savings incentive should be captured in the main RFP. Add similar details into RFP to be consistent. The cover letter indicates that the DRFP governs, yet it is missing clarity such as geographic limits, etc."  Thank you for your comment.  We will consider making a change.

Dear Mr. Berg, Consolidated Edison Solutions, Inc. (“ConEdison Solutions”) is pleased to be working with the DOE in developing and implementing the country’s program for energy independence through the use of Energy Performance Contracting. We look forward to responding to the RFP DE-RP 36-06GO96031 and working with the Department of Energy to achieve its energy goals. We respectfully submit the following comments on the draft RFP DE-RP 36-06GO96031. In developing our comments to the May 23, 2007 Draft RFP (the “Draft RFP”) we considered the goals of the DOE and the ability of the draft RFP as written to achieve those goals. The goals as outlined in the draft RFP are as follows:
• Focus on Renewables
• No geographic boundaries
• Greater Focus on Measurement & Verification savings
• Consistent Terminology
• Streamlining Initial Proposal Process • Price Evaluation Methodology
• Incentive Plan
o Support emerging technologies
o Greater savings from optimal Operations & Maintenance
o More effective use of Metering and Verification
o Sharing of excess savings between ESCO’s and Agencies Renewables
The incorporation of renewable technologies and the ability to include the benefits from various energy sources is of significant importance to our country’s security through diversification of our nation’s energy portfolio. However, the provisions in the RFP to address renewables could be enhanced.
• The process should recognize that the incentives available in the market place may not alone meet the payback requirements to implement the projects and thus independent funding may be required.
• Market incentives associated with renewable energy projects such as tax credits, and accelerated depreciation are subject to tax code changes while carbon trading values are not reliable given the infancy of the market and thus should not be included in the project cash flow. In the current DOE IDIQ contract these types of incentives have separate cash flow statements and are generally stipulated. Treating incentives in this way would reduce the risk premium associated with the implementation of renewable projects while achieving the agency’s goals.
• Under the terms of the RFP, the evaluation of renewable opportunities should be optional rather than required. Any evaluation should be considered in the context of the whole facility and the limitations that are inherent in employing renewable technologies. Forcing evaluations of renewable technologies where no practical opportunity exists only increases costs with little or no benefit.

Contract Value $1 billion has been established as the total contract value for this DOE program. Given the DOE’s goal of trying to increase the investment rate in these projects to $500-$700 million annually, the targeted level of $1 billion over an 11 year window seems inadequate. Setting funding levels that do not support the required initiatives will minimize market focus and resources. In fact, since the DOE program mandates that energy savings must equal projected costs, it would be appropriate and supportive of a broader program to have no funding cap. O&M Services  Thank you for your comments.  We will consider making changes to the DRFP.
The O&M section has been modified extensively to increase the ESCO’s liability and risk for equipment performance to the ESCO. Making the ESCO responsible for performance of systems the ESCO installs but does not maintain imposes risks on the ESCO that it is not in a position to control. Therefore, ESCO’s are likely to seek to mitigate the increase in risk by increasing the cost of implementing the projects. The three following provisions are examples of shifting risks from the party in the best position to control the risk (i.e., the Government or its contactor providing the O&M services) to the ESCO. • C6.1 “Regardless of who performs the operations, the contractor shall be responsible for the operations of all installed ECM’s.” The DOE IDIQ contract currently in effect can be interpreted that if the government were to assume the O&M responsibilities then responsibility of contractor might be alleviated.  
• C.6.3 –The DOE IDIQ contract currently in effect indicates that if the government assumes O&M services and doesn’t perform then they will compensate the ESCO for any losses as a result. The Draft RFP adds that the contractor must periodically inspect the work and report any shortfalls in maintenance procedure and if the Government fails to perform its duties it “...may give due consideration to the contractor for losses directly attributable to that material failure.” This would appear to give the Government the ability to underperform while the ESCO could be left to absorb the consequences.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

• C.6.4 – As of MOD 5 of the DOE IDIQ contract currently in effect the wording assigns responsibility for O&M record keeping is assigned to the party providing O&M service. If the ESCO is providing O&M services then it is responsible; if the Government is responsible for providing such services then it is responsible for record keeping. The Draft RFP states the ESCO is responsible for record keeping regardless of whether or not it is performing the O&M service. This puts the ESCO in the position of being responsible for record keeping with no assurance of access to the data required for accurate records. Access and oversight requirements should be communicated with the agency and specified in the TO.  Metering & Verification   The Metering and Verification (M&V) provisions have been enhanced to provide for increased validation of savings through direct monitoring and metering. Metering and monitoring protocols under the current DOE IDIQ contract are established based on the risk of non-performance of the ECM. This approach balances the goal of meeting established performance levels with the cost of the metering and monitoring services. Since the cost to install and provide reports is considerable and so should be aligned with project risk so as not to unnecessarily increase the post-installation cost of a project. Thank you for your comment.  Implementation Process To facilitate timely implementation of projects, we recommend time limits for review of design documents. As projects linger in the review and approval process, the cost of implementing the project increases as additional resources are dedicated to facilitate the process and material and contractor costs as bids go stale.. Developing a mutually agreed to and realistic timeline can only help both parties achieve the mutual goal of implementing projects. Thank you for your comment.    Nothing in the DRFP prohibits the contractor and agency to mutually agree to a timeline.  The Draft RFP does not contemplate reimbursement of ESCO costs associated with performing a preliminary assessment or the IGA. If perhaps there are other sections with in the Draft RFP that allow for the recovery of these costs we did not see them. We therefore recommend that a provision be developed that provides for payment of these services unless the work is unsatisfactory.   Thank you for your comment.  We will consider making a change.  Payment of Guarantee Shortfall  The Draft RFP states that the financing payments in the years following a shortfall will be adjusted to reflect such shortfall. Any payments required to meet guarantee shortfalls should be addressed outside of the financing vehicle. Direct payment by the ESCO or a credit to future projects would reduce time and project costs and not interfere with the financing agreements. Thank you for your comment.  Consequential Damages   We request that the Government consider incorporating a waiver of consequential damages. In construction contracts with private owners, it is virtually unheard of for a contractor’s liability not to be subject to a waiver of consequential damages. Every well-known form contract, including those of the Design-Build Association of America, the Associated General Contractors of America and the American Institute of Architects, includes a waiver of contractor’s liability for consequential damages, the reason being is that consequential damages are undefined and unlimited. A waiver of consequential damages by the Government would not be unprecedented. For example, in February 2007, the GSA adopted regulations (48 C.F.R. 52-212-4) which provide in relevant part (in subparagraph (p) -“Limitation of Liability”) as follows: “Except as otherwise provided by an express warranty, the Contractor will not be liable to the Government for consequential damages resulting from any defect or deficiencies in accepted items.” In the rulemaking leading up to adoption of the waiver provision shown above, comments were submitted by a number of parties, including the ABA’s Section of Public Contract Law, which expressed the view that the waiver of consequential damages should be extended beyond just “accepted items” to include all “commercial services”, as well as the delivery of all commercial items, stating that “potential open-ended, unlimited liability poses a significant barrier to commercial companies desiring to do business with the government” and, at a minimum, requires those companies willing to do business to price in a “risk premium” into their proposals. Furthermore, with particular respect to contracts to install ECMs, in 2004, contracting officers from the Army, Navy, Air Force and other DOD agencies worked together with government lawyers, attorneys for some energy companies and representatives of the Edison Electric Institute to establish a standard agreement for installing ECMs under Utility Areawide Contracts. The publicly available DOD model agreement includes a full waiver of consequential damages (clause WR 3 of the DOD model agreement provides “The Utility shall not be liable for any special, incidental, indirect, or consequential damages, connected with or resulting from the performance or non-performance of work under this Agreement or subsequent [Task Orders]”) despite the fact that the Federal Acquisition Regulations is silent on consequential damages in the context of such construction agreements. We think that the DOD model agreement represents the best practices in this area and that DOE should consider incorporating such a provision in its model contract under its program. Thank you for your comments and extensive research.  We will consider making a change to the RFP.  Conclusion   Thank you for the opportunity to submit these comments in response to the Draft RFP. We look forward to working with the DOE, facilitating the process, and improving the overall performance of the program for the DOE. If there is any way in which we can help the DOE in developing the final RFP we will gladly support any invitation. Below are our detailed comments which are labeled according to the sections of the draft. Thank you very much for your time and consideration. Sincerely,
James J. Dixon, P.E.
Vice President, Energy Services Comments Draft DOE RFP RFP Process
L.2.(3)(ii)(A)(1) Request for clarification. It is required that the bids be submitted electronically. To avoid disputes it appears we have to submit it a day early. Is this the case? No, but computer glitches do occur from time to time so give yourself some extra time to upload the proposal.  The upload process can take a significant time and DOE is not authorized to accept any portion of a proposal that is received past the date and time identified in the RFP.  L.2.A(9) Instructions to Offerors – Competitive Acquisition  What does this term cost realism mean? Cost realism means “ a realistic cost in relation to what is proposed based upon a price  analysis” as defined by 5215.404-1 (DFARS 215.404-1) which states: (d) Cost realism analysis. A price analysis approach where there is adequate price history may also be a suitable and efficient means to evaluate cost realism. The amount of data required will be dependent upon the complexity of the procurement and the data already available to the contracting officer …cost realism is not about the exact cost estimate. It's about the system of logic, the assumptions about the future, and the reasonableness of the historical basis of the estimate. That is, it's about the things that make up the foundation of the estimate.

L.10.2.A. Part I Indefinite Delivery/Indefinite Quantity Contract – General Contract Capabilities: The RFP asks for references for 2 subcontractors that will be working on the projects. Depending where the opportunities are within the country will dictate the sub-contractors. Does this apply only to the walk-thru facility? Offerors may provide past performance information on major subcontractors that are anticipated to be used either at the sample project site, and/or on other potential projects, e.g., with whom the offeror anticipates working on a national basis.

Also if the document is to be provided electronically this is in conflict with the instructions for the references which must come from the reference to the DOE directly.  Past performance references are not expected to be part of the electronic proposal submitted via IIPS.  Please follow submission instructions in L.10.2.A and Attachment L-4.

Project Implementation Process Section G.1 – Master IDIA contract administration Why is there a DOE contracting office and DOE contracting specialist. The job description is the same. The duties of a Contract Specialist (CS) are to assist the Contracting Officer (CO) in administering the master IDIQ contract.  Often times the CS can handle issues without involving the CO.  H.4.1 Preliminary Assessment The agency will not be liable for any costs associated with PA audits or preparation of the PA. Modify to the following: The agency will not be liable for any costs associated with the PA audits or preparation of the PA unless a TO is awarded. All costs of the PA will be rolled forward into the TO and included within the IGA costs. Costs for the IGA will be clearly labeled in the Schedule TO-2.  Thank you for your comment.  We will consider making a change.  H.6.2 Preliminary Assessment
Final proposals will be reviewed in accordance with the instructions set forth in
the TO RFP. The agency will not be responsible for any costs incurred, such as proposal
preparation costs or the costs incurred in conducting the IGA unless the contractor fails to meet requirements within its control for the TO RFP. If the Contactor meets the requirements then they will be reimbursed for the cost of the IGA as provided in Schedule TO-2 as submitted in the PA. Attachment J-6.2 Table Placement of Pricing Information Directly contradicts previous statements in the proposal that says we cannot recover Preliminary Assessment costs. This table implies that all costs are recoverable. Thank you for the comment.  We will consider making the change.  Financing Concerns Section G.5.1 Payment to the Government for Annual Guaranteed Savings Shortfall A shortfall might trigger an adjustment to the payment schedule, which would be very cumbersome (requiring a mod to the task order financial schedules, which requires a mod to the assignment agreement with lender (which could involve financial penalties depending on the change). CES recommends the contractor reimburse shortfall to agency. Thanks for the comment.   We will consider making the change.  C.12.1 EERE Financial Incentives from State or Utility Programs Incorporation of EERE incentives, tax credits, and emission credits into the projected cash flow places an additional level of risk on the project that is borne by the ESCO. Historically benefits such as these have been reflected in a different schedule and not included in the overall project cash flow. Because we do not know the long term value we would recommend reflecting these benefits in a separate sheet. In addition, in what schedule do we “describe how incentives affect post acceptance performance period cash flow, such as principal repayment or reducing financed amount.” Thanks for the comments.   We will consider making the changes.  Incentives should be addressed in schedule TO-3  C.8.4 Replace the term “Escrow account” with “holding account to be held by.” The TO shall specify how funds in the account will be dispersed during and at the end of the term.”  Modify the statement to “The TO shall specify how and for what purposes.” Thanks for the comment.   We will consider making the change.  E.3.1 Partial project acceptance This section implies that implementation period payments are subject to change due to the actual project acceptance date. This will create issues for lenders assuming a rate was fixed for the amount financed at task order execution. Thanks for the comment.   We will consider making the change.  H.7.2 A. Selection Memorandum I  Is this a form? If so where is it? No, there is no specific form for the Selection Memorandum.  It should be in a memorandum format containing the information identified in H.7.2.A.  H.8.1. “Acceptable evidence of surety’s commitment” What is acceptable evidence.?. The contractor and agency will communicate on this topic and reach an understanding.  Is it actual bonds as outlined in H.8.2? Yes.  Is this necessary since the actual bonds need to be presented shortly after showing evidence of surety’s commitment? Yes.  H.9 The request to change contractor has been deleted. Has this been picked up some place else. No H.10.2.A. “Prior to commencement of work, the contractor shall furnish to the agency CO, a copy of the insurance policy endorsement.” It should be a copy of a certificate evidencing coverage outlined in H.10. Thank you for your comment.  We will consider making a change.  Attachment J-2 Definitions  Add to the Definitions Section: Acceptance – The term Acceptance means an authorized representative of the agency has inspected and accepted the Contractor Installed Energy Conservation Measures, and that these installed Energy Conservation Measures are operational and comply with the Task Order’s design documentation and intent as verified by ECM Commissioning, and with the energy savings performance requirements as confirmed by the Measurement and Verification Reporting. Agency Acceptance shall allow the Contractor to be paid but shall not relieve the Contractor from responsibility for continued compliance with Task Order requirements during the Task Order’s term. Thank you for your comment.  We will consider making a change.  Attachment J-2 Definitions Outstanding Capital Investment (modify the definition as follows: Remaining unamortized principal on total amount financed plus any prepayment charges relating to prepayment of unamortized principal for a specific TO project: outstanding capital investment dollars specified in the event of cancellation or termination, and represents the minimum termination liability due from the government to the contractor for that time period. Thank you for your comment.  We will consider making a change.    Attachment J-2 Definitions Add to the list. Cancellation Ceiling – Outstanding capital investment plus any breakage fees negotiated for early cancellation of LTSA services. Thank you for your comment.  We will consider making a change.  Attachment J-2: Guaranteed Annual Cost Savings  Last sentence “If actual savings fall short of the guarantee, the contractor will pay back the shortfall over the next interval by accepting lower payments.” The payment shortfalls should be paid by the vendor to the government and not interrupt the financing schedule. Thank you for your comment.  We will consider making a change.    Attachment J-2 Definitions  
Project Interest Rate: “The contractor’s proposed Added Premium, when added to the index rate proposed by the contractor for a specific TO project.” Change to: The sum of the Index Rate plus the added premium for a specific TO project. Thank you for your comment.  We will consider making a change.    Attachment J-2 Definitions  Task Order Term: The term of a TO has changed from only the performance period under the current contract to implementation and performance period in the draft. The maximum term of the TO is 25 years which means that the financing terms is now less than 25 years. This just further reduces what can be achieved. This appears to be a misunderstanding of clause F.1.1 of the existing DOE ESPC contract.  In both the existing contract and DRFP the 25 year period starts on the date that the delivery/task order is signed.   Attachment J-6.G.1. Column (h): Where on TO1 is column h. H doesn’t exist.  We will attempt to clarify.  Attachment J-6-G.3 Column (i): Where on TO1 is column i.  Column I does not exist.  We will attempt to clarify.  Attachment J-8.1  The provision on energy prices, as a responsibility has been deleted. Who is going to bear the risk of energy price volatility? The contractor and agency will negotiate risk allocation, and it will be specified in the resulting TO.  However, payments to the contractor cannot exceed energy savings for that year.  Schedule TO-1 (Preliminary Assessment – PA) Proposed Guaranteed Cost Savings and Contractor Payments: Will the ESCO know the Task Order No. at the time the ESCO fills this schedule out? The ESCO should coordinate with the agency to get this information.  Schedule TO-1 (Preliminary Assessment – PA) Proposed Guaranteed Cost Savings and Contractor Payments: The total number of line items is 24. For a project with less than a 12 month implementation period there needs to be 25 lines. This also applies to Schedule TO-1 (Final). Actually, there are already 25 lines on the TO-1 schedules.  We list 24 lines for the Post Acceptance Performance Period and 1 line for the implementation Period for a total of 25 lines.  Schedule TO-2 Implementation Price by ECM: The indirect cost column appears to be new, what is included under the classification of indirect costs. Classification of costs as direct or indirect is determined by the contractor’s accounting practices.  Why also are all the lines blacked out on this page? In a fixed price contract such as this, it isn’t appropriate to require a detailed breakout of direct and indirect costs on a line by line basis.  Schedule TO-3 Post Acceptance Performance Period Cash Flow: “Added premium (adjusted for tax incentives)” – There is no mention of this adjustment for tax incentives in the definition of Added Premium. Thank you for the comment.  We will consider making a change.  Schedule TO-3 Post Acceptance Performance Period Cash Flow: Less Incentives(i.e. REC, White Tag, etc): What is the basis for forecasting the value of such incentives. To determine whether the project can pay for itself within the 25 year maximum period.  Schedule TO-5 Annual Cancellation Ceiling Schedule: Important Information: Insert a column titled “outstanding capital investment” in between the columns for “Time Period” and “Cancellation Ceiling”.  Thank you for the comment.  We will consider making a change.  
Revise the notes as follows:
1. Outstanding capital investment for each time period specified below establishes the minimum termination liability for that time period, and includes the remaining unamortized principal on total amount financed for each time period specified below, plus any principal prepayment charges.  Thank you for the comment.  We will consider making a change.
2. Cancellation Ceilings for each time period specified below establish the maximum termination liability for that time period, and includes the outstanding Capital Investment specified below, plus any termination costs negotiated for the service period.  Thank you for the comment.  We will consider making a change.
3. The contractor may attach a monthly Financing Termination Liability Schedule that must correspond to the annual amounts submitted below in each year for Outstanding Capital Investment and cancellation ceiling.  Thank you for the comment.  We will consider making a change.
4. In the event of TO cancellation or termination for convenience, FAR 52.217-2 or 52.249.2 will apply. Attachment J-5 Sample Deliverable for task orders: Is the evidence of surety commitment required for each task order? This will be dependent upon the agency’s requirement for acceptable evidence of surety commitment.  What exactly constitutes acceptable evidence?  Acceptable evidence might consist of a copy of commitment on official letterhead or equivalent.  The contractor should communicate with the agency to identify acceptability.   Attachment J-13 Investor Deal Summary IDS Template: Project Investment Table: What is the purpose of highlighting profit margin? The intent was to black it out so that it wasn’t filled in.  The total cost of the ECMs is more relevant for the IDS. Part IV – Representations and Instructions K.2 Offer Acceptance Period Signing block 12 should be block 17. Thanks for the comment.  We will make the change.  210 days to hold open a prices and schedule is a very long time. The 210 day period is written as intended.  This period is for your proposal that will be evaluated for the issuance of the master IDIQ contract.  Attachment L-4 Past Performance Questionnaire: II. Past Performance Evaluation In the table the columns are labeled (F), (U), (N). What do these letters represent?Thank you for your comment.  We intend to make a change to be consistent with the “0” - “5” rating scale.  ECM’s C.5.5 The TO will identify specific known hazardous waste handling and storage requirements. Typically hazardous waste outside of ballasts is the responsibility of the government. Thanks for the comment.  O&M
C.7 - “Preventive Maintenance OF ECM’s” “The contractor shall be responsible for preventive maintenance of all installed ECM’s.” Typically these services are defined in the RRM. Which takes precedence? The clause in the master IDIQ contract takes precedence. C.7.1 As of MOD 5 of original contract the wording assigns responsibility for Preventative Maintenance to the party providing maintenance service. The new RFP states the contractor is responsible preventative maintenance regardless of who is performing the service. C.7.3 Previous documents indicate that if the government assumes preventive maintenance and doesn’t perform then they will compensate contractor for any losses as a result. New RFP adds that contractor must periodically inspect the work and report any shortfalls in maintenance procedure and if the Government fails to perform their duties they “...may give due consideration to the contractor for losses directly attributable to that material failure.” Section C.8 - “Equipment Failure”   C 8.3.A Previous documents indicates that if failure is result of government they will reimburse contractor. New language says that they may provide due consideration to contractor for repairs directly attributable to that material failure on the part of the government. C.8.1 “The contractor shall be responsible for the repair of all installed ECM’s. Typically these services are defined in the Risk Responsibility Matrix. Which takes precedence? The clause in the master IDIQ contract takes precedence. Attachment J-8 2C Weather. New language is as follows: “Should the agency agree to accept risk for weather fluctuations, it shall be contingent upon payment not exceeding savings.” This should be changed to: Acceptance of risk for weather fluctuations should not be contingent upon payment not exceeding savings. The assumption of risk on energy prices will only add unnecessarily to project cost. Thank you for the comment.  The contractor and agency will negotiate risk allocation and it will be specified in the resulting task order.  However, payments to the contractor cannot, by law, exceed energy savings for a particular year.    M&V C.4.4 The TO M&V plan shall specify the M&V options and methods that will be used for each ECM included in the TO. M&V options and methods proposed for each ECM shall comply with the latest version (in effect at the time of the Task Order RFP and Notice of Intent to award ) of the “[Department of Energy] DOE/[Federal Energy Management Program] FEMP M&V Guidelines: Measurement and Verification for Federal Energy Projects” and the “International Performance Measurement and Verification Protocol (IPMVP).” Attachment J-8 – ESPC Contract Risk and Responsibility Matrix
1(c) is now “M&V confidence” as opposed to “M&V costs” in the current DOE IDIQ contract. Now, “the DOE assumes the responsibility to determine the confidence that it desires to have in the M&V program and energy savings determinations.” In the current DOE IDIQ contract, “the agency assumes the financial responsibility for M&V costs directly or through the contractor.” This change shifts risk to the ESCO from the agency since the agency is not explicitly assuming the risk for M&V costs. This further increases the cost of the project by increasing the risk borne by the ESCO."  Thank you for your comments.

"Discussions as to whether commissioning requirements should be included in this RFP or in a stand alone document are still underway according to the notation currently comprising Attachment J-12. We believe that any imposition of commissioning requirements should be linked to the base contract document. There can be significant costs associated with commissioning and these costs need to be identified and rolled into the cost and termination schedules so that all parties are aware of the incremental costs incurred by the imposition of the commissioning requirement."  Thank you for your comment.

"Every major change incorporated into the Draft RFP seems to either increase the contractors' risk, cost, or time period it takes to bring a project to award. There appear to be no changes that improve or expedite the process. Recommend the changes be reviewed to eliminate those requirements that require the contractor to provide the same information numerous times in the same proposal."  Thanks for the comments.  We will consider your recommended changes.  However, we disagree with the assessment that the Draft RFP intends to increase the cost or time period it takes to award the ESPC Project.

"General question - In the cover letter it states there is a "streamlined Initial Proposal process step". After review of the draft contract requirements, it appears there are more content requirements for the IP/PA. Please explain how the proposed process differs from the existing process."  Thanks for the comment.  The process in the DRFP only requires the contractor to submit one TO schedule (TO-1).  Furthermore, the term Preliminary Assessment (PA) has a different meaning and implication to agency contracting personnel that should result in less detailed expectations and more general assessments of the PA for potential projects.

"Gridlogix
9056 Port Watson Road
St. Louis, MO 63126
www.gridlogix.com Department of Energy
Golden Field Office
1617 Cole Blvd.
Golden, CO 80401-3393 June 25, 2007 Dear Energy Officials: Re: DRFP Number DE-RP36-06G096031 (Draft) All the goals expressed in the Department of Energy’s Draft DRFP, to promote the use of renewable energy technologies, acquire energy and water conservation services, reduce energy and water consumption and/or associated utility costs, and reduce energy and water-related operations and maintenance costs, have one thing in common - they require data to succeed. Under present Energy Savings Performance Contracts (ESPC) under use by federal agencies data (monitoring and verification) is the missing ingredient. You can’t manage what you can’t measure. The GAO reported at length on this underlying problem in these arrangements in its June 2005 study, “Energy Savings: Performance Contracts Offer Benefits, but Vigilance is Needed to Protect Government Interests.” The problems they found boils down to a lack of credible, reliable, real-time, sharable, auditable, information to manage the contracts and the energy services contractor. There are questions on achieving a verifiable baseline, and from that point forward, there is nothing but guess work. Did the government achieve value? Did the contractor perform? Did we achieve savings? Are we paying too much for financing? In these status quo ESPCs, it is difficult and nearly impossible to audit changes in equipment and track individual results. The GAO found that, “the expertise and information needs of the agencies and competitiveness issues related to the contracts emerged as concerns for the protection of the government’s financial interests using ESPCs.” In other words, what the agencies lacked was pre and post implementation Real Time Building Performance Information. It can be done. The State of Missouri, growing weary of rising energy costs, adopted ESPC reform that deserves federal review for its application to the federal infrastructure. At the heart of the state’s reform is actionable information (measurement and verification), the Real Time Building Performance Information that the federal agencies have been missing. The data is collected from building automated systems in 1000 state buildings comprising 28 million square feet. The data is converged to a centralized operations center. The data is collected and reported independent of the energy services contractor. This is the Real Time Building Performance Information initiative at work, requiring a partnership among energy services companies and IT companies and producing manageable and verifiable results without the guesswork. The State expects to pay about $1 per square foot for these services and achieve a payback of about $20 million in 12 months. This compares much more favorably than traditional ESPC costing about $5 per square foot and achieving 20 to 25 percent return over 15 years or more. In the marketplace, the use and adoption of intelligent building control systems and IP solutions are growing. There are hundreds of companies developing solutions in enterprise building management and these products are on the market and deployed and achieving results. The key is an open interoperable, or service integration layer, where information is gathered from all energy using systems, such as fire, lighting, security, lifts, HVAC, and access controls, and made available for building managers and their needs. In the Real Time Building Performance Information format, the data generated from the building systems is analyzed by independent experts or outside research teams at universities that produce a list of commissioning errors in each building. Once these common errors are repaired, a building typically achieves 20 percent more energy efficiency at about $1 per square foot annually. These findings are verified by studies by the Energy Systems Laboratory at Texas A&M in its report, “Continuous Commissioning of Building Energy Systems” in August 2003. And, NIST reports that building equipment routinely fails to satisfy performance expectations envisioned at design and such failures go unnoticed over long periods of time. These faults can be detected and repaired by fault detection tools, in its study, NISTIR, “Results from Field Testing of Embedded Air Handling Unit and Variable Air Volume Box Fault Detections Tools” October 2006. Once the building is properly and optimally commissioned, a decision to “right-size” equipment can be made. It is common that equipment such as boilers and chillers are too big or too small for the building, causing a degradation of energy performance. By right-sizing equipment, another 10 to 15 percent energy savings can be attained, totaling another 30 to 35 percent energy savings in less than 2 years at under $2 per square foot. The real-time, continuous, independent measurement and verification data collection stays in place over the life of the energy management arrangement. This gives energy managers accountability over the next stages of upgrades to equipment and lighting and is the only way to accurately establish a baseline for energy use, and measure and verify for the performance of each and every piece of equipment recommended by energy services contractors. The building performance information also allows the energy services contractors the ability to pinpoint variables in air, humidity, water, etc to allow the new equipment to run and achieve its stated performance standards. It simply does not make sense to enter into long term ESPCs without first properly commissioning a building. While adding new equipment is good to increase energy performance, its results or efficiency will be questionable if other building conditions are not optimized. Moreover, this system, Real Time Building Performance Information format, allows federal energy managers several benefits, including the ability to: - establish a true baseline for energy and water usage for every building;
- collect real-time data on every chosen data collection point;
- collect data on every energy or water event;
- analyze and compare those events;
- pick and choose what changes in equipment achieve the greatest payback;
- defer certain equipment changes if the payback is too costly, and the chance to defer decisions for innovation that may be available later;
- save 10 to 60 percent on maintenance costs by analyzing equipment cycles and maintenance guidelines, bundling maintenance and purchasing, and thereby reducing maintenance calls, truck rolls, and labor costs; - manipulate the data and collection points to achieve other agency goals, for energy, maintenance, compliance, and security; and
- calculate energy use by fuel, and translate that into reports and scorecards for meeting reduction goals and carbon targets in real-time, for every building, agency by agency, and report that up to the DOE and the Office of Management and Budget (OMB) for release to the public. In structuring your procurement reforms to ESPCs, it would be beneficial for both pre and post implementation validation to require or provide a bidding preference to ESPC vendors that include/identify a third party real-time measurement and verification system with a non-advocate report of an optimization roadmap along with a continuous monitoring mechanism. In conclusion, the tools and technology are available, and at work in the marketplace, for the Department of Energy (DOE), Office of Management and Budget (OMB), and the federal government the actionable building performance information it needs to put certainty, accountability, and transparency in energy services contracts. It is imperative that a real-time, digital scorecard be available for federal energy mangers to make the best choices in commissioning federal buildings, hold energy contractors accountable for their actions, and share information among agencies and the public in meeting energy and water reduction targets and savings. With a real-time, continuous, independent measurement and verification monitoring system, the federal government can address all the GAO concerns with Energy Savings Performance Contracts (ESPC), ensure private financing, encourage competition, and be in a position meet national goals without guesswork and clumsy after the fact auditing. The federal government is the single largest energy consumer in the nation, spending almost $4 billion in FY02 on its energy for approximately 500,000 facilities in the United States. According the Alliance to Save Energy, energy efficiency is the nation’s greatest energy resource – efficiency now contributes more than any other single energy resource to meeting our nation’s energy needs, including oil, natural gas, coal, or nuclear power. By adopting Building 2.0 procedures the federal government can show conservation leadership and save over $1 billion in its energy costs per year. It has been our distinct privilege and honor to be able to provide our comments to this Draft ESPC IDIQ and look forward to working with the Department to improve energy services management and gain the best value for the federal government and taxpayers.  Thank you for your comments.

"In regard to the 20% small business subcontracting goal, am I correct in understanding this to be (ideally) a 10% goal for small business concerns that are Energy Policy Act target groups (per page 63 and 64 of the draft RFP), and that the other 10% could then be companies that are small businesses based on their NAICS code but that do not have any other "qualifiers" (i.e. not woman owned, not disadvantaged, not HUB zone, not 8a, etc.)? Thank you for your response."  Yes, that is the intent.

In section C.4.2, there is now a requirement that the Measurement and Verification plan identify buildings or spaces not affected as well as energy or water using building systems or uses not affected by the TO be identified. We suggest that this requirement be removed as it places additional responsibility on the contractor and generates additional costs and does not provide sufficient value to the federal agency to justify the time and cost. A well crafted M&V protocol should contain all the answers to the inquiry in any case." Thanks for the recommendation.   We will consider making the change.  The intent is to identify, not analyze, and was not expected to result in overly onerous requirements or cost.

"Is there a limit to the length of a question submitted in the IIPS system? 
Because it is not possible to attach documents, we would like to submit a lengthy comment by retyping it."  Yes, IIPS has an approximate limit of 10,000 characters for a question

"I.10 (b) – Goals. The contractor, in performance of this contract, agrees to provide its best efforts to award subcontracts to the following classes of entities:
1. SB – 20%
2. HBCU – 20%
3. HANACU – 20% > Taken as an additive requirement, the goal could be summed up to 60%. > L.9.2.D – has subcontractor requirement of at least 20% Small Bus. > Clarify that I.10 is inclusive of or percentage of L.9.2.D?" The percentage of L.9.2.D stated that for a small business plan to be deemed acceptable it would contain a plan to use at least 20% small business of which 10% should be socially and economically disadvantaged as defined in 13 CFR part 124, subpart B.

"J-1 Definitions – White Tags > Does this include CO2? > Recommend -- Expand definition to include CO2 for all environmental Benefits including electric and thermal energy, and renewable and all other fuel systems."  Thank you for your comment.  We will consider making a change.

"J-13 schedule – Section 5 & 6 > Not sure what is meant here > Clarify the purpose of these two sections"  The purpose of Table 5 is to convey the actual level of savings risk as opposed to the perceived risk.  The total savings stream of a project is oftentimes composed of various elements, each with varying level of risks (i.e. disputes in the achievement of the annual guaranteed savings).  Table 5 conveys the real risk to the financier.    The purpose of Table 6 presents a comparison of the guaranteed savings to calculated savings.  As ESCOs typically refrain from guaranteeing 100% of their calculated level of savings, there exists a level of safety that protects both the agency and the ESCO.  Awareness of that differential amount provides the financier with information necessary to gauge the level of confidence in savings calculations as well as its level of protection.

"J-13 \ Section 1 > Indicates that indirect and profit elements are separated and not combined as total markup in current contract. > Recommend – 1. Clarify that pricing is not using indirect & profit mark-up classifications 2. Establish a single Pricing Methodology using the commercial pricing process in current IDIQ that provides markup based on technology and its performance risk."  Thank you for your comment.  We are considering clarifying Table 1 in J-13.  M.3.2 only applies evaluation factors for DOE’s award of these master IDIQ contracts.  DOE is not establishing a pricing methodology for the purpose of task order award.

"J-6.1.3. – Schedule TO -2 Implementation Price > Recommend – 1. Clarify that pricing is not using indirect & profit mark-up classifications That is correct.  2. Establish a single Pricing Methodology using the commercial pricing process in current IDIQ that provides markup based on technology and its performance risk."  Thank you for your comment.  We will consider making a change.

"J-6.1.6. - FAR requirements > Which FAR requirements are intended to be included?"  FAR Clause 52.217-2 deals with cancellation under multiyear contracts.

"J-7 – TO-2 Implementation Price by ECM > TO-2 indicates that indirect and profit elements are separated and not combined as total markup in current contract. There is no mention of a Pricing Methodology in DRFP. > Recommend – 1. Clarify that pricing is not using indirect & profit mark-up classifications Yes that is correct.  2. Establish a single Pricing Methodology using the commercial pricing process in current IDIQ that provides markup based on technology and its performance risk."  Thank you for your comment.  We will consider making a change.

"J-8 ( c) - M&V > M&V requirements determined by Agency. Should be mutually. > Suggest making determination mutual"  ."  Thank you for your comment.  We will consider making a change.

"June 26, 2007 US Department of Energy RE: ESPC IDIQ Draft Request for Proposals (RFP) Solicitation DE-RP36-06GO96031 I am pleased to have the opportunity to submit comments on the Department of Energy’s ESPC IDIQ Draft Request for Proposals (RFP) as a member of the former Federal Energy Management Advisory Committee (FEMAC) and as the Chair of FEMAC’s ESPC/UESC Working Group. FEMAC’s charter expired on June 8, 2007; however, the committee’s ESPC Working Group, which was established in 2002, has focused on the recompete process since October 18, 2006. Because of the working group’s numerous meetings on the subject and the extensive review of the issues associated with a new contract, I believe the Department of Energy will benefit with the comments and recommendations resulting from the working group’s in depth discussions, which are listed below. Pre-Bid Input DOE is encouraged to solicit pre-bid input from industry and government, leaving ample time for inputs and reviews. Thank you for the comment.  We have issued several special notices in the DOE IIPS and FedBizOpps soliciting industry input.  Furthermore, DOE issued this DRFP to solicit industry and agency input.  You are encouraged to vigorously reach out to key agencies (such as GSA, VA, and DOD) in order to incorporate their inputs, needs, lessons learned, and to better enable those agencies to issue task orders off the DOE contract.  Thank you for your comment.  We have taken great effort to solicit input regarding the ESPC program and the recompete effort.  Additionally we have met with several agencies and federal organization including the VA, U.S. Navy, U.S. Air Force, U.S. Army, DESC, and Dept of Commerce to gain insight and input from their agency perspective,  It is recommended that DOE expand the Federal experience in financing strategies and include a Federal financial expert on the Source Evaluation Board. The membership of the SEB is confidential.  However, we can tell you that DOE has gone to great lengths to ensure that the SEB is represented by people with extensive and varied backgrounds who are capable of providing expert input and evaluation from  a business, technical, legal, and financial perspective.  Our comments and questions follow. Transition plans Previously, FEMAC asked for clarification on a plan for transition between the existing and future DOE Super ESPC contracts. Clarification on this and a smooth process between current and new contract vehicles is still needed. What happens during overlap in contracts? Also, there is no mention of what will happen to the Technolgy-Specific contracts, and therefore we would also recommend that clarification be provided as to whether these will remain in effect or if they will be replaced by the new Super ESPC. DOE has issued two special notices regarding the transition between the existing contract and future ESPC IDIQ contracts on the DOE IIPS and FedBizOpps.  Additionally, DOE has communicated this directly with the current DOE IDIQ contract holders.  The ordering period on all DOE ESPC contracts (Super ESPC and Tech Specific) were extended to March 31, 2008.  Unnecessary Contract Limitations Dollar limit. Is the $1B dollar limit per contract or contractor? If this is the award value (total payments vs. total investment), the dollar limit is a problem and could be extremely limiting over a 10-year contract. Would contractors that reach this limit within the first few years be disqualified from additional business regardless of how well they perform? Would this in turn enable contractors performing poorly to do as much work as the ones exhibiting exceptional performance once they cap out? Thank you for your comments and questions.  We will review the maximum ordering limit to ensure that it is sufficient to meet legislative and executive mandates and goals.  Number of contracts awarded. There is concern that the number of contracts expected to be issued (10) captures an inadequate percentage of the qualified bidder universe. The quantity of contracts to be awarded should be reevaluated to consider the prospect of future mergers and any additional changes that could over time reduce the total number of contracted entities. Thank you for your comment.  We will consider making a change.  DOE has some flexibility to award more or less than 10 if it deems appropriate and prudent.  Small and regional business opportunities (H.3A.1b, H3A.2b). FEMAC had recommended broad competition especially among small and regional businesses. These small or regional companies should not be disqualified or discouraged because they cannot perform work across the entire country. DOE did not address regional business opportunities and does not encourage use of small or regional businesses in incentives, evaluation factors, or under past performance considerations. It also does not address or reward participation in mentor/protégé programs. As current qualification guidelines might currently leave small and regional businesses at a disadvantage, it is recommended that DOE provide some incentive or reward for the integration of their services. For instance, the selected contractor might be encouraged to use small businesses for subcontracts, or greater emphasis could be established on their services within the selection criteria. Thank you for your comments regarding regional, small business and mentor protégé programs.  The DRFP does not discourage or disqualify any company that is on the DOE approved contractor list from submitting a proposal or from being awarded a master IDIQ contract.  Furthermore, DOE has consulted with the Small Business Administration (SBA) to ensure that the DRFP is consistent with SBA requirements.   Opportunities for new contractors to participate as ESPC providers. Provisions need to be added to allow for on-ramps and off-ramps in this long-term contract in order to provide opportunities for new contractors to enter the market downstream and to eliminate bad past performers when necessary. These should not only occur when the full IDIQ contract is recompeted. The Government always has the right to terminate a contract for bad performance.   Unfortunately, it is not realistic for DOE to create “on-ramps” to add new contractors as a master IDIQ holder for this procurement.  Contractors that are not DOE IDIQ contract holders are not prohibited from doing ESPCs or other types of energy and water conservation type projects at federal facilities.  Agencies currently have the choice of utilizing ESPC IDIQs administered by the DOE, Army, Air Force, GSA or by awarding a “stand-alone” ESPC contract that isn’t issued against an IDIQ type contract.  Streamlining the Transaction Process and ESCO Selection. In June 2006, FEMAC asked DOE to take steps to expedite the transaction process, specifically that it streamline and standardize the ESCO selection process at the task order level, as ESCOs are already going through a rigorous process to get pre-qualified and continuous delays drive up transaction costs. How will ESCOs be selected for contractor initiated projects? It is recommend that the contract state clearly that for contractor-initiated projects, agencies not be required to seek additional bids. Agency contracting officers have the flexibility to select contractors in accordance with scope of the IDIQ contract.  DOE-FEMP has issued an ESCO selection guide that agencies can use to assist them with the ESCO selection process.  This guidance is located on the EERE FEMP website.  Does DFAR allow selection based on qualifications? No.  It is further recommend that the contract require the contractor and the customer agency to agree at project initiation to an established schedule, with specific timelines and milestones for all parties. Nothing prohibits the agency or contractor from agreeing on a schedule or timeline.  Sustainability ESPCs can and should be used to incorporate sustainability into energy efficiency projects and meet Federal sustainability goals, but the DRFP does not address EO requirements for sustainable buildings. DOE should build off of the recent Executive Order (E.O.13423) requirements for High Performance Sustainable Buildings and include these responsibilities in the contract, where DOE addresses Environmental Protection and applicable laws and regulations. EO requirements for energy efficiency, water efficiency, renewables, and sustainable buildings are not addressed.  Thank you for your comment.  We will consider making a change.  Renewables FEMAC previously asked DOE to place greater attention on renewable projects. Although the DRFP mentions renewable technologies several times, it is unclear what effect this will have, if any. We recommend giving renewables special financial consideration over and above what is traditionally allowed. DOE could develop indexes for using renewables on estimated values associated with displacement of petroleum use and reduction of CO2 emissions and allow ESPC savings to include those values as savings. Due to the difficulty in financing Renewable Energy Projects solely based on savings from other ECMs, DOE should more strongly emphasize methods for blending incentives, REITS, tax exemptions, and others to alleviate cost. The RFP appears to be missing a few technologies, such as hydrokinetic, which is addressed as a renewable source in EO 13423. Also it doesn't address energy saving software for IT/computer hardware or metering technologies. Thank you for the comments.  We will consider making a change.  Measurement and Verification (M&V) FEMAC suggested that this contract establish appropriate M&V protocols and carefully balance the need for M&V with its associated costs. The new requirements seem more onerous for all, not tailored to specific risk or need. What is the intended result of the changes? The changes in the RFP may present more problems than the existing process. If government witnessing is a requirement, it should entail no additional costs or delays, and reasonable deadlines and time schedules to be honored should be applied. Reasonable timeframes and procedures for resolving conflicts and disputes need to be addressed in the contract and in individual task orders. It is recommended that a timetable for government response be included on task order. There is currently no such requirement (C.4.6D). Thank you for the comments.  We will consider making a change.  We strongly concur with the requirement to file M&V reports electronically with FEMP, so that they can provide oversight and mediation. Metering Stipulated savings for new meters. Studies are showing that meters generally do result in energy savings. We would support the inclusion of metering as an ECM where a FEMP-assigned value for savings could be stipulated. For example, the contract could allow 2 or 3% stipulated savings, but higher estimated savings would require further verification. Utility metering services. It is recommend that a paragraph be added to the contract to advise the ESCO to ask its customer agency whether a metering services contract with another party exists and if the agency wants any new metering to be installed under the task order or to be included in the existing metering services contract with the third party. If the agency wants all new metering under its existing metering services contract and the metering contractor is a private entity, it can enter into an agreement as a subcontractor to the ESCO. However, if current metering is covered by a regulated utility, most cannot or will not want to comply with the FAR clauses and contact terms the ESCO will have to flow down in a subcontractor relationship. In these situations, the ESCO should be exempted from entering into a subcontractor relationship if the metering is owned, operated, and maintained by a regulated utility. The cost of the metering should be included in the task order. The ESCO and regulated utility should be able to enter into an agreement that includes the scope and price of the work to be performed with the ESCO paying the utility following the installation of the meters. If the cost of the metering cannot be funded from the TO, then the agency will have to decide whether to fund the metering itself to stay with its metering contractor or have metering installed under the task order and effectively have two metering service providers. This is not a good situation. At a minimum, add direction in the contract to the ESCO to check with the agency to see if it already has a metering services provider. Government’s Future Data Requirements DOE’s Federal Energy Management Program (FEMP) needs to and is required to track essential data and cost elements of implemented ESPCs. There have been problems in the past over collection of required information on task orders and delivery orders in arrears. DOE needs to incorporate the data requirements that it will track in the contract and enforce collection procedures without undue administrative burdens. M&V data, executive summary of financial schedule, and ECM cost information should all be tracked and monitored by FEMP so that it readily has the ability and information to manage the program effectively and is prepared to be responsive to oversight agencies when requests are submitted.  Thank you for your comments.  Establishing Accountability In several passages, (C.6.3, C.7.3, C.8.3) the “may” language should be considered replaced with “shall” or “will” in order to more clearly establish accountability. For instance, the sentence “then the Government may give due consideration to the contractor for losses…” should more appropriately read, “then the government shall/will give due consideration to the contractor for losses...” Additionally, in section C.11, the agency alone should not make the determination, but rather it should be mutually agreed upon by the parties and should give due consideration to any financing then in place.  Remove words like "may" throughout the DRFP and in particular in the O&M phase. Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

Flexibility for Agency COs This RFP seems to provide less flexibility for the agency contracting officer (CO). The CO requirements seem too restrictive to enable negotiations between CO & ESCO on task order disputes and issues. Disputes could be handled by project facilitators if they were federal or DOE laboratory employees instead of semi-independent contractors. Thank you for your comments.  We disagree with the statements regarding disputes being handled by PFs.  DOE Laboratory employees are contractors as are the current PFs.  Even if the PFs were Federal employees, the PF position is not intended to issue legally binding dispute resolution decisions.  The PFs already work with the agencies and ESCOs to resolve issues throughout the entire project and for one year post delivery order award./ Project Facilitation and Project Support The RFP maintains the current status quo of using contracted project facilitators. The contracted out project facilitator services which are selected on a competitive basis should be eliminated. This system cannot possibly represent the best interests of the government. This should be an inherently governmental function or minimally be performed by Federal laboratory personnel who can also provide technical expertise and adequately represent the best interests of the government. Thank you for your comment.  Project facilitation is not within the scope of this acquisition.  Financing Flexibility in Selecting Financier. The RFP allows little flexibility in choosing a financier. We disagree with this statement.  The DRFP does not prohibit or discourage any financier that the ESCO selects.  The process of how a financier is selected should be expanded to allow flexibility to select the financier earlier in the process to account for such variables as size, complexity, and the inclusion of renewable energy. Such flexibility could be obtained by permitting the contractor to select a financier earlier through an approach that is similar to the existing criteria for selecting ESCOs. (H.3.b) By doing so, it allows, in some instances, for selections to be made based on qualifications, thereby allowing valuable financing input to be applied earlier in complex transactions. The RFP allows the ESCO flexibility to select a financier whenever it wants to.  Transparency to the Federal Government in financing. The contract should ensure transparent financing arrangements by requiring a minimum of three bids from financers and disclosure of all bids. The current DOE IDIQ (Super ESPC) and this DRFP require the contractor to use a competitive process to select a financier.   We concur with the requirement for the contractor to submit a certified memo describing the selection process and justifying financer selection. We also recommend that DOE expand the Federal expertise in financing strategies and considerations by including a Federal financial expert on the Source Evaluation Board.  Thank you.  This comment was addressed earlier.
Definitions, Attachment J-2 The following definitions should be added: Cogeneration – A definition is currently not included in the list of terms Thank you for the comment.  We will consider making a change.  Contracting Officer’s Representative (COR) - While it is stated that the “performance of the work under this contract shall be subject to the technical direction of the (COR)” (G.6), further clarification as to who these people are and what role they occupy is needed. Thank you for the comment.  We will consider making a change.   Project Facilitator (PF) – The role of Project Facilitator should be more defined Thank you for the comment.  We will consider making a change.   (H.4.1) Registered Engineer – This role is not properly identified, again, who are these people? Thank you for the comment.  We will consider making a change.   (C5.1A) Review of Price Proposals The manner in which price proposals are evaluated should be better defined under unifying guidelines that explain how to award TOs. In turn, such standards should promote consistency between the agencies. Thank you for the comment.  We will consider making a change.   Operation of ECMs The sentence within section (C.6.1) beginning “Regardless of who performs the operations” should be clarified as it currently seems to assign a disproportionate amount of risk to the ESCO."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"M.3.2 – Price Criteria > Refers to FAR 15.404 which states that agency should use its pricing methodology. This will create multiple process per agency reducing efficiency and adding time to processes > Recommend –Establish a single Pricing Methodology using the commercial pricing process in current IDIQ that provides markup based on technology and its performance risk."  Thank you for your comment.  We will consider making a change.

"NAESCO believes that setting the master contract at a one billion dollar limit against which all task orders will be written is unrealistically low and will not result in investment sufficient to achieve the multiple resource acquisition goals set forth in the Draft Proposal.  The master contract is set at a one billion dollar limit against which all task orders will be written with a minimum task order of $5,000. While one billion dollars may sound in aggregate like a sizeable commitment to the ESPC program, it actually translates to about $500-600 million in actual work to be implemented at federal facilities during the five year base period or about $100-120 million per year in direct investment to be allocated among all awardees. This is actually less than current investment levels and dramatically less than the accelerated investment levels that policy makers have stated they want to see invested in energy efficiency and renewable technologies at federal facilities. It is not clear to NAESCO why the one billion dollar limit was established when the Draft Request expands the range of goods and services being sought . The limit as currently set is unrealistic to achieve the multiple objectives set forth in the Draft Request. In order to achieve the $500 million per annum investment that has been suggested by DOE policy makers in public meetings as their objective, the base period master contract limit would need to be set at a minimum of $5 billion. Permitting a minimum task order of $5,000 appears to be a residual requirement from the original contract terms and no longer serves a purpose. The transaction costs for such a small task order would negate any real cost savings. 2"    Thank you for your comments.  We will consider making a change.

"Pages 158 and 176 in sections L and M, respectively, refer to TC-19 as future ECMs as part of attachment J-4. However, Attachment J-4 lists TC-19 as Appliance/Plug and Load Reductions and lists TC-20 as future ECMs. Please clarify."  Thank you for your comment.  We will correct this error.

"Recommend the DOE consider having an industry forum while considering comments to the DRFP, prior to release of the final RFP." Thank you for your comment.  DOE has been and continues to be very interested in the input from all sources.  DOE will plan an Industry forum.  DOE will also conduct a preproposal conference in conjunction with a site tour after the final RFP has been issued.  The preproposal conference will allow potential offerors the opportunity to provide additional questions and comments.

"Section 2. Operational - The ESCO cannot accept risk of weather conditions. Please clarify the governments intent here."  The contractor and agency will negotiate risk allocation, and it will be specified in the resulting TO.  However, payments to the contractor cannot exceed energy savings for that year.

"Sections C.6.1, C.6.3, C.7.3 and C.8.3 provide the government with the unilateral ability to declare itself free from responsibility for its actions with regard to operation of the energy conservation measures (ECMs) including instances where it had oversight of direct operations, preventive maintenance and repairs. This is patently one sided assignment of risk. The relevant language must be changed so that the parties are responsible only for the damages related to actions which are directly attributable to their respective agents. This is consistent with the existing contract language.
f) In the DOE IDIQ contract currently in effect, responsibility for O&M record keeping is assigned to the party providing O&M service. Section C.6.4 of the draft RFP states that the ESCO is responsible for record keeping regardless of whether or not it is performing the O&M service. We believe the existing provision should be retained which makes the party with access to the data responsible for record keeping."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Shared energy savings/incentives for contractors. ORNL opposes any “shared savings” incentive language in the DOE ESPC IDIQ. Our experience shows that M&V practice is more appropriately used to determine whether the guarantee was met than to support calculation of incentive payments. Shared-savings ESPCs preceded the present form of guaranteed-savings contracts and were phased out because contract administration and M&V consumed excessive resources and disputes were common. A huge share of guaranteed savings in federal ESPCs are now reported using Option A M&V, which bears out the preference for minimizing M&V cost and complexity."  Thanks for your comments.  We will take them under consideration as we refine the DRFP.

"Terminology for savings. We recommend that the terminology generally adopted in the ESPC community to refer to savings be adopted in the Draft RFP:
— Estimated savings are those calculated and recorded in the TO schedules by the contractor. — Guaranteed savings are those dollar amounts guaranteed to be delivered by the contractor to cover the agency’s payments for the project.
— Reported savings are those resulting from the activities and calculations required by the M&V plan and documented in the Annual M&V Report.
— Verified savings are those independently determined by additional inspections, calculations, recalculation of M&V Annual Report documentation, or other means."

Thanks for the recommended changes.  We will consider making the changes.

The cost of an energy savings performance contract (ESPC) TO project (hereafter referred to as TO project) must be covered by the reduced energy, water, and related cost savings incurred at the Federal facility. This language seems to prohibit the ability of an agency to buy-down a project with available funds at award or full project acceptance."   Thanks for the recommended changes.  We will consider making the changes.

"The DRFP makes mention of a "Subcontracting Alternative II," but gives no section with such a heading. Please clarify."  Thanks for the comment.  We will clarify.

"The DRFP mandates that the offeror's ORCA registration be updated within the past 12 months, but does not define whether the past 12 months is retro to the RFP issuance or proposal sumbission. Please clarify."    Thank you for the question.  The past 12 months refers to proposal submission.

"The imposition on the contractor of determining the sources, value and availability of financial, tax, and incentive options under C.12 is not itself unreasonable. However, the section repeatedly uses the term “responsibility of the contractor” without any definition of the legal reach of the term “responsibility”. We suggest that the term “responsibility” be replaced with the requirement that the contractor use all best efforts to assess the range of appropriate incentives available for the project and utilize as appropriate in establishing project costs and financing options. NAESCO also believes that specific language be included in the final draft clarifying that these incentives may be utilized in the financing of the project."  Thanks for the comments.   We will consider making the changes.   The value of the incentives will be identified in schedule TO-3

The invoicing process set forth in G.3 should be clarified so that contractors are notified within ten days of receipt of the invoice by the federal agency whether any part of the payment will be disputed, withheld, or delayed. The contractor will also be given the immediate opportunity to help cure the event which the agency has determined to be the source of the payment dispute or delay."  Thanks for the comment.   We will consider making the change.

"The preliminary assessment requirements under H.4.1 are too onerous and costly for the contractor. At a minimum, H.4.2.B. should be revised and requirements g-j should be deleted. There is subsequent opportunity under the IGA requirements set forth in (H.5) to address these additional concerns."   Thanks for the comment.   We will consider making the change.

"The requirement for the incorporation of an Investor Deal Summary and Standard Financing Offers in the form of a Selection Memorandum under H.7.3. states that the process may be subject to an audit by the agency. There is no indication of what types of data an audit would examine or the objectives of such an audit. If an audit is contemplated, additional information is required as to firmly circumscribe the reach of the auditors, the time frame for conducting such an audit, and the sanctions that could result. We are not sure of the intent behind this requirement and generally do not believe it is necessary. However, if the requirement remains in the final version of the RFP, additional clarifying language is necessary."  Thanks for the comment.   Audits that are requested by agencies vary in detail and requirements.  Such detail and requirements will come from the ordering agency, not this DRFP or IDIQ contract.

"These are additional recommendations: The draft states that regardless of who does Operations or Maintenance, the ESCO is responsible However, the draft changes the assurance that if they (the government) operate and maintain improperly, the government will be responsible (unacceptable ESCO risk). We recommend the following: - for ECMs that the government maintains themselves, the savings should be stipulated. If the government wants a guarantee, the ESCO must maintain the equipment. - If the government operates the equipment and causes equipment failure, they must repair or compensate the ESCO to repair (per current contract Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

Shorter Cycle Times - Remove the requirement for a preliminary proposal for any agency follow-on TO - Standardize on the savings calculation methodology for simple ECM's such as lighting. Water, motor replacement, HVAC scheduling. We continue to run into different agencies that require different methodology, and then they change it month after month. This is a huge bottleneck. Not all ECM's can have "canned savings methodologies", but the easy ones could. We further suggest automating the approval process for these, simpler ECMs"  Thanks for your comments.  We will consider making the changes.

"This document further explains the FPCC position on the ability to provide an "on ramp" for the SuperESPC contract WHITE PAPER REGARDING
SUPER ENERGY SAVINGS PERFORMANCE CONTRACTS (Super ESPC) This paper was prepared by Agnes P. Dover. Ms. Dover joined Hogan & Hartson as a partner in January 1997 after serving as the deputy general counsel for procurement and technology transfer at the U.S. Department of Energy. She has more than 25 years of experience working with government contractor clients. Her practice is concentrated on regulatory and contractual issues for clients in the energy, information technology, defense and biotechnology industries. EXECUTIVE SUMMARY Under the Super Energy Savings Performance Contract (ESPC) program, the Department of Energy conducted a competition to pre-qualify a number of contractors who then compete for individual task orders under the terms and conditions of the Super ESPC. DOE has announced that it is considering a competition to re-compete the existing Super ESPCs to allow changes to the master contract and to expand the universe of contractors participating in the program. Conducting a “full and open” competition of all contractors – both those who currently have Super ESPCs as well as new entrants – will likely result in a lengthy source selection process that duplicates the prior competitive process and significant disruption and delays in the program. This will slow critical efforts to revitalize the program after a temporary suspension in 2003 and will hamper the federal government’s efforts to reduce energy usage government-wide by putting the program back in flux. The quickest, most efficient way to expand the Super ESPC program would be to: 
· extend the ordering period of the existing Super ESPC contracts – which were already subjected to a rigorous competitive selection process;
· complete the current competition to allow DOE to select new, high quality companies to join the existing pool of Super ESPC contractors ; and
· update existing contract terms to reflect changes under the upcoming RFP, including a worldwide contract scope.
Thus, DOE would maintain the existing cadre of contractors, enabling it to seamlessly continue the program, while conducting a new selection process to add qualified companies to the program. DOE may undertake this strategy because the Energy Policy Act of 1992 gave the Department of Energy authority to enter into contracts for up to 25 years and to use more flexible procurement procedures for energy savings performance contracts. This plan would be consistent with the numerous examples of multiple award vehicles established by other agencies that provide “on-ramps” to expand the universe of participating contractors for IDIQ contracts such as the Super ESPCs. Of course, only contractors meeting the highest quality standards would be added to the program, ensuring the continued high caliber of the work carried out for participating government agencies. SUPER ENERGY SAVINGS PERFORMANCE CONTRACTS (Super ESPC) The Department of Energy (DOE) is considering a competition to re-compete the existing Super Energy Savings Performance Contracts (ESPC) to allow changes to the master contract and to expand the universe of contractors participating in the Super ESPC program. These are commendable goals. Preliminary indications are that DOE intends to achieve these goals by conducting a “full and open” competition of all contractors – both those who currently have Super ESPCs as well as new entrants. This path is likely to result in a disruption to the program and a lengthy source selection process that will slow critical efforts to revitalize the program after a temporary suspension in 2003. The quickest, most efficient way to achieve these goals without disrupting the existing program would be to extend the ordering period of the existing Super ESPC contracts – which were already subjected to a rigorous competitive selection process – while simultaneously incorporating best practices into the existing contract and allowing new, qualified contractors to compete to participate in the program. In this way, DOE can select high quality companies to join the existing pool of Super ESPC contractors.
Background Since its inception in 1992, the ESPC program has enabled the DOE to enter into uniquely long-term, flexible contractual arrangements for periods of up to twenty-five years. Under the Energy Policy Act of 1992 (EPACT), DOE is authorized to enter into contracts for up to 25 years and to establish its own procurement procedures, which may depart from the Federal Acquisition Regulations. P.L. 102-486, Sec. 155(b). / Using this authority, the Department published its own methods and procedures for the award and administration of energy savings performance contracts. 10 C.F.R. 436.30. Consistent with these authorities, in 1997 DOE established so-called “Super ESPCs” that provide a multiple award Indefinite Delivery Indefinite Quantity (IDIQ) umbrella contract under which agencies may place individual delivery orders. These contracts were competitively awarded and structured to allow orders to be placed based on region basis. 
Importantly, the Super ESPC vehicle does not guarantee that a contractor will receive orders because agencies must still go through a source selection process for individual orders. DOE has recognized the benefits of using Super ESPCs, characterizing the program as “practical and cost-effective,” and noting that it reduces contract cycle time from 2 to 3 years to 4 to 12 months. / DOE has announced that it anticipated undertaking a re-competition of the Super ESPCs. This White Paper addresses the planned re-competition and makes the case for why it is unnecessary to be conducted as a “full and open competition.” DOE is Not Required to Conduct a “Full and Open” Competitive Process for the Re-Compete of the Super ESPCs As indicated above, EPACT authorized DOE to use more streamlined and flexible procurement approaches for the energy savings performance program. / DOE’s procedures require DOE to maintain a list of qualified contractors and to update the list annually. However, there is nothing in the regulations that requires the use of a competitive process for the Super ESPC contracts that DOE has already established. So long as Super ESPC contractors are provided a fair opportunity to compete on delivery orders, the requirements of both the FAR and the DOE regulations are met. Moreover, there is nothing in the regulations that would preclude DOE from adding qualified contractors to an existing Super ESPC vehicle. In fact, there are numerous examples of multiple award vehicles established by other agencies that provide “on-ramps” to expand the universe of participating contractors and “off ramps” to remove those contractors who are no longer participating after initial establishment. Whether or not a specific “off ramp” is included in the contract, DOE can of course terminate a contractor for convenience or default under appropriate circumstances. The approach of allowing “rolling admission” stimulates competition and increases the government’s options for selecting upgraded technology. As a result, many agencies have utilized “on-ramps” for their IDIQ contracts. See J. Hiles, “Riding the Ramps of the Multiple-Award Freeway”, Contract Management, September 2006. For the Super ESPC program, DOE would of course have to determine the technical qualifications of new entrants, to ensure that only high caliber companies are included. In fact, DOE would be well-served by imposing the same rigorous technical and financial standards that it used to select the existing pool of Super ESPC contractors. Likewise, DOE would periodically examine contractor performance to determine if any poor-performing contractors should be terminated for default. The Super ESPC contract vehicle is a twenty-five year contract. Initially, DOE contemplated orders being placed until April, 2000. However, the contract has been amended and extended many times since it was first established. / Specifically, the ordering period has been extended three times – currently extending through March, 2008 – and a major re-write of the contract provisions was done on several occasions with the last being issued in 2005. This is consistent with other agencies’ administration of multiple award IDIQ vehicles, including the GSA Schedule, which periodically issue “refresh” versions of the basic contract terms and conditions. This flexibility comes by virtue of the IDIQ vehicle itself – under which contractors may select which task or delivery orders to compete for. Thus, DOE’s own past practice with respect to the Super ESPC confirms that it has the authority to amend and extend the contract. / Extending and Expanding the Existing Universe of Super ESPC Holders is in the Government’s Interest The significant value of the ESPC program for reducing the nation’s energy usage has been well recognized at the highest levels of the government. Last Spring, President Bush specifically encouraged government officials “to utilize ESPCs and Super ESPCs to meet their energy use reduction goals. These efforts will help conserve energy and create a better America for our children and grandchildren.” Assistant Secretary Karsner reinforced the urgent need for action, stating that “[m]aximizing energy efficiency and renewable energy is the domestic epicenter in the War on Terror and it is imperative that we maximize the partnerships between the public and private sectors in new and creative ways with a sense of seriousness, national purpose and the urgency the situation merits." See http://www1.eere.energy.gov/femp/financing/superespcs.html. The Administration’s imperative is well-timed to come soon after reauthorization of the ESPC program. Regrettably, the original authorization lapsed in 2003, leaving the program in a state of flux. As a result, the pace of new energy savings projects slowed and are only now beginning to return to pre-2003 levels. For example, the loss of ESPC authority had a dramatic effect on the Department of Defense’s energy reduction program, and was at least partially to blame for DoD’s department-wide increased energy use in FY 2004 as compared to the previous year. See Dept. of Defense, Annual Energy Management Report, Fiscal Year 2004, 2. Also, although authority was restored the following year, the loss of the authority in FY 2004 meant that many projects had to be restarted entirely due to changed market circumstances, causing disruption beyond the one year lapse in ESPC authority. See Dept. of Defense, Annual Energy Management Report, Fiscal Year 2005, 35. / A re-competition of the entire Super ESPC program will likely cause another slow-down in the pace of projects, undermining the urgency with which the Administration seeks to reinvigorate the program. It is therefore in the government’s interest to maintain the Super ESPC structure without disruption, while simultaneously adding new companies to the roster of those eligible to compete for projects under the Super ESPC Contract via the on-ramp process described previously.. Further, if DOE’s policy objective is indeed to expand the universe of contractors eligible to receive awards without jeopardizing the ability of agencies to continue placing orders, it is not in DOE’s interest to abandon the existing program and start all over from scratch. Instead, the most efficient option is to expand the existing contract vehicle. Inasmuch as the existing Super ESPC holders have already been qualified to compete after a thorough competitive process, it is in the government’s interest to focus on pre-qualifying additional contractors, not re-qualifying those who have already been selected. Significantly, agencies will be assured of competitive pricing because both the existing and newly added contractors will have to compete for individual orders under the Super ESPC vehicle. Existing DOE Super ESPC have Significant Ordering Capacity Remaining. Each regional Super ESPC has a maximum ordering capacity of $750 Million for a total of $4.5 Billion for all six DOE Super ESPC regions. According to the annual reporting data, less than $800 Million has been implemented under the Super ESPC program, leaving more than $3.7 Billion in ordering capacity. With such a significant amount of capacity remaining in the existing program, conducting another costly and resource intensive competition to both DOE and the existing contractors is not necessary or required. Recommendation:
A full re-competition would undoubtedly slow use of the Super ESPC vehicle as agencies delay awards pending the final outcome of the re-compete. It would also divert DOE resources from expanding opportunities for energy savings initiatives to re-examining the qualifications of companies that have already been selected and are currently performing important energy savings projects. Requiring the companies that are already qualified under a Super ESPC vehicle to compete again would create unnecessary duplication of effort and require significant investment dollars and additional resources for both the existing Super ESPC holders as well as for DOE. Therefore, it is in the interest of the ESPC program to administratively extend the ordering period for the Super ESPCs that are currently in place and to allow other, well-qualified companies to seek to be added to the existing umbrella contracts. Given the procurement flexibility available for administration of the program, DOE has the option to conduct an abbreviated competition or a streamlined qualification review to determine which additional companies can meet the requisite technical and financial standards that warrant being added to the program based on their qualifications. This would allow DOE to identify a select group of new, highly-qualified competitors to enter the market via an “on-ramp” without the need for another lengthy competition process for those contractors that have already met those standards. Thus, DOE would maintain the existing cadre of contractors, enabling it to seamlessly continue the program, while conducting a new selection process to add qualified companies to the program. DOE would thus target the competitive process to identify a limited universe of companies meeting the rigorous standards that the original Super ESPC holders met several years ago. To the extent that DOE wishes to revise the scope or amend the terms of the existing Super ESPC vehicle, DOE may do so – as it has done on previous occasions – by modifying the contracts that are in place. For example, if DOE wished to make the geographic reach of all of the Super ESPCs national instead of regional, it could amend the terms of the existing Super ESPCs, leaving companies free to determine for which delivery orders they would seek to submit proposals. Moreover, DOE is certainly free to establish new Super ESPC contracts if, for example, it wished to enable a vehicle reserved exclusively for a particular category of contractor, e.g. small or small disadvantaged business. Allowing a select group of additional companies to be added to the Super ESPC vehicle while not requiring the currently eligible companies to re-compete has the benefit of promoting competition for future ESPC projects without the added costs – both to current contractors and to the DOE – of conducting a full and open competition. Because DOE has the flexibility to do so, it should avoid the costs and delay associated with a re-competition by simply allowing new entrants to the existing program."  Thank you for your comments.

"We’ve reviewed the Energy Saving Performance Contracting (ESPC) Draft RFP and congratulate the Federal Energy Management Program (FEMP) Team on preparing an excellent document that incorporates a number of Program improvements. The cover letter asks for comments on incorporating “Shared Savings Incentives” to achieve greater energy cost reduction in Federal facilities. We support the incorporation of an incentive component in the ESPC Program because it will encourage the development of new business models that we believe will significantly increase energy saving at Federal facilities. Properly structured it will also enable the private sector to finance the installation of advanced metering systems (e.g., third-party, inside-the-fence, Metered Data Accusation, Management and Analysis Systems that capture both utility and sub-metered data) in Federal facilities, as required in the Energy Policy Act of 2005. We recommend that the Department of Energy (DoE) consider including a component in the ESPC Program (or create a new complimentary program) to provide contractors with the financial incentive to conduct a program that installs advanced metering in Federal facilities to identify and implement extensive energy operations and maintenance (O&M) improvements. Because similar business models are being used in the commercial sector, we are confident that Federal energy O&M cost savings will easily exceed the cost of achieving those results. However, it is virtually impossible to accurately predict how much energy will be saved in any given facility prior to implementing a project. We therefore recommend that DoE create a performance-based incentive program to secure these O&M savings. This program could work as follows: Shared Performance Contracting - Federal facilities would enter into a contractual agreement with a contractor to achieve O&M cost savings; the contractor would:
• Install advanced metering throughout the facility;
• Create a detailed energy demand and use baseline;
• Analyze metered data to determine the optimal range of possible O&M improvements;
• Assist the facility managers to implement sensible O&M improvements;
• Document the energy and cost savings using metered data as compared to the baseline. Payment Based on Performance – Contractual agreements would include a performance-based fee structure where the agency would:
• Pay the contractor a previously determined fee for each verifiable kWH and kW O&M cost reduction that is achieved, based on before and after analysis of metered data.
• Set the fee lower than the value of the kWH and kW reduction, enabling the agency to retain a portion of the savings.
• Structure the annual fee schedule so that the contractor provides continual O&M commissioning through on-site engineering presence. Performance Risk/Reward - The contractor assumes the full performance risk, but also enjoys the possibility of profitable reward:
• If, after metering and analysis, it is discovered there aren’t any O&M savings options available, the contractor is paid nothing for their effort.
• However, if reasonable options are identified and implemented, the contractor is paid according to the fee schedule in the contract, the amount of savings determined by analyzing the difference in measured data from before and after implementation.
• This type of performance-based arrangement encourages a contractor to find and implement as many cost reductions as possible since more reductions mean more contractor revenue; more reductions also mean the agency retains more funding, and ultimately taxpayers save money. In addition to enabling a way to secure O&M savings, an advanced metering platform could also help mitigate a concern some Federal energy managers have about ESPCs, e.g., an ESCO installed energy-efficient technologies, but the energy bill didn’t go down (or not as much as expected.) Of course this can occur because the savings were swamped by changes in facility use or additions to plug loads, etc. An advanced metering system would provide a way to immediately document the impact of any given retrofit, and then over time illustrate to decision makers the effects of changes in facility use or increased loads. This improvement in transparency could also lead contractors to offer firm performance guarantees, backed by liquidated damage insurance, for customers who don’t receive the results they were promised. Performance insurance is used widely in the private sector, and we’ve found it helps government customers be more confident about entering into new outsourcing arrangements. We believe incorporating shared savings incentives will tap the creativity of ESPC contractors to install more metering, do more analysis, enable the capture of O&M savings, lead to verifiable documentation of retrofit performance, and stimulate the use of performance guarantees to build more customer confidence. I hope you find these comments helpful."

Thank you for your comments.  We will consider making changes to the DRFP.

"While the draft RFP states that the use of renewable technologies in future ESPCs is highly desirable, there is a general lack of guidance as to how the cost impact of renewable technologies will be assessed and evaluated when considering the price reasonableness requirement among other requirements imposed on the contractor. The draft states a clear preference for contractors to integrate renewable technologies into the ESPCs to be implemented. While combining energy efficiency and renewable technologies into a single project drives down the payback of the renewable technologies by blending the paybacks of both technologies, it still does not mean that projects employing renewable technologies will price out at the same dollar investment as if there were no renewable technologies employed. There is no guidance about how renewable energy technologies are to be integrated into the project design given the cost factors. For example, there is a price reasonableness requirement which may in effect preclude the use of renewable technologies given the higher costs associated with these technologies. Since it is the stated objective of the RFP to accelerate the use of renewable technologies in future ESPC TOs, it would be very useful for DOE to provide guidance as to how renewable energy technologies should be evaluated from a price reasonableness perspective and whether the evaluation process by federal contracting officers will differ when renewable technologies are included in the project design."

Thank you for your comments.  We will consider the possibility of developing renewable energy guidance that you suggested.

Not Applicable Section

"Attachment J-2 Definition of Direct Costs. What is a "particular cost objective"?"  Direct costs are those [costs] that can be identified specifically with a particular final cost objective, i.e., a particular award, ESPC project, service, or other direct activity of an organization.  See FAR 31.202

Attachment J-2 Definition of Indirect Costs. Please clarify this definition, particularly as it relates to completion of Schedule TO-2"  Indirect costs (or overhead) in contrast with direct costs, are expenses that have been incurred for purposes common to all projects, but which cannot be identified and charged directly to each individual project without an inordinate amount of tracking and accounting. These expenses range from utilities, building maintenance and renovation to accounting, payroll.   See FAR 31.202 for more information regarding direct and indirect costs.

"Attachment J-2 Definition of Outstanding Capital Investment. Relevent? TO-5 has no column for Outstanding Capital Investment"  Thank you for your comment.  We will consider making the change.

"Attachment J-4 TC.20 Suggest deletion. Certain ECMs listed have been interpreted to be allowed under the existing contracts. Is it DOE’s intention to specifically prohibit these ECMs?"  DOE’s intent was to show that these ECMs are part of the envisioned scope of this contract so that if the ECMs become authorized through law, the contract would be modified to incorporate the ECMs.

"Attachment J-5 Item 2 refers to Draft IGA/Final Proposal. This appears to be the first reference to “Draft IGA”. Please clarify this requirement as it relates to H.5 and H.6. Suggest including flowchart to illustrate the entire process."  Thank you for your comment.  We will consider making the change.

"Attachment J-5 Post-Award Deliverables. Due date of bonds should be as indicated in H.8.2 A."  Thank you for your comment.  We will consider making the change.

"Attachment J-6, J-6.1.2 G. 1., 2., 3. Schedule TO-1 (Final) Columns (h) and (i) are not shown on Schedule TO-1 (Final)" Thank you for your comment.  J-6.1.2 will be revised to delete G.

"Attachment J-6, J-6.1.2 G. 2., 3. Whom does Agency report to?"  Thank you for your comment .  J-6.1.2 G is not applicable and will be deleted.

"Attachment J-6, J-6.1.6 Schedule TO-5 Annual Cancellation Ceiling Schedule. There is no Column (a) of Schedule TO-5, Outstanding Capital Investment"  Thank you for the comment.  We will correct the oversight.

"J-6.1.3 A. & B. Unclear-appears to require submission of two TO-2 Schedules? Please clarify intent.  Thank you for your comment.  We will consider a revision to clarify all items that apply to TO-2 schedule.

Section B

"B.1 - Maximum contract value, $1 billion incl. interest Not clear if mcv is for base period of 5 years or total performance period. > Converting to a project award value, shows this maximum results in approximately $400M in capital investment over a possible 11 year period, which equates to less than $40 M per year per awarded contractor. > In either case we recommend at least a mcv of $1 billion per year per contractor."  Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

"B.1 Maximum Contract value is stated at $1 billion in total contractor payments per awarded contract. This will only allow for $400 million in actual implementation work or less implemented per contract and is insufficient to address the energy infrastructure and conservation needs required of the federal government. Is this meant to cover the entire 11 year ordering period? If so, then it will restrict contractor awards to an average of less than $40M per year. A few large projects that include O&M services would result in a contractor that has quickly reached the cap, penalizing those that are swift, efficient, and capable of helping the Government meets its efficiency goals. We strongly suggest that the maximum contract value be increased to $5 billion in total contractor payments per awarded contract for the initial 5-year ordering period. Each of the 3-year extensions should be accompanied with increases in the cap to accommodate expected future program growth including larger project sizes and more streamlined awards, or a single value of $10 billion. We think this modification is important given the Government’s stated desire to produce more ESPC work, which is consistent with the most resent Executive order requiring a doubling of the progress made on federal facility energy usage reduction. B.2 The Government requires ESPC conservation services for all Federal facilities and seeks to obtain these services using this master IDIQ contract. While the Cover Letter indicates that there are no geographical boundaries, the draft RFP does not. Please clarify in the draft RFP that there are no geographical boundaries to the IDIQ contract." Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

"B.1 Restriction of contract amount to $1 B The FPCC has several questions about this limit: first, is $1 B the maximum contract amount for each contractor awarded? Is it the limit per year? Has the GO considered that the implementation amount is approximately half of the $1 B total when financing costs are factored in? Is this the limit for the base period with the intent to add as needed in the follow on periods? If $1 B is the maximum for all contractors under the Super ESPC and for the entire base and renewal periods, the FPCC believes it is inadequate given the potential 11-year ordering period and the desire to include renewable energy and O&M. Converting to a project award value, shows this maximum results in approximately $400M in capital investment over a possible 11 year period, which equates to less than $40 M per year per awarded contractor. Depending on the number of qualified contractors, this restriction could also substantially limit the government’s interest in increasing the total amount of ESPCs in the Federal government. The FPCC suggests increasing the Maximum Contract Value to $11 B (equivalent to $1 B per year) in order to increase size and quantity of projects and attractiveness of this contract to potential offers." Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

"Question: Sec B.1 - Please clarify what term of the proposed contract term the $1B applies. Does it apply to the first 5 year term or the entire potential 11 year term? In either case, the $1B maximum is too low when considering the actual project investment is typically less than 1/2 of the sum of the annual contract payments. Using this rule of thumb, the current limit would be less than $500 million. Recommendation: The recommended maximum contract limit should be raised to at least $3B if applied to the first 5 years of the contract term. It should be at least $6B if applied to the entire potential 11 year term."  The maximum contract value is for the entire potential 11 year term.  Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

"THE TOTAL MAXIMUM CONTRACT VALUE, defined as the sum of contractor payment streams associated with all TOs against each master IDIQ contract, shall not exceed $1,000,000,000.00 (one billion dollars). It is not in the Government's best interest to limit each IDIQ contract to $1.0 Billion. 1) As defined, this limits implementation investment to approximately $450 Million per contractor, which can be used up very quickly by just a few large projects. 2) When spread over a potential 11-year period, this results in little more than $40 Million average implementation investment per contractor annually without any operations and maintenance being factored in, an unattractive business prospect both for the ESCOs and the Government. 3) The DOE has been seeking larger and larger projects - this will make that goal more difficult to achieve, especially in light of the emphasis on renewable energy technologies. Recommend increasing limit on sum of contractor payment streams to $10 Billion per IDIQ contract." Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

"TOTAL MAXIMUM CONTRACT VALUE associated with all Task Orders against EACH master contract IDIQ shall not exceed one billion dollars. Are we correct to infer that this Max Contract Value applies to each singular IDIQ contract awardee - that is, each awardee's Max Contract Value is $1 Billion? Does the limit apply to the base period or base plus option years? If ten IDIQ contracts were awarded, would the collective Total Maximum Contract Value be $10 billion? If not, and the collective limit is $1 billion, the limit is too low to meet the Govt's goals considering that Contract Value include interest expense and the Gov’ts desire for Contractors to perform more renewable projects, O&M and R&R which adds to the length of the Performance Periods. We suggest increasing the limit to $100 billion (if collective), or $11 billion (if per awardee)." Thanks for your comment.  We will re-evaluate the maximum order value to ensure that it is adequate to meet all Executive Orders and legislative energy goals.

Section C

"1) Inspections and measurements conducted by the contractor for this post-installation report should be witnessed by the agency, in accordance with FEMP’s "Guide to Government Witnessing and Review of Post-Installation and Annual M&V Activities." Recommend changing "should be witnessed by the agency…" to, "shall be witnessed by the agency…" 2) The post-installation report should be reviewed as recommended in FEMP’s “Reviewing Performance Reports for Federal ESPC Projects,” and must be accepted in writing, by the agency. Recommend changing "post-installation report should be reviewed…" to, "post-installation report shall be reviewed…""  Thank you for the comments.  We will consider making the changes.

"1) The contractor shall prepare and submit a design and construction package to the Federal agency for review and approval prior to starting ECM installation in accordance with Attachment J-5, Sample Deliverables for Task Orders. The design and construction package shall be certified by a registered engineer to assure compliance with applicable building codes and Federal agency design standards. Requirement for a complete D&C Package prior to installation of ECMs would delay implementation of the more simple and straightforward ECMs that could be generating savings while complex design work is completed. It is DOE’s intent that agencies have the flexibility to allow phased implementation of ECMs for each TO   2) Acceptance of the design and construction package by the agency shall not relieve the contractor from responsibility for adequacy of its design and installation work. What is the standard for federal construction contract regulations?"  See C.5.2 for more information regarding standards for federal construction contract regulations.

"7.1 "The contractor shall be responsible for preventive maintenance of all installed ECMs." As written, this conflicts with J-8, 3.c. Preventive Maintenance: "Responsibility for maintenance is negotiable, and it can impact performance. Clarify how long-term preventive maintenance will be assured, especially if the party responsible for long-term performance is not responsible for maintenance (e.g., contractor provides maintenance checklist and reporting frequency). Clarify who is responsible for performing long-term preventive maintenance to maintain operational performance throughout the contract term. Clarify what will be done if inadequate preventive maintenance impacts performance." Recommend re-writing C.7.1 to reflect ability to negotiate responsibility. 7.3 If the agency materially fails to perform preventive maintenance per preventive maintenance work procedures and checklists, and the performance of the installed ECMs is adversely affected (including manufacturer equipment warranties), then the agency may give due consideration to the contractor for the losses directly attributable to that material failure. Revise to "If the Government materially fails to perform preventive maintenance…, then the Government will either (a) allow the Contractor to step in and perform the required maintenance in a manner such that the performance of the installed ECMs is restored to its specified level of performance to achieve sufficient savings to make the Government's scheduled payment and will compensate the Contractor at the Contractor's cost plus the applicable performance period markup for performing such required preventive maintenance' or (b) hold the Contractor harmless for insufficient savings resulting from the Government's failure to perform the required preventive maintenance."  Thank you for your comments.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"8.1 "The contractor shall be responsible for the repair of all installed ECMs." As written, this conflicts with J-8, 3.d. Equipment Repair and Replacement: "Responsibility for repair and replacement of contractor-installed equipment is negotiable, however it is often tied to project performance. Clarify who is responsible for performing replacement of failed components or equipment throughout the term of the contract. Specifically address potential impacts on performance due to equipment failure. Specify expected equipment life and warranties for all installed equipment. Discuss replacement responsibility when equipment life is shorter than the term of the contract." Recommend re-writing C.8.1 to reflect ability to negotiate responsibility. 8.3.A If the agency assumes the performance of ECM repair work, and equipment failure or damage is a direct result of the agency’s material failure to perform repairs, the agency may provide due consideration to the contractor for the losses directly attributable to that material failure. Revise to "If the Government materially fails to repair an ECM…, then the Government will either (a) allow the Contractor to step in and perform the required repairs in a manner such that the performance of the installed ECMs is restored to its specified level of performance to achieve sufficient savings to make the Government's scheduled payment and will compensate the Contractor at the Contractor's cost plus the applicable performance period markup for performing such required repairs, or (b) hold the Contractor harmless for insufficient savings resulting from the Government's failure to perform the required repairs."  We are considering adjusting J-8.3.b to be in alignment with C.6.1.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Any escrow account…..shall be in accord with Federal fiscal law Is the escrow to be owned by the Government? Where are such guidelines?" Thank you for your comment.  We will consider making a change.

"Assumption of Operations by Government It seems the insurance issues are unresolved if Govt. operates contractor owned equipment."  Thanks for the comment.

"Comment: C.1.1 The cost of an energy savings performance contract (ESPC) TO project (hereafter referred to as TO project) must be covered by the reduced energy, water, and related cost savings incurred at the Federal facility. This statement could be interpreted as to not allow buy-down funds at award or acceptance. Additionally, theres is no direct mention of the allowability of Renewable Energy in this section. In the definitions attachment defining "Energy Conservation Measures", there is specific reference to allowability of Renewable Energy technologies. Recommendation: Suggest the addition of specific language in this section for: 1) the allowability of using "buy-down" funds, 2) the allowability of renewable energy technologies and 3) combining appropriated funds to leverage funding and optimize project scope as allowed by E.O. 13423."  Thanks for the recommendation.  We will consider changing the language.

"Comment: C.4.2 - Investment grade audit (IGA) – An investment grade audit typically requires an in depth description of existing facilities, including building construction history and details that have little relevance to facility energy and water use. This information normally is not included in a Detailed Energy Survey unless the building components are affected by the proposed ECMs. An easy comparison is to that IGAs are typically engineering studies while a DES is detailed energy engineering analysis, combined with specific work requirements to install recommended ECMs. Replacing the current DES with an IGA requirement may significantly increase ESPC project development time and associated development costs. Also, keeping the DES terminology would avoid agency expectation that a change in terminology represents a broadening of scope the activity we currently call a DES. Recommendation: Suggest DOE revert back to the DES nomenclature and the associated definition for DES. Keeping the DES terminology would avoid agency expectation that a change in terminology represents a broadening of scope the activity we currently call a DES."  Thanks for the suggestion; the terminology was changed to address weaknesses experienced during previous projects at multiple agencies.

"Comment: Sec C.12.1 - C.12.5 - EERE requirements. In each of these sections, there is a requirement for the "contractor assessment" of potential EERE incentives, emission credits, etc. Recognizing that incentives, emission credits, etc. may not be available in certain regions of the country, this requirement may create an unreasonable expectation for the contractor to perform an "assessment" where items may not warrant such an assessment. Additionally, these sections also create an expectation for the contractor to assume the risk for the long-term availability and applicability of these incentives, emissions credits,etc. Recommendation: Suggest the addition of new language: 1) "if incentives are available in location or where applicable" and 2) "long term benefit of these incentives shall be discussed and negotiated by contractor and government for each project"."   Thanks for the comments.  We will consider making the changes.

"Comment: Sec. C.2 - The list of ECMs has been moved to an attachment (Attachment 4) and "Technology Categories" has been added. There is no ECM/TC for Proposal Development Energy Surveys as allowed in the current contract. Recommendation: Please clarify where the PA/IP and IGA/DES development survey costs can be recovered in the project without a specific ECM/TC."   The project development costs (PA  and IGA) will be listed on Schedule TO-2.

"Comment: Sec. C.4.2 - "Each building and/or space within that building that will be affected should be identified, and buildings or portions of buildings that will not be affected should be identified." Most ECMs are “system related” and as such current ESPC practice establishes that information about non affected spaces or buildings is not identified. This new requirement will add development time and expense to the overall project. Recommendation: Suggest removing language stating "and buildings and/or portions of buildings that will not be affected should be identified."" .   Thanks for the recommendation.   We will consider making the change.

"Comment: Sec. C.4.6.C, D – These sections no longer refer to the duration of government review of the M&V reports. The proposed contract should limit government review to 30 calendar days. Recommendation: Suggest adding time deadline for Government review of M&V report or include language specifying "Time schedule for Government acceptance of the post installation M&V report and the annual M&V reports must be specified in the TO"."  Thanks for the comment.   We will consider making the change.

"Comment: Sec. C.4.6.C, D – These sections no longer require the identification of "The maximum duration of the contractor's submittal of and the Government review of the Report shall be specified in the DO RFP", as required in the current contract (Sec. C.4.2 c & d). Our experience has shown it is important for the Government to accept a time deadling to insure review and corresponding acceptance of the M&V reports occur and then subsequent payments can be made. Recommendation: Recommendation is the proposed contract should limit government review to 30 calendar days. Suggest adding time deadline for Government review of M&V report or revert to the language in the current contract."  Thanks for the comment.   We will consider making the change.

"Comment: Sec.C.5.4 - ECM Commissioning insinuates there will be Commission Report format provided in this contract and it will be presented in "Attachment TBD". Recommendation: We request to see and to comment on the proposed attachment before inclusion in the contract."  We will take your request under advisement.

"Comment: Sec.C.6.1 - "Regardless of who performs the operations, the contractor shall be responsible for the operations of all installed ECMs." This sentence could be misinterpreted because of the current wording. Recommendation: Suggest DOE change language to "Regardless of who performs the operations of the ECMs, the contractor shall be reponsible for insuring the operations are performed as necessary to achieve the savings."" ." Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Comment: Sec.C.7.3 - similar to our comment on Sec.C.6.3, Recommendation: Suggest changing the word "may" to "shall" in the last sentence. Also, to insure a clear understanding between Sec. 7.1 and Sec. 7.3, suggest DOE add at the end of the last sentence "and the Government will be responsible for any savings losses attributed to this failure."" ." Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Comment: Sec.C.8.3.A. - similar to our comment on Sec.C.6.3 and Sec.C.7.3 Recommendation: Suggest changing the word "may" to "shall" in the last sentence. Also, to insure a clear understanding of savings responsibility suggest DOE add at the end of the last sentence "and the Government will be responsible for any savings losses attributed to this failure."" ." Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.1 The cost of an energy savings performance contract (ESPC) TO project (hereafter referred to as TO project) must be covered by the reduced energy, water, and related cost savings incurred at the Federal facility. Please change language to: The cost of an energy savings performance contract (ESPC) TO project (hereafter referred to as TO project) must be covered by the reduced energy, water, and related cost savings incurred or expected to be incurred at the Federal facility.   Thanks for the recommendation.  We will consider changing the language.

C.1.1. Is the intent to limit verification and documentation of savings (M&V) to only annual reporting or to no longer intervals than annual? Suggest it is made annual only. Thanks for the comments.  At a minimum, the law requires annual M&V.

C.1.2. Language is vague to geographic location while Cover Letter states no geographic boundary. Clarify section to be more specific to actual geographic boundary of contract. Thank you for the comment.  We will consider making a change.

C.10.1 "Prior to acceptance of TO" is vague deadline Please change to say "at Training Class" to be consistent with Att J-5 Thank you for your comment.  We are considering clarifying language to address your comment.

C.11 This paragraph allows the agency to solely determine the savings impact of their subsequent "projects". Contractor requires some input or redress. Modify contract to allow for equitable determination of impact with input of both Government and ESCO. Thanks for the comment.   We will consider making the change.

C.11 ESCO cannot be expected to assume the risk of Government changes in operations; an equitable adjustment to the baseline should always be an available solution (as per previous contract), not just one of several choices Change wording so that if a baseline adjustment is needed, then an equitable adjustment through a contract modification is automatically triggered. Thanks for the comment.   We will consider making the change.

C.12 The language directing the contractor to evaluate all tax and financial incentives is onerous. The contractor shall pursue the availability and value of said incentives only to the extent that the Government will allow the contractor to apply these incentives to the project and utilize the financial instruments necessary to take advantage of the benefits. Allow agency and contractor to work together to evaluate and acquire incentives where applicable. Thanks for the comment.   We will consider making the change.

C.13 This is a change from the present DOE IDIQs in that it appears that the government is now going to charge the Contractor for the use of water and electricity while performing the Work. How will the amount and cost of this be established in the proposal phase? How will this cost be transacted with the Government? Recommend that these utilities remain free of charge as is currently in the existing IDIQ. Thanks for the comment.   We will consider making the change to clarify.

C.14 It is typical to state that contractors must furnish only new equipment and materials unless otherwise approved. Please clarify intent. Thanks for the comment.   We agree that the use of  new equipment and material is the norm.

C.14 Industrial grade equipment may be more than is required especially in a commercial environment. Allow for commercial grade equipment where applications are not in an industrial environment Thanks for the comment.   We will consider making the change.

C.17 It is not common practice to inventory all equipment to be removed or demolished. Please remove this reference.  Thanks for the comment.   We will consider making the change.

C.18 Burdening the cost of projects with significant hazardous waste abatement costs may prohibit the implementation of energy efficiency projects. Allow for the government to accomplish hazardous waste abatement through separate contracts where they may already be in place or it is more cost effective. Thanks for the comment.   We will consider making the change.

C.19 Waste removal should be a direct project cost, not performed by the contractor "at its expense". This implies that it is not a recoverable direct cost. Waste removal should be considered a direct project cost. Thanks for the comment.   We will consider making the change.

C.2.1 From the text "and reduce energy- related O&M Costs." This is likely restrictive, as many projects may increase O&M costs while reducing the total overall cost to the Government. Allow for increase in O&M costs, especially where the contractor is assuming O&M responsibility from the Government. Thanks for the comment.   We will consider making the change.

C.21.3 This should read Contractor is responsible for coordinating access but the Agency is responsible for allowing access. Please make requested clarification. Thanks for the comment.   We will consider making the change.

C.3 Says occupants must have ability to override HVAC and lighting controls. Do that mean the tenants in each cubicle or the EMCS operator or something in between? Without input from the contractor this leaves the contractor open for significant risk of not attaining savings at the Government's discretion. Please define occupants. Also, language must be modified to allow for protection of the contractor from loss of savings should the Government choose to completely override intent of the improvements for convenience. By “occupants” we mean the agency.  Thanks for the recommendation.  We will consider making the change.

C.4.2 Is this section meant to say that the analysis must be in the areas that are effected and the areas that are not? IGA should focus only on the areas where Contractor is implementing projects. A full audit of all facilities and equipment that have no impact on the project is costly and places undue risk of significant development costs on the Contractor with no compensation.  No, the intent is to identify, not analyze, the areas not affected.

C.4.5.B There are numerous references to "actual savings" (e.g., C.4.5.B). The term "actual savings" is not defined in the document. Change references to "actual savings" to "verified savings" and define "verified savings" in Attachment J-2 as "Energy and cost savings determined in accordance with the TO M&V Plan." Thanks for the comment.   We will consider making the change.

C.4.6 The witnessing requirements during development, construction, and performance periods could cause delays in awards, acceptances, and annual payments, respectively Make witnessing optional and put a time limit on waiting for witness to be assigned and to show up. Thanks for the comment.  It is DOE’s expectation that agencies will perform witnessing activities in accordance with the DOE_FEMP Guide to Commissioning located on the DOE-FEMP website.

C.4.6.B States Agency SHOULD review annual M&V reports and accept in writing. Not clear is MUST be accepted in writing like it state for Post-installation M&V Report but expect that is the intent. Clarify whether annual M&V report must be accepted in writing.  Thanks for the comment.  It is DOE’s expectation that agencies will perform witnessing activities in accordance with the DOE_FEMP Guide to Commissioning located on the DOE-FEMP website.

C.4.6.C The post-installation report should be reviewed as recommended in FEMP’s “Reviewing Performance Reports for Federal ESPC Projects,” and must be accepted in writing, by the agency. What happens if the project is not accepted in writing by the agency in a reasonable time or at all. Failure to accept the report can not be used as a tool to withhold payment from the contractor. Should include language that after 45 days the post-installation, M&V and Cx reports become accepted by default. Thanks for the comment.   We will consider making the change.

C.5.1 The Design and Construction Package should only be required for ECM's that need further design after IGA & Final Proposal is submitted (many do not) Clarify that these requirements only apply to ECM's that require further design development after award. No, it is our intent that all ECMs should be addressed in the design and construction package.

C.5.1.A The text requires that "The design and construction package shall be certified by a registered engineer to assure compliance". This is probably overkill and the package could be certified by the Contractor. Lighting and water measures, for example, are typically not certified by a registered engineer. .  Thanks for the comment.   We will consider making the change.

C.5.1.C.6 The Acquisition of Permits section requires the contractor to obtain the permits. The section should be modified to allow the owner to obtain permits as applicable. Thanks for the comment.   We will consider making the change.

C.5.1.C.1 The Design & Construction package requires mfg data and details for all ECM equipment. In a design/build environment, it is unreasonable to have designed and selected every piece of equipment and material at the stage this package would be submitted. Replace "all" with "all major". This will not dilute the intent. Thanks for the comment.   We will consider making the change.

C.5.1.D Both preliminary and final review should not be required. One review should be enough, second review should only be needed if major changes are made Change to additional reviews as needed Thanks for the comment.   We will consider making the change.

C.5.1.B This says bonds are not required at contract award but later after design approval. Please confirm. Bonding requirements will be specified in each TO.

C.5.1.C Not all ECM’s (like lighting and water) have drawings, but line-by-line accounting of implementation. To provide for them would not be cost effective. Change to provide drawings as needed. Thanks for the comment.   We will consider making the change.

C.5.2.A We have committed to compliance with NFPA 70E, regulating safety when working on live electric circuits. The code should be explicitly mentioned here and its application to power measurements noted. Insert after NEC, "NFPA 70E, including but not limited to its application to electric energy metering" Thanks for the comment.   We will consider making the change to specifically include NFPA 70E also.

C.5.2.A Regarding AIA Masterspec. Is it being required to use the divisions structure and the organization of individual sections, or to provide full book specs for each projects which will likely increase design costs Eliminate this line or modify it to allow for abbreviated specs using the Masterspec format. Thanks for the comment.   Requirements will be incorporated within each TO.

C.5.4 Last part of sentence in opening paragraph reads "in accordance with Attachment TBD" Strike this reference unless the attachment (J-12) can be developed in time to be incorporated with this update. Thanks for the comment.   We will consider making the change.

C.5.5.C The document states "The contractor shall prepare at its expense all documentation necessary to acquire permits." The section should be modified to allow the owner to obtain permits as applicable. Thanks for the comment.   We will consider making the change.

C.5.5.B Proposed language on Indemnification and fines put increased risk on contractor and will increase project costs. This language needs to be modified to be more equitable to the Contractor. Thanks for the comment.   We will consider making the change.

C.5.5.C This paragraph requires all permits be issued before NTP. Some permits can (and probably should) be filed nearer to acceptance. State Operating permits (air quality) are an example. Qualify this requirement by adding "in accordance with filing requirements of the regulating agencies". Thanks for the comment.   We will consider making the change.

C.5.5.C Language could be interpreted to mean that the cost of preparing documentation is not recoverable as a direct project cost. State that as part of the performance of the project, the responsibility of preparing said documentation is the responsibility of the contractor. Thanks for the comment.   We will consider making the change.

C.5.7 The term "as-built drawings" is out of favor with insurance companies and design consultants. Change "as-built" to "record". Thanks for the comment.   We will consider making the change.

C.5.7 As-Built Drawings: state as-builts required after completion of installation and Gov't acceptance. Conflicts with Att J-5 Deliverables that says as-builts required before Gov't acceptance. Change Att J-5 to reflect as-builts due 60-90 days after acceptance by gov't so as not to delay final acceptance for as-builts. Thanks for the comment.   We will consider making the change.

C.6.1 This section explicitly assigns operations responsibility to the contractor and requires that we document instances of improper operation in order to request relief for resultant damage. We can delegate tasks to agency but must provide M&P's and training or they are not accountable. This is obviously intended to transfer operations risk to us. It isn't all new (we do some M&P's and training now) but it's going to take a whole new level of effort to comply completely. Try for deletion at least where the ECM equipment is essentially a replacement. Thanks for the comment.   We will consider making the change.

C.6.1, 7.1, and 8.1 On past projects, language has been altered to read "contractor shall be ultimately responsible" to acknowledge government/contractor roles and risk sharing Add the word "ultimately".   Thanks for the comment.  We will consider making the change.

C.6.1 & C.8.1 Contractor should not be responsible for negligent acts or omissions by the government in the operation or maintenance of the equipment. Government should claim responsibility for their negligent acts or omissions if they are performing the O&M.   Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

C.6.3, 7.3 and 8.3 If the government fails to operate the equipment in accordance with the Contractor's instruction and the equipment is adversely affected, the government should take into consideration any losses that result to that failure. Request removal of the words "materially" and "material" from last line and change the words "may give due consideration" to "shall give consideration".   Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

C.6.4 States contractor should maintain adequate and necessary record for repair and replacement to support M&V reporting. Does not state same requirement for Gov't if they retain R&R responsibility. Add clarification that Gov't maintain adequate records and provide to ESCO for M&V reporting purposes.   We are considering adding clarifying language to address Government responsibility for keeping accurate maintenance records

C.6.4 Should not mention R&R in a section that deals only with Operations Delete "date repair and/or replacement implemented" Thanks for the comment.  We will consider making the change.

C.8.2 This appears to be limited to what was installed but it is not clear. For example if there are controls put on an existing chiller the failure of the chiller should not be ESCO responsibility. (unless caused by the controls) Please clarify scope limitations. Thanks for the comment.  We will consider making a change to clarify.

C.8.4 Talks about excess savings above guarantee being retained for escrow if agency desires. But what about a planned escrow account where payments are included in schedule TO-3 service phase. Is this allowed? Clarify IDIQ language to allow escrow account to be funded with payment included in TO-3 ESCO payments for service phase. How would the account "accumulate" - is it through extra payments? No mod required each time? Please define "excess"  Thank you for your comment.  We are considering clarifying language to address your comment.  “Excess” is anything that is more than the guaranteed savings.

C.9.3 The text does not provide any protection if the government causes harm through its actions. Modify to provide protection of the Contractor from harm through Government's actions.   Thank you for your comment.  Where the contractor fails to respond as required in the TO and the agency is required to perform emergency repairs, the contractor bears the risk for failure to perform its responsibilities under the TO.

C.1.1 Should include some language to say the task is the lowering of the combination of energy, water and O&M costs. This can be read as O&M must go down. Examples are that most renewables like wind turbines/PV and also items like cogen/steam turbines will increase the cost of O&M (regardless of who pay during the term, the government will pay after term) Please clarify."  Thanks for the recommendation.  We will consider clarifying the language.

"C.11 Government Projects This language has the potential to makes the ESCO responsible for savings shortfalls as a result of follow-on projects implemented by the Agency. . The FPCC strongly recommends the language be changed to reflect government responsibility in the case of an Agency project(s) that is installed after an ESPC and has the potential to negatively impact the savings stream of an ESPC. The Agency should be responsible for adjusting the savings as mutually agreed to by both parties."  Thanks for the comment.   We will consider making the change.

C.12 States that Contractor is responsible for determining source, value, and availability of any applicable financial and tax incentives. Not all Agencies are willing and able to structure a TO to take advantage of incentives. Suggest re-wording as follows: Contractor and Agency shall collaborate to determine source, value, and availability of any applicable financial and tax incentives."  Thanks for the comment.   We will consider making the change.

"C.12.1, 2,3,4 States that contractor's assessment should account for Agency's administrative costs. Contractors cannot determine Agency's costs. Suggest deleting this requirement."  Thanks for the comment.   We will consider making the change.

"C.12.1,2,3,4 EERE Financial incentives The Agency and the ESCO should jointly agree on how incentives will be applied and work together to acquire incentives where applicable. The FPCC suggests that the ESCO should not be responsible for a comprehensive assessment of financial incentives but should be required only to perform evaluations as appropriate. We are concerned about what the requirement is for “comprehensive analysis”, especially in light of the quickly changing nature of the incentive market and the resources necessary to do a comprehensive analysis in various regions and states. The agency must understand that there are administrative costs associated with these tasks. Fees could be paid from sale of REC related to the project; however, an ESCO cannot guarantee future availability and value of credits. The government and the ESCO should work together to make necessary adjustments if there are changes in the renewable energy incentive market, that impact ESPC project financials. The government must accept the risk of satisfying annual renewable goals when associated with REC trading and valuation."  Thanks for the comment.   We will consider making the change.

"C.12.2 – This discussion of emissions credits should be broadened to include future Federal programs such as carbon cap and trade.   Thanks for the comment.   We will consider making the change.

C.15.5 – To whom is proof of citizenship to be furnished?  The agency will coordinate with the contractor and specify to whom the contractor shall submit.

C.16 – Replace “blow torch” with “gas cutting”.  Thanks for the comment.   We will consider making the change.

C.17 – Add the following statement; “During detailed design, both the contractor and the agency will identify the material and equipment that is to be stored.  Thanks for the comment.   We will consider making the change.

C.18.1 – Instead of “hazardous-containing material,” should be either “hazardous material” or “hazard-containing material.”  Thanks for the comment.   We will consider making the change.

C.19 – Suggest requiring the contractor to routinely remove debris (i.e. … resulting from the work shall be routinely removed from agency property ….). Thanks for the comment.   We will consider making the change.

C.19 – Should be “… removed from agency property and properly disposed of by the contractor …”  Thanks for the comment.   We will consider making the change.

C.22 – Specify to whom the monthly work schedule will be submitted."  Thanks for the comment.   We will consider making the change.  However, the agency will let the contractor know to whom the schedule will be submitted.

"C.13 The Agency will furnish utilities…at a cost mutually agreed to… Implies that Contractor will reimburse the Agency for the cost of utilities consumed. If this is the intent, why the change from the existing IDIQs, and what will be the mechanics of reimbursement? This would be needlessly complex. Recommend that Agencies bear the cost for simplicity." Thanks for the comment.   We will consider making the change.

"C.14 - Please define "industrial grade"."   Thanks for the comment.   We will consider adding a definition for “industrial grade”.

"C.14 States materials and supplies shall be industrial grade. Industrial grade materials and supplies are not always required. Commercial grade often acceptable. Suggest deletion of requirement for industrial grade."  ." Thanks for the comment.   We will consider making the change.

"C.17 Contradictory language in paragraph. Suggest adding ""and designated as surplus by the Agency" in last sentence between "stored" and "and""  ." Thanks for the comment.   We will consider making the change.

"C.18.1 States that Contractor should include the cost of removal of any known hazardous-containing material. Suggest appending "unless the Agency accepts responsibility for removal."" ." Thanks for the comment.   We will consider making the change.

"C.1.1 – Suggest changing the last words in this section, “verified and documented annually,” to “documented and reported annually.”" ." Thanks for the comment.   We will consider making the change.

"C.1.1 General Requirements The language that requires the cost of an ESPC must be covered by the reduced energy, water and related cost savings incurred at the Federal facility is counter to the recent Executive Order, DOE directive and legislative language including renewable energy in ESPCs. However, the FPCC acknowledges that in the definitions attachment there is the inclusion of renewable energy in the definition of “Energy Conservation Measure”. We would suggest that renewable energy also be added to the General Requirements to ensure there is no potential for differing interpretations about the allow ability of renewable energy. Additionally, the current language appears to bar the Executive Order and legislative language permissibility on using appropriated dollars to buy down an ESPC." The intent of this paragraph is not to specifically prohibit or allow anything, and the requirement that the cost of an ESPC be covered by reduced energy, water, and related cost savings, is a statutory requirement.  With respect to use of appropriated funds in ESPCs, see the DOE-FEMP Guidelines Regarding One-Time Payments and One-Time Savings in Energy Savings Performance Contracts.

"C.3 - This will have a negative impact on savings. These types of overrides will need to be monitored." Thanks for the comment.

"C.4.1 – Suggest replacing the words “risk allocation” with “risk and responsibility allocations.”  Thanks for the comment.   We will consider making the change.

C.4.2 and in general – The words “shall” and “should” have specific meanings in contract language. The draft seems to use “should” in places where “shall” seems more appropriate. See for example Para. C.4.2.  Thanks for the comment.   We will consider making the change.

C.4.2 – In the second sentence, change the word “verified” to “evaluated.”  Thanks for the recommendation.   We will consider making the change however; at this point we disagree with your comment.

C.4.5.B – Suggest changes to prevent confusion and be consistent with the previous sentence. Change the passage, “Where feasible, adjustments to the calculation methodology for savings are to be preferred over changes to the baseline. Such adjustments make it easier to present the “actual” savings.” -- to read as follows: “Where feasible, modifications to the calculation methodology for savings are to be preferred over adjustments to the baseline. Modifications of calculation methods make it easier to present the reported savings.” [Emphases added.]  Thanks for the comment.   We will consider making the change.  
C.4.5, Item D – Seems to be weak in terms of the expected outcome of the annual M&V inspection. Suggest changing to the following: “Conduct annual M&V activities to verify operation of the installed equipment/systems, calculate the last year’s energy savings, and compare reported and guaranteed savings.” Thanks for the comment.   We will consider making the change.  
C.4.6, Items B, C & D – These items state the ordering installation “should review” or “should witness.” Why does it not require the ordering installation to review or to witness (via “shall witness” or “shall review”)?"    Thanks for the questions.   It is DOE’s expectation that agencies will perform witnessing activities in accordance with the DOE_FEMP Guide to Commissioning located on the DOE-FEMP website.   Some flexibility must be maintained due to resource and cost considerations.

"C.4.2 - Recommended Text: The TO (contract), in conjunction with the Annual Reconciliation Report, is the primary vehicle through which the agency and the contractor shall understand and periodically evaluate the performance expectations for the TO. Also Recommend collapsing or reducing the document; get rid of the duplicity or repetition."  Thanks for the recommendation.

"C.4.2 - "buildings or portions of buildings that will not be affected should be identified"....this requirement substantially increases cost and added ESCO responsibility. Comment: Only the buildings and/or spaces within a building that will be affected should be identified by the ESCO." Thanks for the recommendation.   We will consider making the change.

"c.4.3 - "the first step in developing and M&V Plan - determining what needs to be measusred and verified will be accomplished throught the complention of the risk/responsibililty matrix as part of the PA…." Comment: When the PA is developed there is insufficient information to develop a site-specific M&V plan. This can only be done once ECMs are determined and data collected to assess current consumption levels" We agree.  The PA doesn’t require a site specific M&V plan.  The PA requires a general description of the M&V plan.

"C.4.3 – > Section states that Risk and responsibility matrix will be completed for PA. There would not be enough information gathered or facts determined during the PA to provide to complete the matrix in detail. > Recommend – Providing options to abbreviate RR matrix in PA phase, or allowing for not applicable or TBD comments as answers until information can be solidified. Maybe a separate RR matrix form marked (PA). Thanks for the comment.   We will consider making the change.

C.6.1 - Contractor responsible for equipment operations > Can not be responsible if govt or other entity operates > Recommend -- deleting last sentence C.6.3 - If govt fails to operate … govt may give due consideration to contractor for losses. > Asking the contractor to accept the responsibility under govt failure incident > Recommend Government take responsibility for it’s actions indemnify and hold contractor harmless if its fails to operate … pursuant to TO procedures   Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

C.7.3 - If agency fails to perform maintenance … agency may give due consideration to contractor for losses > Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

Same comments and recommendation as C.6.3 C.8.3.A – Repair work … agency material failure ... agency may provide due consideration > Same comments and recommendation as

C.6.3 *** Use term government in C.6.3 and agency in C.8.3.A   Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

C.8.4 – p17 Agency retains excess savings … not paid to contractor … escrow account by contractor. > If escrow excess savings not paid to the contractor then how transfer to contractor’s escrow account > Clarify intent or mechanism to transfer excess funds to the contractor’s escrow account but not pay contractor Thanks for the comment.   We will consider making the change to clarify.

C.9.2 -- Emergency repair work is defined as maintenance or repair necessary to correct … C.9.3 - Contractor shall indemnify and hold agency harmless … if contractor fails to respond to emergency >

C7.3 & C8.3.A allows agency to assume maintenance or repair therefore C9.2 and 9.3 should exclude the above C.9.3 condition if agency accepts maintenance or repair work responsibility Thanks for the comment.   We will consider making the change.

C.11 – Agency project affects annual savings … then agency will determine whether to adjust … > If agency project affects savings then performance elements of contract have to be adjusted > Recommend a mutually agreement to the necessary to adjustments" Thanks for the comment.   We will consider making the change.

"C.4.4 - Clarification needed. Does DOE want a government representative to physically witness all baseline development field activities? This would add cost, delay and require additional govenremnt manpower." Yes.  However, there may be times when that practice is not appropriate or feasible.  See DOE-FEMP Guidance on Commissioning on the EERE FEMP website.

"C.4.5 B. - Recommended Text: Where such factors beyond the contractor’s control potentially exist, and have a negative impact on meeting the guarantee, the agency and contractor shall agree on what measures shall be taken to adjust the baseline, modify savings calculations or otherwise account for such factors."  Thanks for the comment.   We will consider making the change.

"C.4.5 B. - "The pre-installation baseline should also identify factors beyond the contractor’s control that influence post-installation energy (e.g., building occupancy, weather, plug load creep, etc.)". Recommended: Move this to requirement to the Risk and Responsibility Section." Thanks for the comment.   We will consider making the change.

"C.4.6 B. - Clarification needed. Does DOE want a government representative to physically witness all baseline development field activities? This would add cost, delay and require additional govenremnt manpower." Yes.  However, there may be times when that practice is not appropriate or feasible.  See DOE-FEMP Guidance on Commissioning on the EERE FEMP website.

"C.4.6 C Indicates that Post Installation Report shall be reviewed and accepted in writing by the Agency, but does not provide timeline. Since acceptance of the Post Installation Report triggers the start of Performance Period Payments, suggest appending to paragraph "The Agency review and acceptance procedure and timeline shall be specified in the TO."" Thanks for the comment.   We will consider making the change.

"C.4.6 C. - recommended text: Inspections and measurements conducted by the contractor for this post-installation report shall be witnessed by the agency, in accordance with FEMP’s "Guide to Government Witnessing and Review of Post-Installation and Annual M&V Activities." recommended text:: The post-installation report shall be reviewed as recommended in FEMP’s “Reviewing Performance Reports for Federal ESPC Projects,” and must be accepted in writing, by the agency." Thanks for the comment.   We will consider making the change.

"C.4.6 C. - recommended text: The contractor shall prepare and submit a post-installation report to the agency (Attachment J-10), which should verify that installed ECMs demonstrate the expected annual energy, water, and related cost savings specified in the awarded TO." Thanks for the comment.   We will consider making the change.

"C.4.6 D Indicates that annual M&V Report shall be reviewed and accepted in writing by the Agency, but does not provide timeline. In some cases, acceptance of the annual M&V Report triggers the Performance Period Payments, suggest appending to paragraph "The Agency review and acceptance procedure and timeline shall be specified in the TO."" Thanks for the comment.   We will consider making the change.

"C.4.6 D. - Recommended Text: Inspections and measurements conducted by the contractor for this annual M&V report shall be witnessed by the agency in accordance with FEMP’s “Guide to Government Witnessing and Review of Post-Installation and Annual M&V Activities. Recommended Text: The annual M&V report shall be reviewed, as recommended in FEMP’s “Reviewing Performance Reports for Federal ESPC Projects,” and accepted, in writing, by the agency." Thanks for the comment.   We will consider making the change.

"C.5.1 B Indicates that Design and Construction package shall be reviewed and approved by the Agency, but does not provide timeline. Suggest re-wording as follows: The design and construction package due date and Agency review and acceptance procedure and timeline shall be specified in the TO."" Thanks for the comment.   We will consider making the change.

"C.5.1 C.1 - The ESCO will provide the design and specs; however most of the time the equipment has not been selected at the time of drawing completion. Specs will identify “or equal” substitutes for equipment. This should be changed to read “Major Equipment literature is selected at design completion”." Thanks for the comment.   Equipment should be identified by the time the drawings are completed.

"C.5.1.A - Please include language to clearly state the intent." Thanks for the comment.   We will consider making the change.

"C.5.1.C: Design documents require preliminary and final review by agency.
Recommend establishing time lines for the reviews. Thanks for the comment.   We will consider making the change.

C.5.2.C: Decision on conflicting codes settled by CO and applicable authority.
Recommend establishing process and time lines for the decisions." Thanks for the comment.   We will consider making the change.

"C.5.1.(A) - Please clarify method for determining adequacy" Thanks for the comment.   We will consider making the change to clarify our intent.

"C.5.2 A Design and construction standards often conflict. Suggest appending to first sentence, "and order of precedence.""  Thanks for the comment.   We will consider making the change to clarify our intent.

"C.5.4.(C) - With the removal of this language, what will constitute the acceptance of our achievement of facility performance requirements by the agency?"  Thanks for the comment.   Acceptance of the commissioning report will constitute acceptance of facility performance requirements.  See E.3.2.A.2

"C.5.5 B. - We have always been given notice by the facility of an upcoming Envir. Protection inspection. We suggest the contract require 24 hour notice." Thanks for the comment.   We will consider making the change to clarify our intent.

"C.5.5.B: Language re creating nuisance.  These words are rather generic and can be interpreted too broadly. Thanks for the comment.   We will consider making the change.

C.5.5.C: The contractor shall prepare at its expense all documentation necessary to acquire permits to comply with all applicable Federal, State and local requirements prior to implementing affected ECMs in the performance of a TO. The contractor shall not receive a notice to proceed with installation from the agency until all environmental protection requirements contained in this master IDIQ contract and the TO have been satisfied. As written could negatively impact individual TO project(s) cost and schedule. Recommend revising language to permit more flexibility: Add the following to the end of the last sentence: ". . . have been satisfied, except where such NTP is consistent with the requirements of a pending permit." [Some permits and some states allow certain activities to occur (e.g. clearing a site, pouring foundations, etc.) while the permit is pending, but forbid other activities (e.g. installing major equipment or starting up the equipment) until the final permit is issued.]" Thanks for the comment.   We will consider making the change.

"C.6.1 - If the government operates installed ECMs, they are accountable for following procedures as outlined in the TO."  Section C.6.3 acknowledges that the Government will operate the ECM in accordance with the contractor-provided operations work procedures.

"C.6.1 - Specify "during term of contract". The implication of the language used is that the contractor will be responsible forever."   The contractor is responsible only for the operation of the ECMS for the term of the TO.

"C.6.1 Operation of ECMS This section makes the contractor responsible for all operations regardless of who is actually operating the installed ECMs. The FPCC suggests you delete the last sentence of this paragraph. The government, if they operate the installed ECMS, are accountable for following the procedures as outlined in the TO. This section also conflicts with J.8.3.b, which says responsibility for operations is negotiable, which we believe is the correct approach."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.We are considering adjusting J-8.3.b to be in alignment with C.6.1.

"C.6.1 Regardless of who performs the operations, the contractor shall be responsible for the operations of all ECMs. Contractor cannot be responsible for operations if Government is performing the work. Please delete this sentence."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.6.3 O&M Dispute Resolution This section of the draft gives the government the ability to “walk away” from damage to the contractor specifically caused by the government’s operation of the ECMs, thereby voiding normal contractor dispute remedies (language is MAY give due consideration). FPCC advocates that this be changed to WILL compensate the Contractor for the losses directly attributable to that action (revert to language in existing contract). This section also conflicts with J.8, which says responsibility is negotiable. C.7.3 Preventative Maintenance Dispute Resolution This section of the draft gives the government the ability to “walk” away from damage to the contractor specifically caused by the government’s preventative maintenance work, thereby voiding normal contractor dispute remedies (language is MAY give due consideration). The FPCC advocates that this be changed to WILL compensate the Contractor for the losses directly attributable to that action (revert to language in existing contract). C.8.3 Equipment Failure Dispute Resolution This section of the draft gives the government the ability to “walk” away from damage to the contractor specifically caused by the government’s assumption of repair of ECMs, thereby voiding normal contractor dispute remedies (language is MAY give due consideration). The FPCC advocates that this be changed to WILL compensate the Contractor for the losses directly attributable to that action (revert to language in existing contract). This language also conflicts with J.8, which says responsibility is negotiable."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.6.3 Provides for Agency performing ECM Operations, but in the event that Gov't materially fails to do so in accordance with Contractor instructions and the Contractor is harmed, this paragraph specifies that Gov't MAY give due consideration to Contractor for loss. Not equitable. Suggest changing MAY to SHALL in last sentence." Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.7.1 This section says “The Contractor shall be responsible for preventive maintenance of all installed ECMs.” This does not seem to be strictly true, because the agency and ESCO negotiate O&M and R&R responsibilities, as recorded in the Risk/Responsibility Matrix (Attachment J-8). Para. C.8.1 states it more clearly in regard to repair: responsibility is ESCO’s but may be delegated to agency. Language should be consistent and clear. If the contractor is strictly, ultimately responsible for O&M, etc., then what does that mean, if the agency can actually take that responsibility itself?  C.7.2 – Suggest that the contractor also be required to include the frequency for the completion of said preventive maintenance actions."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

Regarding c.7.2, frequency is included in the preventive maintenance requirements.

"C.7.1 The contractor shall be responsible for preventative maintenance of all ECMs. Contractor cannot be responsible for preventative maintenance if Government is performing the work. Please delete this sentence."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.7.3 - Please define periodic"  Thanks for the comment.  We will consider defining “periodic”.

"C.7.3 Provides for Agency to perform preventative maintenance, but in the event that Gov't materially fails to do so in accordance with Contractor instructions and the Contractor is harmed, this paragraph specifies that Gov't MAY give due consideration to Contractor for loss. This is not equitable. Please change MAY to SHALL in last sentence."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

C.8.1 The contractor shall be responsible for repair of all ECMs. Contractor cannot be responsible for repair if Government is performing the work. Please delete this sentence." Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.8.3 - Revert to previous language said that "…the Government will compensate the Contractor for the losses directly attributable to that action."" Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.8.3 A. Provides for Agency performing repair, but in the event that Gov't materially fails to do so and the Contractor is harmed, this paragraph specifies that Gov't MAY give due consideration to Contractor for loss. This is not equitable. Please change MAY to SHALL in last sentence." Thanks for the comment.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"C.8.3 B. Provides for Gov't to perform perform repairs if Contractor fails to do so, and for Contractor to reimburse Gov't for losses attributable to Contractor's failure or negligence. Suggest adding provision stating that equipment may be repaired or replaced at Agency expense only after providing Notice to Contractor and Contractor failure to perform."  We are considering clarifying language to address your comment.

"C.9.2 Defines Emergency maintenance and repair work to include an existing or imminent failure to meet Facility Performance Requirements of ECMs… Please delete this portion of the definition. Failure to meet Facility Performance Requirements of ECMs is not an "Emergency"."  In certain situations (i.e. mission critical facilities), failure to meet facility performance requirements can indeed be deemed as emergency situations.

"ENERGY EFFICIENCY & RENEWABLE ENERGY (EERE) AND WATER PROJECT FINANCIAL AND TAX INCENTIVES 1) Entire section, C.12.1 through C.12.5 puts entire responsibility for this on the contractor by the use of the word "shall" throughout. Recommend changing language throughout to "the agency and the contractor will mutually determine / consider / etc…" 2) The Contractor cannot guarantee the future applicability and/or availability of financial and tax incentives. In each section, the contract reads, "The contractor shall provide the value of the incentives / credits / etc…." Is this current value, estimated future value? Should the incentives/credits considered in Section C.12 be only in excess of the savings required to make the Government's TO payments? Or, if included in savings atream and incentives/credits are less than contemplated in the TO Schedules delivered at TO Award, contract must be modified? If incentives/credits are more than contemplated in TO Schedules delivered at TO Award, all net savings to Gov't? Reduce Government's payment? Split with contractor? Depends on who owns incentive/how cash flows. Recommend to be specified in TO Award."  Thanks for the comments.   1) We will consider making the change 2) Estimated future value 3) Incentives/credits should be considered and applied to the TO to reduce the TO contract term.

"ENERGY EFFICIENCY & RENEWABLE ENERGY (EERE) AND WATER PROJECT FINANCIAL AND TAX INCENTIVES Appropriate response times so that the contractor is not at risk and the financials are not going to be disrupted if the program is no longer available due to the delay in government acceptance, need to be added." Thanks for the comment.   The master IDIQ contract doesn’t prohibit response times for agency or contractor to be specified in the TO.

"Escrow accounts should not be allowed to hold “incentives” for the contractor." Thanks for the comments.   We will consider making the changes.

"If the Government materially fails to operate an ECM pursuant to the operations work procedures, and the performance of the installed ECMs is adversely affected (including manufacturer equipment warranties), then the Government may give due consideration to the contractor for losses directly attributable to that material failure. Revise to "If the Government materially fails to operate an ECM…, then the Government will either (a) allow the Contractor to step in and perform the required operations in a manner such that the performance of the installed ECMs is restored to its specified level of performance to achieve sufficient savings to make the Government's scheduled payment and will compensate the Contractor at the Contractor's cost plus the applicable performance period markup for performing such required operations or (b) hold the Contractor harmless for insufficient savings resulting from the Government's failure to perform the required operations."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"In the second sentence, delete the phrase, “as agreed to between the agency and the contractor.” The standards of service for a facility are theirs and theirs alone. The contractor should not be allowed to influence these requirements as this Section provides “teeth” to the contract during the performance period." Thanks for the comments.   We will consider making the changes.

"Isn't the term "White Tags" trademarked or proprietary to Sterling Planet? Recommend the paragraph either be deleted or reworded to eliminate directing contractors to work with a specific company (Sterling Planet)." Thanks for the comments.   We will consider making the changes.

"It is not clear what “records of inspections” actually means. In the situation where the agency is performing the day to day operations activities, are the “records of inspections” the logs that the agency completes during the course of the day or are they the logs that the contractor completes when they perform their annual oversight inspection?"  Thank you for the comment.  We are considering clarifying language to address your comment.  All of those items mentioned will be records of inspection.

"Item A – Change “registered engineer” to “registered professional engineer in the state where the work is being performed.”"  Thanks for the comments.   We will consider making the changes.

"Language re penalties assessed on oils spills, HazMats, etc. Should allow for imposition of fines only after all appeals and final adjudication."  Thanks for the comments.   We will consider making the changes.

"Operations work effort for installed ECMs shall include operations tasks at specific stations, continuous or periodic equipment monitoring, and minor on-line equipment adjustments required to achieve all facility and energy conservation performance requirements of the TO. Regardless of who performs the operations, the contractor shall be responsible for the operations of all installed ECMs. 1) Recommend adding cure language. Agency must be accountable for operating in accordance with TO and regulatory requirements. As written this appears to conflict with C.6.3. 2) As written, this conflicts with J-8, 3.b. Operations: "Responsibility for operations is negotiable, and it can impact performance. Clarify responsibility for performing equipment operations, the implications of equipment control, how changes in operating procedures will be handled, and how proper operations will be assured." Recommend re-writing C.6.1 to reflect ability to negotiate responsibility."   Although this does not specify what cure language would be appropriate, in instances where, under C.6.3, the contractor determines through its periodic inspections that corrective action is necessary, the agency and contractor may include negotiated cure language in the TO.  We are considering adjusting J-8.3.b to be in alignment with C.6.1.

"Prior to installation of ECMs, the agency should witness measurements and review calculations, records (e.g., utility bills) and other elements of the baseline, to confirm its accuracy and to confirm that methods are consistent with the approved M&V plan, as described in FEMP’s "Guide to Government Witnessing and Review of Post-Installation and Annual M&V Activities." Add Text: "Prior to the installation of ECMs, to the extent that no cost or schedule impact is imposed on the contractor, the agency should witness…"" Thanks for the comments.   We will consider making the changes.

"Question: Sec C.4.6.B, C, D - The agency should witness measurements and review calculations, records … in accordance with FEMP’s "Guide to Government Witnessing and Review of Post-Installation and Annual M&V Activities. Please clarify if there is any contractor responsibility in making this happen? There is a potential for this requirement to add to project development time. Recommendation: Suggest adding time deadline for Government witness of Measurements or add language stating that "witnessing of measurements must be completed in a timely manner"" Thanks for the comment.  The contractor should continue to communicate with the agency.  We will consider making the change.

"Question: Sec.C.8.4 - The escrow account allowed in this section needs additional clarification and explanation. Will the Government provide the funds from the various internal budgets (i.e. utility and O&M) that are seeing the excess savings to pay to the Contractor to hold in an escrow account? or is DOE intending for the additional savings to come from reduced O&M/R&R expenses the contractor has control over during the performance period phase of the project? What is meant by "...shall be in accord with Federal fiscal law"? Could this be further defined in the contract? Recommendation: Please clarify what and how DOE intends for agencies and contractors to use an escrow account."  Thank you for your comment.  We are considering clarifying language to address your comment.

"Salvage This should be clarified to read all government material, as the scrap materials of the contractor are not yet government property."  Thanks for the comment.   We will consider making the change.

"Suggest beginning sentence with "If applicable.""   Thanks for the comment.   We will consider making the change.

"The agency recognizes that nongovernmental ownership…… 1) Consider including a statement that the "agency CO has broad discretion under this IDIQ contract" Thanks for the comment.   We will consider making the change.  2) Tax incentives may also include sales and/or property tax exemptions in addition to PTCs and MACRS accelerated depreciation benefit."  Thanks for the comment.

"The agency shall notify the contractor when agency projects are to be implemented that may impact the installation or operations of contractor-installed ECMs. If the agency project affects annual energy savings, then the agency will determine whether to adjust the savings calculation methodology in the M&V plan, or negotiate a baseline adjustment, or implement some other corrective methodology. Recommend changing "agency shall notify the contractor…" to, "agency shall provide no less than 30 days prior notification to the contractor…" Recommend changing "the agency will determine whether to adjust…" to, "the agency and the contractor will mutually determine whether to adjust…""  Thanks for the comment.   We will consider making the change.

"The agency will furnish water and electric current at existing outlets as may be required for the installation work to be performed under a TO at a cost mutually agreed to by the contractor and the agency. Suggest revising to, "The agency will furnish waste lines, water and electric current at existing outlets as may be required for the installation work to be performed under a TO at no cost to the contractor."" Thanks for the comment.   We will consider making the change.

"The contractor shall assure the agency through the ECM Commissioning that the ECMs performance achieves facility performance requirements as set out in the TO. The ECM Commissioning shall be accomplished through a process of verification and documentation, from the post-award design phase to acceptance, in accordance with Attachment TBD. We reserve the right to review any as yet "TBD" Commissioning procedure. What shall constitute Government acceptance and acknowledgement that that the ECMs performance achieves facility performance requirements as set out in the TO?"  Thanks for the comment.   Acceptance of the commissioning report will constitute acceptance of facility performance requirements.  See E.3.2.A.2

"The contractor shall remove from the site any individual whose continued employment is deemed by the agency to be contrary to the public interest or inconsistent with the best interests of agency business or national security. Add Text: "...any individual whose continued employment is reasonably deemed by the agency…"" Thanks for the comment.   We will consider making the change.

"The cost of an energy savings performance contract (ESPC) TO project (hereafter referred to as TO project) must be covered by the reduced energy, water, and related cost savings incurred at the Federal facility. This language seems to prohibit the ability of an agency to buy-down a project with available funds at award or full project acceptance."  Agencies have the ability to “buy down,” however, the payments can’t exceed the energy, water or related O&M savings for that year.  See DOE-FEMP Guidelines Regarding One-Time Payments and One-Time Savings In Energy Savings Performance Contracts.

"The indemnity provision re the contractor reimbursing the agency if the agency feels the contractor failed to respond in a timely manner to an emergency. 1) As the definition includes safety and health of the facility and occupants, this is a very broad indemnity and has the potential for abuse. 2) This would only apply in the case that the Contractor is performing O&M and R/R. If the Government is performing O&M and R/R, Contractor would not have to reimburse agency for responding to emergencies."   Thank you for your comment.  It appears to reflect the terms of C.9.3.

"The sentence states "Regardless of who performs the operations, the contractor shall be responsible for the operations of all installed ECMs." Are you saying if the Government or a different Government contractor operates the ECMs, the ESCO contractor is still "responsible" for the operations? If so, please define what the ESCO's responsibility is. Clause C.6.3 eludes to what this might be but a clarification would be appreciated. Thank you."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"What about in the case where damage to the ECM is not by the Government or by the contractor? What if it is an "act of God" or damage by a third party. Is the contractor on the hook to perform the repair with no additonal compensation? Thank you."  The contractor must guarantee savings and thus has the responsibility for achieving that.  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Why is this clause in the "Repair of ECMs" section? It has nothing to do with ECM repair. Is it out of place? Is there something missing that is supposed to go with this? Thank you."  Thanks for the comment.  We will consider making the change to clarify.

""all Federal Buildings" is not defined. Suggest explicitly stating that contract is applicable to all Federal Buildings WORLDWIDE to avoid ambiguity."  Thanks for the comment.  We will consider making the change.

""ECMs include measures to increase energy efficiency of energy-consuming systems, reduce water consumption, and generate electrical or thermal energy." Add Text: "ECMs include measures to increase energy efficiency of energy-consuming systems, reduce water consumption, improve the efficiency of energy production systems and generate electrical or thermal energy.""  Thanks for the comment.  We will consider making the change.

""Where such factors beyond the contractor’s control potentially exist, the agency and contractor should agree on what measures should be taken to adjust the baseline, modify savings calculations or otherwise account for such factors." Recommend changing to, "Where such factors beyond the contractor’s control potentially exist, and have a negative impact on meeting the guarantee, the agency and contractor shall agree on what measures shall be taken to adjust the baseline, modify savings calculations or otherwise account for such factors.""  Thanks for the comment.  We will consider making the change.

Section D

"All leased equipment, accessories, and devices……. Does this provision relate to contractor installed equipment only? Should the Government have fair market purchase option instead of removal?"  Thanks for the questions.  The leased equipment is referring to contractor equipment.  We will consider clarifying this clause.

"D.4 Equipment Removal - addresses leased equipment. Why is this provision included and what is it intended to address?"  Thanks for the comment and question.  Leased equipment is referring to contractor equipment.

Section E

"Comment: Sections: E.2.2, E.2.3, E.3.1 and E.3.2 - as a follow on to the previous comment, the proposed contract has new requirements for contractor notification to the Government "in advance of ECM installation completion.." and the "Agency shall provide written notification to the contractor of scheduled date and time for agency inspection within 10 working days...". Sec.E.3.1 allows for partial acceptance and payment before final acceptance. Sec. 3.2 describes the requirements for Full Project Acceptance. Although we are supportive of these changes, which allow flexibility, we suggest additional clarification and explanation be provided in the contract. Recommendation: Recommendation is for DOE to provide a standardized project acceptance document that could be included as another attachment. This is important because it provides the ESCo and Government standardized documentation of the project acceptance. Note: the process was more clearly defined in Sec. E.4. of the current contract. We also recommend the flexibility to allow for submittal of the Post M&V report after acceptance in situations were needed."  Thanks for the comments.  We will consider making the change.

"E.3.1 – Suggest that agency payments to the contractor during the implementation period be optional and the section be revised for clarity as follows:
E.3.1 Partial Project Acceptance – The agency may agree to accept ECM(s) that are installed and operational prior to completion of the Implementation Period. If the agency accepts installed ECM(s) before the end of the Implementation Period, it may pay the contractor, prior to full project acceptance, in amounts and frequency proposed in Schedule TO-1 (Final), column (c), and agreed to by the agency. Before the agency makes such payments, inspection and testing of ECM(s) to verify guaranteed cost savings during the remaining Implementation Period will be conducted and documented by the contractor and submitted to the agency for acceptance. ..." Thanks for the comments.  We will consider making the changes.

"E.3.1 Not clear if these partial project payments are only for a) Savings During Construction, or b) starting the debt service early. a) SDC is straightforward, b) partial debt service is complicated but might be worth it on very large ECM's completed early Clarify that source of partial payments could be one of two components, or both (if that was the intent) E.3.2. Requiring the items listed in A prior to starting the performance period will add at least a month to the construction financing and these items are now submitted after acceptance. Modify submittal date as in current IDIQ. E.3.2.A.1 Conflict between Attachment E.3.2 and Section J-5 regarding the requirements for acceptance. Attachment E.3.2 states that the Post-Installation Reports and Commissioning Reports must be submitted and approved prior to Final Acceptance by the Government. Attachment J-5 states that the Post-Installation Report can be submitted 30-60 days after Final Acceptance. The timeframe proposed in Attachment E.3.2 would require the ESCO to carry construction interest charges on the full cost of the project for an unknown period of time. Revise Attachment E to be consistent with the Attachment J. E.3.2.B States that the review periods for final acceptance shall be mutually agreed. When we put together financials for construction finance, we assume a certain time period for review. If this time period isn't agreed at the time of award, we could be liable for substantial interest payments if delays occur Suggest that the review periods be defined in the DO RFP, agreed to in the IGA and be made part of the delivery order award." Thanks for the comments.  Partial project payments are for savings achieved during the implementation (construction) period to reduce the total amount financed, not for partial debt service.

"E.3.1: The agency may agree to accept ECM(s) installed and operational prior to completion of the Implementation Period. If the agency accepts partial project installed ECM(s), it will pay the contractor, prior to full project acceptance, in amounts and frequency proposed in Schedule TO-1 (Final), column (c), and agreed to by the agency. This appears to conflict with J-7, TO-1 which indicates only a single Performance Period payment. Recommend revising TO-1 to permit multiple Performance Period payments. E.3.2: Full Project Acceptance The list of requirements is stacked in the favor of the government and needs to be tightly controlled in the TO. The Schedule should also include timelines for the Government's response on turnarounds for their obligations as well." Thanks for the comments.  We will consider making the change to clarify our intent.

"E.3.2 A. - This information is per the equipment manufacturers and is included in the delivery of the O&Ms. No additional documentation is typically generated by the Contractor." Thanks for the comment.  We will consider making the change.

"E.3.2 B. Addresses Full Project Acceptance. Suggest adding "and specify in the TO" between "agree" and "the"" Thanks for the comment.  We will consider making the change.

"Issue: There are conflicts in the Draft RFP document. Subject paragraph requires the Post-installation Report prior to government acceptance; whereas, Attachment J.5, Item 16 requires the same report 30 to 60 after acceptance. Recommendation: Revise contract language so the report is 30 to 60 days after acceptance; otherwise, it delays start of payments even though work is completed and inspected." Thanks for the comments.  We will consider making the change to clarify J.5 to indicate the intent to have the Post Installation report prior to acceptance.

"Sec.E.2 - INSPECTION OF INSTALLED ECMs - It appears DOE has removed the current contract requirement of the 30 day performance period after project acceptance. Please confirm this was intended. Will DOE update it's corresponding "Super ESPC Delivery Order Guidelines" to reflect this change? This will insure consistent expectations by agencies/sites using the new contract."  Thanks for the comments.  Actually, the current contract states that project acceptance will occur after the 30 day test period, not before.  Yes, DOE intends to revise and issue TO guidelines.

"E.3.1 Clarification request: On Schedule TO-1 it states that implementation period allowable payments are one-time amounts only."  That is correct.  Please see DOE-FEMP Guidelines Regarding One-Time Payments.

Section F

"Concern: Title of section is "Period of Performance" but it should be Ordering Period. Recommendation: Revise title of this section to read "Ordering Period" and clarify as meaning the time period during which TO awards may be made; not the Performance Period associated with each TO."  Thank you for the comment.  We will consider making the change.

"F.2: PERIOD OF PERFORMANCE
Add language to permit adjusting POP dates in the event contract award is delayed. Thank you for the comment.  We will consider making the change.

F.5: PLACE OF PERFORMANCE
Some renewable equipment may be located off-site (i.e., at the site of the renewable source or in between the site of the renewable source and the agency site). Recommend "Principal place of performance is the agency's facility."" Thank you for the comment.  We will consider making the change.

"F.3 ….for a term up to and including twenty-five years Please define term. Term means length of time from the date that the task order is issued until the date that the task order ends.  Does term include the construction period and post acceptance performance period or is it just the post acceptance performance period? Term means length of time from the date that the task order is issued until the date that the task order ends.    We suggest it be the post acceptance performance period to maximize the time allowed to repay renewable ECMs, and will allow or larger more complex projects. F.6.2.B.4 Typo - Commission Report This should be “Commissioning Report”."  Thanks for the comments.  We will consider making the change.

"F.6.2.B, G.1, G.6 Concern: Several different position titles are used throughout the document without consistency or definitions. Referenced paragraph says send deliverables to DOE Project Manager; however, the title DOE Project Manager is not used in Attachment J.5, Distribution List of contract documents. Recommendation: Clarify by including all position titles DOE Project Manager, COR, Project Financing Specialist, PF, etc.) in the glossary of terms. If all the multiple titles represent the same, or only a few positions then reconcile the conflicts by revising the contract language."  Thank you for the comments.  We will consider making the changes.

"F.6.2.B.4 – Should be “Commissioning Report.”  Thank you for your comment.  We will consider making a change.
F.6.2.B.5 – “Annual M&V reports (also known as Annual Energy Audit report)” — Why are we introducing a new and alternative term for Annual M&V Reports? We suggest avoiding confusion and deleting this alternative term."  Thanks for the comment.  The term “annual energy audit” is used because that it is terminology used in the authorizing statute.  See 42 USC Section 8287.

Section G

"1) "The contractor shall submit invoices in accordance with the specific instructions provided in each TO issued against this master IDIQ contract. These instructions will vary by ordering agency…" Suggest adding language directing Agency to notify contractor within 15 days of receipt of invoice if (any portion of) payment is to be withheld, delayed or disputed. 2) The NOTE is pretty clear that COR is a DOE requirement. Concern is with the wording that implies "other agencies" must have someone identified with the title of COR, and how would the agency COR (assuming they don't simply defer to the DOE) interface with the PF? Recommend that DOE reconcile all the different titles/positions with one set of titles that is applicable to all agencies." Thanks for the comments.  The Prompt Payment Clause in section I already requires the agency to notify the contractor when an invoice is rejected and for what purpose.

"G.2 – Consider adding point of contact information for the ordering agency contracting officer, contracting specialist, and contracting officer’s representative. While not critical for the master solicitation, the contract needs a placeholder for each TO (edited via TO RFP). Thanks for the comment.   It is not appropriate to identify the current or future agency contracting officer, contract specialist, or COR in the master IDIQ contract.  We will consider a “place holder” in the TO RFP.

G.4.2 – The parenthetical phrase ending 6.4.2 is confusing, and seems to imply that paying for the ESPC in arrears is preferred, which only adds interest costs. Perhaps it should it be “(preferably paying debt service only in advance, and performance-period-services payments in arrears or annually in arrears).” Thanks for the comment.   We will consider making the change.

G.6 – If this section just applies to DOE, it would be helpful to make that more clear, e.g.: “NOTE: Specific requirements …for task orders (TO) issued by agencies other than DOE will be …” The intent is that this clause be for DOE CORs and that agencies will have a different clause.

G.6(a) – Suggest this wording: “Performance of the work under this contract for DOE sites shall be …” Thanks for the comment.   We will consider making the change.
G.6 – Reference is made to the DOE Contracting Officer’s Representative. However, in Section G.1, there was no identification of such a person." A COR will be designated in section G.1 in the resulting master IDIQ contract.

"G.2 Some agencies have specifically requested that the contract specifically allow for quantity reconciliation for ECMs like lighting, steam traps, water Add in the allowance to true changes in quantity on ECMs such as but not limited to lighting, steam traps and water Thanks for the comment.   We will consider making the change.

G.2.2. "Tend to be" is too vague to be useful delete " and tend to be" Thanks for the comment.   We will consider making the change.

G.3 Invoices are often sent directly electronically to individuals who are not responsible for review of annual M&V reports. Attaching this material will probably cause substantial confusion in the federal billing system. Remove last sentence and decouple invoicing and Annual M&V report requirement. Thanks for the comment.   We will consider making the change.

G.4.1 Language concerning payments is directed towards payments after complete acceptance. Should clarify that pre-payments are acceptable Should add in "when partial and/or full acceptance" to the middle of the sentence Thanks for the comment.   We will consider making the change.

G.4.2 Annual advance payments with service phase payments in arrears This would be an accounting hassle and impose a cost of money expense on the contractor. Also annual in arrears is a bad option - it's the most costly in terms of interest expenses. eliminate these two options Thanks for the comment.   We will consider making the change.

G.6.E.2 If as a result of a direction by the COR the is a contract change, the Contracting Officer shall notify in writing that there will be a change order. This should also provide for a contract modification and new financial schedules to demonstrate that the change order will be paid for. Suggest that the language also include: "that a contract modification incorporating revised financial schedules will be issued as a result of the change order."" Thanks for the comment.   We will consider making the change.

G.3 - Recommend adding, "agency must notify contractor when an invoice is not accepted"." Thanks for the comment.   We will consider making the change.

G.5 Please add "The pro-rata adjustment to payments for the next twelve-month Performance Period shall be documented via a bilateral TO Modification."" Thanks for the comment.   We will consider making the change.

"If the contractor fails to meet the annual guaranteed savings at TO-1 (final) column (e) and as verified by the M&V documents, the agency shall adjust the payment schedule, as necessary, to recover the agency’s overpayments in the previous year and to reflect the lower performance level into the current year. Recommend revising to permit shortfalls to be made up for out of funds that may be available in an escrow account, in accordance with DRFP Section C.8.4, "...provide for the establishment of an escrow account by the contractor. Such an escrow account may accumulate any excess energy, water and related cost savings generated as a result of the TO project." This would be best dealt within in a specific TO, based upon the installed equipment, not as a generic statement." Thanks for the comment.   We will consider making the change.

"Payments to the contractor will commence when acceptance by the agency is obtained as required under Section E. Recommend changing "Payments to the contractor will commence…" to, "Implementation Period payments and/or TO Post-Acceptance Performance Period payments to the contractor will commence…"" Thanks for the comment.   We will consider making the change.

Question (Ref. G.3): Who is the DOE COR and what is his role? Is the DOE COR the same position as is now called Federal Energy Project Financing Specialist? As I read the introductory note (paragraph G.6) this provision, as written, applies to DOE end users and other agencies that use the contract will/may appoint their own COR; however, Attachment J-5 makes no such distinction and requires the distribution of most contract documentation includes forwarding copies to the DOE COR. Conversely, the RFP, in several places addresses the role of the DOE PF but J-5, as currently written, does not include the PF on the distribution list for any documentation. Clarification is need. Why would all agencies include the DOE COR for contract distribution if that position is only applicable to DOE?"

The DOE COR has not yet been identified.  No, the DOE COR is not the same as the Federal Energy Proj Financing Specialist.  The DOE COR should be on the distribution list to ensure proper oversight of projects working under this IDIQ.

Section H

"1) A DOE-approved project facilitator (PF) is required for the utilization of this master IDIQ contract. The PF must be actively engaged prior to the PA “kick-off” meeting. The PF requirement shall not be waived by the ordering agency. What if an agency (US Navy for example) has qualified personnel that they normally use to accomplish these types of projects - is there the ability for DOE approval of their personnel to qualify as a DOE-approved PF to make use of the contract?  Yes, the DOE EERE FEMP website contains a document titled “Project Facilitation and Quality Assurance for Federal ESPCs,” which provides an overview of the process and can be found at http://www1.eere.energy.gov/femp/financing/superespcs_espcbasicsp1.html.
How much authority and/or influence is a DOE-approved PF going to have?   PFs have no contractual authority; however, they do have significant influence due to their vast knowledge and experience with ESPC projects.  
How much added cost will be associated with the PF's "active engagement prior to the PA kick-off"? We don’t know.  It will vary with each project.  2) If pursued, the agency CO will issue a Notice of Intent to Award (NOI), followed by a TO RFP which identifies the agency’s requirements. Suggest revising to, "If pursued, the agency CO will issue a Notice of Intent to Award (NOI) to the contractor not less than 15 days after the PA kick-off meeting, followed by a TO RFP not less than 30 days after the NOI, which identifies the agency’s requirements."  Thank you for the comment.  We will consider making a change.

"A company's Reps and Certs change from time to time. On line Reps and Certs are updated at least annually but may be revised at any time. Recommend paragraph be revised to read: "The Representations, Certifications, and Other Statements of Offeror, completed by the contractor and certified in the Online Representation and Certifications Application (ORCA) System in effect at time of proposal submission, are hereby incorporated by reference.""  Thank you for the comment.  We will consider making a change.

"Comment: Sec H.4.1 – States "….which sets out the merits, technical feasibility, level of projected energy savings, economics and price of the project." Recognizing this is a Preliminary Assessment it may be useful to add language stating the price of the project is estimated during this phase. Recommendation: Suggest changing language to “estimated implementation price”"  “Preliminary Assessment” communicates that prices are not finally determined.

"Comment: Sec. H.4.1 - "The agency will not be liable for any costs associated with PA audits or preparation of the PA." In the current contract, Sec. H.21 specifies "The Government shall not be liable for costs associated with audits and preparation of Initial Proposals, unless the project addressed by the Initial Proposal later becomes a delivery order award." We understand the IP/PA are completed at the Contractor's risk; however, please clarify that PA costs can be included in the project if the project moves forward to NOI and subsequent award to TO. Recommendation: Suggest adding language allowing PA costs to be included if project proceeds to TO such as "unless the project addressed by the PA later becomes a TO.""  Thank you for the comment.  We will consider making a change.

Comment: Sec. H.5.1. - similar to our previous comment on Sec C.4.2 - Investment grade audit (IGA) – An investment grade audit typically requires an in depth description of existing facilities, including building construction history and details that have little relevance to facility energy and water use. This information normally is not included in a Detailed Energy Survey unless the building components are affected by the proposed ECMs. An easy comparison is to that IGAs are typically engineering studies while a DES is detailed energy engineering analysis, combined with specific work requirements to install recommended ECMs. Replacing the current DES with an IGA requirement may significantly increase ESPC project development time and associated development costs. Also, keeping the DES terminology would avoid agency expectation that a change in terminology represents a broadening of scope the activity we currently call a DES. Recommendation: Suggest DOE revert back to the DES nomenclature and the associated definition for DES. Keeping the DES terminology would avoid agency expectation that a change in terminology represents a broadening of scope the activity we currently call a DES."  The definition of the IGA is as described in Attachment J-2 and as described in section H, and is not this alternate definition proposed here.  The draft RFP requests that buildings and systems not affected be identified, and it is intended simply that a brief summary be provided, in order that future confusion about what is and is not covered by the ESPC can be avoided.  It is not intended to be exhaustive or to imply any technical analysis in addition to that necessary for recommended ECMs.

"Comment: Sec.H.6.2 - "The agency will not be responsible for any costs incurred, such as proposal preparation costs or the costs incurred in conducting the IGA unless a TO is awarded." This is counter to current practice and training that DOE provides on agencies for using the ESPC contract. It also is counter to the overall ESPC approach in any industry/market because the Contractor's/ESCo risk is only during the IP/PA. Once a customer issues a letter to proceed (NOI in Federal Government), the project costs become a shared risk assuming the Contractor/ESCo presents a Final Proposal that meets the requirements of the NOI. Recommendation: Suggest deleting language "the agency will not be responsible for any costs incurred, such as proposal prep costs or the cost incurred in conducting IGA unless a TO is awarded.""  Thank you for the comment.  We will consider making a change.

"H.10.2 States that if TO requires different insurance coverage than IDIQ defaults, ESCO provides at no cost for term of contract. Not sure why this cost would not be a justified expense? Is this only if requirements change during implementation or service phase and not allowed to increase FFP? Please clarify and allow for adjustments to cost. Thank you for your comments.  We will consider making a change to the DRFP to clarify this issue.  H.3.1 Requiring agencies to compete each task order at a site will be costly, lengthy, and not conducive to the partnership necessary for a successful program. Agencies that are pleased with their selected contractor's performance should be allowed to continue working with that contractor without interruption. Allow for fair opportunity during the site selection process. Each site has the right to change contractors at any time, but requiring selection at each task order will be costly and unnecessary. H.3.1 does not require competition.  H.3 requires fair opportunity/consideration or “sole source” justification (an exception to fair opportunity)  H.3.1.A.1.B This language is confusing. Is the contract intended to require the contractor to provide a full proposal prior to selection for the site?  Allow agencies to select contractor and then perform proposal development. Formal selection of an ESCO doesn’t technically occur until the Task Order is awarded.   H.3.1.A.1.b "The agency CO must consider the price proposed in the final TO schedules (TO-1 (final), TO-2, TO-3, TO-4, and TO-5) prior to issuance of the TO." Don't understand the significance of this statement - what does that have to do with fair opportunity consideration at the beginning? Is it being said that TO schedules need to be reviewed prior to the contractor identified method selection? No, prior to award of a Task Order.  This is not practical. Suggest deletion. H.3.1.A.1.b "The agency CO may solicit offers from two or more contractors." Define "offer" - it should be less than a PA (asking multiple ESCO's to invest in at-risk PA's is excessive. Likewise, a "mini-competition" should not be based on a full site data package - that's too much at-risk work. Clarify that "offer" simply means an offer to submit an ESPC proposal. This section doesn’t require an offer.  H.3.1.C.3 This clause says that the Government shall not have any rights to the work product. The next clause says that the Government can bring in another contractor. It might be helpful if the Government were allowed to pay for the work product and only under those conditions could that work product be shared with the new contractor. Add a sentence that says that the Government may compensate the contractor for the contractor's work products and only after such payment could the work product be shared with another contractor if a task order is not awarded. Thank you for your comment.  We will consider making a change.  H.4.1 PA costs should be reimbursable if project goes forward Please clarify intent of section Thank you for your comment.  We will consider making a change.  H.4.2.B.1 If the goal is to streamline the PA, then eliminate details that are not critical to making decision on whether to proceed and which ECM's to choose for IGA delete items d, g, h, i - those are not critical to choosing ECM's so they can wait until IGA The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.   The number of schedules required as a minimum has been reduced in the intent of streamlining.  However, other schedules and/or additional information may be required by the agency, as noted in the draft RFP: “The contractor shall include in its PA technical and price assessments, in a format in accordance with agency requirements”

H.4.2.B.3.b Risk Responsibility Matrix should not be required in a PA - Its is unlikely that meaningful answers can be prepared at this stage. M&V approach is the big risk factor, and that is already covered in B.2 above Delete from document. Disagree.  There should be general agreement on sharing Risk and Responsibility between the ESCO and the agency at the PA stage, before major investment in the IGA.

H.4.2.B.3.c ECM training plan is not crucial information that is needed at this stage to decide whether to proceed and which ECM's to choose for IGA Delete from document. Disagree.  The paragraph requires only “Provide a general description of the training...”  This is not onerous.

H.5.3 appears to duplicate the requirements of 5.2.H Eliminate 5.3 H.5.2 is intended to address summary information; 5.3 is to be ECM by ECM.

H.6.2 States that contractor is not allowed $ for any PA or IGA costs incurred if a TO is not awarded. If the contractor provides a viable IGA and FP and the government does not want to go ahead, the contractor should be paid for development costs incurred during the process. Contractor should be paid for the development costs incurred for viable projects regardless of whether the government awards a TO. Thank you for your comment.  We will consider making a change.  H.6.2 This section only mentions IGA costs, not PA costs Add PA costs, additionally once a NOITA is issued the government needs to be obligated to pay the contractor should the government decide not to move forward at no fault of the contractor. Without this there it may be tempting to take advantage of the contractor to get audits/IGA completed. Contractors need protection from this. Thank you for your comment.  We will consider making a change.  H.6.3.B.2a The section describing the M&V plan requirements for Volume 1 - Technical Proposal stated "The M&V plan shall include an electronic version of the methods for calculating the ECM energy savings for the agency’s review and approval." Clarify that this requirement refers to the proposed or estimated savings.  This refers to the verified savings.  Revise to "The M&V plan shall include an electronic version of the methods for calculating the proposed or estimated ECM energy savings for the agency’s review and approval." Thank you for your comment.  We will consider making a change.  H.6.3.B.2.b Reference; (See Attachment J-12 for Commissioning Process) This is the section under development, text will need to be removed if document is not developed and included. Thank you for your comment.   H.6.3.B.3.c This means that division of responsibility is located in two places: R/R matrix AND Management Approach. This is redundant and error prone. Eliminate from R/R Matrix (Management Approach write-up can be cross-referenced there) The R/R matrix is not duplicative of the “Management Approach”.  The Final Proposal has a technical proposal volume and price proposal volume.  The technical proposal volume has three sections 1) ECM description 2) ECM Performance Measurement and 3) Management Approach.  The Management Approach has four sections.   The R/R matrix is part of the Management Approach section, not in addition to.  H.7.1 Submission of IDS to CO prior submission of final proposal. Not sure what this is needed for and why it is called out. Do they want to review before the contractor requests bids from the financiers? If so, they don't state that we have to hold up the process pending this review. Not sure why another check and added time is implied here. Suggest that this section be removed. If it must stay, then it should state that the Contractor shall not solicit bids until the IDS is approved, and that the review shall be concluded within 3 business days. Requirements stated in this section are intended to accelerate award time, by precluding financing contingencies and confirming financing costs and therefore final task order cost.   Time limits for agency action are not appropriate for the IDIQ, but may be negotiated between agency and contractor in the TORFP.

H.7.2.A This requires that the financing offers be made in the form of the SFO. The SFO doesn't leave room for adding in the various details and qualifying information that normally accompany financier bids. Should state 'the financing offers shall include the SFO as set out in Attachment J-14 to this master IDIQ contract as well as any other supporting documentation and conditions that are provided by the financier." Thank you for your comment.  We will consider making a change.  However, the DRFP does not prohibit an agency from requiring additional detail with the financier bids. H.8 Should have specific language allowing for the waiving of the bonds as this is a cost some may not consider of value in the ESPC arena where no payments are made until project acceptance. Consider adding language allowing for waiver of bonds as applicable."  H.8.1 allows each agency the flexibility to change the bonding requirements.

"H.3.1 – Contract no longer distinguishes between contractor selection and award. The last sentence, “A Federal agency may select a contractor that represents the best value to the agency using any of the following methods:” is followed by a list of award methods. The award methods, hence selection methods, appear to all require consideration of Final Proposal price. Those wanting to interpret this as an additional hurdle can easily decide to do nothing now. There is no additional hurdle here.  Strictly speaking an ESCO is not formally selected until a task order is awarded.  Therefore the “Final Proposal” price would be associated with the Final Proposal stage. Ordering will be a problem with this contract as written.
H.3.1.A.1.a – How is this considered to be fair consideration?  This clause was reviewed by DOE’s Legal and Policy Offices and deemed to be a reasonable interpretation of the fair consideration standard.  Additionally, the clause states that the contract holder agrees that this constitutes fair consideration.
H.3.1.A.1.a – Should specify DOE COR (or other, if it’s not DOE).  Thank you for the comment.  We will consider making a change.
H.3.1.A.1.b – Specifying that the CO “may consider past performance, related experience, technical capabilities, use of renewable technologies, and the use of small business concerns for subcontracting work” leaves out some important considerations. If this just applies to selecting an ESCO to present a Preliminary Assessment (not awarding a TO), maybe it’s ok. However, if that is the case, then specifying here that “The agency CO must consider the price proposed” is inappropriate. Please see the above comment.  This question seems to be mixing the requirements of the old ESPC IDIQ contracts with the process outlined in this DRFP.  Same thing applies to H.3.1.A.2.b.  Please see the above comment.  This question seems to be mixing the requirements of the old ESPC IDIQ contracts with the process outlined in this DRFP.
H.3.1.C.1 – “conditioned” should be “conditional.”  Thanks for the comment.
H.4.2 – The draft RFP requires the ESCO to submit much less information for the Preliminary Assessment than the current IDIQ requires for the Initial Proposal, specifically financial schedules TO-2, TO-3 and TO-4 are not required. There are distinct benefits to requiring these schedules. The draft RFP requires Schedule TO-1 (PA) and “documentation to support the entries on the form.” Including schedules TO-2, TO-3, and TO-4 is the easiest way to concisely provide the very documentation needed to support the entries on Schedule TO-1. Schedule TO-2 breaks down price by ECM and Schedule TO-4 breaks down energy and cost savings by ECM. These schedules are valuable in assessing the ESCO’s understanding of the technologies. Schedule TO-3 shows likely project cash flow and allows the agency to see what the ESCO is thinking in terms of performance-period services. Having the documentation submitted in any other form will cause delays in project development, because agencies will be forced to sort through the material provided trying to extract the data otherwise provided in the schedules. Thank you for the comments.  We will consider making a change.  H.4.2 – Nothing was found in the format for the contractor to report on renewable energy opportunities.

Section H.4.1 charged the contractor with their investigation. It would appear that they should be specifically addressed. As noted in the draft RFP, at H.4.1 and elsewhere, investigation of renewable energy opportunities is encouraged.  The format provides for description and explanation of proposed ECMs, and per section J-2, renewables are included in the definition of ECMs.
H.2 – Suggest adding a portion to the PA report that addresses the approach to the performance of operations, maintenance, and repair & replacement.  Thank you for the comment.  We will consider making a change.

H.6.2 – This section says, “The agency will not be responsible for any costs incurred, such as proposal preparation costs or the costs incurred in conducting the IGA unless a TO is awarded.” Allowing agencies to get investment-grade audits without the obligation to pay for them opens the program to widespread abuse that will raise costs for all who use the DOE ESPC contractors. Super ESPC experience under the existing contract has shown that agencies have been given appropriate motivation to work in good faith with the IDIQ contractors, as is required to successfully implement a cost-effective ESPC project. We know that some agencies will “game” the system if they are not held responsible for IGA costs, and it will only takes a few bad apples to skew the balance that has been established by this program. The results will cost the government money and work against comprehensive, high-value projects. Contractors will not be willing to take on such a risk and will be strongly motivated to minimize their costs for IGAs, and agencies will not get the quality of proposals that would allow projects to smoothly and expeditiously move to award and completion. Contractors will inevitably propose only very conservative, safe ECMs and projects. Thank you for your comment.  H.6.3.C.4 – Suggest requiring the ESCO to include all SFO’s received and considered in the selection of a financier. If the new contract does not allow the TO RFP to make adjustments in the IDIQ terms, then this leaves the agency with no recourse for checking (if only for the math) the ESCO’s selection of financing.  The IDIQ does allow for adjustments in the TO RFP and TO.  However, such adjustments can not be contrary to the master IDIQ contract.  The TO can have additional terms and conditions as necessary so long as they are not prohibited in the master IDIQ contract.
H.7.2.B – Specify who within the ranks of the ESCO will certify the contents of the Selection Memorandum.  This should be communicated between the ESCO and the agency.
H.7.2.C – Same comment as for H.6.3.C.4."  The IDIQ does allow for adjustments in the TO RFP and TO.  However, such adjustments can not be contrary to the master IDIQ contract.  The TO can have additional terms and conditions as necessary so long as they are not prohibited in the master IDIQ contract.

"H.4 – In general the PA content seems to be extensive as compared to commercial practices resulting in a significant work effort. H.4.2 – Contractor shall submit completed Schedule TO-1 (PA) and documentation to support the entries on the form. > Providing schedule TO-1 (PA) and its supporting documents seem to represent a large work effort. The TO-1 (PA) schedule does not seem to differ much from TO-1 (final). > Recommend - 1. Remove requirements for supporting documents, The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.  The number of schedules required as a minimum has been reduced in this DRFP.

2. Modify TO-1 – Important Information items 1 to 8 to include only estimated information of 1. interest rate, 2. escalation rates, 3. completion date., and other contractor identified factors. H.4.2.B.1 – For each ECM proposed, the contractor shall submit … items a to k > This represents a large work effort in the PA phase. > Recommend -- 1. eliminate or provide brief summaries for e, f, g and j  Response to above three comments: The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.   The number of schedules required as a minimum has been reduced.

2. Unless critical issues are evident then eliminate I H.4.2.B.2 – Performance measurement > Same comment as H.4.2.B.1as above > Recommend - Provide a basic matrix type table to match up ECM to suggested M&V methodology H.4.2.B.3 – Management Approach > Same comment as H.4.2.B.1as above > Recommend – Sub-section a - use 1st three sentences only
Sub-section b - Create a second Risk matrix (J-8) labeled PA with instructions to allow NA or TBD.
Sub-section c - Delete training"  Thanks for the comments.  We will consider making changes to the RFP.

"H.4.1 Preliminary Assessment The industry supports the use of Project Facilitators; however, the FPCC believes that the clause “the PF requirement shall not be waived by ordering agency” creates concern because of Agencies, such as the Navy, currently do not use DOE PFs but instead in-house technical experts that perform the role of a Project Facilitator. This current clause may prevent the Navy or other Agencies from using the proposed contract. This clause doesn’t prohibit agencies such as the Navy from using their own PFs as long as they are on the DOE approved PF list.  The DOE EERE FEMP website contains a document titled “Project Facilitation and Quality Assurance for Federal ESPCs” which provides an overview of the process.
Section H.4 also requires a much larger level of effort in the PA phase than is currently performed in the Initial Proposal phase of the current IDIQ contract. Requiring increased PA level will entail more specific estimating and also the involvement of the Project Facilitators much earlier in the project. Requirement for a DOE PF will strain resources of all parties (DOE, contracting agency and ESCO), and increase the project development timeline and overall project costs. The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.  The number of schedules required as a minimum has been reduced in this DRFP.  How will this impact PF fees? This will vary with each project.  This section also states that the agency will not be responsible for any costs associated with PA. This suggests clarifying that agency is not responsible if project does not go to IGA phase, however these costs can be recovered when project goes to TO as defined in J.6.2."  Thanks for the comment.  We will consider making a change to clarify.

H.4.1 The agency will not be liable for any costs associated with PA audits or preparation of the PA. In light of the more demanding PA technical requirements defined by the DRFP, the Government must compensate ESCOs for the PA effort in the event the project does not proceed to a TO. Recommend reducing PA technical requirements back to the current IP requirements. This will also help streamline the process. Failing that, recommend deleting this sentence. H.4.2 PA technical requirements defined by the DRFP. Recommend reducing PA technical requirements back to the current IP requirements. This will reduce up front costs and help streamline the process."  The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.  The number of schedules required as a minimum has been reduced in this DRFP.

"H.4.1 States that "The PF must be actively engage prior to the PA "kick-off" meeting." What does this mean? Please provide explicit requirement."  Precise duties of PFs will be as required by agencies.  DOE has a recommended scope of work which includes participation in kickoff meetings, but these items do not merit inclusion as IDIQ requirements.

"H.4.1 The agency will not be liable for any costs associated with PA audits or preparation of the PA. Suggest appending, "unless a TO is issued." for clarity"  Thank you for your comment.  We will consider making a change.

H.4.2 Content of Preliminary Assessment This section requires a very detailed PA. The FPCC suggests using the Initial Proposal technical requirements in the current contract requirements. In particular, we would suggest deletion of H.4.2.B items d, e, f, g, i and j; H.4.2.B.3. item c; and adjusting H.4.2.B.3 item a by deleting all but the 1st sentence This more detailed PA requirement will increase cycle time and does nothing to move towards the stated goal of a more streamlined process."  The requirements and effort level entailed in the PA are not substantially increased.  The format has been prescribed in greater detail, however, to improve ease of review.  The number of schedules required as a minimum has been reduced in this DRFP.

"H.4.2 States that contractor shall submit Schedule TO-1 (PA). Is this the only TO Schedule the Contractor is required to submit with the PA?" Yes.  Per the DRFP, schedule TO-1 is the only schedule required

"H.5.1 Investment Grade Audit (M&V) The FPCC suggests that the language in these sections revert to the language in the current contract: continue the use of the DES terminology. An IGA has different goals for building owners than a DES. The IGA focuses on a comprehensive audit of all building components and then makes many recommendations on how to improve energy efficiency. An ESPC DES consists of a feasibility analysis of all energy consuming equipment and then proceeds to a detailed comprehensive analysis of the recommended ECMs to be implemented. DES provides more detailed information on how to implement changes on specific ECMs as compared to IGAs, which is a comprehensive engineering study. An easy comparison is to state the IGA is an engineering study while a DES is a detailed energy engineering analysis, combined with specific scope of work requirements to install recommended ECMs. The ESCO industry developing ESPC provides a different value to the Government as compared to engineering consultants that perform IGA studies. Additionally, the provision says that each building and/or space that will and WILL NOT be affected by the ESPC should be identified. This requirement could substantially increase development costs, time and development risk. The FPCC advocates that only the buildings and/or spaces that will be affected should be identified. This objectionable language appears twice in this section and should be removed. This section does not comport with the stated goal of a more streamlined ESPC Process."  The IGA is as defined in Attachment J-2 and as described in section H, and is not this alternate definition proposed here by FPCC.  The request that buildings and systems not affected be identified intends simply that a brief summary be provided, in order that future confusion about what is and is not covered by the ESPC can be avoided.  It is not intended to be exhaustive or to imply any technical analysis in addition to that necessary for recommended ECMs.

H.5.1 Suggest beginning first sentence with, "Following issuance by the Agency of NOI and TO RFP,"" Thank you for your comment.  We will consider making the change.

"H.5: INVESTMENT GRADE AUDIT FOR TASK ORDERS
Suggest revising terminology from IGA to DES throughout DRFP. H.5.1: "The selected contractor shall conduct an Investment Grade Audit (IGA) of facilities and energy systems at the project site…"
Add text: "shall conduct an Investment Grade Audit (IGA) of relevant facilities and energy systems at the project site…""  Thank you for your comment.  We will consider making the change.

"H.6.2 Final Proposal Review for Task Orders This section states that the agency will not be responsible for any costs incurred in conducting the IGA or preparing the proposal unless a TO is awarded. The FPCC advocates deletion of this sentence. We are further concerned that some agencies might interpret this to mean that the ESCO cannot recover the IGA/PA even if they are issued a TO. The NOIA must constitute a commitment to pay the ESCO for the IGA fee as estimated in the NOIA even if the government does not award the contract. In addition, we oppose the more detailed PA, which requires substantially more up front ESCO investment. If that is required, the ESCO should be fairly compensated for the PA effort. This section appears to conflict with Section J.6.2"  Thank you for the comments.  We will consider making a change and ensure that there are no conflicting sections.

"H.6.2 States that Agencies are not responsible for any costs incurred in the interest of an IGA submission unless a TO is awarded. In some cases, IGA preparation may require Contractor to expend several hundred thousand dollars. This requirement places all risk of IGA preparation on Contractor and will drive project sizes down which is contrary to Gov't goals. Suggest deleting this requirement thereby giving Agency KOs flexibility to negotiate what party bears the risk."  Thank you for your comment.  We will consider making a change.

H.7 - REQUIREMENTS FOR COMPETITIVE FINANCING Please clarify the procedure when the Contractor provides its own financing. ."  Even if the ESCO provides its own financing the procedures in H.7 must be followed.

"H.7.2 B. Requires Contractor certification of Selection Memo. What is the form of the Certification?"  This will be communicated between the contractor and the agency.

"H.7: REQUIREMENTS FOR COMPETITIVE FINANCING ACQUISITION FOR TASK ORDERS  What are the requirements in the event the ESCO finances the project itself? Even if the ESCO provides its own financing the procedures in H.7 must be followed.

H.7.2.B: The contractor shall certify to the agency that the contents of the Selection Memorandum are true and correct and in accord with best business practice. Please define "best business practices". This term means: “business procedures that have proven successful in practice.”

H.8.1: Unless otherwise specified by the agency, the selected contractor shall furnish acceptable evidence of a surety’s commitment to provide performance and payment bonds to the agency prior to award of the TO.   This requirement may prove difficult to comply prior to TO award with in every case, and will likely slow the process.  Thank you for your comment.  We will consider making a change.  H.8.2: Payment Bond Penal Sum  Doesn't the Miller Act provide for 100% for the Payment Bond? Yes  H.8.2.B: The release of bonds depending upon ownership needs to be clarified.   If an LLC builds an on-site facility the issue of providing a bond and when it is released is an open one."  Thank you for your comment.  We will consider making a change.

"H.9 - Provided the Notice of Assignment is in compliance, clarify financier's authority to inquire about payments. Currently, some agencies will provide financier with payment information and some will not."  The contract requires agencies to consider requests from financiers.   DOE does not have the authority to require more from the agency.  If this is an issue, the contractor and agency should communicate on this subject and come to an agreement.

"H.9.1 - Novations and Assignments that require CO's signature AND CO's further action with an agency need addressing. Recommend adding, "CO shall execute & provide copies of assignments and novations to payment agency, contractor AND financier within a time period specified in each TO"."  Thank you for your comment.  We will consider making a change.

"In addition to the submission of TO schedules and supporting documents, the contractor shall provide a summary of the finance offer being proposed. At a minimum, the finance summary shall include the Investor Deal Summary (IDS), selected financier’s Standard Finance Offer (SFO) and Selection Memorandum. Recommend change to, "In addition to the submission of the TO Schedules and supporting documents, the Contral shall include the Investor Deal Summary (IDS) to be submitted with Volume II - Price Proposal." At the time of Final Proposal submission, the 3rd party financier has not usually been selected. Delete requirement to submit SFO and Selection Memorandum with Final Proposal."  Thank you for your comment.  We will consider making a change.

"INSURANCE
For purposes of pricing - we do not obtain any release of any insurance obligation until the project is accepted. The issue of Builder's Risk therefore is important."  Thank you for your comment.  We are not surewhat message you intended to convey.

"Requests for the agency to provide financiers copies of any cure or show-cause notice issued to the contractor. The agency will deliver copies of all cure or show-cause notices or notices of default to any third party lender/trustee and will allow a third party lender/trustee a reasonable period of time to find another contractor to tke over performance of the contract on substantially the same tems and conditions as the Contractor in the event that the Contractor defaults in performance."  We are unable to determine if this is a comment, recommendation or a question and therefore are unable to addressyour concern.

"RE: H-7 REQUIREMENTS FOR COMPETATIVE FINANCING ACQUISITION FOR TASK ORDERS Comment: My associates have been able to provide funding for two DOE Con Edison ESCO projects in New York by competative proposals. However we have been unable to provide proposals to ESCOs for financing other energy savings projects. Request: We wish to be placed on a list of qualified providers of financial services for projects handled by DOE via all the ESCO providers, and have an opportunity to provide a financing proposal for upcoming projects. Comment: We had the privilege of meeting with your committee, the Treasury Department and OMB, among others, in Washington DC, and we offered several areas wherein we could provide cost savings on various ESCO projects. Request: If the various ESCOs do not offer us the opportunity to provide a proposal for funding projects, we wish to offer providing the funding on a cost savings/sharing basis to DOE. Thank you, and we look forward to your reply.  Thank you for your comment.  We do not maintain a list of financiers.  Please see Special Notice 1 in the DOE IIPS for instructions on how to be placed on the DOE qualified list of ESCOs.

"Sec. H.4.1 - "A DOE approved facilitator is required for the utilization of this master IDIQ contract." and "The PF requirement shall not be waived by the ordering agency." Please clarify how this applies to Agencies, such as the Navy, who currently use in-house technical experts to review ESPC proposals; however, do not necessarily perform all the same functions as a DOE PF. Will this mean that the Navy will now be required to use DOE PFs?"  This clause does not prohibit agencies such as the Navy from using their own PFs as long as they are on the DOE approved PF list.  The DOE EERE FEMP website contains a document titled “Project Facilitation and Quality Assurance for Federal ESPCs” which provides an overview of the process.

"Sec. H.4.2 & J6.1.1 - "Contents" - "The contractor shall submit completed TO-1 (PA) and documentation to support the entries on the form." "Section J-6.1.1 Schedule TO-1" is a unique template to be submitted with the PA. Does this mean the Contractor no longer needs to provide Schedules TO-2-4 with the PA? or is the the phrase "documentation to support entries on the form" referring to Schedules TO-2-4?"  The requirements and effort level entailed in the PA are not substantially changed.  The format has been prescribed in greater detail, however, to improve ease of review.   The number of schedules required as a minimum has been reduced in the intent of streamlining.  Supporting documentation may include information now provided in schedules 2, 3 and 4.  However, these other schedules and/or additional information may be required by the agency, as noted in the draft RFP: “The contractor shall include in its PA technical and price assessments, in a format in accordance with agency requirements”

"Sec. H.7.1 - "After completion of the IGA and prior to the submission of the final proposal, the contractor shall submit the IDS, along with the contractor's point of contact, electronically in Microsoft Word format, to the agency CO for review, or as otherwise directed by the agency CO." Is it DOE's intent to submit the IDS to the CO prior to the sending it to the finance companies? If so, for what purpose? Is DOE suggesting the Government provide direction on the contents of the IDS or selection of a Financier? Please explain."  The intent of providing the agency CO, at their discretion, with the opportunity to review the IDS is only to ensure that the IDS is completed accurately.

"Sec.H.6.3.B.1.j. - "…and proposed percentage of estimated financial incentive payment or financing reduction the contractor guarantees as submitted in TO-3 schedule." Our interpretation is that this allows the Government to share in the risk of the amount of the "utility rebate or system benefit fund financial and tax incentive." Please confirm this interpretation."  The Government will not anticipate receiving any greater benefit from the incentive or rebate than what is guaranteed, and will not be at risk for the amount the ESCO guarantees, whether or not the actual amount received by the ESCO is greater.

"The agency will not be responsible for any costs incurred, such as proposal preparation costs or the costs incurred in conducting the IGA unless a TO is awarded. If the selected contractor, based on a NOI and accepted PA, is instructed to proceed with the IGA, the contractor must be compensated for the IGA whether the TO is awarded or not."  Thank you for your comment.  We will consider making a change.

"The contractor shall not file any mechanics liens against the agency for the TO projects and this requirement shall flow down to all subcontractors. Therefore, the payment bond shall secure the contractor’s obligations for payment of laborers, suppliers, and all subcontractors. Unacceptable. Must be written in accordance with the standard for federal construction contract regulations."  Thank you for your comment.  We will consider making a change.

"The contractor shall submit the IDS, SFO, Selection Memorandum and certification with its final price proposal to the agency CO. Recommend revise to, "The contractor shall submitt the IDS with its final procie proposal to the agency CO. The contractor shall submit the selected financier's SFO, Selection Memorandum, and certification within 30 days of submission of the Final Proposal.""  Thank you for your comment.  We will consider making a change.

"The performance bonds must be allowed to include the standard exculpatory language that indicates the energy savings is not part of the coverage provided under the bond."  Thank you for your comment.  We will consider making a change.

"Why was the lender's step-in right to takeover performance of the contractor removed? This provision should be added back."  Thank you for your comment.  We will consider making a change.

""Nothing herein shall relieve or limit the contractor of liability for losses and damages to person or property as a result of its operations. The contractor shall indemnify and hold the Government (including the ordering agency, DOE, and any person acting on behalf of the Government) harmless from any and all liability, including attorneys’ fees and legal costs, associated with or resulting from the contractor’s operations under this master IDIQ contract or any TO issued hereunder." 1) The Government should be responsible for its failure to comply with the maintenance practices specified in any TO and for the willful or intentional misconduct and/or gross negligence on the part of the Government, the ordering agency, DOE, and any person acting on behalf of the Government. 2) The liability of the ESCO should be limited to the amount of the insurance required to be in force under the IDIQ. The FAR limitation of Liability clause is incorporated, however, it is not the typical LOL clause, as it is effective post acceptance, and then limits our liability to the amount of insurance in force. Ref. 52.246-23 3)Under no circumstances will ESCO be liable for any special, incidental, punitive, exemplary, indirect or consequential damages, however caused and on any theory of liability arising out of or under this Master IDIQ, or any TO issued hereunder." Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

Section I

"Are the amounts listed the sum of the contractor payments?"  Thanks for the question.  Yes, the ordering limitation in I.3 refers to the sum of contractor payment amounts.

Concern: This provision establishes subcontracting goals for three classes of businesses - SDB or Woman owned, HBCU, and Hispanic/Native American colleges and universities. The goals for each category is 20%. While 20% is practical for the SDB or Woman-owned, it is clearly not practical for the two college and university categories. Recommend that DOE either revise the goals downward for the two college and university categories or leave the goals percentage blank and allow the contractor to insert their goals for those categories the same as for all other subcontracting goals included in their proposal response. NOTE: My comment immediately preceding this one mistakenly referenced I.10; should have referenced I.1."    Thanks for the comment.  This is a required DEAR clause and can not be altered or deleted.  Presumably the intent of the clause is for master IDIQ contract holders to subcontract to small business concerns, historically black colleges,  colleges with a predominant amount of Hispanic or Native American students whenever possible.  The master IDIQ contract holder should attempt to identify work on every project that may be completed by these entities.

"I.10 This DEAR Subcontracting Goals and Reporting Requirements is unfair and unrealistic in that it requires us to use our best efforts in awarding 20% of our subcontracts to Historically Black Colleges and Universities as well as 20% to colleges or universities having a student body in which more than 20% of the students are Hispanic or Native Americans. We do not subcontract out to colleges or universities in our business and as such this goal is not achievable. Request removal of this DEAR and insert the FAR 52.219-8, Utilization of Small Business Concerns clause instead."  Thanks for the comments.  FAR clause 52.219-8 is already incorporated into the DRFP.  The required DEAR clause requires a best effort to meet the goals identified in I.10 of the DRFP.  The master IDIQ contract holder should attempt to identify work on every project that may be completed by these entities.

"I.10 (b) (2) and (3) Requires Contractor to provide best efforts to award subcontracts to colleges and universities? What is the intention? How can this requirement be met?"  This is a required DEAR clause.  Presumably the intent of the clause is for master IDIQ contract holders to subcontract to small business concerns, historically black colleges,  colleges with a predominant amount of Hispanic or Native American students whenever possible.  The master IDIQ contract holder should attempt to identify work on every project that may be completed by these entities.

"I.2 (b) In the event of conflict between a delivery order or task order and this contract, the contract shall control. Suggest deleting this - TO RFP and TO may change certain provisions of IDIQ and must take precedence"  Thanks for the comment.  However, this clause is required by the FAR and can’t be altered.  The TO may contain additional clauses so long as the TO clauses don’t conflict with the clauses in the master IDIQ contract.

"Question: FAR 52.219-8 and -9 requires large businesses to utilize small business subcontractors and to establish goals for each small business category including Small, SDB, woman-owned, HUBZone, veteran-owned, and disabled veteran-owned. The provision at I.10 although it does establish some goals for subcontracting under the IDIQ it does not establish goals for all small business categories. Further, L.9.2 also establishes goals for subcontracting under the IDIQ but this provision only addresses two small business categories - SDB and woman-owned. What are the real small business subcontracting goals for the IDIQ? Recommendation: Identify all small business subcontracting requirements and goals in one location in the RFP/contract."    Clause 52.219-8 identifies the requirements to utilize the various small business concerns and clause 52.219-9 requires the contractor to develop a small business subcontracting plan.  The DRFP requires the offeror to submit a subcontracting plan with its proposal for evaluation which will eventually become part of the contractor’s master IDIQ contract.  The contractor’s/offerors plan must Section L.9.2D of the DRFP states that an acceptable small business subcontracting plan will contain a small business goal of 20%

Section J

"--Attachment J-1 – HVAC is defined incorrectly. It should read Heating, Ventilating and Air-Conditioning.  Thank you for your comment.  We will redefine HVAC.
--Attachment J-2, Definitions • Added Premium – Confusing with regard to the added premium being a pass through cost. The project interest rate as a whole is a pass through cost. The author likely meant to infer that the costs associated with financing procurement are a pass through cost.  Thank you for your comment.  We will consider making a change. 
• Applicable Financial Index – suggest changing reference to this as the “first” to the “larger component”.  Thank you for the comment.  However, we tend to disagree.  While larger, the Index Rate is also the first component of Project Interest Rate, as shown on TO-3.
• Annual energy audit should be deleted in favor of “Annual M&V report” to avoid confusion.  Thank you for the comment.  The term “annual energy audit” is used because that is the terminology used in the authorizing statute.  See 42 USC Section 8287.
• ECM – suggest adding that rate renegotiations and fuel switching are considered to be ECMs.  Thank you for your comment.  We will consider making a change.
• Financing Procurement Price – Note that this is typically a pass through cost.  Thank you for your comment.  
• Guaranteed annual cost savings – The word “actual” should be replaced with “reported” in the following passages: “The annual energy audit establishes actual savings. If actual savings fall short of the guarantee, the contractor will pay back the shortfall over the next interval by accepting lower payments.”  Thank you for your comment.  We will consider making a change.
• Index rate – Suggest replacing the definition with the following: “The index rate is the prevailing cost of borrowing in the financial markets. It can be based on U.S. Treasury Securities or other accepted financial indexes, as agreed between the agency and the contractor. The total interest rate is the sum of the index rate and an added premium to cover the financier’s costs.  Thank you for the comment.  However, we tend to disagree.  This is included in the definition of Applicable Financial Index.
• Implementation Expense – This does not include indirect costs. Refer to TO-2, Note #2 on page 95 of the RFP.  Thank you for your comment.  
• Implementation Profit – Is not applied to indirect expenses. Rather it is applied to Direct Expenses only. Refer to TO-2, Note #2 on page 95 of the RFP.  Thank you for the comment.  However, we tend to disagree,  it should be applied to the direct plus indirect expenses.
• Implementation Price – Similar comment to above (Implementation Profit).  Thank you for the comment.  However, we tend to disagree,  it should be applied to the direct plus indirect expenses.
• Multiple Technology Category (TC) Projects – Projects including ECMs in more than one of the TCs shown in Attachment J-2. Costs shown on Schedule TO-4 breaks down first-year estimated savings by ECM and TC.  Thank you for your comment.  We will consider making a change.
• Post Acceptance Performance Period Annual M&V – The intent is to ensure that the project continues to have the potential to generate the guaranteed savings not the predicted savings.  Thank you for your comment.  
• Post Installation M&V Activities – Similar to previous comment.  Thank you for your comment.  
• Project development – The word “IGA” should be replaced by “IGA and Final Proposal.”  Thank you for your comment.  We will consider making a change.
• Project interest rate – Suggest replacing the existing definition with the following: “The effective total interest rate for the financed amount for a particular TO project, which consists of the index rate plus the added premium. (Also see Added Premium.)  Thank you for your comment.  We will consider making a change.
• Task Term Order – This definition as written truncates the project term by including the implementation period. Strike the words “the sum of the implementation and” and change “periods” to “period,” as: “The term of a TO contract issued against this master IDIQ contract is defined as the performance period negotiated and identified in Schedule TO-1 (final). The maximum TO term is 25 years from TO award.”  Thank you for the comment.  However, we disagree with your comment.  
• Total Post Acceptance Performance Period Expenses – show formula in equation form rather than narrative form.  Thank you for your comment.  We will consider making a change.
• White tags - Where it says “electricity generated from a renewable energy facility” it should say “electricity not generated and/or other fuels not consumed as a result of energy conservation.”  Thank you for your comment.  We will consider making a change.
--Attachment J-5 – Under the column Recipient, why are multiple electronic copies being required for a single person (i.e. DOE COR for the Draft IGA/Final Proposal).  Thank you for your comment.  We will consider making a change.  As a reminder, this attachment is intended to be an example not as a requirement.
--Attachment J-5 – For the Post-Award Deliverables, Item #7, the frequency should be changed to reflect multiple submissions of the package (one for review at mid and final stage of design completion and one final copy for record).  Thank you for your comment.  We will consider making a change.
--Attachment J-6.1.2 – TO-1 (Final), Item G – The description of columns h, g & I (presented in that order) do not agree with the actual schedule, TO-1 (Final) presented on page 93. Thank you for your comment.  We will consider making a change.
--Attachment J-6.1.2 – TO-1 (Final), Item G – Incentive payments are not addressed in the RFP. They are only referenced in one other part of the RFP and this is in the format for the final proposal. Thank you for your comment.  We will consider making a change.

--Attachment J-6.1.2 – TO-3 – Reference Part A, in this description one should note that the finance procurement price is added to the total implementation price.  Thank you for your comment.  
--Attachment J-7, Schedule TO-2 – Part of this schedule is solid black on the black & white printout.  Correct.  That is what was intended.
--Attachment J-9, Section J-9.2.3.c – The formats for the post-installation report and the annual M&V report are to found on the FEMP website. What is the purpose of providing the current copy of each in Attachment J-10 and J-11?  Simply to emphasize the value that is placed on quality M&V.
--Attachments J-6, 9, 10, and 11 – Is it necessary to add the attachment number (e.g., J-10, J-11) to the numbered sections of the document? I don’t think this is a user-friendly practice."  Thank you for your comment.  We will consider making a change.

"1) Energy Conservation Measure (ECM) The term ECM includes renewable energy systems and other measures that result in energy, water, or related cost savings.
Add text: "...includes renewable energy systems, improvements to the efficiency of energy production systems and the generation of electrical or thermal energy and other measures…" Thank you for your comment.  We will consider making a change.  2) Energy Conservation Measure (ECM) - A measure applied to a Federal building or facility that improves energy efficiency, is life cycle cost effective under 10 CFR Part 436, Subpart A, and involves . . .
Suggest removing the clause ". . .is life cycle cost effecitve under 10 CFR Part 436 Subpart A, . . ." Agencies may wish to pursue ECMs that have very long paybacks because they make sense bundled as part of the entire package. While there are probably ways to tweak the life cycle cost analysis to get the right answer, it would be nicer not to have to meet this threshold. The economics having to finance these projects within the 25 year term will naturally control payback of the overall project anyway."   The ESPC authorizing legislation defines ESPC contracts as those that provide for an identified ECM or a series of ECMs at one or more locations.  DOE encourages, and it is our intention to allow, the bundling of related measures (smaller, larger, shorter payback, longer payback, etc.) to save energy, reduce energy costs, and promote the use of renewable technologies, such that the overall project is life-cycle cost effective. A group of related ECMs may be bundled together to become one or more larger ECMs for purposes of determining life cycle cost effectiveness.  We will consider clarifying language.

"1) Evidence of surety commitment prior to Award.
This requirement may prove difficult to comply prior to TO award with in every case, and will likely slow the process. Thank you for your comment.  We will consider making a change. 2) TO-3, Less: Incentives Line Not sure this should be shown only as a reduction to Principal. Thank you for your comment.  We will consider making a change.  3) TO-3, Indirect -% and Profit % Why are these shown separately?"  Because they are separate things.

"1) Table 1, column 2 is "Indirect Expense"
Revise column (2) heading to "Implementation Expense" 2) Table 2
Add "(h) Government's first payment" to Table 2"  Thank you for your comments.  We will consider making changes.

"1)J.11.1.2.B: ANNUAL REPORT OUTLINE - Brief Project and ECM Descriptions. This provision currently reads: "Note any changes in project scope between the final proposal (including any relevant contract modifications) and As-Built conditions." The place to note these changes is in the Post Installation Report. There is no need to repeat those changes again every year in the M&V Report. Recommend deleting this section as unnecessary. Thank you for your comments.  We will consider making changes.

2) J.11.2.1.B: ANNUAL REPORT OUTLINE - Details for Each ECM. Discuss any changes in scope/results recorded in Post-Installation M&V Report. Do we really need to repeat the findings of the Post Installation Report again here? Recommend deleting this section as unnecessary. Thank you for your comments.  We will consider making changes.

3)J.11.2.6.A: ANNUAL REPORT OUTLINE - Operating Requirements Item (2) Summarize key operating procedures and any related verification activities. This could be a very lengthy discussion. All operating procedures are already documented in the O&M Manuals. It seems cumbersome and unnecessary to repeat them here in every M&V Report. Recommend deleting this section as unnecessary. Thank you for your comments.  We will consider making changes.

4)11.2.6.D: ANNUAL REPORT OUTLINE - Repair and Replacement Requirements. Item (2) Summary of activities conducted this period by contractor or agency. Again, this seems unnecessary and potentially adding a great deal of bulk to each year's M&V report. Routine repair and replacement activities like lamp and ballast replacements would be much too cumbersome to report annually. Likewise, any other items in need of repair or replacement will naturally be flagged in the M&V report due to changes in performance. To routinely document all repair and replacement activities is unnecessarily burdensome. Recommend deleting this section as unnecessary." Thank you for your comments.  We will consider making changes.   However, the intent is a summary of repair and replacement activities, not a detailed report on all R&R activities.

"8.3.b "Responsibility for operations is negotiable, and it can impact performance."
As written, this conflicts with C.6.1. Recommend re-writing C.6.1 to reflect ability to negotiate responsibility. 8.3.c "Responsibility for maintenance is negotiable, and it can impact performance."
As written, this conflicts with C.7.1. Recommend re-writing C.7.1 to reflect ability to negotiate responsibility. 8.3.d "Responsibility for repair and replacement of contractor-installed equipment is negotiable, however it is often tied to project performance."
As written, this conflicts with C.8.1. Recommend re-writing C.8.1 to reflect ability to negotiate responsibility."  Under the applicable ESPC statute, the Government is neither allowed nor required to undertake the risk of ECM repairs or maintenance.  Rather, that responsibility lies with the contractor.  See 42 U.S.C. § 8287(a)(2)(A).  In addition, because the contractor is responsible for the level of guaranteed savings, the contractor bears the ultimate responsibility for the proper repair, maintenance and operations of the equipment installed.  Although responsibility for repair, maintenance or operations remains with the contractor, performance of these activities may be undertaken by either the contractor or agency, as negotiated.  Where the agency performs the activities, the contractor is required to provide adequate work requirements, work procedures, and checklists, and conduct periodic inspections, to ensure the activities are performed as necessary to achieve the guaranteed savings.  The contractor therefore bears the ultimate risk regardless of which party performs the activity and all payments to the contractor must be made from energy savings.  If the contractor believes that the agency has failed to perform repair, maintenance or operation activities in compliance with contractor-provided work procedures, and ECM performance is adversely affected, the contractor should promptly notify the DOE Contracting Officer and request an equitable adjustment under the Changes Clause (FAR 52.243-1) of this master IDIQ.  We are considering adjustments to J-8.3 to be in alignment with C.6.3, C.7.3, and C.8.3.

"Attachment J-4 - Technology Categories TC-16 - suggest DOE add another bullet "Industrial process improvement""   Thank you for your comments.  We will consider making changes.

"Comment: Attachment J-5 - Annual report - lists delivery at 30 days after each year. This appears to be inconsistent with obtaining written acceptance on the annual report prior to "anniversary" invoicing. Suggestion: Suggest adding clarification language to eliminate inconsistency."  Thank you for your comment.  We will consider making a change.

"Comment: Attachment J-5 - Post Installation Report - lists delivery at 30-60 days after project acceptance. This appears to be inconsistent with obtaining written acceptance on the Post Installation report prior to invoicing. Recommendation: Suggest adding clarification language to eliminate inconsistency."  Thank you for your comments.  We will consider making changes.

"Comment: Attachment J-6 - Schedule TO-2 and TO-3. On TO-2 "Indirect implementation expense" appears to require a $ amount, while on TO-3 under the "Post-Acceptance Performance Period Expenses" the "Indirect Cost Rate" is required to be in %. Please clarify DOE intent to report the indirect expenses in a different manner for each form. Another similar question for the profit line item on each form. Recommendation: Suggest DOE choose one method % or the actual $ amount to be consistent between the forms."   Thank you for your comments.  We will consider making changes.

"COMMISSIONING PROCESS -- Note: This attachment is currently under development and may or may not be incorporated into this contract. Discussions are ongoing on whether the information regarding the Commissioning Process is better suited as a stand alone guidance document instead of as a contract attachment. Reference Section C.5.4 We reserve the right to review any as yet "TBD" Commissioning procedure."  Thank you for your comments.  We will consider your request.

"Definition of Post-Acceptance Performance Period Expenses The only way to recover an offsite investment required under a TO, which will have a financing component, is through the Post-Acceptance Performance Period Expenses."  Thank you for your comment.

J-1 Acronym list is missing FP (Final Proposal), which is used throughout add to the list Thank you for your comment.  We will consider making the change.

J-12 Discussions are ongoing on whether the information regarding the Commissioning Process is better suited as a stand alone guidance document instead of as a contract attachment. Guidance doc is more appropriate Thank you for your comment.  We will consider making the change.

J-13 Reconciliation and set off language for ESPC projects Consider elimination of costly reconciliation and set off language for ESPC projects in favor of a uniform savings verification standard for all energy efficiency projects regardless of funding source Thank you for your comments.  Despite our efforts to do so, we could not find “reconciliation and set off language for ESPC projects” in J-13.  It is further unclear what this question means by “uniform savings verification standard.”

J-13 The present IDS provides for markup. This now asks for Indirect Expense and separately Profit. The question is whether Indirect Expense should be more clearly defined as Overhead since our Construction Budget has items such as legal which cover several projects which by the RFP's definition would be considered 'Indirect Expense' Please clarify and provide an example Thank you for your comments.  It is not the purpose of the contract to prescribe contractor accounting systems.

J-13 Under Key events, (a) within one box asks for the effective dates of Premium Over Index and Financial Procurement Price are good. These are two separate issues, one controlled by the finance company and one by the ESCO. Have two separate boxes for these categories so that two different dates can be entered in the spread sheet.  Thank you for your comment.  We are considering clarifying the information in Table 2 of J-13.

J-13 Item 7 asks for Total Post Acceptance Period performance payment (sic). Does this mean Year One payment, or total payments over the term of the performance period? If the latter, this underscores having a total column in TO-3 than can be used as reference Please clarify if total post acceptance period payments is in fact total over the term. Thank you for your comment.  We are considering clarifying Table 7 in J-13.  This is intended to be the Year One Annual Payment, not the total over the term.

J-14 Item 3 Financing Term index rate based upon interpolating really isn't necessary as financiers can quote from different indices, what really matters is the net present value of the total payment stream payable to the financiers. Suggest that if a financier wants to use an alternate index, that the index be specified along with the applicable source to provide backup. Actual value of proposal can be calculated from NPV of payments to the Government Thank you for your comment.  We will consider making the change.

J-2 Indirect Cost has one definition in Implementation and a substantially different and more cumbersome definition in Post Acceptance. Request that indirect costs be defined the same for both - with a clear definition Thank you for your comment.  We will consider making the change.

J-2 Project Interest Rate appears to be defined incorrectly. The basically state that it's the "proposed Added Premium" Project Interest Rate should be defined as the sum of the proposed Added Premium and the Index Rate Thank you for your comment.  We will consider making a change.

J-2 Const Finance Charge Defn: Has reference to including in Final Procurement Price on PA-3. What is PA-3? Is this a PA equivalent to TO-3? If so, PA does not require TO-3 schedule? Please clarify what PA-3 is referring to. Thank you for your comment.  PA-3 is a typo and we will make a change to remove the reference.

J-2 ECM Defn: Say ECMs must be Life Cycle Cost effective per 10CFR Part 436, Subpart A. This implies that each ECM alone must meet some LCC hurdle. Not likely that renewables and major infrastructure ECMs will meet this. Request clarification. This appears to take away the concept on bundling ECMs if each ECM on its own must meet a LCC effective criteria.  The ESPC authorizing legislation defines ESPC contracts as those that provide for an identified ECM or a series of ECMs at one or more locations.  DOE encourages, and it is our intention to allow, the bundling of related measures (smaller, larger, shorter payback, longer payback, etc.)to save energy, reduce energy costs, and promote the use of renewable technologies, such that the overall project is life-cycle cost effective.  A group of related ECMs may be bundled together to become one or more larger ECMs for purposes of determining life cycle cost effectiveness.  We will consider clarifying language.

J-2 Energy Related Cost Savings defn: Does not make it clear that energy related cost savings (i.e. O&M savings) can be recurring costs but they usually are. Add words to the definition to make it clear that energy related cost savings can be recurring (like it has for Energy Cost Savings). Thank you for your comment.  We will consider making a change.

J-2 Implementation Price defn: States that price includes Project Development costs. Project Development Costs defn state that this is costs after TO RFP and NOI. What about PA costs incurred. Need clarification on whether PA related costs are recoverable and can be included in Implementation Price.   Thank you for your comment.  We will consider making a change to clarify.

J-2 Indirect Cost Defn: this sounds like overhead costs. See defn for Past Acceptance Period Indirect costs where is specifically state overhead and G&A. Need clarification on what is included in Implementation Price Indirect costs (they go on Schedule TO-2 as a specific entry. Need to understand how they are used, if they are to be based on fixed %, and how we need to justify them. Contractor’s accounting systems determine what costs are direct and what costs are indirect.  Many contractors have approved indirect rates and indirect cost categories already established in their accounting practices.

J-2 Definition of "Estimated Cost Savings" should allow for annual utility rate escalation factors Please change "in affect at the time the project is developed" to "and annual escalation factors as agreed upon in the FP" Thank you for your comment.  We will consider making a change.

J-2 Definition of Indirect Cost - Don’t understand the definition Please clarify and provide an example Indirect costs (or overhead) in contrast with direct costs, are expenses that have been incurred for purposes common to all projects, but which cannot be identified and charged directly to each individual project without an inordinate amount of tracking and accounting. These expenses range from utilities, building maintenance and renovation to accounting, payroll.   Contractors determine what costs are direct and what costs are indirect.  See FAR 31.202 for more information regarding direct and indirect costs.

J-2 Definition of Multiple Tech Category projects says the cost must be broken down into TC's. This is an extremely cumbersome requirement, and may even be impossible (pricing is often not done by TC) Suggest remaining with current method - choose the single most applicable TC for each ECM Thank you for your comment.  We will consider making a change.

J-2 Definition of Post Acceptance performance period Indirect Cost - This pricing element sounds different from Indirect Construction costs - needs clarification Please clarify and provide an example The definition of indirect costs doesn’t change with a different phase of the project.  What costs are direct and which are indirect is determined by the contractor according to its established accounting practices.

J-2 Definition of Project Development should include PA Please add PA Thank you for your comment.  We will consider making a change.

J-2 The Government will determine whether an ESPC contractor-proposed task assumption, reduction, or elimination will be considered recurring energy-related cost savings. This can be significant and contractors need this decision made early on and without mixed signals or conflicting positions from different organizations (site, agency, DOE) Please clarify who will make this decision and when This should be communicated and agreed to by the agency and contractor.  The timing of this decision would be on a case-by-case basis.

J-2 Commissioning definition references Attachment TBD. Text will need to be edited if J-12 is not developed. Thank you for your comment.  We will consider making a change.

J-2 Post Installation M&V Activities description states that "Cx assures that the building systems perform interactively in accordance with the design documentation and intent." Should remove "building systems" and replace with "ECM's". Thank you for your comment.  We will consider making a change.

J-2 Attachment J-12 Cx Process may or may not become part of the contract, text suggests it may be better suited as a stand alone guidance document instead of as a contract attachment. Recommend that this remain as a stand alone guidance document given the variety of tasks involved with different ECM technologies as well as the Contractor Specific processes which have been developed for incorporating effective ECM commissioning into the ESPC construction process. Thank you for your comment.  We will consider making a change.

J.4.TC.7 Ground source heat pumps appear here and under TC11. It belongs under TC4, HVAC Systems or TC11, Renewables. Delete from TC7 Thank you for your comment.  We will consider making a change.

J-4 Generation in excess of site needs does not appear to be currently authorized. Recommend removing this restriction (remove as a future TC, and allow under TC.10) Because this contract cannot be contrary to existing law, we are not authorized to make this change.

J.6.1.2.D Escalation Rates. The notes appear to assume a uniform escalation rate whereas NIST is escalated at different rates in each year. Reference to note 6 is incorrect. It should be note 7 Change note reference. Thank you for your comment.  We will consider making a change.

Please clarify if using uniform escalation rates or NIST rates. The default is NIST unless another methodology is allowable and agreed to by the agency and contractor.

J-6 In line with the comment on section J.6.1.2.F, the guaranteed annual cost savings do not necessarily have to exceed the contractor payments in such cases where other funds (whether rebate, etc.) are used to meet contractor payments. Remove the 4th sentence starting with "The guaranteed annual…". Thank you for your comment.  We will consider making a change.

J-6.1.1 and 2 The TO-1 Schedule has 24 years but does not have a row for total project expenses. Suggest adding a row for total project costs over the term of the contract. Thank you for your comment.  We will consider making a change.

J-6.1.1G TO-1 Final - Discusses column h for share of savings over and above guarantee. But Att J-7 TO-1 (PA and Final) templates do not show a column h. Please clarify Column h and its use. This is a typo.  We will change the reference to column h.

J-6.1.2A Should not be limited to avoided R&R; Need to allow MILCON or public benefits funds or ECIP to be applied as a one-time payment The law and statute do not currently allow this.  Delete "for repair or replacement by contractor" (reference the INSTRUCTIONS FOR IMPLEMENTING EXECUTIVE ORDER 13423 March, 2007, which says "Appropriated funds may be combined with Energy Savings Performance Contracts (ESPCs) and Utility Energy Service Contracts (UESCs) to leverage government funding and optimize project scope and reductions in energy use and cost of facility operations.")

J-6.1.2.F Requirement that savings exceed payments during the implementation period precludes use of appropriated funds. Should allow any funds - MILCON or public benefits funds or ECIP to be applies as a one-time payment Remove the note, and reference the INSTRUCTIONS FOR IMPLEMENTING EXECUTIVE ORDER 13423 March, 2007  The law and statute do not currently allow this.

J-6.1.2.G This provides for a contractor performance incentive payment. This payment is not defined previously in the definitions and it is unclear of its intent or its operating mechanism. Please clarify Thank you for your comment.  J-6.1.2 G is not applicable and will be deleted.

J-6.1.4 The TO-3 Schedule provided does not include a column for total costs over the contract term. Suggest adding a column for total project costs over the term of the contract.  Thank you for your comment.  We will consider making the change.

J-6.1.6 Refers to columns (a) and (b), but column (a) has been removed in the new version of TO-5 Remove these references Thank you for your comment.  We will consider making the change.

J-6.1.6 typically included as a note to TO-5, suggest it is added to the contract. Add the following to TO-5: The Government shall deliver copies of all cure or show cause notices or notices of default to the Contractor and any third party lender/trustee, and will allow any third party lender/trustee a reasonable period of time to find another contractor to take over performance of the contract on the same terms and conditions as the Contractor in the event Contractor defaults in performance by failing to properly cure or commence the cure of a default after receiving notices of same. Thank you for your comment.  We will consider making the change.

J-6.1.6 Columns (a) and (b) are not labeled, and there is only one column which would appear to be consistent with the description of column (b) Add Column (a) and label for Column (b) Thank you for your comments.  Reference to column (a) in J-6.1.6 will be deleted.

J-6.1.6 there is a potential problem with the annual cancellation ceiling and capital outstanding. These assume that the payments have been made in a timely manner. If payments are late, the remaining principal sum will accrue additional interest costs that could lead to the actual amount outstanding exceeding the outstanding unamortized principal Suggest Note be added that outstanding unamortized principal ceiling assumes that all payments have been made on schedule. The ceiling can be increased by the amount of accrued interest when payments are late in the year of full or partial termination. Thank you for your comment.  Column (a) reference in J-6.1.6 will be deleted.

J-6.2 The label of "Develop and Submit Preliminary Assessment Proposal" appears to allow for these costs to be recovered. This is inconsistent with H.4.1 Please clarify and provide an example Thank you for your comment.  We will consider making the change.

J-6.2 In Post Implementation, they separate out the categories of Indirect Labor and Overhead Costs. Schedule TO-3 only has two rows for Indirect Costs. The category of Management/Administration where we include subcontracting administration, accounting, would be put 'Indirect' (costs that can be attributed to more than one ECM) right now. The definitions of Indirect Costs and Overhead Costs needs to be clarified and a better organization of where they are to be treated and carried. Thank you for your comment.  We will consider making the change.

J-7 TO-2 Col (b) under Implementation is "Indirect"? Definition is unclear on whether this is overhead, or internal direct costs, or ?? Please clarify and provide an example Indirect expense (i.e. G&A)

J-7 TO-3 It appears to be assumed that RECS and White Tags can be applied 100% to principal reduction; this may not be allowable by the financiers. Suggest Government ask Financiers for guidance Thank you for your comment.   We cannot speak for how all financiers will look at this issue.  However, the practice of applying 100% to the principle is currently how it is being done.

J-7 Sched TO-1 The notes on the schedule state that water and sewer savings escalate at O&M savings rate. In past this has been escalated at utility rate. Please clarify the reasoning for adjusting this utility cost at an O&M escalation rate.   Thank you for your comment.  This approach is consistent with the DO-1 schedule in the existing ESPC contract.

J-7 TO-2 Has single entry for Indirect Costs. Not clear what this is. Appears to be overhead and G&A type cost. Looks like they are essentially splitting current "mark up" into two distinct categories of Overhead and Profit. Confirm definition of indirect costs. Need to understand how it is developed, what will be allowed, etc. If it isn’t a direct cost or doesn’t go here, it needs to be in profit. Please clarify what elements make this up similar to previous B-Schedules that has specific elements for what was included in "Maximum Markups" Thank you for the comments.  However, we don’t agree with your conclusions.  Indirect costs (or overhead) in contrast with direct costs, are expenses that have been incurred for purposes common to all projects, but which cannot be identified and charged directly to each individual project without an inordinate amount of tracking and accounting. These expenses range from utilities, building maintenance and renovation to accounting, payroll.   Contractors determine what costs are accounted for as direct and what costs are indirect.  See FAR 31.202 for more information regarding direct and indirect costs.

J-7 TO-3 Indirect Cost rate (%) gets entered here. From the definition it looks like this is overhead and G&A. Is this fixed for IDIQ or is it determined for each TO somehow. The indirect cost rate will not be in the IDIQ contract.  It will be specific to each TO. Confirm definition of indirect Cost rate. Need to understand how it is developed, what will be allowed, etc. Please clarify and provide example. Indirect costs (or overhead) in contrast with direct costs, are expenses that have been incurred for purposes common to all projects, but which cannot be identified and charged directly to each individual project without an inordinate amount of tracking and accounting. These expenses range from utilities, building maintenance and renovation to accounting, payroll.   Contractors determine what costs are accounted for as direct and what costs are indirect.  See FAR 31.202 for more information regarding direct and indirect costs.

J-8 J.8.2.c Weather (risk matrix). Statement that, if Agency accepts weather risk, payments still cannot exceed savings. That implies there is a limit to the Agency's risk and that the Contractor either accepts part of it or lowers his savings guarantee enough to cover all possible permutations. There is no mention of aggregating the variances over the contract term. Please clarify how Agency accepts weather (or any risk for that matter) if the rule is always that payments must not exceed savings. Define acceptable ways to normalize as with historical averages. The contractor and agency will negotiate risk allocation, and it will be specified in the resulting TO.  However, payments to the contractor cannot exceed energy savings for that year.  (See 42 USC section 8287).

J-8 R/R Matrix Agency Assessment column is currently not utilized; if it were what the final resolution is in cases where the contractor proposed Approach and the Agency Assessment don't fully agree - which one is contractually binding? Agency Assessment should be part of the review of the Final Proposal, not written into a contract document. Delete Agency Assessment column (contractor proposed approach is either approved and becomes part of the contract, or it is negotiated and modified prior to award"  Thank you for your comment.  We will consider making the change.

"J-1 Definitions – Implementation Expense > Interaction between implementation expense, implementation profit, direct and indirect costs unclear. > Clarify what level (Total or by ECM) profit/indirect is calculated."  Implementation Expenses include direct and indirect costs.  They can be determined by ECM to determine the total implementation expense.

"J-2 - Please probide additional clarification."  Sorry, there is not enough information in this question to provide an answer.

"J-7 TO-2 Implementation Price by ECM \ J.13 Investor Deal Summary (IDS) Template and M.3.2 Price criteria We have not been able to locate or identify a pricing methodology in the DRFP. J-7 and 13 sections indicates that that indirect and profit elements are separated and not combined as total mark up in current contract which runs counter to current and successful commercial practice. Thank you for your comment.

M.3.2 implies through FAR regulation that each agency should use its own pricing methodology, which will create multiple processes across the Government, reducing efficiency and consistency and adding time to the processes. The FPCC recommends establishing a single Pricing Methodology using the commercial pricing process in the current IDIQ that provides markup based on technology category and its performance risk. Thank you for your comment.  M.3.2 is only applicable for the recompete of the master IDIQ contract for price evaluation of proposals.  Sections L and M of the RFP will not be incorporated into the subsequent master ESPC IDIQ contract.

J-7 TO-2 indicates that indirect and profit elements are separated and not combined as total markup in current contract. That is correct.  J-13 section 1 indicates that indirect and profit elements are separated and not combined as total markup in current contract."  That is correct.  There is no “mark-up” in this DRFP.

"J.8: Section 1 - M&V Confidence
Recommend deleting. J.8.1: Responsibility for Financial related items
There is no reference here to who is responsible for energy rates (i.e. costs of electricity, fuels, water). It may be prudent to add a section 1 (g) to note that utility rates are beyond the control of the Contractor or the Agency, but that the Agency typically assumes the risk for changes in rates as they would without an ESPC project."  The contractor and agency will negotiate risk allocation, and it will be specified in the resulting TO.  However, payments to the contractor cannot exceed energy savings for that year. (See 42 USC section 8287)

"Permits only a single Performance Period payment. Recommend revising TO-1 to permit multiple Performance Period payments, in accordance with intent of Section E.3.1."  Thank you for your comment.  We will consider making the change.

"TC.20 Future ECMs - (not currently authorized): Sale or transfer of electrical or thermal energy generated on-site but in excess of Federal needs, to utilities or non-Federal energy users. 1) Revise to read "Sale by the Government of electrical or thermal energy generated on-site, but in excess of Federal needs, to utlities or non-Federal energy users." Thank you for your comment.  We will consider making the change.

2) This provision, if not authorized, would severely handicap the development of wind energy projects. Because wind energy is an inherently variable generation source, there will be times when wind turbine generation output may exceed the on-site demand of the host Government facility. Having the ability to sell this surplus power to the grid would greatly enhance the economics of most wind projects, and would be critical to the viability of others. In addition, many states now have very attractive REC markets, but power might need to be sold to the grid to take advantage of those RECs. For example, a wind project in Maine or New Hampshire would earn far more REC income if the power were sold to the Massachusetts market, but this would require first going out to the grid. The provision as written is counter to the Government's objectives of promoting renewable energy. There may be some concern among utilities that the Government is going to compete with the utilities for generation to the grid and would have an unfair advantage in such competition. Suggest authorizing such sales."  Thank you for your comment.

"TO-5, ANNUAL CANCELLATION CEILING SCHEDULE Missing column (a) Outstanding Capital Investment as described in J-6.1.6"  Thank you for your comment.  We will consider making the change.

Section K

"K.2 Offer Acceptance Period - Say will hold offer firm for 210 days. Assume this is just for sample RFP response. Please clarify that this is for the IDIQ response and not for each TO proposal. Holding prices firm for this lengthy period drives up cycle time as well as construction costs."  This period applies to the IDIQ, and not to subsequent TOs.

"Offer Acceptance Period 210 calendar days seems excessive for pricing purposes."

This period applies to the IDIQ, and not to subsequent TOs.

Section L

"1) Clarififcation of Page Limits
Please clarify if there are page limits that apply to Volume II, Component 1. Table of Contents and List of Tables and Figures, and Volume II, Component 3. Summary of Exceptions and Deviations. It is anticipated that Component 1, Table of Contents and List of Tables and Figures, will not be included in the page limit; however, Component 3, Technical Exceptions and Deviations would be included in the page limit.  Tab dividers are not included in the page limitations for any section. Also, are tab dividers included in any page limitations specified for Volume II? 2) "Part III, Technical Approach for Renewable Projects (see Section L.10.4.)"
There is no Part III or Section L.10.4 in the draft. Will this reference be omitted in the final RFP, or will a separate Technical Approach for Renewable Projects section be included?"  Yes, That is our current intent.

"1) Concern: This is the third different subcontracting requirement in the RFP and it establishes a goal of 20% for small businesses (to include 10% for socially and economically disadvantage firms and 10% for women-owned firms. How do the three different sets of goals relate to each other/ What are all of the small business subcontracting goals for this RFP? Recommend the RFP be revised in Section H or L to show all the subcontracting goals for this RFP in one place. The subcontracting clauses that are currently in this DRFP are prescribed by the Federal Acquisition Regulation (FAR).  The FAR also prescribes the section that the clause must be located.  2) Problem: Requires the offeror to submit a subcontracting agreement for major subcontractors they plan to use in performance of the contract. Major subcontractor is defined as a company performing at least $5 million of work in any given year. Two primary criteria for selecting subcontractors are project scope (technology) and location. Since neither of those criteria are known at this time it is not practical to attempt to identify subcontractors or enter into subcontracting agreements. Previous paragraph requires subs to be competitively selected and that also precludes us form identifying a particular sub that will do more than $5 million in any given year. Recommendation: Delete the requirement for subcontractor agreements."  Thank you for your comment.

"1) L.10.1.A.3 allows for appendices and attachments for ECMs. Are appendices and attachments also permitted in Part II, Technical Approach for Site-Specific Projects (L.10.1.A.2 does not specify). With regard to appendices and attachments for ECMs, do any page limitations apply? 2) Do the same page limitations specified in L.10.1.A.2 for Part II, Technical Approach for Site-Specific Projects apply to Part III, Technical Approach for Renewable Projects (i.e. 25 pages, plus 5 pages per ECM)? 3) L.10.2.A: Past performance questionnaires are to be returned in a sealed envelope notwithstanding the Paperwork Reduction requirement mandates for federal agencies.
Recommendation: Revise the language to allow questionnaires to be returned electronically, by fax, or a hardcopy by mail."  Thank you for your comment.  We will consider making a change.

"1. Page formatting and restrictions: The proposal shall be typed in Times New Roman font type and font size 12 for text pages. Page size shall be 8.5 x 11 inches for text pages, and a maximum of 11 x 17 inches for spreadsheets, charts, tables, diagrams, or design drawings; font type shall be Times New Roman and font size shall be 12 for text pages and minimum 10 for spreadsheets, charts, tables, diagrams, or design drawings. Pages larger than 8.5 x 11 inches shall count as two pages for determining page limits. Page margins shall be a minimum of one inch at the top, bottom and each side. May page headers and footers that contain page numbering, volume identification, disclosure statements, and any other document information/identification be outside the 1" text margins? Also, may page headers and footers be in a font size smaller than Times New Roman 12 point?"  Yes, the page headers/footers can be outside the 1”text margin; and may also be in a font size smaller than Times New Roman 12 point.

"Comment: Sec. L.10.A.3 (pg. 156) - "Part III, Technical Approach for Renewable Projects (see Section L.10.4), shall not exceed twenty-five (25) pages in length." There is no Section L.10.4 and no other reference to "Technical Approach for Renewable Projects." Please clarify or identify where the referenced section is located. Recommendation: Suggest DOE provide this Section for industry review and comment."  Yes, We intend to delete L.10.1.A.3 from the final RFP

"Concern: Page limits of 50 pages for the technical proposal may be insufficient. Per the note accompanying this paragraph the only item exempted for the page limits is the past performance information. The RFP will have to limit the requirements for personnel biographies (resumes), glossaries, table of contents requirements, etc. or the 50 page maximum will not be sufficient. Technical criterion 2 requires the offeror to demonstrate for "each ECM technology" listed in Attachment J-4 except one (future ECMs) and there are 19 major ECM categories listed. Every one of the 19 have multiple ECM technologies sub-categories. Again, this counts against the 50 page limit. Recommendation: Page counts should exclude personnel biographies, table of contents, table of figures, acronyms, glossaries, and proposal dividers (tabs). Recommend either increasing the page count if contractors are required to provide a narrative demonstrating experience for successfully implementing each ECM. An alternative would be to simply provide a table for the contractor to certify each technology for which they have experience, although this is not a very effective means to evaluate experience and capabilities."  Thank you for your comment.  We will consider making a change.

"Concern: Page limits of 50 pages for the technical proposal may be insufficient. Per the note accompanying this paragraph the only item exempted for the page limits is the past performance information. The RFP will have to limit the requirements for personnel biographies (resumes), glossaries, table of contents requirements, etc. or the 50 page maximum will not be sufficient. Technical criterion 2 requires the offeror to demonstrate for "each ECM technology" listed in Attachment J-4 except one (future ECMs) and there are 19 major ECM categories listed. Every one of the 19 have multiple ECM technologies sub-categories. Again, this counts against the 50 page limit. Recommendation: Page counts should exclude personnel biographies, table of contents, table of figures, acronyms, glossaries, and proposal dividers (tabs). Recommend either increasing the page count if contractors are required to provide a narrative demonstrating experience for successfully implementing each ECM. An alternative would be to simply provide a table for the contractor to certify each technology for which they have experience, although this is not a very effective means to evaluate experience and capabilities. NOTE: I believe I mixed up comments / section #'s in my preceding submittal - please ignore that last one."  Thanks for the follow-up.

II. PAST PERFORMANCE EVALUATION "Please rate the contractor as "Unsatisfactory" (0), "Poor" (1), “Fair” (2), “Good” (3), “Excellent” (4) or "Outstanding" (5) (see rating definitions below) in the following areas: EVALUATION ELEMENT (F) (U) (N)" The evaluation element table currently has three columns (F, U, N) for customer to check off performance in each of the five (A - E) categories. This is inconsistent with the requested ratings of "0" - "5" to indicate performance ranging from "Unsatisfactory" to "Outstanding". Recommend replacing three existing columns with a single one for customer to fill in their "0" through "5" rating."  Thank you for your comment.  We will consider making a change to be consistent.

L.10 makes mention of a L.10.4 on page 156, but there is no L.10.4. This is significant because L.10.4 is supposed to outline the submission criteria for Part III, which is the final part of the Technical Volume (II). No mention of Part III is made in section M. Please clarify."  Thank you for your comment.  We intend to delete L.10.1.A.3 along with the L.10.4 reference from the final RFP

"L.10.1 A 3. Reference to Section L.10.4 Section L10.4 does not exist"  Thank you for your comment.  We intend to delete L.10.1.A.3 along with the L.10.4 reference from the final RFP

"L.10.1.A.3 describes requirements for RFP response Vloume II, Part III and refercnes section L.10.4 for futher explaination of technical discussion.
It seems that section L.10 ends with L.10.3 and ther eis no subsection L.10.4"  Thank you for your comment.  We intend to delete L.10.1.A.3 along with the L.10.4 reference from the final RFP

"L.11.1 TO-2 includes indirect costs and profit margin. It's not clear if this is expected to become binding %'s offers once accepted Please clarify L.11.1.A.3 Requires bidders to show " a clear understanding of contingencies". Contingency is such a controversial subject, it should be clarified what is expected. Please clarify L.11.2 It is unclear if this is a firm final offer to do the work at the price quoted or just a representation of familiarity with a broad group of technologies and the ability to assemble a package that has positive cash flow. Please clarify L.4.II Past performance Questionnaire includes three columns, labeled (F), (U), and (N) with no explanation of what they mean Please clarify  Thank you for your comment.  We intend to make a change to be consistent with the “0” - “5” rating scale.  L.6 The Sample Project, as part of the RFP response drives up proposal costs and is not a very effective bidding mechanism. Suggest eliminating the Sample Project"  No, proposed indirect costs and profit percentages are subject to future negotiation for each Task Order.

"1. Are the provisions of section L.4 required for the Master IDIQ contract, or only for specific Task Orders which require access to classified information or special nuclear material?  Sorry, we are continuing to research an answer to your question.

Section M

"Concern: The criteria is very unbalanced in that the factor with the next to lowest factor is Past Performance, yet that one criteria includes every other criteria being evaluated. In other words, past performance becomes secondary to promised future performance. Past performance records clearly reflects the offeror's qualifications in the other criterion, i.e. breadth of experience in ECM technologies; the effectiveness of the offeror's management approach; the ability to develop energy baselines, and capabilities to develop meaningful M&V plans. Recommendation: Past Performance should be weighted as heavily or heavier than any other criterion."  Thank you for your comment.  We will consider making a change.

"M.3.1.A Federal Government ESPC work is very unique and specialized. As such past experience in with Federal agencies should be a significant area of focus and the weighting factor should be increased from 10% to at least 20% Recommend increasing weighting and making evaluation consider Fed ESPC experience as a plus Thank you for your comment.  We will consider making a change.

M.3.2 This indicates that price that will be used to determine best value is TO-1 column F. This column includes debt service, so bidders could simply assume ridiculously low market spreads to be competitive, which will skew the value of this evaluation element. Consider other suggestions as made in previous comment. Thank you for your comment.  We will consider making a change.

M.3.2.B This section is a discussion of price as not absolute criterion yet will not award if price premium is too high. Is price based upon markups or upon direct costs in the proposal? Price is the sum of contractor payments during the term of the task order.  Also, performance period pricing needs to be clarified as to whether looking at total costs to maintain the project, or just costs assumed by the contractor. Costs assumed by the contractor.  Please clarify and provide an example M.6.3 Requires that bidders be on DOE qualified list. Recommend that NAESCO certification be a another requirement to support the ESCOs experience and capability. Add requirement of NAESCO certification"  Thank you for your comment.  We will consider making a change.

"M.3.2 Basing evaluation on an open ended scope of work, which will be different for each response, will make it next to impossible to evaluate the Contractor responses to the Seed project. Implicit in the values in Column F of Schedule TO-1 are multiple components of pricing. To allow a fair and equitable price competition, please provide additional clarification on what it to be included in each of these components to ensure that all bidders are pricing the same scope of work and using the same ground rules. Absent this, price reasonableness review may yield false or inaccurate indications of value. Also, please provide clarification on which of these elements will be considered binding, i.e. standard values that will be applied to all future Delivery Orders offered by a successful ESCO bidder. None will be applied to future task orders• Direct Costs –with any Project based only on information gathered from a Site Data Package and limited site tours, there is considerable interpretation of the Site Data Package, facilities needs and priorities, and inevitable variation in the proposed scope of work. Therefore, it will be very difficult to review and compare pricing across multiple bids for price reasonableness. Even within a single bid, the price reasonableness review will be challenging given the limited information available. Please clarify the intent of Price review for Direct Costs and the evaluation criteria that will be used.  The DRFP states that price proposals should contain copies of catalog prices, published price lists and multiple quotes for ECMs, to support the price reasonableness of the proposal.  Additionally, DOE may use other benchmarking methodologies or engineering “rules of thumb” to assist in determining price reasonableness.
• Indirect Cost - there is no clear definition of what price elements are to be included as indirect costs. Every company may treat this somewhat differently in its accounting system. How will the DOE ensure a fair and equitable comparison on this price element? The total price is the sum of contractor payments which will encompass direct, indirect and profit.  • Profit Margin - there is no indication as to whether the profit margins proposed will apply to only the Seed Project or to all Delivery orders under this IDIQ. The profit proposed on this IDIQ will not apply to any future task order. The profit and index factors supplied are for IDIQ proposal estimating and evaluation purposes only.  • Interest Expenses - since column F is total contract payments, it includes debt service payments (long term interest). It is not clear if or how the Government intends to review this aspect of pricing for reasonableness and value. For a sample project, accurate interest rate spreads will be difficult to obtain, and bidders could offer artificially low values. Thank you for your comment.   We will consider making a change.  • Service Phase Expenses - since column F is total contract payments, it includes service phase expenses (for O&M services, M&V, and contract administration) It is not clear if or how the Government intends to review this aspect of pricing. The scope of these services varies greatly from project to project and is best established after considerable discussion and review of options with Site Maintenance personnel and agency staff. It is therefore unclear how this price can be reviewed on an equal basis for best value."  DOE acknowledges that each proposal will be unique.

"Sec.M.5 - Basis for Award - "The Government is more concerned with obtaining a superior Technical proposal than making an award at the lowest price. However, the Government will not make an award at a price premium it considers disproportionate to the benefits associated with the evaluated superiority of on Technical proposal over another." Please explain how DOE will objectively consider the price evaluation factor? Will DOE compare overall price? or will DOE compare profit numbers? How will DOE account for one Contractor's technical proposal being different from another Contractor's technical proposal? It appears reading further in this section there may be some subjectivity to the evaluation. Please clarify how DOE will use objective criteria for the evaluation process."  DOE acknowledges that each proposal will be unique.  The DRFP states that price proposals should contain copies of catalog prices, published price lists and multiple quotes for ECMs, to support the price reasonableness of the proposal.  Additionally, DOE may use other benchmarking methodologies or engineering “rules of thumb” to assist in determining price reasonableness.

""Each offeror will be evaluated on its expertise and experience in each ECM technology category (TC) (except TC 19, Future ECMs) in Attachment J-4…" Att J-4, TC.20 is Future ECMs."  Thank you for your comment.  We intend to correct the references in L.10.2.B and M.3.1.B to refer to TC.20, Future ECMs, in accordance with Attachment J-4.