| Area/Facility Description Title: SHSD FRA-01 Area/Facility # (if applicable): Building 120 | Point Value → Parameter ↓ | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- | --- |
| Area/Facility Description: Office building, one lab, and associated shed and trailer | Occupancy or Use (A) | <once/year | <once/month | <once/week | <once/shift | >once/shift |
| Name(s) of Risk Team Members: Fred Horn, Carol Ogeka, Arthur Piper, Gerard Shepherd, Chris Weilandics, Anna Bou | Severity (B) | First Aid Only | Medical Treatment | Lost Time | Partial Disability | Death or Permanent Disability |
| Approved by: Robert Selvey SHSD OSH POC Date: 02/27/08 Rev.#: 3 | Likelihood (C) | Extremely Unlikely | Unlikely | Possible | Probable | Multiple |
| Reason for Revision (if applicable): Scheduled Periodic Review. | Comments: |

|  |  | Without Controls | Control(s) | Risk with Controls in Place | Control(s) Added to Reduce Risk | Risk with Additional Controls in Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Physical Item or Activity | Hazard(s) | Occupancy A | Severity B | Likelihood C | Risk* AxBxC |  | Occupancy A | Severity B | Likelihood C | Risk* AxBxC |  | Occupancy A | Severity B | Likelihood C | Risk* AxBxC | % Risk Reduction |
| Walking | Slips, trips, and falls | 4 | 4 | 3 | 48 | Lighting, building maintenance, intact stair treads and handrails, Tier I inspections, general housekeeping | 4 | 2 | 3 | 24 |  |  |  |  |  |  |
| Walking on ice/snow (outdoor hazards associated with winter) | Slips, trips, and falls (contusions, fractures, broken bones, back injuries) | 4 | 4 | 4 | 64 | Application of sand and salt on icy walking surfaces, drainage at water collection points, grounds maintenance, delayed opening of BNL, wearing appropriate footwear | 4 | 3 | 4 | 48 |  |  |  |  |  |  |
| Indoor air quality | Allergies, asthma, headaches, pulmonary exposure, hazards associated with animal living beneath the building | 4 | 2 | 3 | 24 | Building maintenance, changing air filters from A/Cs and heaters as needed, grounds maintenance (removal of water that could lead to mold), recirculation quality (air exchange rate) | 4 | 2 | 3 | 24 |  |  |  |  |  |  |
| General Fire Hazards | Fire Hazards | 4 | 4 | 4 | 64 | Fire extinguishers, fire alarms, water sprinklers, Tier I inspections, building maintenance, general housekeeping to reduce combustibles, SBMS Fire Safety subject area | 4 | 2 | 2 | 16 |  |  |  |  |  |  |
| Working with electrical equipment | Electrocution, electrical shock | 4 | 4 | 3 | 48 | Tier I inspections, compliance with applicable OSHA regulations, general building maintenance, proper maintenance and inspections of equipment | 4 | 2 | 2 | 16 |  |  |  |  |  |  |
|  | Fire | 4 | 4 | 3 | 48 | Tier I inspections, compliance with OSHA regulations, general building maintenance, proper maintenance and inspections of equipment | 4 | 2 | 2 | 16 |  |  |  |  |  |  |
| Ergonomics (general office work) | Carpel tunnel syndrome, back/neck injuries, eye strain | 4 | 2 | 4 | 32 | Ergonomic reviews and evaluations, training such as back safety training, improved equipment, Tier I inspections | 4 | 2 | 4 | 32 |  |  |  |  |  |  |
| Low Level Rad exposure associated with sealed sources from 120 laboratory | Exposure to low levels of radiation | 4 | 1 | 1 | 4 | Monitoring, posting as appropriate, appropriate storage, logs and use of sealed sources | 4 | 1 | 1 | 4 |  |  |  |  |  |  |
| Security | Security hazards associated with working alone and/or late at night | 4 | 3 | 3 | 36 | Adequate lighting, buddy system, working door locks, escort service | 4 | 3 | 1 | 12 |  |  |  |  |  |  |
| Water Bottle Storage | Gastro-intestinal problems due to elevated bacterial levels | 4 | 2 | 3 | 24 | Proper storage of water bottles, monitoring of water quality, procedure for cleaning and handling water bottles, use of filtered water bottles. | 4 | 2 | 3 | 24 |  |  |  |  |  |  |
| Working with hot surfaces such as photocopy machine, stove and coffee-maker | Burns | 4 | 4 | 3 | 48 | Automatic timer device for coffee-maker, Tier I inspections, adherence to manufacturer’s instructions of appliances | 4 | 2 | 2 | 16 |  |  |  |  |  |  |
| Storage of calibration gases (such as methane, CO2, CO, hydrogen, and nitrogen) and small quantities of corrosives in 120 lab | Splash hazards, health hazards and potential exposure pressurized gases | 4 | 4 | 4 | 64 | Appropriate PPE when handling substances such as face shield, safety glasses, and nitrile gloves, lab coat, compliance with applicable SBMS procedures for storage and handling of chemicals and gases, Tier I inspections, training requirements, postings, signs, labels, and emergency placard outside door (green board) | 4 | 2 | 2 | 16 |  |  |  |  |  |  |

Further Description of Controls Added to Reduce Risk:

Lesson Learned from this Risk Assessment: none

Revision History: Rev 1 Updated the “Physical Activity” and “Controls’ section to remove citation of Bldg 358 radiological sources from this FRA. Add “log” book to controls for low level rad sources. Added “lab coat” to controls involving chemical exposure. Added the “filtered water bottles” that can be an option when they fit existing coolers.

| Risk: | 0 to 20 | 21- 40 | 41- 60 | 61 - 80 | 81 or greater |
| --- | --- | --- | --- | --- | --- |
|  | Negligible | Acceptable | Moderate | Substantial | Intolerable |