TITLE:  PREPARATION OF SLIDES OF METAPHASE CELLS FOR CYTOGENETIC ANALYSIS.

SPECIMEN:  Fixed cell suspensions from harvested cultures of bone marrow, spleen, lymph nodes, tumor cell lines, or primary cultures of solid tumors.

REAGENTS:

1.	Fixative: 3:1, absolute methanol: glacial acetic acid.

Methyl Alcohol Anhydrous AR, Low Acetone, ACS grade, Mallinckrodt,

VWR # MK302410		FLAMMABLE			3 parts

Acetic Acid, Glacial, Baker Analyzed Reagent,

VWR #JT9507-4		CORROSIVE			1 part

CAUTION:  Methanol is flammable; acetic acid is corrosive and combustible.  Use caution when handling.  Fixative is caustic to skin and mucous membranes.  Wash off any spills immediately, flush with water.  Use eye protection.  See MSDS.

Mix fixative in a glass stoppered flask or bottle immediately before initial use.  Store at room temperature.  Mix by swirling the flask immediately before each use.  Fixative should be prepared fresh for each harvest, and stored for a maximum of two hours.

2.	95% ethyl alcohol.

PROCEDURE:

Procedures for preparing slides from cell suspensions are numerous, and vary from laboratory to laboratory.  The following technique was developed by testing multiple variable and methods using murine hematopoietic cells; however, it may be necessary to modify this technique to obtain optimal results in other laboratories.

1.	After harvesting, cells can be stored at -20oC indefinitely, or slides can be prepared immediately.  In either case, the cells must be washed in fixative 3-6 times.  The number of washes depends upon how clean the pellet is, and how clear the fixative is after the third wash.

2.	Centrifuge tubes at approximately 1000 rpms for 8 minutes to pellet the cells.  The supernatant is decanted, and the cell pellet is gently resuspended by tapping the tube.  Add 10 mls of fixative to the tube, and mix the cell suspension by bubbling air through a Pasteur pipette.  This washing process promotes improved chromosome spreading and morphology, and removes cellular debris.

3.	After the last wash, centrifuge sample and discard the supernatant.  Resuspend cell pellet in enough fixative to produce a slightly milky cell suspension (the volume of fresh fixative required is approximately equal to ten times the volume of the cell pellet).  Care should be taken to dilute the sample correctly, since underdilution can result in an overly dense slide and poor spreading of metaphase cells.

4.	Clean glass microscope slides by immersing in 95% ethanol followed by wiping with a Kimwipe or other lint-free cloth.

5.	Place one drop of fixative on the top of the slide (below frosted edge); the fixative will spread and cover the surface of the slide.  Care should be taken not to place more than one drop of fixative onto the dry slide, as too much fixative may cause cell nuclei and metaphase cells to accumulate along the edges of the slide.

6.	Hold the slide at a 60o angle over a steam bath, and drop 4-6 drops of the cell suspension from a Pasteur pipette held 18-24 inches above the slide, beginning at the top of the slide and moving downward. Immediately place the slide over a steam bath created by running hot tap water (45-50oC) into a pan.  Two glass rods, placed 1 1/2 inches apart across the rim of the pan, can be used to hold the slides above the water level in the pan.

7.	The slides are removed from the pan when the fixative has dried from the upper surface (2-3 minutes).  Slides should be aged at room temperature or in a drying oven (55-60ºC) for 1-3 days prior to staining.  Slides for fluorescence in situ hybridization or spectral karyotyping analysis should be stored in a sealed box with a desiccant (Drierite) at 4ºC or –20ºC.

PROCEDURE NOTES:

1.	If the metaphase cells are underspread, one or more of the following steps may be applied:

•	Perform 2-5 additional washes in fixative,

•	Increase the angle at which the slide is held while dropping the suspension,

•	Increase the distance between the slide and the pipette,

•	Dilute the cell suspension by adding fixative.

2.	If the metaphase cells are overspread, one or more of the following steps may be applied:

•	Decrease the angle at which the slide is held while dropping the suspension,

•	Decrease the distance between the slide and the pipette.

Submitted by:

Michelle M. Le Beau, Ph.D.

University of Chicago

mlebeau@medicine.bsd.uchicago.edu