Meeting Agenda

Seams Steering Group - Western Interconnection - Planning Work Group

Technical Support Group

April 30, 2003

Portland Airport Conference Center

1:00 p.m. to 5:00 p.m.

- Introductions

- Review of Action Items from Prior Meeting (see Attachment 1) – Jeff Miller

- 2008 Study Initial Results – Kurt Granat

- Final input on assumptions for 2008 case (see attachment 2) – Kurt Granat

- Development of assumptions for the 2013 Case– Kurt Granat

- Implementation of report writing team – (Jeff Miller, Dennis Phillips, Mary Johannis, Phil Carver/Doug Larson, Marv Landauer, Ken Morris, Cynthia Praul, Jim Caldwell, Kurt Granat and Dean Perry).

- Formation of a transmission subgroup to identify alternative transmission solutions and their associated capacity increases for use in the 2013 studies – Jeff Miller

- Review of study schedule - all

- Action items

- Next Meeting – May ?, 2003 at PDX

Action Items from prior meeting

1.	Comments (red lined) on the draft paper “Differences Between the WGA Study and the SSG Study - - - - ” should be sent to Jeff Miller by Friday, April 11.  Jeff will redraft the paper.

Response – No comments received

2.	Kurt update list of Generator additions. Jim Caldwell will send Kurt a list of wind generators that will be operational by December 31, 2003, which are not currently on the generator list.

Status - Completed

3.	Kurt add a note on the Generator Addition list, describing the criteria used for inclusion of new generators in the 2008 case.

Status - Completed

4.	Kurt will document the gas price forecast used in the 2008 case.

Status – Underway

5.	Jeff will send an Email to the PWG, summarizing the major transmission additions in the 2008 case compared to today’s system.

Status – Done

2008 Case Assumptions

Generator Addition Assumptions - Only generators that will be operational by December 31, 2003 will be included.

Transmission Addition Assumptions - In addition to an energization date prior to 2008, new transmission needs to be either currently under construction or to have received the required regulatory permits.

Reserve Margin – 25% based on nameplate and 2008 summer peak load

Gas Price Assumptions - A median wellhead gas price of $3.00 will be used.  High gas price will be $4.50 and low gas price will be $2.00.

Dependable Capacity for Wind - Wind energy dispatch will be hardwired into the model, same as hydro.  Wind energy dependable capacity will be assumed as 20% of total nameplate capacity.

Gas/Hydro Sensitivities:

1.	Median hydro, low gas price

2.	Median hydro, median gas price

3.	Median hydro, high gas price

4.	Low hydro, high has price

5.	High hydro, low gas price