November 21, 1997

Contract # TW-0928

SPECIAL SPECIFICATION

SECTION 08330-S

ROLLING STEEL DOORS

PART 1 - GENERAL	Page

1.01	Description Of Work	2

1.02	References	2

1.03	Submittals	3

1.04	Quality Assurance	3

1.05	Delivery, Storage and Handling	4

1.06	Project Conditions	4

PART 2 - PRODUCTS

2.01	Door Curtain	5

2.02	Guides, Supports and Accessories	5

2.03	Hardware	6

2.04	Counterbalancing Mechanisms:	6

2.05	Electric Door Operators	6

2.06	Locking	8

PART 3 - EXECUTION

3.01	Installation	9

SPECIAL SPECIFICATION

SECTION 08330-S

ROLLING STEEL DOORS

# PART 1 - GENERAL

## 1.01	DESCRIPTION OF WORK

A.	Description of Work:  Provide and install each insulated rolling steel door as scheduled and detailed in the construction documents and as specified herein.

B.	Related Sections:  Refer to the following sections for related work:

1.	Division 3, Section "Cast-In-Place Concrete."

2.	Division 5, Section "Metal Fabrications."

3.	Division 9, Section "Painting."

4.	Division 16, Section "Electrical Work," for all electric door requirements.

## 1.02	REFERENCES

A.	American Society for Testing and Materials (ASTM)

A446	Specification for steel sheet, zinc-coated (galvanized) by the hot-dip process, structural (physical) quality.

A525	Specification for general requirements for steel sheet, zinc-coated (galvanized) by the hot-dip process.

A526	Specification for steel sheet, zinc-coated (galvanized by the hot-dip process, commercial quality.

B.	National Electrical Manufacturer's Association (NEMA)

C.	Underwriter's Laboratory, Inc. (UL)

UL-305	Standard for Safety

D.	Factory Mutual (FM)

Fire Tests of Materials

## 1.03	SUBMITTALS

General:  Submit the following in accordance with the provisions of Section 1300-S, "Descriptive Submittals:"

A.	Product Data:  Submit product data or manufacturer's specifications and installation instructions for the following products.  Include laboratory tests, reports, and other data to show compliance with specifications (including specified standards).

1.	Miscellaneous Steel (each type), including certified copies of mill reports covering the chemical and physical properties.

2.	Expansion Anchors (each type), including shear tension capacities.

3.	Unfinished Threaded Fasteners (each type), including shear and tension capacities.

4.	High-Strength Bolts (each type), including nuts and washers, and shear and tension capacities.

5.	Miscellaneous Steel Primer Paint.

B.	Asbestos Free and Lead Paint Free Certification:  Submit manufacturer's written certification that all materials are free of asbestos and lead paint.

C.	Shop Drawings:  Submit shop drawings, including complete details, weld symbols by AWS standards, showing size, length and type of each weld, schedules, proposed weather seals and diagrams for fabrication and assembly of rolling steel doors.

D.	Warranty:  All materials and workmanship shall be warrantied for a period of one year from installation date.  Submit copy of manufacturer's warranty.

# 1.04	QUALITY ASSURANCE

A.	Provide each rolling door as a complete unit produced by one manufacturer, including frames, sections, brackets, guides, weather-stripping, counterbalance mechanism, hardware, operators and installation accessories to suit openings and headroom allowable.  Materials and equipment shall be the standard products of manufacturers regularly engaged in the production of such material and shall be the manufacturer's current and standard design.

B.	Inserts and Anchorages:  Furnish inserts and anchoring devices which must be set in concrete or built into steel framing or masonry for installation of units.  Coordinate delivery with other work to avoid delays.

C.	Wind Loading:  Provide rolling doors able to withstand a 25 pound per square foot (122.06 kgs/sq. meter) positive and negative wind loading pressure.

## 1.05	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials to site at such intervals as to ensure uninterrupted progress of work.

B.	Deliver anchor bolts and anchorage devices, which are to be embedded in cast-in-place concrete or masonry, in ample time so that work will not be delayed.

C.	Store materials to permit easy access for inspection and identification.  Keep steel members off ground by using pallets, platforms, or other supports.  Protect steel members and packaged materials from corrosion and deterioration.  If anchor bolts, connection bolts and nuts become dry or rusty, clean and lubricate before use.  Do not store materials on structure in a manner that might cause distortion or damage to members or supporting structures.  Repair or replace damaged materials or structures as directed.

## 1.06	PROJECT CONDITIONS

Field Measurements:  Check actual locations of new and existing walls and other construction to which rolling steel door must fit.  Verify the accuracy of field measurements before fabrication, and show recorded measurements on final shop drawings.

# PART 2 - PRODUCTS

## 2.01	DOOR CURTAIN

A.	Construct door curtain from interlocking slats fabricated from galvanized structural quality carbon steel sheets in compliance with ANSI/ASTM A446, Grade A, or ANSI/ASTM A526, with a minimum yield strength of 33,000 psi (2320.13 kgs/sq. cm) and a minimum G90 zinc coating which complies with ANSI/ASTM A525.

1.	Steel Sheet Thickness:  Unless otherwise indicated on the drawings, 18 gauge (1.21 mm) steel sheets shall be used on exterior and 24 gauge (.61 mm) steel sheets shall be used on interior surface of slats.

2.	Slat Faces:  The exterior and interior slat faces shall be flat unless otherwise noted.

B.	Alternate slats are to be fitted with endlocks.  Provide windlocks on doors over 14 feet (4.27 m) in width.

C.	The bottom slat is to be reinforced by two continuous steel angles, mounted back to back, not less than 1/8 inch (3.3 mm) thick.

D.	Insulate inner core of slats with rigid polyurethane insulation 3/4 inch (19.05 mm) minimum thickness.  The curtain shall have a calculated  "R" value of no less than 4.1.

E.	Shop clean and prime ferrous metal and galvanized surfaces, exposed and unexposed, except faying and lubricated surfaces, with red oxide, lead and cadmium-free, corrosion inhibiting primer complying with performance requirements of FST7-P-664.

## 2.02	GUIDES, SUPPORTS AND ACCESSORIES

A.	Guides:  Guides shall be composed of three steel angles no lighter than 3/16 inch (4.32 mm) thick, bolted with 3/8 inch (9.65 mm) diameter bolts to form a groove for the curtain.  The wall angle shall be continuous.  The top of each guide shall be flared to facilitate entry of the curtain and provided with cast iron stops.

B.	Brackets:  Brackets shall be fabricated from steel plates not less than 1/4 inch (6.35 mm) thick and of sufficient size and thickness to support the total door weight.  Brackets shall be fastened to supporting wall angles by not less than two 1/2 inch (12.7 mm) diameter bolts.

C.	Weather Seals:  Provide a weather hood baffle, header seal, bottom bar weather strip and continuous weather strips on both inside and outside faces of the curtain attached to the guide.  Brush type weather seals are optional.

D.	Hood:  Form hood to entirely enclose coiled curtain and operating mechanism at opening head and act as weather seal.  Roll and reinforce top and bottom edges for stiffness.  Provide closed ends for surface-mounted hoods.  Provide intermediate support brackets as required to prevent sag.  Fabricate hood of not less than 24 gauge (.61 mm) hot dip galvanized steel sheet with G90 zinc coating, complying with ASTM A525.  Phosphate treat before fabrication.

E.	Hood Baffle (Fire Rated Door):  All fire rated doors shall be installed with a flame and smoke baffle activated into position by electromechanical design or by fusible links.  Baffle shall be fabricated with not less than 24 gauge (.61 mm) hot dip galvanized steel sheet with G90 zinc coating, complying with ASTM A525.  Phosphate treat before fabrication.

## 2.03	HARDWARE

Provide heavy duty, rust resistant hardware with galvanized or stainless steel fasteners.

## 2.04	COUNTERBALANCING MECHANISMS

Hang door assembly for operation by torsion spring counterbalance mechanism.  The barrel shall not be less than 4 inch (101.6 mm) diameter steel tubing and designed to limit maximum deflection to 0.03 inches (.76 mm) per foot (.3 m).  Oil tempered torsion springs shall be capable of correctly counterbalancing the weight of the curtain.  Springs shall be adjusted by means of an adjusting tension wheel.

## 2.05	ELECTRIC DOOR OPERATORS

A.	Where indicated on the drawings, either by note, drawing or circuitry, furnish electric door operator assembly of size and capacity recommended and provided by door manufacturer complete with electric motor and factory-prewired motor controls, worm gear reduction unit, solenoid operated brake, clutch, remote control stations, limit switches and control devices.

B.	Provide hand operated disconnect or mechanism for automatically engaging sprocket chain operator and releasing brake for emergency manual operation.  Include interlock device to automatically prevent motor from operating when emergency sprocket is engaged.

C.	Design operator so that motor may be removed without disturbing limit-switch adjustment and without affecting emergency auxiliary operator.

D.	Electric Motors:  Provide 208 VAC, three phase, high-starting torque, reversible, constant duty, Class A insulated electric motors with overload protection, unless otherwise specified.  Motor shall be sized to move door in either direction, from any position, at not less than 2/3 foot (.2 m) or more than 1 foot per second (1.10 km/hr).  Power unit shall be self-locking and capable of holding the door in any position in case of failure of the counterbalancing spring.

1.	Magnetic Starter:  Provide a full-voltage, reversing, across the line magnetic starter with three integral melting alloy type thermal overload relays to open the control circuit when any one of the three overload relays open on excessive motor current.

These overload relays shall be located in the reversing motor starter housing and shall be manufactured by the starter manufacturer.

2.	Remote Control Station:  Provide momentary contact, three button control station with heavy duty, oil tight, push button controls labeled "open," "close," and "stop."

a.	Provide interior units, full-guarded, surface mounted, heavy duty, with general purpose NEMA Type 1 enclosure, where shown on plans.3.	Limit Switches:  Provide positive chain drive screw type limit switch, enclosed in electrical control box, easily accessible for precision setting.  Limit switches will remain in time when emergency chain hoist or disconnect is used and door is operated manually.

4.	Automatic Reversing Control:  Furnish each door with automatic safety switch, extending full width of door bottom, and located within neoprene or rubber astragal mounted to bottom door rail.  Contact with switch shall immediately reverse downward door travel.

a.	Furnish manufacturer's standard take-up reel or self-coiling cable.

b.	Provide electrically actuated automatic bottom bar.

5.	Control Transformer:  Provide a control transformer, if required, to obtain a 120 or 24 volt AC control voltage, unless otherwise noted on the drawings.

The transformer shall have the neutral side solidly grounded to the housing around the starter, and shall be fused on the secondary side.

E.	Terminals:  All equipment shall be supplied with terminals suitable for use with copper wire.

## 2.06	LOCKING

A.	Electrically operated doors shall be locked by a solenoid operated brake.

# PART 3 - EXECUTION

## 3.01	INSTALLATION

A.	All doors, complete with associated hardware, shall be installed by the manufacturer or authorized dealer specializing in the sale, service and installation of rolling steel doors in accordance with manufacturer's installation instructions.

B.	Upon completion of installation, including work by other trades, lubricate, test and adjust door to operate easily, free from warp, twist, or distortion, and with weathertight fit for entire perimeter.

END OF SECTION