Cruise:  Cape Hatteras

Dates:  May 17-26, 2006

Chief Scientist:  Dr. Wei-Jun Cai, University of Georgia

Equipment:  12 bottle CTD with dual C, T, and O2 sensors and LADCP

Number of Stations:  64

Ship:  R/V Cape Hatteras

AOML CO2 Group Participant:  Heike Lueger

Chemical Measurements:

O2:  140 samples taken in 120 ml iodine Erlenmeyer flasks, 20 duplicate samples.

PI:   Dr. Chris Langdon, RSMAS

Analyzed by:  George Berberian, AOML

O2 units are umol/kg

Nutrients:  146 samples taken in 8-ml vials, 30 duplicate samples

PI:  Dr. Jia-Zhong Zhang, AOML

Analyzed by:  Charles Fischer, AOML

Nutrient units are umol/kg

DIC:  35 stations, 149 samples each 500-ml, 14 duplicate samples

PI:  Dr. Rik Wanninkhof, AOML

Analyzed by:  Esa Peltola, AOML

DIC units are umol/kg

TALK:  12 stations, 32 samples, 0 duplicates

PI:  Dr. Frank Millero, RSMAS

Analyzed by:  Fen Huang, RSMAS

TALK units are umol/kg

Details:

DIC Sampling and Analysis

DIC samples were taken in 500-ml ground glass-stoppered Pyrex bottles and preserved with 0.2 ul of mercuric chloride solution.  Samples were transported to AOML for analysis.  Analyses were performed following DOE (1994).

Analysis Date: June 7-21, 2006

Coulometers used:  AOML1 and AOML2

Blank range:  12.0-30.0 counts/min

CRM # used and assigned value: 	Batch 59, c: 2007.10 umol/kg, S:33.316,

Batch 66, c: 1969.57  umol/kg, S:32.962.

CRM value measured:  AOML 1, Batch 59: offset 7.1 umol/kg (2000.0 umol/kg)

AOML 1: Batch 66: offset 5.3 umol/kg (1964.3 umol/kg)

AOML-2: Batch 59: offset 6.8 umol/kg (2000.3 umol/kg)

AOML-2: Batch 66: offset 7.5 umol/kg (1962.1 umol/kg)

The average run time was 13 minutes, the minimum run time was 8 minutes, and the maximum run time was 20 minutes.

Reproducibility: (# samples and average difference): 7 sets of duplicate samples; average difference = 1.5 umol/kg.

CRM, salinity and HgCl2 correction applied: yes

Location of analyses files: Esa's computer file/directory/name:

My Documents/SOMMA/Lab Studies/2006 (5) Heike

## DOE, 1994:  Handbook of methods for the analysis of the various parameters of the carbon dioxide system in seawater, version 2.0 (A. Dickson and C. Goyet, eds.).

### O2 Sampling and Analysis

O2 samples were taken in 120 ml ground glass-stoppered Pyrex Erlenmeyer flasks (iodine flasks).  The samples were pickled with magnanous chloride and sodium hydroxide.  Sample bottles were stored under water.  Samples were transported to AOML for analyses.

Analysis Date: June 6-14, 2006

An automatic titration system was used for the oxygen analysis with the Carpenter modification of the Winkler method using a photometric determined endpoint.  Reagents for the Carpenter method titration were mixed by the AOML/OCD group of George Berberian as specified in Friederich's MBARI Technical Report #91-6 (Friederich et al., 1991). Apparent oxygen utilization (AOU) is defined as O2 measured- O2 sat., where O2 sat. is the saturation value at potential temperature and salinity of the sample determined according to Benson and Krause (1984).

Reproducibility: (# samples and average difference):  10 sets of duplicate samples;

average difference = 0.9 umol/kg:

| Station | Depth | O2 | Difference | O2 Average |
| --- | --- | --- | --- | --- |
| A05 | 51 | 175.4 | 0.3 | 175.5 |
| A05 | 51 | 175.7 |  |  |
| B01 | 2 | 218.5 | 0.2 | 218.4 |
| B01 | 2 | 218.3 |  |  |
| B09/1 | 3 | 206.2 | 0.1 | 206.3 |
| B09/1 | 3 | 206.3 |  |  |
| C09 | 33 | 216.9 | 0.4 | 217.1 |
| C09 | 33 | 217.3 |  |  |
| C15/1 | 461 | 138.4 | 0.2 | 138.3 |
| C15/1 | 461 | 138.2 |  |  |
| D05 | 25 | 186.4 | 0.5 | 186.1 |
| D05 | 25 | 185.9 |  |  |
| D09 | 26 | 212.2 | 0.3 | 212.4 |
| D09 | 26 | 212.5 |  |  |
| D11/2 | 2 | 201.2 | 3.9 | 199.2 |
| D11/2 | 2 | 197.3 |  |  |
| E09 | 100 | 179.8 | 3.3 | 181.5 |
| E09 | 100 | 183.1 |  |  |
| E11/1 | 101 | 177.7 | 0.3 | 177.9 |
| E11/1 | 101 | 178.0 |  |  |
| Average Difference |  |  | 0.9 |  |

Benson, B. B., and D. Krause, 1984:  The concentration and isotopic fractionation of oxygen dissolved in freshwater and seawater in equilibrium with the atmosphere. Limnol. Oceanogr., 29, 620-632.

Friederich, G.E., Codispoti, L.A., and C.M. Sakamoto, 1991:  An easy-to-construct automated Winkler titration system.  MBARI Tech. Rept. 91-6.

#### Nutrient and Sampling Analysis

Analysis Date:  June 5-8, 2006

Nutrient samples were taken from 10-L “Niskin” bottles in acid washed 25-ml linear polyethylene bottles after three complete seawater rinses and stored frozen on board the ship. Frozen samples were brought back to AOML and thawed to room temperature prior to analysis. Concentrations of nitrite (NO2 ), nitrate (NO3 ),  phosphate (PO4-3) and silicic acid (H4SiO4) were determined using an Alpkem Flow Solution Auto-Analyzer.

Nitrate and Nitrite:

Nitrite was determined by diazotizing with sulfanilamide and coupling with N-1 naphthyl ethylenediamine dihydrochloride to form an azo dye. The color produced is measured at 540 nm (Zhang et al., 1997a). Samples for nitrate analysis were passed through a home made cadmium column (Zhang et al., 2000), which reduced nitrate to nitrite and the resulting nitrite concentration was then determined as described above. Nitrate concentrations were determined from the difference of nitrate + nitrite and nitrite.

Phosphate:

Phosphate in the samples was determined by reacting with molybdenum (VI) and antimony (III) in an acidic medium to form an anti-monyphosphomolybdate complex at room temperature. This complex was subsequently reduced with ascorbic acid to form a blue complex and the absorbance was measured at 710 nm (Zhang et al., 1998).

Silicic Acid:

Silicic acid in the sample was analyzed by reacting the aliquot with molybdate in an acidic solution to form β-molybdosilicic acid. The β-molybdosilicic acid was then reduced by ascorbic acid to form molybdenum blue (Zhang et al., 1997b). The absorbance of the molybdenum blue was measured at 660 nm.

Calibration and Standards:

Stock standard solutions were prepared by dissolving high purity standard materials (KNO3, NaNO2, KH2PO4, and Na2SiF6) in deionized water. Working standards were freshly prepared by diluting the stock solutions in low nutrient seawater.  Low nutrient seawater was used for the preparation of working standards.  Determination of blank and wash between samples was filtered seawater collected from the surface of the Gulf Stream. Standardizations were performed prior to each sample run with working standard solutions. The overall precision of the sample analysis was 0.04 umol/kg for nitrate, 0.01 umol/kg for phosphate and 0.1 umol/kg for silicic acid.

Reproducibility: (# samples and average difference):  15 sets of duplicate samples;

average difference:  NO2+NO3 – 0.18 umol/kg, SIO3 – 0.05 umol/kg, and PO4 – 0.02 umol/kg:

| Station | Depth | N02+NO3 | Diff. | Avg. | SIO3 | Diff. | Avg. | PO4 | Diff. | Avg. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E05 | 2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| E05 | 2 | 0.00 |  |  | 0.00 |  |  | 0.00 |  |  |
| E09 | 100 | 5.70 | 0.00 | 5.70 | 0.00 | 0.00 | 0.00 | 0.27 | 0.01 | 0.26 |
| E09 | 100 | 5.70 |  |  | 0.00 |  |  | 0.26 |  |  |
| E11/1 | 51 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| E11/1 | 51 | 0.00 |  |  | 0.00 |  |  | 0.00 |  |  |
| D07 | 11 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.01 |
| D07 | 11 | 0.00 |  |  | 0.00 |  |  | 0.01 |  |  |
| D09 | 52 | 0.22 | 0.12 | 0.16 | 0.00 | 0.00 | 0.00 | 0.07 | 0.07 | 0.04 |
| D09 | 52 | 0.10 |  |  | 0.00 |  |  | 0.01 |  |  |
| D11/1 | 386 | 21.51 | 0.65 | 21.19 | 6.56 | 0.18 | 6.47 | 1.28 | 0.01 | 1.28 |
| D11/1 | 386 | 20.86 |  |  | 6.38 |  |  | 1.29 |  |  |
| C01 | 6 | 0.00 | 0.00 | 0.00 | 1.64 | 0.12 | 1.58 | 0.31 | 0.01 | 0.31 |
| C01 | 6 | 0.00 |  |  | 1.52 |  |  | 0.32 |  |  |
| C09 | 2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.05 | 0.00 | 0.05 |
| C09 | 2 | 0.00 |  |  | 0.00 |  |  | 0.05 |  |  |
| C13 | 25 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C13 | 25 | 0.00 |  |  | 0.00 |  |  | 0.00 |  |  |
| C15/1 | 461 | 28.72 | 0.56 | 28.44 | 15.70 | 0.04 | 15.68 | 1.69 | 0.04 | 1.67 |
| C15/1 | 461 | 28.16 |  |  | 15.66 |  |  | 1.65 |  |  |
| C16/1 | 304 | 22.23 | 0.09 | 22.28 | 7.57 | 0.16 | 7.49 | 1.18 | 0.09 | 1.22 |
| C16/1 | 304 | 22.32 |  |  | 7.41 |  |  | 1.27 |  |  |
| B03 | 16 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.08 | 0.00 | 0.08 |
| B03 | 16 | 0.00 |  |  | 0.00 |  |  | 0.00 |  |  |
| B11/2 | 1203 | 32.87 | 1.27 | 32.24 | 17.53 | 0.17 | 17.62 | 1.85 | 0.05 | 1.88 |
| B11/2 | 1203 | 31.60 |  |  | 17.70 |  |  | 1.90 |  |  |
| AO3 | 2 | 0.00 | 0.00 | 0.00 | 0.08 | 0.05 | 0.11 | 0.06 | 0.00 | 0.06 |
| A03 | 2 | 0.00 |  |  | 0.13 |  |  | 0.07 |  |  |
| A08/1 | 2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A08/1 | 2 | 0.00 |  |  | 0.00 |  |  | 0.00 |  |  |
| Average Difference: | 0.18 |  |  | 0.05 |  |  | 0.02 |  |

Zhang, J-Z., P. B. Ortner, and C. Fischer, 1997a:  Determination of nitrite and nitrate in estuarine and coastal waters by gas segmented continuous flow colorimetric analysis. In Methods for the Determination of Chemical Substances in Marine and Estuarine Environmental Matrices, 2nd Edition.  EPA-600-R-97-072, September 1997.

Zhang, J-Z., and G. A. Berberian, 1997b:  Determination of dissolved silicate in estuarine and coastal waters by gas segmented continuous flow colorimetric analysis. In Methods for the Determination of Chemical Substances in Marine and Estuarine Environmental Matrices, 2nd Edition.  EPA-600-R-97-072, September 1997.

Zhang, J.-Z., C. Fischer, and P. B. Ortner, 1999:  Optimization of performance and minimization of silicate interference in continuous flow phosphate analysis. Talanta, 49(2):293-304.

# Zhang, J-Z., C. Fischer, and P. B. Ortner, 2000:  Comparison of open tubular cadmium reactor and packed cadmium column in automated gas-segmented continuous flow nitrate analysis. International Journal of Environmental Analytical Chemistry, 76(2):99-113.