URANIUM AGE DETERMINATION BY

MEASURING THE 230Th / 234U RATIO

S.P. LaMont and G. Hall

Savannah River Technology Center, Nonproliferation Technologies Section

Bldg. 735-A, Aiken, SC 20808, USA.

stephen.lamont@srs.gov; gregory.hall@srs.gov

ABSTRACT

A radiochemical isotope dilution mass spectrometry method has been developed to determine the age of uranium materials.  The amount of 230Th activity, the first progeny of 234U, that had grown into a small uranium metal sample was used to determine the elapsed time since the material was last radiochemically purified.  To preserve the sample, only a small amount of oxidized uranium was removed from the surface of the sample and dissolved.  Aliquots of the dissolved sample were spiked with 233U tracer and radiochemically purified by anion-exchange chromatography.  The 234U isotopic concentration was then determined by thermal ionization mass spectrometry (TIMS).  Additional aliquots of the sample were spiked with 229Th tracer, and the thorium was purified using two sequential anion-exchange chromatography separations.  The isotopic concentrations of 230Th and 232Th were determined by TIMS.  The lack of any 232Th confirmed the assumption that all thorium was removed from the uranium sample at the time of purification. The 230Th and 234U mass concentrations were converted to activities and the 230Th/234U ratio for the sample was calculated.  The experimental 230Th/234U ratio showed the uranium in this sample was radiochemically purified in about 1945.

Key Words:	Uranium Series Radiochronology

## Introduction

Numerous radiochronology methods have been developed that rely on determining the disequilibrium in uranium series radionuclides (Figure 1).  Most of these are used to study geologic processes, and take advantage of the long half-life of 230Th, which, if removed from uranium by a chemical process takes approximately 5 x 105 years to regain secular equilibrium with its parent, 234U.  Examples include dating of carnotite minerals1, Fe-Mn deposits2, and travertine carbonate formations3.

Figure 1: The first seven radionuclides in the uranium series with mode of decay and half-life information.  After uranium is purified, 230Th activity slowly increases and can be used to determine when the uranium was purified.

The ingrowth of 230Th can also be used to determine the time elapsed since a source of uranium was last radiochemically purified.  However, uranium extraction from ores has only been occurring for just over 100 years, and the amount 230Th that has grown into purified uranium is very small compared to geologic samples.  To effectively determine the 230Th that has grown into a sample of uranium, either the Th has to be separated from a very large sample of uranium, or extremely sensitive analytical methods have to be used.  In both cases, extensive radiochemistry is required to purify the 230Th prior to analysis to remove interfering species.  The use of the 230Th / 234U ratio has been used to determine the age of highly enriched uranium using isotope dilution thermal ionization mass spectrometry (ID-TIMS), isotope dilution alpha spectrometry (ID-AS), and inductively coupled plasma mass spectrometry (ICP-MS).4  However, the authors concluded that approximately 10 mg of HEU and 1 g of natural U would be required to determine the age using ID-TIMS or ID-AS, and that ICP-MS could only determine the age of enriched uranium containing at least 0.01 % 234U by weight.4

The Nonproliferation Technology Section, at the Savannah River Technology Center received a request to determine the age of a small piece of uranium metal.  Because the material was at least a year old, the 230Th ingrowth, while very small, was the only isotope in the U series that could be measured to determine its age.  Radiochemical isotope dilution mass spectrometry methods were used by NTS to determine the uranium isotopic composition of the sample and measure 230Th activity in the sample to estimate the year the uranium was manufactured.

## Experimental

### Sample Preparation

The sample provided was a small uranium metal rod approximately 0.8 cm diameter and 2 cm long.  The sample had a small layer of oxidation had formed on the surface in the form of a very finely divided powder.  Some of this oxidation had been transferred to the inside of the bag the uranium was stored in, and served as a convenient method by which to obtain a small sample of the uranium, while maintaining the integrity of the bulk sample.

To sample the uranium, the rod was transferred to a clean bag, and an approximately one inch square of the original bag containing most of the oxidized material was leached in 25 mL of 8 M HNO3 to dissolve the uranium dust.  After 2 hours the bag was removed from the solution and rinsed with 8 M HNO3 adding the rinse to the leach solution.  The leach solution was transferred to a 100 mL Class A volumetric flask and brought up to volume with 8 M HNO3 (Solution 1).  Two successive 1:100 dilutions of Solution 1 were made, labeled Solution 2 and Solution 3, to produce a uranium concentration in the appropriate range for analysis by mass spectrometry.

### Uranium Purification

Three 1.00 mL aliquots of Solution 3 were pipetted into 5 mL conical Teflon( vials.  One of these was submitted directly for analysis by mass spectrometry.  One of the remaining two samples was spiked with 233U as a radiochemical yield tracer, and remaining solutions were purified by anion exchange.  A blank sample and QC sample of natural uranium (both spiked with 233U tracer) were run through the anion exchange procedure with the samples.  All of the samples were taken to dryness on a hotplate and redissolved in 3.00 mL of 9 M HCl.

Anion exchange columns containing 0.50 mL of 100 - 200 mesh AG1x4 Cl- form resin were used for the purification of the uranium samples.  The columns were prepared by passing 5 mL of 0.1 M HCl over each column, followed by 5 mL of 9 M HCl.  The samples were then passed through the columns, and the vials rinsed twice with 1 mL of 9 M HCl, adding the rinse to the columns.  The columns were then rinsed with an additional 2.5 mL of 9M HCl followed by 1.25 mL of 8 M HNO3 to remove any iron present.  Finally, the uranium was eluted into 5 mL conical Teflon( vials with an additional 4 mL of 8 M HNO3 and submitted for isotopic uranium determination by mass spectrometry.

### Thorium Purification

Three 20.0 mL aliquots of Solution 1 were pipetted into 50 mL Pyrex( beakers.  Two aliquots were spiked with 229Th as a radiochemical yield tracer.  A reagent blank was also prepared by spiking 20.0 mL of 8 M HNO3 (the matrix of Solution 1) with 229Th tracer.  An aliquot of 229Th tracer was also submitted directly for isotopic analysis by mass spectrometry to determine any 232Th and 230Th isotopic impurities.  The two spiked aliquots of Solution 1, the unspiked aliquot of Solution 1, and the spiked reagent blank were all taken to dryness on a hotplate and redissolved in 25 mL of 8 M HNO3.

The thorium was purified using a 10 mL column anion exchange column followed by a 0.5 mL anion exchange column in order to get sufficient separation of the thorium from uranium.  The first columns were prepared by adding 10 mL 100 – 200 mesh AG1x8  Cl- form resin to each of the four ion-exchange columns and rinsing them with 50 mL 0.1 M HCl to remove any actinide impurities.  After converting the columns to the NO3- form by adding 50 mL 8 M HNO3, the samples were added to the columns.  The beakers were rinsed 3 times with 10 mL 8 M HNO3 and added to the columns.  The columns were then rinsed with an additional 45 mL 8 M HNO3.  Clean beakers were placed under the columns and the thorium was eluted with 60 mL of 9 M HCl.  These solutions were taken to dryness on a hotplate, the residue was redissolved in 2 mL of 8 M HNO3, and each sample was transferred to a 5 mL conical Teflon( vial.  The beakers were rinsed 2 times with 1 mL 8 M HNO3, and the rinse solutions were added to their respective vials.

The second columns were 0.5 mL AG1x4 100 – 200 mesh anion exchange columns rinsed with 5 mL 0.1 M HCl, followed by conversion to NO3- with 5 mL 8 M HNO3.  The samples were then passed over the columns, and the vials rinsed 3 times with 1 mL of 8 M HNO3, adding the rinse solutions to the columns.  The columns were rinsed with an additional 2 mL of 8 M HNO3, and the thorium was eluted into clean 5 mL conical Teflon( vials with 5 mL of 9 M HCl.  The samples were taken to dryness under a heatlamp, wet ashed with 1 mL 8 M HNO3, and submitted for analysis by mass spectrometry.

### Mass Spectrometry

The instrument used for this work is a Knolls Atomic Power Laboratory (KAPL) design three stage thermal ionization mass spectrometer.  Samples loaded on rhenium filaments were vaporized and ionized, sorted by two 90( magnetic sectors and an electrostatic sector, and detected by single ion counting.  The instrument has a dynamic range of about 109, but the detector limit is about 107.  The normal uranium sample size is approximately 1 ng.

Each of the uranium samples was reconstituted with 10 (l of 9 M HCl before the addition of two ion exchange resin beads (DOWEX AG 1-X2 conditioned in nitric acid).  The thorium samples were reconstituted with 8 M HNO3 but were otherwise treated the same.  The sample vials were stirred/gyrated overnight, and the beads were mounted to degassed “vee” type rhenium filaments using collodion thinned with methanol as adhesive.

The beads were decomposed by heating in vacuum to about 1000(C while keeping the pressure below 3 x 10-7 torr, and allowed to cool for a minimum of 30 minutes before analysis.  This process takes from 12 to 16 minutes and reduces the resin beads to small carbon rich chips containing the sample.  Uranium filaments were reheated to about 1500(C for tuning and calibration using a 12 minute process.  The thorium filaments were reheated to about 1550(C in a 16 minute process.  The timed reheat sequences are to allow the chemistry/kinetics that occurs on the filaments to develop similarly for the entire set.  The instrument was tuned and calibrated using normal uranium methods for all of the filaments due to the residual uranium in the thorium samples.  The normal uranium calibration uses 2 points (masses 238 and 235) to account for the various offsets in the digital analog converter (DAC) and source high voltage supply.  Mass spectra were made on each filament, and the calibration checked prior to raising the temperature to data collection levels.

Normal temperatures for data collection with uranium filaments range from 1550 to 1650(C.  Higher temperatures will ionize more efficiently, but the sample uranium evaporates faster reducing the time available for data collection.  Thorium filaments operate hotter than uranium filaments, at about 1700(C.  After adjusting a thorium filament to a temperature for acceptable mass 232 signals, any residual uranium ion current lasted only a few minutes.

While collecting data, the controller steps the accelerating high voltage causing the instrument to switch from mass to mass, cyclically from high to low to high, and spends the specified gate times counting pulses from the detector.  A single cycle through the masses took about a minute.  The filaments were counted for 30 – 60 minutes, and were typically not run to exhaustion.  The resulting count data was scanned for outliers, and reduced using normal uranium methods.

## Results

The isotopic composition of the uranium in the unspiked sample, the spiked sample, and the QC sample are summarized in Table 1.  Both the spiked sample and the QC sample were corrected for isotopic impurities in the 233U tracer.  The sample has a uranium isotopic composition similar to natural uranium, and the lack of detectable 236U indicates that it was never irradiated in a nuclear reactor.  It should be noted that all uncertainties are reported as 2 sigma and were propagated in quadrature.  Table 2 shows the concentration of 238U determined in the spiked sample (Solution 3) and the QC sample.  The concentration of uranium in Solution 3 was also used to calculate the concentration of uranium in the original sample, Solution 1.

| Sample Description | 238 Atom % | 236 Atom % | 235 Atom % | 234 Atom % |
| --- | --- | --- | --- | --- |
| Unspiked Sample | 99.26 ( 0.59 | None Detected | 0.732 ( 0.012 | 0.0062 ( 0.0003 |
| Spiked Sample | 99.27 ( 0.59 | None Detected | 0.724 ( 0.012 | 0.0056 ( 0.0019 |
| QC Sample Measured | 99.27 ( 0.35 | None Detected | 0.724 ( 0.007 | 0.0056 ( 0.0005 |
| Natural Uranium and QC Certified Isotopic Composition | 99.275 | 0 | 0.720 | 0.0055 |

Table 1: Uranium isotopic composition in samples.  The bottom row shows the certified values for the QC sample, which are in good agreement with the experimentally determined values.

| Sample Description | 238U pg / mL | 238U pCi / mL |
| --- | --- | --- |
| Solution 1 | (5.50 ( 0.17) x 106 | 1.85 ( 0.06 |
| Solution 3 | 550.2 ( 9.8 | (1.85 ( 0.03) x 10-4 |
| QC Measured | 3261 ( 326 | (11.0 ( 1.1) x 10-4 |
| QC Certified Value | 2990 ( 290 | (10.0 ( 1.0) x 10-4 |

Table 2: Uranium concentration in sample solutions and QC standard.  The bottom row shows the certified values for the QC material, which are in good agreement with the measured value.

Thorium isotopic impurities were determined in the 229Th tracer so corrections could be applied when calculating the thorium isotopic concentrations in the samples and reagent blank.  The 232Th/229Th ratio in the tracer was 19.987 and the 230Th/229Th ratio was 0.0017.  Thorium isotopic concentrations determined in Solution 1 and the spiked reagent blank are shown in Table 3.  Measurable 232Th was found in the reagent blank, and was statistically equal to the 232Th found in Solution 1.  This indicates that when the uranium was purified, no significant thorium was present, a requirement for calculating the age of the material based on 230Th growth.

| Sample Description | 230Th pg / mL | 232Th pg / mL | 230Th pCi / mL | 232Th pCi / mL |
| --- | --- | --- | --- | --- |
| Solution 1 | 0.0460 ( 0.0058 | 37.8 ( 4.4 | (9.5 ( 1.2) x 10-4 | (4.16 ( 0.48) x 10-7 |
| Solution 1 (replicate) | 0.0469 ( 0.0058 | 40.9 ( 4.6 | (9.7 ( 1.2) x 10-4 | (4.50 ( 0.51) x 10-7 |
| Reagent Blank | < 0.0005 | 36.5 ( 4.8 | < 1 x 10-5 | (4.02 ( 0.53) x 10-7 |

Table 3: Thorium isotopic concentrations in sample solution and reagent blank

The age of the uranium was calculated from the ingrowth 230Th from the radioactive decay of 234U, with the assumption that 234U and 238U were in secular equilibrium and that no 230Th was present at the time the uranium metal was produced.  The equation for calculating the 230Th at a given time after the uranium was radiochemically purified is given in Figure 2, and is valid if no 230Th was present immediately after purification, and the time elapsed since purification is less that 100 years.

Figure 2: Equation for 230Th activity in uranium at a given time after radiochemical purification of the uranium.  This equation is valid if no 230Th is present immediately after separation, and the elapsed time since purification is less than 100 years.

A plot of the change in 230Th / 234U ratio as a function of time was generated using the equation shown in Figure 3 and includes the experimentally determined 230Th / 234U ratio showing the date of purification for the uranium.  The 230Th / 234U activity ratios calculated using the data from the two 230Th measurements and the 238U measurement were (5.13 ( 0.67) x 10-4 and (5.23 ( 0.67) x 10-4, which correspond to production dates of 1946 ( 7 years and 1945 ( 7 years, respectively.

Figure 3: Change in 230Th / 234U ratio as a function of when the uranium was purified.  The experimentally determined 230Th / 234U ratio indicates the uranium was purified between 1938 and 1953.

## Conclusions

Isotope dilution thermal ionization mass spectrometry has sufficient sensitivity to determine the age of 100 (g size samples of uranium.  The use of 229Th tracer allows for the use of extensive radiochemistry to separate the Th from the U with no impact on the accuracy of the measurement.  With additional replicate measurements of the 230Th / 234U isotopic ratio, the precision in the experimental age of the uranium could be improved.

## References

1 A. Kaufman, T. Ku, S. Luo. Chem. Geol. 120 (1995) 175.

2 F. Chabaux, A.S. Cohen, R.K. O’Nions, J.R. Hein. Geochim. Cosmochim. Acta. 59, 3 (1995) 633.

3 R. Mallick, N. Frank. Geochim. Cosmochim. Acta. 66, 24 (2002) 4261.

4 M. WALLENIUS, A. MORGENSTERN, C. APOSTOLIDIS, K. MAYER. Anal. Bioanal. Chem. 374 (2002) 379.

# Text boxes

ATh	=	[(U (Th /((Th - (U)] N0U(e-(Ut  -  e-(Tht)

Where:	 ATh	=	230Th activity at time “t”

(U	=	Decay constant for 234U

(Th	=	Decay constant for 230Th

N0U	=	Number of 234U atoms at time of separation

t	=	time elapsed after separation